## BoQ1
Government eProcurement System Created By: BHAITHI DEVARAJU Created Date/Time: 09-Nov-2023 05:03 PM Tender Title: ARMO of E M Installations at Vijayawada Airport. SH AMC of Tender ID: 2023_AAI_170504_1
Tender Inviting Authority: Senior Manager (Engg-E), AAI, Vijayawada International Airport.
Name of Work : ARMO of E&M Installations at Vijayawada Airport SH: AMC of Fire Alarm & Detection System for two years [2023-25].
Contract No: 2023_AAI_170504_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SALIMAX SYSTEMS AND CONTROLS ENGG(GSTN-33AFKPR7224N1ZY) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for maintenance of fire detection & alarm system with all accessories / units /wiring viz like Alarm Panels, detectors, hooters ,wiring,auto dialers, manula call pointsetc. for domestic terminal building ( NITB), International terminal buiding, ATC Complex,pump room, NDB,Old Power House, E and M work shop,DVOR, Glidepath and Localizer (as detailed in the inventory) including daily/ preventive / periodical / break down maintenance etc complete as required as per the special condition of the contract excluding spare parts (One Highly Skilled person duty on 6 days per week in General shift with one weekly off) | 24.00 | Months |  | 34900.00 | 837600.00 | 31000.00 | 744000.00 | 35000.00 | 840000.00 | 744000.00 | Manish Electricals
2.00 | Supply of Notifier make Smoke Detector/MSD as per UL / LPCB / FM / EN-54 complete with all accessories like base etc. to be installed under/above false ceiling, roof and concealed space, etc. complete as required | 20.00 | EA |  | 2400.00 | 48000.00 | 2800.00 | 56000.00 | 3000.00 | 60000.00 | 48000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
3.00 | Supply of Notifier make Remote/Isolator module as per UL / LPCB / FM / EN-54 complete with all accessories like base etc. to be installed under/above false ceiling, roof and concealed space, etc. complete as required | 10.00 | EA |  | 2000.00 | 20000.00 | 3200.00 | 32000.00 | 500.00 | 5000.00 | 5000.00 | CENTRE TAP ENGINEERING
4.00 | Supply of Notifier make MCP as per UL / LPCB / FM / EN-54 complete with all accessories like base etc. to be installed under/above false ceiling, roof and concealed space, etc. complete as required | 10.00 | EA |  | 2400.00 | 24000.00 | 2800.00 | 28000.00 | 3500.00 | 35000.00 | 24000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
5.00 | Supply of Response Indicator as per UL / LPCB / FM / EN-54 complete with all fixing accessories like base, etc. to be installed under/above false ceiling, roof and concealed space, etc. complete as required. | 10.00 | EA |  | 100.00 | 1000.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 1000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
6.00 | Supplying of 200 mm dia double flanged sluice valve of rating PN 1.6 with non rising spindle, bronze/gun metal seat, ISI marked complete with nuts, bolts,washers, gaskets and conforming to IS 780 of following sizes as required
6.01 | 200 mm dia | 3.00 | EA |  | 20000.00 | 60000.00 | 7000.00 | 21000.00 | 25000.00 | 75000.00 | 21000.00 | Manish Electricals
7.00 | Supplying of following size butterfly valve of PN 1.6 rating with bronze/gunmetal seal duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of following sizes as required
7.01 | 150 mm dia | 3.00 | EA |  | 7000.00 | 21000.00 | 10000.00 | 30000.00 | 5000.00 | 15000.00 | 15000.00 | CENTRE TAP ENGINEERING
7.02 | 100 mm dia | 3.00 | EA |  | 4800.00 | 14400.00 | 9000.00 | 27000.00 | 4000.00 | 12000.00 | 12000.00 | CENTRE TAP ENGINEERING
7.03 | 80 mm dia | 3.00 | EA |  | 3000.00 | 9000.00 | 7200.00 | 21600.00 | 3500.00 | 10500.00 | 9000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
7.04 | 65 mm dia | 3.00 | EA |  | 2000.00 | 6000.00 | 6000.00 | 18000.00 | 3000.00 | 9000.00 | 6000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
8.00 | Supply of following size NON-return valve of following size conforming to IS 5312 complete with nuts, GI bolts, washers, rubber gaskets etc. as required as per the instruction of EIC.
8.01 | 150 mm dia | 3.00 | EA |  | 10000.00 | 30000.00 | 13000.00 | 39000.00 | 15000.00 | 45000.00 | 30000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
8.02 | 100 mm dia | 3.00 | EA |  | 7000.00 | 21000.00 | 12000.00 | 36000.00 | 6000.00 | 18000.00 | 18000.00 | CENTRE TAP ENGINEERING
8.03 | 80 mm dia | 3.00 | EA |  | 4000.00 | 12000.00 | 10000.00 | 30000.00 | 5000.00 | 15000.00 | 12000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
8.04 | 65 mm dia | 3.00 | EA |  | 3000.00 | 9000.00 | 7000.00 | 21000.00 | 4000.00 | 12000.00 | 9000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
9.00 | Supply of Wika make 3/4 inch Pressure switchs with uniform scale from 1 bar to 8 bar as required as per the instruction of EIC. | 10.00 | EA |  | 2300.00 | 23000.00 | 2000.00 | 20000.00 | 3500.00 | 35000.00 | 20000.00 | Manish Electricals
10.00 | Supply of Guru make 3/4 inch Pressure Gauge with uniform scale from 0 bar to 16 bar as required as per the instruction of EIC. | 10.00 | EA |  | 1250.00 | 12500.00 | 1300.00 | 13000.00 | 1000.00 | 10000.00 | 10000.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 1148500.00 |  | 1139600.00 |  | 1201500.00
Lowest Amount Quoted BY: Manish Electricals(1139600.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E M Installations at Vijayawada Airport. SH AMC of Tender ID: 2023_AAI_170504_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 1139600.00 | L1
| 2 | SALIMAX SYSTEMS AND CONTROLS ENGG | 1148500.00 | L2
| 3 | CENTRE TAP ENGINEERING | 1201500.00 | L3