## BoQ1
Government eProcurement System Created By: BHAITHI DEVARAJU Created Date/Time: 03-Nov-2023 04:05 PM Tender Title: ARMO of E and M Installations, Renovation of AAI Residential Colony for CISF Accommodation at Vijayawada Airport. SH Electrical Work Tender ID: 2023_AAI_170699_1
Tender Inviting Authority: Joint General Manager (Engg-E), AAI, Vijayawada International Airport.
Name of Work: ARMO of E&M Installations. Renovation of AAI Residential Colony for CISF Accommodation at Vijayawada Airport S.H: Electrical Work
Contract No: 2023_AAI_170699_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | DEEPAKELECTRICALS(GSTN-33ALUPD3531C1ZI) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Fabrication, SITC of MV Switch Board Panel made of 14 SWG CRCA Sheet Steel, dust tight, vermin proof, totally enclosed, cubicle type, Confirming to IP42, floor mounting, free standing, suitable for indoor operation at 433 V, 3 Phase, 4 Wire, 50 Hz, A.C.System complete with all accessories, interconnection, connection, earthing, painting, etc., as required and comprising of the following: A. One No. of 125A, 36 KA, 4P MCCBs with Thermal Magnetic Releases for OC/SC/EF Protection as INCOMERS with ON/OFF/TRIP Indication Lamps and Multifuntion Meter i/c. CT as required. B. 08 Nos. of 50 A, 36 KA, 4P C-Curve, MCB Outgoing, as required. C. One Set of 160 Amps Al. Bus Bars with at Par Neutral BUS BARS as required. D. All accessories such as fuses, auxillary contactors, auxillary switches, handles speder terminals etc. including providing Empty Cubicle Space (2 Nos.) as required. ALL AS ABOVE 1 (A) TO 1 (D) | 1.00 | Job | 100.00 | 200000.00 | 200000.00 | 250000.00 | 250000.00 | 125000.00 | 125000.00 | 125000.00 | Awasthi Electric Works
2.00 | Supply of 3.5C x 70 Sq.mm, XLPE insulated and PVC sheathed armoured aluminium conductor power cable of 1.1 KV grade conforming to IS 7098 (Part-1) with upto date ammendments etc., complete as required. (Note: If the manufacturer does not have NABL accredited Laboratory samples from site shall be collected jointly by AAI and the agency and it will be sent to NABL accredited Laboratories / Govt Laboratories / IIT / IISc / IISER / College /University for acceptance Testing as per IS. The contractor will do all Liasoning, Transportation etc. and pay the testing charges. Nothing extra will be paid by AAI. if it is found that the cable supplied is not as per the requirement of IS, The supply will be rejected or recovery shall be made from the bill or any due pending with AAI from any airports) | 250.00 | Mtr | 100.00 | 550.00 | 137500.00 | 450.00 | 112500.00 | 365.00 | 91250.00 | 91250.00 | Awasthi Electric Works
3.00 | Supply of 4C x 16 Sq.mm, XLPE insulated and PVC sheathed armoured aluminium conductor power cable of 1.1 KV grade conforming to IS 7098 (Part-1) with upto date ammendments etc., complete as required. (Note: If the manufacturer does not have NABL accredited Laboratory samples from site shall be collected jointly by AAI and the agency and it will be sent to NABL accredited Laboratories / Govt Laboratories / IIT / IISc / IISER / College /University for acceptance Testing as per IS. The contractor will do all Liasoning, Transportation etc. and pay the testing charges. Nothing extra will be paid by AAI. if it is found that the cable supplied is not as per the requirement of IS, The supply will be rejected or recovery shall be made from the bill or any due pending with AAI from any airports) | 1700.00 | Mtr | 100.00 | 130.00 | 221000.00 | 260.00 | 442000.00 | 145.00 | 246500.00 | 221000.00 | M/s LEESHA ELECTRICALS
4.00 | Supplying and making end termination with brass double compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
4.10 | 3½ X 70 sq. mm | 2.00 | Sets | 100.00 | 750.00 | 1500.00 | 409.00 | 818.00 | 790.00 | 1580.00 | 818.00 | DEEPAKELECTRICALS
4.20 | 4 X 16 sq. mm | 34.00 | Sets | 100.00 | 300.00 | 10200.00 | 300.00 | 10200.00 | 490.00 | 16660.00 | 10200.00 | M/s LEESHA ELECTRICALS, DEEPAKELECTRICALS
5.00 | Supplying and laying of OD 75 mm dia., HDPE, PE100, PN-6 Pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984, complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. Note: Only required quantity of HDPE Pipe to be supplied and laid at site. If any balance pipe is available after laying and same shall be taken back by agency. Payment will be made as actual utilization at site. Nothing will be paid extra. | 220.00 | Mtr | 100.00 | 250.00 | 55000.00 | 150.00 | 33000.00 | 325.00 | 71500.00 | 33000.00 | DEEPAKELECTRICALS
6.00 | Supplying and laying of OD 50 mm dia., HDPE, PE100, PN-6 Pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984, complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. Note: Only required quantity of HDPE Pipe to be supplied and laid at site. If any balance pipe is available after laying and same shall be taken back by agency. Payment will be made as actual utilization at site. Nothing will be paid extra. | 1300.00 | Mtr | 100.00 | 200.00 | 260000.00 | 130.00 | 169000.00 | 225.00 | 292500.00 | 169000.00 | DEEPAKELECTRICALS
7.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC/HDPE pipe as required. Upto 35 sq. mm | 1300.00 | Mtr | 100.00 | 30.00 | 39000.00 | 23.00 | 29900.00 | 40.00 | 52000.00 | 29900.00 | DEEPAKELECTRICALS
8.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC / HUME / METAL / DWC / HDPE pipe as required. Above 35 sq. mm and upto 95 sq. mm | 230.00 | Mtr | 100.00 | 30.00 | 6900.00 | 31.00 | 7130.00 | 60.00 | 13800.00 | 6900.00 | M/s LEESHA ELECTRICALS
9.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 400.00 | Mtr | 100.00 | 40.00 | 16000.00 | 45.00 | 18000.00 | 125.00 | 50000.00 | 16000.00 | M/s LEESHA ELECTRICALS
10.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 20.00 | Mtr | 100.00 | 50.00 | 1000.00 | 35.00 | 700.00 | 150.00 | 3000.00 | 700.00 | DEEPAKELECTRICALS
11.00 | Earthing with G.I. earth pipe 4.5 Meter long, 40 mm dia., including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 4.00 | Each | 100.00 | 7500.00 | 30000.00 | 5500.00 | 22000.00 | 7500.00 | 30000.00 | 22000.00 | DEEPAKELECTRICALS
12.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 100.00 | Mtr | 100.00 | 30.00 | 3000.00 | 42.00 | 4200.00 | 30.00 | 3000.00 | 3000.00 | M/s LEESHA ELECTRICALS, Awasthi Electric Works
13.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 20.00 | Mtr | 100.00 | 30.00 | 600.00 | 35.00 | 700.00 | 25.00 | 500.00 | 500.00 | Awasthi Electric Works
14.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 16 way, Double door | 30.00 | Each | 100.00 | 2000.00 | 60000.00 | 2150.00 | 64500.00 | 2850.00 | 85500.00 | 60000.00 | M/s LEESHA ELECTRICALS
15.00 | Supplying and fixing 40A, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of double poles in the existing MCB DB complete with cconnections, testing and commissioning etc. as required. | 30.00 | Each | 100.00 | 650.00 | 19500.00 | 900.00 | 27000.00 | 990.00 | 29700.00 | 19500.00 | M/s LEESHA ELECTRICALS
16.00 | Supplying and fixing 6 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required Single pole | 300.00 | Each | 100.00 | 150.00 | 45000.00 | 350.00 | 105000.00 | 185.00 | 55500.00 | 45000.00 | M/s LEESHA ELECTRICALS
17.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable PVC box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group B | 330.00 | Points | 100.00 | 1000.00 | 330000.00 | 1000.00 | 330000.00 | 1025.00 | 338250.00 | 330000.00 | M/s LEESHA ELECTRICALS, DEEPAKELECTRICALS
18.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 1480.00 | Mtr | 100.00 | 220.00 | 325600.00 | 215.00 | 318200.00 | 220.00 | 325600.00 | 318200.00 | DEEPAKELECTRICALS
19.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 1400.00 | Mtr | 100.00 | 270.00 | 378000.00 | 310.00 | 434000.00 | 295.00 | 413000.00 | 378000.00 | M/s LEESHA ELECTRICALS
20.00 | Supplying and fixing following size / modules, PVC box of 1.2mm Thick alongwith modular base & cover plate for modular switches in recess etc. as required.
20.10 | 4 Module (125mmX75mm) | 110.00 | Each | 100.00 | 150.00 | 16500.00 | 170.00 | 18700.00 | 350.00 | 38500.00 | 16500.00 | M/s LEESHA ELECTRICALS
20.20 | 6 Module (200mmX75mm) | 130.00 | Each | 100.00 | 220.00 | 28600.00 | 200.00 | 26000.00 | 495.00 | 64350.00 | 26000.00 | DEEPAKELECTRICALS
20.30 | 12 Module (200mmX150mm) | 75.00 | Each | 100.00 | 350.00 | 26250.00 | 290.00 | 21750.00 | 670.00 | 50250.00 | 21750.00 | DEEPAKELECTRICALS
21.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
21.10 | 5/6 A Switch | 216.00 | Each | 100.00 | 50.00 | 10800.00 | 55.00 | 11880.00 | 115.00 | 24840.00 | 10800.00 | M/s LEESHA ELECTRICALS
21.20 | 15/16 A Switch | 112.00 | Each | 100.00 | 75.00 | 8400.00 | 90.00 | 10080.00 | 165.00 | 18480.00 | 8400.00 | M/s LEESHA ELECTRICALS
21.30 | 3 pin 5/6 A Socket outlet | 216.00 | Each | 100.00 | 75.00 | 16200.00 | 95.00 | 20520.00 | 135.00 | 29160.00 | 16200.00 | M/s LEESHA ELECTRICALS
21.40 | 6 pin 15/16 A socket outlet | 112.00 | Each | 100.00 | 150.00 | 16800.00 | 170.00 | 19040.00 | 215.00 | 24080.00 | 16800.00 | M/s LEESHA ELECTRICALS
22.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 68.00 | Each | 100.00 | 350.00 | 23800.00 | 450.00 | 30600.00 | 485.00 | 32980.00 | 23800.00 | M/s LEESHA ELECTRICALS
23.00 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/recessed steel conduit including dismantling as required. | 91.00 | Point | 100.00 | 650.00 | 59150.00 | 600.00 | 54600.00 | 670.00 | 60970.00 | 54600.00 | DEEPAKELECTRICALS
24.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 2.5 sq. mm | 600.00 | Mtr | 100.00 | 120.00 | 72000.00 | 145.00 | 87000.00 | 105.00 | 63000.00 | 63000.00 | Awasthi Electric Works
25.00 | Supplying and fixing extra down rod for ceiling fan of 100 cm length G.I. pipe, 15 mm dia, heavy gauge including, clamps, nuts, bolts, weldings, painting, etc. as required. (Note : Item execute as on need requirement) | 70.00 | Job | 100.00 | 100.00 | 7000.00 | 145.00 | 10150.00 | 150.00 | 10500.00 | 7000.00 | M/s LEESHA ELECTRICALS
26.00 | Supply of 20W, 4 feet, Energy efficient, surface mounting, batten type LED luminaries with aluminium housing and integrated electronic driver with operating voltage range (120 - 270V AC) with colour temperature 5700K range. LED having minimum 20,000 burning hours with minimum 70% lumen maintained, system consumption should be less than 20W and especially designed for commercial use etc., complete as required. Make: Philips, Model: Essential SmartBright Batten BN170C | 120.00 | Each | 100.00 | 450.00 | 54000.00 | 600.00 | 72000.00 | 305.00 | 36600.00 | 36600.00 | Awasthi Electric Works
27.00 | Supply of LED Street light fitting with wattage of 45W with high power LEDs, system efficay not less than 110 lumen/watt, suitable optics for uniform light distribution, integral control driver with minimum 3kV surge suppressor, fitting made up of high pressure die-cast aluminium housing with suitable thermal management arrangement, toughned glass with IP 65 protection, suitable to operate on single phase AC supply, inline with technical specifications etc., complete as required. | 38.00 | Each | 100.00 | 3000.00 | 114000.00 | 6900.00 | 262200.00 | 1450.00 | 55100.00 | 55100.00 | Awasthi Electric Works
28.00 | Supply of 1200mm Sweep, High speed, 230 m3/min air delivery, ceiling fan complete with fan blades, top and bottom canopy with all accessories suitable for operation on 230V AC supply etc., as required. | 100.00 | Each | 100.00 | 2800.00 | 280000.00 | 5500.00 | 550000.00 | 2050.00 | 205000.00 | 205000.00 | Awasthi Electric Works
29.00 | Supply of 450mm Sweep, High speed, 125 m3/min air delivery, wall fan complete with wide oscillating aerodynamic metal blades, 100% copper motor for longer performance, 3 Speed string based control for easy operations, easy tilting with unique pivot arrangement with all accessories suitable for operation on 230V AC supply etc., as required. | 30.00 | Each | 100.00 | 2500.00 | 75000.00 | 6500.00 | 195000.00 | 4050.00 | 121500.00 | 75000.00 | M/s LEESHA ELECTRICALS
30.00 | Supply of 230mm Sweep, High speed, 750 m3/Hr air delivery, exhaust fan complete with fan blades, with all accessories suitable for operation on 230V AC supply etc., as required. | 70.00 | Each | 100.00 | 2800.00 | 196000.00 | 3000.00 | 210000.00 | 1550.00 | 108500.00 | 108500.00 | Awasthi Electric Works
31.00 | Supply and fixing of wrinkle free bend, 40mm dia., 1.5 Meter length, Medium class GI Pipe with all arrangement for fixing of pipe on wall surface / GI Pole suitable for installation of LED Street light fitting. Job include fabrication, pipe cutting, bending, welding etc. complete as per site requirement. | 38.00 | Job | 100.00 | 1000.00 | 38000.00 | 1500.00 | 57000.00 | 1050.00 | 39900.00 | 38000.00 | M/s LEESHA ELECTRICALS
32.00 | Installation testing commissioning of all type of LED luminaries, ceiling fans, exhust fans, wall fans etc., including all necessary accessories / clamp / washers / metal chain on recess / surface /wall bracket / Wall mounted of height up to 5 mtrs etc., as required. | 430.00 | Each | 100.00 | 175.00 | 75250.00 | 65.00 | 27950.00 | 225.00 | 96750.00 | 27950.00 | DEEPAKELECTRICALS
33.00 | Supply of 10W, 2 feet, Energy efficient, wall / surface mounting, compact batten type LED luminaries with aluminium housing and integrated electronic driver with operating voltage range (120 - 270V AC) with colour temperature 5700K range. LED having minimum 20,000 burning hours with minimum 80% lumen maintained, system consumption should be less than 10W and especially designed for rest rooms / toilets use etc., complete as required. (Make: Crompton Laser Neo) | 58.00 | Each | 100.00 | 300.00 | 17400.00 | 670.00 | 38860.00 | 235.00 | 13630.00 | 13630.00 | Awasthi Electric Works
34.00 | Supply of 5W, 1 feet, Energy efficient, wall / surface mounting, compact batten type LED luminaries with aluminium housing and integrated electronic driver with operating voltage range (120 - 270V AC) with colour temperature 5700K range. LED having minimum 20,000 burning hours with minimum 80% lumen maintained, system consumption should be less than 5W and especially designed for rest rooms / toilets use etc., complete as required. Make: Crompton Laser Neo) | 140.00 | Each | 100.00 | 300.00 | 42000.00 | 540.00 | 75600.00 | 205.00 | 28700.00 | 28700.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 3316950.00 |  | 4177778.00 |  | 3367630.00
Lowest Amount Quoted BY: M/s LEESHA ELECTRICALS(3316950.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations, Renovation of AAI Residential Colony for CISF Accommodation at Vijayawada Airport. SH Electrical Work Tender ID: 2023_AAI_170699_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s LEESHA ELECTRICALS | 3316950.00 | L1
| 2 | Awasthi Electric Works | 3367630.00 | L2
| 3 | DEEPAKELECTRICALS | 4177778.00 | L3