## BoQ1
Government eProcurement System Created By: Anil kumar J Created Date/Time: 30-Nov-2023 10:28 AM Tender Title: Replacement of Existing Conventional type light fitting with LED type Light Fittings at Birsi Airport Gondia Tender ID: 2023_AAI_171424_1
Tender Inviting Authority: Assistant General Manager(Engg.-E), AAI, Gondia
Name of Work: Replacement of Existing Conventional type light fitting with LED type Light Fittings at Birsi Airport Gondia.
Contract No: 2023_AAI_171424 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | RVD INFRA SOLUTION PVT.LTD.(GSTN-24AAGCR7767L1ZQ) |  | Ascent Electrification Engineers(GSTN-24AAOFA2574R1ZU) |  | Kripa Electronics india pvt ltd(GSTN-27AACCK9472B1ZI) |  | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | DEEPAKELECTRICALS(GSTN-33ALUPD3531C1ZI) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | Krishsons International Engineers And Consultants (I) Pvt. Ltd(GSTN-NA) |  | Mankha Electrotech Pvt Ltd(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 200 Watt LED type flood light with minimum protection level > IP 65, pressure die cast housing with epoxy power coated prismatic poly carbonate cover with individual LED lenses and complete assembly with LED, driver and accessories pre-wired up to terminal block i/c suitable mounting accessories etc. as required. [Make: Bajaj, Model No.: GLEAM F 220L SY PC SD V2 or equivalent as approved by Engineer-in-Charge] | 10.00 | Each |  | 12000.00 | 120000.00 | 7020.00 | 70200.00 | 6865.00 | 68650.00 | 7250.00 | 72500.00 | 6500.00 | 65000.00 | 14800.00 | 148000.00 | 10000.00 | 100000.00 | 8100.00 | 81000.00 | 9000.00 | 90000.00 | 7600.00 | 76000.00 | 7280.00 | 72800.00 | 65000.00 | M/s LEESHA ELECTRICALS
2.00 | Supply of 150 Watt LED type Road/ Street light with minimum protection level > IP 65, pressure die cast housing with epoxy power coated prismatic poly carbonate cover with individual LED lenses and complete assembly with LED, driver and accessories pre-wired up to terminal block i/c suitable mounting accessories etc. as required. [Make: Bajaj, Model No.: ENXT P 180L WH PO TG SD or equivalent as approved by Engineer-in-Charge] | 185.00 | Each |  | 10000.00 | 1850000.00 | 5737.00 | 1061345.00 | 5034.00 | 931290.00 | 5750.00 | 1063750.00 | 5800.00 | 1073000.00 | 13000.00 | 2405000.00 | 6500.00 | 1202500.00 | 6300.00 | 1165500.00 | 6600.00 | 1221000.00 | 5000.00 | 925000.00 | 5590.00 | 1034150.00 | 925000.00 | Mankha Electrotech Pvt Ltd
3.00 | Fixing of 150 watt & 45 watt LED street light/Post top fitting on pole (upto 12 mtr. height) including suitable clamping arrangement in existing poles, i/c connection with 1.5 Sq.mm PVC insulated copper conductor single core cable, testing and commissioning complete as required. | 263.00 | Each |  | 200.00 | 52600.00 | 200.00 | 52600.00 | 127.00 | 33401.00 | 2500.00 | 657500.00 | 500.00 | 131500.00 | 200.00 | 52600.00 | 100.00 | 26300.00 | 750.00 | 197250.00 | 150.00 | 39450.00 | 450.00 | 118350.00 | 845.00 | 222235.00 | 26300.00 | M/s BHARAT ELECTRIC, NAGPUR
4.00 | Supply of 45 Watt LED type post top made in die cast aluminium bottom housing and spun aluminium top reflector with decorative clear acrylic diffuser and > IP 65 protection, opal diffuser available and complete assembly with LED, driver and accessories pre-wired up to terminal block i/c suitable mounting accessories etc. as required. [Make: Bajaj, Model No.: BGCTN 45W LED WH or equivalent as approved by Engineer-in-Charge] | 95.00 | Each |  | 4150.00 | 394250.00 | 4200.00 | 399000.00 | 3788.00 | 359860.00 | 6250.00 | 593750.00 | 4500.00 | 427500.00 | 6500.00 | 617500.00 | 5500.00 | 522500.00 | 3300.00 | 313500.00 | 4200.00 | 399000.00 | 8000.00 | 760000.00 | 5200.00 | 494000.00 | 313500.00 | Manish Electricals
5.00 | SITC of Weather proof IP 55 Cable junction box for 4X 4 Sq mm armoured cable with Connector and 32 Amp DP MCB for connection, including clamping arrangement complete etc as required. Model No:Sintex GSJB-3020 or equivlent | 150.00 | Each |  | 1150.00 | 172500.00 | 2500.00 | 375000.00 | 826.00 | 123900.00 | 1000.00 | 150000.00 | 1200.00 | 180000.00 | 1200.00 | 180000.00 | 1200.00 | 180000.00 | 3500.00 | 525000.00 | 1397.00 | 209550.00 | 3000.00 | 450000.00 | 1950.00 | 292500.00 | 123900.00 | Ascent Electrification Engineers
6.00 | Supply of LED type 36 Watt recess/suspended slim LED 2' x 2' panel integral light luminaries with powder coated rim complete including LED driver as required suitable for the operation on 230V, 50 Hz AC supply with all accessories complete as required & as specified. [Make : Bajaj, Model : BZRSQL 43L XE WH OD SD or equivalent as approved by Engineer-in-Charge] | 30.00 | Each |  | 1450.00 | 43500.00 | 1552.00 | 46560.00 | 1462.00 | 43860.00 | 2188.00 | 65640.00 | 1800.00 | 54000.00 | 2100.00 | 63000.00 | 2000.00 | 60000.00 | 2200.00 | 66000.00 | 1700.00 | 51000.00 | 2000.00 | 60000.00 | 2275.00 | 68250.00 | 43500.00 | jaydeep agency corporation
7.00 | Supply of LED type 36 Watt surface mounted slim LED 2' x 2' panel integral light luminaries with powder coated rim complete including LED driver as required suitable for the operation on 230V, 50 Hz AC supply with all accessories complete as required & as specified. [Make : Bajaj, Model : BZSSQL 36L LED WH GX or equivalent as approved by Engineer-in-Charge] | 10.00 | Each |  | 2100.00 | 21000.00 | 2092.00 | 20920.00 | 1843.00 | 18430.00 | 2513.00 | 25130.00 | 2000.00 | 20000.00 | 2100.00 | 21000.00 | 2500.00 | 25000.00 | 2100.00 | 21000.00 | 2100.00 | 21000.00 | 2000.00 | 20000.00 | 2275.00 | 22750.00 | 18430.00 | Ascent Electrification Engineers
8.00 | Supply of LED type 36 Watt recess/suspended slim LED 1' x 4' panel integral light luminaries with powder coated rim complete including LED driver as required suitable for the operation on 230V, 50 Hz AC supply with all accessories complete as required & as specified. [Make : Bajaj, Model : BZRSLL 36L LED GX WH SD or equivalent as approved by Engineer-in-Charge] | 20.00 | Each |  | 2250.00 | 45000.00 | 2160.00 | 43200.00 | 1602.00 | 32040.00 | 2513.00 | 50260.00 | 2000.00 | 40000.00 | 1440.00 | 28800.00 | 2500.00 | 50000.00 | 3000.00 | 60000.00 | 2500.00 | 50000.00 | 10000.00 | 200000.00 | 2990.00 | 59800.00 | 28800.00 | DEEPAKELECTRICALS
9.00 | Supply of LED type 36 Watt surface type slim LED 1' x 4' panel integral light luminaries with powder coated rim complete including LED driver as required suitable for the operation on 230V, 50 Hz AC supply with all accessories complete as required & as specified. [Make : Bajaj, Model : BZSSLL 36L LED WH I or equivalent as approved by Engineer-in-Charge] | 10.00 | Each |  | 2350.00 | 23500.00 | 2632.00 | 26320.00 | 2034.00 | 20340.00 | 2688.00 | 26880.00 | 2000.00 | 20000.00 | 1440.00 | 14400.00 | 2500.00 | 25000.00 | 3500.00 | 35000.00 | 2670.00 | 26700.00 | 10000.00 | 100000.00 | 2990.00 | 29900.00 | 14400.00 | DEEPAKELECTRICALS
10.00 | Supply of 20 watt surface and wall mounted LED batten (4 ft) with polycarbonate housing & integrated electronic driver i/c pre-wired, complete with all accessories and tube etc. directly on ceiling/ wall etc. as required. [Make : Bajaj, ModeL: BCLAB 20W LED P or equivalent as approved by Engineer-in-Charge] | 30.00 | Each |  | 450.00 | 13500.00 | 202.00 | 6060.00 | 292.00 | 8760.00 | 225.00 | 6750.00 | 500.00 | 15000.00 | 450.00 | 13500.00 | 350.00 | 10500.00 | 350.00 | 10500.00 | 250.00 | 7500.00 | 360.00 | 10800.00 | 325.00 | 9750.00 | 6060.00 | RVD INFRA SOLUTION PVT.LTD.
11.00 | Supply of 12 watt LED, Non maintained weather proof rechargeble surface type Emergency lamp with 3 hrs.battery back up (IP 65), automatically switches-ON on main power failure. Make: Prolite, Model No. PEL LED NM/WP(1) | 40.00 | Each |  | 9500.00 | 380000.00 | 11000.00 | 440000.00 | 6356.00 | 254240.00 | 10625.00 | 425000.00 | 6000.00 | 240000.00 | 1200.00 | 48000.00 | 5005.00 | 200200.00 | 4800.00 | 192000.00 | 5000.00 | 200000.00 | 4000.00 | 160000.00 | 10010.00 | 400400.00 | 48000.00 | DEEPAKELECTRICALS
12.00 | Supply of 12 watt LED Non maintained rechargeble recessed type (Opal) Emergency lamp with 3 hrs. battery back up (IP 20), automatically switches-ON on main power failure. Make: Prolite, Model No. PEL LED NM RM. | 20.00 | Each |  | 9300.00 | 186000.00 | 10800.00 | 216000.00 | 5721.00 | 114420.00 | 10375.00 | 207500.00 | 7000.00 | 140000.00 | 1500.00 | 30000.00 | 5500.00 | 110000.00 | 6500.00 | 130000.00 | 5000.00 | 100000.00 | 3600.00 | 72000.00 | 10296.00 | 205920.00 | 30000.00 | DEEPAKELECTRICALS
13.00 | Supply of LED Aviation light luminare(Intergral LED aviation light comprising of aluminium housing with polycarbonate enclosure) i/c connection, suitable for 230volts AC, [Make Bajaj Mode No: BGAV 302 LED or equivalent as approved by Engineer-in-Charge] | 10.00 | Each |  | 3200.00 | 32000.00 | 4000.00 | 40000.00 | 5721.00 | 57210.00 | 3625.00 | 36250.00 | 4200.00 | 42000.00 | 6500.00 | 65000.00 | 4000.00 | 40000.00 | 6200.00 | 62000.00 | 3000.00 | 30000.00 | 5000.00 | 50000.00 | 4680.00 | 46800.00 | 30000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
| Total in Figures |  |  |  |  | 3333850.00 |  | 2797205.00 |  | 2066401.00 |  | 3380910.00 |  | 2448000.00 |  | 3686800.00 |  | 2552000.00 |  | 2858750.00 |  | 2445200.00 |  | 3002150.00 |  | 2959255.00
Lowest Amount Quoted BY: Ascent Electrification Engineers(2066401.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Existing Conventional type light fitting with LED type Light Fittings at Birsi Airport Gondia Tender ID: 2023_AAI_171424_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ascent Electrification Engineers | 2066401.00 | L1
| 2 | Krishsons International Engineers And Consultants (I) Pvt. Ltd | 2445200.00 | L2
| 3 | M/s LEESHA ELECTRICALS | 2448000.00 | L3
| 4 | M/s BHARAT ELECTRIC, NAGPUR | 2552000.00 | L4
| 5 | RVD INFRA SOLUTION PVT.LTD. | 2797205.00 | L5
| 6 | Manish Electricals | 2858750.00 | L6
| 7 | ABHISHEK INTEGRATIONS LIMITED | 2959255.00 | L7
| 8 | Mankha Electrotech Pvt Ltd | 3002150.00 | L8
| 9 | jaydeep agency corporation | 3333850.00 | L9
| 10 | Kripa Electronics india pvt ltd | 3380910.00 | L10
| 11 | DEEPAKELECTRICALS | 3686800.00 | L11