## BoQ1
Government eProcurement System Created By: KHEMRAJ MEENA Created Date/Time: 29-Nov-2023 05:44 PM Tender Title: Construction of Antenna Mast, Boundary Wall, Provision of ATU Shelter and allied works for installation of NDB at KOTA Airport Tender ID: 2023_AAI_172866_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-C), Kishangarh Airport, Ajmer
Name of work : Construction of Antenna Mast, Boundary Wall, Provision of ATU Shelter and allied works for installation of NDB at KOTA Airport.
Contract No: 9001297032
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | infra solution(GSTN-07DMKPS6571R1ZU) |  | Proficio Engineering And Construction Pvt. Ltd.(GSTN-07AAHCP4985D2Z5) |  | Lok Shail Enterprises(GSTN-08ACXPK9891L1ZA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil | 71.00 | Cum | 100.00 | 240.00 | 17040.00 | 90.00 | 6390.00 | 250.00 | 17750.00 | 6390.00 | Proficio Engineering And Construction Pvt. Ltd.
2.00 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m. Ordinary rock | 47.00 | Cum | 101.00 | 650.00 | 30550.00 | 90.00 | 4230.00 | 390.00 | 18330.00 | 4230.00 | Proficio Engineering And Construction Pvt. Ltd.
3.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil Pipes, cables etc, not exceeding 80 mm dia | 1080.00 | Metre | 101.00 | 95.00 | 102600.00 | 50.00 | 54000.00 | 225.00 | 243000.00 | 54000.00 | Proficio Engineering And Construction Pvt. Ltd.
4.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia. | 90.00 | Metre | 101.00 | 210.00 | 18900.00 | 50.00 | 4500.00 | 500.00 | 45000.00 | 4500.00 | Proficio Engineering And Construction Pvt. Ltd.
5.00 | Excavating trenches of required width for pipes, cables, etc, including excavation for sockets, depth upto 1.5 m, including getting out the excavated materials, returning the soil as required in layers not exceeding 20 cm in depth, including consolidating each deposited layers by ramming, watering etc., stacking serviceable material for measurements and disposal of unserviceable material as directed, within a lead of 50 m : Ordinary rock : Pipes, cables etc. not exceeding 80 mm dia | 1080.00 | Metre | 101.00 | 95.00 | 102600.00 | 50.00 | 54000.00 | 400.00 | 432000.00 | 54000.00 | Proficio Engineering And Construction Pvt. Ltd.
6.00 | Excavating trenches of required width for pipes, cables, etc, including excavation for sockets, depth upto 1.5 m, including getting out the excavated materials, returning the soil as required in layers not exceeding 20 cm in depth, including consolidating each deposited layers by ramming, watering etc., stacking serviceable material for measurements and disposal of unserviceable material as directed, within a lead of 50 m : Ordinary rock : Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia. | 60.00 | Metre | 100.00 | 250.00 | 15000.00 | 50.00 | 3000.00 | 850.00 | 51000.00 | 3000.00 | Proficio Engineering And Construction Pvt. Ltd.
7.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m | 28.00 | Cum | 101.00 | 650.00 | 18200.00 | 30.00 | 840.00 | 250.00 | 7000.00 | 840.00 | Proficio Engineering And Construction Pvt. Ltd.
8.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil | 4535.00 | Sqm | 101.00 | 12.00 | 54420.00 | 10.00 | 45350.00 | 10.00 | 45350.00 | 45350.00 | Proficio Engineering And Construction Pvt. Ltd., Lok Shail Enterprises
9.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 1.00 | Cum | 101.00 | 11000.00 | 11000.00 | 6000.00 | 6000.00 | 7000.00 | 7000.00 | 6000.00 | Proficio Engineering And Construction Pvt. Ltd.
10.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources | 25.00 | Cum | 101.00 | 5200.00 | 130000.00 | 6500.00 | 162500.00 | 5000.00 | 125000.00 | 125000.00 | Lok Shail Enterprises
11.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : Foundations, footings, bases for columns | 79.00 | Sqm | 100.00 | 250.00 | 19750.00 | 350.00 | 27650.00 | 270.00 | 21330.00 | 19750.00 | infra solution
12.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 5.00 | Cum | 101.00 | 11500.00 | 57500.00 | 7500.00 | 37500.00 | 7300.00 | 36500.00 | 36500.00 | Lok Shail Enterprises
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for. Extra for shuttering in circular work (20% of respective centering and shuttering items) | 7.00 | Sqm | 101.00 | 450.00 | 3150.00 | 300.00 | 2100.00 | 55.00 | 385.00 | 385.00 | Lok Shail Enterprises
14.00 | Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and bindling all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 600.00 | Kg | 101.00 | 90.00 | 54000.00 | 95.00 | 57000.00 | 90.00 | 54000.00 | 54000.00 | infra solution, Lok Shail Enterprises
15.00 | Brick work with common burnt clay F.P.S (non modular) bricks of class designation 7.5 in foundation and plinth in :- Cement mortar 1:6 (1 cement :6 coarse sand) | 69.00 | Cum | 101.00 | 6800.00 | 469200.00 | 7500.00 | 517500.00 | 4500.00 | 310500.00 | 310500.00 | Lok Shail Enterprises
16.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 64.00 | Cum | 100.00 | 7000.00 | 448000.00 | 7500.00 | 480000.00 | 5500.00 | 352000.00 | 352000.00 | Lok Shail Enterprises
17.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete | 1.00 | Each | 101.00 | 6500.00 | 6500.00 | 9500.00 | 9500.00 | 1000.00 | 1000.00 | 1000.00 | Lok Shail Enterprises
18.00 | 12 mm cement plaster of mix : 1:6 (1 cement : 6 coarse sand) | 604.00 | Sqm | 101.00 | 290.00 | 175160.00 | 200.00 | 120800.00 | 240.00 | 144960.00 | 120800.00 | Proficio Engineering And Construction Pvt. Ltd.
19.00 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade. New work (Two or more coats applied @ 1.43 ltr/ 10 sqm. over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 604.00 | Sqm | 101.00 | 160.00 | 96640.00 | 130.00 | 78520.00 | 100.00 | 60400.00 | 60400.00 | Lok Shail Enterprises
20.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 10.00 | Sqm | 101.00 | 210.00 | 2100.00 | 120.00 | 1200.00 | 100.00 | 1000.00 | 1000.00 | Lok Shail Enterprises
21.00 | Supplying and stacking at site.: Good earth | 2.00 | Cum | 100.00 | 800.00 | 1600.00 | 550.00 | 1100.00 | 750.00 | 1500.00 | 1100.00 | Proficio Engineering And Construction Pvt. Ltd.
22.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge) | 7.00 | Cum | 101.00 | 8200.00 | 57400.00 | 950.00 | 6650.00 | 6000.00 | 42000.00 | 6650.00 | Proficio Engineering And Construction Pvt. Ltd.
23.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern | 50.00 | Sqm | 101.00 | 800.00 | 40000.00 | 1050.00 | 52500.00 | 1000.00 | 50000.00 | 40000.00 | infra solution
24.00 | Providing and fixing G.I. pipes complete with G.I. fittings etc in already excavated trentches all complete as per direction of EIC. External work 50 mm dia nominal bore | 1800.00 | Metre | 101.00 | 595.00 | 1071000.00 | 900.00 | 1620000.00 | 475.00 | 855000.00 | 855000.00 | Lok Shail Enterprises
25.00 | Providing and fixing G.I. pipes complete with G.I. fittings etc in already excavated trentches all complete as per direction of EIC. External work 100 mm dia nominal bore | 150.00 | Metre | 101.00 | 1280.00 | 192000.00 | 1500.00 | 225000.00 | 800.00 | 120000.00 | 120000.00 | Lok Shail Enterprises
26.00 | Providing and laying 4mm outer dia non stranded continuous steel guide wire without joints, to be laid within/inside GI pipes (2” and 4”) for enabling laying/pulling of RF/DC cable & copper strip during equipment installation as per direction of EIC. | 1950.00 | Metre | 100.00 | 65.00 | 126750.00 | 40.00 | 78000.00 | 25.00 | 48750.00 | 48750.00 | Lok Shail Enterprises
27.00 | Providing and fixing of frangible cabins/huts of size 3.20M x 1.58M (outside) & of height 2.13M towards one end and 2.44M towards other end, wall thickness of 40MM, made of PPE honeycomb or Fibre reinforced PUF Low Smoke Fire Retardant material for housing NAV AID equipments /ATU equipements in operational area at the airport i/c design, vetting, fabrication, erection and commissioning of cabins/huts at site, as per drawing and specifications enclosed, over a C.C. platform. The rate shall be inclusive of all costs of material, labour, T&P, scaffolding, fixing /anchorage arrangement for electrical fittings/ fixtures/ conduits, all taxes, duties, cess, incidental, surcharges, Octroi, Royalty, transportation, handling charges, Watch & ward, consultant fees etc. all complete as per direction & satisfaction of Engineer-in-Charge. (C.C. platform shall be provided by AAI). | 1.00 | Job | 101.00 | 300000.00 | 300000.00 | 150000.00 | 150000.00 | 570000.00 | 570000.00 | 150000.00 | Proficio Engineering And Construction Pvt. Ltd.
28.00 | Providing and operating crane of 120 Feet boom with load capacity of minimum one tonne for erection of antinna truss etc. including fuel, driver and any other incidential break down charges on this account etc complete as per direction and satisfaction of Engineer-In-Charge. | 2.00 | Day | 101.00 | 16000.00 | 32000.00 | 9000.00 | 18000.00 | 20000.00 | 40000.00 | 18000.00 | Proficio Engineering And Construction Pvt. Ltd.
29.00 | Providing and operating Hydraulic excavator of minimum 1 cum capacity at site for levelling cutting, filling etc. including fuel, driver and any other incidential break down charges on this account etc complete as per direction and satisfaction of Engineer-In-Charge. | 80.00 | Hour | 101.00 | 1200.00 | 96000.00 | 4000.00 | 320000.00 | 1200.00 | 96000.00 | 96000.00 | infra solution, Lok Shail Enterprises
30.00 | Supplying of unskilled labour with required T&P complete as per direction of Engineer-In-Charge. | 168.00 | Day | 101.00 | 850.00 | 142800.00 | 650.00 | 109200.00 | 750.00 | 126000.00 | 109200.00 | Proficio Engineering And Construction Pvt. Ltd.
31.00 | Supplying of welder with welding machine and all accessaries required for welding i/c transportation etc. complete as per direction of Engineer-In-Charge. | 10.00 | Day | 100.00 | 4500.00 | 45000.00 | 950.00 | 9500.00 | 3000.00 | 30000.00 | 9500.00 | Proficio Engineering And Construction Pvt. Ltd.
| Total in Figures |  |  |  |  | 3936860.00 |  | 4262530.00 |  | 3952755.00
Lowest Amount Quoted BY: infra solution(3936860.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Antenna Mast, Boundary Wall, Provision of ATU Shelter and allied works for installation of NDB at KOTA Airport Tender ID: 2023_AAI_172866_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | infra solution | 3936860.00 | L1
| 2 | Lok Shail Enterprises | 3952755.00 | L2
| 3 | Proficio Engineering And Construction Pvt. Ltd. | 4262530.00 | L3