## BoQ1
Government eProcurement System Created By: GUNDA SHIVA KUMAR Created Date/Time: 15-Nov-2023 05:37 PM Tender Title: Miscellaneous Capital Works at Kalaburagi Airport SH Reconfiguration of Terminal Building at Kalaburagi Airport Kalaburagi Tender ID: 2023_AAI_172965_1
Tender Inviting Authority: Senior Manager (Engg-Civil), Kalaburagi Airport, Kalaburagi, Karnataka, 585 102, Contact No: 8374179111
Name of Work: Miscellaneous Capital Works at Kalaburagi Airport. SH: Re-configuration of Terminal Building at Kalaburagi Airport, Kalaburagi
Contract No: 2023_AAI_172965_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Fermium Constructions LLP(GSTN-06AADFF1864C1ZU)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 39.00 | Cum | 100.00 | 200.00 | 7800.00 | 7800.00 | Fermium Constructions LLP
1.02 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 40 mm nominal size). | 3.00 | Cum | 100.00 | 6500.00 | 19500.00 | 19500.00 | Fermium Constructions LLP
1.03 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 8.00 | Cum | 100.00 | 5500.00 | 44000.00 | 44000.00 | Fermium Constructions LLP
1.04 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 3.40 | Cum | 100.00 | 7000.00 | 23786.00 | 23786.00 | Fermium Constructions LLP
1.05 | Centering and shuttering including strutting, propping etc. and removal of form for: Lintels, beams, plinth beams, girders, bressumers and cantilevers | 11.00 | Sqm | 100.00 | 600.00 | 6600.00 | 6600.00 | Fermium Constructions LLP
1.06 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 306.00 | Kg | 100.00 | 100.00 | 30600.00 | 30600.00 | Fermium Constructions LLP
1.07 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : cement mortar 1:4 (1 cement : 4 coarse sand) | 42.00 | Sqm | 100.00 | 1000.00 | 42000.00 | 42000.00 | Fermium Constructions LLP
1.08 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: cement mortar 1:6 (1 cement : 6 coarse sand) | 102.00 | Cum | 100.00 | 7000.00 | 714000.00 | 714000.00 | Fermium Constructions LLP
1.09 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : Cement mortar 1:6 (1 cement : 6 coarse sand) | 13.00 | Cum | 100.00 | 5500.00 | 71500.00 | 71500.00 | Fermium Constructions LLP
1.10 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 488.00 | Sqm | 100.00 | 1400.00 | 683200.00 | 683200.00 | Fermium Constructions LLP
1.11 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | 3.00 | cum | 100.00 | 150000.00 | 450000.00 | 450000.00 | Fermium Constructions LLP
1.12 | Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both ces of shutters. 9.20.1 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 76.00 | Sqm | 100.00 | 3000.00 | 228000.00 | 228000.00 | Fermium Constructions LLP
1.13 | 25 mm thick PVC flush door shutters made out of a one piece Multi chamber extruded PVC section of the size of 762 mm X 25 mm or less as per requirement with an average wall thickness of 1 mm (± 0.3 mm). PVC foam end cap of size 23x10 mm are provided on both vertical edges to ensure the overall thickness of 25 mm. M.S. tube having dimensions 19 mm x 19 mm and 1.0 mm (± 0.1 mm) is inserted along the hinge side of the door. Core of the door shutter should be filled with High Density Polyurethane foam. The Top & Bottom edges of the shutter are covered with an end-cap of the size 25 mm X 11 mm. Door shutter shall be reinforced with special polymeric reinforcements as per manufacturer’s specification and direction of Engineer-in-charge to take up necessary hardware and fixtures. Stickers indicating the locations of hardware will be pasted at appropriate places | 8.00 | Sqm | 100.00 | 2500.00 | 20000.00 | 20000.00 | Fermium Constructions LLP
1.14 | Providing and fixing factory made P.V.C. door frame of size 50x47 mm with a wall thickness of 5 mm, made out of extruded 5mm rigid PVC foam sheet, mitred at corners and joined with 2 Nos of 150 mm long brackets of 15x15 mm M.S. square tube, the vertical door frame profiles to be reinforced with 19x19 mm M.S. square tube of 19 gauge, EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100 mm size, complete as per manufacturer’s specification and direction of Engineer?in-Charge | 14.00 | Mts | 100.00 | 500.00 | 7000.00 | 7000.00 | Fermium Constructions LLP
1.15 | Providing and fixing 12 mm thick panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick. | 27.00 | Sqm | 100.00 | 2000.00 | 54000.00 | 54000.00 | Fermium Constructions LLP
1.16 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.5 mm thick | 54.00 | Sqm | 100.00 | 2000.00 | 108000.00 | 108000.00 | Fermium Constructions LLP
1.17 | Providing and fixing plain lining with necessary screws/nuts & bolts/ nails, including a coat of approved primer on one face, and fixed on wooden /steel frame work, complete as per direction of Engineer-incharge (Frame work shall be paid for separately). 12mm thick commercial ply conforming to IS : 1328 BWR type | 27.00 | Sqm | 100.00 | 1500.00 | 40500.00 | 40500.00 | Fermium Constructions LLP
1.18 | Providing and fixing factory made uPVC white colour fixed glazed windows/ ventilators comprising of uPVC multi-chambered frame and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), , uPVC extruded glazing beads of appropriate dimension, EPDM gasket, G.I fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes and silicon sealant shall be paid separately). Fixed window / ventilator made of (small series) frame 47 x 50 mm & mullion 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension. | 3.00 | sqm | 100.00 | 6000.00 | 18000.00 | 18000.00 | Fermium Constructions LLP
1.19 | Providing and fixing factory made uPVC white colour sliding glazed window upto 1.50 m in height dimension comprising of uPVC multi-chambered frame with in-built roller track and sash extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), appropriate dimension of uPVC extruded glazing beads and uPVC extruded interlocks, EPDM gasket, wool pile, zinc alloy (white powder coated) touch locks with hook, zinc alloy body with single nylon rollers (weight bearing capacity to be 40 kg), G.I fasteners 100 x 8 mm size for fixing frame to finished wall and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, including drilling of holes for fixing hardware's and drainage of B106water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes, wire mesh and silicon sealent shall be paid separately) Two track two panels sliding window made of (small series) frame 52 x 44 mm &sash 32 x 60 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension. (Area of window upto 1.75 sqm) | 13.00 | Sqm | 100.00 | 6000.00 | 78000.00 | 78000.00 | Fermium Constructions LLP
1.20 | Providing and fixing factory made uPVC white colour sliding glazed door comprising of uPVC multi-chambered frame with in-built roller track and sash extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), appropriate dimension uPVC extruded glazing beads, uPVC extruded interlock and uPVC extruded Inline sash adaptor (if required), EPDM gasket, wool pile, zinc alloy (white powder coated) handle with key on one side of extreme panels along with zinc plated mild steel multi point locking having transmission gear with keeps, zinc alloy (white powder coated) cresent lock (if required), stainless steel (SS 304 grade) body with adjustable double nylon rollers (weight bearing capacity to be 120 kg), G.I fasteners 100 x 8 mm size for fixing frame to finished wall and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes, wire mesh and silicon sealent shall be paid separately). Two track two panels sliding door made of (big series) frame 67 x 50 mm & sash 46 x 82 mm both having wall thickness of 2.3 ± 0.2 mm and single glazing bead / double glazing bead of appropriate dimension. (Area of door above 2.00 sqm upto 5.00 sqm) | 6.00 | Sqm | 100.00 | 5500.00 | 33000.00 | 33000.00 | Fermium Constructions LLP
1.21 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 5900.00 | Kg | 100.00 | 120.00 | 708000.00 | 708000.00 | Fermium Constructions LLP
1.22 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 1239.00 | Kg | 100.00 | 140.00 | 173460.00 | 173460.00 | Fermium Constructions LLP
1.23 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 553.00 | Kg | 100.00 | 700.00 | 387100.00 | 387100.00 | Fermium Constructions LLP
1.24 | 38 mm thick wood block flooring of first class teak wood laid over 25 mm thick leveling layer of cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 10 mm nominal size) to be paid separately, coated with a thin layer of hot bitumen penetration 80/25 (blown type) @ 2.45 kg per sqm, including fixing blocks in position after dipping in hot bitumen (blown type) up to half depth, planed, levelled smooth and finished complete. | 67.00 | Sqm | 100.00 | 8000.00 | 536000.00 | 536000.00 | Fermium Constructions LLP
1.25 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size Size of Tile 600 x 1200 mm | 250.00 | Sqm | 100.00 | 1600.00 | 400000.00 | 400000.00 | Fermium Constructions LLP
1.26 | Providing and laying flamed finish Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in- charge : Flamed finish granite stone slab Jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent. | 704.00 | Sqm | 100.00 | 3500.00 | 2464000.00 | 2464000.00 | Fermium Constructions LLP
1.27 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | 157.00 | Sqm | 100.00 | 1300.00 | 204100.00 | 204100.00 | Fermium Constructions LLP
1.28 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 164.00 | Sqm | 100.00 | 650.00 | 106600.00 | 106600.00 | Fermium Constructions LLP
1.29 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 129.00 | Sqm | 100.00 | 250.00 | 32250.00 | 32250.00 | Fermium Constructions LLP
1.30 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 263.00 | Sqm | 100.00 | 300.00 | 78900.00 | 78900.00 | Fermium Constructions LLP
1.31 | Pointing on stone work with cement mortar 1:3 (1 cement : 3 fine sand) : Flush/ Ruled pointing | 38.00 | Sqm | 100.00 | 300.00 | 11400.00 | 11400.00 | Fermium Constructions LLP
1.32 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : Water thinnable cement primer | 162.00 | Sqm | 100.00 | 100.00 | 16200.00 | 16200.00 | Fermium Constructions LLP
1.33 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 681.00 | Sqm | 100.00 | 140.00 | 95340.00 | 95340.00 | Fermium Constructions LLP
1.34 | Finishing with Deluxe Multi surface paint system for interiors and exteriors using Primer as per manufacturers specifications : Two or more coats applied on walls @ 1.25 ltr/10 sqm over and including one coat of Special primer applied @ 0.75 ltr /10 sqm | 162.00 | Sqm | 100.00 | 300.00 | 48600.00 | 48600.00 | Fermium Constructions LLP
1.35 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 154.00 | sqm | 100.00 | 140.00 | 21560.00 | 21560.00 | Fermium Constructions LLP
1.36 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :Two or more coats on new work. | 50.00 | sqm | 100.00 | 120.00 | 6000.00 | 6000.00 | Fermium Constructions LLP
1.37 | Providing and applying white cement based putty of average thickness 1mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 162.00 | Sqm | 100.00 | 90.00 | 14580.00 | 14580.00 | Fermium Constructions LLP
1.38 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal outer dia Pipes | 500.00 | Mts | 100.00 | 500.00 | 250000.00 | 250000.00 | Fermium Constructions LLP
1.39 | Providing, laying and jointing glazed stoneware pipes class SP-1with stiff mixture of cement mortar in the proportion of 1:1 (1 cement: 1 fine sand) including testing of joints etc. complete : 150mm dia | 150.00 | Mts | 100.00 | 600.00 | 90000.00 | 90000.00 | Fermium Constructions LLP
1.40 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : 150mm dia | 150.00 | Mts | 100.00 | 1100.00 | 165000.00 | 165000.00 | Fermium Constructions LLP
1.41 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 5.00 | each | 100.00 | 2200.00 | 11000.00 | 11000.00 | Fermium Constructions LLP
1.42 | Dismantling of old S.W. pipes including breaking of joints and bed concrete stacking of useful materials near the site within 50 m lead and disposal of unserviceable materials into municipal dumps : 150mm dia | 150.00 | Mts | 100.00 | 100.00 | 15000.00 | 15000.00 | Fermium Constructions LLP
1.43 | Constructing brick masonry manhole in cement mortar 1:4 ( 1cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 5.00 | each | 100.00 | 8000.00 | 40000.00 | 40000.00 | Fermium Constructions LLP
1.44 | Supplying and fixing C.I. cover 300x300 mm without frame for gully trap (standard pattern) the weight of cover to be not less than 4.5 kg | 5.00 | each | 100.00 | 1000.00 | 5000.00 | 5000.00 | Fermium Constructions LLP
1.45 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Min anodic coating of grade AC 15) | 74.00 | Kg | 100.00 | 600.00 | 44400.00 | 44400.00 | Fermium Constructions LLP
1.46 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 103.00 | Kg | 100.00 | 600.00 | 61800.00 | 61800.00 | Fermium Constructions LLP
1.47 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 78.00 | sqm | 100.00 | 1500.00 | 117000.00 | 117000.00 | Fermium Constructions LLP
1.48 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete Upto 5mm depth and 5 mm width | 93.00 | mts | 100.00 | 100.00 | 9300.00 | 9300.00 | Fermium Constructions LLP
1.49 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double action hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-incharge (Door handle, lock and stopper etc.to be paid separately). | 6.00 | sqm | 100.00 | 3500.00 | 21000.00 | 21000.00 | Fermium Constructions LLP
1.50 | Providing and supplying aluminium extruded tubular and other aluminium sections as per the architectural drawings and approved shop drawings , the aluminium quality as per grade 6063 T5 or T6 as per BS 1474, including super durable powder coating of 60-80 microns conforming to AAMA 2604 of required colour and shade as approved by the Engineer-in-Charge. ( The item includes cost of material such as cleats, sleeves, screws etc. necessary for fabrication of extruded aluminium frame work. Nothing extra shall be paid on this account). The weight of aluminium extruded section shall be taken for purpose of payment. | 300.00 | Kg | 100.00 | 500.00 | 150000.00 | 150000.00 | Fermium Constructions LLP
1.51 | Designing, fabricating, testing, protection, installing and fixing in position semi (grid) unitized system of structural glazing (with open joints) for linear as well as curvilinear portions of the building for all heights and all levels, including: (a) Structural analysis & design and preparation of shop drawings for the specified design loads conforming to IS 875 part III (the system must passed the proof test at 1.5 times design wind pressure without any failure), including functional design of the aluminum sections for fixing glazing panels of various thicknesses, aluminium cleats, sleeves and splice plates etc. gaskets, screws, toggles, nuts, bolts, clamps etc., structural and weather silicone sealants, flashings, fire stop (barrier)- cum-smoke seals, microwave cured EPDM gaskets for water tightness, pressure equalisation & drainage and protection against fire hazard including: (b) Fabricating and supplying serrated M.S. hot dip galvanised/ Aluminium alloy of 6005 T5 brackets of required sizes, sections and profiles etc. to accommodate 3 Dimentional movement for achieving perfect verticality and fixing structural glazing system rigidly to the RCC/ masonry/structural steel framework of building structure using stainless steel anchor fasteners/ bolts, nylon seperator to prevent bimetallic contacts with nuts and washers etc. of stainless steel grade 316, of the required capacity and in required numbers. (c) Providing and filling, two part pump filled, structural silicone sealant and one part weather silicone sealant compatible with the structural silicone sealant of required bite size in a clean and controlled factory / work shop environment, including double sided spacer tape, setting blocks and backer rod, all of approved grade, brand and manufacture, as per the approved sealant design, within and all around the perimeter for holding glass. Providing and fixing in position flashings of solid aluminium sheet 1 mm thick and of sizes, shapes and profiles, as required as per the site conditions, to seal the gap between the building structure and all its interfaces with curtain glazing to make it watertight. (e) Making provision for drainage of moisture/ water that enters the curtain glazing system to make it watertight, by incorporating principles of pressure equalization, providing suitable gutter profiles at bottom (if required), making necessary holes of required sizes and of required numbers etc. complete. This item includes cost of all inputs of designing, labour for fabricating and installation of aluminium grid, installation of glazed units, T&P, scaffolding and other incidental charges including wastages etc., enabling temporary structures and services, cranes or cradles etc. as described above and as specified. The item includes the cost of getting all the structural and functional design including shop drawings checked by a structural designer, dully approved by Engineer-in-charge. The item also includes the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working structural glazing as specified, cleaning and protection till the handing over of the building for occupation. In the end, the Contractor shall provide a water tight structural glazing having all the performance characteristics etc. all complete as required, as per the Architectural drawings, as per item description, as specified, as per the approved shop drawings and as directed by the Engineer- in-Charge. Note:- 1. The cost of providing extruded aluminium frames, shadow boxes, extruded aluminium section capping for fixing in the grooves of the curtain glazing and vermin proof stainless steel wire mesh shall be paid for separately under relevant items under this sub- head. However, for the purpose of payment, only the actual area of structural glazing (including width of grooves) on the external face shall be measured in sqm. up to two decimal places. Note:-2. The following performance test are to be conducted on structural glazing system if area of structural glazing exceeds 2500 Sqm from the certified laboratories accreditated by NABL(National Accreditation Board for Testing and Calibration Laboratories), Department of Science & Technologies, India. Cost of testing is payable separately. The NIT approving authority will decide the necessity of testing on the basis of cost of the work, cost of the test and importance of the work. Performance Testing of Structural glazing system Tests to be conducted in the NABL accredited lab or any other accreditation body which operates in accordance with ISO/IEC 17011 and accredits labs as per ISO/IEC 17025 1. Performance Laboratory Test for Air Leakage Test (-50pa to - 300pa) & (+50pa to +300pa) as per ASTM E-283-04 testing method for a range of testing limit 1 to 200 mVhr 2. Static Water Penetration Test. (50pa to 1500pa) as per ASTME- 331-09 testing method for a range up to 2000 ml. 3. Dynamic Water Penetration (50pa to 1500pa) as per AAMA 501.01- 05 testing method for a range upto 2000 ml 4. Structural Performance Deflection and deformation by static air pressure test (1.5 times design wind pressure without any failure) as per ASTME-330-10 testing method for a range upto 50 5. Seismic Movement Test (upto 30 mm) as per AAMA 501.4-09 testing method for Qualitative test, Tests to be conducted on site. 6. Onsite Test for Water Leakage for a pressure range 50 kpa to 240 kpa (35psi) upto 2000 ml | 2239.00 | Sqm | 100.00 | 3000.00 | 6717000.00 | 6717000.00 | Fermium Constructions LLP
1.52 | Design supply & installation of suspended Spider Glazing system designed to withstand the wind pressure as per IS 875 (Part-III). The Suspended System held with Spider Fittings of SS-316 Grade Steel of approved manufacturer with glass panel having 12 mm thick clear toughened glass held together with SS- 316 Grade Stainless steel Spider & bolt assembly with laminated glass fins 21 mm thick. The Glass fins and glass panel assembly shall be connected to Slab/ beams by means of SS- 316 Grade stainless steel brackets & Anchor bolts and at the bottom using SS channel of 50x25x2mm using fastener & anchor bolts, non staining weather sealants of approved make, Teflon/ nylon bushes and separators to prevent bi-metallic contacts, all complete to perform as per specification and approved drawings. The complete system to be designed to accommodate thermal expansion & seismic movements etc. The joints between glass panels (6 to 8 mm) and gaps at the perimeter & in U channel of the assembly to be filled with non staining weather sealant, so as to make the entire system fully water proof & dust proof. The rate shall include all design, Engineering and shop drawing including approval from structural designer, labour, T&P, scaffolding, other incidental charges including wastage, enabling temporary services all fitting fixers nut bolts, washer, Buffer plates, fastener, anchors, SS channel laminated glass etc. all complete. For the purpose of payment, actual elevation area of Glazing including thickness of joints and the portion of Glass panel inside the SS channel shall be measured. | 99.00 | Sqm | 100.00 | 8000.00 | 792000.00 | 792000.00 | Fermium Constructions LLP
1.53 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. With stainless steel cover plate minimum 1.25 mm thickness | 20.00 | each | 100.00 | 15000.00 | 300000.00 | 300000.00 | Fermium Constructions LLP
1.54 | Providing and fixing wall mounted, white vitreous china single piece, double traps syphonic water closet of One-piece toilet with Quiet-Close™ slim seat cover in white S-Trap, 305mm of Kohler make or equivalent, shape, size and pattern including integrated white vitreous china cistern of capacity 10 litres with dual flushing system, including all fittings and fixtures with seat cover, cistern fittings, nuts, bolts and gasket etc including making connection with the existing P/S trap, complete in all respect as per directions of Engineer-in-Charge. | 2.00 | each | 100.00 | 110000.00 | 220000.00 | 220000.00 | Fermium Constructions LLP
1.55 | Providing and fixing floor mounted, white vitreous china single piece, double traps syphonic water closet of Wall hung toilet with C3-150 electronic cleansing seat in white of Kohler make or equivalent, shape, size and pattern including integrated white vitreous china cistern of capacity 10 litres with dual flushing system, including all fittings and fixtures with seat cover, cistern fittings, nuts, bolts and gasket etc including making connection with the existing P/S trap, complete in all respect as per directions of Engineer-in-Charge. | 22.00 | each | 100.00 | 65000.00 | 1430000.00 | 1430000.00 | Fermium Constructions LLP
1.56 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps: 581mm x 402mm undercounter basin in white: K-2215IN-2-0 | 26.00 | each | 100.00 | 14000.00 | 364000.00 | 364000.00 | Fermium Constructions LLP
1.57 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore: K-23515IN-4-CP M | 26.00 | each | 100.00 | 2500.00 | 65000.00 | 65000.00 | Fermium Constructions LLP
1.58 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore 2-way bib tap in polished chrome K-20075IN-4-CP | 26.00 | each | 100.00 | 6500.00 | 169000.00 | 169000.00 | Fermium Constructions LLP
1.59 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. 350mm bottle trap without drain in polished chrome K-75823IN-CP | 26.00 | each | 100.00 | 2500.00 | 65000.00 | 65000.00 | Fermium Constructions LLP
1.60 | Providing & fixing chrome plated brass battery based infrared sensor operated pillar cock, having foam flow technology. 15 mm nominal bore | 26.00 | each | 100.00 | 27000.00 | 702000.00 | 702000.00 | Fermium Constructions LLP
1.61 | Providing and fixing toilet paper holder : C.P. brass Paper holder in french gold K-5632IN-AF | 23.00 | each | 100.00 | 2500.00 | 57500.00 | 57500.00 | Fermium Constructions LLP
1.62 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 450 mm long towel rail with total length of 495 mm, 78 mm wide and effective height of 88 mm, weighing not less than 170 gms Towel bar in polished chrome K-97495T-CP | 23.00 | each | 100.00 | 10000.00 | 230000.00 | 230000.00 | Fermium Constructions LLP
1.63 | Providing and fixing PTMT towel ring trapezoidal shape 215 mm long, 200 mm wide with minimum distances of 37 mm from wall face with concealed fittings arrangement of approved quality and colour, weighing not less than 88 gms. Towel ring in polished chrome K-97498T-CP | 23.00 | each | 100.00 | 6000.00 | 138000.00 | 138000.00 | Fermium Constructions LLP
1.64 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 23.00 | each | 100.00 | 2500.00 | 57500.00 | 57500.00 | Fermium Constructions LLP
1.65 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing 560mm x 864mm rectangular mirror - matte black: K-26052-BLL | 4.00 | each | 100.00 | 14000.00 | 56000.00 | 56000.00 | Fermium Constructions LLP
1.66 | Providing and fixing white vitreous china battery based infrared sensor operated urinal of approx. size 610 x 390 x 370 mm having pre & post flushing with water (250 ml & 500 ml consumption), having water inlet from back side, including fixing to wall with suitable brackets all as per manufacturers specification and direction of Engineer-in-charge. Touchless urinal with rear inlet in white 1L with integrated sensor in white 332mm x 335mm x 642mm: K-16321IN-SS-0 M | 17.00 | each | 100.00 | 72000.00 | 1224000.00 | 1224000.00 | Fermium Constructions LLP
1.67 | Providing and fixing Modular Kitchen as per the drawings of make Homelane, Model Neutral Tones L-Shaped Modular Kitchen, Chimney Top Unit 600 mm, Top Plain Shelf Unit 600 mm, Double Gas Lift up Unit 600 mm, Top Plain Shelf Unit 600 mm, Hinged Unit below Sink Without Bottom Panel 600 mm, Plain Shelf Unit 600 mm3 Drawer Unit with Tranquil 600 mm, 2 Drawer Unit with Tranquil (350H + 350H) 600 mm, COVER_PANEL WALL AND FLOOR UNIT 560D_700HCOVER_PANEL WALL AND FLOOR UNIT 560D_700HCOVER_PANEL WALL AND FLOOR UNIT 310D_600HCOVER_PANEL WALL AND FLOOR UNIT 310D_600HCOVER_PANEL WALL AND FLOOR UNIT 310 D_300HSKIRTING (REHAU) SYSTEM-100mm BRUSHED ALUMINIUMBRUSHED ALUM. SKIRTING 100mm HARDWARE PACKET FOR KITCHEN CABINETSHandles (96 mm Pitch)End leg channel for Floor - Tall unit - 560DShared leg channel for Floor - Tall unit - 560D (PAC of 1)Legs 100 mmSCREWS & SHELF SUPPORT FOR METAL KITCHEN ACCESSORIESGranite & SINK of Godrej make or equivalent | 2.00 | each | 100.00 | 400000.00 | 800000.00 | 800000.00 | Fermium Constructions LLP
1.68 | Providing and placing standard Check in counter unit of size 1.00 m length, 0.90 m width and 1.20 m height as per drawing shown and the specifications are as follows: 1. Counter top/ working desk with solid acrylic polymer of approved color pasted on 19mm commercial plywood. 2. Outer face with solid acrylic polymer (Corian) of 12mm thick, two color combinations other than white of approved color on 19mm thick commercialplywood. 3. Inner face with laminated finish of approved color on 19mm thick commercial plywood. 4. Monitor rack, Drawers, ATB, BTP, false floor arrangement etc. should be provided as per the drawing. The work shall be execute as per drawing in all dimensions, specifications and the direction of Engineer in-charge. | 9.00 | each | 100.00 | 65000.00 | 585000.00 | 585000.00 | Fermium Constructions LLP
1.69 | Supply and Installation of Wooden table of size 1.22m(L) x 0.41m(B) x 1.22m(h) made of rubber wood installed for facilitation of "May I Help You" desk etc. complete as per direction of Engineer in-charge. | 3.00 | each | 100.00 | 15000.00 | 45000.00 | 45000.00 | Fermium Constructions LLP
1.70 | Supply and installation of Table for Stamping Boarding Passes as per design provided in architectural drawing of size 300mmx450mmx1000mm, made of 19 mm thick block board/ 18 mm thick commercial plywood (Merino, century, green ply or equivalent) exterior finish surface with 1 mm thick laminate of approved shade/color (greenlam/merino/century or equivalent), priming and painting of unexposed area, complete with edge beading, hardware as required, nylon base pads etc. The table shall have Granite Top. Supplier shall present laminate, board, granite samples for approval. | 2.00 | each | 100.00 | 10000.00 | 20000.00 | 20000.00 | Fermium Constructions LLP
1.71 | Supply and Installation Manual baggage table as per architectural drawing of size 750mm x1220mm x 800mm made of 19 mm thick block board/ 18 mm thick commercial plywood (Merino, century, green ply or equivalent) exterior finish surface with 1 mm thick laminate of approved shade/color (greenlam/merino/century or equivalent) and priming and painting of unexposed area complete with necessary ss hardware, adhesive etc. The table shall have granite top. Supplier shall present laminate, board, granite samples for approval. | 2.00 | each | 100.00 | 15000.00 | 30000.00 | 30000.00 | Fermium Constructions LLP
1.72 | Supply and Installation Security check pedestal as per architectural drawing of size 750m x750mm x150mm made of 19 mm thick block board/ 18 mm thick commercial plywood(Merino, century, green ply or equivalent) exterior finish surface with 1 mm thick laminate of approved shade/color (greenlam/merino/century or equivalent) and priming and painting of unexposed area complete with necessary etc. The table shall have flmed granite top. Supplier shall present laminate, board, granite samples for approval. | 3.00 | each | 100.00 | 5000.00 | 15000.00 | 15000.00 | Fermium Constructions LLP
1.73 | Supply and Installation of Egress Repack Tables as per architectural drawing of size 2000mm x600mmx600 mm made of 19 mm thick block board/ 18 mm thick commercial plywood (Merino, century, green ply or equivalent) exterior finish surface with 1 mm thick laminate of approved shade/color (greenlam/merino/century or equivalent) and priming and painting of unexposed area complete with necessary as hardware, adhesive etc. The table shall have Granite Top. Supplier shall present laminate, board, granite samples for approval. | 4.00 | each | 100.00 | 15000.00 | 60000.00 | 60000.00 | Fermium Constructions LLP
1.74 | Providing Ladies Frisking booths of over all size 1000mm x 2000mm x 2100mm height made with 50mm dia 2.5mm thick SS 304 grade pipes with 300mm x300mm x 4mm thick base plate (6nos poles and spacing as per drawing) and providing 1400mm height 35mm thick partition made with suitable approved fabric over 4mm thick drawing pin board pasted over 9mm thick thermocline layer and pasted to 8mm thick MDF (exterior grade) board, total partition shall be fixed around with 40mmx25mm SS channel and longitudinal top sides of 600mm height shall be provide with 8mm thick transparent acrylic sheet fixed with silicon sealant with SS channel and front/Back top side of 300mm height shall be provided with same 35mm thick fabric partition and providing necessary arrangements for hanging curtains at 180mm height (on front / back sides) as per the approved drawings including placing at site with all labour charges, necessary taxes and transportations etc complete as per the directions of the Engineer-in-charge. | 3.00 | each | 100.00 | 60000.00 | 180000.00 | 180000.00 | Fermium Constructions LLP
1.75 | Providing X-RAY machine Baggage Table of Size 750mm x 1800mm x 800mm height made with 19mm thick prelaminated Marine grade ply wood of make Green ply, Merino, Century ply or equivalent) and providing 18-20mm thick prepolished granite slab of approved shade and pasted to ply wood with resins as per the approved drawings including placing at site with all labour charges, necessary taxes and transportations etc complete as per the directions of the Engineer-in-charge | 3.00 | each | 100.00 | 20000.00 | 60000.00 | 60000.00 | Fermium Constructions LLP
1.76 | Providing & Placing of Standard Boarding Gate Counter of size 900 x 450 x 1050 mm as per approved drawing, made of thick Boiling water proof plywood /18 mm thick (BWP) (Green ply, Merino, Century ply or equivalent with 12mm thick acrylic soild polymer of approved shade/ colour (Corian) and interior finish with 1 mm thick laminate (suede/ gloss finish of approved colour and pattern) with all necessary frames works of block board/ MS screws/ hinges/ telescopic channels for drawers/ handles. Locks/ bottom support/ necessary cutouts/ wire manager etc. all complete as per drawing, fixing of solid acrylic with necessary moulding of edges, fixing of laminate, drawers, shutters and all necessary hardware etc. complete as per the directions of the Engineer-incharge. | 2.00 | each | 100.00 | 70000.00 | 140000.00 | 140000.00 | Fermium Constructions LLP
2.00 | Electrical works
2.01 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. Group B | 10.00 | Points | 10.00 | 1500.00 | 15000.00 | 15000.00 | Fermium Constructions LLP
2.02 | Wiring for light point/fan point/exhaust fan point/call bell point with 1.5 Sqmm FRLS PVC insulated copper conductor single core cable in surface/recessed PVC conduit,with modular switch, modular plate,suitable GI box and earthing the point with 1.5Sqmm FRLS PVC insulated copper conductor single core cable etc. as required. Group B | 50.00 | Each | 10.00 | 2000.00 | 100000.00 | 100000.00 | Fermium Constructions LLP
2.03 | Wiring for light / power plug with 2 x 4 Sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit alongwith 1 No. 4 Sq.mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 650.00 | Mtrs | 10.00 | 500.00 | 325000.00 | 325000.00 | Fermium Constructions LLP
2.04 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed PVC conduit as required 2 x 2.5 Sq.mm + 1 x 2.5 Sq.mm Earth Wire | 650.00 | Mtrs | 10.00 | 300.00 | 195000.00 | 195000.00 | Fermium Constructions LLP
2.05 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 modular socket outlet and 5/6 A modular switch, connections etc. as required. | 65.00 | Each | 10.00 | 450.00 | 29250.00 | 29250.00 | Fermium Constructions LLP
2.06 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 65.00 | Each | 10.00 | 600.00 | 39000.00 | 39000.00 | Fermium Constructions LLP
2.07 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earthbar, din bar for mounting MCB’s (but without MCB’s and incomer ) as required . 8 Way (4 + 4+24), TPN, MCB DB, Double Door | 2.00 | Each | 10.00 | 10000.00 | 20000.00 | 20000.00 | Fermium Constructions LLP
2.08 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator). 8 way, Double Door | 2.00 | Each | 10.00 | 1500.00 | 3000.00 | 3000.00 | Fermium Constructions LLP
2.09 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) Single Pole | 40.00 | Each | 10.00 | 600.00 | 24000.00 | 24000.00 | Fermium Constructions LLP
2.10 | Supplying and fixing 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) TPN | 4.00 | Each | 10.00 | 2200.00 | 8800.00 | 8800.00 | Fermium Constructions LLP
2.11 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting/LED fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 60.00 | Each | 10.00 | 200.00 | 12000.00 | 12000.00 | Fermium Constructions LLP
2.12 | Installation, testing and commissioning of 300mm Sweep, High Speed, Powder coated robust metalic exhaust fan with bird guard, including necessary accessories, wiring with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. complete as required | 4.00 | Each | 10.00 | 250.00 | 1000.00 | 1000.00 | Fermium Constructions LLP
2.13 | Supplying and fixing 32 A, 415 V, TPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top along with 32 A "C" curve, TPN, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 10.00 | 5000.00 | 20000.00 | 20000.00 | Fermium Constructions LLP
2.14 | Supply & fixing of Photoelectric, Multi sensor smoke detectors along with mounting base with unique optical sensing chamber, visible LED's complete with all accessories including connections etc.with the existing system as required. (As per approved makes list) | 40.00 | Each | 10.00 | 2000.00 | 80000.00 | 80000.00 | Fermium Constructions LLP
2.15 | SITC of Response Indicator in the existing false ceiling etc. as required. | 10.00 | Each | 10.00 | 500.00 | 5000.00 | 5000.00 | Fermium Constructions LLP
2.16 | Supply and laying of 20 mm dia MS steel conduits ISI Marked red painted with all fittings and saddles for drawing control cables on surface /recess/above false ceiling/concealed. etc. as required | 200.00 | Mtrs | 10.00 | 160.00 | 32000.00 | 32000.00 | Fermium Constructions LLP
2.17 | Supply and laying of XLPE insulated PVC sheathed/XLPE armoured control cable of size FRLS 2Cx1.5sq.mm copper conductor cable 650/1100V grade as per IS 7098 (Part-1)1988 in the existing conduit as required. | 200.00 | Mtrs | 10.00 | 200.00 | 40000.00 | 40000.00 | Fermium Constructions LLP
2.18 | Supply of Three phase 4 Ton 5 star rating Cassette Air conditioner of Ceiling mounting inverter type consisting of non-ductable single type room evaporator unit (copper coil) with cordless remote control and one number outdoor condensing unit comprising of compressor and Refrigerant R 410A, suitable for operation on 415V, 50Hz. AC supply i/c supply of all accessories i.e. copper pipe, interconnecting cable, drain pipe, full charge of refrigerant etc., as required. | 4.00 | Each | 10.00 | 80000.00 | 320000.00 | 320000.00 | Fermium Constructions LLP
2.19 | Installation, testing and commissioning of Three phase 4 Ton Cassette type air conditioner of ceiling mounting type with minimum 5 star rating including fixing the condenser unit on raising stand and fixing of evaporator unit including providing and making inter connections between evaporator unit and condenser unit up to a length of 5 mtrs etc. as required. | 4.00 | Each | 10.00 | 3000.00 | 12000.00 | 12000.00 | Fermium Constructions LLP
2.20 | Supply and fixing of following for interconnections between evaporator unit and condensing unit (extra length) for 4 ton cassette Ac, as required as per OEM. i. 3/4"dia copper pipe with insulation or as per OEM for gas. ii. 3/8" copper pipe with insulation or as per OEM for liquid. iii. 4x 4 sq. mm + 2.5 sq.mm copper conductor cable or as per OEM.. iv. Rigid PVC pipe / PVC Trunking of suitable size for covering the refrigerant line for above | 40.00 | Mtrs | 10.00 | 2000.00 | 80000.00 | 80000.00 | Fermium Constructions LLP
2.21 | Providing and laying of 25 mm CPVC drain pipe pipe for 4 TR Cassette type A.C units with necessary saddles complete etc. as required. | 60.00 | Mtrs | 10.00 | 500.00 | 30000.00 | 30000.00 | Fermium Constructions LLP
2.22 | Supply of following size 1.1 KV grade XLPE insulated, PVC sheathed, unarmoured Copper conductor power cable conforming to IS 7098 (Part 1) amended upto date. 4 x 16 Sq.mm | 150.00 | Mtrs | 10.00 | 300.00 | 45000.00 | 45000.00 | Fermium Constructions LLP
2.23 | Supply of following size 1.1 KV grade XLPE insulated, PVC sheathed, unarmoured Copper conductor power cable conforming to IS 7098 (Part 1) amended upto date. 3.5CX25 Sq.mm | 100.00 | Mtrs | 10.00 | 320.00 | 32000.00 | 32000.00 | Fermium Constructions LLP
2.24 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC / Hume / Stoneware / GI pipe / HDPE / DWC Pipe as required. Upto 35 Sq.mm | 100.00 | Mtrs | 10.00 | 50.00 | 5000.00 | 5000.00 | Fermium Constructions LLP
2.25 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in masonnary open duct etc as required. Upto 35 Sq.mm | 50.00 | Mtrs | 10.00 | 50.00 | 2500.00 | 2500.00 | Fermium Constructions LLP
2.26 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 100.00 | Mtrs | 10.00 | 50.00 | 5000.00 | 5000.00 | Fermium Constructions LLP
2.27 | Supplying and making end termination with brass compression gland and aluminium lugs for 4 x 16 Sq.mm (28 mm) size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1 KV grade as required. | 4.00 | Each | 10.00 | 400.00 | 1600.00 | 1600.00 | Fermium Constructions LLP
2.28 | Supply of 18-Watt Round Duraslim Recessed Metal Downlighter Ceiling Panel Light Warm White etc . As required operating on 230 volts 50HZ AC supply etc. as required (LED and Driver should meet AAI specifications) for VIP lounges | 12.00 | Each | 10.00 | 1400.00 | 16800.00 | 16800.00 | Fermium Constructions LLP
2.29 | Supply of 36W Neutral White Coreline LED Panel Light of size 2ft X 2ft operating on 230 Volts single phase 50 HZ Ac suuply etc . As required (LED and Driver should meet AAI specifications) for VIP lounges & Aire lines counters. | 15.00 | Each | 10.00 | 1400.00 | 21000.00 | 21000.00 | Fermium Constructions LLP
2.30 | Supply of 300 mm sweep wall mounted fans operating on single phase 230 volts 50 HZ AC supply etc. as required | 6.00 | Each | 10.00 | 5000.00 | 30000.00 | 30000.00 | Fermium Constructions LLP
2.31 | Supply, Installation,Testing & commissioning of cabinate inline fans suitable for installing in any position in horizontal or vertical ducts. The casing shall be double skin,internally acoustic lined and constructed of galvanized steel. The fan shall be DIDW/SISW with forward /backward curve impeller fitted with maintenance free external rotor motor. the fan can operate on single phase or three phase and quoted price inclusive starter panel and cabling between panel and fan etc. the fan sound level shall not exceed more than 55 DBA at 3 Mtr distance and required canvas between duct and fan required to provided etc. as required. FAN requirements : Air quantity 1.2 to 2.4 Cms & static pressure 246 Pa to 360 Pa | 6.00 | Each | 10.00 | 100000.00 | 600000.00 | 600000.00 | Fermium Constructions LLP
2.32 | Supply of surface/recess mounting round profile LED light fixture of 15 Watts with warm white colour completed as required & LED meet the AAI technical specifications. & for Toilets. | 20.00 | Each | 10.00 | 1000.00 | 20000.00 | 20000.00 | Fermium Constructions LLP
2.33 | Supply & fixing of powder coated extruded aluminium exhaust Air grills with volume control dampers etc. as required as per specifications. | 10.00 | Sq mtr | 10.00 | 8000.00 | 80000.00 | 80000.00 | Fermium Constructions LLP
2.34 | Supply & fixing of GI duct with size of 450 mm X 450 mm with fabrication and run along with ceiling of toilets including all acessories etc. as required. | 20.00 | Sq mtr | 10.00 | 2800.00 | 56000.00 | 56000.00 | Fermium Constructions LLP
2.35 | SITC of wall recessed, Combo of Refrigerated & non refrigerated barrier free bi-level (double spout) drinking water fountain with front / side mechanical push pads to activate the flow of water manually and sensor based independently activated bottle filler system with two taps for dispensing Normal water dispensing capacity of 120 LPH & Cold water dispensing capacity of 60 LPH. Front panel made of stainless steel top and heavy duty galvanized steel / brushed stainless steel frame to deliver the water through spout, suitable for operation at 230V (+10%), 50HZ, AC supply i/c all required accessories, valves, inter connecting water & drain piping / hardware like stop valve, minimum 100 micron strainer, trap with suitable size etc complete as per actual site requirement having R.O filtration system of 50 LPH, 5 stage filtration system, Commercial grade filters, minimum 400 GPD RO Membrane with point of use UV sanitization. The water Fountain shall meets all current Federal regulations for the differently abled such as ADA/ANSI/ NSF-USA. Product should be certified to be lead free as defined by the safe drinking water act , and to be installed at different locations of Passenger Terminal Building. Agency has to execute all civil & plumbing works for installing the Water Fountain for its proper functioning and provide steel frame of suitable size and finish at the back side of the water fountain for better aesthetic view as directed by the E-I-C without any extra cost etc. completed as required. | 4.00 | Each | 10.00 | 280000.00 | 1120000.00 | 1120000.00 | Fermium Constructions LLP
2.36 | SITC of Automatic Sliding Doors including Supply of Glass , ES 200 Easy 6.25 mtr. - Type A,ES 200 Easy 6.25 mtr operator for Clear Passage Width = 700 - 3000 mm Clear Passage Height = 3000 mm Panel Weight Double Sliding = 2 x 100 Kgs. Panel Weight Single Sliding = 1 x 120 Kgs. ES 200 Easy 6.25 mtr. - Type A (Consisting of Operator Profiles, Mechanical Components, Electrical Components) Glass Clamping Rail - 1550 mm - 2 No.s Floor Guide for Glass Door - 2 Nos Nemo Motion + Nemo Dual ( Safety& Motion) Combo Pack Five Position Program Switch with knob Cable for Program Switch EM Lock - Fail Safe with Cable SITC of Automatic Glass sliding door includingSupply of Glass, ST-Flex Profile System for 8 - 22 mm Thick Glass for Structural opening Width of 6150 mm - Clear Passage width 3000 mm, - Clear Passage height 3000 mm, - 2 Nos. Sliding panels (Panel width = 1500* mm) with Seals & Floor Mounted Guide | 2.00 | Each | 10.00 | 200000.00 | 400000.00 | 400000.00 | Fermium Constructions LLP
2.37 | Modification Shifting and Reinstallation of Existing Automatic Sliding doors at new locations as per drawing etc as required | 4.00 | Each | 10.00 | 20000.00 | 80000.00 | 80000.00 | Fermium Constructions LLP
2.38 | Dismantling of existing arrival conveyor 01no. & Departure sytem (3 check in weighing and dispatch conveyor )+2control panels +02 draught curtains+ 2 rolling shutters and reinstallation at new place with in 100 mtrs etc. as required. | 1.00 | Job | 10.00 | 600000.00 | 600000.00 | 600000.00 | Fermium Constructions LLP
2.39 | SITC of New arrival conveyor Heavy duty endless,rack type horizontal ( flexible overlapping slat type ) length of 34 Mtrs including control panel,draught curtain-02 nos. & rolling shutter-02 nos. etc. as required. belt dimensions&curvature are as per attached drawing etc as required | 1.00 | Job | 10.00 | 3200000.00 | 3200000.00 | 3200000.00 | Fermium Constructions LLP
2.40 | Extension and modification of Existing Departure conveyor belt including 06No.s ( Departure Baggage conveyor system weighing scale conveyor of length appx 1.2 Mtrs)+06 Despatch conveyors of length of appx 1.2 Mtr and collector convyor system of length 9 mtrs and gravity roller conveyor 2 mtrs including control panel and SITC of system etc. as required. | 1.00 | Job | 10.00 | 4100000.00 | 4100000.00 | 4100000.00 | Fermium Constructions LLP
3.00 | CNS works
3.01 | Supply of Occupancy Sensor | 6.00 | Each | 100.00 | 12000.00 | 72000.00 | 72000.00 | Fermium Constructions LLP
3.02 | Supply of Odour Sensor | 6.00 | Each | 100.00 | 32000.00 | 192000.00 | 192000.00 | Fermium Constructions LLP
3.03 | Supply of Magnetic contact switch | 6.00 | Each | 100.00 | 4500.00 | 27000.00 | 27000.00 | Fermium Constructions LLP
3.04 | Supply of Smart Button | 6.00 | Each | 100.00 | 6000.00 | 36000.00 | 36000.00 | Fermium Constructions LLP
3.05 | Supply of Fill level sensor | 6.00 | Each | 100.00 | 8000.00 | 48000.00 | 48000.00 | Fermium Constructions LLP
3.06 | Supply of Leak detection sensor | 6.00 | Each | 100.00 | 7500.00 | 45000.00 | 45000.00 | Fermium Constructions LLP
3.07 | Installation Charges | 1.00 | Each | 100.00 | 10000.00 | 10000.00 | 10000.00 | Fermium Constructions LLP
3.08 | One time software charges | 1.00 | Each | 100.00 | 100000.00 | 100000.00 | 100000.00 | Fermium Constructions LLP
3.09 | a) CCTV Server/cameras/switches/cable routing & related works Shifting (including supply of Stainless steel Galvanized cable tray of width 300mm, thickness 5mm, length 200 mtrs) b) EPABX cable/system shifting c)Public Announcement system/speakers/cables shifting d)FIDS servers/displays shifting e)Wifi server/access points, hubs shifting within the terminal building | 1.00 | Job | 100.00 | 230000.00 | 230000.00 | 230000.00 | Fermium Constructions LLP
3.10 | 10 KVA UPS & batteries shifting (from one room to another room within the terminal building) | 1.00 | Job | 100.00 | 20000.00 | 20000.00 | 20000.00 | Fermium Constructions LLP
3.11 | Supply & laying of 20 pair jelly filled armored telephone cable (Polycab etc) [From terminal building to Tower] | 2000.00 | metre | 100.00 | 25.00 | 50000.00 | 50000.00 | Fermium Constructions LLP
3.12 | Supplying and Laying 3 inch diameter HDPE pipes(reputed brand) supply along with laying the pipes (2 feet deep) [From terminal building to Tower] | 4000.00 | metre | 100.00 | 25.00 | 100000.00 | 100000.00 | Fermium Constructions LLP
3.13 | Supply and Laying 12 core OFC cable (reputed brand) [From terminal building to Tower] | 2000.00 | metre | 100.00 | 50.00 | 100000.00 | 100000.00 | Fermium Constructions LLP
3.14 | Supply of cat 6 STP cable (D-link etc) | 3000.00 | metre | 100.00 | 50.00 | 150000.00 | 150000.00 | Fermium Constructions LLP
3.15 | Providing Architectural Consultancy for Interior and Exterior beautification considering Architect and his opinion is catered in this contract. By matching Structural and Architectural Drawing as per Proposal Drawing approved from AAI. Which propose engaging the expertise of a seasoned architect to provide valuable insights and suggestions for interior and exterior enhancement and also brings unique perspective to the table, considering not only the visual aesthetics but also the structural and functional aspects of the space. Their proficiency in spatial planning, material selection and design principles can significantly contribute to overall beautification of the building. The process includes Holistic Design Approach, Innovation Solutions, Project Coordination, Value Addition to the Building. • Site Visit:10 Visits (Additional Visits on requirement with additional Rs. 2000/visit of max 3hrs) • Material Purchase Visits as per requirements • Agency should look after all the expenses of the visits. | 1.00 | Job | 100.00 | 500000.00 | 500000.00 | 500000.00 | Fermium Constructions LLP
| Total in Figures |  |  |  |  | 36971026.00
Lowest Amount Quoted BY: Fermium Constructions LLP(36971026.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Capital Works at Kalaburagi Airport SH Reconfiguration of Terminal Building at Kalaburagi Airport Kalaburagi Tender ID: 2023_AAI_172965_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Fermium Constructions LLP | 36971026.00 | L1