## BoQ1
Government eProcurement System Created By: Debashis Mondal Created Date/Time: 07-Dec-2023 12:13 PM Tender Title: Work Contract for Round the clock operation and preventive maintenance contract of Cargo Substation NSCBI Airport during 2023 25 Tender ID: 2023_AAI_173150_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Work contract for round the clock operation & preventive maintenance contract of Cargo Substation, NSCBI Airport during 2023-25.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANIRBAN ENTERPRISE(GSTN-19AHNPB5949D1Z6) |  | EASTERN POWER ENGINEERING(GSTN-18AGUPD0421A2ZX) |  | MANNA ELECTRONICS AND ELECTRICAL WORKS(GSTN-19AALFM9363P2Z6) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : Round the clock Operation & Maintenance - Round the clock Operation & Maintenance of available electrical equipments installed at Cargo substations and Admin power house including carrying out all the maintenance as per recommended maintenance schedule (Daily checking), attending all break down maintenance for all the electrical equipments installed at Substations as and when required basis or as directed by the EIC including providing 02 nos. mobile smart phone, SIM cards with yearly recharge for communication purpose. (mobile smart phone & SIM cards will be taken back by the agency after completion of work) The total minimum manpower provision as follows: - i) For General Shift Duty. (a) Sr. Supervisor - 1 no. (b)Highly skilled manpower - 1 no. (c) Unskilled Manpower- 1 no. ii) For Round the Clock Shift Duty. (a) Skilled manpower (3 shift including reliever for two locations) - 7 nos. (b) Unskilled manpower (3 shift including reliever for one location ) - 3.5 nos. | 24.00 | month | 382617.00 | 315000.00 | 7560000.00 | 353305.00 | 8479320.00 | 318624.00 | 7646976.00 | 362519.00 | 8700456.00 | 7560000.00 | ANIRBAN ENTERPRISE
2.00 | SH-II : Other Electrical Works - Checking & maintenance of batteries & battery charger sets installed at Cargo Substation for HT switchgears i/c checking control wiring, tightening of all terminals after cleaning of terminals, providing petroleum jelly. Top up the batteries with distilled water etc. i/c. minors hardwares and spares complete as required. a) First year | 12.00 | Job | 1717.00 | 400.00 | 4800.00 | 100.00 | 1200.00 | 350.00 | 4200.00 | 150.00 | 1800.00 | 1200.00 | EASTERN POWER ENGINEERING
3.00 | Checking & maintenance of batteries & battery charger sets installed at Cargo Substation for HT switchgears i/c checking control wiring, tightening of all terminals after cleaning of terminals, providing petroleum jelly. Top up the batteries with distilled water etc. i/c. minors hardwares and spares complete as required. a) Second year | 12.00 | Job | 2020.00 | 400.00 | 4800.00 | 100.00 | 1200.00 | 350.00 | 4200.00 | 150.00 | 1800.00 | 1200.00 | EASTERN POWER ENGINEERING
4.00 | Filtration & dehydration of transformer oil to improve the breakdown voltage of oil as per relevant IS standard by oil filtration machine, carrying out BDV test of oil i/c. transportation of filtration machine to site etc. as required. a) First year | 7000.00 | Ltr. | 18.18 | 5.00 | 35000.00 | 12.00 | 84000.00 | 4.00 | 28000.00 | 10.00 | 70000.00 | 28000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
5.00 | Filtration & dehydration of transformer oil to improve the breakdown voltage of oil as per relevant IS standard by oil filtration machine, carrying out BDV test of oil i/c. transportation of filtration machine to site etc. as required. b) Second year | 7000.00 | Ltr. | 18.18 | 5.00 | 35000.00 | 13.00 | 91000.00 | 4.00 | 28000.00 | 10.00 | 70000.00 | 28000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
6.00 | Maintenance of 1 no. APFC panel, 1 no. LT panels, 1 no. AMF panel (monthly minimum one time and as and when required) installed in cargo substation of the airport area for improvement of power factor i/c checking & tightening of the terminals, checking, control wirings if required replace the faulty portion of control wiring. Providing necessary cleaning materials, insulating tapes, minor hardwares, wires, thimble/lugs, ferrules etc., as required (capacitors and major components shall be supplied by the department). a) First Year | 24.00 | Job | 1969.50 | 400.00 | 9600.00 | 1000.00 | 24000.00 | 350.00 | 8400.00 | 2000.00 | 48000.00 | 8400.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
7.00 | Maintenance of 1 no. APFC panel, 1 no. LT panels, 1 no. AMF panel (monthly minimum one time and as and when required) installed in cargo substation of the airport area for improvement of power factor i/c checking & tightening of the terminals, checking, control wirings if required replace the faulty portion of control wiring. Providing necessary cleaning materials, insulating tapes, minor hardwares, wires, thimble/lugs, ferrules etc., as required (capacitors and major components shall be supplied by the department). b) Second Year | 24.00 | Job | 2020.00 | 400.00 | 9600.00 | 1000.00 | 24000.00 | 350.00 | 8400.00 | 2000.00 | 48000.00 | 8400.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
8.00 | Cleaning of luminaries, maintaining serviceability of emergency light in and around S/S building i/c upkeeping of Electrical sub-station by i/c cleaning, uprooting of bushes / jungles etc. within the periphery of sub-station, as and when required as directed by Engg. I/C. a) First Year | 12.00 | Job | 2626.00 | 400.00 | 4800.00 | 100.00 | 1200.00 | 200.00 | 2400.00 | 10.00 | 120.00 | 120.00 | ABHISHEK INTEGRATIONS LIMITED
9.00 | Cleaning of luminaries, maintaining serviceability of emergency light in and around S/S building i/c upkeeping of Electrical sub-station by i/c cleaning, uprooting of bushes / jungles etc. within the periphery of sub-station, as and when required as directed by Engg. I/C. b) Second Year | 12.00 | Job | 2929.00 | 400.00 | 4800.00 | 100.00 | 1200.00 | 200.00 | 2400.00 | 10.00 | 120.00 | 120.00 | ABHISHEK INTEGRATIONS LIMITED
10.00 | Supplying & topping up of transformer oil in the transformer by oil filtering machine including transportation and opening and closing nut / bolts / valves etc. as required. a) First Year | 1000.00 | Ltr. | 70.70 | 12.00 | 12000.00 | 180.00 | 180000.00 | 15.00 | 15000.00 | 150.00 | 150000.00 | 12000.00 | ANIRBAN ENTERPRISE
11.00 | Supplying & topping up of transformer oil in the transformer by oil filtering machine including transportation and opening and closing nut / bolts / valves etc. as required. b) Second Year | 1000.00 | Ltr. | 75.75 | 12.00 | 12000.00 | 180.00 | 180000.00 | 15.00 | 15000.00 | 150.00 | 150000.00 | 12000.00 | ANIRBAN ENTERPRISE
12.00 | Checking earth pit i/c measuring the earth resistance bimonthly and repairing of earth pit wherever required by making necessary work, replacement of watering funnel, nut and bolts washers etc. and change broken cover by new cover i/c clearing, painting etc., as required. a) First Year | 20.00 | Job | 1262.50 | 400.00 | 8000.00 | 50.00 | 1000.00 | 110.00 | 2200.00 | 10.00 | 200.00 | 200.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Checking earth pit i/c measuring the earth resistance bimonthly and repairing of earth pit wherever required by making necessary work, replacement of watering funnel, nut and bolts washers etc. and change broken cover by new cover i/c clearing, painting etc., as required. b) Second Year | 20.00 | Job | 1313.00 | 400.00 | 8000.00 | 50.00 | 1000.00 | 110.00 | 2200.00 | 10.00 | 200.00 | 200.00 | ABHISHEK INTEGRATIONS LIMITED
14.00 | Overhauling & servicing of arresting leakage of transformer HT and LT side, conservator tank, Bucholz relay, top cover, all radiators, Bushing changing etc. of transformers at Cargo Substation with dehydration / filtration transformer oil etc. i) Upto 500 KVA a) First Year | 1.00 | Job | 26260.00 | 10000.00 | 10000.00 | 2000.00 | 2000.00 | 12000.00 | 12000.00 | 10.00 | 10.00 | 10.00 | ABHISHEK INTEGRATIONS LIMITED
15.00 | Overhauling & servicing of arresting leakage of transformer HT and LT side, conservator tank, Bucholz relay, top cover, all radiators, Bushing changing etc. of transformers at Cargo Substation with dehydration / filtration transformer oil etc. i) Upto 500 KVA b) Second Year | 1.00 | Job | 27472.00 | 11000.00 | 11000.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 10.00 | 10.00 | 10.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Overhauling & servicing of arresting leakage of transformer HT and LT side, conservator tank, Bucholz relay, top cover, all radiators, Bushing changing etc. of transformers at Cargo Substation with dehydration / filtration transformer oil etc. ii) Above 500 KVA and upto 2000 KVA Transformer) a) First Year | 2.00 | Job | 32320.00 | 14000.00 | 28000.00 | 3000.00 | 6000.00 | 14000.00 | 28000.00 | 10.00 | 20.00 | 20.00 | ABHISHEK INTEGRATIONS LIMITED
17.00 | Overhauling & servicing of arresting leakage of transformer HT and LT side, conservator tank, Bucholz relay, top cover, all radiators, Bushing changing etc. of transformers at Cargo Substation with dehydration / filtration transformer oil etc. ii) Above 500 KVA and upto 2000 KVA Transformer) b) Second Year | 2.00 | Job | 34340.00 | 15000.00 | 30000.00 | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 10.00 | 20.00 | 20.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | SH: III - Maintenance of VCB / OCB & ACBs etc. Overhauling and servicing of existing LT ACB's of various makes up to 3200 Amp. Rating installed at Cargo Sub-stations at NSCBI Airport. a) First Year | 15.00 | Job | 3014.85 | 2500.00 | 37500.00 | 4000.00 | 60000.00 | 2500.00 | 37500.00 | 100.00 | 1500.00 | 1500.00 | ABHISHEK INTEGRATIONS LIMITED
19.00 | Overhauling and servicing of existing LT ACB's of various makes up to 3200 Amp. Rating installed at Cargo Sub-stations at NSCBI Airport. b) Second Year | 15.00 | Job | 3131.00 | 2500.00 | 37500.00 | 4000.00 | 60000.00 | 2500.00 | 37500.00 | 100.00 | 1500.00 | 1500.00 | ABHISHEK INTEGRATIONS LIMITED
20.00 | Overhauling and servicing of existing HT 6 KV / 11 KV OCB’s / VCB's of various makes i/c relay calibration installed at Cargo Sub-stations at NSCBI Airport. a) First year | 10.00 | Job | 2828.00 | 2000.00 | 20000.00 | 5000.00 | 50000.00 | 2000.00 | 20000.00 | 100.00 | 1000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
21.00 | Overhauling and servicing of existing HT 6 KV / 11 KV OCB’s / VCB's of various makes i/c relay calibration installed at Cargo Sub-stations at NSCBI Airport. b) Second year | 10.00 | Job | 2828.00 | 2200.00 | 22000.00 | 5000.00 | 50000.00 | 2000.00 | 20000.00 | 100.00 | 1000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
22.00 | Replacement of faulty WTI & OTI of the existing transformer located at Cargo Sub-stations, NSCBI Airport a) First Year | 2.00 | Job | 7575.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 3000.00 | 6000.00 | 1000.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
23.00 | Replacement of faulty WTI & OTI of the existing transformer located at Cargo Sub-stations, NSCBI Airport b) Second Year | 2.00 | Job | 7575.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 1000.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
24.00 | SITC of silica gel breather as per sample in the existing transformer located at Cargo Sub-station, NSCBI Airport. a) First Year | 4.00 | Job | 4545.00 | 2200.00 | 8800.00 | 1000.00 | 4000.00 | 2200.00 | 8800.00 | 3500.00 | 14000.00 | 4000.00 | EASTERN POWER ENGINEERING
25.00 | SITC of silica gel breather as per sample in the existing transformer located at Cargo Sub-station, NSCBI Airport. (b) Second Year | 4.00 | Job | 4545.00 | 2500.00 | 10000.00 | 1000.00 | 4000.00 | 2200.00 | 8800.00 | 3500.00 | 14000.00 | 4000.00 | EASTERN POWER ENGINEERING
26.00 | SH: IV - Painting etc. Painting the existing surface of cubicle panel with two coats of ISI marked synthetic enamel paint of approved colour including scrubbing, cleaning the surface etc. as required at Cargo Sub-station. a) First Year | 100.00 | Sq.mtr. | 252.50 | 135.00 | 13500.00 | 100.00 | 10000.00 | 110.00 | 11000.00 | 90.00 | 9000.00 | 9000.00 | ABHISHEK INTEGRATIONS LIMITED
27.00 | Painting the existing surface of cubicle panel with two coats of ISI marked synthetic enamel paint of approved colour including scrubbing, cleaning the surface etc. as required at Cargo Sub-station. b) Second Year | 100.00 | Sq.mtr. | 303.00 | 135.00 | 13500.00 | 100.00 | 10000.00 | 110.00 | 11000.00 | 90.00 | 9000.00 | 9000.00 | ABHISHEK INTEGRATIONS LIMITED
28.00 | Scrubbing, cleaning, the old paint from the existing surface of rolling shutters at cargo sub-stations and painting the same with two coats of ISI marked synthetic enamel paint of approved colour etc. as required. a) First Year | 300.00 | Sq.mtr. | 353.50 | 105.00 | 31500.00 | 100.00 | 30000.00 | 100.00 | 30000.00 | 80.00 | 24000.00 | 24000.00 | ABHISHEK INTEGRATIONS LIMITED
29.00 | Scrubbing, cleaning, the old paint from the existing surface of rolling shutters at cargo sub-stations and painting the same with two coats of ISI marked synthetic enamel paint of approved colour etc. as required. b) Second Year | 300.00 | Sq.mtr. | 404.00 | 110.00 | 33000.00 | 100.00 | 30000.00 | 70.00 | 21000.00 | 80.00 | 24000.00 | 21000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
30.00 | Scrubbing, cleaning the old paint from the existing surface of power transformer of following capacity located at cargo sub-stations and spray painting the same transformers with two coats of ISI marked synthetic enamel paint / aluminium paint or as per existing paint of approved colour etc. as required. i) Upto 500 KVA a) First Year | 1.00 | Job | 10100.00 | 8000.00 | 8000.00 | 3000.00 | 3000.00 | 8000.00 | 8000.00 | 1000.00 | 1000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
31.00 | Scrubbing, cleaning the old paint from the existing surface of power transformer of following capacity located at cargo sub-stations and spray painting the same transformers with two coats of ISI marked synthetic enamel paint / aluminium paint or as per existing paint of approved colour etc. as required. i) Upto 500 KVA b) Second Year | 1.00 | Job | 10807.00 | 8000.00 | 8000.00 | 3000.00 | 3000.00 | 8000.00 | 8000.00 | 1000.00 | 1000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
32.00 | Scrubbing, cleaning the old paint from the existing surface of power transformer of following capacity located at cargo sub-stations and spray painting the same transformers with two coats of ISI marked synthetic enamel paint / aluminium paint or as per existing paint of approved colour etc. as required. ii) Above 500 KVA and upto 2000 KVA Transformer. a) First Year | 2.00 | Job | 16160.00 | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 10000.00 | 20000.00 | 1000.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
33.00 | Scrubbing, cleaning the old paint from the existing surface of power transformer of following capacity located at cargo sub-stations and spray painting the same transformers with two coats of ISI marked synthetic enamel paint / aluminium paint or as per existing paint of approved colour etc. as required. ii) Above 500 KVA and upto 2000 KVA Transformer. b) Second Year | 2.00 | Job | 17675.00 | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 10000.00 | 20000.00 | 1000.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
34.00 | Lettering of maximum 2" size (Alpha / numerical) on the finished painted surface of feeder pillar / panel / earth pits with synthetic enamel paint of approved colour etc. as required. a) First Year | 1000.00 | Nos. | 12.12 | 4.00 | 4000.00 | 3.00 | 3000.00 | 4.00 | 4000.00 | 25.00 | 25000.00 | 3000.00 | EASTERN POWER ENGINEERING
35.00 | Lettering of maximum 2" size (Alpha / numerical) on the finished painted surface of feeder pillar / panel / earth pits with synthetic enamel paint of approved colour etc. as required. b) Second Year | 1000.00 | Nos. | 14.14 | 4.00 | 4000.00 | 3.00 | 3000.00 | 4.00 | 4000.00 | 25.00 | 25000.00 | 3000.00 | EASTERN POWER ENGINEERING
36.00 | Cleaning, rubbing the old paint from the existing surface of DG set installed at cargo sub-station and painting the same with heat proof spray painting with two coats of synthetic enamel paint of approved colour i/c lettering, numbering etc. as required. i) Upto 500 KVA DG sets a) First Year | 3.00 | Job | 14645.00 | 11000.00 | 33000.00 | 1000.00 | 3000.00 | 10000.00 | 30000.00 | 1000.00 | 3000.00 | 3000.00 | EASTERN POWER ENGINEERING, ABHISHEK INTEGRATIONS LIMITED
37.00 | Cleaning, rubbing the old paint from the existing surface of DG set installed at cargo sub-station and painting the same with heat proof spray painting with two coats of synthetic enamel paint of approved colour i/c lettering, numbering etc. as required. i) Upto 500 KVA DG sets b) Second Year | 3.00 | Job | 17675.00 | 11000.00 | 33000.00 | 1000.00 | 3000.00 | 10000.00 | 30000.00 | 1000.00 | 3000.00 | 3000.00 | EASTERN POWER ENGINEERING, ABHISHEK INTEGRATIONS LIMITED
38.00 | Cleaning the surface of chequered plates at cargo sub-stations and painting with two coats of synthetic enamel black paint etc. as required. a) First Year | 120.00 | Sq.mtr. | 186.85 | 85.00 | 10200.00 | 50.00 | 6000.00 | 80.00 | 9600.00 | 90.00 | 10800.00 | 6000.00 | EASTERN POWER ENGINEERING
39.00 | Cleaning the surface of chequered plates at cargo sub-stations and painting with two coats of synthetic enamel black paint etc. as required. b) Second Year | 120.00 | Sq.mtr. | 202.00 | 85.00 | 10200.00 | 50.00 | 6000.00 | 80.00 | 9600.00 | 90.00 | 10800.00 | 6000.00 | EASTERN POWER ENGINEERING
40.00 | Repairing of existing shutter at cargo sub-station of various sizes after removing the same from existing frame and frame work, shutter rail, shaft, side guides and arrangement for inside operation etc. including all servicing, greasing, oiling, requiring of locking arrangement complete fixing as per direction of Engineering-in-charge. a) First Year | 10.00 | Job | 15150.00 | 1200.00 | 12000.00 | 100.00 | 1000.00 | 900.00 | 9000.00 | 3000.00 | 30000.00 | 1000.00 | EASTERN POWER ENGINEERING
41.00 | Repairing of existing shutter at cargo sub-station of various sizes after removing the same from existing frame and frame work, shutter rail, shaft, side guides and arrangement for inside operation etc. including all servicing, greasing, oiling, requiring of locking arrangement complete fixing as per direction of Engineering-in-charge. b) Second Year | 10.00 | Job | 20200.00 | 1500.00 | 15000.00 | 100.00 | 1000.00 | 900.00 | 9000.00 | 3000.00 | 30000.00 | 1000.00 | EASTERN POWER ENGINEERING
| Total in Figures |  |  |  |  | 8212100.00 |  | 9449120.00 |  | 8201176.00 |  | 9487356.00
Lowest Amount Quoted BY: MANNA ELECTRONICS AND ELECTRICAL WORKS(8201176.00)

## BOQ Summary
BOQ Summary Details Tender Title: Work Contract for Round the clock operation and preventive maintenance contract of Cargo Substation NSCBI Airport during 2023 25 Tender ID: 2023_AAI_173150_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MANNA ELECTRONICS AND ELECTRICAL WORKS | 8201176.00 | L1
| 2 | ANIRBAN ENTERPRISE | 8212100.00 | L2
| 3 | EASTERN POWER ENGINEERING | 9449120.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 9487356.00 | L4