## BoQ1
Government eProcurement System Created By: YEDUKONDALU POLAGANI Created Date/Time: 14-Dec-2023 05:33 PM Tender Title: Reconfiguration of Existing Terminal Building at Madurai Airport Tender ID: 2023_AAI_173275_1
Tender Inviting Authority: Senior Manager (Engg-Civil), Airports Authority of India, Madurai Airport, Madurai – 625 022
Name of Work: Reconfiguration of Existing Terminal Building at Madurai Airport.
Contract No: AAI/MDU/CIVIL/691/2023/
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | K.S.ELECTRICALS(GSTN-33AHFPR7136L1Z0)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 490.00 | Sqm |  | 40.00 | 19600.00 | 19600.00 | K.S.ELECTRICALS
2.00 | Dismantling of existing SS hand Railing without any damage from Terminal building and refixing the same at other location as directed by Engineer-in-Charge.(Mode of measurement :length and overall height of railing only shall be taken for measurement). | 85.00 | Sqm |  | 150.00 | 12750.00 | 12750.00 | K.S.ELECTRICALS
3.00 | Dismantling of existing SS hand Railing without any damage from Terminal building and handed over to Civil office as directed by Engineer-in-Charge.(Mode of measurement :length and overall height of railing only shall be taken for measurement). | 145.00 | Sqm |  | 180.00 | 26100.00 | 26100.00 | K.S.ELECTRICALS
4.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 3.00 | Cum |  | 1000.00 | 3000.00 | 3000.00 | K.S.ELECTRICALS
5.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of Unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | 40.00 | Cum |  | 1000.00 | 40000.00 | 40000.00 | K.S.ELECTRICALS
6.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.For thickness of tiles 10 mm to 25 mm | 140.00 | Sqm |  | 30.00 | 4200.00 | 4200.00 | K.S.ELECTRICALS
7.00 | Dismantling Granite work in floors laid in cement mortar including stacking material within 50 metres lead and disposal outside the airport premises. For thickness of tiles 18 mm to 25 mm | 250.00 | Sqm |  | 80.00 | 20000.00 | 20000.00 | K.S.ELECTRICALS
8.00 | Dismantling of existing immigration counters from ground floor area and refixing at 1st floor SHA area without any damage as directed by Engineer-in-Charge. | 6.00 | Each |  | 20000.00 | 120000.00 | 120000.00 | K.S.ELECTRICALS
9.00 | Dismantling of existing wash basin , Toilet area Sanitary Fittings accessories including Taps,Shower, waste hose , pipes ,mirror, closet, flusing tank etc..from each retiring room at terminal building and to handed over to Civil office ( store ) as directed by Engineer-in-Charge. | 3.00 | Job |  | 2000.00 | 6000.00 | 6000.00 | K.S.ELECTRICALS
10.00 | Dismantling and refixing of existing Acrylic sheet of 10mm thick partition with SS 304 frame ,tower bolts,nuts,including transport etc. as directed by Engineer-in-Charge. | 85.00 | Sqm |  | 1000.00 | 85000.00 | 85000.00 | K.S.ELECTRICALS
11.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 1000.00 | Kg |  | 90.00 | 90000.00 | 90000.00 | K.S.ELECTRICALS
12.00 | Providing and fixing in position check-in-counter unit as per drawing Nos AAI/CHK/INA/01R, AAI/CHK/INA/02R, AAI/CHK/INA/03R. The counters shall be constructed with 18mm thick marine grade plywood, 50.6mm dia, 25.3mm dia, 16 gauge SS pipes framework on the inside as approved and overlaid on the front and either sides of the check-in-counter, gate and covering for conveyor. The top surface shall be provided with 20mm thick approved quality granite slab(jet black) with rounded edge as directed. The working top shall also be provided with 20mm thick approved quality black granite slab over wooden/plywood frame work as per drawing. The counter shall be provide with space for BTP, ATB, UPS,CPU & Monitor with framework Marine plywood of specified thickness as per drawing. The exposed edges of plywood shall be provided with semicircular SS beading. The exposed surfaces of plywood shall be provided with SS hairline finish 18 gauge plain & perforated sheet, while the other surfaces shall be provided with two or more coats synthetic enamel paint after giving a putty finish as per drawing etc. complete. with all required stainless steel fittings such as hinges and handles, strips, rivets, buttons, locks, telescopic drawer slides, spring clips, etc. All hardware items unless otherwise specified shall be the best quality available. The rate shall also include the cost of giving provisions for running electrical conduits with removable covers for maintenance/repair, provision for fitting light fixtures, plugs, etc. but excluding the cost of electrical fittings, cables and conduits. The rates shall also include transporting the assembled furniture and installing the same at specified location in the site. Reference: Existing checkin counter at NITB Madurai Airport | 12.00 | Each |  | 120000.00 | 1440000.00 | 1440000.00 | K.S.ELECTRICALS
13.00 | Providing of false ceiling at all heights with integral MW AL METAL PLAIN TEGULAR false ceiling tiles of Size 595mmx595mmx0.70mm ,The tile shall be electrostatically polyester powder coated using RoHS compliant powder having coating thickness ranging from 60-80 microns ,to be laid in true horizontal level suspended on inter-locking metal T-Grid of hot dipped galvanised iron section of 0.33mmthick (galvanized @ 120 grams per sqm including both sides)comprising of main-T runners of size 15x32mm of length 3600 mm,cross - T of size 15x32mm of length 1200 mm and secondaryintermediate cross-T of size 12x32mm of length 600mm to formgrid module of size 600 x 600 mm, suspended from ceiling using galvanised consisting of accessories manufactured and supplied by Knauf consisting of M6 Anchor Fasteners with hanger hole, pre–Straightened Hanger wire of dia – 2.5 mm of 1.80 m length having a tensile strength of 344-413 MPa and a minimum loading strength of 110 kgs. Additionally, adjustable hook clips made of 0.7mm thick Grade 1 C55 galvanized spring steel of dimension 100 x 20mm and 4 mm aquiline wire to be used for level adjustment during installation purpose in main runners , fixed with Glavanised iron perimeter wall angle or size 24x24x0.33 mm of length 3600 mm to be fixed on periphey wall / partition with the help of plastic rawl plugs at 450mm center to center and 40 mm long dry wall S.S screws. The workshall be carried out as per specifications, drawing and as per directions of the Engineer-in Charge. With MW AL METAL PLAIN MICROLOOK EDGE 600X600X0.70MM | 550.00 | Sqm |  | 3400.00 | 1870000.00 | 1870000.00 | K.S.ELECTRICALS
14.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing , curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished Granite stone slab jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent. | 240.00 | Sqm |  | 5200.00 | 1248000.00 | 1248000.00 | K.S.ELECTRICALS
15.00 | Providing and placing in position Immigration Counter of dimensions 2200x1800x1200mm as per approved drawing attached, frame work made with 19mm thick boiling water proof grade commercial board confirming to IS 1659 (Merino, Century, Greenply or equivalent) and complete exterior surface finished with 12mm thick solid acrylic polymer sheet of (Corian / LG / Staron / Hanex / Tristone or equivalent) approved colour combination including sanding, polishing, edge moulding, jointing, Inlays / Sublimation (if required) and thermoforming of the solid polymer sheets to the required shape and fixing to the framework by using approved adhesive of original manufacturer. All the interior surface shall be finished with 1mm thick suede / gloss finish laminate confirming to IS 2046 of approved colour and pattern (Formica, Greenlam/Merino/Century or equivalent) and fixing to the frame work by using approved adhesives of original manufacturer with all necessary accessories like stainless steel screws/SS Hinges/telescopic channels for drawers / handles / locks bottom support / necessary cutouts/wire manager including PVC flooring ,12mm thick Swing door made up of opaque glass with SS fittings, etc. all complete as per drawing and direction of EIC. The complete work includes construction of frame work, fixing of solid acrylic sheets with necessary moulding of edges, fixing of laminate, drawers, shutters and all necessary hardware and placing in position of entire counter, all complete as per direction of Engineer-In-Charge. Refernce: Existing Immigration counter at NITB Madurai Airport | 6.00 | Each |  | 320000.00 | 1920000.00 | 1920000.00 | K.S.ELECTRICALS
16.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 1000.00 | Kg |  | 154.00 | 154000.00 | 154000.00 | K.S.ELECTRICALS
17.00 | Providing and fixing Acyrlic Sheet of 10mm thick Partition frame work including side clip cutting, welding,rubbing and polishing as per direction of EIC. | 110.00 | Sqm |  | 4900.00 | 539000.00 | 539000.00 | K.S.ELECTRICALS
18.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 240.00 | Kg |  | 650.00 | 156000.00 | 156000.00 | K.S.ELECTRICALS
19.00 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. 75 mm overall thickness partition with 12.5 mm thick double skin fire rated Glass Reinforced Gypsum (GRG) plaster board conforming to IS: 2095: part 3 (Board with BIS certification marks) | 130.00 | Sqm |  | 2300.00 | 299000.00 | 299000.00 | K.S.ELECTRICALS
20.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :12.5 mm thick tapered edge gypsum moisture resistant board | 170.00 | Sqm |  | 2000.00 | 340000.00 | 340000.00 | K.S.ELECTRICALS
21.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats | 380.00 | Sqm |  | 100.00 | 38000.00 | 38000.00 | K.S.ELECTRICALS
22.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : Water thinnable cement primer | 380.00 | Sqm |  | 64.00 | 24320.00 | 24320.00 | K.S.ELECTRICALS
| Total in Figures |  |  |  |  | 8454970.00
Lowest Amount Quoted BY: K.S.ELECTRICALS(8454970.00)

## BOQ Summary
BOQ Summary Details Tender Title: Reconfiguration of Existing Terminal Building at Madurai Airport Tender ID: 2023_AAI_173275_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | K.S.ELECTRICALS | 8454970.00 | L1