## BoQ1
Government eProcurement System Created By: Lakhan Pal Singh Solanki Created Date/Time: 27-Dec-2023 11:47 AM Tender Title: Perimeter lighting works of INA colony, Safdarjung Airport, New Delhi. Tender ID: 2023_AAI_173290_1
Tender Inviting Authority: Asstt. Gen. Mgr., Airports Authority of India, Safdarjung Airport, New Delhi.
Name of Work: Perimeter lighting works of INA colony, Safdarjung Airport, New Delhi.
Contract No: AAI/SAP/Engg.(E)/PerimeterLighting INA/2023-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANU ENGINEERING CORPORATION(GSTN-07AJDPK9181G1Z1) |  | Messers Rajesh Gawde(GSTN-23AFHPG7133A1Z4) |  | Master Electric Store(GSTN-07AAHPB6825H1ZU) |  | S S Engineers(GSTN-07ADDFS2352M1ZV) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | SACHDEVA ELECTRICALS(GSTN-07AALPS3645Q1ZU) |  | Aditya Techno Products Private Limited(GSTN-09AAGCA0910L1ZS) |  | Variant Infratech Private Limited(GSTN-NA) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA) |  | B L ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Light fixture
2.00 | Supply of 6 mtrs. high GI OCTAGONAL continuously tapered galvanised street light pole with minimum 1000 mm long single arm GI bracket for installation of LED street light luminaire suitable for wind velocity as per IS 875 (but not less than 50 m/sec.), fabricated out of 3 mm MS plate in single section, suitable for installation on a precast foundation with supply of 4 nos. of foundation bolt & anchor plate, rigid flange plate (200x200x12mm min.) welded with the base of pole for fixing on foundation bolts complete as reqd. for structural stability as specified, weather proof and vandal resistant door flush with the exterior surface containing a terminal plate of 5 mm thick backlite sheet with 32 Amp heavy duty connector for loop in loop out cable terminations suitable for upto two numbers 4 core 25 Sq.mm cables & 2A DP MCB for each fixture connections, earthing bolts for continuous earth connection complete as required & as specified. | 100.00 | Each | 100.00 | 9900.00 | 990000.00 | 10672.00 | 1067200.00 | 11230.00 | 1123000.00 | 13975.00 | 1397500.00 | 8699.00 | 869900.00 | 10200.00 | 1020000.00 | 12905.00 | 1290500.00 | 10173.20 | 1017320.00 | 10000.00 | 1000000.00 | 10500.00 | 1050000.00 | 869900.00 | BR Power Control and Automation Services
3.00 | Supply of LED street light fitting having system lumen output not less than 4950 lumens and system efficacy of not less than 110 lumens per watt, CCT from 5500 to 6500, Complete with electronic driver and accessories etc, suitable for outdoor applications complete as per technical specifications. | 54.00 | Each | 100.00 | 1900.00 | 102600.00 | 1624.00 | 87696.00 | 2980.00 | 160920.00 | 3145.00 | 169830.00 | 2680.00 | 144720.00 | 2323.00 | 125442.00 | 2988.00 | 161352.00 | 1734.20 | 93646.80 | 6000.00 | 324000.00 | 2500.00 | 135000.00 | 87696.00 | Messers Rajesh Gawde
4.00 | Erection of 6 Mtr.high G.I.OCTAGONAL street light pole & bracket with all accessories in reinforced cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling including positioning of template & foundation bolts (supplied with pole to match with pole base plate) & providing and fixing of DWC HDPE pipe of size 50 mm dia (2 pieces of min. 0.75 m length) in the foundation for loop-in-loop-out of the cable to the pole complete as required and as specified | 100.00 | Job | 10.00 | 5400.00 | 540000.00 | 4572.00 | 457200.00 | 6980.00 | 698000.00 | 4890.00 | 489000.00 | 7750.00 | 775000.00 | 4999.00 | 499900.00 | 1500.00 | 150000.00 | 7540.00 | 754000.00 | 2000.00 | 200000.00 | 1500.00 | 150000.00 | 150000.00 | B L ENTERPRISES, Aditya Techno Products Private Limited
5.00 | Installation, testing and commissioning of LED street light fitting with all accessories on existing street light pole of 6 mtr height with bracket, including supplying and drawing of 3core 1.5 sq.mm. PVC insulated PVC sheathed flexible copper conductor cable from loop-in-loop-out box upto the individual streetlight fitting(s), connection etc. complete as required & as specified. | 100.00 | Job | 10.00 | 50.00 | 5000.00 | 928.00 | 92800.00 | 10.00 | 1000.00 | 200.00 | 20000.00 | 1140.00 | 114000.00 | 400.00 | 40000.00 | 150.00 | 15000.00 | 1160.00 | 116000.00 | 300.00 | 30000.00 | 200.00 | 20000.00 | 1000.00 | Master Electric Store
6.00 | Dismantling of Light fixtures
7.00 | Dismantling of different type street light fittings from existing poles of height approx. 6 to 9 meter as required and shifting to store/ location as decided by E-I-C. | 46.00 | Job | 10.00 | 50.00 | 2300.00 | 1276.00 | 58696.00 | 10.00 | 460.00 | 999.00 | 45954.00 | 342.00 | 15732.00 | 250.00 | 11500.00 | 49.00 | 2254.00 | 116.00 | 5336.00 | 100.00 | 4600.00 | 65.00 | 2990.00 | 460.00 | Master Electric Store
8.00 | Dismantling of pole/ street light standard/ strut embedded in cement concrete foundation etc. as required. | 46.00 | Job | 10.00 | 500.00 | 23000.00 | 348.00 | 16008.00 | 10.00 | 460.00 | 499.00 | 22954.00 | 684.00 | 31464.00 | 1100.00 | 50600.00 | 150.00 | 6900.00 | 2320.00 | 106720.00 | 100.00 | 4600.00 | 500.00 | 23000.00 | 460.00 | Master Electric Store
9.00 | Cable supply & laying
10.00 | Supply of following sizes of Aluminium Power Cables, multistranded conductor, XLPE Insulated, Armoured, FRLSH at outer sheathed, 1100V grade as per IS 7098(Part 1) 1988 with upto date amendments.
10.01 | 4 core, 16 Sq.mm | 3200.00 | Meter | 10.00 | 140.00 | 448000.00 | 120.00 | 384000.00 | 170.00 | 544000.00 | 159.00 | 508800.00 | 128.00 | 409600.00 | 134.00 | 428800.00 | 309.00 | 988800.00 | 156.60 | 501120.00 | 210.00 | 672000.00 | 215.00 | 688000.00 | 384000.00 | Messers Rajesh Gawde
10.02 | 4 core, 25 Sq.mm | 300.00 | Meter | 10.00 | 185.00 | 55500.00 | 184.00 | 55200.00 | 223.00 | 66900.00 | 189.00 | 56700.00 | 159.00 | 47700.00 | 160.00 | 48000.00 | 350.00 | 105000.00 | 214.60 | 64380.00 | 250.00 | 75000.00 | 245.00 | 73500.00 | 47700.00 | BR Power Control and Automation Services
10.03 | 3.5 core, 50 sq. mm | 200.00 | Meter | 10.00 | 285.00 | 57000.00 | 290.00 | 58000.00 | 300.00 | 60000.00 | 289.00 | 57800.00 | 245.00 | 49000.00 | 250.00 | 50000.00 | 388.00 | 77600.00 | 243.60 | 48720.00 | 400.00 | 80000.00 | 337.00 | 67400.00 | 48720.00 | Variant Infratech Private Limited
10.04 | 3.5 core, 150 sq. mm | 250.00 | Meter | 10.00 | 680.00 | 170000.00 | 705.00 | 176250.00 | 720.00 | 180000.00 | 659.00 | 164750.00 | 591.00 | 147750.00 | 615.00 | 153750.00 | 752.00 | 188000.00 | 986.00 | 246500.00 | 800.00 | 200000.00 | 712.00 | 178000.00 | 147750.00 | BR Power Control and Automation Services
11.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required.
11.01 | Upto 35 sq. mm | 3000.00 | Meter | 10.00 | 20.00 | 60000.00 | 29.00 | 87000.00 | 2.00 | 6000.00 | 50.00 | 150000.00 | 74.00 | 222000.00 | 12.00 | 36000.00 | 20.00 | 60000.00 | 40.60 | 121800.00 | 10.00 | 30000.00 | 24.00 | 72000.00 | 6000.00 | Master Electric Store
11.02 | Above 35 sq. mm and upto 95 sq. mm | 130.00 | Meter | 10.00 | 30.00 | 3900.00 | 34.80 | 4524.00 | 9.00 | 1170.00 | 55.00 | 7150.00 | 103.00 | 13390.00 | 18.00 | 2340.00 | 35.00 | 4550.00 | 58.00 | 7540.00 | 20.00 | 2600.00 | 26.00 | 3380.00 | 1170.00 | Master Electric Store
11.03 | Above 95 sq. mm and upto 185 sq. mm | 210.00 | Meter | 10.00 | 50.00 | 10500.00 | 52.20 | 10962.00 | 9.00 | 1890.00 | 80.00 | 16800.00 | 125.00 | 26250.00 | 24.00 | 5040.00 | 50.00 | 10500.00 | 174.00 | 36540.00 | 50.00 | 10500.00 | 65.00 | 13650.00 | 1890.00 | Master Electric Store
12.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
12.01 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 290.00 | Meter | 10.00 | 65.00 | 18850.00 | 46.40 | 13456.00 | 10.00 | 2900.00 | 50.00 | 14500.00 | 86.00 | 24940.00 | 38.00 | 11020.00 | 43.00 | 12470.00 | 58.00 | 16820.00 | 50.00 | 14500.00 | 52.00 | 15080.00 | 2900.00 | Master Electric Store
12.02 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 50.00 | Meter | 10.00 | 75.00 | 3750.00 | 52.20 | 2610.00 | 10.00 | 500.00 | 130.00 | 6500.00 | 108.00 | 5400.00 | 50.00 | 2500.00 | 64.00 | 3200.00 | 116.00 | 5800.00 | 60.00 | 3000.00 | 160.00 | 8000.00 | 500.00 | Master Electric Store
12.03 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 30.00 | Meter | 10.00 | 80.00 | 2400.00 | 58.00 | 1740.00 | 10.00 | 300.00 | 160.00 | 4800.00 | 137.00 | 4110.00 | 60.00 | 1800.00 | 92.00 | 2760.00 | 232.00 | 6960.00 | 70.00 | 2100.00 | 260.00 | 7800.00 | 300.00 | Master Electric Store
13.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required.
13.01 | Upto 35 sq. mm | 200.00 | Meter | 10.00 | 270.00 | 54000.00 | 406.00 | 81200.00 | 100.00 | 20000.00 | 300.00 | 60000.00 | 217.00 | 43400.00 | 226.00 | 45200.00 | 50.00 | 10000.00 | 34.80 | 6960.00 | 50.00 | 10000.00 | 250.00 | 50000.00 | 6960.00 | Variant Infratech Private Limited
13.02 | Above 35 sq. mm and upto 95 sq. mm | 10.00 | Meter | 10.00 | 300.00 | 3000.00 | 406.00 | 4060.00 | 10.00 | 100.00 | 300.00 | 3000.00 | 251.00 | 2510.00 | 250.00 | 2500.00 | 110.00 | 1100.00 | 58.00 | 580.00 | 50.00 | 500.00 | 390.00 | 3900.00 | 100.00 | Master Electric Store
13.03 | Above 95 sq. mm and upto 185 sq. mm | 10.00 | Meter | 10.00 | 300.00 | 3000.00 | 406.00 | 4060.00 | 10.00 | 100.00 | 300.00 | 3000.00 | 285.00 | 2850.00 | 280.00 | 2800.00 | 120.00 | 1200.00 | 116.00 | 1160.00 | 50.00 | 500.00 | 520.00 | 5200.00 | 100.00 | Master Electric Store
14.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required.
14.01 | Upto 35 sq. mm | 10.00 | Meter | 10.00 | 60.00 | 600.00 | 23.20 | 232.00 | 9.00 | 90.00 | 30.00 | 300.00 | 86.00 | 860.00 | 12.00 | 120.00 | 43.00 | 430.00 | 34.80 | 348.00 | 20.00 | 200.00 | 130.00 | 1300.00 | 90.00 | Master Electric Store
14.02 | Above 35 sq. mm and upto 95 sq. mm | 10.00 | Meter | 10.00 | 70.00 | 700.00 | 23.20 | 232.00 | 9.00 | 90.00 | 35.00 | 350.00 | 109.00 | 1090.00 | 15.00 | 150.00 | 64.00 | 640.00 | 58.00 | 580.00 | 20.00 | 200.00 | 195.00 | 1950.00 | 90.00 | Master Electric Store
14.03 | Above 95 sq. mm and upto 185 sq. mm | 10.00 | Meter | 10.00 | 70.00 | 700.00 | 34.80 | 348.00 | 9.00 | 90.00 | 40.00 | 400.00 | 171.00 | 1710.00 | 18.00 | 180.00 | 92.00 | 920.00 | 116.00 | 1160.00 | 50.00 | 500.00 | 260.00 | 2600.00 | 90.00 | Master Electric Store
15.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
15.01 | 3½ X 35 sq. mm (32mm) | 3.00 | Each | 10.00 | 100.00 | 300.00 | 348.00 | 1044.00 | 310.00 | 930.00 | 300.00 | 900.00 | 748.00 | 2244.00 | 200.00 | 600.00 | 330.00 | 990.00 | 580.00 | 1740.00 | 500.00 | 1500.00 | 460.00 | 1380.00 | 300.00 | ANU ENGINEERING CORPORATION
15.02 | 3½ X 50 sq. mm (35mm) | 12.00 | Each | 10.00 | 150.00 | 1800.00 | 348.00 | 4176.00 | 310.00 | 3720.00 | 350.00 | 4200.00 | 1500.00 | 18000.00 | 240.00 | 2880.00 | 424.00 | 5088.00 | 754.00 | 9048.00 | 500.00 | 6000.00 | 590.00 | 7080.00 | 1800.00 | ANU ENGINEERING CORPORATION
15.03 | 3½ X 150 sq. mm (50mm) | 3.00 | Each | 10.00 | 400.00 | 1200.00 | 406.00 | 1218.00 | 510.00 | 1530.00 | 600.00 | 1800.00 | 2200.00 | 6600.00 | 280.00 | 840.00 | 965.00 | 2895.00 | 1160.00 | 3480.00 | 1000.00 | 3000.00 | 1050.00 | 3150.00 | 840.00 | SACHDEVA ELECTRICALS
15.04 | 4 X 16 sq. mm (28mm) | 4.00 | Each | 10.00 | 125.00 | 500.00 | 323.00 | 1292.00 | 250.00 | 1000.00 | 250.00 | 1000.00 | 541.00 | 2164.00 | 150.00 | 600.00 | 212.00 | 848.00 | 580.00 | 2320.00 | 300.00 | 1200.00 | 325.00 | 1300.00 | 500.00 | ANU ENGINEERING CORPORATION
15.05 | 4 X 25 sq. mm (28mm) | 4.00 | Each | 10.00 | 150.00 | 600.00 | 232.00 | 928.00 | 250.00 | 1000.00 | 250.00 | 1000.00 | 760.00 | 3040.00 | 170.00 | 680.00 | 219.00 | 876.00 | 754.00 | 3016.00 | 500.00 | 2000.00 | 390.00 | 1560.00 | 600.00 | ANU ENGINEERING CORPORATION
16.00 | Supply & Laying of 90 mm dia (PE-80, PN-6) HDPE pipe as per IS 4984 through trenchless technology by drilling the bore of suitable dia directly in ground upto the depth of 3 meters from the ground level including necessary joining, coupling, splicing etc complete as required. | 210.00 | Meter | 10.00 | 950.00 | 199500.00 | 2528.20 | 530922.00 | 890.00 | 186900.00 | 800.00 | 168000.00 | 1365.00 | 286650.00 | 725.00 | 152250.00 | 895.00 | 187950.00 | 87.00 | 18270.00 | 1500.00 | 315000.00 | 1150.00 | 241500.00 | 18270.00 | Variant Infratech Private Limited
17.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required.
17.01 | 63 mm dia (OD-63 mm & ID-51 mm nominal) | 3000.00 | Meter | 10.00 | 170.00 | 510000.00 | 164.72 | 494160.00 | 156.00 | 468000.00 | 207.00 | 621000.00 | 248.00 | 744000.00 | 115.00 | 345000.00 | 258.00 | 774000.00 | 63.80 | 191400.00 | 200.00 | 600000.00 | 140.00 | 420000.00 | 191400.00 | Variant Infratech Private Limited
18.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 50.00 | Cum | 10.00 | 1100.00 | 55000.00 | 812.00 | 40600.00 | 870.00 | 43500.00 | 250.00 | 12500.00 | 11100.00 | 555000.00 | 800.00 | 40000.00 | 1050.00 | 52500.00 | 290.00 | 14500.00 | 100.00 | 5000.00 | 2000.00 | 100000.00 | 5000.00 | JCC ENGINEERS PRIVATE LIMITED
19.00 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required
19.01 | 50 mm dia | 50.00 | Meter | 10.00 | 700.00 | 35000.00 | 590.00 | 29500.00 | 400.00 | 20000.00 | 603.00 | 30150.00 | 782.00 | 39100.00 | 600.00 | 30000.00 | 650.00 | 32500.00 | 40.60 | 2030.00 | 500.00 | 25000.00 | 620.00 | 31000.00 | 2030.00 | Variant Infratech Private Limited
19.02 | 80 mm dia | 10.00 | Meter | 10.00 | 1000.00 | 10000.00 | 1252.00 | 12520.00 | 800.00 | 8000.00 | 953.00 | 9530.00 | 1105.00 | 11050.00 | 900.00 | 9000.00 | 750.00 | 7500.00 | 75.40 | 754.00 | 665.50 | 6655.00 | 920.00 | 9200.00 | 754.00 | Variant Infratech Private Limited
20.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation of pump, DG set etc including form work etc as required. | 50.00 | Cum | 10.00 | 6500.00 | 325000.00 | 13920.00 | 696000.00 | 4100.00 | 205000.00 | 5500.00 | 275000.00 | 6987.00 | 349350.00 | 5000.00 | 250000.00 | 4800.00 | 240000.00 | 9860.00 | 493000.00 | 1000.00 | 50000.00 | 4500.00 | 225000.00 | 50000.00 | JCC ENGINEERS PRIVATE LIMITED
21.00 | Feeder pillar
22.00 | SITC of outdoor cubicle type, totally enclosed, free standing, dust free, damp and vermin proof, floor mounted distribution feeder pillar of suitable size on cement concrete foundations on suitable MS angle base frame i/c grouting the stand with concrete mortar (As per standard or directed by EIC) nut bolts etc as required, conforming to IS 5039 & IP 65 and to withstand rough usage and weather. The panel shall be fabricated with 14 SWG M.S. sheet with suitable flat iron frame work complete with hinged door on front with locking arrangement, doors/covers for individual inside compartments, suitable angle/channels frame in the bottom, legs for grouting in foundation, painting etc. including supplying and fixing of following accessories and making inter connections, earth connection etc. as required. The feedar pillar shall comprising of followings: INCOMER 1 No.63 Amp, four pole Moulded Case Circuit Breaker (Ics = Icu = 20KA) with built in thermal magnetic release unitwith O/L,S/C as per specification Incomer shall have one set of the following items: 0 - 500 Volt Digital voltmeter, 96 mm square flush pattern, with selector switch, and back up 2 Amp MCBs - 1 Set 1 No. Digital Ammeter (0-63Amp) with selector switch and one set of 3 nos. CTs of ratio 63/5A , Class I accuracy and 15 VA burden- 1set. 3 Nos.phase indicating LED lamps each with 2 amp back up MCB. BUSBARS TPN aluminium bus bars of minimum 100 Amps capacity with heat shrinkable coloured sleeves and i/c, SMC bus bars supports at required intervals complete for cross section, size supports & their spacing etc. for withstanding fault level of 20Ka for 1 sec. OUTGOING 25 Amps 4 pole, 10kA, C-curve MCB - 2 sets 16 Amps 4 pole, 10kA, C-curve MCB - 3 sets | 5.00 | Job | 10.00 | 70000.00 | 350000.00 | 63220.00 | 316100.00 | 45670.00 | 228350.00 | 73999.00 | 369995.00 | 56800.00 | 284000.00 | 48000.00 | 240000.00 | 170444.00 | 852220.00 | 40600.00 | 203000.00 | 73000.00 | 365000.00 | 45000.00 | 225000.00 | 203000.00 | Variant Infratech Private Limited
23.00 | Earthing
24.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 5.00 | Each | 10.00 | 5300.00 | 26500.00 | 10440.00 | 52200.00 | 4760.00 | 23800.00 | 6700.00 | 33500.00 | 12400.00 | 62000.00 | 3600.00 | 18000.00 | 4400.00 | 22000.00 | 11020.00 | 55100.00 | 5000.00 | 25000.00 | 5800.00 | 29000.00 | 18000.00 | SACHDEVA ELECTRICALS
25.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 50.00 | Meter | 10.00 | 250.00 | 12500.00 | 24.00 | 1200.00 | 140.00 | 7000.00 | 215.00 | 10750.00 | 285.00 | 14250.00 | 100.00 | 5000.00 | 278.00 | 13900.00 | 23.20 | 1160.00 | 200.00 | 10000.00 | 160.00 | 8000.00 | 1160.00 | Variant Infratech Private Limited
26.00 | Providing and laying 6 SWG dia G.I. Wire in existing DWC pipe for loop earthing of metallic poles including connection with G.I. thimble as required. | 3000.00 | Meter | 10.00 | 35.00 | 105000.00 | 5.80 | 17400.00 | 25.00 | 75000.00 | 15.00 | 45000.00 | 65.00 | 195000.00 | 17.00 | 51000.00 | 15.00 | 45000.00 | 17.40 | 52200.00 | 25.00 | 75000.00 | 26.00 | 78000.00 | 17400.00 | Messers Rajesh Gawde
27.00 | Dismantling of feeder pillars
28.00 | Dismantling of existing outdoor type feeder pillar of different sizes (approx. size of feeder pillars 900x600x450mm) including disconnection of incomer & outgoing cables of different sizes, disconnecting earthing and shifting the panel to store/ location as directed by E-I-C. | 4.00 | Job | 10.00 | 500.00 | 2000.00 | 2320.00 | 9280.00 | 500.00 | 2000.00 | 999.00 | 3996.00 | 6800.00 | 27200.00 | 3333.00 | 13332.00 | 2839.00 | 11356.00 | 580.00 | 2320.00 | 100.00 | 400.00 | 3260.00 | 13040.00 | 400.00 | JCC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 4189700.00 |  | 4872014.00 |  | 4143700.00 |  | 4788409.00 |  | 5553024.00 |  | 3696824.00 |  | 5342799.00 |  | 4213328.80 |  | 4155555.00 |  | 3966960.00
Lowest Amount Quoted BY: SACHDEVA ELECTRICALS(3696824.00)

## BOQ Summary
BOQ Summary Details Tender Title: Perimeter lighting works of INA colony, Safdarjung Airport, New Delhi. Tender ID: 2023_AAI_173290_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SACHDEVA ELECTRICALS | 3696824.00 | L1
| 2 | B L ENTERPRISES | 3966960.00 | L2
| 3 | Master Electric Store | 4143700.00 | L3
| 4 | JCC ENGINEERS PRIVATE LIMITED | 4155555.00 | L4
| 5 | ANU ENGINEERING CORPORATION | 4189700.00 | L5
| 6 | Variant Infratech Private Limited | 4213328.80 | L6
| 7 | S S Engineers | 4788409.00 | L7
| 8 | Messers Rajesh Gawde | 4872014.00 | L8
| 9 | Aditya Techno Products Private Limited | 5342799.00 | L9
| 10 | BR Power Control and Automation Services | 5553024.00 | L10