## BoQ1
Government eProcurement System Created By: Rajesh Wani Created Date/Time: 07-Dec-2023 06:05 PM Tender Title: Testing for (Water Act/ Air Act/ Noise Act) for Environmental Monitoring and Operational Consent 2023-26 at Aurangabad Airport Tender ID: 2023_AAI_173467_1
Tender Inviting Authority: Asst. General Manager (Engg-Civil) Airports Authority of India, Aurangabad Airport
Name of Work: Testing for (Water Act/ Air Act/ Noise Act) for Environmental Monitoring and Operational Consent 2023-26 at Aurangabad Airport
Contract No: 2023_AAI_173467_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sky Lab Analytical Laboratory(GSTN-27AKWPP4426B1ZX) |  | Mitcon Consultancy and Engineering Services Ltd(GSTN-27AABCM2681H1ZG) |  | Arihant Analytical Laboratory Pvt Ltd(GSTN-06AAQCS2875L1ZM)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | STP (Sewage treatment plant) sample analysis for parameters - Biochemical Oxygen Demand (BOD 27°C, 3 days), Chemical Oxygen Demand (COD), PH, Total Suspended Soilds (TSS), Oil & Grease, Total Dissolved Solids (TDS), Chlorides, Sulphates for STP inlet -raw water & outlet - treated water etc. complete as per the direction of Engineer-in Charge. | 36.00 | Each | 100.00 | 2500.00 | 90000.00 | 1000.00 | 36000.00 | 2500.00 | 90000.00 | 36000.00 | Mitcon Consultancy and Engineering Services Ltd
2.00 | Testing drinking water for parameters - Indian standards IS -10500-2002 (including pesticides & PAH), microbiological analysis etc. complete as per the direction of Engineer-in Charge. | 18.00 | Each | 100.00 | 7400.00 | 133200.00 | 6000.00 | 108000.00 | 3500.00 | 63000.00 | 63000.00 | Arihant Analytical Laboratory Pvt Ltd
3.00 | Testing drinking water for parameters - Indian standards IS -10500-2002 (excluding pesticides & PAH), Microbiological analysis etc. complete as per the direction of Engineer-in Charge. | 18.00 | Each | 10.00 | 5200.00 | 93600.00 | 6000.00 | 108000.00 | 3500.00 | 63000.00 | 63000.00 | Arihant Analytical Laboratory Pvt Ltd
4.00 | Stack emision monitoring Nitrogen Dioxide (NO2), Sulphur Dioxide (SO2), Total Particulate Matter (TPM) for DG set 04 nos. capacity more than (100 KV) etc. complete as per the direction of Engineer-in Charge. | 72.00 | Each | 10.00 | 1280.00 | 92160.00 | 1250.00 | 90000.00 | 4150.00 | 298800.00 | 90000.00 | Mitcon Consultancy and Engineering Services Ltd
5.00 | Ambient Air quality monitoring 24 Hourly - Ammonia (NH3), Arsenic (As), Benzene (C6H6), Benzo(a)pyrene (BaP), Carbon Monoxide (CO), Lead (Pb), Nickel (Ni), Nitrogen Dioxide (NO2), Sulphur Dioxide (SO2), Ozone (O3), Particulate Matter (PM2.5), Particulate Matter (PM10) etc. complete as per the direction of Engineer-in Charge. | 54.00 | Each | 10.00 | 4700.00 | 253800.00 | 4000.00 | 216000.00 | 7150.00 | 386100.00 | 216000.00 | Mitcon Consultancy and Engineering Services Ltd
6.00 | Noise Monitoring - 24 hours Ambient Noise Monitoring ( Day & Night) etc. complete as per the direction of Engineer-in Charge. | 24.00 | Each | 10.00 | 150.00 | 3600.00 | 2500.00 | 60000.00 | 1850.00 | 44400.00 | 3600.00 | Sky Lab Analytical Laboratory
7.00 | Noise Monitoring - DG set Noise level monitoring etc. complete as per the direction of Engineer-in Charge. | 90.00 | Each | 10.00 | 100.00 | 9000.00 | 300.00 | 27000.00 | 1850.00 | 166500.00 | 9000.00 | Sky Lab Analytical Laboratory
8.00 | Mobilization of testing personnel including equipments to conduct one set of samlpe collection & report submission at Airport. | 18.00 | Each | 10.00 | 3500.00 | 63000.00 | 8000.00 | 144000.00 | 20000.00 | 360000.00 | 63000.00 | Sky Lab Analytical Laboratory
9.00 | Periodical maintenance of cleaning of STP - Proper cleaning of Aeration tank, Settling tank and Filter Feed tank of dead sludge is settled at the bottom of the tanks; need to remove sludge by pumping out and disposal of the same outside the AAI premises etc. complete as per the direction of Engineer-in Charge. | 3.00 | Each | 10.00 | 38000.00 | 114000.00 | 65000.00 | 195000.00 | 45000.00 | 135000.00 | 114000.00 | Sky Lab Analytical Laboratory
10.00 | Provision of new drain points if required at the bottom of settling tank, filter feed tank so that the dead sludge will not settle in these tanks etc. complete as per the direction of Engineer-in Charge. | 9.00 | Each | 10.00 | 3400.00 | 30600.00 | 45000.00 | 405000.00 | 3000.00 | 27000.00 | 27000.00 | Arihant Analytical Laboratory Pvt Ltd
11.00 | Provision of new sludge circulation system with new pump of required capacity for the proper functioning of live culture etc. complete as per the direction of Engineer-in Charge. | 3.00 | Each | 10.00 | 12000.00 | 36000.00 | 50000.00 | 150000.00 | 10000.00 | 30000.00 | 30000.00 | Arihant Analytical Laboratory Pvt Ltd
12.00 | MBBR (Moving bed biological reaction) media cleaning etc. complete as per the direction of Engineer-in Charge. | 3.00 | Each | 10.00 | 5000.00 | 15000.00 | 35000.00 | 105000.00 | 10000.00 | 30000.00 | 15000.00 | Sky Lab Analytical Laboratory
13.00 | STP Commissioning - After cleaning of all tanks need to add new microbial culture to aeration tank & set up of inlet flow of STP etc. complete as per the direction of Engineer-in Charge. | 3.00 | Each | 10.00 | 15000.00 | 45000.00 | 60000.00 | 180000.00 | 15000.00 | 45000.00 | 45000.00 | Sky Lab Analytical Laboratory, Arihant Analytical Laboratory Pvt Ltd
14.00 | Filling of six monthly compliance report, data sheet and monitoring report along with copy of Environment Clearance in a prescribed format to Ministry of Environment, Forests & Climate Change twice during the year etc. complete as per the direction of Engineer-in Charge.. | 6.00 | Each | 10.00 | 5000.00 | 30000.00 | 18000.00 | 108000.00 | 15000.00 | 90000.00 | 30000.00 | Sky Lab Analytical Laboratory
| Total in Figures |  |  |  |  | 1008960.00 |  | 1932000.00 |  | 1828800.00
Lowest Amount Quoted BY: Sky Lab Analytical Laboratory(1008960.00)

## BOQ Summary
BOQ Summary Details Tender Title: Testing for (Water Act/ Air Act/ Noise Act) for Environmental Monitoring and Operational Consent 2023-26 at Aurangabad Airport Tender ID: 2023_AAI_173467_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sky Lab Analytical Laboratory | 1008960.00 | L1
| 2 | Arihant Analytical Laboratory Pvt Ltd | 1828800.00 | L2
| 3 | Mitcon Consultancy and Engineering Services Ltd | 1932000.00 | L3