## BoQ1
Government eProcurement System Created By: Lakhan Pal Singh Solanki Created Date/Time: 16-Nov-2023 10:14 AM Tender Title: Renovation of INA Guest House HVAC and lighting works. Tender ID: 2023_AAI_173563_1
Tender Inviting Authority: Asstt. Gen. Mgr., Airports Authority of India, Safdarjung Airport, New Delhi-110003.
Name of Work: Renovation of INA Guest House – HVAC and lighting works.
Contract No: AAI/SAP/Engg.(E)/Misc.-GH-INA/2023-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Pacific Depths(GSTN-07AAEPC7210N1ZU) |  | M/s Devendra K Sharma and associates(GSTN-07AAKFD0111D1Z7) |  | R S ELECTRICALS(GSTN-09AALFR7080G1ZS) |  | COMFORT ZONE(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following capacity Inverter type, 5 star rating as per latest BEE norms, Hi- wall, Split air-conditioner with rotary/ scroll compressor operating on refrigerant R-32A/ R-410A. The body of indoor unit shall be made of ABS/HIPS/GS, condensing unit should be of 100% copper coil & having all safety, air filters, evaporator, condenser, cordless remote, electronic operation control & all accessories supplied with the unit by OEM etc as per manufacturer standards suitable for operation on 230 volts , 50 Hz, Single phase, AC supply, complete as required at site. (Make : Hitachi, Samsung, Carrier, LG, BlueStar & Daikin).
1.01 | Supply of 1.5 TR (Cold Type) inverter type Hi-wall Split AC unit | 28.00 | Each | 100.00 | 39060.00 | 1093680.00 | 50625.00 | 1417500.00 | 43500.00 | 1218000.00 | 61000.00 | 1708000.00 | 1093680.00 | Pacific Depths
1.02 | Supply of 1.5 TR (Cold) Window type AC unit | 1.00 | Each | 100.00 | 35937.00 | 35937.00 | 38125.00 | 38125.00 | 38000.00 | 38000.00 | 50000.00 | 50000.00 | 35937.00 | Pacific Depths
2.00 | Supply of 5KVA Voltage Stabilizer without TDR three step auto and with voltmeter, high / low cut off complete as reqd. suitable for input voltage from 140 to 280 volt giving output 195-245 volt at 50 Hz A.C. Supply. (Make:-Bluebird/ V-Guard) | 29.00 | Each | 10.00 | 4238.00 | 122902.00 | 7125.00 | 206625.00 | 4800.00 | 139200.00 | 12000.00 | 348000.00 | 122902.00 | Pacific Depths
3.00 | Installation, testing & commissioning of 1.5 Ton High wall/inverter type split A/C's i/c mounting of indoor & outdoor unit at their respective location alongwith stabilizer, laying refrigerant pipeline with insulation & connect both the units, leak testing of entire system, connecting both indoor and outdoor units with electric supply as per manufacturer's recommandation etc as required. | 28.00 | Job | 10.00 | 1500.00 | 42000.00 | 3000.00 | 84000.00 | 2500.00 | 70000.00 | 3000.00 | 84000.00 | 42000.00 | Pacific Depths
4.00 | Installation, testing and commissioning of 1.5 Tr capacity window A/C to the satisfaction of Engineer.-in-charge and ITC of stabilizer etc as required. | 1.00 | Job | 10.00 | 850.00 | 850.00 | 2000.00 | 2000.00 | 1000.00 | 1000.00 | 1500.00 | 1500.00 | 850.00 | Pacific Depths
5.00 | Supply and fitting of Appropriate size and thickness of MS Stand / L-Chair for fixing outdoor unit or Condensing Units along with necessary anchor fastner/bolt & nuts etc on concrete/brick wall or floor etc. as required. | 28.00 | Each | 10.00 | 805.00 | 22540.00 | 1100.00 | 30800.00 | 1200.00 | 33600.00 | 900.00 | 25200.00 | 22540.00 | Pacific Depths
6.00 | Supply & fixing of extra copper refrigerant piping of standard gauge for installation of above units as required at site. | 100.00 | Mtr. | 10.00 | 763.00 | 76300.00 | 1100.00 | 110000.00 | 800.00 | 80000.00 | 300.00 | 30000.00 | 30000.00 | COMFORT ZONE
7.00 | Supply & fixing of hard PVC drain piping of proper dia for installation of above units as required at site beyond company provided standard length. | 100.00 | Mtr. | 10.00 | 127.00 | 12700.00 | 200.00 | 20000.00 | 150.00 | 15000.00 | 80.00 | 8000.00 | 8000.00 | COMFORT ZONE
8.00 | Supply & laying of following sizes copper conductor flexible cable, on surface/ on tray or with piping for the connections of indoor & out door units, of approved make complete as required at site. (Measurement excludes the standard length supplied by OEM with AC unit). Approved Make - Havells, Finolex, Polycab, HPL.
8.01 | 4 core, 2.5 sq mm | 150.00 | Mtr. | 10.00 | 161.00 | 24150.00 | 130.00 | 19500.00 | 150.00 | 22500.00 | 140.00 | 21000.00 | 19500.00 | M/s Devendra K Sharma and associates
9.00 | Supply of following type surface mounted LED fixtures, etc as required at site.
9.01 | 18 watt round type LED fitting surface mounted Natural white (4000K) fitting (make: Havells, cat no. LHEAABP6IL1K018) | 24.00 | Each | 10.00 | 229.00 | 5496.00 | 2114.00 | 50736.00 | 1100.00 | 26400.00 | 550.00 | 13200.00 | 5496.00 | Pacific Depths
9.02 | 18 watt round type LED fitting surface mounted Natural white (6500K) fitting. | 12.00 | Each | 10.00 | 237.00 | 2844.00 | 2000.00 | 24000.00 | 1200.00 | 14400.00 | 600.00 | 7200.00 | 2844.00 | Pacific Depths
9.03 | 12 watt round type LED fitting surface mounted Natural white (4000K) fitting (make: Havells, cat no. LHEAABP6IL1K012) | 12.00 | Each | 10.00 | 466.00 | 5592.00 | 1571.00 | 18852.00 | 750.00 | 9000.00 | 800.00 | 9600.00 | 5592.00 | Pacific Depths
9.04 | 6 watt round type LED fitting surface mounted Natural white (4000K) fitting (make: Havells, cat no. LHEAABP6IL1K006) | 12.00 | Each | 10.00 | 352.00 | 4224.00 | 1400.00 | 16800.00 | 650.00 | 7800.00 | 750.00 | 9000.00 | 4224.00 | Pacific Depths
9.05 | 7 watt surface mounted spot light LED fitting (Antic Bronze colour), 3000 K | 12.00 | Each | 10.00 | 741.00 | 8892.00 | 4714.00 | 56568.00 | 550.00 | 6600.00 | 700.00 | 8400.00 | 6600.00 | R S ELECTRICALS
9.06 | Wall mounted decorateive fitting (make Jaquar: cat no. JES-COP-WL1162W) complete with suitable type lamp | 12.00 | Each | 10.00 | 2966.00 | 35592.00 | 15000.00 | 180000.00 | 10500.00 | 126000.00 | 700.00 | 8400.00 | 8400.00 | COMFORT ZONE
10.00 | Supply of 5 star rating, 1200 mm BLDC fan (make: Havells, cat no. FHCBHSTPWT48) | 12.00 | Each | 10.00 | 3737.00 | 44844.00 | 8624.00 | 103488.00 | 7500.00 | 90000.00 | 7500.00 | 90000.00 | 44844.00 | Pacific Depths
11.00 | Supply of Ivory colour 15 L capacity water geyser (make: havells, cat no.: GHWCAITIV015) | 17.00 | Each | 10.00 | 8200.00 | 139400.00 | 18125.00 | 308125.00 | 17500.00 | 297500.00 | 10000.00 | 170000.00 | 139400.00 | Pacific Depths
| Total in Figures |  |  |  |  | 1677943.00 |  | 2687119.00 |  | 2195000.00 |  | 2591500.00
Lowest Amount Quoted BY: Pacific Depths(1677943.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of INA Guest House HVAC and lighting works. Tender ID: 2023_AAI_173563_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Pacific Depths | 1677943.00 | L1
| 2 | R S ELECTRICALS | 2195000.00 | L2
| 3 | COMFORT ZONE | 2591500.00 | L3
| 4 | M/s Devendra K Sharma and associates | 2687119.00 | L4