## BoQ1
Government eProcurement System Created By: RAVISH KUMAR Created Date/Time: 08-Dec-2023 12:27 PM Tender Title: Extension and reconfiguration of Terminal Building at Silchar Airport Tender ID: 2023_AAI_173658_1
Tender Inviting Authority: AAI/NER/E-C/SIL/Exp-TB/23-24
Name of Work: Extension and reconfiguration of Terminal Building at Silchar Airport. SH : Expansion of TB by steel structure /PEB and reconfiguration by demolition / shifting of existing wall & services including building associated civil & electrical works at Silchar Airport.
Contract No: 2023_AAI_173658_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M P KHAITAN(GSTN-19AACFM4211B1ZW) |  | J K BUILDERS(GSTN-24AAOFM4186F1Z3) |  | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | A. Civil works Carriage of materials: By Mechanical Transport including loading, unloading and stacking. Earth for a lead of 3 KM. | 300.00 | Cum |  | 300.00 | 90000.00 | 280.00 | 84000.00 | 350.00 | 105000.00 | 84000.00 | J K BUILDERS
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. | 698.00 | Cum |  | 250.00 | 174500.00 | 250.00 | 174500.00 | 250.00 | 174500.00 | 174500.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED, M P KHAITAN, J K BUILDERS
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 80.00 | Cum |  | 350.00 | 28000.00 | 350.00 | 28000.00 | 250.00 | 20000.00 | 20000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
4.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m: All kinds of soil. Pipes, cables etc, not exceeding 80 mm dia. | 200.00 | Mtr. |  | 300.00 | 60000.00 | 330.00 | 66000.00 | 300.00 | 60000.00 | 60000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED, M P KHAITAN
5.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m: Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia. | 150.00 | Mtr. |  | 300.00 | 45000.00 | 530.00 | 79500.00 | 480.00 | 72000.00 | 45000.00 | M P KHAITAN
6.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m: (a) Pipes, cables etc. exceeding 300 mm dia but not exceeding 600 mm. | 50.00 | Mtr. |  | 300.00 | 15000.00 | 830.00 | 41500.00 | 750.00 | 37500.00 | 15000.00 | M P KHAITAN
7.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 251.00 | Cum |  | 150.00 | 37650.00 | 300.00 | 75300.00 | 300.00 | 75300.00 | 37650.00 | M P KHAITAN
8.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. All kinds of soil. | 180.00 | Cum |  | 100.00 | 18000.00 | 120.00 | 21600.00 | 150.00 | 27000.00 | 18000.00 | M P KHAITAN
9.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 227.00 | Cum |  | 1500.00 | 340500.00 | 1950.00 | 442650.00 | 2500.00 | 567500.00 | 340500.00 | M P KHAITAN
10.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil. | 300.00 | Sqm |  | 100.00 | 30000.00 | 35.00 | 10500.00 | 50.00 | 15000.00 | 10500.00 | J K BUILDERS
11.00 | Supplying chemical emulsion in sealed containers including delivery as specified. Chlorpyriphos emulsifiable concentrate of 20%. | 60.00 | Litre |  | 500.00 | 30000.00 | 300.00 | 18000.00 | 250.00 | 15000.00 | 15000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
12.00 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion): Along external wall where the apron is not provided using chemical emulsion @ 7.5 litres / sqm of the vertical surface of the substructure to a depth of 300mm including excavation channel along the wall & rodding etc. complete: With Chlorpyriphos E.C. 20% with 1% concentration. | 120.00 | Mtr. |  | 100.00 | 12000.00 | 80.00 | 9600.00 | 50.00 | 6000.00 | 6000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
13.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 124.00 | Cum |  | 8600.00 | 1066400.00 | 10000.00 | 1240000.00 | 7200.00 | 892800.00 | 892800.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
14.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources). | 98.00 | Cum |  | 7150.00 | 700700.00 | 8800.00 | 862400.00 | 6800.00 | 666400.00 | 666400.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
15.00 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 10.00 | Cum |  | 8600.00 | 86000.00 | 11000.00 | 110000.00 | 7200.00 | 72000.00 | 72000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
16.00 | Providing and laying damp-proof course 40 mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources). | 18.00 | Sqm |  | 400.00 | 7200.00 | 475.00 | 8550.00 | 352.00 | 6336.00 | 6336.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
17.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 9.00 | Cum |  | 10000.00 | 90000.00 | 10500.00 | 94500.00 | 7500.00 | 67500.00 | 67500.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Foundations, footings, bases of columns, etc. for mass concrete. | 853.00 | Sqm |  | 500.00 | 426500.00 | 450.00 | 383850.00 | 280.00 | 238840.00 | 238840.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
19.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 50.00 | Sqm |  | 550.00 | 27500.00 | 700.00 | 35000.00 | 650.00 | 32500.00 | 27500.00 | M P KHAITAN
20.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Suspended floors, roofs, landings, balconies and access platform. | 104.00 | Sqm |  | 550.00 | 57200.00 | 800.00 | 83200.00 | 680.00 | 70720.00 | 57200.00 | M P KHAITAN
21.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Shelves (Cast in situ). | 8.00 | Sqm |  | 620.00 | 4960.00 | 800.00 | 6400.00 | 680.00 | 5440.00 | 4960.00 | M P KHAITAN
22.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 549.00 | Sqm |  | 620.00 | 340380.00 | 750.00 | 411750.00 | 550.00 | 301950.00 | 301950.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
23.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Columns, Pillars, Piers, Abutments, Posts and Struts. | 483.00 | Sqm |  | 600.00 | 289800.00 | 950.00 | 458850.00 | 650.00 | 313950.00 | 289800.00 | M P KHAITAN
24.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Small lintels not exceeding 1.5 m clear span, moulding as in cornices, window sills, string courses, bands, copings, bed plates, anchor blocks and the like. | 3.00 | Sqm |  | 600.00 | 1800.00 | 500.00 | 1500.00 | 350.00 | 1050.00 | 1050.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
25.00 | Providing, hoisting and fixing up to floor five level precast reinforced cement concrete in small lintels not exceeding 1.5m clear span up to floor five level, including the cost of required centering, shuttering but , excluding the cost of reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 3.20 | Cum |  | 10000.00 | 32000.00 | 16000.00 | 51200.00 | 15800.00 | 50560.00 | 32000.00 | M P KHAITAN
26.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. (a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 30973.00 | Kg |  | 98.00 | 3035354.00 | 115.00 | 3561895.00 | 85.00 | 2632705.00 | 2632705.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
27.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 7570.00 | Kg |  | 98.00 | 741860.00 | 115.00 | 870550.00 | 85.00 | 643450.00 | 643450.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
28.00 | Providing and fixing sheet covering over expansion joints with iron screws as per design. (i) Aluminium fluted strips 3.15 mm thick. (a) 150 mm wide. | 45.00 | Mtr. |  | 600.00 | 27000.00 | 700.00 | 31500.00 | 450.00 | 20250.00 | 20250.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
29.00 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | 45.00 | Mtr. |  | 100.00 | 4500.00 | 82.00 | 3690.00 | 80.00 | 3600.00 | 3600.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
30.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. (i) All works upto plinth level (a) Concrete of M25 grade with minimum cement content of 330 kg /cum. | 268.30 | Cum |  | 9200.00 | 2468360.00 | 9500.00 | 2548850.00 | 7800.00 | 2092740.00 | 2092740.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
31.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. (i) All works above plinth level upto floor V level. (a) Concrete of M25 grade with minimum cement content of 330 kg /cum. | 93.00 | Cum |  | 9350.00 | 869550.00 | 10500.00 | 976500.00 | 7800.00 | 725400.00 | 725400.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
32.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 216.80 | Qtl. |  | 1000.00 | 216800.00 | 750.00 | 162600.00 | 750.00 | 162600.00 | 162600.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED, J K BUILDERS
33.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand). | 62.00 | Cum |  | 9350.00 | 579700.00 | 9000.00 | 558000.00 | 10500.00 | 651000.00 | 558000.00 | J K BUILDERS
34.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand). | 194.00 | Cum |  | 9350.00 | 1813900.00 | 10000.00 | 1940000.00 | 10500.00 | 2037000.00 | 1813900.00 | M P KHAITAN
35.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in: (a) Cement mortar 1:4 (1 cement : 4 coarse sand). | 150.00 | Sqm |  | 105.00 | 15750.00 | 1200.00 | 180000.00 | 9000.00 | 1350000.00 | 15750.00 | M P KHAITAN
36.00 | Extra for providing and placing in position 2 Nos 6 mm dia. M.S. bars at every third course of half brick masonry. | 120.00 | Sqm |  | 100.00 | 12000.00 | 110.00 | 13200.00 | 855.00 | 102600.00 | 12000.00 | M P KHAITAN
37.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 8.00 | Each |  | 1000.00 | 8000.00 | 1050.00 | 8400.00 | 1500.00 | 12000.00 | 8000.00 | M P KHAITAN
38.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete. (a) 200 x 10 mm. | 25.00 | Each |  | 750.00 | 18750.00 | 400.00 | 10000.00 | 4500.00 | 112500.00 | 10000.00 | J K BUILDERS
39.00 | Providing and fixing bright finished brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 21.00 | Each |  | 2500.00 | 52500.00 | 925.00 | 19425.00 | 750.00 | 15750.00 | 15750.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
40.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. (a) Fixed to openings /wooden frames with rawl plugs screws etc. | 200.00 | Kg |  | 150.00 | 30000.00 | 250.00 | 50000.00 | 220.00 | 44000.00 | 30000.00 | M P KHAITAN
41.00 | Providing and fixing bright finished brass handles with screws etc. complete: 125 mm. | 40.00 | Each |  | 500.00 | 20000.00 | 262.00 | 10480.00 | 250.00 | 10000.00 | 10000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
42.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | 25.00 | Each |  | 300.00 | 7500.00 | 140.00 | 3500.00 | 180.00 | 4500.00 | 3500.00 | J K BUILDERS
43.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 25.00 | Each |  | 2000.00 | 50000.00 | 1100.00 | 27500.00 | 1000.00 | 25000.00 | 25000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
44.00 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. (a) 66 mm overall thickness partition using 8 mm thick double skin multipurpose cement bonded wood particle board manufactured as per IS: 14276 with suitable cement bonded board screws. | 190.00 | Sqm |  | 3500.00 | 665000.00 | 2400.00 | 456000.00 | 2200.00 | 418000.00 | 418000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
45.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 5145.00 | Kg |  | 150.00 | 771750.00 | 145.00 | 746025.00 | 160.00 | 823200.00 | 746025.00 | J K BUILDERS
46.00 | Providing and fixing M.S. fan clamp type I or II of 16 mm dia M.S. bar, bent to shape with hooked ends in R.C.C. slabs or beams during laying, including painting the exposed portion of loop, all as per standard design complete. | 10.00 | Each |  | 500.00 | 5000.00 | 250.00 | 2500.00 | 250.00 | 2500.00 | 2500.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED, J K BUILDERS
47.00 | Providing and fixing bolts of required grade & length including nuts and washers complete. | 580.00 | Kg |  | 200.00 | 116000.00 | 160.00 | 92800.00 | 220.00 | 127600.00 | 92800.00 | J K BUILDERS
48.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 400.00 | Kg |  | 600.00 | 240000.00 | 825.00 | 330000.00 | 950.00 | 380000.00 | 240000.00 | M P KHAITAN
49.00 | 62 mm thick cement concrete flooring with concrete hardener topping, under layer 50 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) and top layer 12mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate, 6mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacture’s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 12.00 | Sqm |  | 650.00 | 7800.00 | 1200.00 | 14400.00 | 920.00 | 11040.00 | 7800.00 | M P KHAITAN
50.00 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. (a) 18 mm thick. | 3.00 | Sqm |  | 400.00 | 1200.00 | 730.00 | 2190.00 | 650.00 | 1950.00 | 1200.00 | M P KHAITAN
51.00 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling /grouting and finishing complete as per direction of Engineer-in-charge. (a) Size of Tile 1000x1000 mm. | 490.00 | Sqm |  | 450.00 | 220500.00 | 180.00 | 88200.00 | 350.00 | 171500.00 | 88200.00 | J K BUILDERS
52.00 | Providing and laying flamed finish Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge: Flamed finish granite stone slab Jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent. | 102.00 | Sqm |  | 4500.00 | 459000.00 | 3500.00 | 357000.00 | 2800.00 | 285600.00 | 285600.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
53.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished Granite stone slab colour of Black, Cherry/Ruby Red or equivalent. | 160.00 | Sqm |  | 4000.00 | 640000.00 | 5000.00 | 800000.00 | 5200.00 | 832000.00 | 640000.00 | M P KHAITAN
54.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter. | 65.00 | Mtr. |  | 370.00 | 24050.00 | 410.00 | 26650.00 | 450.00 | 29250.00 | 24050.00 | M P KHAITAN
55.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler (a) 110 mm. | 5.00 | Each |  | 300.00 | 1500.00 | 150.00 | 750.00 | 180.00 | 900.00 | 750.00 | J K BUILDERS
56.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings / accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee with door. 110 x 110 x 110 mm. | 15.00 | Each |  | 550.00 | 8250.00 | 260.00 | 3900.00 | 320.00 | 4800.00 | 3900.00 | J K BUILDERS
57.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings / accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5°. 110 mm bend. | 15.00 | Each |  | 350.00 | 5250.00 | 170.00 | 2550.00 | 250.00 | 3750.00 | 2550.00 | J K BUILDERS
58.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings / accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain) 110 mm Shoe. | 15.00 | Each |  | 325.00 | 4875.00 | 150.00 | 2250.00 | 200.00 | 3000.00 | 2250.00 | J K BUILDERS
59.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50 x 50 x 50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 110 mm. | 100.00 | Each |  | 100.00 | 10000.00 | 400.00 | 40000.00 | 330.00 | 33000.00 | 10000.00 | M P KHAITAN
60.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | 15.00 | Each |  | 250.00 | 3750.00 | 60.00 | 900.00 | 50.00 | 750.00 | 750.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
61.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound, jointing tapes, finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :12.45.1 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | 165.00 | Sqm |  | 1200.00 | 198000.00 | 1600.00 | 264000.00 | 2500.00 | 412500.00 | 198000.00 | M P KHAITAN
62.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 45.00 | Sqm |  | 800.00 | 36000.00 | 860.00 | 38700.00 | 850.00 | 38250.00 | 36000.00 | M P KHAITAN
63.00 | Providing and fixing Gl Clip in Metal Ceiling System of 600x600 mm module which includes providing and fixing 'C' wall angle of size 20x30x20 mm made of 0.5 mm thick pre painted steel along the perimeter of the room with help of nylon sleeves and wooden screws at 300 mm center to centre, suspending the main C carrier of size 10x38x10 mm made of G.I steel 0.7 mm thick from the soffit with help of soffit cleat 37x27x25x1.6 mm, rawl plugs of size 38x12 mm and C carrier suspension clip and main carrier bracket at 1000 mm c/c. Inverted triangle shaped Spring Tee having height of 24 mm and width of 34 mm made of Gl steel 0.45 mm thick is then fixed to the main C carrier and in direction perpendicular to it at 600 mm centers with help of suspension brackets. Wherever the main C carrier and spring T have to join, C carrier and spring T connectors have to be used. All sections to be galvanized @ 120 gms/sqm (both side inclusive), fixing with clip in tiles into spring T with: (a) GI Metal Ceiling Clip in plain Beveled edge global white color tiles of size 600x600 and 0.5 mm thick with 25 mm height, made of G I sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation. | 816.00 | Sqm |  | 2500.00 | 2040000.00 | 2550.00 | 2080800.00 | 2000.00 | 1632000.00 | 1632000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
64.00 | 12 mm cement plaster of mix: 1:6 (1 cement: 6 fine sand). | 1142.00 | Sqm |  | 350.00 | 399700.00 | 400.00 | 456800.00 | 310.00 | 354020.00 | 354020.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
65.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand). | 791.00 | Sqm |  | 380.00 | 300580.00 | 410.00 | 324310.00 | 310.00 | 245210.00 | 245210.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
66.00 | 6 mm cement plaster of mix: 1:3 (1 cement : 3 fine sand) | 616.00 | Sqm |  | 320.00 | 197120.00 | 330.00 | 203280.00 | 260.00 | 160160.00 | 160160.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
67.00 | Finishing walls with textured exterior paint of required shade: New work (Two or more coats applied @ 3.28 ltr/10 sqm) over and including priming coat of exterior primer applied @ 2.20kg/10 sqm. | 250.00 | Sqm |  | 300.00 | 75000.00 | 310.00 | 77500.00 | 300.00 | 75000.00 | 75000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED, M P KHAITAN
68.00 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm). | 543.00 | Sqm |  | 250.00 | 135750.00 | 210.00 | 114030.00 | 250.00 | 135750.00 | 114030.00 | J K BUILDERS
69.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work. | 1760.00 | Sqm |  | 250.00 | 440000.00 | 180.00 | 316800.00 | 240.00 | 422400.00 | 316800.00 | J K BUILDERS
70.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade: Two or more coats on new work. | 220.00 | Sqm |  | 200.00 | 44000.00 | 170.00 | 37400.00 | 180.00 | 39600.00 | 37400.00 | J K BUILDERS
71.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1200.00 | Sqm |  | 130.00 | 156000.00 | 160.00 | 192000.00 | 160.00 | 192000.00 | 156000.00 | M P KHAITAN
72.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in-Charge. | 11.00 | Each |  | 600.00 | 6600.00 | 150.00 | 1650.00 | 110.00 | 1210.00 | 1210.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
73.00 | Demolishing cement concrete manually/ by mechanical means and disposal of material within 50 metres lead as per direction of Engineer-in-charge.Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 74.25 | Cum |  | 1500.00 | 111375.00 | 2300.00 | 170775.00 | 700.00 | 51975.00 | 51975.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
74.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 6.00 | Cum |  | 2000.00 | 12000.00 | 2500.00 | 15000.00 | 2900.00 | 17400.00 | 12000.00 | M P KHAITAN
75.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar. | 75.00 | Cum |  | 500.00 | 37500.00 | 2000.00 | 150000.00 | 1700.00 | 127500.00 | 37500.00 | M P KHAITAN
76.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : (a) Of area 3 sq. metres and below. | 20.00 | Each |  | 600.00 | 12000.00 | 300.00 | 6000.00 | 300.00 | 6000.00 | 6000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED, J K BUILDERS
77.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. (a) For thickness of tiles 10 mm to 25 mm. | 450.00 | Sqm |  | 100.00 | 45000.00 | 80.00 | 36000.00 | 100.00 | 45000.00 | 36000.00 | J K BUILDERS
78.00 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead.(a) For thickness of tiles 10 mm to 25 mm. | 160.00 | Sqm |  | 200.00 | 32000.00 | 280.00 | 44800.00 | 220.00 | 35200.00 | 32000.00 | M P KHAITAN
79.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 282.00 | Sqm |  | 150.00 | 42300.00 | 60.00 | 16920.00 | 100.00 | 28200.00 | 16920.00 | J K BUILDERS
80.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 770.00 | Cum |  | 200.00 | 154000.00 | 250.00 | 192500.00 | 220.00 | 169400.00 | 154000.00 | M P KHAITAN
81.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 560.00 | Sqm |  | 300.00 | 168000.00 | 130.00 | 72800.00 | 120.00 | 67200.00 | 67200.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
82.00 | Providing and fixing soil, waste and vent pipes: 100 mm dia. Sand cast iron S&S pipe as per IS: 1729. | 40.00 | Mtr. |  | 1000.00 | 40000.00 | 1300.00 | 52000.00 | 1100.00 | 44000.00 | 40000.00 | M P KHAITAN
83.00 | Providing and fixing soil, waste and vent pipes: 75 mm diameter. Sand cast iron S&S pipe as per IS: 1729. | 40.00 | Mtr. |  | 700.00 | 28000.00 | 1200.00 | 48000.00 | 950.00 | 38000.00 | 28000.00 | M P KHAITAN
84.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100 mm dia Sand cast iron S&S as per IS - 1729. | 8.00 | Each |  | 700.00 | 5600.00 | 700.00 | 5600.00 | 530.00 | 4240.00 | 4240.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
85.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 75 mm dia. Sand cast iron S&S as per IS - 1729. | 8.00 | Each |  | 500.00 | 4000.00 | 550.00 | 4400.00 | 440.00 | 3520.00 | 3520.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
86.00 | Providing and fixing plain bend of required degree. 100 mm dia. Sand cast iron S&S as per IS - 1729. | 8.00 | Each |  | 600.00 | 4800.00 | 520.00 | 4160.00 | 420.00 | 3360.00 | 3360.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
87.00 | Providing and fixing plain bend of required degree. 75 mm dia. Sand cast iron S&S as per IS - 1729. | 4.00 | Each |  | 450.00 | 1800.00 | 400.00 | 1600.00 | 320.00 | 1280.00 | 1280.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
88.00 | Providing and fixing single equal plain junction of required degree : 100x100x100 mm Sand cast iron S&S as per IS - 1729. | 10.00 | Each |  | 900.00 | 9000.00 | 750.00 | 7500.00 | 670.00 | 6700.00 | 6700.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
89.00 | Providing and fixing single equal plain junction of required degree : 75 x 75 x 75 mm Sand cast iron S&S as per IS - 1729. | 10.00 | Each |  | 600.00 | 6000.00 | 600.00 | 6000.00 | 570.00 | 5700.00 | 5700.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
90.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors: 100 mm inlet and 100 mm outlet Sand Cast Iron S&S as per IS: 3989. | 14.00 | Each |  | 850.00 | 11900.00 | 2000.00 | 28000.00 | 1600.00 | 22400.00 | 11900.00 | M P KHAITAN
91.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall. 32 mm nominal dia Pipes. | 160.00 | Mtr. |  | 450.00 | 72000.00 | 650.00 | 104000.00 | 500.00 | 80000.00 | 72000.00 | M P KHAITAN
92.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. (a) 15 mm nominal dia Pipes. | 110.00 | Mtr. |  | 225.00 | 24750.00 | 560.00 | 61600.00 | 440.00 | 48400.00 | 24750.00 | M P KHAITAN
93.00 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall: 20 mm dia nominal bore. | 40.00 | Mtr. |  | 400.00 | 16000.00 | 690.00 | 27600.00 | 540.00 | 21600.00 | 16000.00 | M P KHAITAN
94.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete: (a) 25 to 40 mm nominal bore. | 7.00 | Each |  | 350.00 | 2450.00 | 950.00 | 6650.00 | 750.00 | 5250.00 | 2450.00 | M P KHAITAN
95.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore. | 36.00 | Each |  | 200.00 | 7200.00 | 110.00 | 3960.00 | 85.00 | 3060.00 | 3060.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
96.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931. 15 mm nominal bore. | 42.00 | Each |  | 750.00 | 31500.00 | 640.00 | 26880.00 | 500.00 | 21000.00 | 21000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
97.00 | Providing and fixing PTMT grating of approved quality and colour. Circular type. 100 mm nominal dia. | 12.00 | Each |  | 150.00 | 1800.00 | 40.00 | 480.00 | 35.00 | 420.00 | 420.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
98.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete: (a) 300 mm diameter | 200.00 | Mtr. |  | 600.00 | 120000.00 | 2300.00 | 460000.00 | 1780.00 | 356000.00 | 120000.00 | M P KHAITAN
99.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design: 250 mm diameter S.W. pipe. | 200.00 | Mtr. |  | 550.00 | 110000.00 | 1900.00 | 380000.00 | 1500.00 | 300000.00 | 110000.00 | M P KHAITAN
100.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100 x 100 mm size P type. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5. | 16.00 | Each |  | 5000.00 | 80000.00 | 3200.00 | 51200.00 | 2500.00 | 40000.00 | 40000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
101.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete: 300 mm dia. R.C.C. pipe. | 250.00 | Mtr. |  | 1700.00 | 425000.00 | 1250.00 | 312500.00 | 900.00 | 225000.00 | 225000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
102.00 | Constructing brick masonry manhole in cement mortar 1:4 (1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design: (i) Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg): (a) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5. | 23.00 | Each |  | 20000.00 | 460000.00 | 15000.00 | 345000.00 | 18000.00 | 414000.00 | 345000.00 | J K BUILDERS
103.00 | Extra for depth for manholes: Size 90 x 80 cm. (a) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5. | 23.00 | Mtr. |  | 4500.00 | 103500.00 | 10000.00 | 230000.00 | 9500.00 | 218500.00 | 103500.00 | M P KHAITAN
104.00 | Supplying and fixing C.I. cover without frame for manholes: 560 mm diameter C.I. cover (heavy duty) the weight of the cover to be not less than 108 kg. | 23.00 | Each |  | 15000.00 | 345000.00 | 9000.00 | 207000.00 | 8500.00 | 195500.00 | 195500.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
105.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately): For fixed portion. (a) Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron). | 1115.00 | Kg |  | 575.00 | 641125.00 | 600.00 | 669000.00 | 600.00 | 669000.00 | 641125.00 | M P KHAITAN
106.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately): For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron). | 400.00 | Kg |  | 600.00 | 240000.00 | 730.00 | 292000.00 | 600.00 | 240000.00 | 240000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED, M P KHAITAN
107.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides. | 100.00 | Sqm |  | 1200.00 | 120000.00 | 1200.00 | 120000.00 | 960.00 | 96000.00 | 96000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
108.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm). | 80.00 | Sqm |  | 1000.00 | 80000.00 | 1700.00 | 136000.00 | 1400.00 | 112000.00 | 80000.00 | M P KHAITAN
109.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. (a) With stainless steel cover plate minimum 1.25 mm thickness. | 10.00 | Each |  | 5000.00 | 50000.00 | 3150.00 | 31500.00 | 2500.00 | 25000.00 | 25000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
110.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width. | 30.00 | Mtr. |  | 350.00 | 10500.00 | 110.00 | 3300.00 | 100.00 | 3000.00 | 3000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
111.00 | Providing and fixing aluminium tubular handle bar 32 mm outer dia, 3.0 mm thick & 2100 mm long with SS screws etc .complete as per direction of Engineer-in-Charge. Polyester powder coated minimum thickness 50 micron aluminium tubular handle bar. | 8.00 | Each |  | 2000.00 | 16000.00 | 740.00 | 5920.00 | 580.00 | 4640.00 | 4640.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
112.00 | Providing and fixing Brass 100 mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 4.00 | Each |  | 1000.00 | 4000.00 | 570.00 | 2280.00 | 480.00 | 1920.00 | 1920.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
113.00 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-incharge. Polyester powder coated minimum thickness 50 micron aluminium. | 8.00 | Each |  | 1000.00 | 8000.00 | 120.00 | 960.00 | 90.00 | 720.00 | 720.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
114.00 | Providing and fixing 12mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer in charge (Door handle, lock and stopper etc. to be paid separately). | 30.00 | Sqm |  | 7000.00 | 210000.00 | 5800.00 | 174000.00 | 8000.00 | 240000.00 | 174000.00 | J K BUILDERS
115.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 640.00 | Sqm |  | 600.00 | 384000.00 | 2000.00 | 1280000.00 | 2500.00 | 1600000.00 | 384000.00 | M P KHAITAN
116.00 | Providing and supplying aluminium extruded tubular and other aluminium sections as per the architectural drawings and approved shop drawings , the aluminium quality as per grade 6063 T5 or T6 as per BS 1474,including super durable powder coating of 60-80 microns conforming to AAMA 2604 of required colour and shade as approved by the Engineer-in-Charge. (The item includes cost of material such as cleats, sleeves, screws etc. necessary for fabrication of extruded aluminium frame work. Nothing extra shall be paid on this account). The weight of aluminium extruded section shall be taken for purpose of payment. | 2260.00 | Kg |  | 600.00 | 1356000.00 | 470.00 | 1062200.00 | 550.00 | 1243000.00 | 1062200.00 | J K BUILDERS
117.00 | Providing & fixing in position Phenol bonded Bamboowood wall cladding at all height with planks of sizes 10mm thick, minimum 1800mm length and minimum 100 mm wide, in approved colour, texture and finish, having Performance Appraisal Certificate (PAC) issued by Building Materials & Technology Promotion Council (BMTPC), with necesasary profiled edges fixed with 40mm SS screws 5 nos in each tile to frame work made of second class teak wood of size 20x15 mm in centre of each tile and bottom and top of work height, 40x15mm placed at ends of each tile. The cladding shall be laid over backlayment of 1.00 mm thick expanded polyethylene foam of density 40kg/cum in two layers, first layer on wall surface before fixing wooden frame and second layer on frame under cladding. The bamboowood planks shall have minimum density of 1000 Kg/cum & minimum Hardness 1000 Kgf. with Eco friendly UV coating, all complete as per direction of the Engineer in-charge. | 211.00 | Sqm |  | 6500.00 | 1371500.00 | 7200.00 | 1519200.00 | 7000.00 | 1477000.00 | 1371500.00 | M P KHAITAN
118.00 | Providing & fixing in position Phenol bonded Bamboowood panelled or panelled and glazed shutters for doors windows, clerestorey windows with pre-molded minimum 30mm thick planks, in approved colours, texture & finish. It shall have 10mm wide, 25mm deep grove to fit in panels.The bamboo wood shall have minimum density of 1000 Kg/cum, minimum Hardness 1000 Kgf. All styles and rails shall have profiled interlocking system locked in place by bamboo pins, all complete as per direction of Engineer in charge. (The panelling will be paid for separately). | 47.00 | Sqm |  | 6500.00 | 305500.00 | 7000.00 | 329000.00 | 7000.00 | 329000.00 | 305500.00 | M P KHAITAN
119.00 | Providing & fixing in position Phenol bonded Bamboo wood panelling of 10mm thick, in 25 to 40 mm thick panelled or panelled & glazed shutters for doors, windows, clerestorey windows, in approved colour, texture & finish. The bamboowood planks shall have minimum density of 1000 Kg/cum & minimum Hardness 1000 Kgf. The panels shall have profiled interlocking system locked in place with bamboo pins all complete as per direction of the Engineer in-charge. (area of opening for panel inserts excluding portion inside grooves or rebates to be measured). | 47.00 | Sqm |  | 5000.00 | 235000.00 | 4800.00 | 225600.00 | 4500.00 | 211500.00 | 211500.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
120.00 | Providing & fixing in position 65 mm thick factory made door frame of Phenol bonded Bamboo wood (superior class, interior use), in approved colour, texture and finish.The bamboo wood shall have minimum density of 1000 Kg/cum, minimum hardness 1000 Kgf. The door frame shall have tenon & mortise interlocking system, to be fixed to the wall with 100 mm size G.I screws all a complete as per direction of Engineer-in charge. | .70 | Cudm |  | 5000.00 | 3500.00 | 400.00 | 280.00 | 300.00 | 210.00 | 210.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
121.00 | Providing and fixing in position factory made EPS cement sandwich wall/roof/floor light weight solid core panels made of core material of EPS granule balls/beads (conforming to IS 4671:1984 and shall have density not less than 15kg per cum) adhesive, cement, sand, flyashand other bonding material in mortar state processed to form in a preset mould. The outer face on both sides of the panels will be non asbestos fiber cement board confirming to IS 14862:2000 or Calcium silicate board confirming to EN 14306:2009 of 5mm thick each. Panel shall be laid on 6mm thick cement mortar (1 cement: 2 fine sand) mixed with chemical adhesive of 0.5kg per 50kg of cement or shall be preferably fixed into 'C' channel made of 1.2mm thick MS plate screwed/fastenened to the slab/column/beam etc. The panel shall fixed vertically with tongue and groove joint and horizontally locked with steel bar between each other and floors and filled with cement mortar and adhesive. Panels should be used as floor & roofing with additional structural support, steel or RCC depending upon the design. All the operation shall be completed in all respect as per drawings, Manufacturers specifications and under the overall direction of Engineer-in-Charge (Cost of all the material is included except "C channel" which will be paid seperately). Non load bearing panels 100mm thick of required size. | 140.00 | Sqm |  | 5000.00 | 700000.00 | 3000.00 | 420000.00 | 1180.00 | 165200.00 | 165200.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
122.00 | Providing and fixing roofing consist of 0.8 mm thick galvanized steel deck sheet confirming to IS 277:1992 used as permanent shuttering over which MS wire mesh 3mm laid at 100x100 mm grid including edge trim covered with concrete. This metal deck will be supported on structural steel beam with shear studs. (Structural steel like Beam, column, joists etc. & concrete of different grade as per design will be paid separately). | 560.00 | Sqm |  | 1200.00 | 672000.00 | 2100.00 | 1176000.00 | 1630.00 | 912800.00 | 672000.00 | M P KHAITAN
123.00 | Providing, Fabricating, Assembling, painting, hoisting, erecting and placing in position MS Built-up section/Tubular Structure ( MS built-up section :-Rolled section & plates confirming to IS 2062 minimum required grade E250,Tubular Structure:- made from Steel hollow sections (CHS/RHS/SHS) (ERW), ISI marked conforming to IS 1161/4923, minimum required Grade YST 310 thickness up to 10mm of approved make) in the profile shape as per drawings approved structural drawings for Pre-engineered building structure (PEB structure), Structural Steel Column / Steel Beams / Bracing / Staircase Works and structure of Tensile Membrane canopy with special plate connector, pinion joints, Plates, hollow sections etc. to all heights,using CNC / Plasm cut system for obtaining smooth 3-dimensional curvature, tools and plants and necessary scaffoldings etc. required for all operations involved including SAW/MMAW/MIG welding process and /or high tensile bolts of grade not less than 10.9 having black phosphate coating (nuts and bolts to be paid separately). The complete structure to be sand/ copper slag blasting before application of primer/paint as per SA2.5 standards and coated with epoxy primer 2 coats and hard top two coats Polyurethane applications work at all locations in required DFT (dry film thickness) for each coat in total DFT of 280 microns as per technical specification and direction of Engineer-In-Charge.The item shall be executed as per approved drawings, Particular Specifications and direction of the Engineer-in-Charge complete. (Work is to be executed by Specialised Agency having experience in executing similar nature of works. Item shall be measured for structural steel section/ member for payment). | 52900.00 | Kg |  | 233.00 | 12325700.00 | 155.00 | 8199500.00 | 180.00 | 9522000.00 | 8199500.00 | J K BUILDERS
124.00 | Providing & fixing 2 mm thick protection sheet on finish floor for allied works as per direction of E-I-C. | 560.00 | Sqm |  | 100.00 | 56000.00 | 80.00 | 44800.00 | 350.00 | 196000.00 | 44800.00 | J K BUILDERS
125.00 | Providing, assembling and supplying vision glass panels (IGUs) comprising of hermetically-sealed 6-12- 6 mm insulated glass (double glazed) vision panel units of size and shape as required and specified, comprising of an outer heat strengthened float glass 6mm thick, of approved colour and shade with reflective soft coating on surface # 2 of approved colour and shade, an inner Heat strengthned clear float glass 6mm thick, spacer tube 12mm wide, dessicants, including primary seal and secondary seal (structural silicone sealant) etc. all complete for the required performances, as per the Architectural drawings, as per the approved shop drawings, as specified and as directed by the Engineer-in-Charge. The IGUs shall be assembled in the factory/ workshop of the glass processor. For payment, only the actual area of glass on face # 1 of the glass panels (excluding the areas of the grooves and weather silicone sealant) provided and fixed in position, shall be measured in sqm. (i) Coloured tinted float glass 6mm thick substrate with reflective soft coating on face # 2, + 12mm Airgap + 6mm Heat Strengthened clear Glass of approved make having properties as visible Light transmittance (VLT) of 25 to 35 %, Light reflection internal 10 to 15%, light reflection external 10 to 20 %, shading coefficient (0.25- 0.28) and U value of 3.0 to 3.3 W/m2 degree K etc. The properties of performance glass shall be decided by technical sanctioning authority as per the site requirement. | 150.00 | Sqm |  | 7000.00 | 1050000.00 | 7000.00 | 1050000.00 | 9000.00 | 1350000.00 | 1050000.00 | M P KHAITAN, J K BUILDERS
126.00 | Providing and fixing 4mm thick aluminium composite panel around the columns /dead walls / under side of ceiling at all heights. The standard panel size of ACP shall be of size 1250mm x 1600mm or as required. The rate shall include all necessary, tools and equipments, scaffolding, technical personal and as per technical specifications, complete as per the direction of the Engineer-in-Charge. Items includes cost of ACP Panel, Weather Sealant, Gasket, Foam, Scaffolding, Fixtures all machineries complete. The above work is to be carried out by a Specialized Agency approved by the Engineer-in-Charge. Only surface area of aluminium composite panel alongwith its groove shall be measured for payment. The cladding system shall be aligned for the entire height and for the entire width to ensure 100 percent 'X' axis 'Y'axis alignment wherever required. The fixing of the panels shall be designed in such a way that they come in plane with the glass panels and no deflection is visible on the external face. All the vertical and horizontal section grooves and peripheral gaps shall be sealed with approved grade sealant to make the entire system synchronize with the basic curtain wall structure / steel structure and also make the system airtight and watertight. The fixing details should be got approved by site-in charge. The peel off foil should be removed at the time of handing over as may be required by the Site-In-Charge. Cost of ACP panel including the labour element for cutting of ACP panel, stacking, fixing in appropriate locations shall be included in the rates. (Aluminium frame work shall be paid separately in respective item). | 573.00 | Sqm |  | 2500.00 | 1432500.00 | 1900.00 | 1088700.00 | 2200.00 | 1260600.00 | 1088700.00 | J K BUILDERS
127.00 | Providing and fixing C.P. brass stop cock (concealed) of Jaquar model no. ALD 083 as per satisfaction & direction of Engineer-in-charge. 15 mm nominal bore. | 16.00 | Each |  | 1200.00 | 19200.00 | 1000.00 | 16000.00 | 1500.00 | 24000.00 | 16000.00 | J K BUILDERS
128.00 | Providing & fixing washbasin counter formed out of 12mm thick 100% acrylic solid surface of approved mke and colour with 19mm thk marine ply backing to form 90 degree bends with min. radius 25mm and forming 300mm deep fascia formed to shape, polished to gloss. Cost to include cutting and polishing, 225mm backsplash in 12mm thk 100% acrylic solid surface with 19mm thk ply backing as per drawing.The rate shall includes ,cost and conveyance of all materials, labour charges,lead,lift etc. complete as per technical specification and as directed by the Engineer in charge at all levels .The above work shall be carried out by an agency having sufficient experience in concerned work and should ensure a guarantee for any defective installation and material composition for a period of 10 years from the date of completion of the said work .only skilled and experienced persons shall be employed for this purpose. (Face area of 100% acrylic solid surface including back splash & facia will be measured for payment). | 47.00 | Sqm |  | 8000.00 | 376000.00 | 11000.00 | 517000.00 | 12000.00 | 564000.00 | 376000.00 | M P KHAITAN
129.00 | Providing & fixing modular toilet cubicles (model, type ZMS series of Marino/Green Sturdo Classique-Evergreen Series Model of Greenlam or equivalent), consisting of high pressure 12mm thick compact laminate board as per IS 2046 and as per fire retardent BS-476/96 standard with phenolic core panels for partitions of intermediate divider, doors and pilasters (The cubicle shall have dimensions of 1250mm x 1800mm, 2025mm (including bottom gap 150 mm, but the panel area required for one cabin shall be one longer and the one shorter side of the cabin including one door) with a door size of 600-650 mm width, the assembly shall be supported by black satin finish stainless steel head rail on top of panels and panels shall fixed on the floor with a clearance of maximum 150mm using stainless steel alloy satin finish adjustable legs screwed to the floor included accessories with standard - Besco make aluminium, nylon polyamide accessories, gravity hinges, SS top rail,Privacy thumb turn c/w occupancy indicator,coat hook, door knob, Adjustable pedestal,SS "U" channel,SS door stopper channel,rubber door stopper lining,screws & wall plug etc complete as per manufacturers specification and as directed by Engineer in charge. The rate is Inclusive of cost,carriage of all materials, labour charge, lead & lift, all taxes etc complete. (L shaped panels matching the two dimensions of a cabin is only required to make one cubicle). | 22.00 | Each |  | 50000.00 | 1100000.00 | 46000.00 | 1012000.00 | 30000.00 | 660000.00 | 660000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
130.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan) with 100 mm sand cast iron P or S trap, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever) conforming to IS:7231, Parryware/ Hindware/ Seabird/ Orient (Coral) / Jaquar with all fittings and fixtures complete including cutting and making good the walls and floors wherever required. (a) White vitreous china Orrisa pattern W.C. pan of size 580 mm x 440 mm with integral type foot rests. | 8.00 | Each |  | 6000.00 | 48000.00 | 7000.00 | 56000.00 | 15000.00 | 120000.00 | 48000.00 | M P KHAITAN
131.00 | Providing, fixing, testing and commissioning approved colour vitreous china wall mounting pan 'P' trap (Eurepean type) water closet with seat and lid with C.I. chair, C.P. brass hinges and rubber buffer, 32 mm dia concealed type Metropole Flush Valve dual flow (ABS Chrome plated) of Jaquar Cat. no. FLV-1085DFP or equivalent with 32 mm dia C.P. flush pipe with clamp fixed to W.C., C.P. brass screws and washers, PVC connector pipe for connection to C.I. soil pipe, complete including cutting and making good the walls and floors where required. (a) EWC Hindware model 92054 (Cornice) or equivalent. | 18.00 | Each |  | 8000.00 | 144000.00 | 21500.00 | 387000.00 | 18000.00 | 324000.00 | 144000.00 | M P KHAITAN
132.00 | Providing and fixing white vitreous china flat back large stall Urinal of 610 x 390 x 370 mm with automatic sensor concealed type flushing valve for urinal complete set with installation box with control cock as per company of Hindware catalogue no. 60007 (senso) or equivalent i/c C.I. / M.S. brackets standard size C.P. brass flush pipe, spreaders with union and clams (all in C.P. brass) with waste fitting as per IS:2556 trap with outlet grating and other coupling in C.P. brass including painting of fittings and cutting and making good the walls and floors wherever required. (a) Hindware Model no 60007 (Senso). | 35.00 | Each |  | 8500.00 | 297500.00 | 27000.00 | 945000.00 | 25000.00 | 875000.00 | 297500.00 | M P KHAITAN
133.00 | Providing, fixing, testing and commissioning approved colour vitreous china wash basin with R.S. or C.I. brackets painted white, C.P. brass waste of standard pattern etc. complete including cutting and making good the walls where required. (a) Approved colour oval shape under the counter mounting wash basin of size 56 x 45 cm (Oval basin Hindware model 10049 ZEN or equivalent. | 29.00 | Each |  | 1800.00 | 52200.00 | 4500.00 | 130500.00 | 8000.00 | 232000.00 | 52200.00 | M P KHAITAN
134.00 | Providing and fixing 32 mm dia C.P. brass bottle trap make Jaquar catelogue no. ALD-769L300x190 or equivalent with C.P. brass screws etc. complete as per direction and satisfaction of Engineer-in-charge. | 63.00 | Each |  | 1200.00 | 75600.00 | 2000.00 | 126000.00 | 5500.00 | 346500.00 | 75600.00 | M P KHAITAN
135.00 | Providing and fixing 6 mm thick bevelled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board fixed at the back with 3" x 1.5" teak wood beading all around, CP brass screws and washers in the toilet. The expose wooden surface shall be polished with a coat of mellamine etc. complete as per direction of Engineer-in-charge. | 38.00 | Sqm |  | 1200.00 | 45600.00 | 5100.00 | 193800.00 | 4500.00 | 171000.00 | 45600.00 | M P KHAITAN
136.00 | Providing and fixing C.P. brass bib cock of make (Jaquar model no. FON 40037) or equivalent. (a) 15 mm nominal bore. | 27.00 | Each |  | 1000.00 | 27000.00 | 2000.00 | 54000.00 | 2800.00 | 75600.00 | 27000.00 | M P KHAITAN
137.00 | P/f C.P. brass pillar cock of make Jaquar model no. ARI-39011 or equivalent fixed i/c making necessary hole in granite slab etc. complete. | 29.00 | Each |  | 750.00 | 21750.00 | 2400.00 | 69600.00 | 3000.00 | 87000.00 | 21750.00 | M P KHAITAN
138.00 | Providing and fixing C.P. brass hand shower (Healthfaucet) with 8 mm dia, 1 meter long flexible tube with wall hook of Jaquar model no. ALD-573 or equivalent etc.complete with all fittings as per direction of Engineer-in-charge. | 27.00 | Each |  | 750.00 | 20250.00 | 1700.00 | 45900.00 | 2400.00 | 64800.00 | 20250.00 | M P KHAITAN
139.00 | Providing and fixing S.S. soap dispenser 800ML(LIGHT TRAFFIC) of Euroniocs model no. ES-81A equivalent fixed with necessary brass screws etc. completete as per direction of Engineer-in-charge. | 23.00 | Each |  | 4000.00 | 92000.00 | 4200.00 | 96600.00 | 2800.00 | 64400.00 | 64400.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
140.00 | Providing and fixing C.P. brass toilet paper holder of make Jaquar model no.- AKP - 35751P or equivalent fixed with necessary CP brass screws etc. complete as per direction of Engineer-in-charge. | 19.00 | Each |  | 700.00 | 13300.00 | 1250.00 | 23750.00 | 2400.00 | 45600.00 | 13300.00 | M P KHAITAN
141.00 | Providing and fixing C.P. brass towel rail 600 mm long of make Jaquar Cat. No. AKP-35711PS including fixing in position with C.P. screws etc. complete. | 17.00 | Each |  | 800.00 | 13600.00 | 2600.00 | 44200.00 | 3500.00 | 59500.00 | 13600.00 | M P KHAITAN
142.00 | Providing and fixing 12 mm thick 100% acrylic solid surface of approved mke and colour edges rounded and polished, of size 75x50 cm deep and 1.2 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. | 18.00 | Sqm |  | 10000.00 | 180000.00 | 3200.00 | 57600.00 | 14500.00 | 261000.00 | 57600.00 | J K BUILDERS
143.00 | Providing and fixing S.S. body tissue paper dispenser Euronics Cat No. A-725 (capacity 450-500 paper towels) or approved equivalent make complete including cutting and making good the walls wherever required as per direction and satisfaction of EIC.B159:B160B160B160:B161 | 13.00 | Each |  | 3750.00 | 48750.00 | 4000.00 | 52000.00 | 18000.00 | 234000.00 | 48750.00 | M P KHAITAN
144.00 | Providing and fixing 3 mm thick acrylic sheet on doors/window with necessary screws etc. complete as per direction of Engineer-In-Charge. | 18.00 | Sqm |  | 500.00 | 9000.00 | 1300.00 | 23400.00 | 3400.00 | 61200.00 | 9000.00 | M P KHAITAN
145.00 | Providing and laying full body coloured vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption 0% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of tiles 600 x 1200 mm. | 855.00 | Sqm |  | 1400.00 | 1197000.00 | 1400.00 | 1197000.00 | 1400.00 | 1197000.00 | 1197000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED, M P KHAITAN, J K BUILDERS
146.00 | Providing and laying Glazed Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600 x 600 mm. | 395.00 | Sqm |  | 1150.00 | 454250.00 | 1250.00 | 493750.00 | 950.00 | 375250.00 | 375250.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
147.00 | Providing, fabricating, assembling and erection of pre stressed Tensile Membrane Fabric structure in desired profile as per conceptual drawing, with SERGE FERRARI pre constraint TX-30 Type III or MEHLER VALMEX FR MEHATOP* N TYPE III or SATTLER 759ATLAS Type III TFL/TFX or equivalent, having minimum Tensile strength (Warp/Weft) 5600/5500N/50 mm & minimum tear strength (Warp/Weft) of 700 / 650 N, high concentrated PVDF top coating and PVDF coated on bottom side, polyester fabric and should be weldable having a minimum weight of 1050 gm/sqm with a minimum 20 years warranty etc. of approved colour over steel structure frames (underneath steel structure shall be paid separately) with all fittings and fixtures such as Galvanized MS End Plate, Shackles, Rigging Screws, Turnbuckles, swedge, fork, keder rods & galvanized MS strands with stainless steel end terminals complete as per Drawing / Detail & as per particular/ technical specifications and as per the directions of Engineer-in-charge. (Rate includes cost of fabric, patterns, forming, cutting, fabrication, hot weld stitch of fabric, Transport to the site, assembling and installation with GI strands, hardware, EPDM gasket and required accessories wherever required complete including lifts up to all heights, tools & plants, and necessary scaffolding etc. required for all operations in all respect as per direction of Engineer-In-Charge). (Note : (i) Actual plan area of canopy shall only be measured for payment. (ii) Galvanized strands, Galvanized MS end plate and powder coated aluminium flat bar only shall be paid separately under respective item.) (Work is to be executed by Specialised Agency having experience in executing similar nature of works). | 181.00 | Sqm |  | 4500.00 | 814500.00 | 3400.00 | 615400.00 | 3200.00 | 579200.00 | 579200.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
148.00 | Supplying hot dipped galvanized Membrane Corner Plates of required thickness and design finished with a coat of Marine Primer and two coats of Polyurethane paint complete and fixing with high tensile bolts of grade not less than 10.9 having black phosphate coating complete as per Drawing/Detail and as per direction of Engineer-in-Charge. | 362.00 | Kg |  | 700.00 | 253400.00 | 195.00 | 70590.00 | 350.00 | 126700.00 | 70590.00 | J K BUILDERS
149.00 | Supplying of powder coated aluminium flat bar 75mm x 4mm in same color code of fabric, of reputed brand to be used for peripheral locking for fabric all around the fabric in the gutter side and building side etc. complete as per drawing/detail and direction of Engineer in-charge. | 172.00 | Mtr. |  | 3500.00 | 602000.00 | 1000.00 | 172000.00 | 1350.00 | 232200.00 | 172000.00 | J K BUILDERS
150.00 | Supplying of 25mm diameter, 1x19 Galvanized strands of required length of Grade 1570 (6000 mm length) with Stainless steel terminals and toggles at both ends as per approved shop drawings as Under fabric Cables complete in all respect as per direction of Engineer-In-Charge. | 43.00 | Mtr. |  | 1750.00 | 75250.00 | 200.00 | 8600.00 | 450.00 | 19350.00 | 8600.00 | J K BUILDERS
151.00 | Providing and fixing in position unplasticised Rigid PVC rain water pipes withstanding 6 kg pressure conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion, (i) Single socketed pipes 200 mm diameter. | 20.00 | Mtr. |  | 1200.00 | 24000.00 | 1400.00 | 28000.00 | 650.00 | 13000.00 | 13000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
152.00 | Providing and fixing in position unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, leaving 10 mm gap for thermal expansion. (a) Single tee without door - 200 x 110 x110 mm. | 8.00 | Each |  | 1500.00 | 12000.00 | 300.00 | 2400.00 | 600.00 | 4800.00 | 2400.00 | J K BUILDERS
153.00 | Providing and fixing in position unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS :13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) Bend 87.5°, 200 mm bend. | 8.00 | Each |  | 2000.00 | 16000.00 | 190.00 | 1520.00 | 500.00 | 4000.00 | 1520.00 | J K BUILDERS
154.00 | Providing and placing self levelling/compacting cement grouting (Like GP-2 or equivalent) and grouting of column bases after fixing bolts in position as per manufacturer specification using Cement & Sand etc complete. as per satisfaction of EIC. (BM make: ACC/ ULTRA TECH/ BHARATHI & Equivalent). | 10.00 | Each |  | 2000.00 | 20000.00 | 1100.00 | 11000.00 | 28000.00 | 280000.00 | 11000.00 | J K BUILDERS
155.00 | Providing Engineering Consultancy Services for "Expansion of Terminal building (with PEB/ Steel structure building of Ground floor) including toilet block and structural feasibility for demolition of walls of Existing building at Silchar Airport." Scope of work includes :- Planning, Designing & Detailing, including soil testing and Structural design with relevant seismic zone including considerations for Civil Works as well as Structural Glazing, ACP & Aluminium Frame Work and associated services of toilet block. To make all "good for construction" drawings, documents as per technical specification etc. On vertual completion preparation of As-BUILT Drawings. The structural drawings and designs shall have to got vetted from Government Engineering College.(NIT/IIT) for adequacy of design. It should be in-principle approved by in EIC before vetting. The cost as incurred towards vetting of the structural drawings and designs is included in this item hence no extra payment shall be made in this regard. | 1.00 | Job |  | 150000.00 | 150000.00 | 500000.00 | 500000.00 | 3100000.00 | 3100000.00 | 150000.00 | M P KHAITAN
156.00 | B. Electrical works SH-I: WIRING AND POWER SUPPLY Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.(Group C) | 340.00 | Point |  | 800.00 | 272000.00 | 1500.00 | 510000.00 | 1598.00 | 543320.00 | 272000.00 | M P KHAITAN
157.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch,connections etc. as required. | 120.00 | Nos |  | 500.00 | 60000.00 | 580.00 | 69600.00 | 450.00 | 54000.00 | 54000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
158.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 65.00 | Nos |  | 300.00 | 19500.00 | 480.00 | 31200.00 | 350.00 | 22750.00 | 19500.00 | M P KHAITAN
159.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 75.00 | Nos |  | 10.00 | 750.00 | 36.00 | 2700.00 | 35.00 | 2625.00 | 750.00 | M P KHAITAN
160.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 12 way (8 + 36), Double door | 6.00 | Nos |  | 10000.00 | 60000.00 | 9500.00 | 57000.00 | 11600.00 | 69600.00 | 57000.00 | J K BUILDERS
161.00 | Providing and fixing 100 A,10KA,RCCB rating, four pole, (three phase and neutral), 415 volts,residual current circuit breaker (RCCB), having a sensitivity current 100 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc.as required. | 6.00 | Nos |  | 8000.00 | 48000.00 | 7400.00 | 44400.00 | 6500.00 | 39000.00 | 39000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
162.00 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 100 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 A | 18.00 | Nos |  | 3000.00 | 54000.00 | 4000.00 | 72000.00 | 2800.00 | 50400.00 | 50400.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
163.00 | Supplying and fixing 6 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required 6 A to 32 A ratings , SP MCB,“C” curve, 10 KA breaking capacity. | 180.00 | Nos |  | 230.00 | 41400.00 | 290.00 | 52200.00 | 650.00 | 117000.00 | 41400.00 | M P KHAITAN
164.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required: (i) 20mm | 730.00 | Mtrs |  | 120.00 | 87600.00 | 220.00 | 160600.00 | 200.00 | 146000.00 | 87600.00 | M P KHAITAN
165.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required: (ii) 25mm | 1400.00 | Mtrs |  | 140.00 | 196000.00 | 240.00 | 336000.00 | 250.00 | 350000.00 | 196000.00 | M P KHAITAN
166.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required. (i) 3 x 1.5 sq. mm | 620.00 | Mtrs |  | 100.00 | 62000.00 | 80.00 | 49600.00 | 120.00 | 74400.00 | 49600.00 | J K BUILDERS
167.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required. (ii) 3 x 2.5 sq. mm | 930.00 | Mtrs |  | 150.00 | 139500.00 | 120.00 | 111600.00 | 180.00 | 167400.00 | 111600.00 | J K BUILDERS
168.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required. (iii) 3 x 4 sq. mm | 480.00 | Mtrs |  | 200.00 | 96000.00 | 190.00 | 91200.00 | 220.00 | 105600.00 | 91200.00 | J K BUILDERS
169.00 | SH-II: ELECTRICAL INSTALLATIONS Supply of 12-18W reccessed type LED DOWNLIGHTER Luminaires having minimum system lumen output of 1200 lumens, single piece, integral, powder coated pressure die-cast aluminimum housing with sufficient nos. of high power LEDs with suitable lens to ensure uniform distribution of light, integral electronics power driver suitable for 230 V + 10%, 50Hz AC supply, minimum ingress protection of IP20, thermal management with heat sinks, etc as required. | 40.00 | Nos |  | 750.00 | 30000.00 | 780.00 | 31200.00 | 1850.00 | 74000.00 | 30000.00 | M P KHAITAN
170.00 | Supply of reccessed mounting type LED Lumanaires of size 600x600 mm having minimum system lumen output of 3200 lumens, maximum 36 watt input power, single piece, integral, powder coated pressure die-cast aluminium housing with sufficient nos. of high power LEDs with suitable lens to ensure uniform distribution of light, integral electronics power driver suitable for 230V+ 10%, 50Hz AC Supply, minimum ingress protection of IP20, thermal management with heat sinks complete as required as per technical specification of the item. | 216.00 | Nos |  | 1800.00 | 388800.00 | 2700.00 | 583200.00 | 3200.00 | 691200.00 | 388800.00 | M P KHAITAN
171.00 | Installation,testing and commisioning of pre wired LED fitting/downlighter/lowbay LED etc of all types (Surface/reccessed), complete with all accessories and tube/lense eyc directly on ceiling/wall including connection with 1.5sq FRLS PVC insulated,stranded copper conducter,single core cable with flexible conduits and coupler and earthings etc as required. | 241.00 | Nos |  | 200.00 | 48200.00 | 280.00 | 67480.00 | 350.00 | 84350.00 | 48200.00 | M P KHAITAN
172.00 | Supply of 300mm sweep 900rpm,double ball bearing metal frame & metal blade exhaust fan(heavy duty) suitable for 230v, 50Hz, AC supply with bird screen protection. | 20.00 | Nos |  | 3000.00 | 60000.00 | 3800.00 | 76000.00 | 2500.00 | 50000.00 | 50000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
173.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 20.00 | Nos |  | 200.00 | 4000.00 | 1200.00 | 24000.00 | 450.00 | 9000.00 | 4000.00 | M P KHAITAN
174.00 | Supply, Installation, Testing & Commissioning of circular/rectangular inline fans for exhaust air complete with sheet metal casing, direct driven centrifugal fan, motor with proper protection & inspection door etc. . Fan should be suitable for operation on 220±10% volts, 50Hz, single phase AC supply as required. Single Phase inline fans shall be provided with speed regulators. Fan shall be suitable for installation in wall/ceiling hang/ shafts or other suitable locations and shall be of following capacities. All inline fans shall be provided with gravity louvers to avoid back flow of air. (a) Capacity (Cfm) - 800, S.P. (mm WG)-15, Motor - Rating - 1 Phase | 5.00 | Nos |  | 22000.00 | 110000.00 | 6000.00 | 30000.00 | 12500.00 | 62500.00 | 30000.00 | J K BUILDERS
175.00 | Supply of 1200mm sweep BLDC ceiling fan complete with double ball bearing motor,blades,down rods, canopy, capacitor etc as required. | 30.00 | Nos |  | 2700.00 | 81000.00 | 3350.00 | 100500.00 | 3200.00 | 96000.00 | 81000.00 | M P KHAITAN
176.00 | Installation, testing and commissioning of all types of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 65.00 | Nos |  | 200.00 | 13000.00 | 180.00 | 11700.00 | 2600.00 | 169000.00 | 11700.00 | J K BUILDERS
177.00 | SITC of No Touch type hand drier operating on single phase 230 volts, 50 Hz supply with fully hygienic, rated for continuous repeat use with music while drying with volume and control, summer - winter control with stainless steel encloure, including fixing arrangement and power connection from the nearest power point, etc, as required. | 4.00 | Each |  | 15600.00 | 62400.00 | 21000.00 | 84000.00 | 24000.00 | 96000.00 | 62400.00 | M P KHAITAN
178.00 | Supplying of 3.5 core, 300 Sq.mm sizes of 1.1kV grade multistrand aluminium conductor XLPE insulated and PVC sheathed armoured Heavy duty Power cable (as per IS : 7098:1988 with upto date amendments) complete as requried as per specifications. | 1000.00 | Mtrs |  | 1350.00 | 1350000.00 | 2400.00 | 2400000.00 | 1350.00 | 1350000.00 | 1350000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED, M P KHAITAN
179.00 | Supplying of following size of 1.1kv grade multistand aluminium conductor XLPE insulated PVC sheathed armoured Heavy duty power cable (as per IS: 7098:1988 with upto date amendments) complete as required as per specifications. (a) 3.5 core, 50 sqmm. | 400.00 | Mtrs |  | 260.00 | 104000.00 | 490.00 | 196000.00 | 650.00 | 260000.00 | 104000.00 | M P KHAITAN
180.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required. (i) Above 185 sq. mm and upto 400 sq. mm | 700.00 | Mtrs |  | 400.00 | 280000.00 | 700.00 | 490000.00 | 250.00 | 175000.00 | 175000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
181.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. (i) Above 185 sq. mm and upto 400 sq. mm | 150.00 | Mtrs |  | 300.00 | 45000.00 | 310.00 | 46500.00 | 550.00 | 82500.00 | 45000.00 | M P KHAITAN
182.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required: (i) Above 185 sq. mm and upto 400 sq. mm | 100.00 | Mtrs |  | 300.00 | 30000.00 | 90.00 | 9000.00 | 350.00 | 35000.00 | 9000.00 | J K BUILDERS
183.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. (i) Above 185 sq. mm and upto 400 sq. mm | 50.00 | Mtrs |  | 300.00 | 15000.00 | 200.00 | 10000.00 | 450.00 | 22500.00 | 10000.00 | J K BUILDERS
184.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. (i)Above 35 sq. mm and upto 95 sq. mm | 110.00 | Mtrs |  | 400.00 | 44000.00 | 440.00 | 48400.00 | 450.00 | 49500.00 | 44000.00 | M P KHAITAN
185.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. (i)Above 35 sq. mm and upto 95 sq. mm | 70.00 | Mtrs |  | 300.00 | 21000.00 | 45.00 | 3150.00 | 400.00 | 28000.00 | 3150.00 | J K BUILDERS
186.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. (i)Above 35 sq. mm and upto 95 sq. mm | 180.00 | Mtrs |  | 300.00 | 54000.00 | 95.00 | 17100.00 | 350.00 | 63000.00 | 17100.00 | J K BUILDERS
187.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required: (i)Above 35 sq. mm and upto 95 sq. mm | 40.00 | Mtrs |  | 300.00 | 12000.00 | 40.00 | 1600.00 | 450.00 | 18000.00 | 1600.00 | J K BUILDERS
188.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3½ X 300 sq. mm (28mm) size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 2.00 | Set |  | 3000.00 | 6000.00 | 1400.00 | 2800.00 | 950.00 | 1900.00 | 1900.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
189.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3½ X 50 sq. mm (28mm) size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required | 8.00 | Set |  | 910.00 | 7280.00 | 560.00 | 4480.00 | 650.00 | 5200.00 | 4480.00 | J K BUILDERS
190.00 | Earthing with G.l. earth plate 600 mm X 600 mm X 6 mm thick including accessories,and providing masonry 'enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 3.00 | Set |  | 6000.00 | 18000.00 | 7500.00 | 22500.00 | 12500.00 | 37500.00 | 18000.00 | M P KHAITAN
191.00 | Providing· and fixing 25 mm X 5 mm· G.l. strip in 40 mm dia G.l. pipe from earth electrode including connection with G.l. nut, bolt, spring, washer excavation and refilling etc. as required. | 45.00 | Mtrs |  | 4500.00 | 202500.00 | 1000.00 | 45000.00 | 480.00 | 21600.00 | 21600.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
192.00 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. As required. | 45.00 | Mtrs |  | 130.00 | 5850.00 | 380.00 | 17100.00 | 320.00 | 14400.00 | 5850.00 | M P KHAITAN
193.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 315.00 | Mtrs |  | 13.00 | 4095.00 | 340.00 | 107100.00 | 200.00 | 63000.00 | 4095.00 | M P KHAITAN
194.00 | Design, Manufacturing, Supply, Installation, Testing & Commissioning of LT Panel, cubicle type, made out of 2mm thick CRCA sheet,totally enclosed, IP 56, free standing, floor mounting, dust and vermin proof, outdoor feeder pillar with canopy type cover, compartmentalized, suitable for operation on 3 phase and neutral, 415 V, 50Hz AC system with busbar including internal wiring with suitable size wires/cable, interconnection, duly powder coated painting etc. including supply & installation of following switchgears,metering instruments and accessories in the LT Panel and as per specifications. i) INCOMER: 400 A, Four pole,Thermal Magnetic release variable range Moulded Case Circuit Breaker with extended rotary handle and all accessories (Icu=Ics, 36 KA). - 2 Nos. ii) Bus-coupler : 400 A, Four pole,Thermal Magnetic release variable range Moulded Case Circuit Breaker with extended rotary handle and all accessories (Icu=Ics, 36 KA). - 1 No. iii) BUSBARS: 500 Amp TPN busbars of high conductivity electrolytic quality aluminium alloy. - 1 Set. iv) OUTGOING: (a) 300 A, Four pole,Thermal Magnetic release variable range Moulded Case Circuit Breaker with Operating handle (36 kA)- 2 Nos. (b) 250 A, Four pole,Thermal Magnetic release variable range Moulded Case Circuit Breaker with Operating handle (36 kA)- 2 Nos. v) INSTRUMENTS: 1 sets digital voltmeter for 3 phase, 4 wire operation with inbuilt selector switches alongwith 3 No. control MCB's., 1 sets digital ammeter of suitable range (measure 0 to 400 Amp) for 3 phase, 4 wire operation with inbuilt selector switches and 3 No. suitable range CT's., 2 Sets of phase indicating lamps, LED type, RYB for Incommer and ON-OFF indicator for Incommer and Bus Coupler. | 1.00 | Set |  | 450000.00 | 450000.00 | 225000.00 | 225000.00 | 1200000.00 | 1200000.00 | 225000.00 | J K BUILDERS
195.00 | Dismanttling of LT panel of size approximate (2.2x2.15x.6 mtr) from its existing location & reinstallating to new location upto a distance of 30 mtr i/c dismentlling and reinstallation of all existing LT cables/glands, earth strip/wire etc complete as per site requirement. | 2.00 | Job |  | 15000.00 | 30000.00 | 30000.00 | 60000.00 | 250000.00 | 500000.00 | 30000.00 | M P KHAITAN
196.00 | SH-III: FIRE ALARM & FIRE FIGHTING SYSTEM Supply installation testing and commissioning of 4 Loop, networkable, microprocessor based intelligent Analogue Addressable Fire Alarm Control & Indicating Panel, expandable to two loop, each loop can be capable of handling minimum 99 adressable detectors and 99 addressable devices with 24 V SMF battery backup, charger circuit and 80 character LCD display module etc as required. | 1.00 | Job |  | 350000.00 | 350000.00 | 115000.00 | 115000.00 | 450000.00 | 450000.00 | 115000.00 | J K BUILDERS
197.00 | Supply, installation, testing and commissioning of Analogue Addressable Photo Electric Smoke Detector with mounting base, having protocol compatibility with above fire control panel. | 100.00 | Each |  | 3600.00 | 360000.00 | 3000.00 | 300000.00 | 3200.00 | 320000.00 | 300000.00 | J K BUILDERS
198.00 | Supply, Installation, testing and commissioning of Analogue Addressable Manual Call point, having protocol compatability with above fire control panel. | 20.00 | Each |  | 6000.00 | 120000.00 | 3000.00 | 60000.00 | 3500.00 | 70000.00 | 60000.00 | J K BUILDERS
199.00 | Supply, Installation, testing and commissioning of Response Indicator having protocol compatability with above fire control panel. | 30.00 | Each |  | 300.00 | 9000.00 | 2000.00 | 60000.00 | 650.00 | 19500.00 | 9000.00 | M P KHAITAN
200.00 | Supply, Installation, testing and commissioning of Analogue Addressable Fire Alarm sounder cum strobe, having protocol compatability with above fire control panel. | 10.00 | Each |  | 8500.00 | 85000.00 | 1400.00 | 14000.00 | 2800.00 | 28000.00 | 14000.00 | J K BUILDERS
201.00 | Supply and laying of 2 x 1.5 sq.mm. PVC insulated & PVS sheathed FRLSZH armoured copper conductor cable through conduits / surface / recess / above false ceiling / concealed space/wall concealed, etc. for control cabling of all fire detection and alarm devices and interconnecting as required. | 1500.00 | Mtrs |  | 200.00 | 300000.00 | 150.00 | 225000.00 | 350.00 | 525000.00 | 225000.00 | J K BUILDERS
202.00 | Providing and laying M.S (C Class) pipe IS:1239 marked including all accessories such as screwed/welded flanges, tees, reducers etc. conforming to IS standards complete including painting, welding, jointing and neoprene gaskets, nuts, bolts etc. as required. (a) 80 mm dia MS Pipes complete with painting, wrapping and coating of the pipes as per IS:10211 in all kinds of soil at a depth 1.2 m including excavation and refilling the trench all complete. | 50.00 | Mtrs |  | 2400.00 | 120000.00 | 2500.00 | 125000.00 | 4200.00 | 210000.00 | 120000.00 | M P KHAITAN
203.00 | (b) 100 mm dia MS Pipes complete with painting, wrapping and coating of the pipes as per IS:10211 in all kinds of soil at a depth 1.2 m including excavation and refilling the trench all complete. | 100.00 | Mtrs |  | 2800.00 | 280000.00 | 3100.00 | 310000.00 | 4800.00 | 480000.00 | 280000.00 | M P KHAITAN
204.00 | Supplying and fixing gunmetal Single headed external hydrant valves with instantaneous Gun metal couplings of 63mm dia. With cast iron wheel ISI marked conforming to IS 5290 (Type-A) with blank gun metal cap and chain as required | 4.00 | Each |  | 8000.00 | 32000.00 | 3100.00 | 12400.00 | 4500.00 | 18000.00 | 12400.00 | J K BUILDERS
205.00 | Providing gun metal standard gun metal Branch Pipe as per IS Code complete with fixing clip etc as required. | 4.00 | Each |  | 3200.00 | 12800.00 | 5900.00 | 23600.00 | 7000.00 | 28000.00 | 12800.00 | M P KHAITAN
206.00 | Providing & fixing MS Hose cabinet (of size 1.0Mx0.6Mx0.450M) made of 2mm thick MS sheet with 6mm thick glazed glass doors i/c necessary locking arrangement suitable to accommodate external hydrant with butterfly valve , 2nos 15m long hoses and one no branch pipe. The cabinet shall be painted with red colour shade No. 536 of IS: 5 complete as per direction of Engineer In-Charge. | 4.00 | Each |  | 8000.00 | 32000.00 | 30000.00 | 120000.00 | 10500.00 | 42000.00 | 32000.00 | M P KHAITAN
207.00 | Providing 63 mm dia 15 m long fungus resistant reinforced rubber lined hose pipe marked to IS:636 Type A with Gun Metal male & female coupling wire wound with the pipe. | 4.00 | Each |  | 8500.00 | 34000.00 | 9000.00 | 36000.00 | 8500.00 | 34000.00 | 34000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED, M P KHAITAN
208.00 | SH-IV: VRF Air-Conditioning - (SUPPLY) Variable Refrigerant Volume / Flow Supply Installation, testing and commissioning of Modular type outdoor units, with all multi scroll DC Inverter compressors for heating & cooling applications. The unit runs with inverter compressor only. All inverter capacity controlling compressors shall be suitable for 415 ± 10% volts, 50 Hz. The Compressor should be manufactured by the OEM of the equipment, special coated fins, panel, inverter based condenser fan M.S. hot dip galvanized stands / supports, electrical & microprocessor panel, isolating valves and all the necessary accessories for proper functioning of the units. All ODUs are having Hi-POR technology for Oil return mechanism to high pressure side and Active Refrigerant Control systems to increase efficiency and performance of the unit. The manufacturer must be OEM for this project and must have manufacturing and testing facility in India. Unit shall yield EER equal to or greater than 3.73 and COP equal to or greater than 4.02 at 100% load at AHRI condition (Ambient 35Deg DBT & Inside : 19Deg WBT) . Condenser shall be capable to operate for outside ambient of 53 Deg C. All Outdoor unit must have " Blue Fin " heat exchanger in the unit in dual layered & double sided with a black/ blue coating to shield it from Salt, Sand & other elements brought in by the air. Outdoor Unit a) 16 HP to 20 HP Top Discharge Heat Pump ODU | 1.00 | Nos. |  | 650000.00 | 650000.00 | 450000.00 | 450000.00 | 479000.00 | 479000.00 | 450000.00 | J K BUILDERS
209.00 | Supply Installation, testing and commissioning of Modular type outdoor units, with all multi scroll DC Inverter compressors for heating & cooling applications. The unit runs with inverter compressor only. All inverter capacity controlling compressors shall be suitable for 415 ± 10% volts, 50 Hz. The Compressor should be manufactured by the OEM of the equipment, special coated fins, panel, inverter based condenser fan M.S. hot dip galvanized stands / supports, electrical & microprocessor panel, isolating valves and all the necessary accessories for proper functioning of the units. All ODUs are having Hi-POR technology for Oil return mechanism to high pressure side and Active Refrigerant Control systems to increase efficiency and performance of the unit. The manufacturer must be OEM for this project and must have manufacturing and testing facility in India. Unit shall yield EER equal to or greater than 3.73 and COP equal to or greater than 4.02 at 100% load at AHRI condition (Ambient 35Deg DBT & Inside : 19Deg WBT) . Condenser shall be capable to operate for outside ambient of 53 Deg C. All Outdoor unit must have " Blue Fin " heat exchanger in the unit in dual layered & double sided with a black/ blue coating to shield it from Salt, Sand & other elements brought in by the air. Outdoor Unit b) 22 HP to 24 HP Top Discharge Heat Pump ODU | 2.00 | Nos. |  | 695000.00 | 1390000.00 | 550000.00 | 1100000.00 | 488000.00 | 976000.00 | 976000.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
210.00 | Indoor Unit Supply & Installation of 4-Way Cassette unit of following Capacities. The unit is having inbuilt drain pump, human detection (optional), individual vane control& air purification. The set includes IDU, Panel & Cordless Remote. 3.0 TR 4-Way Cassette or above | 16.00 | Nos. |  | 62000.00 | 992000.00 | 58000.00 | 928000.00 | 49165.00 | 786640.00 | 786640.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
211.00 | SH-V: VRF Air-Conditioning - (Installation) & Drinking water fountain Supply & Installation of Y-Joints for Indoor & Outdoor | 17.00 | Nos. |  | 7600.00 | 129200.00 | 5500.00 | 93500.00 | 5200.00 | 88400.00 | 88400.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
212.00 | Installation, Testing & Commissioning of VRF Outdoor Units. Also Nitrogen flushing for copper piping of the whole system for following capacities: a) 16 HP to 20 HP : VRF Top Discharge Outdoor Unit (Heat Pump) | 1.00 | No. |  | 65000.00 | 65000.00 | 52000.00 | 52000.00 | 58000.00 | 58000.00 | 52000.00 | J K BUILDERS
213.00 | Installation, Testing & Commissioning of VRF Outdoor Units. Also Nitrogen flushing for copper piping of the whole system for following capacities: b) 24 HP to 24 HP : VRF Top Discharge Outdoor Unit (Heat Pump) | 2.00 | Nos. |  | 78000.00 | 156000.00 | 78000.00 | 156000.00 | 127600.00 | 255200.00 | 156000.00 | M P KHAITAN, J K BUILDERS
214.00 | Installation, Testing & Commissioning of Hi-wall mounted split type / Cassette type / Slim duct type units are VRF Compatable Indoor AC for the following capacities: a) 3.0 TR or above Indoor AC with Panel | 16.00 | Nos. |  | 2500.00 | 40000.00 | 4000.00 | 64000.00 | 2200.00 | 35200.00 | 35200.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
215.00 | Refrigerant Piping Works: Supply, Installation & Testing of copper refrigerant piping for air conditioning system (Between indoor & Outdoor unit), shall be constructed from annealed pipes and hard drawn copper refrigerant pipes with copper fittings including Nitrile Insulation tubes over refrigerant pipes. It also includes supports to hang the copper pipes as required. * Insulations should be of 13mm/19mm thick respectfully for suction/liquid line. Suitable sizes as per approved design | 210.00 | Rmt |  | 2200.00 | 462000.00 | 3300.00 | 693000.00 | 2520.00 | 529200.00 | 462000.00 | M P KHAITAN
216.00 | Darin Piping: Supply, installation & testing of cPVC / uPVC pipes for Condensate Drain Piping with closed cell nitrile tube insulations of 6~9mm thick for the all indoor units as required for following sizes- Pipe Size: 25mm Dia | 120.00 | Rmt |  | 250.00 | 30000.00 | 380.00 | 45600.00 | 320.00 | 38400.00 | 30000.00 | M P KHAITAN
217.00 | Communication Cables: Supply & fixing of shielded copper material Communication cable. It should passed under PVC conduit of the sizes as required- 2 Core X 0.75 ~1.5 Sq.mm | 263.00 | Rmt |  | 250.00 | 65750.00 | 300.00 | 78900.00 | 270.00 | 71010.00 | 65750.00 | M P KHAITAN
218.00 | Extra Refrigerant Gas: Supply & Charging of R410a Refrigerants Gas | 18.00 | Kg |  | 1700.00 | 30600.00 | 2800.00 | 50400.00 | 1590.00 | 28620.00 | 28620.00 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED
219.00 | Supply installation, testing, and commissioning of recessed bi-level drinking water fountain one at higher level and another at lower level to match disability compliance with 8GPH cooling capacity to deliver the normal & cold water through separate taps along with recipient, stainless steel body mat finish, approx size 1003mmX Depth 400 mm X hight 1162mm, 100 Micron strainer, flexible bubbler guard operated between 50 to 120 PSI, chilling unit suitable for R134a refrigerant, adjustable thermos state, With MDCU29, supply complete with all accessories. . GRIHA Certified (Green Rating for Integrated Habitat Assessment), TUV-SUD Certified, shall comply with ANSI / NSF 61 and NSF/ ANSI 372, ADA i/c providing & fixing of necessary hardware like stop valve, TAP, pipe connector to waste line and supply line (Excluding Civil work). (Equivalent to Model - M8CRSBFY- Oasis ) | 3.00 | Nos. |  | 318000.00 | 954000.00 | 125000.00 | 375000.00 | 250000.00 | 750000.00 | 375000.00 | J K BUILDERS
| Total in Figures |  |  |  |  | 62505464.00 |  | 62496910.00 |  | 67164791.00
Lowest Amount Quoted BY: J K BUILDERS(62496910.00)

## BOQ Summary
BOQ Summary Details Tender Title: Extension and reconfiguration of Terminal Building at Silchar Airport Tender ID: 2023_AAI_173658_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | J K BUILDERS | 62496910.00 | L1
| 2 | M P KHAITAN | 62505464.00 | L2
| 3 | WESTERN OUTDOOR STRUCTURES PRIVATE LIMITED | 67164791.00 | L3