## BoQ1
Government eProcurement System Created By: Jose K Paul Created Date/Time: 13-Dec-2023 05:33 PM Tender Title: Reconfiguration of Terminal Building in Madurai Airport. Phase-I. SH Electrical Works Tender ID: 2023_AAI_174095_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: Reconfiguration of Southern Region Airports - Madurai Airport. SH: Electrical Works. - Phase I
Contract No: 2023_AAI_174095_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shantha ELectricals and Engineers Pvt Ltd(GSTN-29AARCS2866G1ZP) |  | RVD INFRA SOLUTION PVT.LTD.(GSTN-24AAGCR7767L1ZQ)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying of 4Way (8+12) Double Door, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. complete as required as per site requirement. (But without MCB/RCCB/Isolator) | 1.00 | Each |  | 3200.00 | 3200.00 | 8000.00 | 8000.00 | 3200.00 | Shantha ELectricals and Engineers Pvt Ltd
2.00 | Fixing of 4Way (8+12) Double Door, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, in recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. complete as required as per site requirement. (But without MCB/RCCB/Isolator) | 1.00 | Job |  | 1200.00 | 1200.00 | 430.00 | 430.00 | 430.00 | RVD INFRA SOLUTION PVT.LTD.
3.00 | Supplying of 8Way (8+24) Double Door, horizontal/vertical type three pole and neutral, sheet steel, MCB distribution board, 415 volts, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. complete as required as per site requirement as per site conditions. (But without MCB/RCCB/Isolator) | 4.00 | Each |  | 9500.00 | 38000.00 | 11500.00 | 46000.00 | 38000.00 | Shantha ELectricals and Engineers Pvt Ltd
4.00 | Fixing of 8Way (8+24) Double Door, horizontal/vertical type three pole and neutral, sheet steel, MCB distribution board, 415 volts, in recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. complete as required as per site requirement as per site conditions. (But without MCB/RCCB/Isolator) | 4.00 | Job |  | 2200.00 | 8800.00 | 450.00 | 1800.00 | 1800.00 | RVD INFRA SOLUTION PVT.LTD.
5.00 | Supplying of Single Pole 6 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles for the existing MCB DB complete with connections etc. complete as required as per site requirement. | 105.00 | Each |  | 175.00 | 18375.00 | 280.00 | 29400.00 | 18375.00 | Shantha ELectricals and Engineers Pvt Ltd
6.00 | Fixing of Single Pole 6 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles for the existing MCB DB complete with connections, testing and commissioning etc. complete as required as per site requirement. | 105.00 | Job |  | 75.00 | 7875.00 | 20.00 | 2100.00 | 2100.00 | RVD INFRA SOLUTION PVT.LTD.
7.00 | Supplying of Four Pole 40A, 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 300 milli amperes for the existing MCB DB complete with connections etc. complete as required as per site requirement. | 5.00 | Each |  | 4800.00 | 24000.00 | 4450.00 | 22250.00 | 22250.00 | RVD INFRA SOLUTION PVT.LTD.
8.00 | Fixing of Four Pole 40A, 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 300 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. complete as required as per site requirement. | 5.00 | Job |  | 300.00 | 1500.00 | 150.00 | 750.00 | 750.00 | RVD INFRA SOLUTION PVT.LTD.
9.00 | Supplying of Four Pole 40A, 415 volts, miniature circuit breaker for the existing MCB DB complete with connections etc. complete as required as per site requirement. | 5.00 | Each |  | 1350.00 | 6750.00 | 2900.00 | 14500.00 | 6750.00 | Shantha ELectricals and Engineers Pvt Ltd
10.00 | Fixing of Four Pole 40A, 415 volts, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. complete as required as per site requirement. | 5.00 | Job |  | 250.00 | 1250.00 | 150.00 | 750.00 | 750.00 | RVD INFRA SOLUTION PVT.LTD.
11.00 | Supplying of Three Pole 16A, 415 volts, miniature circuit breaker for the existing MCB DB complete with connections etc. complete as required as per site requirement. | 3.00 | Each |  | 850.00 | 2550.00 | 1500.00 | 4500.00 | 2550.00 | Shantha ELectricals and Engineers Pvt Ltd
12.00 | Fixing of Three Pole 16A, 415 volts, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. complete as required as per site requirement. | 3.00 | Job |  | 200.00 | 600.00 | 70.00 | 210.00 | 210.00 | RVD INFRA SOLUTION PVT.LTD.
13.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. complete as required as per site requirement. Group C | 30.00 | Point |  | 950.00 | 28500.00 | 2200.00 | 66000.00 | 28500.00 | Shantha ELectricals and Engineers Pvt Ltd
14.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. complete as required as per site requirement. Group C | 10.00 | Point |  | 775.00 | 7750.00 | 1500.00 | 15000.00 | 7750.00 | Shantha ELectricals and Engineers Pvt Ltd
15.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 120.00 | mtr |  | 380.00 | 45600.00 | 500.00 | 60000.00 | 45600.00 | Shantha ELectricals and Engineers Pvt Ltd
16.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit etc. complete as required as per site requirement. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 150.00 | mtr |  | 280.00 | 42000.00 | 450.00 | 67500.00 | 42000.00 | Shantha ELectricals and Engineers Pvt Ltd
17.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit etc. complete as required as per site requirement. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 100.00 | mtr |  | 320.00 | 32000.00 | 550.00 | 55000.00 | 32000.00 | Shantha ELectricals and Engineers Pvt Ltd
18.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit etc. complete as required as per site requirement. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 60.00 | mtr |  | 380.00 | 22800.00 | 510.00 | 30600.00 | 22800.00 | Shantha ELectricals and Engineers Pvt Ltd
19.00 | Supplying and drawing of 3 X 4 Sq.mm FRLS PVC insulated copper conductor, single core cable in the existing cable raceways etc. complete as required as per site requirement. | 1000.00 | Mtr |  | 190.00 | 190000.00 | 250.00 | 250000.00 | 190000.00 | Shantha ELectricals and Engineers Pvt Ltd
20.00 | Supplying of suitable size of 3 module GI box with modular plate and cover, including providing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, etc. complete as required as per site requirement. | 23.00 | Each |  | 1100.00 | 25300.00 | 550.00 | 12650.00 | 12650.00 | RVD INFRA SOLUTION PVT.LTD.
21.00 | Fixing suitable size of 3 module GI box with modular plate and cover in the surface or in recess, including fixing of 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection, suitable covering arrangement like metal hose etc. complete as required as per site requirement. | 23.00 | Job |  | 300.00 | 6900.00 | 200.00 | 4600.00 | 4600.00 | RVD INFRA SOLUTION PVT.LTD.
22.00 | Supplying of suitable size of 8 module GI box with modular plate and cover, including providing 3 nos. of 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, etc. complete as required as per site requirement. | 24.00 | Each |  | 1700.00 | 40800.00 | 900.00 | 21600.00 | 21600.00 | RVD INFRA SOLUTION PVT.LTD.
23.00 | Fixing suitable size of 8 module GI box with modular plate and cover in the surface or in recess, including fixing of 3 nos. of 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection, suitable covering arrangement like metal hose etc. complete as required as per site requirement. | 24.00 | Job |  | 300.00 | 7200.00 | 300.00 | 7200.00 | 7200.00 | Shantha ELectricals and Engineers Pvt Ltd, RVD INFRA SOLUTION PVT.LTD.
24.00 | Supplying of suitable size of 12 module GI box with modular plate and cover, including providing 5 nos. of 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, etc. complete as required as per site requirement. | 8.00 | Each |  | 2200.00 | 17600.00 | 1400.00 | 11200.00 | 11200.00 | RVD INFRA SOLUTION PVT.LTD.
25.00 | Fixing suitable size of 12 module GI box with modular plate and cover in the surface or in recess, including fixing of 5 nos. of 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection, suitable covering arrangement like metal hose etc. complete as required as per site requirement. | 8.00 | Job |  | 350.00 | 2800.00 | 350.00 | 2800.00 | 2800.00 | Shantha ELectricals and Engineers Pvt Ltd, RVD INFRA SOLUTION PVT.LTD.
26.00 | Supplying of suitable size of 8 module GI box with modular plate and cover, including providing 3 nos. of 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, suitable dummy etc. complete as required as per site requirement. | 4.00 | Each |  | 650.00 | 2600.00 | 750.00 | 3000.00 | 2600.00 | Shantha ELectricals and Engineers Pvt Ltd
27.00 | Fixing suitable size of 8 module GI box with modular plate and cover in the surface or in recess, including fixing of 3 nos. of 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, suitable dummy, connection, suitable covering arrangement like metal hose etc. complete as required as per site requirement. | 4.00 | Job |  | 275.00 | 1100.00 | 300.00 | 1200.00 | 1100.00 | Shantha ELectricals and Engineers Pvt Ltd
28.00 | Supply of 4C X 16 Sq.mm, XLPE insulated and PVC sheathed Aluminium conductor armoured power cable of 1.1 KV grade confirming to relevant IS 7098 (Part-1) with upto date amendments. | 150.00 | mtr |  | 115.00 | 17250.00 | 250.00 | 37500.00 | 17250.00 | Shantha ELectricals and Engineers Pvt Ltd
29.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 4C X 16 Sq.mm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required | 6.00 | Set |  | 600.00 | 3600.00 | 1020.00 | 6120.00 | 3600.00 | Shantha ELectricals and Engineers Pvt Ltd
30.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for 4C X 16 Sq.mm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 1.00 | Set |  | 5800.00 | 5800.00 | 3100.00 | 3100.00 | 3100.00 | RVD INFRA SOLUTION PVT.LTD.
31.00 | Supply of 4C X 25 Sq.mm, XLPE insulated and PVC sheathed Aluminium conductor armoured power cable of 1.1 KV grade confirming to relevant IS 7098 (Part-1) with upto date amendments. | 150.00 | mtr |  | 160.00 | 24000.00 | 350.00 | 52500.00 | 24000.00 | Shantha ELectricals and Engineers Pvt Ltd
32.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 4C X 25 Sq.mm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 6.00 | Set |  | 950.00 | 5700.00 | 1100.00 | 6600.00 | 5700.00 | Shantha ELectricals and Engineers Pvt Ltd
33.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for 4C X 25 Sq.mm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 1.00 | Set |  | 6200.00 | 6200.00 | 3300.00 | 3300.00 | 3300.00 | RVD INFRA SOLUTION PVT.LTD.
34.00 | Supply of 4C X 35 Sq.mm, XLPE insulated and PVC sheathed Aluminium conductor armoured power cable of 1.1 KV grade confirming to relevant IS 7098 (Part-1) with upto date amendments. | 150.00 | mtr |  | 190.00 | 28500.00 | 420.00 | 63000.00 | 28500.00 | Shantha ELectricals and Engineers Pvt Ltd
35.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 4C X 35 Sq.mm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 6.00 | Set |  | 1100.00 | 6600.00 | 1500.00 | 9000.00 | 6600.00 | Shantha ELectricals and Engineers Pvt Ltd
36.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for 4C X 35 Sq.mm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 1.00 | Set |  | 6500.00 | 6500.00 | 3000.00 | 3000.00 | 3000.00 | RVD INFRA SOLUTION PVT.LTD.
37.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Upto 35 Sq.mm clamped with saddle | 255.00 | mtr |  | 70.00 | 17850.00 | 55.00 | 14025.00 | 14025.00 | RVD INFRA SOLUTION PVT.LTD.
38.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Upto 35 Sq.mm | 105.00 | mtr |  | 75.00 | 7875.00 | 50.00 | 5250.00 | 5250.00 | RVD INFRA SOLUTION PVT.LTD.
39.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on recess along with suitable size of GI pipe as required Upto 35 Sq.mm | 90.00 | mtr |  | 80.00 | 7200.00 | 45.00 | 4050.00 | 4050.00 | RVD INFRA SOLUTION PVT.LTD.
40.00 | Supply of 100W LED flood light fittings with system lumen 11000lm or higher. The luminaire efficiency shall be minimum 100lm. The luminaire shall be 4000K-6500K color temperature and having 50000 burning hours life with minimum 70% lumen maintenance. CRI > 70, housing should be CRCA Sheet of thickness of ≥0.5 mm thick. The diffuser shall be opal diffuser, electronic driver should be in built with life of 50000 hrs power factor ≥0.95 of the input voltage tolerance shall be 140-270 volt AC complete in all respect suitable for replacing the existing old LED fitting installed at various locations of NITB etc. complete as required as per site requirement and technical specifications. | 30.00 | Each |  | 5600.00 | 168000.00 | 11300.00 | 339000.00 | 168000.00 | Shantha ELectricals and Engineers Pvt Ltd
41.00 | Supply of 15W or better LED down light fittings with system lumen 1500lm or higher. The luminaire efficiency shall be minimum 100lm. The luminaire shall be 4000K-6500K color temperature and having 50000 burning hours life with minimum 70% lumen maintenance. CRI > 70, housing should be CRCA Sheet of thickness of ≥0.5 mm thick. The diffuser shall be opal diffuser, electronic driver should be in built with life of 50000 hrs power factor ≥0.95 of the input voltage tolerance shall be 140-270 volt AC complete in all respect suitable for replacing the existing old LED fitting installed at various locations of NITB etc. complete as required as per site requirement and technical specifications. | 50.00 | Each |  | 950.00 | 47500.00 | 1000.00 | 50000.00 | 47500.00 | Shantha ELectricals and Engineers Pvt Ltd
42.00 | Supply of 24W or better LED down light fittings with system lumen 2400lm or higher. The luminaire efficiency shall be minimum 100lm. The luminaire shall be 4000K-6500K color temperature and having 50000 burning hours life with minimum 70% lumen maintenance. CRI > 70, housing should be CRCA Sheet of thickness of ≥0.5 mm thick. The diffuser shall be opal diffuser, electronic driver should be in built with life of 50000 hrs power factor ≥0.95 of the input voltage tolerance shall be 140-270 volt AC complete in all respect suitable for replacing the existing old LED fitting installed at various locations of NITB etc. complete as required as per site requirement and technical specifications. | 50.00 | Each |  | 1450.00 | 72500.00 | 1300.00 | 65000.00 | 65000.00 | RVD INFRA SOLUTION PVT.LTD.
43.00 | Installation, testing and commissioning of prewired LED flood light fitting, downlight fitting, track light fitting and all other indoor fittings of all types complete with all accessories at various locations of NITB including connection with 1.5 sq.mm PVC insulated copper conductor single core cable and earthing etc. complete as required as per site requirement. | 137.00 | Job |  | 450.00 | 61650.00 | 250.00 | 34250.00 | 34250.00 | RVD INFRA SOLUTION PVT.LTD.
44.00 | SITC of Cable End Box for 8 Way TPN DB complete with interconnections of DB etc. complete as required as per site requirement & as per specifications. | 4.00 | Job |  | 1800.00 | 7200.00 | 900.00 | 3600.00 | 3600.00 | RVD INFRA SOLUTION PVT.LTD.
45.00 | SITC of Cable End Box for 4 Way TPN DB complete with interconnections of DB etc. complete as required as per site requirement & as per specifications . | 1.00 | Job |  | 1800.00 | 1800.00 | 600.00 | 600.00 | 600.00 | RVD INFRA SOLUTION PVT.LTD.
46.00 | Providing of 4Pole 125Amps and breaking capacity of 36KA MCCB with thermomagnetic release and terminal spreaders for the existing cubicle panel board etc. complete as required as per site requirement. | 3.00 | Each |  | 13500.00 | 40500.00 | 12000.00 | 36000.00 | 36000.00 | RVD INFRA SOLUTION PVT.LTD.
47.00 | Fixing of 4Pole 125Amps and breaking capacity of 36KA MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. complete as required as per site requirement. | 3.00 | Job |  | 800.00 | 2400.00 | 280.00 | 840.00 | 840.00 | RVD INFRA SOLUTION PVT.LTD.
48.00 | Providing of 4Pole 100Amp and breaking capacity of 36KA MCCB with thermomagnetic release and terminal spreaders for the existing cubicle panel board etc. complete as required as per site requirement. | 2.00 | Each |  | 12000.00 | 24000.00 | 10000.00 | 20000.00 | 20000.00 | RVD INFRA SOLUTION PVT.LTD.
49.00 | Fixing of 4Pole 100Amps and breaking capacity of 36KA MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. complete as required as per site requirement. | 2.00 | Job |  | 800.00 | 1600.00 | 250.00 | 500.00 | 500.00 | RVD INFRA SOLUTION PVT.LTD.
50.00 | Supply of 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top along with 20 amps “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections etc. complete as required as per site requirement. | 3.00 | Each |  | 2200.00 | 6600.00 | 1600.00 | 4800.00 | 4800.00 | RVD INFRA SOLUTION PVT.LTD.
51.00 | Fixing of 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, SP, MCB, in sheet steel enclosure, in the surface or recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. complete as required as per site requirement. | 3.00 | Job |  | 200.00 | 600.00 | 600.00 | 1800.00 | 600.00 | Shantha ELectricals and Engineers Pvt Ltd
52.00 | Supplying and fixing of 32mm dia medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit etc. complete as required as per site requirement. | 100.00 | Mtr |  | 55.00 | 5500.00 | 200.00 | 20000.00 | 5500.00 | Shantha ELectricals and Engineers Pvt Ltd
53.00 | Supplying and fixing of 25mm dia medium class PVC conduit/PVC casing pipe along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit etc. complete as required as per site requirement. | 100.00 | Mtr |  | 35.00 | 3500.00 | 150.00 | 15000.00 | 3500.00 | Shantha ELectricals and Engineers Pvt Ltd
54.00 | Supply of heat detector operating at 54ºC/57ºC with rate of rise cum fixed tempreature (dual thermistor) type with mounting base complete with all connection etc. complete as required as per site requirement. The heat detector shall be configured with exisiting fire panel installed at Madurai Airport (Make: GE, Model: EST) | 21.00 | Each |  | 2700.00 | 56700.00 | 700.00 | 14700.00 | 14700.00 | RVD INFRA SOLUTION PVT.LTD.
55.00 | Installation, testing & commissioning of heat detector operating at 54ºC/57ºC with rate of rise cum fixed tempreature (dual thermistor) type with mounting base complete with all connection etc. complete as required as per site requirement. The heat detector shall be configured with exisiting fire panel installed at Madurai Airport (Make: GE, Model: EST3 ) | 6.00 | Job |  | 200.00 | 1200.00 | 100.00 | 600.00 | 600.00 | RVD INFRA SOLUTION PVT.LTD.
56.00 | Supply of smoke detector with builtin LED and mounting base complete with all connections etc. complete as required as per site requirement. The smoke detector shall be configured with exisiting fire panel installed at Madurai Airport (Make: GE, Model: EST) | 40.00 | Each |  | 2950.00 | 118000.00 | 855.00 | 34200.00 | 34200.00 | RVD INFRA SOLUTION PVT.LTD.
57.00 | Installation, testing & commissioning of smoke detector with builtin LED and mounting base complete with all connections etc. complete as required as per site requirement. The smoke detector shall be configured with exisiting fire panel installed at Madurai Airport (Make: GE, Model: EST 3) | 25.00 | Job |  | 200.00 | 5000.00 | 100.00 | 2500.00 | 2500.00 | RVD INFRA SOLUTION PVT.LTD.
58.00 | Supply of addressable beam detector with short circuit isolator (inbuilt or seperate) complete with emitter and receiver with remote test features etc. complete as per site requirement. The beam detector shall be configured with exisiting fire panel installed at Madurai Airport (Make: GE, Model: EST3 ) | 6.00 | Each |  | 61000.00 | 366000.00 | 60000.00 | 360000.00 | 360000.00 | RVD INFRA SOLUTION PVT.LTD.
59.00 | Installation, testing & commissioning of addressable beam detector with short circuit isolator (inbuilt or seperate) complete with emitter and receiver including connections with remote test features etc. complete as required as per site requirement. The beam detector shall be configured with exisiting fire panel installed at Madurai Airport (Make: GE, Model: EST3 ) | 6.00 | Job |  | 1500.00 | 9000.00 | 2000.00 | 12000.00 | 9000.00 | Shantha ELectricals and Engineers Pvt Ltd
60.00 | Supplying of 2x1.5 sqmm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armouring & FRLSZH outer sheath to meet relevant BIS standard etc. complete as required for using fire figthing system as per site requirement. | 250.00 | Mtr |  | 70.00 | 17500.00 | 100.00 | 25000.00 | 17500.00 | Shantha ELectricals and Engineers Pvt Ltd
61.00 | Laying of 2x1.5 sqmm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armouring & FRLSZH outer sheath in the recess/surface/cable tray etc. complete as required as per site requirement. | 210.00 | Mtr |  | 20.00 | 4200.00 | 40.00 | 8400.00 | 4200.00 | Shantha ELectricals and Engineers Pvt Ltd
62.00 | Providing of 15mm dia quartzoid bulb type sprinklers of rating 68 degree centigrade accessoires etc. complete as required as per site requirement. Pendent Sprinkler | 30.00 | Each |  | 900.00 | 27000.00 | 350.00 | 10500.00 | 10500.00 | RVD INFRA SOLUTION PVT.LTD.
63.00 | Fixing, testing & commissioning of 15mm dia quartzoid bulb type sprinklers of rating 68 degree centigrade accessoires etc. complete as required as per site requirement. Pendent Sprinkler | 15.00 | Job |  | 300.00 | 4500.00 | 180.00 | 2700.00 | 2700.00 | RVD INFRA SOLUTION PVT.LTD.
64.00 | Providing of 15mm dia quartzoid bulb type sprinklers of rating 68 degree centigrade accessoires etc. complete as required as per site requirement. Horizontal Side Wall Sprinkler | 20.00 | Each |  | 1900.00 | 38000.00 | 350.00 | 7000.00 | 7000.00 | RVD INFRA SOLUTION PVT.LTD.
65.00 | Fixing, testing & commissioning of 15mm dia quartzoid bulb type sprinklers of rating 68 degree centigrade accessoires etc. complete as required as per site requirement. Horizontal Side Wall Sprinkler | 12.00 | Job |  | 400.00 | 4800.00 | 180.00 | 2160.00 | 2160.00 | RVD INFRA SOLUTION PVT.LTD.
66.00 | Providing of 25mm dia, 'C' class heavy duty MS pipe conforming to IS 1239/3589 i/c fittings like elbows, tees, flanges, dummy, bend, tapers, nuts bolts, gaskets etc. complete as required as per site requirement. | 45.00 | Mtr |  | 1100.00 | 49500.00 | 350.00 | 15750.00 | 15750.00 | RVD INFRA SOLUTION PVT.LTD.
67.00 | Laying, testing and commissioning of 25mm dia, 'C' class heavy duty MS pipe conforming to IS 1239/3589 i/c welding, fittings like elbows, tees, flanges, dummy, bend, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade etc. complete as required as per site requirement. | 45.00 | Mtr |  | 150.00 | 6750.00 | 285.00 | 12825.00 | 6750.00 | Shantha ELectricals and Engineers Pvt Ltd
68.00 | Providing of 32mm dia, 'C' class heavy duty MS pipe conforming to IS 1239/3589 i/c fittings like elbows, tees, flanges, dummy, bend, tapers, nuts bolts, gaskets etc. complete as required as per site requirement. | 30.00 | mtr |  | 1300.00 | 39000.00 | 400.00 | 12000.00 | 12000.00 | RVD INFRA SOLUTION PVT.LTD.
69.00 | Laying, testing and commissioning of 32mm dia, 'C' class heavy duty MS pipe conforming to IS 1239/3589 i/c welding, fittings like elbows, tees, flanges, dummy, bend, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade etc. complete as required as per site requirement. | 30.00 | mtr |  | 250.00 | 7500.00 | 300.00 | 9000.00 | 7500.00 | Shantha ELectricals and Engineers Pvt Ltd
70.00 | Providing of 40mm dia, 'C' class heavy duty MS pipe conforming to IS 1239/3589 i/c fittings like elbows, tees, flanges, dummy, bend, tapers, nuts bolts, gaskets etc. complete as required as per site requirement. | 20.00 | Mtr |  | 2600.00 | 52000.00 | 450.00 | 9000.00 | 9000.00 | RVD INFRA SOLUTION PVT.LTD.
71.00 | Laying, testing and commissioning of 40mm dia, 'C' class heavy duty MS pipe conforming to IS 1239/3589 i/c welding, fittings like elbows, tees, flanges, dummy, bend, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade etc. complete as required as per site requirement. | 20.00 | Mtr |  | 250.00 | 5000.00 | 380.00 | 7600.00 | 5000.00 | Shantha ELectricals and Engineers Pvt Ltd
72.00 | Providing of 50mm dia, 'C' class heavy duty MS pipe conforming to IS 1239/3589 i/c fittings like elbows, tees, flanges, dummy, bend, tapers, nuts bolts, gaskets etc. complete as required as per site requirement. | 10.00 | mtr |  | 3200.00 | 32000.00 | 300.00 | 3000.00 | 3000.00 | RVD INFRA SOLUTION PVT.LTD.
73.00 | Laying, testing and commissioning of 50mm dia, 'C' class heavy duty MS pipe conforming to IS 1239/3589 i/c welding, fittings like elbows, tees, flanges, dummy, bend, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade etc. complete as required as per site requirement. | 10.00 | mtr |  | 300.00 | 3000.00 | 400.00 | 4000.00 | 3000.00 | Shantha ELectricals and Engineers Pvt Ltd
74.00 | Floor preparation for raceway laying-Raceways / conduits shall be fixed to the flooring with GI clamps for finished levels as per the site conditions or through partitions with all accessories. The rate shall include preparation of trenches upto 450 mm wide by carefully removing the floor tiles / IPS & malwa below the tiles for laying Raceways/conduits. The depth of the trenches shall be at least 2 inches from the finished floor level or upto RCC of the slab. The rate shall also include the activity of clearing the debris generated at designated area by E-I-C. (Contractor shall take prior permission before execution of this work wherever required) | 5.00 | Cum |  | 2900.00 | 14500.00 | 5000.00 | 25000.00 | 14500.00 | Shantha ELectricals and Engineers Pvt Ltd
75.00 | Supply, laying and installation of following rectangular over lapped Box type mig welded 275 GSM Grade GI under floor duct in 1.5 mm thickness, 38 mm height, base and cover with additional accessories of Duct connecting shackle cum fastening Clamp, vertical access box, etc. in line with EN 50085-2-2. These ducts must have "L" shaped spot welded partitions (for minimum three compartment ducting) of the same thickness as base and cover and all the spot welded joints and mig welded covers shall have to be galvanized for maintaining the required galvanizing coating thickness referred above. 300 x 38 x 2500mm, 3 compartment 1.5mm thickness 300 x 38 mm metal duct Connection shackle cum fastening clamp | 180.00 | mtr |  | 1700.00 | 306000.00 | 3850.00 | 693000.00 | 306000.00 | Shantha ELectricals and Engineers Pvt Ltd
76.00 | Supply and installation of following Under floor pre galvanized (275 gsm) Junction box Powder coated trap and frame fitted with 3+2 mm load plate and frame with load bearing capacity of 5 kN with deflection less than 6 mm and permanent deflection of less than 3 mm in line with EN 50085-2-2. Knock outs suitable for metal duct entries on all four sides and necessary recess for accommodating floor finishing material. 372 mm x 372 mm x 60 mm; up to 300 mm width metal duct entry-10mm recess | 30.00 | Job |  | 3700.00 | 111000.00 | 4400.00 | 132000.00 | 111000.00 | Shantha ELectricals and Engineers Pvt Ltd
77.00 | Supply, Installation, Testing & Commissioning of Water cooler of tank capacity 80 Ltrs (or) better self contained, fully stainless steel body, two taps, etc. including inbuilt RO water purifier of capacity 50LPH or better, with all accessories, UV Protection, suitable for operation on 230V, 50HZ single phase AC Supply etc. complete as required as per site requirement. | 11.00 | Job |  | 110000.00 | 1210000.00 | 90000.00 | 990000.00 | 990000.00 | RVD INFRA SOLUTION PVT.LTD.
78.00 | Dismantling of existing Electrical DB etc. and hand over the same to Electrical stores complete as required. | 3.00 | Job |  | 1000.00 | 3000.00 | 1250.00 | 3750.00 | 3000.00 | Shantha ELectricals and Engineers Pvt Ltd
79.00 | Dismantling of existing Electrical Conduits etc. and hand over the same to Electrical stores complete as required. | 200.00 | mtr |  | 25.00 | 5000.00 | 60.00 | 12000.00 | 5000.00 | Shantha ELectricals and Engineers Pvt Ltd
80.00 | Dismantling of existing Fire sprinkler line etc. and hand over the same to Electrical stores. etc. complete as required as per site requirement. | 60.00 | Mtr |  | 50.00 | 3000.00 | 100.00 | 6000.00 | 3000.00 | Shantha ELectricals and Engineers Pvt Ltd
81.00 | Dismantling of existing switch board along with switches and hand over the same to Electrical stores etc. complete as required as per site requirement. | 30.00 | Job |  | 125.00 | 3750.00 | 50.00 | 1500.00 | 1500.00 | RVD INFRA SOLUTION PVT.LTD.
82.00 | Retrieving of existing fire cables from surfacce/conduit/recess/cable tray and hand over the same to Electrical stores etc. complete as required as per site requirement. | 300.00 | mtr |  | 90.00 | 27000.00 | 300.00 | 90000.00 | 27000.00 | Shantha ELectricals and Engineers Pvt Ltd
83.00 | Supply, Installation, Testing and Commissioning of Approved make Automatic Sliding Door System with clear opening 3000mm x 2000mm supplied with Intelligent Self-learning Micro-Controller Unit, DC Motor with Integrated Electro-mechanical Lock and gear assembly, Step-down transformers and power switch unit, Roller carrier assembly with Safety Anti-rise wheels, Automatic sliding track unit in Aluminium, Stainless Steel Running Track for rollers, cover profile for track unit in Anodized aluminium finish, Concealed Glass clamping profile with hole preparation ensures positives glass holding, Digital device manager with serveral built in secured programmable functions which includes user setup modes such as AUTO/EXIT/LOCK/OPEN/MANUAL. Automatic operator activation by standard motion sensor and Safety of pedestrians ensured with Integrated Motion + Safety sensor. Automatic Operator tested as per International standards. Sliding Glass door shall be 11.52mm thick (5mm thick Clear Toughened glass + 1.52mm PVB layer + 5mm thick clear Toughened glass) with 40 mm wide stainless steel beading of grade SS 304 with hole preparation to ensure safe and secure positive holding of glass. Price to include supply and installations of Automatic Sliding Door with laminated glass complete in all respect as per manufacture specification and satisfaction to Engineer-In-Charge. | 1.00 | Job |  | 335000.00 | 335000.00 | 600000.00 | 600000.00 | 335000.00 | Shantha ELectricals and Engineers Pvt Ltd
84.00 | Earthing with GI earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 3.00 | Set |  | 15000.00 | 45000.00 | 8000.00 | 24000.00 | 24000.00 | RVD INFRA SOLUTION PVT.LTD.
85.00 | Providing and fixing 25 mm X 5 mm GI strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. complete as required as per site requirement. | 100.00 | mtr |  | 580.00 | 58000.00 | 700.00 | 70000.00 | 58000.00 | Shantha ELectricals and Engineers Pvt Ltd
86.00 | Providing and fixing 25 mm X 5 mm GI strip on surface or in recess for connections etc. complete as required as per site requirement. | 150.00 | mtr |  | 180.00 | 27000.00 | 200.00 | 30000.00 | 27000.00 | Shantha ELectricals and Engineers Pvt Ltd
87.00 | Providing and fixing 8 SWG dia G.I. wire in recess for loop earthing etc. complete as required as per site requirement. | 390.00 | mtr |  | 50.00 | 19500.00 | 250.00 | 97500.00 | 19500.00 | Shantha ELectricals and Engineers Pvt Ltd
88.00 | Providing and fixing 8 SWG dia G.I. wire in masnory open duct for loop earthing etc. complete as required as per site requirement. | 150.00 | Mtr |  | 50.00 | 7500.00 | 200.00 | 30000.00 | 7500.00 | Shantha ELectricals and Engineers Pvt Ltd
89.00 | Providing and fixing 8 SWG dia G.I. wire in existing cable tray for loop earthing etc. complete as required as per site requirement. | 120.00 | mtr |  | 50.00 | 6000.00 | 200.00 | 24000.00 | 6000.00 | Shantha ELectricals and Engineers Pvt Ltd
90.00 | Supply of following 300 mm width X 50 mm depth X 1.6 mm thickness of perforated painted with powder coating M.S. cable trays with perforation not more than 17.5%, in convenient sections, with connectors, with M.S. ceiling suspenders including bolts & nuts etc. complete as required as per site requirement. | 35.00 | mtr |  | 2100.00 | 73500.00 | 600.00 | 21000.00 | 21000.00 | RVD INFRA SOLUTION PVT.LTD.
91.00 | Installation of 300 mm width X 50 mm depth X 1.6 mm thickness of perforated painted with powder coating M.S. cable trays joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc. complete as required as per site requirement. | 35.00 | mtr |  | 150.00 | 5250.00 | 220.00 | 7700.00 | 5250.00 | Shantha ELectricals and Engineers Pvt Ltd
| Total in Figures |  |  |  |  | 4274125.00 |  | 4948260.00
Lowest Amount Quoted BY: Shantha ELectricals and Engineers Pvt Ltd(4274125.00)

## BOQ Summary
BOQ Summary Details Tender Title: Reconfiguration of Terminal Building in Madurai Airport. Phase-I. SH Electrical Works Tender ID: 2023_AAI_174095_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Shantha ELectricals and Engineers Pvt Ltd | 4274125.00 | L1
| 2 | RVD INFRA SOLUTION PVT.LTD. | 4948260.00 | L2