## BoQ1
Government eProcurement System Created By: PADMA P Created Date/Time: 05-Jan-2024 10:42 AM Tender Title: Supply of Spares for various GLF Equipments at Calicut International Airport Tender ID: 2023_AAI_175337_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work:ARMO of E&M Installations at Calicut International Airport. SH : Supply of Spares for various GLF Equipments at Calicut International Airport during 2023.
Contract No: <2023_AAI_175337_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sai Avionics(GSTN-07ADHFS8725N1ZC)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | S/o LED type Inset Bi/Uni - Directional RWY Light Fitting : Supply of following LED type Inset light fitting for aviation visual aids requirements complete (but without shallow base) suitable for existing installed Youyang make fitting as per requirements, working at a current of 6.6 Amps and all standard accessories meeting ICAO specifications /compliances as required. Runway Centreline light 8 inch- Bi-directional clear/clear. (Make Youyang item code IHHL73WW100 or equivalent) | 16.00 | Each |  | 41000.00 | 656000.00 | 656000.00 | Sai Avionics
2.00 | S/o LED type Inset Bi/Uni - Directional RWY Light Fitting : Supply of following LED type Inset light fitting for aviation visual aids requirements complete (but without shallow base) suitable for existing installed Youyang make fitting as per requirements, working at a current of 6.6 Amps and all standard accessories meeting ICAO specifications /compliances as required. Runway Centreline light 8 inch- Bi-directional clear/red (Make Youyang item code IHHL73WR100 or equivalent) | 12.00 | Each |  | 41000.00 | 492000.00 | 492000.00 | Sai Avionics
3.00 | S/o LED type Inset Bi/Uni - Directional RWY Light Fitting : Supply of following LED type Inset light fitting for aviation visual aids requirements complete (but without shallow base) suitable for existing installed Youyang make fitting as per requirements, working at a current of 6.6 Amps and all standard accessories meeting ICAO specifications /compliances as required. Runway Centreline light 8 inch - Unidirectional clear (Make Youyang item code IHHL73WX100 or equivalent) | 3.00 | Each |  | 41000.00 | 123000.00 | 123000.00 | Sai Avionics
4.00 | S/o LED type Inset Bi/Uni - Directional RWY Light Fitting : Supply of following LED type Inset light fitting for aviation visual aids requirements complete (but without shallow base) suitable for existing installed Youyang make fitting as per requirements, working at a current of 6.6 Amps and all standard accessories meeting ICAO specifications /compliances as required. Runway Touch down zone light 8 inch - Unidirectional clear (Make Youyang item code IHIL05WX301 or equivalent) | 15.00 | Each |  | 40000.00 | 600000.00 | 600000.00 | Sai Avionics
5.00 | S/o LED type Inset Bi/Uni - Directional RWY Light Fitting : Supply of following LED type Inset light fitting for aviation visual aids requirements complete (but without shallow base) suitable for existing installed Youyang make fitting as per requirements, working at a current of 6.6 Amps and all standard accessories meeting ICAO specifications /compliances as required. Runway Touch down zone light 8 inch - Unidirectional clear (Make Youyang item code IHIL05WX201 or equivalent) | 14.00 | Each |  | 40000.00 | 560000.00 | 560000.00 | Sai Avionics
6.00 | S/o LED type Inset Bi/Uni - Directional RWY Light Fitting : Supply of following LED type Inset light fitting for aviation visual aids requirements complete (but without shallow base) suitable for existing installed Youyang make fitting as per requirements, working at a current of 6.6 Amps and all standard accessories meeting ICAO specifications /compliances as required. Runway End light - Unidirectional red (Make Youyang item code IHFL08RX100 or equivalent) | 4.00 | Each |  | 50000.00 | 200000.00 | 200000.00 | Sai Avionics
7.00 | S/o Halogen type Inset Bi- Directional RWY Light Fitting : Supply of following Halogen type Inset light fitting complete (but without shallow base) for aviation visual aids requirements, working at a current of 6.6 Amps and all standard accessories meeting ICAO specifications as required which is suitable to fit inside a base of depth 130 mm. Runway Edge Light 12 inch -Bi Directional ( clear/clear) | 5.00 | Each |  | 50000.00 | 250000.00 | 250000.00 | Sai Avionics
8.00 | S/o Halogen type Inset Bi- Directional RWY Light Fitting : Supply of following Halogen type Inset light fitting complete (but without shallow base) for aviation visual aids requirements, working at a current of 6.6 Amps and all standard accessories meeting ICAO specifications as required which is suitable to fit inside a base of depth 130 mm. Runway Edge Light 12 inch -Bi Directional (clear/yellow) | 5.00 | Each |  | 50000.00 | 250000.00 | 250000.00 | Sai Avionics
9.00 | Supply of Halogen lamp 150W (OSRAM, 64631 HLX-Z 150W-15 PK30D or equivalent) suitable for use in runway edge light fitting or equivalent in approved makes of AAI | 150.00 | Each |  | 900.00 | 135000.00 | 135000.00 | Sai Avionics
10.00 | Supply of Halogen lamp 200 W (OSRAM, 64382 HLX-C 200W 6.6A PK30D or equivalent, ) suitable for use in Runway Edge Light fitting or equivalent in approved makes of AAI | 50.00 | Each |  | 900.00 | 45000.00 | 45000.00 | Sai Avionics
11.00 | Supply of 105 W, 6.6 A, halogen lamp used for runway edge inset type fittings ( Make : Osram Cat No. 64339C/ NARVA MODEL 6108 or equivalent in list of approved makes of AAI) | 100.00 | Each |  | 1000.00 | 100000.00 | 100000.00 | Sai Avionics
12.00 | Supply of 180° inner perismatic lenses (filter) - for Ema make REL (R-2150) elevated Runway fitting Supply of Filter 180° - White | 10.00 | Each |  | 3000.00 | 30000.00 | 30000.00 | Sai Avionics
13.00 | Supply of 180° inner perismatic lenses (filter) - for Ema make REL (R-2150) elevated Runway fitting Supply of Filter 180° - yellow | 10.00 | Each |  | 3000.00 | 30000.00 | 30000.00 | Sai Avionics
14.00 | Supply of cover plate of MS, having thickness of minimum 5 mm, suitable for 330 mm dia transformer housing box used in airfield lighting, having 06 nos. of holes suitable for fixing M-10 bolts. The overall diameter of the plate shall be 310 mm and the pcd (pitch circle diameter) shall be 260 mm. The holes shall be placed at 60° axis of the plate. The cover plate shall be painted with one coat of primer and two or more coats of aviation yellow PU paint. A drawing of the plate has been provided in the tender document for guidance. | 60.00 | Each |  | 1000.00 | 60000.00 | 60000.00 | Sai Avionics
15.00 | Supply of Main Control Card suitable for NASU make CCR of wattage 30 kW. | 2.00 | Each |  | 60000.00 | 120000.00 | 120000.00 | Sai Avionics
16.00 | Supply of indoor type air cooled conventional type thyrister controlled constant current regulator of following size suitable for use on input supply voltage 400 +/- 10% 50Hz, output power with tapping at 75% of rated capacity and output current at highest intensity 20 A ,with 5 steps current variation suitable for local and remote control operation with built in 24V/48V DC control supply, digital output ammeter (0-30 Amps), having protections against over current, open circuit , having meter for indicating earth leakage & provision for positive back indication complete as required, all necessary arrangement as required. 30 KW. | 1.00 | Each |  | 450000.00 | 450000.00 | 450000.00 | Sai Avionics
| Total in Figures |  |  |  |  | 4101000.00
Lowest Amount Quoted BY: Sai Avionics(4101000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of Spares for various GLF Equipments at Calicut International Airport Tender ID: 2023_AAI_175337_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sai Avionics | 4101000.00 | L1