## BoQ1
Government eProcurement System Created By: GOPALA KRISHNA S Created Date/Time: 08-Jan-2024 03:23 PM Tender Title: Conversion of A-type Quarter into Hostel Accommodation at Begumpet Airport, Hyderabad. Tender ID: 2023_AAI_175358_1
Tender Inviting Authority: SM (Engg-Civil), Airports Authority of India, Begumpet Airport, Hyderabad-500016, Ph: 040-27903054 (333)/+91 9493104653 (Bid Manager)
Name of Work :-Conversion of A-type Quarter Into Hostel Accommodation at Begumpet Airport, Hyderabad.
Tender Id: 2023 _ AAI _175358_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | N RAMAKRISHNA(GSTN-NA) |  | SAMIRA INFRA(GSTN-NA) |  | SUYAMBU PROJECTS(GSTN-NA) |  | GAGAN SAIL(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in?charge. All kinds of soil | 43.00 | Cum | 100.00 | 180.00 | 7740.00 | 95.00 | 4085.00 | 185.00 | 7955.00 | 200.00 | 8600.00 | 4085.00 | SAMIRA INFRA
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 30.00 | Cum | 100.00 | 190.00 | 5700.00 | 100.00 | 3000.00 | 245.00 | 7350.00 | 200.00 | 6000.00 | 3000.00 | SAMIRA INFRA
3.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 30.00 | Cum | 10.00 | 150.00 | 4500.00 | 115.00 | 3450.00 | 185.00 | 5550.00 | 150.00 | 4500.00 | 3450.00 | SAMIRA INFRA
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 40 mm nominal size). | 3.00 | Cum | 10.00 | 7020.00 | 21060.00 | 3850.00 | 11550.00 | 5900.00 | 17700.00 | 5600.00 | 16800.00 | 11550.00 | SAMIRA INFRA
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III): 10 graded stone aggregate 40 mm nominal size) | 7.00 | Cum | 10.00 | 4500.00 | 31500.00 | 1850.00 | 12950.00 | 5250.00 | 36750.00 | 5000.00 | 35000.00 | 12950.00 | SAMIRA INFRA
6.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone - III) : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 137.00 | sqm | 10.00 | 590.00 | 80830.00 | 125.00 | 17125.00 | 602.00 | 82474.00 | 550.00 | 75350.00 | 17125.00 | SAMIRA INFRA
7.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | 6.00 | Cum | 10.00 | 9090.00 | 54540.00 | 3650.00 | 21900.00 | 8500.00 | 51000.00 | 6800.00 | 40800.00 | 21900.00 | SAMIRA INFRA
8.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more. | 850.00 | Kgs | 10.00 | 76.00 | 64600.00 | 39.00 | 33150.00 | 95.00 | 80750.00 | 90.00 | 76500.00 | 33150.00 | SAMIRA INFRA
9.00 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 7.5 in superstructure above plinth level up to floor five level in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 32.00 | Cum | 10.00 | 7200.00 | 230400.00 | 3650.00 | 116800.00 | 7600.00 | 243200.00 | 6000.00 | 192000.00 | 116800.00 | SAMIRA INFRA
10.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red. Area of slab over 0.50 sqm | 24.00 | sqm | 10.00 | 3900.00 | 93600.00 | 1999.00 | 47976.00 | 3600.00 | 86400.00 | 4500.00 | 108000.00 | 47976.00 | SAMIRA INFRA
11.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 68.00 | metre | 10.00 | 360.00 | 24480.00 | 109.00 | 7412.00 | 295.00 | 20060.00 | 250.00 | 17000.00 | 7412.00 | SAMIRA INFRA
12.00 | Extra for fixing marble /granite stone, over and above corresponding basic item, in facia and drops of width upto 150 mm with epoxy resin based adhesive, including cleaning etc. complete. | 68.00 | metre | 10.00 | 720.00 | 48960.00 | 189.00 | 12852.00 | 375.00 | 25500.00 | 250.00 | 17000.00 | 12852.00 | SAMIRA INFRA
13.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : Float glass panes. 5.0 mm thick glass panes (weight not less than 12.5 kg per sqm) | 104.00 | Sqm | 100.00 | 4500.00 | 468000.00 | 2250.00 | 234000.00 | 1896.00 | 197184.00 | 1100.00 | 114400.00 | 114400.00 | GAGAN SAIL
14.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick :Fly proof stainless steel grade 304 wire gauge with 0.5 mm dia. wire and 1.4mm wide aperture with matching wood beading | 26.00 | Sqm | 100.00 | 4200.00 | 109200.00 | 1450.00 | 37700.00 | 1311.00 | 34086.00 | 800.00 | 20800.00 | 20800.00 | GAGAN SAIL
15.00 | Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 192.00 | sqm | 10.00 | 2500.00 | 480000.00 | 1800.00 | 345600.00 | 1550.00 | 297600.00 | 2000.00 | 384000.00 | 297600.00 | SUYAMBU PROJECTS
16.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 240.00 | sqm | 10.00 | 150.00 | 36000.00 | 59.00 | 14160.00 | 300.00 | 72000.00 | 200.00 | 48000.00 | 14160.00 | SAMIRA INFRA
17.00 | Providing and fixing chromium plated brass curtain rod having wall thickness of 1.25mm with two chromium plated brass brackets fixed with C.P. brass screws and PVC sleeves etc., wherever necessary complete : 25 mm dia | 204.00 | metre | 10.00 | 240.00 | 48960.00 | 380.00 | 77520.00 | 403.00 | 82212.00 | 350.00 | 71400.00 | 48960.00 | N RAMAKRISHNA
18.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150x10 mm | 168.00 | Each | 10.00 | 200.00 | 33600.00 | 59.00 | 9912.00 | 95.00 | 15960.00 | 100.00 | 16800.00 | 9912.00 | SAMIRA INFRA
19.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality.1.0 mm thick | 288.00 | sqm | 10.00 | 590.00 | 169920.00 | 385.00 | 110880.00 | 675.00 | 194400.00 | 850.00 | 244800.00 | 110880.00 | SAMIRA INFRA
20.00 | Providing and fixing factory made uPVC white colour sliding glazed window upto 1.50 m in height dimension comprising of uPVC multi-chambered frame with in-built roller track and sash extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), appropriate dimension of uPVC extruded glazing beads and uPVC extruded interlocks, EPDM gasket, wool pile, zinc alloy (white powder coated) touch locks with hook, zinc alloy body with single nylon rollers (weight bearing capacity to be 40 kg), G.I fasteners 100 x 8 mm size for fixing frame to finished wall and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes, wire mesh and silicon sealent shall be paid separately) Note: For uPVC frame and sash extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable. Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. Three track three panels sliding window with fly proof SS wire mesh (Two nos. glazed & one no. wire mesh panels) made of (small series) frame 92 x 44 mm & sash 32 x 60 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension (Area of window upto 1.75 sqm). | 87.00 | sqm | 10.00 | 7200.00 | 626400.00 | 9000.00 | 783000.00 | 5850.00 | 508950.00 | 6500.00 | 565500.00 | 508950.00 | SUYAMBU PROJECTS
21.00 | Providing and fixing factory made uPVC white colour casement/casement cum fixed glazed windows comprising of uPVC multi-chambered frame, sash and mullion (wher ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required Length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, stainless steel (SS 304 grade) friction hinges, zinc alloy (white powder coated) casement handles, G.I fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes and silicon sealant shall be paid separately) Note: For uPVC frame, sash and mullion extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable. Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. Casement window single panel with S.S. friction hinges (300 x 19 x 1.9 mm), made of (small series) frame 47 x 50mm & sash 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glass pane glazing bead of appropriate dimension. (Area of window upto 0.75 sqm.) | 21.00 | sqm | 10.00 | 7200.00 | 151200.00 | 1999.00 | 41979.00 | 7250.00 | 152250.00 | 7000.00 | 147000.00 | 41979.00 | SAMIRA INFRA
22.00 | Providing and fixing factory made uPVC white colour fixed glazed windows/ ventilators comprising of uPVC multi-chambered frame and mullion (where ever required)extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), , uPVC extruded glazing beads of appropriate dimension, EPDM gasket, G.I fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes and silicon sealant shall be paid separately). Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. Note: For uPVC frame, sash and mullion extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable. Fixed window / ventilator made of (small series) frame 47 x 50 mm & mullion 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension. (Area upto 0.75 sqm.) | 13.00 | sqm | 10.00 | 7200.00 | 93600.00 | 1999.00 | 25987.00 | 5400.00 | 70200.00 | 5000.00 | 65000.00 | 25987.00 | SAMIRA INFRA
23.00 | Structural steel work in single section, fixed with or without connecting plate,including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 1556.00 | Kgs | 10.00 | 150.00 | 233400.00 | 93.05 | 144785.80 | 125.00 | 194500.00 | 125.00 | 194500.00 | 144785.80 | SAMIRA INFRA
24.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 343.00 | Kgs | 10.00 | 630.00 | 216090.00 | 155.00 | 53165.00 | 555.00 | 190365.00 | 480.00 | 164640.00 | 53165.00 | SAMIRA INFRA
25.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting,Dado, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/sqm including grouting the joint with white cement & matching pigments etc. complete Size of Tile 600x600 mm | 552.00 | sqm | 10.00 | 1206.00 | 665712.00 | 1800.00 | 993600.00 | 1155.00 | 637560.00 | 1100.00 | 607200.00 | 607200.00 | GAGAN SAIL
26.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). double charged Size of Tile 600x600 mm | 520.00 | sqm | 10.00 | 1180.00 | 613600.00 | 1900.00 | 988000.00 | 1250.00 | 650000.00 | 1100.00 | 572000.00 | 572000.00 | GAGAN SAIL
27.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground within 50 metres lead : With cement mortar 1:4 (1 cement : 4 fine sand) | 217.00 | sqm | 10.00 | 329.00 | 71393.00 | 125.00 | 27125.00 | 425.00 | 92225.00 | 350.00 | 75950.00 | 27125.00 | SAMIRA INFRA
28.00 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : 1:6 (1 cement: 6 coarse sand) | 139.00 | Sqm | 10.00 | 310.00 | 43090.00 | 185.00 | 25715.00 | 310.00 | 43090.00 | 280.00 | 38920.00 | 25715.00 | SAMIRA INFRA
29.00 | 20 mm cement plaster of mix : : 1:6 (1 cement: 6 coarse sand) | 1248.00 | Sqm | 10.00 | 320.00 | 399360.00 | 238.00 | 297024.00 | 385.00 | 480480.00 | 300.00 | 374400.00 | 297024.00 | SAMIRA INFRA
30.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : Water thinnable cement primer | 4003.00 | Sqm | 10.00 | 45.00 | 180135.00 | 70.00 | 280210.00 | 46.00 | 184138.00 | 45.00 | 180135.00 | 180135.00 | N RAMAKRISHNA, GAGAN SAIL
31.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade :Two or more coats on new work | 4003.00 | Sqm | 10.00 | 99.00 | 396297.00 | 170.00 | 680510.00 | 118.00 | 472354.00 | 80.00 | 320240.00 | 320240.00 | GAGAN SAIL
32.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :Two or more coats on new work | 522.00 | Sqm | 10.00 | 108.00 | 56376.00 | 131.45 | 68616.90 | 125.00 | 65250.00 | 120.00 | 62640.00 | 56376.00 | N RAMAKRISHNA
33.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 4003.00 | Sqm | 10.00 | 99.00 | 396297.00 | 180.00 | 720540.00 | 105.00 | 420315.00 | 80.00 | 320240.00 | 320240.00 | GAGAN SAIL
34.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 4003.00 | Sqm | 10.00 | 45.00 | 180135.00 | 25.00 | 100075.00 | 12.00 | 48036.00 | 20.00 | 80060.00 | 48036.00 | SUYAMBU PROJECTS
35.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 24.00 | Each | 10.00 | 500.00 | 12000.00 | 110.70 | 2656.80 | 100.00 | 2400.00 | 100.00 | 2400.00 | 2400.00 | SUYAMBU PROJECTS, GAGAN SAIL
36.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 13.00 | Cum | 10.00 | 1800.00 | 23400.00 | 300.00 | 3900.00 | 1300.00 | 16900.00 | 500.00 | 6500.00 | 3900.00 | SAMIRA INFRA
37.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 18.00 | Cum | 10.00 | 1800.00 | 32400.00 | 359.00 | 6462.00 | 1450.00 | 26100.00 | 500.00 | 9000.00 | 6462.00 | SAMIRA INFRA
38.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area beyond 3 sq. metres | 204.00 | Each | 10.00 | 500.00 | 102000.00 | 319.00 | 65076.00 | 375.00 | 76500.00 | 200.00 | 40800.00 | 40800.00 | GAGAN SAIL
39.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : Of area 3 sq. metres and below | 120.00 | Each | 10.00 | 500.00 | 60000.00 | 118.30 | 14196.00 | 120.00 | 14400.00 | 150.00 | 18000.00 | 14196.00 | SAMIRA INFRA
40.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 476.00 | sqm | 10.00 | 99.00 | 47124.00 | 19.00 | 9044.00 | 55.00 | 26180.00 | 100.00 | 47600.00 | 9044.00 | SAMIRA INFRA
41.00 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : 15 mm to 40 mm nominal bore | 360.00 | metre | 10.00 | 90.00 | 32400.00 | 18.00 | 6480.00 | 110.00 | 39600.00 | 40.00 | 14400.00 | 6480.00 | SAMIRA INFRA
42.00 | Dismantling of road gully chamber of various sizes including C.I. grating with frame including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead including refilling the excavated gap. | 32.00 | Each | 10.00 | 500.00 | 16000.00 | 189.00 | 6048.00 | 550.00 | 17600.00 | 550.00 | 17600.00 | 6048.00 | SAMIRA INFRA
43.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 24.00 | Each | 10.00 | 200.00 | 4800.00 | 99.00 | 2376.00 | 550.00 | 13200.00 | 100.00 | 2400.00 | 2376.00 | SAMIRA INFRA
44.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 552.00 | Sqm | 10.00 | 80.00 | 44160.00 | 19.00 | 10488.00 | 40.00 | 22080.00 | 150.00 | 82800.00 | 10488.00 | SAMIRA INFRA
45.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand).Dark shade pigment using ordinary cement. | 275.00 | sqm | 10.00 | 900.00 | 247500.00 | 983.00 | 270325.00 | 850.00 | 233750.00 | 800.00 | 220000.00 | 220000.00 | GAGAN SAIL
46.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 32 mm dia | 48.00 | Each | 10.00 | 60.00 | 2880.00 | 104.35 | 5008.80 | 100.00 | 4800.00 | 90.00 | 4320.00 | 2880.00 | N RAMAKRISHNA
47.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls 15 mm nominal dia Pipes | 72.00 | metre | 10.00 | 150.00 | 10800.00 | 219.00 | 15768.00 | 355.00 | 25560.00 | 250.00 | 18000.00 | 10800.00 | N RAMAKRISHNA
48.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls 20 mm nominal dia Pipes | 240.00 | metre | 10.00 | 200.00 | 48000.00 | 319.00 | 76560.00 | 310.00 | 74400.00 | 300.00 | 72000.00 | 48000.00 | N RAMAKRISHNA
49.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls 25 mm nominal dia Pipes | 240.00 | metre | 10.00 | 250.00 | 60000.00 | 429.00 | 102960.00 | 475.00 | 114000.00 | 350.00 | 84000.00 | 60000.00 | N RAMAKRISHNA
50.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall. 15 mm dia nominal bore | 72.00 | Mts | 10.00 | 360.00 | 25920.00 | 200.00 | 14400.00 | 275.00 | 19800.00 | 280.00 | 20160.00 | 14400.00 | SAMIRA INFRA
51.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall. 20 mm dia nominal bore | 360.00 | metre | 10.00 | 390.00 | 140400.00 | 239.00 | 86040.00 | 345.00 | 124200.00 | 370.00 | 133200.00 | 86040.00 | SAMIRA INFRA
52.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall. 25 mm dia nominal bore | 240.00 | metre | 10.00 | 400.00 | 96000.00 | 349.00 | 83760.00 | 425.00 | 102000.00 | 415.00 | 99600.00 | 83760.00 | SAMIRA INFRA
53.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 24.00 | Each | 10.00 | 1500.00 | 36000.00 | 532.35 | 12776.40 | 530.00 | 12720.00 | 1500.00 | 36000.00 | 12720.00 | SUYAMBU PROJECTS
54.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 20 mm nominal bore | 24.00 | Each | 10.00 | 1400.00 | 33600.00 | 461.75 | 11082.00 | 455.00 | 10920.00 | 1300.00 | 31200.00 | 10920.00 | SUYAMBU PROJECTS
55.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 20 mm nominal bore | 24.00 | Each | 10.00 | 490.00 | 11760.00 | 397.45 | 9538.80 | 400.00 | 9600.00 | 330.00 | 7920.00 | 7920.00 | GAGAN SAIL
56.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | 120.00 | Each | 10.00 | 150.00 | 18000.00 | 85.20 | 10224.00 | 80.00 | 9600.00 | 180.00 | 21600.00 | 9600.00 | SUYAMBU PROJECTS
57.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 15 mm nominal bore | 10.00 | Each | 10.00 | 170.00 | 1700.00 | 262.30 | 2623.00 | 260.00 | 2600.00 | 200.00 | 2000.00 | 1700.00 | N RAMAKRISHNA
58.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 20 mm nominal bore | 48.00 | Each | 10.00 | 190.00 | 9120.00 | 289.05 | 13874.40 | 250.00 | 12000.00 | 250.00 | 12000.00 | 9120.00 | N RAMAKRISHNA
59.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 25 mm nominal bore | 48.00 | Each | 10.00 | 200.00 | 9600.00 | 369.35 | 17728.80 | 310.00 | 14880.00 | 300.00 | 14400.00 | 9600.00 | N RAMAKRISHNA
60.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 40 mm nominal bore | 24.00 | Each | 10.00 | 270.00 | 6480.00 | 523.20 | 12556.80 | 475.00 | 11400.00 | 450.00 | 10800.00 | 6480.00 | N RAMAKRISHNA
61.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 18000.00 | litrs | 10.00 | 15.00 | 270000.00 | 9.70 | 174600.00 | 7.90 | 142200.00 | 9.00 | 162000.00 | 142200.00 | SUYAMBU PROJECTS
62.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 : 15mm nominal bore | 120.00 | Each | 10.00 | 590.00 | 70800.00 | 350.00 | 42000.00 | 500.00 | 60000.00 | 450.00 | 54000.00 | 42000.00 | SAMIRA INFRA
63.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 5.0 | 24.00 | Each | 10.00 | 2070.00 | 49680.00 | 1889.00 | 45336.00 | 2150.00 | 51600.00 | 2000.00 | 48000.00 | 45336.00 | SAMIRA INFRA
64.00 | Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality L D- 2.5 Rectangular shape 600x450 mm internal dimensions | 20.00 | Each | 10.00 | 2070.00 | 41400.00 | 850.00 | 17000.00 | 1210.00 | 24200.00 | 1500.00 | 30000.00 | 17000.00 | SAMIRA INFRA
65.00 | Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality H D - 20 Circular shape 560 mm internal diameter | 20.00 | Each | 10.00 | 3000.00 | 60000.00 | 950.00 | 19000.00 | 1450.00 | 29000.00 | 1800.00 | 36000.00 | 19000.00 | SAMIRA INFRA
66.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 100.00 | mts | 10.00 | 90.00 | 9000.00 | 35.00 | 3500.00 | 80.00 | 8000.00 | 50.00 | 5000.00 | 3500.00 | SAMIRA INFRA
67.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound@ 0.253 kg/sqm. This layer will be allowed to air cure for 4 hours. b)Second layer of slurry of cement @ 0.242 kg/sqm mixed with waterproofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 213.00 | Sqm | 10.00 | 470.00 | 100110.00 | 516.00 | 109908.00 | 435.00 | 92655.00 | 525.00 | 111825.00 | 92655.00 | SUYAMBU PROJECTS
68.00 | Grading roof for water proofing treatment with Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | 24.00 | Cum | 10.00 | 5990.00 | 143760.00 | 7510.75 | 180258.00 | 7100.00 | 170400.00 | 6600.00 | 158400.00 | 143760.00 | N RAMAKRISHNA
69.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid door/window/Ceosetory windows & other Frames/Chowkhat comprising of virgin PVC polymer of K value 58- 60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) fabricated with miter joints after applying PVC solvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/ cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2, modulus of elasticity 900 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with M.S hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-In- Charge. (M.S hold fast/lugs or SS dash fasteners shall be paid for separately). Note: For WPC solid door/window frames, minus 5mm tolerance in dimensions i.e depth and width of profile shall be acceptable. Variation in profile dimensions on plus side shall be acceptable but no extra payment on this account shall be made. Frame size 45 x 70 mm | 250.00 | metre | 10.00 | 850.00 | 212500.00 | 644.70 | 161175.00 | 550.00 | 137500.00 | 730.00 | 182500.00 | 137500.00 | SUYAMBU PROJECTS
70.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid plain flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/ borer proof, water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel butt hinges and necessary S.S screws shall be paid separately) 30 mm thick | 81.00 | Sqm | 10.00 | 3060.00 | 247860.00 | 3955.00 | 320355.00 | 3350.00 | 271350.00 | 2500.00 | 202500.00 | 202500.00 | GAGAN SAIL
71.00 | Providing and laying Matt Finished vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. Size of tile 600mm x 600mm | 176.00 | Sqm | 10.00 | 1450.00 | 255200.00 | 1416.00 | 249216.00 | 900.00 | 158400.00 | 1200.00 | 211200.00 | 158400.00 | SUYAMBU PROJECTS
72.00 | Providing and fixing bright finished stainless steel tower bolts (barrel type) with necessary screws etc. complete : 200x10 mm | 144.00 | Each | 10.00 | 270.00 | 38880.00 | 150.00 | 21600.00 | 200.00 | 28800.00 | 200.00 | 28800.00 | 21600.00 | SAMIRA INFRA
73.00 | Providing and fixing bright finished stainless steel hanging type floor door stopper with necessary screws, etc. complete 125mm | 144.00 | Each | 10.00 | 150.00 | 21600.00 | 109.00 | 15696.00 | 80.00 | 11520.00 | 200.00 | 28800.00 | 11520.00 | SUYAMBU PROJECTS
74.00 | Providing and fixing ISI marked stainless steel sliding door bolts with nuts and screws etc. complete : 250x16 mm | 48.00 | Each | 10.00 | 405.00 | 19440.00 | 165.00 | 7920.00 | 410.00 | 19680.00 | 300.00 | 14400.00 | 7920.00 | SAMIRA INFRA
75.00 | Providing and fixing ISI marked Stainless Steel handles with necessary screws etc. complete : 125 mm | 192.00 | Each | 10.00 | 270.00 | 51840.00 | 226.50 | 43488.00 | 100.00 | 19200.00 | 125.00 | 24000.00 | 19200.00 | SUYAMBU PROJECTS
76.00 | Providing and fixing plain mirror of 5mm thick of required size (of approved quality, Modi Guard/Saint gobain or equivalent) fixed to wall with 20 x 25mm Stainless steel studs including making necessary holes to glass and the wall and including wooden plugs etc complete as per the direction of E I C | 17.00 | Sqm | 10.00 | 2000.00 | 34000.00 | 1250.00 | 21250.00 | 2150.00 | 36550.00 | 2800.00 | 47600.00 | 21250.00 | SAMIRA INFRA
77.00 | Provding and fixing white vitrieous china single piece EWC cum flushing cistern with seat cover of Model : Prince and code No: C0849N/O/P of make Parryware with S trap 280/210/110mm as required with seat cover and in built fittings complete including making necessary connections cutting and making good the floors where ever required | 24.00 | Each | 10.00 | 9000.00 | 216000.00 | 7999.00 | 191976.00 | 11200.00 | 268800.00 | 10500.00 | 252000.00 | 191976.00 | SAMIRA INFRA
78.00 | Providing and fixing C.P. brass two way bib cock (Cat : F3002163) of CERA make or Equivalent 15 mm nominal bore | 24.00 | Each | 10.00 | 450.00 | 10800.00 | 350.00 | 8400.00 | 1100.00 | 26400.00 | 1200.00 | 28800.00 | 8400.00 | SAMIRA INFRA
79.00 | Providing and fixing Health Faucet ABS body with wall hock and 1 metre long chrome plated PVC hose pipe (Cat : F8030103 of Cera or equivalent | 24.00 | Each | 10.00 | 1500.00 | 36000.00 | 999.00 | 23976.00 | 750.00 | 18000.00 | 700.00 | 16800.00 | 16800.00 | GAGAN SAIL
80.00 | Providing and fixing white vitreous china wall hung Canton wash basin of size 615 x510mm (Cat No: S2040122) with full Pedestal (Cat No.S2090107) of CERA and C.P. brass pillar Cock with aerator of CERA make (product Code F2008101 ) make or equivalent complete with necessary accessories as per direction of EIC | 24.00 | Each | 10.00 | 4500.00 | 108000.00 | 7999.00 | 191976.00 | 4150.00 | 99600.00 | 4800.00 | 115200.00 | 99600.00 | SUYAMBU PROJECTS
81.00 | Providing and fixing Ormond soap Dish Holder (Cat No: F5003106) of CERA maka or equivalent with concealed fitting arrangements etc complete as per direction of EIC. | 48.00 | Each | 10.00 | 900.00 | 43200.00 | 800.00 | 38400.00 | 535.00 | 25680.00 | 580.00 | 27840.00 | 25680.00 | SUYAMBU PROJECTS
82.00 | Providing and fixing CP Brass wall mixer with bend CP pipe for Overhead shower with built-in non return valve (Cat No: F2008402) of CERA make or equilvant complete as per the direction of Engineer in charge. | 24.00 | Each | 10.00 | 3000.00 | 72000.00 | 3999.00 | 95976.00 | 4200.00 | 100800.00 | 4500.00 | 108000.00 | 72000.00 | N RAMAKRISHNA
83.00 | Providing and fixing C.P. brass Overhead shower rose 95mm dia with 3 flow (Cat No: F7020302) with Overhead Shower Arm 305mm with wall flange (Cat No: F704104) complete as per direction of EIC | 24.00 | Each | 10.00 | 2000.00 | 48000.00 | 750.00 | 18000.00 | 1150.00 | 27600.00 | 1400.00 | 33600.00 | 18000.00 | SAMIRA INFRA
84.00 | Providing and fixing CP brass Drain Square Hinged with hole or without hole for waste pipe of Viking make Category No: 41719 or 41726 equivalent. 100 mm dia | 72.00 | Each | 10.00 | 900.00 | 64800.00 | 299.00 | 21528.00 | 245.00 | 17640.00 | 300.00 | 21600.00 | 17640.00 | SUYAMBU PROJECTS
85.00 | Providing and fixing of tank nipple of 25mm dia for new Over head water tanks at inlet, outlet, overflow and Drainout etc as per direction of Engineer-in-charge. | 96.00 | Each | 10.00 | 504.00 | 48384.00 | 35.00 | 3360.00 | 201.00 | 19296.00 | 200.00 | 19200.00 | 3360.00 | SAMIRA INFRA
86.00 | Providing and fixing on wall face unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.(i) Single socketed pipes 110mm diameter | 120.00 | Metre | 10.00 | 400.00 | 48000.00 | 250.00 | 30000.00 | 395.00 | 47400.00 | 490.00 | 58800.00 | 30000.00 | SAMIRA INFRA
87.00 | Providing and fixing on wall face unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.(i) Single socketed pipes 75mm diameter | 120.00 | Metre | 10.00 | 306.00 | 36720.00 | 150.00 | 18000.00 | 270.00 | 32400.00 | 340.00 | 40800.00 | 18000.00 | SAMIRA INFRA
88.00 | Providing, laying and jointing Underground Drainage PVC-U Pipes (Self-fit type/ Ring-fit type) are manufactured as per IS 15328 or equivalent having thermal stability for hot & cold water supply including all PVC-U plain fittings etc This includes jointing of pipes & fittings with one step PVC-U solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in :150 mm diameter | 80.00 | Metre | 10.00 | 450.00 | 36000.00 | 375.00 | 30000.00 | 265.00 | 21200.00 | 825.00 | 66000.00 | 21200.00 | SUYAMBU PROJECTS
89.00 | Providing, laying and jointing Underground Drainage PVC-U Pipes (Self-fit type/ Ring-fit type) are manufactured as per IS 15328 or equivalent having thermal stability for hot & cold water supply including all PVC-U plain fittings etc This includes jointing of pipes & fittings with one step PVC-U solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. :100 mm diameter | 30.00 | Mts | 10.00 | 405.00 | 12150.00 | 275.00 | 8250.00 | 510.00 | 15300.00 | 590.00 | 17700.00 | 8250.00 | SAMIRA INFRA
90.00 | Providing and fixing PVC moulded fittings/ accessories: Plain Floor Trap with out jali 75mm. | 48.00 | Each | 10.00 | 400.00 | 19200.00 | 151.00 | 7248.00 | 150.00 | 7200.00 | 150.00 | 7200.00 | 7200.00 | SUYAMBU PROJECTS, GAGAN SAIL
91.00 | Providing and fixing PVC moulded fittings/ accessories: P-Trap 110mm | 24.00 | Each | 10.00 | 405.00 | 9720.00 | 150.00 | 3600.00 | 150.00 | 3600.00 | 340.00 | 8160.00 | 3600.00 | SAMIRA INFRA, SUYAMBU PROJECTS
92.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Door Bend - 110mm | 48.00 | Each | 10.00 | 306.00 | 14688.00 | 80.00 | 3840.00 | 145.00 | 6960.00 | 240.00 | 11520.00 | 3840.00 | SAMIRA INFRA
93.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Door Bend - 75mm | 48.00 | Each | 10.00 | 300.00 | 14400.00 | 58.00 | 2784.00 | 85.00 | 4080.00 | 180.00 | 8640.00 | 2784.00 | SAMIRA INFRA
94.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.Plain Bend - 110mm | 24.00 | Each | 10.00 | 290.00 | 6960.00 | 50.00 | 1200.00 | 140.00 | 3360.00 | 200.00 | 4800.00 | 1200.00 | SAMIRA INFRA
95.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Plain Bend - 75mm | 24.00 | Each | 10.00 | 220.00 | 5280.00 | 65.00 | 1560.00 | 80.00 | 1920.00 | 150.00 | 3600.00 | 1560.00 | SAMIRA INFRA
96.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.Plain -Y 110x110x110 mm | 48.00 | Each | 10.00 | 306.00 | 14688.00 | 125.00 | 6000.00 | 225.00 | 10800.00 | 340.00 | 16320.00 | 6000.00 | SAMIRA INFRA
97.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Plain -Y 75x75x75 mm | 48.00 | Each | 10.00 | 360.00 | 17280.00 | 85.00 | 4080.00 | 125.00 | 6000.00 | 240.00 | 11520.00 | 4080.00 | SAMIRA INFRA
98.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Plain tee with door - 110x110x110 mm | 48.00 | Each | 10.00 | 300.00 | 14400.00 | 151.00 | 7248.00 | 175.00 | 8400.00 | 290.00 | 13920.00 | 7248.00 | SAMIRA INFRA
99.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Plain tee with door 75x75x75 mm | 48.00 | Each | 10.00 | 200.00 | 9600.00 | 96.00 | 4608.00 | 90.00 | 4320.00 | 190.00 | 9120.00 | 4320.00 | SUYAMBU PROJECTS
100.00 | Credit for taking away of existing Flush door with sliding blot, tower bolt etc under itme no : 38 (Note : This item will be operated as a credit item and the agency must quoted their rate accordingly. This amount quoted against this item will be treated as negative and overall total amount shall be adjusted accordingly to arrive at the final amount to establish lowest bidder) | 168.00 | Each | 10.00 | 50.00 | 8400.00 | 585.00 | 98280.00 | 475.00 | 79800.00 | 150.00 | 25200.00 | 8400.00 | N RAMAKRISHNA
101.00 | Credit for taking away of existing MS Windows and Ventilator including Glass as per direction of EIC under itme no :38 (Note : This item will be operated as a credit item and the agency must quoted their rate accordingly. This amount quoted against this item will be treated as negative and overall total amount shall be adjusted accordingly to arrive at the final amount to establish lowest bidder) | 240.00 | Kgs | 10.00 | 10.00 | 2400.00 | 75.00 | 18000.00 | 35.00 | 8400.00 | 15.00 | 3600.00 | 2400.00 | N RAMAKRISHNA
102.00 | Credit for taking away of existing G.I Pipe as per direction of EIC under itme no :41 (Note : This item will be operated as a credit item and the agency must quoted their rate accordingly. This amount quoted against this item will be treated as negative and overall total amount shall be adjusted accordingly to arrive at the final amount to establish lowest bidder) | 1296.00 | Kgs | 10.00 | 10.00 | 12960.00 | 75.00 | 97200.00 | 35.00 | 45360.00 | 15.00 | 19440.00 | 12960.00 | N RAMAKRISHNA
| Total in Figures |  |  |  |  | 10024819.00 |  | 9592099.50 |  | 8976405.00 |  | 8589280.00
Lowest Amount Quoted BY: GAGAN SAIL(8589280.00)

## BOQ Summary
BOQ Summary Details Tender Title: Conversion of A-type Quarter into Hostel Accommodation at Begumpet Airport, Hyderabad. Tender ID: 2023_AAI_175358_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GAGAN SAIL | 8589280.00 | L1
| 2 | SUYAMBU PROJECTS | 8976405.00 | L2
| 3 | SAMIRA INFRA | 9592099.50 | L3
| 4 | N RAMAKRISHNA | 10024819.00 | L4