## BoQ1
Government eProcurement System Created By: JUHI SHARMA Created Date/Time: 04-Jan-2024 12:47 PM Tender Title: Provision of Essential Power Supply for ASTI Building at Chennai Airport Tender ID: 2023_AAI_175406_1
Tender Inviting Authority: AGM (E-E)
Name of Work: Provision of Essential Power Supply for ASTI Building at Chennai Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply & Laying Of Cables
1.01 | Supply of Aluminium Conductor, XLPE insulated, PVC sheathed, armoured power cable of 1.1 KV grade of following Sizes conforming to IS 7098 (Part-1) as amended upto date as required.
1.02 | 3.5C X 185 sq.mm | 500.00 | Mtr | 10.00 | 965.00 | 482500.00 | 829.00 | 414500.00 | 414500.00 | CHENNAI ENGINEERING SERVICES
1.03 | Supply of Aluminium Conductor, XLPE insulated, PVC sheathed, armoured power cable of 1.1 KV grade of following Sizes conforming to IS 7098 (Part-1) as amended upto date as required.
1.04 | 3.5C X 25 sq.mm | 200.00 | Mtr | 10.00 | 188.00 | 37600.00 | 169.00 | 33800.00 | 33800.00 | CHENNAI ENGINEERING SERVICES
1.05 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required.
1.06 | Above 95 sq. mm and upto 185 sq. mm | 460.00 | Mtr | 10.00 | 195.00 | 89700.00 | 99.00 | 45540.00 | 45540.00 | CHENNAI ENGINEERING SERVICES
1.07 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 95 sq. mm (clamped with 40x3mm MS flat clamp)
1.08 | Above 95 sq. mm and upto 185 sq. mm | 40.00 | Mtr | 10.00 | 130.00 | 5200.00 | 159.00 | 6360.00 | 5200.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.09 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm
1.10 | up to 35 sq mm(Clamped with 1mm thick clamp) | 200.00 | Mtr | 10.00 | 70.00 | 14000.00 | 79.00 | 15800.00 | 14000.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.11 | Supplying and making end termination with brass compression gland and aluminium/copper lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 grade etc. complete as required.
1.12 | 3.5C X 185 sq.mm | 2.00 | Sets | 10.00 | 1100.00 | 2200.00 | 999.00 | 1998.00 | 1998.00 | CHENNAI ENGINEERING SERVICES
1.13 | 3.5C X 25 sq.mm | 6.00 | Sets | 10.00 | 325.00 | 1950.00 | 299.00 | 1794.00 | 1794.00 | CHENNAI ENGINEERING SERVICES
2.00 | Internal Electrification Works
2.01 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required as per EIC. (But without MCB/RCCB/Isolator)
2.02 | 4 way (4+12) , doubledoor. | 1.00 | Job | 10.00 | 3200.00 | 3200.00 | 3499.00 | 3499.00 | 3200.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.03 | Supplying and fixing of 5 A to 32 A, rating "C" curve MCB suitable for inductive load of following poles in the existing MCB DB complete with connections testing and commissioning etc. as required
2.04 | Single pole | 12.00 | Each | 10.00 | 155.00 | 1860.00 | 249.00 | 2988.00 | 1860.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.05 | Supplying and fixing 4 Pole, 415Volts, 63 A Isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
2.06 | 63 Amps | 1.00 | Each | 10.00 | 950.00 | 950.00 | 999.00 | 999.00 | 950.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.00 | Earthing
3.01 | Earthing with G.I. earth pipe 4.5 m long x 40 mm dia. including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal /coke and salt complete as required. | 2.00 | Job | 10.00 | 7500.00 | 15000.00 | 6499.00 | 12998.00 | 12998.00 | CHENNAI ENGINEERING SERVICES
3.02 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 50.00 | Mtr | 10.00 | 140.00 | 7000.00 | 199.00 | 9950.00 | 7000.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.03 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 400.00 | Mtr | 10.00 | 26.00 | 10400.00 | 39.00 | 15600.00 | 10400.00 | LAKSHMI ELECTRICAL ENTERPRISES
4.00 | LT Panel
4.01 | Fabrication, SITC of PTTA MV Switch Board Essential Panel/Non-Essential made of 14 SWG CRCA Sheet Steel, dust tight, vermin proof, Totally enclosed, cubicle type, floor/wall mounting, free standing, extensible on both sides, suitable for indoor operation at 433 V, 3 Phase, 4 Wire, 50 Hz, AC System complete with all accessories, interconnection, connection, earthing, painting, etc., as required and comprising of the following: a) One Nos. of 200 A, 36 KA, 4P MCCBs with Microprocessor Based Releases for OC/SC/EF Protection as INCOMERS with Resin Cast CT operated Digital Meter [EM 6400 of Conzerve/Equivalent], ON/OFF/TRIP Indication Lamps and Phase Indication Lamps etc as required. b) Four Nos. of 63 A, 36 KA, 4P MCCBs with Thermal Magnetic Releases for Protection as Outgoing, with ON/OFF/TRIP Indication Lamps as required. c) Two Nos. of 63A, 10 KA, 4P MCB as Outgoings as required. d) One Set of 200 Amps Al. Bus Bars with at Par Neutral BUS BARS as required. e) All accessories such as fuses, auxillary contactors, auxillary switches, etc. as required. ALL AS ABOVE 1 (A) To 1 (E) | 1.00 | Job | 10.00 | 199999.00 | 199999.00 | 209000.00 | 209000.00 | 199999.00 | LAKSHMI ELECTRICAL ENTERPRISES
| Total in Figures |  |  |  |  | 871559.00 |  | 774826.00
Lowest Amount Quoted BY: CHENNAI ENGINEERING SERVICES(774826.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Essential Power Supply for ASTI Building at Chennai Airport Tender ID: 2023_AAI_175406_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CHENNAI ENGINEERING SERVICES | 774826.00 | L1
| 2 | LAKSHMI ELECTRICAL ENTERPRISES | 871559.00 | L2