## BoQ1
Government eProcurement System Created By: Mahesh Bhaskar Nagaonkar Created Date/Time: 08-Jan-2024 03:30 PM Tender Title: Reconfiguration of Existing Terminal Building at C.E. Bhuj Tender ID: 2023_AAI_175568_1
Tender Inviting Authority: Sr. Manager (E-C)
Name of Work:“Reconfiguration of Existing Terminal Buiding at C.E. Bhuj"
Tender ID: 2023_AAI_175568_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | J K BUILDERS(GSTN-24AAOFM4186F1Z3) |  | D B Infratech(GSTN-NA) |  | LANDMARK CORPORATION PVT. LTD.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth Work
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. | 40.00 | Cum |  | 272.00 | 10880.00 | 250.00 | 10000.00 | 255.00 | 10200.00 | 10000.00 | D B Infratech
1.02 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. - Ordinary rock | 280.00 | Cum |  | 872.00 | 244160.00 | 250.00 | 70000.00 | 260.00 | 72800.00 | 70000.00 | D B Infratech
1.03 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 170.00 | Cum |  | 220.00 | 37400.00 | 200.00 | 34000.00 | 210.00 | 35700.00 | 34000.00 | D B Infratech
1.04 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 51.00 | Cum |  | 1960.00 | 99960.00 | 1700.00 | 86700.00 | 1650.00 | 84150.00 | 84150.00 | LANDMARK CORPORATION PVT. LTD.
2.00 | Concrete Work
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 13.00 | Cum |  | 6550.00 | 85150.00 | 7000.00 | 91000.00 | 7100.00 | 92300.00 | 85150.00 | J K BUILDERS
2.02 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinthlevel : - 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 100.00 | Cum |  | 5500.00 | 550000.00 | 6100.00 | 610000.00 | 6500.00 | 650000.00 | 550000.00 | J K BUILDERS
2.03 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | 9.00 | Cum |  | 4900.00 | 44100.00 | 6000.00 | 54000.00 | 6000.00 | 54000.00 | 44100.00 | J K BUILDERS
3.00 | Reinforced Cement Concrete
3.01 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 225.00 | Sqm |  | 436.00 | 98100.00 | 850.00 | 191250.00 | 875.00 | 196875.00 | 98100.00 | J K BUILDERS
3.02 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 1280.00 | Sqm |  | 763.00 | 976640.00 | 850.00 | 1088000.00 | 875.00 | 1120000.00 | 976640.00 | J K BUILDERS
3.03 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 1580.00 | Sqm |  | 870.00 | 1374600.00 | 850.00 | 1343000.00 | 875.00 | 1382500.00 | 1343000.00 | D B Infratech
3.04 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 135.00 | Sqm |  | 870.00 | 117450.00 | 850.00 | 114750.00 | 850.00 | 114750.00 | 114750.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
3.05 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc., including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured). - Suspended floors, roofs, landing, beams and balconies (Plan area to be measured) | 1280.00 | Sqm |  | 325.00 | 416000.00 | 150.00 | 192000.00 | 155.00 | 198400.00 | 192000.00 | D B Infratech
3.06 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. - Thermo-Mechanically Treated bars of grade Fe-500D or more. | 16200.00 | Kg |  | 104.00 | 1684800.00 | 94.00 | 1522800.00 | 95.00 | 1539000.00 | 1522800.00 | D B Infratech
3.07 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.. - Thermo-Mechanically Treated bars of grade Fe-500D or more. | 22200.00 | Kg |  | 109.00 | 2419800.00 | 95.00 | 2109000.00 | 95.00 | 2109000.00 | 2109000.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
3.08 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. - All works upto plinth level - Concrete of M30 grade with minimum cement content of 350 kg /cum | 135.00 | Cum |  | 8200.00 | 1107000.00 | 9300.00 | 1255500.00 | 9500.00 | 1282500.00 | 1107000.00 | J K BUILDERS
3.09 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. - All works above plinth level upto floor V level - Concrete of M30 grade with minimum cement content of 350 kg /cum | 185.00 | Cum |  | 8200.00 | 1517000.00 | 9500.00 | 1757500.00 | 9700.00 | 1794500.00 | 1517000.00 | J K BUILDERS
3.10 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 100.00 | Quintal |  | 550.00 | 55000.00 | 680.00 | 68000.00 | 700.00 | 70000.00 | 55000.00 | J K BUILDERS
4.00 | Cladding Work
4.01 | Providing and fixing 18mm thick gang saw cut mirror polished premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. (A)Area of slab upto 0.50 sqm | 25.00 | Sqm |  | 5500.00 | 137500.00 | 5500.00 | 137500.00 | 5800.00 | 145000.00 | 137500.00 | D B Infratech, J K BUILDERS
4.02 | Providing and fixing 18mm thick gang saw cut mirror polished premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. (A)Area of slab above 0.50 sqm | 20.00 | Sqm |  | 6550.00 | 131000.00 | 5000.00 | 100000.00 | 5200.00 | 104000.00 | 100000.00 | D B Infratech
4.03 | Extra for providing opening of required size & shape for wash basin/kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 11.00 | Each |  | 1650.00 | 18150.00 | 300.00 | 3300.00 | 320.00 | 3520.00 | 3300.00 | D B Infratech
5.00 | Wood and PVC Work
5.01 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 4.00 | Each |  | 3300.00 | 13200.00 | 2660.00 | 10640.00 | 2700.00 | 10800.00 | 10640.00 | D B Infratech
5.02 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :300x16 mm | 20.00 | Nos |  | 870.00 | 17400.00 | 300.00 | 6000.00 | 320.00 | 6400.00 | 6000.00 | D B Infratech
5.03 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 20.00 | Nos |  | 328.00 | 6560.00 | 400.00 | 8000.00 | 400.00 | 8000.00 | 6560.00 | J K BUILDERS
5.04 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. - Twin rubber stopper | 20.00 | Nos |  | 328.00 | 6560.00 | 100.00 | 2000.00 | 121.00 | 2420.00 | 2000.00 | D B Infratech
6.00 | Steel Work
6.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. (Major fabrication will be done in pre-engineering building factory. Necessary checks for quality for welding etc. are to be carried out at factory and site both.) The rate includes for erection of structural steel work (for covering double height portion ) considering the hardship factors in the working airport and its challenges including cost of day to day cleaning, mopping floor on completion of day's work prior to handing over the site in morning, providing steel, scaffolding temporary supports for all large / short span beams, including extra labour force that may be required to meet the emergencies of work, opening and fixing glass / ACP panels wherever needed, providing erection mechanism / Plant, machinery, equipment, tools etc., for handling and erecting steel beams / members within existing premises, providing rubber mat of adequate thickness to protect the existing flooring during the work by providing suitable mobile arrangement on wheels covering with steel supports so as to protect luggage scanners, belt conveyor and other costly equipment’s with brake mechanism including the cost for material storage, material movement through existing gates at night time, cost of insurance for contractor's all risk policy, against all possible damages to third party equipment, insurance including third party personal damages, etc complete. The scaffolding shall be such that it can be erected,dismantled and shifted for completion of day's work. (Item shall be paid for structural steel for covering the cut-out at first floor in double height area of Departure and Arrival) complete as per direction of Engineer-In-Charge (Note : Irrespective of the section used payment shall be made in this item only) | 180400.00 | Kg |  | 130.00 | 23452000.00 | 150.00 | 27060000.00 | 160.00 | 28864000.00 | 23452000.00 | J K BUILDERS
6.02 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 200.00 | Kg |  | 165.00 | 33000.00 | 220.00 | 44000.00 | 250.00 | 50000.00 | 33000.00 | J K BUILDERS
6.03 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 50.00 | Kg |  | 1100.00 | 55000.00 | 650.00 | 32500.00 | 640.00 | 32000.00 | 32000.00 | LANDMARK CORPORATION PVT. LTD.
7.00 | Flooring
7.01 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. - Size of Tile 600 x 600 mm (Note : Minimum Basic price of vitrified tile shall not be less than Rs. 491 per Sqm without GST , freight upto destination, loading and Unloading etc. Purchase voucher/invoice shall have to be submitted for price verification before bill payment of this item, Tile shall be finalised by Engineer-in-charge) | 1505.00 | Sqm |  | 1635.00 | 2460675.00 | 1750.00 | 2633750.00 | 1800.00 | 2709000.00 | 2460675.00 | J K BUILDERS
7.02 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand)jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge,clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. -Glazed Vitrified tiles Matt/Antiskid finish of size - Size of Tile 600 x 600 mm (Note : Minimum Basic price of vitrified tile shall not be less than Rs. 421 per Sqm without GST , freight upto destination, loading and Unloading etc. Purchase voucher/invoice shall have to be submitted for price verification before bill payment of this item, Tile shall be finalised by Engineer-in-charge) | 112.00 | Sqm |  | 1525.00 | 170800.00 | 1750.00 | 196000.00 | 1800.00 | 201600.00 | 170800.00 | J K BUILDERS
7.03 | Marble stone flooring with 18 mm thick marble stone, as per sample of marble approved by Engineer-in-charge, over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with grey cement slurry, including rubbing and polishing complete with : Raj Nagar plain | 125.00 | Sqm |  | 2725.00 | 340625.00 | 5800.00 | 725000.00 | 5850.00 | 731250.00 | 340625.00 | J K BUILDERS
7.04 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. - Size of Tile 600x600 mm (Note : Minimum Basic price of vitrified tile shall not be less than Rs. 491 per Sqm without GST , freight upto destination, loading and Unloading etc. Purchase voucher/invoice shall have to be submitted for price verification before bill payment of this item, Tile shall be finalised by Engineer-in-charge) | 250.00 | Sqm |  | 1960.00 | 490000.00 | 1800.00 | 450000.00 | 1750.00 | 437500.00 | 437500.00 | LANDMARK CORPORATION PVT. LTD.
8.00 | Roofing
8.01 | Providing and laying pressed clay tiles (as per approved pattern 20 mm nominal thickness of approved size) on roofs jointed with cement mortar 1:4 (1 cement : 4 coarse sand) mixed with 2% integral water proofing compound, laid over a bed of 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) and finished neat complete. | 75.00 | Sqm |  | 1100.00 | 82500.00 | 1100.00 | 82500.00 | 1050.00 | 78750.00 | 78750.00 | LANDMARK CORPORATION PVT. LTD.
8.02 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. | 2195.00 | Sqm |  | 1960.00 | 4302200.00 | 2100.00 | 4609500.00 | 2200.00 | 4829000.00 | 4302200.00 | J K BUILDERS
9.00 | Finishing
9.01 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 165.00 | Sqm |  | 440.00 | 72600.00 | 550.00 | 90750.00 | 600.00 | 99000.00 | 72600.00 | J K BUILDERS
9.02 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand) | 165.00 | Sqm |  | 490.00 | 80850.00 | 600.00 | 99000.00 | 600.00 | 99000.00 | 80850.00 | J K BUILDERS
9.03 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 1280.00 | Sqm |  | 381.00 | 487680.00 | 400.00 | 512000.00 | 450.00 | 576000.00 | 487680.00 | J K BUILDERS
9.04 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 325.00 | Sqm |  | 220.00 | 71500.00 | 180.00 | 58500.00 | 180.00 | 58500.00 | 58500.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
9.05 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 1605.00 | Sqm |  | 272.00 | 436560.00 | 280.00 | 449400.00 | 300.00 | 481500.00 | 436560.00 | J K BUILDERS
9.06 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :- Two or more coats on new work | 1280.00 | Sqm |  | 220.00 | 281600.00 | 280.00 | 358400.00 | 290.00 | 371200.00 | 281600.00 | J K BUILDERS
10.00 | Dismantling and Demolishing
10.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. - Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 30.00 | Cum |  | 2200.00 | 66000.00 | 2500.00 | 75000.00 | 2550.00 | 76500.00 | 66000.00 | J K BUILDERS
10.02 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 5.00 | Cum |  | 2725.00 | 13625.00 | 3500.00 | 17500.00 | 3600.00 | 18000.00 | 13625.00 | J K BUILDERS
10.03 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. - In cement mortar | 270.00 | Cum |  | 1744.00 | 470880.00 | 700.00 | 189000.00 | 600.00 | 162000.00 | 162000.00 | LANDMARK CORPORATION PVT. LTD.
10.04 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 1040.00 | Sqm |  | 110.00 | 114400.00 | 65.00 | 67600.00 | 50.00 | 52000.00 | 52000.00 | LANDMARK CORPORATION PVT. LTD.
10.05 | Dismantling precast concrete or stone slabs in walls, partition walls etc. including stacking within 50 metres lead : Thickness up to 40 mm | 45.00 | Sqm |  | 220.00 | 9900.00 | 250.00 | 11250.00 | 450.00 | 20250.00 | 9900.00 | J K BUILDERS
10.06 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | 440.00 | Sqm |  | 88.00 | 38720.00 | 50.00 | 22000.00 | 30.00 | 13200.00 | 13200.00 | LANDMARK CORPORATION PVT. LTD.
10.07 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 9.00 | Nos |  | 545.00 | 4905.00 | 750.00 | 6750.00 | 650.00 | 5850.00 | 4905.00 | J K BUILDERS
10.08 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 1285.00 | Sqm |  | 88.00 | 113080.00 | 50.00 | 64250.00 | 80.00 | 102800.00 | 64250.00 | D B Infratech
10.09 | Dismantling of flexible pavement (bituminous courses) by mechanical means and disposal of dismantled material up to a lead of 1 kilometre, as per direction of Engineer-in-charge. | 48.00 | Cum |  | 2200.00 | 105600.00 | 450.00 | 21600.00 | 550.00 | 26400.00 | 21600.00 | D B Infratech
10.10 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 100.00 | Cum |  | 218.00 | 21800.00 | 950.00 | 95000.00 | 900.00 | 90000.00 | 21800.00 | J K BUILDERS
11.00 | Road Work
11.01 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paverfinisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achievethe desired density, complete as per specifications and directions of Engineer-in-Charge. | 13.00 | Cum |  | 3270.00 | 42510.00 | 4200.00 | 54600.00 | 4500.00 | 58500.00 | 42510.00 | J K BUILDERS
11.02 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator,filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. - 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 410.00 | Sqm |  | 872.00 | 357520.00 | 800.00 | 328000.00 | 850.00 | 348500.00 | 328000.00 | D B Infratech
12.00 | Water Supply
12.01 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. -Internal work - Exposed on wall -50 mm nominal outer dia Pipes | 100.00 | Meter |  | 765.00 | 76500.00 | 620.00 | 62000.00 | 650.00 | 65000.00 | 62000.00 | D B Infratech
12.02 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain &brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing.This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testingof joints complete as per direction of Engineer in charge. -Concealed work, including cutting chases and making good the walls etc. 20 mm nominal outer dia Pipes | 45.00 | Meter |  | 240.00 | 10800.00 | 200.00 | 9000.00 | 250.00 | 11250.00 | 9000.00 | D B Infratech
12.03 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain &brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing.This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testingof joints complete as per direction of Engineer in Charge. -Concealed work, including cutting chases and making good the walls etc. 32 mm nominal outer dia Pipes | 50.00 | Meter |  | 380.00 | 19000.00 | 300.00 | 15000.00 | 350.00 | 17500.00 | 15000.00 | D B Infratech
12.04 | Providing and fixing uplasticised PVC connection pipe with brass unions :45 cm length : 15 mm nominal bore | 13.00 | Each |  | 328.00 | 4264.00 | 70.00 | 910.00 | 74.00 | 962.00 | 910.00 | D B Infratech
12.05 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 10000.00 | Liters |  | 16.00 | 160000.00 | 15.00 | 150000.00 | 18.00 | 180000.00 | 150000.00 | D B Infratech
12.06 | Providing and fixing PTMT Ball cock of approved quality, colour and make complete with Epoxy coated aluminium rod with L.P./ H.P.H.D. plastic ball. : 50 mm nominal bore, 242mm long, weighing not less than 1240 gms | 4.00 | Each |  | 2200.00 | 8800.00 | 750.00 | 3000.00 | 775.00 | 3100.00 | 3000.00 | D B Infratech
13.00 | Drainage
13.01 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: -150 x 100 mm size P type - With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 11.00 | Each |  | 2200.00 | 24200.00 | 9500.00 | 104500.00 | 10000.00 | 110000.00 | 24200.00 | J K BUILDERS
13.02 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone- III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone- III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 120x90 cm and 90 cm deep including C.I. cover with frame (medium duty) 500 mm internal diameter, total weight of cover and frame to be not less than 116 kg (weight of cover 58 kg and weight of frame 58 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 5.00 | Each |  | 32800.00 | 164000.00 | 42000.00 | 210000.00 | 42500.00 | 212500.00 | 164000.00 | J K BUILDERS
13.03 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : For pipes 100 to 250 mm diameter | 8.00 | Each |  | 2200.00 | 17600.00 | 5000.00 | 40000.00 | 4800.00 | 38400.00 | 17600.00 | J K BUILDERS
14.00 | Aluminium Work
14.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 2785.00 | Kg |  | 710.00 | 1977350.00 | 650.00 | 1810250.00 | 650.00 | 1810250.00 | 1810250.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
14.02 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 3370.00 | Kg |  | 600.00 | 2022000.00 | 650.00 | 2190500.00 | 680.00 | 2291600.00 | 2022000.00 | J K BUILDERS
14.03 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : -For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) - Powder coated aluminium (minimum thickness of powder coating 50 micron) | 130.00 | Kg |  | 710.00 | 92300.00 | 650.00 | 84500.00 | 650.00 | 84500.00 | 84500.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
14.04 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin- charge. | 295.00 | Sqm |  | 2200.00 | 649000.00 | 80.00 | 23600.00 | 80.00 | 23600.00 | 23600.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
14.05 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 385.00 | Sqm |  | 1635.00 | 629475.00 | 6500.00 | 2502500.00 | 6700.00 | 2579500.00 | 629475.00 | J K BUILDERS
14.06 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. | 8.00 | Sqm |  | 14100.00 | 112800.00 | 16500.00 | 132000.00 | 17500.00 | 140000.00 | 112800.00 | J K BUILDERS
14.07 | Providing and fixing 100mm brass locks (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 5.00 | Each |  | 7650.00 | 38250.00 | 800.00 | 4000.00 | 850.00 | 4250.00 | 4000.00 | D B Infratech
14.08 | Providing and fixing 12mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer in charge (Door handle, lock and stopper etc. to be paid separately) | 20.00 | Sqm |  | 5450.00 | 109000.00 | 15500.00 | 310000.00 | 16000.00 | 320000.00 | 109000.00 | J K BUILDERS
14.09 | Designing, fabricating, testing, installing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including: (a) Structural analysis & design and preparation of shop drawings for pressure equalisation or rain screen principle as required, proper drainage of water to make it watertight including checking of all the structural and functional design. (b)Providing and fixing 4mm thick Aluminium Composite Panels {ACP)/ Aluminium Composite Material {ACM) of grade 5005 alloy 8t fire retardant {FR) grade mineral filled inorganic core of compliance to A2-sl,d0 for cladding of columns, walls, jambs, sills, projected area/ fascia, ceiling, decorative cladding on any surface to any profile and shape (pan shape) using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. at horizontally/ vertically/ sloped/ curved/ circular etc. for all heights and levels as per drawings and specifications. Base frame work for ACP I ACM cladding is payable under the relevant aluminium items. (c) The fastening brackets of Aluminium alloy 6005 T5 / MS with Hot Dip Galvanised with serrations and serrated washers to arrest the wind load movement, fasteners, SS 316 Pins and anchor bolts of approved make in SS 316, Nylon separators to preventbi-metallic contacts all complete required to perform as per specification and drawing The item includes cost of all material & labour component, the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working curtain wall with aluminium composite panel cladding, cleaning and protection of the curtain wall with aluminium composite panel cladding till the handing over of the building for occupation. Base frame work for ACP cladding is payable under the relevant aluminium item.s The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete , as per the Architectural drawings, as per item description, as specified, as per the approved shop drawings and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places. | 653.00 | Sqm |  | 2750.00 | 1795750.00 | 6000.00 | 3918000.00 | 5200.00 | 3395600.00 | 1795750.00 | J K BUILDERS
15.00 | New Technologies and Materials
15.01 | Providing and fixing roofing consist of 0.8 mm thick galvanized steel deck sheet confirming to IS 277:1992 used as permanent shuttering over which MS wire mesh 3mm laid at 100x100 mm grid including edge trim covered with concrete. This metal deck will be supported on structural steel beam with shear studs. (Structural steel like Beam,column, joists etc. & concrete of different grade as per design will be paid separately). | 1202.64 | Sqm |  | 2750.00 | 3307260.00 | 1600.00 | 1924224.00 | 1750.00 | 2104620.00 | 1924224.00 | D B Infratech
15.02 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid door/window/clerestory windows & desertory other Frames/Chowkhat comprising of virgin PVC polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) fabricated with miter joints after applying PVCsolvent cement and screwed with full body threaded star headed SS screws having minimum frame density of 750 kg/ cum, screw withdrawal strength of 2200 N (Face) & 1100 N (Edge), minimum compressive strength of 58 N/mm2, modulus of elasticity 900 N/mm2 and resistance to spread of flame ofClass A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixed in position with M.S hold fast/lugs/SS dash fasteners of required dia and length complete as per direction of Engineer-In- Charge. (M.S hold fast/lugs or SS dash fasteners shall be paid for separately). -Note: For WPC solid door/window frames, minus 5mm tolerance in dimensions i.e depth and width of profile shall be acceptable. Variation in profile dimensions on plus side shall be acceptable but no extra payment on this account shall be made. -Frame size 45 x 85 mm | 30.00 | Meter |  | 1200.00 | 36000.00 | 750.00 | 22500.00 | 850.00 | 25500.00 | 22500.00 | D B Infratech
15.03 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid decorative type flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/ mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/ borer proof, water/moisture proof and fire retardant. WPC to be laminated with PVC foil of minimum 14 microns thick of approved design pasted with hot melt adhesive on both faces of shutter and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. -(Note: stainless steel butt hinges and necessary S.S screws shall be paid separately) - 30 mm thick | 15.00 | Sqm |  | 4360.00 | 65400.00 | 11500.00 | 172500.00 | 12000.00 | 180000.00 | 65400.00 | J K BUILDERS
16.00 | Additional Miscellaneous items
16.01 | Brick work with common burnt clay local available size brick of class designation 3.5 in foundation and plinth in complete as per direction & satisfaction of Engineer. Cement mortar 1:6 (1 cement : 6 coarse sand) | 40.00 | cum |  | 7630.00 | 305200.00 | 9500.00 | 380000.00 | 10050.00 | 402000.00 | 305200.00 | J K BUILDERS
16.02 | Brick work with common burnt clay local available size brick of class designation 3.5 in superstructure above plinth level up to floor V level in all shapes and sizes in complete as per direction & satisfaction of Engineer. Cement mortar 1:6 (1 cement : 6 coarse sand) | 155.00 | Cum |  | 8175.00 | 1267125.00 | 9500.00 | 1472500.00 | 10050.00 | 1557750.00 | 1267125.00 | J K BUILDERS
16.03 | Half brick masonry with common burnt clay local available size brick of class designation 3.5 in superstructure above plinth level upto floor V level Cement mortar 1:6 (1 Cement : 6 coarse sand) | 165.00 | Sqm |  | 765.00 | 126225.00 | 950.00 | 156750.00 | 1000.00 | 165000.00 | 126225.00 | J K BUILDERS
16.04 | Dismantling of washbasin/urinal/ EWC/IWC etc. and connecting fittings including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead complete as per direction of Engineer in Charge. | 22.00 | Each |  | 327.00 | 7194.00 | 114.00 | 2508.00 | 112.00 | 2464.00 | 2464.00 | LANDMARK CORPORATION PVT. LTD.
16.05 | Dismantling of pillar cock, bottle trap, stop cock, bib cock atc. and connecting fittings including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead complete as per direction of Engineer in Charge. | 62.00 | Each |  | 218.00 | 13516.00 | 50.00 | 3100.00 | 50.00 | 3100.00 | 3100.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
16.06 | Providing and fixing soil, waste and vent pipes upvc rigid pvc pipe including fittings (coupler,elbow,bend,tee etc), and testing of joints all complete as per direction of Engineer in Charge : single socket 110 mm pipe | 45.00 | Meter |  | 545.00 | 24525.00 | 120.00 | 5400.00 | 120.00 | 5400.00 | 5400.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
16.07 | Providing and fixing soil, waste and vent pipes upvc rigid pvc pipe including fittings (coupler,elbow,bend,tee etc), and testing of joints all complete as per direction of Engineer in Charge : single socket 75 mm pipe | 60.00 | Meter |  | 436.00 | 26160.00 | 100.00 | 6000.00 | 150.00 | 9000.00 | 6000.00 | D B Infratech
16.08 | Providing and fixing soil, waste and vent pipes upvc rigid pvc pipe including fittings (coupler,elbow,bend,tee etc), and testing of joints all complete as per direction of Engineer in Charge : single socket 50 mm pipe | 35.00 | Meter |  | 380.00 | 13300.00 | 80.00 | 2800.00 | 100.00 | 3500.00 | 2800.00 | D B Infratech
16.09 | Providing and fixing soil, waste and vent pipes upvc rigid pvc pipe including fittings (coupler,elbow,bend,tee etc), and testing of joints all complete as per direction of Engineer in Charge - single socket 160 mm pipe | 70.00 | Meter |  | 872.00 | 61040.00 | 180.00 | 12600.00 | 220.00 | 15400.00 | 12600.00 | D B Infratech
16.10 | Providing and fixing PVC floor trap of self cleansing design incuding cost of cutting and making good the wall and floors complete as per direction of Engineer in Charge. - 100 mm inlet and 100 mm outlet | 6.00 | Each |  | 272.00 | 1632.00 | 430.00 | 2580.00 | 500.00 | 3000.00 | 1632.00 | J K BUILDERS
16.11 | Providing and fixing PVC Nanhi trap all complete complete as per direction & satisfaction of Engineer-in-charge. : 75mm size | 19.00 | Each |  | 165.00 | 3135.00 | 450.00 | 8550.00 | 450.00 | 8550.00 | 3135.00 | J K BUILDERS
16.12 | Providing and fixing white colour wash basin including making all connections per direction/ satisfaction of Engineer in charge: Under counter basin rectangular size(mm) 785x370x205 of JAQUAR (Code CNS-WHT-701) or equivalent approved make. | 11.00 | Each |  | 3820.00 | 42020.00 | 3000.00 | 33000.00 | 2800.00 | 30800.00 | 30800.00 | LANDMARK CORPORATION PVT. LTD.
16.13 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge : Pillar Cock Auto Closing System of JAQUAR (Code PRS-CHR-031) or equivalent approved make for wash basin. | 9.00 | Each |  | 2725.00 | 24525.00 | 3000.00 | 27000.00 | 3200.00 | 28800.00 | 24525.00 | J K BUILDERS
16.14 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge : Aquisense Sensor Faucet for Wash Basin With Base Flange of Jaquar make of code SNR-CHR-51027 or equivalent approved make. | 2.00 | Each |  | 17440.00 | 34880.00 | 10000.00 | 20000.00 | 12000.00 | 24000.00 | 20000.00 | D B Infratech
16.15 | Providing and fixing water closet complete as per direction/ satisfaction of Engineer in charge : Wall hung EWC with UF soft close slim seat cover & Hinges, Accessories Set etc of JAQUAR (code- ARS-WHT-39951UFSM) in white shade of size 360 x 580 x 360 mm or equivalent approved make. | 7.00 | Each |  | 21800.00 | 152600.00 | 14500.00 | 101500.00 | 15000.00 | 105000.00 | 101500.00 | D B Infratech
16.16 | Providing and fixing ceramic urinal Size 385 x 325 x 635 mm with urinal fixing accessories set in white shade completed as per direction of Engineer-in-charge : JAQUAR (CODE URS-WHT-13253N) or equivalent approved make. | 8.00 | Each |  | 10900.00 | 87200.00 | 6500.00 | 52000.00 | 6500.00 | 52000.00 | 52000.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
16.17 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge: Liquid Soap Dispenser with Glass Bottle of JAQUAR (Code ACN-1135N) or equivalent approved make. | 11.00 | Each |  | 1962.00 | 21582.00 | 500.00 | 5500.00 | 500.00 | 5500.00 | 5500.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
16.18 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge: Bottle Trap (with internal partition) 32mm Size with 250mm & 190mm Long Wall Connection Pipes & wall flange of JAQUAR (Code ALD-CHR-769L250X190) or equivalent approved make. | 17.00 | Each |  | 2400.00 | 40800.00 | 350.00 | 5950.00 | 350.00 | 5950.00 | 5950.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
16.19 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge: Waste Coupling 32mm Size Full Thread of JAQUAR (Code ALD-CHR-705) or equivalent approved make. | 11.00 | Each |  | 655.00 | 7205.00 | 600.00 | 6600.00 | 600.00 | 6600.00 | 6600.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
16.20 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge : Angular Stop Cock with wall flange of JAQUAR (code FLR-CHR-5053N) or equivalent approved make. | 29.00 | Each |  | 1635.00 | 47415.00 | 510.00 | 14790.00 | 550.00 | 15950.00 | 14790.00 | D B Infratech
16.21 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge: Towel rail 600 mm long of JAQUAR (Code AQN-7711) for wash basin area or equivalent approved make. | 5.00 | Each |  | 2180.00 | 10900.00 | 1800.00 | 9000.00 | 1750.00 | 8750.00 | 8750.00 | LANDMARK CORPORATION PVT. LTD.
16.22 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge: 2 Way Bib Cock with Wall Flange of JAQUAR (code FLR-CHR-5041N) or equivalent approved make. | 9.00 | Each |  | 1745.00 | 15705.00 | 1900.00 | 17100.00 | 1850.00 | 16650.00 | 15705.00 | J K BUILDERS
16.23 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge : Hand Shower (Health faucet) with 1 metre long easy flex tube in chrome finish & wall hook with NRV( back flow preventer)of JAQUAR (Code ALD-CHR-579) or equivalent approved make. | 9.00 | Each |  | 1745.00 | 15705.00 | 1400.00 | 12600.00 | 1450.00 | 13050.00 | 12600.00 | D B Infratech
16.24 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge: Metropole Flush Valve Regular 40mm Size (Concealed Body) with Exposed Shut Off Provision & round flange of JAQUAR (Code FLV-CHR-1093N) or equivalent approved make. | 9.00 | Each |  | 4360.00 | 39240.00 | 850.00 | 7650.00 | 900.00 | 8100.00 | 7650.00 | D B Infratech
16.25 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge.Toilet Roll Holder with SS flap of JAQUAR (Code ACN-CHR-1153S) or equivalent approved make. | 7.00 | Each |  | 1635.00 | 11445.00 | 650.00 | 4550.00 | 800.00 | 5600.00 | 4550.00 | D B Infratech
16.26 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge: Auto closing concealed urinal flush valve with wall flange of JAQUAR (code PRS-CHR-073) or equivalent approved make. | 8.00 | Each |  | 2600.00 | 20800.00 | 4500.00 | 36000.00 | 5000.00 | 40000.00 | 20800.00 | J K BUILDERS
16.27 | Providing and fixing white Orissa pattern W.C. pan of size 580x440mm of CERA (Code-CALINA S3010101) with vario bend of CERA (Code-S9030101) or equivalent approved make. | 2.00 | Each |  | 2725.00 | 5450.00 | 4500.00 | 9000.00 | 5000.00 | 10000.00 | 5450.00 | J K BUILDERS
16.28 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge.Overhead Shower ø105mm Round Shape Multi Flow with Air Effect (ABS Body & Face Plate Chrome Plated) with Rubit Cleaning System of JAQUAR (Code-OHS-1719) or equivalent approved make. | 2.00 | Each |  | 4360.00 | 8720.00 | 3500.00 | 7000.00 | 6000.00 | 12000.00 | 7000.00 | D B Infratech
16.29 | Providing and fixing sanitary fittings complete in all respect as per direction/ satisfaction of Engineer in charge.Shower Arm Casted 190mm Long Light Body Round Shape for Wall Mounted Showers with Flange of JAQUAR (code SHA-477) or equivalent approved make. | 2.00 | Each |  | 872.00 | 1744.00 | 3500.00 | 7000.00 | 6000.00 | 12000.00 | 1744.00 | J K BUILDERS
16.30 | Providing and fixing SS Jali 150mm×150mm of approved make on existing floor trap complete as per direction/ satisfaction of Engineer in charge. | 19.00 | Each |  | 1308.00 | 24852.00 | 900.00 | 17100.00 | 1000.00 | 19000.00 | 17100.00 | D B Infratech
16.31 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): 5mm thick frosted glass (area of opening will be measured) | 12.00 | Sqm |  | 1635.00 | 19620.00 | 2000.00 | 24000.00 | 2400.00 | 28800.00 | 19620.00 | J K BUILDERS
16.32 | Providing and fixing Modular toilet cubicles of Titan SS Series of Merino Besco or Equivqlent consisting of high pressure 12 mm thick compact laminate board as per IS 2046 and as per fire retardant BS - 476/97 standards with phenolic core panels for partitions of intermediate divider, doors and pilasters. The cubicle shall have dimensions of 1550mm length X 900mm width X 2100mm Height with on door size of minimum SS head rail on top of panels and panels shall be fixed on the floor with a clearance of maximum 150mm using stainless steel satin finish adjustable legs screwed to the floor included (standard-Merino make Stainless Steel 304 grade accessories )stainless steel (SS) lock set, SS door knob, SS gravity self closing hinge, SS coat hook with door stopper, SS U channel, SS F channel (only corner unit) SS head rail, SS adjustable foot, SS tabular holder, SS head rail wall bracket, SS head rail corner connection and SS noise reducing tape, SS screws etc. as per direction of Engineer in Charge.Payment shall be made when each cubicle is complete in all aspects of specified dimension and its all fittings as per the specification are completed. | 6.00 | Each |  | 54500.00 | 327000.00 | 18500.00 | 111000.00 | 20000.00 | 120000.00 | 111000.00 | D B Infratech
16.33 | Providing and fixing Modesty Panel System for Urinal Partitions of Merino Besco or Equivqlent consisting of high pressure 12 mm thick compact laminate board as per IS 2046 and as per fire retardant BS - 476/97 standards with phenolic core panels for partitions of intermediate divider of required colour and shade. The Partition shall have dimensions of 500mm width X 1200mm height with stainless steel (SS) 304Grade accessories such as right angle brackets SS Screws and PVC Wall Plugs etc. complete as per direction of Engineer in Charge. The area for purpose of payment shall be calculated as full width and height and no deductions shall be made for any design chamfers. | 8.00 | Each |  | 5450.00 | 43600.00 | 3000.00 | 24000.00 | 3200.00 | 25600.00 | 24000.00 | D B Infratech
16.34 | Providing and fixing 6 mm thick beveled edge mirror of superior glass (of approved quality) and of required dimension fixed on wall by means of SS Stud etc. complete as per direction / satisfaction of Engineer. | 15.00 | Sqm |  | 2725.00 | 40875.00 | 2000.00 | 30000.00 | 1800.00 | 27000.00 | 27000.00 | LANDMARK CORPORATION PVT. LTD.
16.35 | Providing and fixing brass gate valve (Flanged Type) ISI of zoloto or equivalent approved make complete as per direction of Engineer in charge. : 32mm nominal bore | 8.00 | Each |  | 1308.00 | 10464.00 | 750.00 | 6000.00 | 700.00 | 5600.00 | 5600.00 | LANDMARK CORPORATION PVT. LTD.
16.36 | Providing and fixing brass gate valve (Flanged Type) ISI of zoloto or equivalent approved make complete as per direction of Engineer in charge. : 50 mm nominal bore | 4.00 | Each |  | 2725.00 | 10900.00 | 1000.00 | 4000.00 | 1500.00 | 6000.00 | 4000.00 | D B Infratech
16.37 | Lettering with polyvinyl computer cut lettering on information/ notice board made of acrylic sheet/ACP etc. complete as per direction/ satisfaction of Engineer. | 3.00 | Sqm |  | 2180.00 | 6540.00 | 5500.00 | 16500.00 | 6000.00 | 18000.00 | 6540.00 | J K BUILDERS
16.38 | Providing and Fixing 3mm thick aluminium composite pannel to be used as background of sign/ informatory board etc. complete as per direction/ satisfaction of Engineer. | 3.00 | Sqm |  | 1310.00 | 3930.00 | 5500.00 | 16500.00 | 6000.00 | 18000.00 | 3930.00 | J K BUILDERS
16.39 | Providing and fixing 25 mm thick kota stone of required size at all height and level wherever required including making chases in wall not less than 75 mm deep with cement mortar of 1:3 (1 cement : 3 coarse sand) for fixing etc. complete as per the direction of Engineer-in-charge. | 10.00 | Sqm |  | 1365.00 | 13650.00 | 2200.00 | 22000.00 | 2500.00 | 25000.00 | 13650.00 | J K BUILDERS
16.40 | Providing and fixing Kich PHC2518 450 mm or equivalent approved make, satin finish pull handles, with necessary screws etc. all complete as per the direction of EIC. | 16.00 | Each |  | 3810.00 | 60960.00 | 450.00 | 7200.00 | 500.00 | 8000.00 | 7200.00 | D B Infratech
16.41 | Providing and fixing Kich DLG511 or equivalent approved make, satin finish glass door lock, all complete as per the direction of EIC. | 4.00 | Each |  | 5450.00 | 21800.00 | 4000.00 | 16000.00 | 4500.00 | 18000.00 | 16000.00 | D B Infratech
16.42 | Providing and fixing Stainless Steel SS 316 Tactile Warning Indicators (Studs) of dimension 35mm x 25mm x 4.5mm Stem: 6mm x 12mm Surface Design: Skid proof Circle. The layout shall be got approved by the Engineer-In-Charge before execution. The tactile warning stud shall be fixed in 6mm dia & 12-15 mm deep hole in granite flooring/tile flooring with epoxy glue all complete as per direction of Engineer-In-Charge. (Rate is inclusive of drilling, cleaning and applying epoxy glue in the hole for fixing stud). | 300.00 | Each |  | 66.00 | 19800.00 | 320.00 | 96000.00 | 350.00 | 105000.00 | 19800.00 | J K BUILDERS
16.43 | Providing and fixing Stainless Steel SS 316 Tactile Directional Strip of dimension 280mm x 35mm x 5mm Stem: 6mm x 12mm Surface Design: Skid proof Diamond. The layout shall be got approved by the Engineer-In-Charge before execution. The tactile Directional Strip shall be fixed in 6mm dia & 12-15 mm deep hole in granite flooring/tile flooring with epoxy glue all complete as per direction of Engineer-In-Charge. (Rate is inclusive of drilling, cleaning and applying epoxy glue in the hole for fixing strip). | 630.00 | Each |  | 164.00 | 103320.00 | 55.00 | 34650.00 | 60.00 | 37800.00 | 34650.00 | D B Infratech
16.44 | Preparation and submission of detailed steel structural design/RCC design and drawings for Roof truss, RCC slab etc. including additional MS/RCC columns, footings etc. if required any etc. for architectural plan of Existing Terminal Building given by AAI. The consultant must have rendered similar structural consultancy works directly to Central Govt State/Govt PSUs/Reputed firms ( in case of experience with Private firms,TDS certificate from the client shall be submitted). The structural drawings and designs as submitted by the consultant shall be got vetted /approved by any of the IITS/NITS and the fee for the same shall be borne by the contractor. The contractor /consultant shall intimate AAI the details of IITS/ NIT's from where structural designs and drawings will be vetted/approved. The consultant & Contractor shall coordinate for the time schedule to be taken by IIT/NIT so as to ensure adherence off overall time of submission of the above by the Consultant & Contractor to meet the overall project completion time. No addiitional time period or any cost shall be allowed to the contractor for designing preparation of drawings/ vetting of design and drawings from IIT/NIT etc. Major Engineering decision and specification shall be reviewed by AAI to the extent desired if required. Approval of any design/system by IIT/ NIT or AAI shall however, not relieve the consultant & contractor in discharging their responsibilities regarding the adequacy of design and proper execution of the work. The consultant shall be fully responsible for adequacy, accuracy and quality of the structural design, safety of the structure. The services rendered by the consultant shall be in accordance with the acceptable standards of safety, environment and public health. The item includes the preparation and submission of Steel Structural/RCC design drawings of Existing Terminal Building (Deck slab & extension of slab at air side & city side) including additional MS columns/RCC columns with additional footing design if required along with existing columns strengthing for proposed slab load if required any etc. drawings as per the relevant IS codes, building codes and sound Engineering practices in accordance with the architectural/conceptual drawings.The contractor shall submit atleast six sets of "Good for construction" drawings or revisions there of. | 1.00 | JOB |  | 550000.00 | 550000.00 | 1100000.00 | 1100000.00 | 900000.00 | 900000.00 | 550000.00 | J K BUILDERS
17.00 | Internal Electrifications works, including Panel/ LED light etc.
17.01 | Supply of 36 (± 10%) Watt LED fitting, recessed type (2 feet X 2 feet), natural white fixture having white powder coated Backlit Downlight with CRCA heat sink/housing & the minimum system Lumen output of 3600 lumens, seamless front frame with flat white high transmission acrylic cover including internal wiring etc. complete with all accessories as required at site. | 530.00 | each |  | 2565.00 | 1359450.00 | 1300.00 | 689000.00 | 1400.00 | 742000.00 | 689000.00 | D B Infratech
17.02 | Supply of 120W LED flood light fitting having minimum system lumen output of 13200 lumens, high efficacy and low power consumption LED type flood Light and housing should be high pressure die cast aluminum/ standard alloy for out door application with toughened glass, 120 degree beam angle, to 6500K ±300 K. etc. complete as required. | 20.00 | each |  | 7500.00 | 150000.00 | 1750.00 | 35000.00 | 1800.00 | 36000.00 | 35000.00 | D B Infratech
17.03 | Supply, Installation, Testing & Commissioning of Hand Dryer with SS304 grade Steel construction suitable for 230V, AC supply, brushless DC motor with auto cutoff within 30sec, noise level not more than 70 dB alongwith Heater element, IPX4 protection, inbuilt HEPA filter complete as required. | 12.00 | each |  | 19000.00 | 228000.00 | 15000.00 | 180000.00 | 16500.00 | 198000.00 | 180000.00 | D B Infratech
17.04 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB’s (but without MCB’s and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) 4 way (4 + 12), Double door | 12.00 | each |  | 14700.00 | 176400.00 | 3000.00 | 36000.00 | 3200.00 | 38400.00 | 36000.00 | D B Infratech
17.05 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB’s (but without MCB’s and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) 8 way (4 + 24), Double door | 9.00 | each |  | 16700.00 | 150300.00 | 4250.00 | 38250.00 | 4500.00 | 40500.00 | 38250.00 | D B Infratech
17.06 | Supplying and fixing Cable End Box (Loose wire box)(IP 43) suitable for following triple pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with testing and commissioning etc. as required. For 4 way, Double door TPN MCBDB | 12.00 | each |  | 14200.00 | 170400.00 | 800.00 | 9600.00 | 900.00 | 10800.00 | 9600.00 | D B Infratech
17.07 | Supplying and fixing Cable End Box (Loose wire box)(IP 43) suitable for following triple pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with testing and commissioning etc. as required. For 8 way, Double door TPN MCBDB | 9.00 | each |  | 16350.00 | 147150.00 | 1400.00 | 12600.00 | 1500.00 | 13500.00 | 12600.00 | D B Infratech
17.08 | Supplying and fixing 8 way, Double door, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 3.00 | each |  | 16350.00 | 49050.00 | 2400.00 | 7200.00 | 2500.00 | 7500.00 | 7200.00 | D B Infratech
17.09 | Supplying and fixing 5 amps to 32 amps rating, 240 volts, 10 kA, “C” curve,miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single Pole | 400.00 | each |  | 624.00 | 249600.00 | 210.00 | 84000.00 | 220.00 | 88000.00 | 84000.00 | D B Infratech
17.10 | Supplying and fixing 5 amps to 32 amps rating, 240 volts, 10 kA, “C” curve,miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double Pole | 3.00 | each |  | 1035.00 | 3105.00 | 500.00 | 1500.00 | 500.00 | 1500.00 | 1500.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
17.11 | Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40 Amps, Four Pole, 10 KA, isolator | 12.00 | each |  | 3925.00 | 47100.00 | 600.00 | 7200.00 | 550.00 | 6600.00 | 6600.00 | LANDMARK CORPORATION PVT. LTD.
17.12 | Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 Amps, Four Pole, 10 KA, isolator | 9.00 | each |  | 9265.00 | 83385.00 | 825.00 | 7425.00 | 850.00 | 7650.00 | 7425.00 | D B Infratech
17.13 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 108.00 | each |  | 122.00 | 13176.00 | 6.00 | 648.00 | 8.00 | 864.00 | 648.00 | D B Infratech
17.14 | Wiring for Group 'C' light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. | 150.00 | point |  | 1580.00 | 237000.00 | 900.00 | 135000.00 | 1000.00 | 150000.00 | 135000.00 | D B Infratech
17.15 | Wiring for group 'C' controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. | 450.00 | point |  | 1580.00 | 711000.00 | 850.00 | 382500.00 | 1000.00 | 450000.00 | 382500.00 | D B Infratech
17.16 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 288.00 | mtr |  | 311.00 | 89568.00 | 600.00 | 172800.00 | 700.00 | 201600.00 | 89568.00 | J K BUILDERS
17.17 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch type, connection etc. as required. | 50.00 | each |  | 750.00 | 37500.00 | 400.00 | 20000.00 | 600.00 | 30000.00 | 20000.00 | D B Infratech
17.18 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch type, connection etc. as required. | 35.00 | each |  | 1360.00 | 47600.00 | 600.00 | 21000.00 | 800.00 | 28000.00 | 21000.00 | D B Infratech
17.19 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. 6 Module (200mmX75mm) | 2.00 | each |  | 710.00 | 1420.00 | 650.00 | 1300.00 | 700.00 | 1400.00 | 1300.00 | D B Infratech
17.20 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. 12 Module (200mmX150mm) | 4.00 | each |  | 763.00 | 3052.00 | 1200.00 | 4800.00 | 1500.00 | 6000.00 | 3052.00 | J K BUILDERS
17.21 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 amps switch | 44.00 | each |  | 102.00 | 4488.00 | 640.00 | 28160.00 | 650.00 | 28600.00 | 4488.00 | J K BUILDERS
17.22 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 amp socket outlet | 4.00 | each |  | 148.00 | 592.00 | 470.00 | 1880.00 | 450.00 | 1800.00 | 592.00 | J K BUILDERS
17.23 | Supply and fixing of 1 IN + 1 OUT wire connector suitable for 220 V AC, upto 4 sq.mm multi stranded wires/ conductor. | 500.00 | each |  | 38.00 | 19000.00 | 15.00 | 7500.00 | 15.00 | 7500.00 | 7500.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
17.24 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 10.00 | each |  | 1072.00 | 10720.00 | 300.00 | 3000.00 | 300.00 | 3000.00 | 3000.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
17.25 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 30.00 | each |  | 61.00 | 1830.00 | 50.00 | 1500.00 | 55.00 | 1650.00 | 1500.00 | D B Infratech
17.26 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. 25 mm | 250.00 | mtr |  | 138.00 | 34500.00 | 100.00 | 25000.00 | 105.00 | 26250.00 | 25000.00 | D B Infratech
17.27 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. 40 mm | 50.00 | mtr |  | 210.00 | 10500.00 | 200.00 | 10000.00 | 220.00 | 11000.00 | 10000.00 | D B Infratech
17.28 | Supply of following sizes of 1.1 KV grade multicore XLPE insulated PVC sheathed armoured aluminium cable (as per IS : 7098:1988 with upto date amendments) complete as requried as per specifications. 4C x 10 sq mm | 550.00 | mtr |  | 315.00 | 173250.00 | 200.00 | 110000.00 | 220.00 | 121000.00 | 110000.00 | D B Infratech
17.29 | Supply of following sizes of 1.1 KV grade multicore XLPE insulated PVC sheathed armoured aluminium cable (as per IS : 7098:1988 with upto date amendments) complete as requried as per specifications. 4C x 16 sq mm | 250.00 | mtr |  | 400.00 | 100000.00 | 250.00 | 62500.00 | 250.00 | 62500.00 | 62500.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
17.30 | Supply of following sizes of 1.1 KV grade multicore XLPE insulated PVC sheathed armoured aluminium cable (as per IS : 7098:1988 with upto date amendments) complete as requried as per specifications. 3.5 C x 50 sq mm | 1000.00 | mtr |  | 475.00 | 475000.00 | 350.00 | 350000.00 | 350.00 | 350000.00 | 350000.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
17.31 | Supply of following sizes of 1.1 KV grade multicore XLPE insulated PVC sheathed armoured aluminium cable (as per IS : 7098:1988 with upto date amendments) complete as requried as per specifications. 3.5 C x 150 sq mm | 240.00 | mtr |  | 700.00 | 168000.00 | 750.00 | 180000.00 | 750.00 | 180000.00 | 168000.00 | J K BUILDERS
17.32 | Supply of following sizes of 1.1 KV grade PVC insulated unsheathed multistrand flexible copper wire (as per IS : 694:2010 with upto date amendments) complete as requried as per specifications. 2.5 sq.mm | 300.00 | mtr |  | 46.00 | 13800.00 | 30.00 | 9000.00 | 50.00 | 15000.00 | 9000.00 | D B Infratech
17.33 | Supply of following sizes of 1.1 KV grade PVC insulated unsheathed multistrand flexible copper wire (as per IS : 694:2010 with upto date amendments) complete as requried as per specifications. 4 sq.mm | 200.00 | mtr |  | 88.00 | 17600.00 | 50.00 | 10000.00 | 60.00 | 12000.00 | 10000.00 | D B Infratech
17.34 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4C x 10 sq mm | 24.00 | set |  | 1580.00 | 37920.00 | 500.00 | 12000.00 | 550.00 | 13200.00 | 12000.00 | D B Infratech
17.35 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4C x 16 sq mm | 24.00 | set |  | 1580.00 | 37920.00 | 550.00 | 13200.00 | 600.00 | 14400.00 | 13200.00 | D B Infratech
17.36 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C x 50 sq.mm | 16.00 | set |  | 2180.00 | 34880.00 | 600.00 | 9600.00 | 550.00 | 8800.00 | 8800.00 | LANDMARK CORPORATION PVT. LTD.
17.37 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C x 150 sq.mm | 2.00 | set |  | 3000.00 | 6000.00 | 570.00 | 1140.00 | 600.00 | 1200.00 | 1140.00 | D B Infratech
17.38 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 400.00 | mtr |  | 52.00 | 20800.00 | 120.00 | 48000.00 | 125.00 | 50000.00 | 20800.00 | J K BUILDERS
17.39 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 600.00 | mtr |  | 71.00 | 42600.00 | 180.00 | 108000.00 | 200.00 | 120000.00 | 42600.00 | J K BUILDERS
17.40 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 25.00 | mtr |  | 92.00 | 2300.00 | 250.00 | 6250.00 | 270.00 | 6750.00 | 2300.00 | J K BUILDERS
17.41 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 250.00 | mtr |  | 52.00 | 13000.00 | 50.00 | 12500.00 | 50.00 | 12500.00 | 12500.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
17.42 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 400.00 | mtr |  | 71.00 | 28400.00 | 60.00 | 24000.00 | 100.00 | 40000.00 | 24000.00 | D B Infratech
17.43 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 30.00 | mtr |  | 93.00 | 2790.00 | 100.00 | 3000.00 | 120.00 | 3600.00 | 2790.00 | J K BUILDERS
17.44 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of above 95 sq. mm and upto 185 sq. mm in the existing masonry open duct as required. | 90.00 | mtr |  | 93.00 | 8370.00 | 150.00 | 13500.00 | 145.00 | 13050.00 | 8370.00 | J K BUILDERS
17.45 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of above 120 sq. mm and upto 400 sq. mm in the existing RCC/ HUME/ METAL pipe as required. | 60.00 | mtr |  | 158.00 | 9480.00 | 160.00 | 9600.00 | 200.00 | 12000.00 | 9480.00 | J K BUILDERS
17.46 | Supplying and installing following size of perforated painted with powder coating M.S. cable trays with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. 150 mm width X 50 mm depth X 1.6 mm thickness | 240.00 | mtr |  | 1400.00 | 336000.00 | 600.00 | 144000.00 | 750.00 | 180000.00 | 144000.00 | D B Infratech
17.47 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 550.00 | each |  | 190.00 | 104500.00 | 350.00 | 192500.00 | 600.00 | 330000.00 | 104500.00 | J K BUILDERS
17.48 | Supply, installation, testing and commissioning of 100 A, 4 pole MCCB along with metal enclosure box suitable for MCCB, with cutouts for cable entry and exit, terminals for cable termination, neutral link etc. including all accessories complete as required. | 8.00 | each |  | 21255.00 | 170040.00 | 2000.00 | 16000.00 | 4000.00 | 32000.00 | 16000.00 | D B Infratech
17.49 | Providing and fixing of 32 Amp Industrial plug and socket alongwith 'C' curve DP MCB etc. including all accessories as required. | 4.00 | each |  | 7100.00 | 28400.00 | 1000.00 | 4000.00 | 1500.00 | 6000.00 | 4000.00 | D B Infratech
17.50 | Supply, installation, testing and commissioning of stainless steel aircurtain of length 1200mm made up of stainless steel 304 Grade having 4 Blowers, 2 Motors operating on single phase AC, Power =560 Watt having CFM of 1100 with Noise level not more than 50 - 70 db, suitable for door height of 11 feet. Air Curtain should be provided with velocity control switch and a Door sensor, etc complete in all aspect as per instruction of Engineer incharge. | 8.00 | each |  | 135700.00 | 1085600.00 | 20000.00 | 160000.00 | 22000.00 | 176000.00 | 160000.00 | D B Infratech
18.00 | Modification in hydrant and sprinkler system and Fire alarm Systems
18.01 | Supplying, installation, testing & commissioning of addressable multi criteria type smoke detector with builtin LED and mounting base complete with all connections etc. as required. | 124.00 | each |  | 6000.00 | 744000.00 | 2700.00 | 334800.00 | 2600.00 | 322400.00 | 322400.00 | LANDMARK CORPORATION PVT. LTD.
18.02 | Supplying, installation, testing & commissioning of addressable manual call point complete as required. | 4.00 | each |  | 8500.00 | 34000.00 | 3700.00 | 14800.00 | 4000.00 | 16000.00 | 14800.00 | D B Infratech
18.03 | Supplying, installation, testing & commissioning response indicator on surface/ recess MS box having two LEDs metallic cover complete with all connections etc. as required. | 6.00 | each |  | 11445.00 | 68670.00 | 200.00 | 1200.00 | 250.00 | 1500.00 | 1200.00 | D B Infratech
18.04 | Supplying, installation, testing & commissioning of fault isolator complete with base as required. | 9.00 | each |  | 19000.00 | 171000.00 | 4000.00 | 36000.00 | 5000.00 | 45000.00 | 36000.00 | D B Infratech
18.05 | Supplying and laying of 2x1.5 sq.mm Copper conductor armoured cable, Fire Retardant PVC insulated in the existing surface / steel conduit /pipe etc. including connections and interconnections etc. as required | 1366.00 | mtr |  | 180.00 | 245880.00 | 125.00 | 170750.00 | 150.00 | 204900.00 | 170750.00 | D B Infratech
18.06 | Dismantling of existing intelligent addressable programmable sounder and reinstallation, testing & recommisssioning complete at different location etc. as required as per direction of Engineer-Incharge | 7.00 | each |  | 10355.00 | 72485.00 | 4000.00 | 28000.00 | 5000.00 | 35000.00 | 28000.00 | D B Infratech
18.07 | Re-addressing, re-programming, re-commissioning of existing smoke detector in fire alarm control panel etc. as required. | 28.00 | each |  | 2000.00 | 56000.00 | 600.00 | 16800.00 | 800.00 | 22400.00 | 16800.00 | D B Infratech
18.08 | Supplying, installation, testing & Commissioning sector panel made of 1.2mm mild steel powder coated enclosure with 3 mm Acrylic plastic sheet suitable for upto 40 zones complete with visual indications for short circuit fault, open circuit fault, fire condition and all other standarad facilities as per IS :2189 with mimic diagram for all area/ zone covered, complete with all connections, interconections as required. | 1.00 | Job |  | 381500.00 | 381500.00 | 35000.00 | 35000.00 | 40000.00 | 40000.00 | 35000.00 | D B Infratech
18.09 | SITC of 150 MM dia alarm valve with all necessary fittings etc. complete all as required | 1.00 | each |  | 13100.00 | 13100.00 | 35000.00 | 35000.00 | 40000.00 | 40000.00 | 13100.00 | J K BUILDERS
18.10 | SITC of 150 MM dia sluice valve/ gate valve with all necessary fittings. | 2.00 | each |  | 13600.00 | 27200.00 | 15000.00 | 30000.00 | 20000.00 | 40000.00 | 27200.00 | J K BUILDERS
18.11 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589/ IS 1239 including welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ ceiling with painting with two or more coats of synthetic enamel paint of required shade complete as required :
18.12 | 25 mm dia | 100.00 | mtr |  | 360.00 | 36000.00 | 500.00 | 50000.00 | 600.00 | 60000.00 | 36000.00 | J K BUILDERS
18.13 | 50 mm dia | 92.00 | mtr |  | 490.00 | 45080.00 | 800.00 | 73600.00 | 750.00 | 69000.00 | 45080.00 | J K BUILDERS
18.14 | 80 mm dia | 174.00 | mtr |  | 654.00 | 113796.00 | 1250.00 | 217500.00 | 1500.00 | 261000.00 | 113796.00 | J K BUILDERS
18.15 | 100 mm dia | 96.00 | mtr |  | 820.00 | 78720.00 | 1650.00 | 158400.00 | 1700.00 | 163200.00 | 78720.00 | J K BUILDERS
18.16 | 150 mm dia | 130.00 | mtr |  | 1635.00 | 212550.00 | 2200.00 | 286000.00 | 2500.00 | 325000.00 | 212550.00 | J K BUILDERS
18.17 | 200 mm dia | 40.00 | mtr |  | 2670.00 | 106800.00 | 3000.00 | 120000.00 | 3000.00 | 120000.00 | 106800.00 | J K BUILDERS
18.18 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe In ground 150 mm dia | 130.00 | mtr |  | 1417.00 | 184210.00 | 3300.00 | 429000.00 | 3500.00 | 455000.00 | 184210.00 | J K BUILDERS
18.19 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe In ground 200 mm dia | 40.00 | mtr |  | 3270.00 | 130800.00 | 3800.00 | 152000.00 | 4000.00 | 160000.00 | 130800.00 | J K BUILDERS
18.20 | Supplying and wrapping & coating material for underground MS pipe as per IS10221 etc complete as required | 80.00 | sq.mtr |  | 3815.00 | 305200.00 | 200.00 | 16000.00 | 150.00 | 12000.00 | 12000.00 | LANDMARK CORPORATION PVT. LTD.
18.21 | Supply and installation of structure steel (to support the MS pipe in ceiling/ ground etc.) | 2000.00 | kg |  | 106.00 | 212000.00 | 110.00 | 220000.00 | 100.00 | 200000.00 | 200000.00 | LANDMARK CORPORATION PVT. LTD.
18.22 | Providing, fixing, testing & commissioning of sprinkler head of pendant & rosette adjustable type with quartzond bulb operating tempartaure 79 deg. C as per specifications | 110.00 | each |  | 1035.00 | 113850.00 | 450.00 | 49500.00 | 420.00 | 46200.00 | 46200.00 | LANDMARK CORPORATION PVT. LTD.
19.00 | SITC of illuminated signages at various locations in terminal building
19.01 | Design, supply, installation, testing & commissioning of wall/celling mounted internally illuminated pictographs.The signage board shall be fabricated board by making “C” shaped 3 mm thick Aluminum profile sign board with inbuilt light proof ventilating system.. The signage panel shall be fabricated from 2 mm aluminum sheet of approved make and shade having laser cut logo/ lettering in local language, Hindi & English. 3mm Poly carbonate sheet shall fixed at inner side of the panel sheet board so as the lettering will glow white as per the design approved by the Engineer-In-charge. Boards shall be designed, fabricated and installed as per the detailedspecification. The signage shall have system for easygraphic changes and easy access for maintenance. The illumination source shall be of LED’s (2400 lumens/SQMT) as light source with individual currentregulator for every signage complete with all internalwiring, connectors etc. of minimum 5 years guarantee. The signboard can be either suspended from ceiling /wall mounted with necessary Aluminum powder coated pipe of 38 X 2mm pipe on the top or side forfixing the same on the desired location as per conditions including wiring up to 5 meters in casing, capping, as required The entire signage shall be powder coated in required shade as per direction of EIC.
19.02 | Single Side - 1700 X 400 X 75 mm deep | 7.00 | each |  | 43600.00 | 305200.00 | 6200.00 | 43400.00 | 6500.00 | 45500.00 | 43400.00 | D B Infratech
19.03 | Single Sided – 400 X 400 X 75 mm deep | 12.00 | each |  | 10900.00 | 130800.00 | 1400.00 | 16800.00 | 1800.00 | 21600.00 | 16800.00 | D B Infratech
19.04 | Double Sided – 1700 X 400 X 75 mm deep | 12.00 | each |  | 54500.00 | 654000.00 | 6800.00 | 81600.00 | 7000.00 | 84000.00 | 81600.00 | D B Infratech
19.05 | Design, supply, installation, testing & commissioning of floor mounted internally illuminated sign board to be fabricated from 2 mm aluminum sheet of approved make and shade having laser cut logo/ lettering in local language, Hindi & English. 3mm Poly carbonate sheet shall fixed at inner side of the panel sheet board so as the lettering will glow white as per the design approved by the Engineer-In-charge. The board shall be mounted on “C” shaped 3 mm thick Aluminum profile duly fixed to ground with 10 mm thick plate of suitable size. Boards shall be designed, fabricated and installed as per the detailed specification and The signage shall have system for easy graphic changes and easy access for maintenance. The illumination source shall be of LED’s as light source with individual current regulator for every signage complete with all internal wiring, connectors etc. At lower portion Stainless steel cladding 1.5 mm thick shall be provided with AAI logo as show in photograph. The entire signage shall be powder coated in required shade as per direction of EIC. 1800 X 1200 X 75 mm deep | 5.00 | each |  | 109000.00 | 545000.00 | 17500.00 | 87500.00 | 18000.00 | 90000.00 | 87500.00 | D B Infratech
19.06 | Modification in the letters, symbols etc. in the existing pictographs/facia signages/ floor mounted backlit/ facia boards which is to be fabricated using 2 mm aluminum sheet of approved make and shade having laser cut logo/ lettering in local language, Hindi & English. 3mm Poly carbonate sheet shall fixed at inner side of the panel sheet board so as the lettering will glow white as per the design approved by the Engineer-In-charge. | 15.00 | each |  | 32700.00 | 490500.00 | 4000.00 | 60000.00 | 4500.00 | 67500.00 | 60000.00 | D B Infratech
20.00 | Passenger facilitation - SITC of RO syatem, water cooler & water fountain etc.
20.01 | SITC of RO Plant of capacity of 500 L/hr as per technical specs of Electro Mechanical equipments complete as required | 1.00 | Job |  | 545000.00 | 545000.00 | 140000.00 | 140000.00 | 150000.00 | 150000.00 | 140000.00 | D B Infratech
20.02 | Dismantling the existing drinking water fountains, re-installation & recommissioning of the same at required location complete as required etc. as per the satisfaction of Engineer-In-Charge | 2.00 | Job |  | 54500.00 | 109000.00 | 40000.00 | 80000.00 | 45000.00 | 90000.00 | 80000.00 | D B Infratech
20.03 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS 15801, UV stabilized & anti - microbial fusion welded, having thermal stability for hot & cold water supply, including all PP - R plain & brass threaded polypropylene random fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes testing of joints complete as per direction of Engineerin-Charge. Internal Exposed on walls PN - 16 Pipe, 25mm OD (SDR-7.4) | 330.00 | mtr |  | 655.00 | 216150.00 | 100.00 | 33000.00 | 120.00 | 39600.00 | 33000.00 | D B Infratech
20.04 | Providing and fixing of PPR (Poly propylene Random copolymer) Union 25mm | 7.00 | each |  | 872.00 | 6104.00 | 60.00 | 420.00 | 100.00 | 700.00 | 420.00 | D B Infratech
20.05 | Providing and fixing gun metal gate valve with C.I. wheel of 25 mm nominal bore (screwed end) : | 8.00 | each |  | 2725.00 | 21800.00 | 1000.00 | 8000.00 | 800.00 | 6400.00 | 6400.00 | LANDMARK CORPORATION PVT. LTD.
20.06 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 1000.00 | Litre |  | 22.00 | 22000.00 | 18.00 | 18000.00 | 15.00 | 15000.00 | 15000.00 | LANDMARK CORPORATION PVT. LTD.
21.00 | VRV System
21.01 | Supply, Installation testing and commissionig of VRF/ VRF based Air conditioning system of not less than 28 HP capacity, variable refrigerant modular type, with scroll compressors /inverter type compressors using refrigerant type R410 A, The VRV/VRF Airconditioning system shall be from the approved make list of AAI. | 5.00 | each |  | 649095.00 | 3245475.00 | 1000000.00 | 5000000.00 | 1100000.00 | 5500000.00 | 3245475.00 | J K BUILDERS
21.02 | Supply, Installation, Testing and commissioning of Sectionalised, Horizontal Double Skin Air Handling Unit of following capacity, constructed of extruded aluminum hollow sections framework, preplasticised GS Sheet of 24G (outside) and 22G (inside) with 25 mm thick injected PUF insulation having thermal density 40 kg/cu.m, consisting of fan section with PLUG fan (Sparkproof) & FLP Motor suitable to operate with VFD, High Efficiency with suitable capacity motor. All internal corners to be with coving sections of extruded aluminium. Internal surface shall be smooth and shall be cleanable without any projection, suitable size filter section alongwith filter. Coil Section with 6 row 10-12 fpi DX Cooling Coil, insulated sandwich type drain tray. Coil Section with DX-VRF Type multiple rows deep & Multiple Distributer, Coil to be designed to withstand pressure of 40 bar (600 psi), Cooling coils shall be as per AHRIapproved selection. The filters shall be 90% efficiency 10 micron washable and confirming to IS standard. The AHU shall include double canvass connections, volume control damper at AHU outlet, access doors,maintenance lamp inside the fan section, etc. complete as required including drain pipe line with insulation upto the drain point. Tonnage 55TR, CFM 22500, Static pressure 55MM WG. | 2.00 | each |  | 1689500.00 | 3379000.00 | 230000.00 | 460000.00 | 300000.00 | 600000.00 | 460000.00 | D B Infratech
21.03 | Supply and fixing of controller module comprising of AHU kit and Wired remote for Indoor unit for the following units: 02 nos. AHU's | 4.00 | each |  | 60500.00 | 242000.00 | 125000.00 | 500000.00 | 130000.00 | 520000.00 | 242000.00 | J K BUILDERS
21.04 | Supply and installtion of copper piping ( including insulation as per VRV/VRF manufacturer recommendation) , along with GI cable tray with GI cover and required accessories, but excluding the distribution joints. The size of the piping shall be as per the manufacturer recommendation and as per the site requirement. | 50.00 | mtr |  | 3450.00 | 172500.00 | 2500.00 | 125000.00 | 3000.00 | 150000.00 | 125000.00 | D B Infratech
21.05 | Supply and fixing of distribution joint for copper piping as per the site requirement. | 6.00 | each |  | 5200.00 | 31200.00 | 1000.00 | 6000.00 | 1000.00 | 6000.00 | 6000.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
21.06 | Supply and installtion of 32 mm dia PVC drain piping for Indoor Units with proper Slope arrangement & duly insulated with Nitrile Insulation of required thickness upto nearest drain point etc. as required. | 20.00 | mtr |  | 430.00 | 8600.00 | 250.00 | 5000.00 | 200.00 | 4000.00 | 4000.00 | LANDMARK CORPORATION PVT. LTD.
21.07 | Supply and Installation of 2C x 0.75 sq.mm. shielded Communication Cabling between the indoor & outdoor unit in suitable PVC Conduit on surface or recess as per site requirement. | 100.00 | mtr |  | 125.00 | 12500.00 | 160.00 | 16000.00 | 150.00 | 15000.00 | 12500.00 | J K BUILDERS
21.08 | Charging of VRV/VRF system with refrigerant, including all associated works such as pressure testing, leak testing for the following units: Five outdoor units | 1.00 | Job |  | 98100.00 | 98100.00 | 400000.00 | 400000.00 | 420000.00 | 420000.00 | 98100.00 | J K BUILDERS
21.09 | Providing & fixing of outdoor Condensing Unit MS stand of adequate weight-bearing capacity, of minimum 200mm height from finished floor level, or higher as per site requirement, including rubber pad & galvanized MS plate for each leg as per site requirement. | 5.00 | Job |  | 7200.00 | 36000.00 | 14500.00 | 72500.00 | 15000.00 | 75000.00 | 36000.00 | J K BUILDERS
21.10 | Providing & fixing of GI, air-tight ducting & plenum fabricated out of prime quality GI sheet, of following sizes/thickness ,complete with necessary support, expansion fastener, scaffolding to hang the duct etc. 20 Gauge | 165.00 | sq.mtr |  | 1640.00 | 270600.00 | 750.00 | 123750.00 | 650.00 | 107250.00 | 107250.00 | LANDMARK CORPORATION PVT. LTD.
21.11 | Providing & fixing of GI, air-tight ducting & plenum fabricated out of prime quality GI sheet, of following sizes/thickness ,complete with necessary support, expansion fastener, scaffolding to hang the duct etc. 22 Gauge | 247.00 | sq.mtr |  | 1466.00 | 362102.00 | 580.00 | 143260.00 | 550.00 | 135850.00 | 135850.00 | LANDMARK CORPORATION PVT. LTD.
21.12 | Providing & fixing of GI, air-tight ducting & plenum fabricated out of prime quality GI sheet, of following sizes/thickness ,complete with necessary support, expansion fastener, scaffolding to hang the duct etc. 24 Gauge | 412.00 | sq.mtr |  | 1290.00 | 531480.00 | 500.00 | 206000.00 | 600.00 | 247200.00 | 206000.00 | D B Infratech
21.13 | Supply & Fixing of minimum 19 MM Thick closed-cell Elastomeric Class O Nitrile rubber insulation of not less than 40 kg/cum density including Pre-cleaning the duct surface before applying insulation, fixing the insulation material using manufacturer-recommended adhesive seal, making all joints air-tight etc. as required. As per site requirement for Supply air duct | 350.00 | sq.mtr |  | 1145.00 | 400750.00 | 200.00 | 70000.00 | 220.00 | 77000.00 | 70000.00 | D B Infratech
21.14 | Supply & Fixing of minimum 13 MM Thick closed-cell Elastomeric Class O Nitrile rubber insulation of not less than 40 kg/cum density including Pre-cleaning the duct surface before applying insulation, fixing the insulation material using manufacturer-recommended adhesive seal, making all joints air-tight etc. as required. As per site requirement for Supply air duct | 350.00 | sq.mtr |  | 954.00 | 333900.00 | 180.00 | 63000.00 | 200.00 | 70000.00 | 63000.00 | D B Infratech
21.15 | Supply & Fixing of acoustic Insulation Of Duct of 25MM thick Fiberglass of density 48 Kg/ Cu. M. & covered with RP Tissue & 28 G Perforated Aluminum sheet from inside of the duct, as required. | 220.00 | sq.mtr |  | 681.00 | 149820.00 | 700.00 | 154000.00 | 750.00 | 165000.00 | 149820.00 | J K BUILDERS
21.16 | Supply & Fixing of Powder coated, extruded Aluminium Supply air/Retun air Grill/Diffuser as per the manufacturer's standard & technical specification | 8.50 | sq.mtr |  | 7624.00 | 64804.00 | 5000.00 | 42500.00 | 6000.00 | 51000.00 | 42500.00 | D B Infratech
21.17 | Supply & Fixing of MS Volume Control Damper ( VCD) for supply air grill / diffuser as per the site requirement | 8.50 | sq.mtr |  | 5286.00 | 44931.00 | 5200.00 | 44200.00 | 5500.00 | 46750.00 | 44200.00 | D B Infratech
21.18 | Supply & Fixing of volume control duct Damper made from GI sheet as per the duct size and as per the site requirement. | 4.00 | sq.mtr |  | 6376.00 | 25504.00 | 5500.00 | 22000.00 | 5000.00 | 20000.00 | 20000.00 | LANDMARK CORPORATION PVT. LTD.
21.19 | Supply Installation, testing and Commissioning of wall / Floor mountable LT panel of polycarbonate material with IP54 rating with the following. a. Incomer 4 pole MCCB of 63 A, 36KA (icu = 100% ice) with microprocessor release. b.Three O/G of 32 A 4 pole MCCB with microprocessor release and 36 kA breaking capacity ( 2 Working +1 Spare). c.VFD of approved make. d.Start delta starter ( For operation on Bypass of VFD). e.Selector switches. f. LED Phase Indication lamps. g.Three Phase Digital Multi-function meter with suitable RS 485 port. h.Required CTs for protection and measurement. As per site requirement. | 2.00 | Job |  | 419650.00 | 839300.00 | 350000.00 | 700000.00 | 380000.00 | 760000.00 | 700000.00 | D B Infratech
21.20 | Providing & Fixing of motorized fire damper made out of G.I. sheet for return air duct as per specification complete with fusible link complete as required. | 5.00 | sq.mtr |  | 12262.00 | 61310.00 | 5550.00 | 27750.00 | 5550.00 | 27750.00 | 27750.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
21.21 | Dismantling of Existing VCD & Fire Damper in the existing Return Air Duct and deposit the same to AAI store etc. as required | 4.00 | Job |  | 16350.00 | 65400.00 | 8000.00 | 32000.00 | 8000.00 | 32000.00 | 32000.00 | D B Infratech, LANDMARK CORPORATION PVT. LTD.
21.22 | Supply and Fixing of 25 mm thick XPS insulation for providing under deck insulation in AHU room as per site requirement. | 30.00 | sq.mtr |  | 1450.00 | 43500.00 | 600.00 | 18000.00 | 620.00 | 18600.00 | 18000.00 | D B Infratech
21.23 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing asonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 2.00 | Set |  | 16350.00 | 32700.00 | 1800.00 | 3600.00 | 2000.00 | 4000.00 | 3600.00 | D B Infratech
21.24 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 30.00 | mtr |  | 190.00 | 5700.00 | 100.00 | 3000.00 | 120.00 | 3600.00 | 3000.00 | D B Infratech
| Total in Figures |  |  |  |  | 84167095.00 |  | 81564035.00 |  | 85417975.00
Lowest Amount Quoted BY: D B Infratech(81564035.00)

## BOQ Summary
BOQ Summary Details Tender Title: Reconfiguration of Existing Terminal Building at C.E. Bhuj Tender ID: 2023_AAI_175568_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | D B Infratech | 81564035.00 | L1
| 2 | J K BUILDERS | 84167095.00 | L2
| 3 | LANDMARK CORPORATION PVT. LTD. | 85417975.00 | L3