## BoQ1
Government eProcurement System Created By: UMESH CHAURASIA Created Date/Time: 01-Jan-2024 05:51 PM Tender Title: Construction of New DVOR Building at REWA Airport, REWA. SH. Electrical Works. Tender ID: 2023_AAI_175809_1
Tender Inviting Authority: SM(E-E), AAI, Rewa Airport, Rewa
Name of Work: Construction of New DVOR Building at REWA Airport, REWA. SH: Electrical Works.
Contract No: AAI/Rewa/ENGG(E)/NIT-01/2023-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | surbhi association(GSTN-23AGKPD2522N1ZK) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | Variant Infratech Private Limited(GSTN-NA) |  | Edge Telecom Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 35.00 | Point |  | 1500.00 | 52500.00 | 1200.00 | 42000.00 | 3030.00 | 106050.00 | 1500.00 | 52500.00 | 42000.00 | Manish Electricals
2.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 100.00 | Meter |  | 350.00 | 35000.00 | 300.00 | 30000.00 | 3030.00 | 303000.00 | 350.00 | 35000.00 | 30000.00 | Manish Electricals
3.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 150.00 | Meter |  | 480.00 | 72000.00 | 400.00 | 60000.00 | 3030.00 | 454500.00 | 550.00 | 82500.00 | 60000.00 | Manish Electricals
4.00 | Wiring for circuit/ sub main wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 50.00 | Meter |  | 270.00 | 13500.00 | 250.00 | 12500.00 | 3030.00 | 151500.00 | 280.00 | 14000.00 | 12500.00 | Manish Electricals
5.00 | Wiring for circuit/ sub main wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 30.00 | Meter |  | 550.00 | 16500.00 | 400.00 | 12000.00 | 3030.00 | 90900.00 | 520.00 | 15600.00 | 12000.00 | Manish Electricals
6.00 | Wiring for circuit/ sub main wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 4 X 10 sq. mm + 2 X 6 sq. mm earth wire | 10.00 | Meter |  | 900.00 | 9000.00 | 700.00 | 7000.00 | 3030.00 | 30300.00 | 640.00 | 6400.00 | 6400.00 | Edge Telecom Pvt Ltd
7.00 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmoured telephone cable in the existing surface/ recessed steel/ PVC conduit as required. 2 Pair | 15.00 | Meter |  | 30.00 | 450.00 | 90.00 | 1350.00 | 150.00 | 2250.00 | 50.00 | 750.00 | 450.00 | surbhi association
8.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed steel / PVC conduit as required. 25 mm | 40.00 | Meter |  | 100.00 | 4000.00 | 60.00 | 2400.00 | 150.00 | 6000.00 | 130.00 | 5200.00 | 2400.00 | Manish Electricals
9.00 | Supplying and fixing following size/ modules, Gl box alongwith modular base & cover plate for modular switches in recess etc. as required. 2 Module (75 mm X 75 mm X 60 mm deep) | 2.00 | Each |  | 100.00 | 200.00 | 120.00 | 240.00 | 3030.00 | 6060.00 | 150.00 | 300.00 | 200.00 | surbhi association
10.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. Telephone socket outlet | 2.00 | Each |  | 150.00 | 300.00 | 150.00 | 300.00 | 350.00 | 700.00 | 120.00 | 240.00 | 240.00 | Edge Telecom Pvt Ltd
11.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and 1 earth terminal, metal enclosed plug top alongwith 20 amps "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 6.00 | Each |  | 1000.00 | 6000.00 | 190.00 | 1140.00 | 820.00 | 4920.00 | 1500.00 | 9000.00 | 1140.00 | Manish Electricals
12.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 16.00 | Each |  | 450.00 | 7200.00 | 480.00 | 7680.00 | 450.00 | 7200.00 | 550.00 | 8800.00 | 7200.00 | Variant Infratech Private Limited, surbhi association
13.00 | Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 15.00 | Each |  | 350.00 | 5250.00 | 380.00 | 5700.00 | 550.00 | 8250.00 | 450.00 | 6750.00 | 5250.00 | surbhi association
14.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 3.00 | Each |  | 300.00 | 900.00 | 340.00 | 1020.00 | 350.00 | 1050.00 | 300.00 | 900.00 | 900.00 | Edge Telecom Pvt Ltd, surbhi association
15.00 | Supplying and fixing extra conduit down rod of 20 cm length G.I.pipe 15 mm dia, heavy gauge including painting etc. as required. (Note : More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored) | 3.00 | Each |  | 100.00 | 300.00 | 80.00 | 240.00 | 650.00 | 1950.00 | 50.00 | 150.00 | 150.00 | Edge Telecom Pvt Ltd
16.00 | Extra for fixing the louvers/ shutters complete with frame for a exhaust fan of all sizes. | 4.00 | Each |  | 750.00 | 3000.00 | 210.00 | 840.00 | 950.00 | 3800.00 | 250.00 | 1000.00 | 840.00 | Manish Electricals
17.00 | Supplying and fixing following way prewired TP&N MCB distribution board of steel sheet for 415 volts on surface/ recess complete with loose wire box, terminal connectors for all incoming and outgoing circuits, duly prewired with suitable size FR PVC insulated copper conductor up to terminal blocks, tinned copper bus bar, neutral link, earth bar, din bar, detachable gland plate, interconnections, powder painted including earthing etc. as required.(But without MCB/ RCCB/ Isolator) 8 way (4 + 24), Double door | 1.00 | Each |  | 4000.00 | 4000.00 | 5100.00 | 5100.00 | 6050.00 | 6050.00 | 9500.00 | 9500.00 | 4000.00 | surbhi association
18.00 | Supplying and fixing following way prewired SP & N MCB distribution board of steel sheet for 240 volts on surface/ recess complete with loose wire box, terminal connectors for all incoming and outgoing circuits, duly prewired with suitable size FR PVC insulated copper conductor up to terminal blocks, tinned copper bus bar, neutral link, earth bar, din bar, detachable gland plate, interconnections, powder painted including earthing etc. as required. (But without MCB/ RCCB/ Isolator) 2 + 8 Way double door | 1.00 | Each |  | 2000.00 | 2000.00 | 4250.00 | 4250.00 | 6050.00 | 6050.00 | 3000.00 | 3000.00 | 2000.00 | surbhi association
19.00 | Supplying and fixing 2 way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. | 4.00 | Each |  | 400.00 | 1600.00 | 1300.00 | 5200.00 | 3030.00 | 12120.00 | 450.00 | 1800.00 | 1600.00 | surbhi association
20.00 | Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 amps | 2.00 | Each |  | 950.00 | 1900.00 | 1050.00 | 2100.00 | 5400.00 | 10800.00 | 1200.00 | 2400.00 | 1900.00 | surbhi association
21.00 | Supplying and fixing following rating, double pole, 240 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 amps | 3.00 | Each |  | 400.00 | 1200.00 | 550.00 | 1650.00 | 5400.00 | 16200.00 | 800.00 | 2400.00 | 1200.00 | surbhi association
22.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 30.00 | Each |  | 165.00 | 4950.00 | 190.00 | 5700.00 | 5400.00 | 162000.00 | 160.00 | 4800.00 | 4800.00 | Edge Telecom Pvt Ltd
23.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 2.00 | Each |  | 15.00 | 30.00 | 22.00 | 44.00 | 350.00 | 700.00 | 90.00 | 180.00 | 30.00 | surbhi association
24.00 | Supply, installation, testing and commissioning of dust, damp and vermin proof cubicle free floor, indoor type factory built sheet steel enclosed modular bolted construction, suitable for operation on 415 ±10% volts, 50 Hz AC 3 phase 4 wire supply system fabricated out of CRCA sheet steel of 2.0 mm thick for frame work and 2.0 mm thick for doors/ covers, 3mm thick for gland plates i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having TPN Aluminium bus bars of high conductivity, DMC/SMC bus bar supports, bottom base channel of section not less than ISMC 75mm, entire panel shall have a common copper earth bar of suitable size with 2 nos earth studs, including control wiring with 1.5sqmm. PVC insulated FRLS copper conductor Single Core cable for voltage & 2.5sq.mm for current circuits, cable alleys, cable gland plates ,danger notice plates, etc. necessary metering protections & indications and mounted with the following switch gears. INCOMER i) 2 No. 100 Amps. 4P , MCCB '36ka, (Ics = Icu= 36 Ka) with thermal magnetic release having O/L & S/C protection equiped with extendable rotary Handle and extendable terminals with the following: a) 6 Nos. Phase indication LED lamps with 2Amp MCB, 'ON/OFF' indicating light with 2A MCB Multifunction meter, class 0.5 with LCD Display shown V,A,Hz & PF - 2 Nos. AUTO TRANSFER SWITCH i) 1 No. 4 pole, 100 Amps. Open execution type with complete protection BUS-BAR : TPN aluminium main bus bars of minimum of 300 Amp capacity with heat shrinkable coloured sleeves and i/c DMC/SMC bus bars supports at required intervals complete. OUTGOING i) 4 No. 63 Amps. 4P, MCCB '25ka, (Ics = Icu= 25 Ka) with thermal magnetic release having O/L & S/C protection equiped with extendable Rotary handle with the following: 4 Set of ON‐OFF indication lamps (LED type) with 2 Amp control MCBs. | 1.00 | Job |  | 190000.00 | 190000.00 | 900000.00 | 900000.00 | 60500.00 | 60500.00 | 110000.00 | 110000.00 | 60500.00 | Variant Infratech Private Limited
25.00 | Supply of 3.5 core x 185 Sqmm. XLPE insulated PVC sheathed armoured aluminium conductor cable of 1.1 KV Grade confirming to IS:7098 (Part 1) with upto date amendment etc. complete as required. | 3000.00 | Meter |  | 840.00 | 2520000.00 | 725.00 | 2175000.00 | 350.00 | 1050000.00 | 850.00 | 2550000.00 | 1050000.00 | Variant Infratech Private Limited
26.00 | Supply of energy efficient 5 star rated ceiling fan, 1200 mm sweep suitable for operation on 240V, 50Hz A.C. supply with down rod canopies etc. complete as required. | 3.00 | Each |  | 2650.00 | 7950.00 | 1900.00 | 5700.00 | 3050.00 | 9150.00 | 1700.00 | 5100.00 | 5100.00 | Edge Telecom Pvt Ltd
27.00 | Supply of 300 mm sweep heavy duty exhaust fan suitable for operation on 240V, 50Hz A.C. supply, 1400 rpm with all accessories including louvers, shutters etc. complete as required. | 4.00 | Each |  | 3000.00 | 12000.00 | 2800.00 | 11200.00 | 4850.00 | 19400.00 | 1900.00 | 7600.00 | 7600.00 | Edge Telecom Pvt Ltd
28.00 | Supply of 25 W LED street light fitting with minimum output of 2000 lumens suitable for 160-270 V, AC, 50 HZ, PF>.95 Luminaire should have pressure die-cast housing along with prismatic polycarbonate diffuser and LED with secondary optic for better uniformity & spacing. Luminaire should have Air vents in housing for proper thermal management Min IP protection should be IP 65. System power consumption (including driver loss) should not exceed 25 W, complete with all accessories as required. | 6.00 | Each |  | 1800.00 | 10800.00 | 2100.00 | 12600.00 | 950.00 | 5700.00 | 2500.00 | 15000.00 | 5700.00 | Variant Infratech Private Limited
29.00 | Supply of 12 W High efficient recess mounted downlighter with pressure die-cast aluminium heat sink & PC diffuser in white powder coated finish with integrated driver complete etc as required. | 18.00 | Each |  | 1100.00 | 19800.00 | 400.00 | 7200.00 | 480.00 | 8640.00 | 1200.00 | 21600.00 | 7200.00 | Manish Electricals
30.00 | Supply of 36 Watt CRCA body recess mounting type LED indoor light fitting (Natural White) suitable for mounting on 600 mm X 600 mm grid channel with built in electronic driver fitting suitable for 160- 270 V 50 Hz Ac supply complete with all accessories as required. | 10.00 | Each |  | 2000.00 | 20000.00 | 1200.00 | 12000.00 | 1850.00 | 18500.00 | 3200.00 | 32000.00 | 12000.00 | Manish Electricals
31.00 | Supply of Aesthetically designed Rechargeable LED Lantern with dimming & SOS feature with minimum 5 watt, Rechargeable Li-ion battery capacity of 3.7 V 4400 m AH and suitable charging from 160-270V AC supply 50HZ etc as required. | 3.00 | Each |  | 2000.00 | 6000.00 | 1400.00 | 4200.00 | 2450.00 | 7350.00 | 1900.00 | 5700.00 | 4200.00 | Manish Electricals
32.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 95 sq. mm and upto 185 sq. mm in the existing masonry open duct as required. | 10.00 | Meter |  | 70.00 | 700.00 | 60.00 | 600.00 | 150.00 | 1500.00 | 90.00 | 900.00 | 600.00 | Manish Electricals
33.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) on wall surface as required. | 10.00 | Meter |  | 70.00 | 700.00 | 102.00 | 1020.00 | 150.00 | 1500.00 | 90.00 | 900.00 | 700.00 | surbhi association
34.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size Above 95 sq. mm and upto 185 sq. mm in the existing RCC/ HUME/ METAL pipe as required. | 2800.00 | Meter |  | 60.00 | 168000.00 | 60.00 | 168000.00 | 150.00 | 420000.00 | 60.00 | 168000.00 | 168000.00 | Edge Telecom Pvt Ltd, surbhi association, Manish Electricals
35.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II with upto date ammendment complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 120 / 125 mm dia(OD) | 2700.00 | Meter |  | 200.00 | 540000.00 | 210.00 | 567000.00 | 250.00 | 675000.00 | 135.00 | 364500.00 | 364500.00 | Edge Telecom Pvt Ltd
36.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for size of 3.5 x 185 sq. mm PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 6.00 | Each |  | 5000.00 | 30000.00 | 2600.00 | 15600.00 | 6800.00 | 40800.00 | 4500.00 | 27000.00 | 15600.00 | Manish Electricals
37.00 | Supplying and making end termination with brass compression gland and aluminium lugs for size of 3.5 x 185 sq.mm. PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 4.00 | Set |  | 1000.00 | 4000.00 | 1050.00 | 4200.00 | 1200.00 | 4800.00 | 750.00 | 3000.00 | 3000.00 | Edge Telecom Pvt Ltd
38.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent / LED Fittings of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 28.00 | Each |  | 100.00 | 2800.00 | 350.00 | 9800.00 | 250.00 | 7000.00 | 70.00 | 1960.00 | 1960.00 | Edge Telecom Pvt Ltd
39.00 | Installations, testing, commissioning of street light luminaire complete with all accessories on 40 mm dia (M class) GI bracket of 1.5 mtr long complete with 2 nos. 25 mm X 3mm M.S. flat iron clamps, bolts and nuts including drilling holes for steel fastener, bending the bracket to proper shape and painting with primer and finish paint including connection with 1.5 sq. mm mm FR PVC insulated, copper conductor, single core cable and earthing complete etc as required. | 6.00 | Each |  | 1000.00 | 6000.00 | 340.00 | 2040.00 | 250.00 | 1500.00 | 350.00 | 2100.00 | 1500.00 | Variant Infratech Private Limited
40.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 3.00 | Each |  | 100.00 | 300.00 | 260.00 | 780.00 | 250.00 | 750.00 | 150.00 | 450.00 | 300.00 | surbhi association
41.00 | Installation of exhaust fan of size 300 mm sweep in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 4.00 | Each |  | 150.00 | 600.00 | 260.00 | 1040.00 | 250.00 | 1000.00 | 150.00 | 600.00 | 600.00 | Edge Telecom Pvt Ltd, surbhi association
42.00 | Earthing with G.l. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 2.00 | Set |  | 9500.00 | 19000.00 | 8000.00 | 16000.00 | 11500.00 | 23000.00 | 6800.00 | 13600.00 | 13600.00 | Edge Telecom Pvt Ltd
43.00 | Providing and fixing 25mm X 5 mm GI strip on surface or in recess for connections etc. as required. | 20.00 | Meter |  | 200.00 | 4000.00 | 280.00 | 5600.00 | 2500.00 | 50000.00 | 200.00 | 4000.00 | 4000.00 | Edge Telecom Pvt Ltd, surbhi association
44.00 | Providing, laying and fixing of 80 mm dia dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required | 20.00 | Meter |  | 1000.00 | 20000.00 | 900.00 | 18000.00 | 2050.00 | 41000.00 | 1800.00 | 36000.00 | 18000.00 | Manish Electricals
45.00 | Supply and installation of pre-wired Primary protection (Class B / Type 2) surge protection device (SPD) having 100KA , 10/350 micro seconds neutral to earth, 50 KA, 10/350 micro seconds line to neutral with limiting voltage less than 1.5 KV on the mains power entry point at the incomers. The enclosure shall have IP:65 weather proof polycarbonate PVC box with cable gland. The three phase SPD shall have the followings. i) Line protected : Line-Neutral and Neutral to earth + Line to Line +Line to Ground (4 modes). ii) Nominal Operating Voltage : 220/240 V AC iii) Input power Frequency : 47-60 Hz iv) Protection : Transverse and common mode v) Response Time : <100 ns vi) Surge rating : 10/350 us pulse response vii) Voltage Protection Level : < 1.5 KV viii) Approval and Testing : Listed with UL-1449-3/IEC - 61643 - 62305 as applicable. | 1.00 | Each |  | 50000.00 | 50000.00 | 105000.00 | 105000.00 | 14400.00 | 14400.00 | 1800.00 | 1800.00 | 1800.00 | Edge Telecom Pvt Ltd
46.00 | Supply and installation of pre-wired Secondary protection (Class C / Type 3) surge protection device (SPD) this protection to be provided at UPS output in each phase and neutral. The protection device shall be a combination of multi stage modular MOV device to attenuate surge and noise. The LC filter shall attenuate surge voltage to limit peak surge to less than 900 Volt. The filter shall attenuate noise and power system harmonics by minimum 30 DB. The enclosure shall have IP:65 weather proof polycarbonate PVC box with cable gland. The Single phase SPD shall have the followings. i) Line protected : Line-Neutral, Line - Earth and Neutral to Earth. ii) Nominal Operating Voltage : 240 V AC (Phase to Neutral) iii) Voltage Drop : < 3 V at full load iv) Efficiency : 99% v) Response Time : <5ns vi) Protection Modes : Transverse and Common mode vii) Filter Configuration : LC, transverse and common modes viii) Protection Stages : MOV, LPF SPD ix) Surge Rating : 40 KA, 8/20 us x) Voltage Protection Level : < 0.9 KV xi) Approvals and Testing : UL- 1449-3/ IEC 61643/ 62305 as applicable | 1.00 | Each |  | 50000.00 | 50000.00 | 125000.00 | 125000.00 | 13200.00 | 13200.00 | 4500.00 | 4500.00 | 4500.00 | Edge Telecom Pvt Ltd
47.00 | Providing and fixing of lightning final, made of 25 mm dia 300 mm long, copper tube, having single prong at top, with 85 mm dia 3mm thick copper base plate including holes etc. complete as required. | 3.00 | Nos. |  | 2000.00 | 6000.00 | 580.00 | 1740.00 | 18150.00 | 54450.00 | 1200.00 | 3600.00 | 1740.00 | Manish Electricals
48.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 3.00 | Set |  | 16000.00 | 48000.00 | 15000.00 | 45000.00 | 18150.00 | 54450.00 | 13000.00 | 39000.00 | 39000.00 | Edge Telecom Pvt Ltd
49.00 | Jointing copper / G.l. tape (with another copper/ G I tape, base of the final or any other metallic object) by riveting / nut bolting/ sweating and soldering etc. as required. | 3.00 | Nos. |  | 50.00 | 150.00 | 140.00 | 420.00 | 1850.00 | 5550.00 | 100.00 | 300.00 | 150.00 | surbhi association
50.00 | Providing and fixing copper tape 20mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required. (For horizontal run) | 50.00 | Meter |  | 750.00 | 37500.00 | 125.00 | 6250.00 | 550.00 | 27500.00 | 110.00 | 5500.00 | 5500.00 | Edge Telecom Pvt Ltd
51.00 | Providing and fixing copper tape 20mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required. (For Vertical run) | 15.00 | Meter |  | 800.00 | 12000.00 | 190.00 | 2850.00 | 550.00 | 8250.00 | 180.00 | 2700.00 | 2700.00 | Edge Telecom Pvt Ltd
52.00 | Providing and fixing testing joint, made of 20 mm X 3 mm thick G.l. strip, 125 mm long, with 4 nos. of G.l. bolts, nuts, chuck nuts and spring washers etc. complete as required. | 30.00 | Meter |  | 200.00 | 6000.00 | 130.00 | 3900.00 | 1200.00 | 36000.00 | 110.00 | 3300.00 | 3300.00 | Edge Telecom Pvt Ltd
53.00 | Providing and laying copper tape 32 mm X 6 mm from earth electrode in ground as required. | 20.00 | Meter |  | 1150.00 | 23000.00 | 300.00 | 6000.00 | 750.00 | 15000.00 | 180.00 | 3600.00 | 3600.00 | Edge Telecom Pvt Ltd
54.00 | Providing, laying and fixing of 40 mm dia G.I pipe (medium class) in ground complete with G.I fitting including trenching (75 cm deep) and re-filling etc as required. | 40.00 | Meter |  | 450.00 | 18000.00 | 550.00 | 22000.00 | 550.00 | 22000.00 | 450.00 | 18000.00 | 18000.00 | Edge Telecom Pvt Ltd, surbhi association
55.00 | Supply, Installation, Testing & Commissioning of 1.5 Ton (5 Star) Inverter Split Air conditioning unit fitteded with rotary compressor alongwith indoor/outdoor units, gas R-410A/R-32 suitable to operate on 230V +/- 10%, 50 Hz, single phase AC power supply capable of performing the function as Dehumidification, air circulating and filtering complete with compressor, evaporators, air cooled copper condensor connected refrigerant piping (upto 10 feet) electring wiring including MS stand suitable for outdoor unit with all accessories complete etc as required. | 6.00 | Nos. |  | 40000.00 | 240000.00 | 45000.00 | 270000.00 | 31500.00 | 189000.00 | 42000.00 | 252000.00 | 189000.00 | Variant Infratech Private Limited
56.00 | Supply, Installation, Testing & Commissioning of automatic programmable AC switching system for the Operation of 02 nos. (01 no running + 01 no. standby) split type Air conditioner Units to change over the system 08 Hours with over load protection facility complete as required. | 3.00 | Nos. |  | 4500.00 | 13500.00 | 2600.00 | 7800.00 | 20500.00 | 61500.00 | 2510.00 | 7530.00 | 7530.00 | Edge Telecom Pvt Ltd
57.00 | Supply and fixing of extra copper refrigerant piping (beyond the standard length) complete with suction/ liquid line, insulation, drain pipe, electrical cabling, PVC protection piping and all accessories as per site requirement. | 20.00 | Meter |  | 1000.00 | 20000.00 | 190.00 | 3800.00 | 1900.00 | 38000.00 | 2200.00 | 44000.00 | 3800.00 | Manish Electricals
58.00 | Supply and Installation of Microprocessor based 2 Zone non-expandable conventional fire alarm panel. The should be equiped of 2 Zone capacity to take maximum 20 detections per zon, reset function inbuilt and alarm & Fault Display by individual LEDs for each detector group. 240 volts AC power supply, automatic battery charges, 2 nos X 12 volt sealed maintenance free batteries sufficient for 12 hours normal working. | 1.00 | Nos. |  | 15000.00 | 15000.00 | 30000.00 | 30000.00 | 266000.00 | 266000.00 | 7500.00 | 7500.00 | 7500.00 | Edge Telecom Pvt Ltd
59.00 | Supply and Installation of 2 Channel wireless auto dialer (GSM based) voice message. 40 (20+20) seconds voice recording. 9 nos of tel./mobile 16 digit each. View numbers & user setting any time. Standard telephone key pads. Work with all types of GSM network. Easy menu based programming. 1 levels of password protected. Approved by various consultants. | 1.00 | Nos. |  | 10000.00 | 10000.00 | 7000.00 | 7000.00 | 62500.00 | 62500.00 | 6500.00 | 6500.00 | 6500.00 | Edge Telecom Pvt Ltd
60.00 | Supply and Installation of Conventional Type smoke Detector with LED indication, with mounting base. | 7.00 | Nos. |  | 1900.00 | 13300.00 | 1250.00 | 8750.00 | 4200.00 | 29400.00 | 1500.00 | 10500.00 | 8750.00 | Manish Electricals
61.00 | Supply and Installation of Conventional Hooter complete etc as required. | 1.00 | Nos. |  | 3000.00 | 3000.00 | 2650.00 | 2650.00 | 6500.00 | 6500.00 | 950.00 | 950.00 | 950.00 | Edge Telecom Pvt Ltd
62.00 | Supply and Installation of manual call points complete etc as required. | 1.00 | Nos. |  | 1500.00 | 1500.00 | 4200.00 | 4200.00 | 4600.00 | 4600.00 | 850.00 | 850.00 | 850.00 | Edge Telecom Pvt Ltd
63.00 | SITC of Response indicator complete etc as required. | 2.00 | Nos. |  | 300.00 | 600.00 | 80.00 | 160.00 | 3200.00 | 6400.00 | 250.00 | 500.00 | 160.00 | Manish Electricals
64.00 | Supply and Installation of 2 X 1.5 sq.mm. copper flexible two core round wire in PVC conduit, with terminations etc. as required. | 55.00 | Meter |  | 70.00 | 3850.00 | 30.00 | 1650.00 | 200.00 | 11000.00 | 65.00 | 3575.00 | 1650.00 | Manish Electricals
65.00 | Supplying and laying of 63 mm dia (OD-63 mm & ID-51 mm nominal) size PE-63 HDPE pipe, 6 kg/ cm2 ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 150.00 | Meter |  | 160.00 | 24000.00 | 140.00 | 21000.00 | 250.00 | 37500.00 | 150.00 | 22500.00 | 21000.00 | Manish Electricals
66.00 | Supply of only Salt | 1300.00 | kg |  | 10.00 | 13000.00 | 21.00 | 27300.00 | 18.00 | 23400.00 | 8.50 | 11050.00 | 11050.00 | Edge Telecom Pvt Ltd
67.00 | Supply of only Charcoal | 1300.00 | kg |  | 15.00 | 19500.00 | 48.00 | 62400.00 | 18.00 | 23400.00 | 18.00 | 23400.00 | 19500.00 | surbhi association
68.00 | Supply of 4 X 16 Sqmm. XLPE insulated PVC sheathed armoured aluminium conductor cable of 1.1 KV Grade confirming to IS:7098 (Part 1) with upto date amendment etc. complete as required. | 140.00 | Meter |  | 150.00 | 21000.00 | 145.00 | 20300.00 | 160.00 | 22400.00 | 200.00 | 28000.00 | 20300.00 | Manish Electricals
69.00 | Supplying and laying of 90 mm dia (OD-90 mm & ID-76 mm nominal) size PE-63 HDPE pipe, 6 kg/ cm2 ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 10.00 | Meter |  | 200.00 | 2000.00 | 575.00 | 5750.00 | 200.00 | 2000.00 | 160.00 | 1600.00 | 1600.00 | Edge Telecom Pvt Ltd
70.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size upto 35 sq. mm in the existing RCC/ HUME/ METAL pipe as required. | 130.00 | Meter |  | 20.00 | 2600.00 | 17.50 | 2275.00 | 200.00 | 26000.00 | 80.00 | 10400.00 | 2275.00 | Manish Electricals
71.00 | Supply of integral LED Aviation (Obstruction) light comprising of aluminium housing with polycarbonate enclosure with suitable size G.I. Pipe complete etc as required. | 1.00 | Each |  | 5000.00 | 5000.00 | 4250.00 | 4250.00 | 5400.00 | 5400.00 | 7503.00 | 7503.00 | 4250.00 | Manish Electricals
| Total in Figures |  |  |  |  | 4482930.00 |  | 4943479.00 |  | 4905240.00 |  | 4153838.00
Lowest Amount Quoted BY: Edge Telecom Pvt Ltd(4153838.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New DVOR Building at REWA Airport, REWA. SH. Electrical Works. Tender ID: 2023_AAI_175809_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Edge Telecom Pvt Ltd | 4153838.00 | L1
| 2 | surbhi association | 4482930.00 | L2
| 3 | Variant Infratech Private Limited | 4905240.00 | L3
| 4 | Manish Electricals | 4943479.00 | L4