## BoQ1
Government eProcurement System Created By: RAJITH V Created Date/Time: 10-Jan-2024 05:52 PM Tender Title: ARMO works of EandM Installations at Madurai Airport during 2023-24. SH AMC of 730 KWp Ground Mounted Solar Power Plant at Madurai Airport Tender ID: 2023_AAI_175843_1
Tender Inviting Authority: Airports Authority of India, Madurai Airport, Madurai -625 022.
Name of Work: ARMO works of E&M Installations at Madurai Airport during 2023-24. SH: AMC of 730 KWp Ground Mounted Solar Power Plant at Madurai Airport.
Contract No: 2023_AAI_175843_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DD Project Services Private Limited(GSTN-33AAECD1564D1Z5) |  | Hindustan System(GSTN-23AGWPP2121P1ZX)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for operation and maintenance of 730KWp Ground Mounted Solar Power Plant along with all its related equipments and accessories as per the list attached in the Annexure - I & II along with all its associated accessories, installed at solar farm in Two Shifts/as per need basis on all days including Sunday and public holidays, complete as required as per terms and conditions of the contract. | 24.00 | Months |  | 157512.50 | 3780300.00 | 242000.00 | 5808000.00 | 3780300.00 | DD Project Services Private Limited
2.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. i) Lubricant oil of grade 20W-40 (Castrol, Gulf or equivalent make) | 2.00 | Kg |  | 625.00 | 1250.00 | 1250.00 | 2500.00 | 1250.00 | DD Project Services Private Limited
3.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. ii) NLGI-3 Multi Purpose Grease (Castrol, Gulf or equivalent make) | 2.00 | Kg |  | 462.50 | 925.00 | 1250.00 | 2500.00 | 925.00 | DD Project Services Private Limited
4.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. iii) Petroleum Jelly for the battery terminals | 2.00 | Kg |  | 500.00 | 1000.00 | 1250.00 | 2500.00 | 1000.00 | DD Project Services Private Limited
5.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. iv) 4Pole 32A rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker | 10.00 | Each |  | 3341.00 | 33410.00 | 1250.00 | 12500.00 | 12500.00 | Hindustan System
6.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. v) 2Pole 32A rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker | 10.00 | Each |  | 1531.40 | 15314.00 | 850.00 | 8500.00 | 8500.00 | Hindustan System
7.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. vi) Aluminium Colour Enamel Paint as per AAI approved make | 50.00 | Ltrs |  | 289.75 | 14487.50 | 850.00 | 42500.00 | 14487.50 | DD Project Services Private Limited
8.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. vii) Sky Blue Colour Enamel Paint as per AAI approved make | 60.00 | Ltrs |  | 268.56 | 16113.60 | 850.00 | 51000.00 | 16113.60 | DD Project Services Private Limited
9.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. viii) Black Colour Enamel paint as per AAI approved make | 40.00 | Ltrs |  | 268.56 | 10742.40 | 850.00 | 34000.00 | 10742.40 | DD Project Services Private Limited
10.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. ix) Thinner | 100.00 | Ltrs |  | 148.31 | 14831.00 | 200.00 | 20000.00 | 14831.00 | DD Project Services Private Limited
11.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. x) Distilled water | 120.00 | Ltrs |  | 20.00 | 2400.00 | 25.00 | 3000.00 | 2400.00 | DD Project Services Private Limited
12.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xi) 4inch paint brush with wooden handle | 6.00 | Each |  | 361.25 | 2167.50 | 300.00 | 1800.00 | 1800.00 | Hindustan System
13.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xii) 2inch paint brush with wooden handle | 6.00 | Each |  | 111.25 | 667.50 | 500.00 | 3000.00 | 667.50 | DD Project Services Private Limited
14.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xiii) 1inch paint brush with wooden handle | 3.00 | Each |  | 41.25 | 123.75 | 200.00 | 600.00 | 123.75 | DD Project Services Private Limited
15.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xiv) Yellow Colour Enamel Paint as per AAI approved make | 10.00 | Ltrs |  | 323.75 | 3237.50 | 850.00 | 8500.00 | 3237.50 | DD Project Services Private Limited
16.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xv) White cement | 30.00 | Kg |  | 22.30 | 669.00 | 40.00 | 1200.00 | 669.00 | DD Project Services Private Limited
17.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xvi) Emulsion green mixing | 2.00 | Kg |  | 315.00 | 630.00 | 850.00 | 1700.00 | 630.00 | DD Project Services Private Limited
18.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xvii) Module cleaning brush stick | 4.00 | Each |  | 200.00 | 800.00 | 500.00 | 2000.00 | 800.00 | DD Project Services Private Limited
19.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xviii) Module cleaning brush | 6.00 | Each |  | 50.00 | 300.00 | 500.00 | 3000.00 | 300.00 | DD Project Services Private Limited
20.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xix) Module cleaning spray sprinkle | 6.00 | Each |  | 400.00 | 2400.00 | 500.00 | 3000.00 | 2400.00 | DD Project Services Private Limited
21.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xx) 3/4 inch PVC heavy duty water hose | 240.00 | Mtrs |  | 150.00 | 36000.00 | 200.00 | 48000.00 | 36000.00 | DD Project Services Private Limited
22.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxi) Single core 4 Sq.mm electrolytic multi stranded tinned copper conductor, XLPO insulated and sheathed, voltage rating 1100V AC, 1500V DC, Protection Class II, UV stabilised outer sheath cable confirming to EN 50618 with latest amendments etc. as per requirement. | 2000.00 | Mtrs |  | 50.00 | 100000.00 | 46.00 | 92000.00 | 92000.00 | Hindustan System
23.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxii) 2.5 Sq.mm, 1100V, PVC insulated, FRLSH copper conductor flexible wire 90mtr coil as per IS 694 (latest) as per technical specifications. | 4.00 | Coil |  | 2430.00 | 9720.00 | 3250.00 | 13000.00 | 9720.00 | DD Project Services Private Limited
24.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxiii) Single core 70 Sq.mm electrolytic multi stranded tinned copper conductor, XLPO insulated and sheathed, voltage rating 1100V AC, 1500V DC, Protection Class II, UV stabilised outer sheath cable confirming to EN 50618 with latest amendments etc. as per requirement. | 300.00 | Mtrs |  | 787.50 | 236250.00 | 1450.00 | 435000.00 | 236250.00 | DD Project Services Private Limited
25.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxiv) MC4 connector having 30A rated current, 1500V DC, IP 68, protection Class II, maximum temperature range ≥ 105° C, contact material of Copper/Copper Alloy, Silver plated, UV stabilised etc. as per techincal specification. | 200.00 | Each |  | 90.00 | 18000.00 | 45.00 | 9000.00 | 9000.00 | Hindustan System
26.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxv) Zinc spray of minimum 350 gms | 2.00 | Each |  | 312.50 | 625.00 | 450.00 | 900.00 | 625.00 | DD Project Services Private Limited
27.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxvi) CRC liquid of minimum 500ml for electrical contact cleaning | 2.00 | Each |  | 487.50 | 975.00 | 450.00 | 900.00 | 900.00 | Hindustan System
28.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxvii) HT Tape made of EPR material, operating temparature 130°C, minimum with 25mm, 10 meter length | 6.00 | Each |  | 150.00 | 900.00 | 150.00 | 900.00 | 900.00 | DD Project Services Private Limited, Hindustan System
29.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxviii) Cable tie of size 300mm X 4.8mm (100 each / Pkt) | 4.00 | Pkt |  | 168.75 | 675.00 | 3250.00 | 13000.00 | 675.00 | DD Project Services Private Limited
30.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxix) 10A, 1000V DC, control fuse for SMB (Elmex or equivalent make) | 20.00 | Each |  | 116.25 | 2325.00 | 140.00 | 2800.00 | 2325.00 | DD Project Services Private Limited
31.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxx) SMPS for inverter having input voltage of 115-230V AC, output voltage of 24V DC, 10A (ABB make, model no: CP-E24/10.0 or equivalent make) | 2.00 | Each |  | 14375.00 | 28750.00 | 2000.00 | 4000.00 | 4000.00 | Hindustan System
32.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxxi) SMPS for SCADA having input voltage of 115-230V AC, output voltage of 24V DC, 5A (ABB make, model no: CP-E24/5.0 or equivalent make) | 2.00 | Each |  | 16766.25 | 33532.50 | 3500.00 | 7000.00 | 7000.00 | Hindustan System
33.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxxii) 63A, 690V AC, 80kA, HRC fuse (Ferraz Shawmut make model no: NH000GG69V63 or equivalent make) | 4.00 | Each |  | 915.00 | 3660.00 | 2400.00 | 9600.00 | 3660.00 | DD Project Services Private Limited
34.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxxiii) 20A, 690V AC, 80kA, HRC fuse (Ferraz Shawmut make model no: NH000GG69V20 or equivalent make) | 12.00 | Each |  | 546.25 | 6555.00 | 1800.00 | 21600.00 | 6555.00 | DD Project Services Private Limited
35.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxxiv) 10A, 690V AC, HRC fuse (Mersen make model no: FR10GR69V10 or equivalent make) | 6.00 | Each |  | 375.00 | 2250.00 | 1400.00 | 8400.00 | 2250.00 | DD Project Services Private Limited
36.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxxv) 1000A, 690V AC, 500V DC, IR = 200kA, HRC fuse (Mersen make model no: SC33AR69V10CTF Y1046958 or equivalent make) | 18.00 | Each |  | 6800.00 | 122400.00 | 4200.00 | 75600.00 | 75600.00 | Hindustan System
37.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxxvi) 800A, 1100V AC, 500V DC, IR = 150kA, HRC fuse (Ferraz Shawmut make model no: PC72UD11C800TF H300502 or equivalent make) | 12.00 | Each |  | 8085.00 | 97020.00 | 3700.00 | 44400.00 | 44400.00 | Hindustan System
38.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxxvii) 2A, 1000V DC HRC fuse (Liftel Fuse make model no: SPF2A or equivalent make) | 2.00 | Each |  | 151.25 | 302.50 | 1200.00 | 2400.00 | 302.50 | DD Project Services Private Limited
39.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxxviii) 15A, 1000V DC HRC fuse (Mersen make model no: HP10M15 or equivalent make) | 96.00 | Each |  | 185.00 | 17760.00 | 140.00 | 13440.00 | 13440.00 | Hindustan System
40.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxxix) 1000V DC, 700A, DC contactor (ABB make, model no: GAF460-10 or equivalent make) | 2.00 | Each |  | 112500.00 | 225000.00 | 14000.00 | 28000.00 | 28000.00 | Hindustan System
41.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxxx) 1000V DC, 700A, AC contactor (ABB make, model no: AF460-30 or equivalent make) | 2.00 | Each |  | 97000.00 | 194000.00 | 12000.00 | 24000.00 | 24000.00 | Hindustan System
42.00 | Supply of the following items for the day to day maintenance of 730KWp Ground Mounted Solar PV plant at Madurai Airport. xxxxi) 1250V AC, 350A protistor (Ferraz Shawmut make model no: PC71UD13C350TF or equivalent make) | 2.00 | Each |  | 8187.50 | 16375.00 | 12000.00 | 24000.00 | 16375.00 | DD Project Services Private Limited
43.00 | Supply of 20W or better LED tubelight fitting retrofitting type (4ft) with all accessories including LED tube lamp | 60.00 | Each |  | 287.50 | 17250.00 | 1200.00 | 72000.00 | 17250.00 | DD Project Services Private Limited
44.00 | SITC of Polycrystalline solar PV modules 72 cells, 320Wp, maximum voltage 37.7V DC, maximum current 8.5 A, efficiency ≥16.5, IP 67 confirming to IS 14286/61730 Part I & Part II with latest amendments as per technical spcifications. (The solar PV module shall match with existing PV module of Make Vikram Solar, Model No: ELDORA VSP.72.AAA.03.04) | 16.00 | Each |  | 8375.00 | 134000.00 | 9750.00 | 156000.00 | 134000.00 | DD Project Services Private Limited
45.00 | SITC of Minimum 100 lumens/watt LED flood light fittings with system lumen 5000lm or higher. The luminaire shall be 4000K-6500K color temperature and having 50000 burning hours life with minimum 70% lumen maintenance. CRI > 70, housing should be CRCA Sheet of thickness of ≥0.5 mm thick. The diffuser shall be opal diffuser, power factor ≥0.95 of the input voltage tolerance shall be 140-270 volt AC complete in all respect suitable for replacing the existing old LED fitting installed at various locations of solar firm etc. complete as required as per site requirement and technical specifications. | 10.00 | Each |  | 2437.50 | 24375.00 | 7000.00 | 70000.00 | 24375.00 | DD Project Services Private Limited
46.00 | SITC of all in one integrated hybrid solar street light fixture of not less than 4500 lumens with efficacy of minimum 150 lumens/watt to achieved 3-5 lux at a point with solar module of 12V of capacity not less than 60Wp made monocrystalline cells, maintenance free Lithium Ferro Phospate (LiFePo 4) battery of autonomy of minimum 12 hrs and capacity not less than 380 WHr, housing made of high grade aluminium die-cast/extruded aluminium with good head dissipation facility, sutiable climatic condition -10° to 50° C, humidity of 95% and meeting IP65 and IK08 requirements with PIR sensor, etc. as required and as per technical specifications and site requirements. | 10.00 | Each |  | 25000.00 | 250000.00 | 6000.00 | 60000.00 | 60000.00 | Hindustan System
47.00 | Fabrication, Supply & Installation of 500mm long, 40mm dia of “C” class GI pipe bracket for the existing poles at 730KWp Ground Mounted Solar Power Plant at Madurai Airport | 5.00 | Each |  | 3375.00 | 16875.00 | 2000.00 | 10000.00 | 10000.00 | Hindustan System
| Total in Figures |  |  |  |  | 5497343.75 |  | 7257740.00
Lowest Amount Quoted BY: DD Project Services Private Limited(5497343.75)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO works of EandM Installations at Madurai Airport during 2023-24. SH AMC of 730 KWp Ground Mounted Solar Power Plant at Madurai Airport Tender ID: 2023_AAI_175843_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DD Project Services Private Limited | 5497343.75 | L1
| 2 | Hindustan System | 7257740.00 | L2