## BoQ1
Government eProcurement System Created By: Sateesh Kr Kanaujiya Created Date/Time: 12-Dec-2023 03:18 PM Tender Title: Reconfiguration of Existing Terminal Building at Aurangabad Airport. SH AHU Ducting Piping and Miscellaneous works. Tender ID: 2023_AAI_175869_1
Tender Inviting Authority: Senior Manager (Engg.-Electrical), Airports Authority of India, Aurangabad Airport, Aurangabad- 431007.
Name of Work: Reconfiguration of Existing Terminal Building at Aurangabad Airport. SH: AHU, Ducting, Piping & Miscellaneous works.
Tender ID: 2023_AAI_175869_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ingenious Industries(GSTN-27AADFI4734Q1ZV) |  | Skyline Airconditioning Engineers Pvt. Ltd.(GSTN-09AAKCS1530L1Z4) |  | RAJSON ELECTRONS(GSTN-27ABIPW2620D1ZR) |  | REFROTECH SYNERGY PVT LTD(GSTN-NA) |  | Mvac Engineers(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation testing and commissioning of factory built floor mounted chilled water Double skin type horizintal air handling units made of 25mm ±2mm thick panels consisting of pre plasticized GI casing of thickness 0.8mm outside layerand 0.8mm inside layer with polyurethene foam (PUF) insulation factory injected between them by injection moulding machine, complete with blower section with blower suitable for static pressure as required ,min. 2 bend GSS/PVC eliminators, cooling coil section with aluminium finned copper tubes ( tube thickness not less than 0.5 mm ) cooling coil of 6 row deep, filter section with 50 mm thick metal viscous filter /washable synthetic type air prefilters, AHU Blower Direct driven, suitable for 415±10%V,50Hz,3-phase AC Supply , squirel cage induction motor (Its suitable for VFD) package with TEFC drive motor of efficiency class IE3 suitable for 415±10% V, 50Hz, 3 phase AC supply suitably designed for variable frequency drive applications, drain connections , stainless steel (18G) drain pain with PUF insulation, LED light with door switch, Provision to install UVGI lamps between cooling coil and blower, AHUs should be suitable for floor mounted application necessary PCC foundation work / blocks shall be provided as required, at the inlet and outlet of coil, auto purge valve wherever required, necessary vibration isolation arrangement etc. complete as per specification & AHU schedule and of following capacities as : Double skin floor mounted Horizontal AHU two pipe system (one coil) AHU 10000 CFM / 25.0 TR, 6 row deep chilled water coil ,pre filter, 65 mm ESP WG with three phase motor .(All AHU Should Be BMS/VFD Compatible) | 2.00 | Job |  | 215000.00 | 430000.00 | 550000.00 | 1100000.00 | 705000.00 | 1410000.00 | 675000.00 | 1350000.00 | 378810.00 | 757620.00 | 430000.00 | Ingenious Industries
2.01 | Supply,Installation ,Testing and commissioning of Exhaust/Fresh Air fans of preferred make of ventilation AMCA Certified Cabinet Fan of Double SKIN CONSTRUCTION, belt driven centrifugal fan ,mounted on floating foundation of spring mounted vibration isolators , and canvass connection , squirrel cage induction motor , mounted within the housing , and all other details as called for in the drawings , specifications. Fan section shall be suitable for floor / ceiling mounted application as detailed in the drawings).The fan motor shall be suitable for operation on Single speed ,415±10%V,50Hz,3-phase AC Supply , squirel cage induction motor (Its suitable for VFD) package with TEFC drive motor of efficiency class IE3 suitable for 415±10% V, 50Hz, 3 phase AC supply. Ventilation fan sections of single skin construction as described above and in the specifications DIDW type,motor within the casing.All fans shall have single speed motors Cost to be inclusive of unit isolator. 3500CFM, 50 mm WG external static pressure with VFD compatible motor suitable for floor/Ceiling mounted application.(For Toilet Exhaust) | 5.00 | Job |  | 15000.00 | 75000.00 | 125000.00 | 625000.00 | 50000.00 | 250000.00 | 35000.00 | 175000.00 | 69350.00 | 346750.00 | 75000.00 | Ingenious Industries
2.02 | 3000CFM, 50 mm WG external static pressure with VFD compatible motor suitable for floor/Ceiling mounted application.(For Toilet Fresh Air) | 5.00 | Job |  | 15000.00 | 75000.00 | 105000.00 | 525000.00 | 50000.00 | 250000.00 | 35000.00 | 175000.00 | 62100.00 | 310500.00 | 75000.00 | Ingenious Industries
3.01 | Supply, installation, testing and commissioning of HVAC dedicated Starter panels/VFD for AHU as per tender specifications as below: SITC of following HVAC dedicated VFDs of 7.5-10 kW with IP 55 enclosures with Mains disconnect, complying with the tender specifications and having: 1. built-in EMC Filters (electromagnetic compatibility filters) for for VFDs for restriction of conducted emissions to comply with IEC61800: 3 (unrestricted distribution):2004 Category C 3, 2. Three-feedback PID controller having capability to simultaneously accept 3 feedback signals from temperature sensors or pressure sensors or CO2 sensors for process optimization and accordingly regulate the speed of the AHUs or pumps. 3. Provision for additional 3 PID controllers to control external devices such as chilled water modulating valve, fresh air damper, etc. thus reducing the number of I/Os in DDC Controllers & improving system reliability. 4. Automatic Energy Optimization / Load dependent flux optimization functionality for maximum energy savings. 5. MODBUS RTU as the communication protocol between BMS & VFDs. 6. VFDs not meeting above requirements shall provide external disconnect, external harmonic filters, additional external EMC Filters to comply with IEC61800: 3 (unrestricted distribution):2004 Category C 1 (50 m), external PLCs / DDCs to achieve 3 Feedback PID Controller functionality and external devices controlling capabilities. | 2.00 | Job |  | 30000.00 | 60000.00 | 175000.00 | 350000.00 | 115000.00 | 230000.00 | 105000.00 | 210000.00 | 74600.00 | 149200.00 | 60000.00 | Ingenious Industries
3.02 | Supply, installation, testing and commissioning of electrical Starter panels with Star-Delta bypass facility near the AHUs constructed out of 2mm thick CRCA sheet duly powder coated as per specifications. The panel shall have hinged door with ON-OFF interlocks. The panel shall be complete with incoming MCCB/MCB, suitable connectioins, LED indicating lamps, Auto Manual switch,remote start / stop contacts, multifunction meter with selector switch, necessary provision for Fire Damper controls & BMS controls, providing Connectors for power and control cables, earthing connectors, printed wiring diagram of starter panel, etc. as required complete as per specifications for following capacity AHUs. 25 TR & 10,000 CFM Capacity | 2.00 | Job |  | 20000.00 | 40000.00 | 50000.00 | 100000.00 | 55000.00 | 110000.00 | 40000.00 | 80000.00 | 30300.00 | 60600.00 | 40000.00 | Ingenious Industries
3.03 | Supply, installation, testing and commissioning of HVAC dedicated VFD Starter suitable size for the range 3500 CFM for toilet exhaust fan as per tender specifications. | 5.00 | Job |  | 13000.00 | 65000.00 | 50000.00 | 250000.00 | 25000.00 | 125000.00 | 20000.00 | 100000.00 | 51800.00 | 259000.00 | 65000.00 | Ingenious Industries
3.04 | Supply, installation, testing and commissioning of HVAC dedicated VFD Starter suitable size for the range 3000 CFM for toilet fresh air fan as per tender specifications. | 5.00 | Job |  | 13000.00 | 65000.00 | 45000.00 | 225000.00 | 25000.00 | 125000.00 | 20000.00 | 100000.00 | 55900.00 | 279500.00 | 65000.00 | Ingenious Industries
4.00 | Providing and fixing three phase strip heater with necessary starter panel , its required control and accessories as per below mentioned capacities 4.0 KW | 2.00 | Nos |  | 5000.00 | 10000.00 | 15000.00 | 30000.00 | 20000.00 | 40000.00 | 21500.00 | 43000.00 | 40400.00 | 80800.00 | 10000.00 | Ingenious Industries
5.00 | Supply installation testing & commissioning of Air Curtains for doors - 1500 mm long (Low noise ) suitable for door height of 2.5 mtr with sensors. | 16.00 | Job |  | 13200.00 | 211200.00 | 20000.00 | 320000.00 | 25000.00 | 400000.00 | 26200.00 | 419200.00 | 27900.00 | 446400.00 | 211200.00 | Ingenious Industries
6.01 | Supply, Laying/fixing, testing and commissioning of following nominal sizes of chilled water piping inside the building (with necessary clamps, vibration isolators and fittings but excluding valves, strainers, gauges etc) duly insulated with following PUF Insulation of minimum 36-40 Kg/ cu m density, thermal conductivity 0.02 W/MK or better at 20 deg mean temperature with factory laminated crafted aluminium foil on the outer surface. The insulation shall be further cladded with 24G Aluminium sheet with all the necessary accessories required for proper and neat installation. Note : - The Pipes of sizes 150 mm & below shall be M.S. "C" class as per IS: 1239 and pipes size above 150 mm shall be welded black steel pipe heavy class as per IS:3589, from minium 6.35 mm thick M.S. sheet for pipes upto 350 mm dia. and minimum 7 mm thick MS sheet for pipes of 400 mm dia and above. SMACNA Certified threaded rod system as per specifications with lock(s) and pre-crimped and fixing(s) to be used for supporting all pipes. For safety, the lock should not have inbuilt unlocking mechanism; separate key to be used to unlock it. To avoid wire slippage, locking mechanism should be wedge type, self locking and double channel type. Ball bearing(s) based or circular gear(s) based locking mechanisms are not acceptable. The threaded rod hangers should have a minimum safety factor of 5:1. Support system as per site requirement. Chilled water piping of nominal size -50mm dia. (50 mm thick insulation) | 20.00 | Metre |  | 1200.00 | 24000.00 | 1200.00 | 24000.00 | 1500.00 | 30000.00 | 1500.00 | 30000.00 | 2050.00 | 41000.00 | 24000.00 | Ingenious Industries, Skyline Airconditioning Engineers Pvt. Ltd.
6.02 | Chilled water piping of nominal size -65mm dia. (50 mm thick insulation) | 100.00 | Metre |  | 1350.00 | 135000.00 | 1500.00 | 150000.00 | 1750.00 | 175000.00 | 1650.00 | 165000.00 | 2410.00 | 241000.00 | 135000.00 | Ingenious Industries
6.03 | Chilled water piping of nominal size -80mm dia. (50 mm thick insulation) | 100.00 | Metre |  | 1400.00 | 140000.00 | 2100.00 | 210000.00 | 1800.00 | 180000.00 | 1700.00 | 170000.00 | 2790.00 | 279000.00 | 140000.00 | Ingenious Industries
7.00 | MS Fabrication for Chilled water piping , equipment support, plenum, etc.as per the site requirement. | 1000.00 | Kg |  | 125.00 | 125000.00 | 175.00 | 175000.00 | 135.00 | 135000.00 | 125.00 | 125000.00 | 150.00 | 150000.00 | 125000.00 | REFROTECH SYNERGY PVT LTD, Ingenious Industries
8.01 | Providing & Fixing in position the following size insulated butterfly valve (manual) with CI body SS disc, nitrile rubber seal & O ring PN -16 pressure rating for chilled/Hot water circulation & insulated with PUF insulation & 24 gauge aluminium sheet cladding in position conforming to technical specification. Valves beyond 350mm dia shall be gear operated. 50 mm dia | 2.00 | Set |  | 3500.00 | 7000.00 | 4500.00 | 9000.00 | 7000.00 | 14000.00 | 5500.00 | 11000.00 | 4220.00 | 8440.00 | 7000.00 | Ingenious Industries
8.02 | 65 mm dia | 5.00 | Set |  | 4500.00 | 22500.00 | 6500.00 | 32500.00 | 9000.00 | 45000.00 | 6500.00 | 32500.00 | 4920.00 | 24600.00 | 22500.00 | Ingenious Industries
8.03 | 80 mm dia | 2.00 | Set |  | 5500.00 | 11000.00 | 7000.00 | 14000.00 | 10000.00 | 20000.00 | 7000.00 | 14000.00 | 5280.00 | 10560.00 | 10560.00 | Mvac Engineers
9.01 | Providing and fixing in position the following Insulated balancing valves C I body flanged construction with EPDM coated disc with long pitch with protected out pipe insulation & PN-16 pressure rating for chilled/Hot water circulation as per the specifications & insulated with PUF insulation & 24 gauge aluminium sheet cladding in position conforming to technical specification. 50 mm dia | 1.00 | Job |  | 10000.00 | 10000.00 | 6500.00 | 6500.00 | 20000.00 | 20000.00 | 21501.00 | 21501.00 | 10000.00 | 10000.00 | 6500.00 | Skyline Airconditioning Engineers Pvt. Ltd.
9.02 | 65 mm dia | 2.00 | Job |  | 10000.00 | 20000.00 | 7500.00 | 15000.00 | 40000.00 | 80000.00 | 35000.00 | 70000.00 | 11260.00 | 22520.00 | 15000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
9.03 | 80 mm dia | 1.00 | Job |  | 32611.00 | 32611.00 | 9500.00 | 9500.00 | 45000.00 | 45000.00 | 40000.00 | 40000.00 | 12670.00 | 12670.00 | 9500.00 | Skyline Airconditioning Engineers Pvt. Ltd.
10.00 | Providing and fixing in position the following Insulated check valves (Non Return) with dual plat eof C.I. body SS plates vulcanized NBR seal flanged end & PN -16 pressure rating for chilled/hot water circulation as per the specifications & insulated with PUF insulation & 24 guage aluminium sheet cladding in position conforming to technical specification. 65 mm dia | 2.00 | Job |  | 4500.00 | 9000.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 8500.00 | 17000.00 | 4560.00 | 9120.00 | 9000.00 | Ingenious Industries
11.00 | Providing and fixing in position the following Insulated Y-Strainers with PUF insulation of ductile CI body flanged ends with SS strainer for chilled/hot water circulation as per the specifications. 65 mm dia | 2.00 | Set |  | 7000.00 | 14000.00 | 8500.00 | 17000.00 | 7000.00 | 14000.00 | 7500.00 | 15000.00 | 7150.00 | 14300.00 | 14000.00 | Ingenious Industries, RAJSON ELECTRONS
12.00 | Supply, installation, testing and commissioning of complete set of PICV/PIBC/ High rangeability control valve/ pressure independent dynamic balancing cum control valve, kit comprising of Two Way Control Valve of Brass/C.I body of PN16 ratings, motorised modulating actuators with linear stroke of minimum 15 mm,The actuator shall have shut off capability of min. 4 bar rating. LCD display digital controller(BMS compatible),three nos NTC sensors with complete wiring within AHU room,one thermowell,one power supply unit of 230Vac/24Vac.Tranparent IP55 Control box for mounting Digital controller and power supply unit.The valve size shall be suitable for pipe size/coil capacity with PUF insulation. 65 mm dia | 2.00 | Set |  | 35600.00 | 71200.00 | 85000.00 | 170000.00 | 59000.00 | 118000.00 | 49600.00 | 99200.00 | 70470.00 | 140940.00 | 71200.00 | Ingenious Industries
13.00 | Supply & Fixing of 32 mm ball valve with MS pipe nipple for AHU Chilled water Header lines & insulated with PUF insulation & 24 guage aluminium sheet cladding in position conforming to technical specification. | 5.00 | Set |  | 950.00 | 4750.00 | 2500.00 | 12500.00 | 4000.00 | 20000.00 | 1500.00 | 7500.00 | 2210.00 | 11050.00 | 4750.00 | Ingenious Industries
14.00 | Providing and fixing in position of preferred make flow switch complete with copper control wiring at chiller outlet of each machine. | 2.00 | Job |  | 1500.00 | 3000.00 | 3500.00 | 7000.00 | 4500.00 | 9000.00 | 2000.00 | 4000.00 | 2230.00 | 4460.00 | 3000.00 | Ingenious Industries
15.00 | Supply & Fixing of industrial type Thermometer with adopter for AHU chilled water line,etc complete as required. | 4.00 | Each |  | 1200.00 | 4800.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 1500.00 | 6000.00 | 930.00 | 3720.00 | 3720.00 | Mvac Engineers
16.00 | Supply & Fixing of dial type Pressure gauges having 150mm dia for AHUs including forged ball valves and pipe stem,etc complete as required. | 4.00 | Each |  | 1200.00 | 4800.00 | 2000.00 | 8000.00 | 2000.00 | 8000.00 | 1500.00 | 6000.00 | 1070.00 | 4280.00 | 4280.00 | Mvac Engineers
17.00 | Providing and fixing and in position the following PVC pipes for condensate drain duly insulated with kinny foam & vapour barrier duly secured with adhesive tape as per specification ,cut to required length and installed with all joints , including the necessary fittings. (For all the AHU/FCU units upto the main header in the shaft dor vertical risers) | 30.00 | Metre |  | 350.00 | 10500.00 | 400.00 | 12000.00 | 400.00 | 12000.00 | 400.00 | 12000.00 | 210.00 | 6300.00 | 6300.00 | Mvac Engineers
18.00 | Supply, installation ,testing and commissioning of Auto Air vents,at the specified locations in the chilled water piping , alongwith isolation ball valves, as per preferred makes. Auto air vent with isolating ball valves (15 mm dia) | 4.00 | Job |  | 1250.00 | 5000.00 | 800.00 | 3200.00 | 2500.00 | 10000.00 | 1500.00 | 6000.00 | 1080.00 | 4320.00 | 3200.00 | Skyline Airconditioning Engineers Pvt. Ltd.
19.01 | Supply, Fabrication, Installation and testing of factory fabricated sheet metal ducts (rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter, vanes, hangers, supports etc.) in accordance with the approved shop drawings and specifications, and shall also confirm to the BIS specifications. The duct shall be fabricated at site for to suit pleces. 120 GSM. 0.63 mm (24 gauge) GSS | 500.00 | Sq.m |  | 850.00 | 425000.00 | 800.00 | 400000.00 | 900.00 | 450000.00 | 875.00 | 437500.00 | 1080.00 | 540000.00 | 400000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
19.02 | 0.8 mm (22 gauge) GSS | 300.00 | Sq.m |  | 950.00 | 285000.00 | 1100.00 | 330000.00 | 1100.00 | 330000.00 | 995.00 | 298500.00 | 1320.00 | 396000.00 | 285000.00 | Ingenious Industries
19.03 | 1.0 mm (20 gauge) GSS | 50.00 | Sq.m |  | 1350.00 | 67500.00 | 1500.00 | 75000.00 | 1400.00 | 70000.00 | 1350.00 | 67500.00 | 1510.00 | 75500.00 | 67500.00 | REFROTECH SYNERGY PVT LTD, Ingenious Industries
19.04 | 1.25 mm (18 gauge) GSS | 50.00 | Sq.m |  | 1550.00 | 77500.00 | 1750.00 | 87500.00 | 1600.00 | 80000.00 | 1550.00 | 77500.00 | 1710.00 | 85500.00 | 77500.00 | REFROTECH SYNERGY PVT LTD, Ingenious Industries
20.01 | Supply, Fabrication, Installation and testing of site fabricated sheet metal ducts (rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter, vanes, hangers, supports etc.) in accordance with the approved shop drawings and specifications, and shall also confirm to the BIS specifications. The duct shall be fabricated at site for to suit pleces. 120 GSM. 0.63 mm (24 gauge) GSS | 100.00 | Sq.m |  | 900.00 | 90000.00 | 900.00 | 90000.00 | 950.00 | 95000.00 | 900.00 | 90000.00 | 980.00 | 98000.00 | 90000.00 | REFROTECH SYNERGY PVT LTD, Ingenious Industries, Skyline Airconditioning Engineers Pvt. Ltd.
20.02 | 0.8 mm (22 gauge) GSS | 100.00 | Sq.m |  | 1050.00 | 105000.00 | 1000.00 | 100000.00 | 1150.00 | 115000.00 | 1050.00 | 105000.00 | 1140.00 | 114000.00 | 100000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
20.03 | 1.0 mm (20 gauge) GSS | 250.00 | Sq.m |  | 1200.00 | 300000.00 | 1100.00 | 275000.00 | 1400.00 | 350000.00 | 1350.00 | 337500.00 | 1380.00 | 345000.00 | 275000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
20.04 | 1.25 mm (18 gauge) GSS | 250.00 | Sq.m |  | 1350.00 | 337500.00 | 1200.00 | 300000.00 | 1600.00 | 400000.00 | 1550.00 | 387500.00 | 1980.00 | 495000.00 | 300000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
21.01 | Supply, Installation and Testing of factory fabricated GI , Double Walled spiral round ducting complete with hanging arrangement including fully threaded GI rods , GI straps and GI "C" channels/ rolled steel wires or Gripple Wire Rope Hangers & Supports complete with end fixing, GI "C" channels etc. as approved clients/consultants in accordance with the approved shop drawings and specifications.Quoted price shall be inclusive of necessary scaffolding charges towards installation of supply/exhaust air ducts outside or within building wherever required. Outer and Inner duct must be spiral round duct along with Insulation material shall be 13mm/19mm thick, Class "O" closed cell elastomeric Insulation , Sadwich between the spiral ducts. Jointing of two spiral ducts, shall be slip type coupling and closed with Dish type End caps. Ducts shall be factory powder coated of colour and shade as approved by the Architects for exposed spiral ducts. Quoted price shall be inclusive of powder coating. Necessary compliance to be submitted by vendors. With Powder Coat. Duct ø 1.3 m,20 G GI | 100.00 | Sq.m |  | 3150.00 | 315000.00 | 1500.00 | 150000.00 | 5250.00 | 525000.00 | 5100.00 | 510000.00 | 4130.00 | 413000.00 | 150000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
21.02 | Duct ø 1.2 m,20 G GI | 100.00 | Sq.m |  | 3150.00 | 315000.00 | 1750.00 | 175000.00 | 5000.00 | 500000.00 | 4850.00 | 485000.00 | 4130.00 | 413000.00 | 175000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
21.03 | Duct ø 1.0 m,22 G GI | 20.00 | Sq.m |  | 3000.00 | 60000.00 | 1800.00 | 36000.00 | 4500.00 | 90000.00 | 4300.00 | 86000.00 | 3670.00 | 73400.00 | 36000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
21.04 | Duct ø 0.85 m,22 G GI | 20.00 | Sq.m |  | 3000.00 | 60000.00 | 1850.00 | 37000.00 | 4300.00 | 86000.00 | 4100.00 | 82000.00 | 3670.00 | 73400.00 | 37000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
22.01 | Providing and fixing of Extruded aluminium supply and return air grilles/diffusers/louvres with dampers, supply air plenum etc. duly powder coated as per specifications and drawings. Aluminium supply air grilles with opposed blade damper. | 10.00 | Sq.m |  | 7000.00 | 70000.00 | 7500.00 | 75000.00 | 8990.00 | 89900.00 | 8000.00 | 80000.00 | 10440.00 | 104400.00 | 70000.00 | Ingenious Industries
22.02 | Aluminium return air grilles without damper. | 10.00 | Sq.m |  | 4500.00 | 45000.00 | 6000.00 | 60000.00 | 8000.00 | 80000.00 | 6500.00 | 65000.00 | 6090.00 | 60900.00 | 45000.00 | Ingenious Industries
22.03 | Aluminium supply air square diffuser with opposed blade damper. | 15.00 | Sq.m |  | 8500.00 | 127500.00 | 11000.00 | 165000.00 | 9500.00 | 142500.00 | 9000.00 | 135000.00 | 12980.00 | 194700.00 | 127500.00 | Ingenious Industries
22.04 | Aluminium return/exhaust air square diffuser without damper. | 15.00 | Sq.m |  | 6000.00 | 90000.00 | 8500.00 | 127500.00 | 9870.00 | 148050.00 | 7500.00 | 112500.00 | 8630.00 | 129450.00 | 90000.00 | Ingenious Industries
22.05 | Aluminium return/exhaust disc Valve circular/squirell diffuser without damper. | 150.00 | Nos |  | 650.00 | 97500.00 | 1000.00 | 150000.00 | 850.00 | 127500.00 | 900.00 | 135000.00 | 710.00 | 106500.00 | 97500.00 | Ingenious Industries
22.06 | Jet Diffusers with Buterfly Damper- 1500 CFM | 50.00 | Nos |  | 3000.00 | 150000.00 | 4000.00 | 200000.00 | 4300.00 | 215000.00 | 4500.00 | 225000.00 | 2560.00 | 128000.00 | 128000.00 | Mvac Engineers
22.07 | GI Volume control dampers for ducts | 10.00 | Sq.m |  | 4000.00 | 40000.00 | 4500.00 | 45000.00 | 8000.00 | 80000.00 | 7500.00 | 75000.00 | 7800.00 | 78000.00 | 40000.00 | Ingenious Industries
22.08 | Non Return Damper for Plenum | 2.00 | Sq.m |  | 5500.00 | 11000.00 | 4000.00 | 8000.00 | 12000.00 | 24000.00 | 9500.00 | 19000.00 | 8030.00 | 16060.00 | 8000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
23.01 | Supply, Installation, Testing and commissioning of motorized combination fire and smoke damper (spring return type) of preferred make of atleast 120 minute fire rating and as per the specifications as detailed earlier in the relevant sections.The fire damper shall be complete with electronic temperature sensor and electrically operated actuator .The fire dampers shall be located in the supply/return air ducts, at all fire rated crossovers (shafts/walls etc.) The control panel will be such located that the reset can be easily done These combination smoke and fire dampers shall be interlocked with the building management system for fire detection / HVAC and shall trip/close in the event of fire / smoke in the respective zone . Bare Fire Dampers with 400 mm sleeve | 6.00 | Sq.m |  | 6500.00 | 39000.00 | 6500.00 | 39000.00 | 12000.00 | 72000.00 | 9500.00 | 57000.00 | 12250.00 | 73500.00 | 39000.00 | Ingenious Industries, Skyline Airconditioning Engineers Pvt. Ltd.
23.02 | Control panel for actuator , including necessary interconnecting wiring. | 6.00 | Job |  | 1500.00 | 9000.00 | 9000.00 | 54000.00 | 3000.00 | 18000.00 | 2500.00 | 15000.00 | 2140.00 | 12840.00 | 9000.00 | Ingenious Industries
23.03 | Electrical,spring type actuator,remote indication of the fire damper position. | 6.00 | Job |  | 6500.00 | 39000.00 | 2500.00 | 15000.00 | 12500.00 | 75000.00 | 8000.00 | 48000.00 | 7940.00 | 47640.00 | 15000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
23.04 | 230/24V transformer suitable for control panel for actuator. | 6.00 | Job |  | 500.00 | 3000.00 | 1000.00 | 6000.00 | 3000.00 | 18000.00 | 1500.00 | 9000.00 | 840.00 | 5040.00 | 3000.00 | Ingenious Industries
23.05 | Interconnecting wiring for the fire alarm system with the AHU and the smoke dampers. | 2.00 | Job |  | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 6000.00 | 12000.00 | 4000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
23.06 | Sealing the openings around the sleeve of the fire dampers with approved fire sealant, as per the recommendations of the manufacturer and specifications. | 2.00 | Job |  | 1000.00 | 2000.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 2980.00 | 5960.00 | 2000.00 | REFROTECH SYNERGY PVT LTD, Ingenious Industries, RAJSON ELECTRONS
23.07 | Supply,Installation,Testing and commissioning of doble layer canvas connection with 1/2 hr. fire rating as per specification. | 10.00 | Sq.m |  | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 3500.00 | 35000.00 | 3000.00 | 30000.00 | 2730.00 | 27300.00 | 10000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
24.00 | SITC of 100 mm dia. Flexible duct for toilet exhaust as required. | 200.00 | Metre |  | 350.00 | 70000.00 | 200.00 | 40000.00 | 400.00 | 80000.00 | 375.00 | 75000.00 | 190.00 | 38000.00 | 38000.00 | Mvac Engineers
25.01 | Supply and Application of Acoustic Insulation Inside the Duct with Engineered Nitrile Rubber open cell foam with Density 140 - 180 Kg/m3 passing Class 1 Fire Performance test as per BS 476 Part 7, Air Erosion test for 10,000 fpm air velocity as per ASTM C 1071-05 and with built-in EPA approved antimicrobial protection; to be applied using manufacturer's recommended Rubber based Adhesive in a blend of solvents. 25mm thick for AHU Room | 100.00 | Sq.m |  | 1050.00 | 105000.00 | 3000.00 | 300000.00 | 1350.00 | 135000.00 | 1300.00 | 130000.00 | 1920.00 | 192000.00 | 105000.00 | Ingenious Industries
25.02 | 25 mm thick for AHU duct | 400.00 | Sq.m |  | 1150.00 | 460000.00 | 2950.00 | 1180000.00 | 1350.00 | 540000.00 | 1300.00 | 520000.00 | 1780.00 | 712000.00 | 460000.00 | Ingenious Industries
26.01 | Supply, Installation and fixing of following thickness closed cell Nitrile rubber (Class "0") with factory laminated black treated woven cloth surface insulation on existing duct after applying suitable adhesive for Nitrile rubber. The joints shall be sealed with 50 mm wide and 3 mm thick self adhesive nitrile rubber tape insulation complete as per specifications and as required. (adhesive shall be from same manufacturer) 19 mm thick class "O" nitrile rubber insulation with factory woven glass cloth protection (Black Colour) (Mechanical Protection) for supply air ducts in free return air path & return air ducts. | 800.00 | Sq.m |  | 700.00 | 560000.00 | 750.00 | 600000.00 | 775.00 | 620000.00 | 750.00 | 600000.00 | 830.00 | 664000.00 | 560000.00 | Ingenious Industries
26.02 | 13 mm thick class "O" nitrile rubber insulation with factory woven glass cloth protection (Black Colour) (Mechanical Protection) for supply air ducts in exposed path | 900.00 | Sq.m |  | 500.00 | 450000.00 | 500.00 | 450000.00 | 575.00 | 517500.00 | 550.00 | 495000.00 | 700.00 | 630000.00 | 450000.00 | Ingenious Industries, Skyline Airconditioning Engineers Pvt. Ltd.
27.00 | Supply, Installation, testing and commissioning of 24 G Al cladding as required. | 300.00 | Sq.m |  | 900.00 | 270000.00 | 1000.00 | 300000.00 | 1300.00 | 390000.00 | 1275.00 | 382500.00 | 1010.00 | 303000.00 | 270000.00 | Ingenious Industries
28.00 | Supply, installation, testing & commisioning of Copper conductor , PVC insulated, PVC sheathed armoured cable of 1.1 KV grade (Which is Interconnecting wiring for the fire alarm system with the AHU and the smoke dampers and AHU to Control Consol Panel). 2C x 1.5 Sqmm | 350.00 | Metre |  | 95.00 | 33250.00 | 200.00 | 70000.00 | 155.00 | 54250.00 | 155.00 | 54250.00 | 110.00 | 38500.00 | 33250.00 | Ingenious Industries
29.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray cable tray with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc as required. 150 mm width X 50 mm depth X 1.6 mm thickness | 100.00 | Metre |  | 350.00 | 35000.00 | 450.00 | 45000.00 | 600.00 | 60000.00 | 600.00 | 60000.00 | 620.00 | 62000.00 | 35000.00 | Ingenious Industries
30.00 | Providing and fixing following size of G.I. strip / (25mm x 5mm ) on surface or in recess for loop earthing alongwith the existing surface/ recessed conduit/ submain wiring / on cable tray/ on surface including G.I. clamps etc. complete as required. 25mmx5mm GI Strip | 100.00 | Metre |  | 220.00 | 22000.00 | 350.00 | 35000.00 | 250.00 | 25000.00 | 250.00 | 25000.00 | 205.00 | 20500.00 | 20500.00 | Mvac Engineers
31.00 | Dismantling the existing air handling units of following capacity i/c motor, blower, cooling coil, electrical panel, Chilled water pipelines at Inlet & Outlet of AHUs upto 3-way mixing valve, etc with all associated accessories and handing over of all dismantled items to AAI stores, including transportatioin, etc complete as required. 8000 CFM Capacity (International arrival) | 2.00 | Job |  | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 15000.00 | 30000.00 | 20314.00 | 40628.00 | 34500.00 | 69000.00 | 10000.00 | Ingenious Industries, Skyline Airconditioning Engineers Pvt. Ltd.
| Total in Figures |  |  |  |  | 6881111.00 |  | 10464200.00 |  | 10590700.00 |  | 9877779.00 |  | 10541740.00
Lowest Amount Quoted BY: Ingenious Industries(6881111.00)

## BOQ Summary
BOQ Summary Details Tender Title: Reconfiguration of Existing Terminal Building at Aurangabad Airport. SH AHU Ducting Piping and Miscellaneous works. Tender ID: 2023_AAI_175869_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ingenious Industries | 6881111.00 | L1
| 2 | REFROTECH SYNERGY PVT LTD | 9877779.00 | L2
| 3 | Skyline Airconditioning Engineers Pvt. Ltd. | 10464200.00 | L3
| 4 | Mvac Engineers | 10541740.00 | L4
| 5 | RAJSON ELECTRONS | 10590700.00 | L5