## BoQ1
Government eProcurement System Created By: RAMESH BABU K Created Date/Time: 05-Jan-2024 05:22 PM Tender Title: Additional Works for Internal and External Electrical Installations and Signages at New International Terminal T2 at Chennai Airport Tender ID: 2023_AAI_176374_1
Tender Inviting Authority: AGM (E-E),Chennai
Name of Work: Additional Works for Internal & External Electrical Installations and Signages at New International Terminal (T2) at Chennai Airport
Contract No: 2023_AAI_176374_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SATIN NEO DIMENSIONS PVT LTD(GSTN-06AACCN8675P1ZN) |  | Balaji Engineering(GSTN-33ADGPV2628A1ZV) |  | GARIMA SALES CORPORATION(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Execution of works as per CPWD Delhi Schedule of rates ( E&M)-2018 as and when required for two years.( Rate shall be quoted for 1st Year and 2nd year in the Indian rupees only), payment of DSR item will be released on the basis of percentage calculation of quoted amount and fixed amount of Rs.10,00,000.00 as clarified below. For example if desired to quote 5% above on DSR (E&M) 2018 rates,the rate column shall be filled as Rs.10,50,000. If desired to quote 5% below on DSR-2018 rates the rates coloumn shall be filled as Rs.9,50,000.00 | 1.00 | Job |  | 1050000.00 | 1050000.00 | 1100000.00 | 1100000.00 | 1270000.00 | 1270000.00 | 1050000.00 | SATIN NEO DIMENSIONS PVT LTD
2.00 | Supply of PVC insulated and PVC sheathed / XLPE unarmoured power cable of 1.1 KV grade of following size as & when required ( Deviation Qty: -100% to +30 %)
2.01 | 3X2.5 Sqmm | 400.00 | Mtr |  | 220.00 | 88000.00 | 100.00 | 40000.00 | 153.00 | 61200.00 | 40000.00 | Balaji Engineering
2.02 | 3X 4 Sqmm | 400.00 | Mtr |  | 250.00 | 100000.00 | 125.00 | 50000.00 | 171.00 | 68400.00 | 50000.00 | Balaji Engineering
2.03 | 3X 6 Sqmm | 300.00 | Mtr |  | 300.00 | 90000.00 | 150.00 | 45000.00 | 216.00 | 64800.00 | 45000.00 | Balaji Engineering
2.04 | 4X4 Sqmm | 200.00 | Mtr |  | 300.00 | 60000.00 | 200.00 | 40000.00 | 234.00 | 46800.00 | 40000.00 | Balaji Engineering
2.05 | 4X25 Sqmm | 200.00 | Mtr |  | 1200.00 | 240000.00 | 300.00 | 60000.00 | 450.00 | 90000.00 | 60000.00 | Balaji Engineering
3.00 | Supply and fixing of PVC Casing Caping of following sizes with suitable Coupler, External ,Internal bend,Elbow , Tee and Junction box as required as per site condition. as & when required ( Deviation Qty : -100% to +30 %)
3.01 | 20X12mm | 200.00 | Mtr |  | 100.00 | 20000.00 | 100.00 | 20000.00 | 36.00 | 7200.00 | 7200.00 | GARIMA SALES CORPORATION
3.02 | 25X16mm | 200.00 | Mtr |  | 100.00 | 20000.00 | 125.00 | 25000.00 | 54.00 | 10800.00 | 10800.00 | GARIMA SALES CORPORATION
3.03 | 32x16mm | 100.00 | Mtr |  | 100.00 | 10000.00 | 200.00 | 20000.00 | 63.00 | 6300.00 | 6300.00 | GARIMA SALES CORPORATION
4.00 | Supply, assembly and laying of under floor trunking made out of 1.6mm(min) thick GI sheet complete with jointing sleeve, horizontal bends, vertical bends, level adjustment components and closer, vertical elbow, covers, access outlet. etc. complete with all other accessories under floor installation, making good the same, placing in position and cleaning from inside complete etc. as required (Deviation Qty :-100% to +30 %)
4.01 | 150 mm wide x 38 mm deep raceway (1 compartment) | 250.00 | Mtr |  | 700.00 | 175000.00 | 500.00 | 125000.00 | 990.00 | 247500.00 | 125000.00 | Balaji Engineering
4.02 | 50 mm wide x 38 mm deep raceway (1 compartment) | 50.00 | Mtr |  | 450.00 | 22500.00 | 300.00 | 15000.00 | 810.00 | 40500.00 | 15000.00 | Balaji Engineering
5.00 | Providing and fixing 300 x 300 x 50-70 mm deep GI (hot dip galvanized) cross over box made out of 1.6 mm thick sheet steel cross over box in under floor installation in complete as requried as per specification.( Deviation Qty : -100% to +30 %) | 10.00 | Nos |  | 3200.00 | 32000.00 | 700.00 | 7000.00 | 2700.00 | 27000.00 | 7000.00 | Balaji Engineering
6.00 | Providing and fixing 225 x 225 x 50-70 mm deep GI (hot dip galvanized) cross over box made out of 1.6 mm thick sheet steel junction box in under floor installation in complete as requried as per specification.( Deviation Qty : -100% to +30 %) | 15.00 | Nos |  | 2900.00 | 43500.00 | 600.00 | 9000.00 | 2520.00 | 37800.00 | 9000.00 | Balaji Engineering
7.00 | Providing and fixing 150 x 150 x 50-70 mm deep GI (hot dip galvanized) cross over box made out of 1.6 mm thick sheet steel junction box under floor installation in complete as requried as per specification. ( Deviation Qty : -100% to +30 %) | 10.00 | Nos |  | 2700.00 | 27000.00 | 500.00 | 5000.00 | 1800.00 | 18000.00 | 5000.00 | Balaji Engineering
8.00 | Supply and fixing of pop up type metal flush mounting box (floor mounted) on floor including Switch & sockets, connection & accessories etc. as required. ( Deviation Qty : -100% to +30 %)
8.01 | 3 Module ( 6 amps ) | 10.00 | Nos |  | 870.00 | 8700.00 | 1000.00 | 10000.00 | 2520.00 | 25200.00 | 8700.00 | SATIN NEO DIMENSIONS PVT LTD
8.02 | 4 Module ( 6/16 amps) | 6.00 | Nos |  | 1350.00 | 8100.00 | 1000.00 | 6000.00 | 3933.00 | 23598.00 | 6000.00 | Balaji Engineering
9.00 | Supply and fixing of pop up type metal flush mounting box (Furniture Mounted)including Switch & sockets, connection & accessories etc. as required.( Deviation Qty : -100% to +30 %)
9.01 | 4 Module ( 6/16 amps) | 5.00 | Nos |  | 1680.00 | 8400.00 | 1200.00 | 6000.00 | 3933.00 | 19665.00 | 6000.00 | Balaji Engineering
10.00 | Signages
10.01 | Providing and Fixing of computerised 3M vinyl cut text of approved matter in three langauage with directiontional sign etc., in double colour on existing 5mm thick Polycarbonate sheet of differnent sizes as per site conditions including dismantling of exisitng polycarbonate sheet board from the existing signage board and remove the existing signage vinyl sticker over the polycarbonate sheet including cleaning of the complete polycarbonate surface without causing any damage and scratch over the surface and refixing the polycarbonate sheet on the existing sign board etc., as per direction of Engineer-in-Charge complete as required. ( As per TATA Elxi standard) shall be got done | 500.00 | Sqft |  | 686.25 | 343125.00 | 3000.00 | 1500000.00 | 630.00 | 315000.00 | 315000.00 | GARIMA SALES CORPORATION
11.00 | Flour Mounted Sign Boards:Supply, Assembly, Installation, connecting ,testing commisioning of illuminated vinyl slim signage with 5mm thick polycarbonate sheet of following size(s) having the approved electrocut text matter (in three languagees) the signage frame shall be made 50mm wide powder coated colour RAL 9006 special aluminium extrusion with inbuilt frame and internal frame work shall be made of 25mm x 25mm x 1.3mm thick hollow squared sections shall be directly fixed to the sign frame. The sign board shall be fixed with 100mm x 100mm x 3mm thick mill finish Stainless steel square post (2Nos) including SS base plate and Gussets in 6mm thick with all hardware accessories. The SS plate with holes to fix it on holding down bolts anchored in concrete slab. The base plate shall be covered with a 3mm thick SS plate covering and approved by Engineerg-in- Charge. The pictographs boards with computerized automated self adhesive Translucent/coloured/blockout /white cast vinyl of 3M or coolybrite make having 2 or more layered facia as per requirement of approved art works including suitable ceiling mounting i/c gypsum board cutting and misc. ceiling works (if required) and make good the damage along with internal illumination acheived by using suitable 4Nos.12Volt 65watts LED strip (5mtrs.) 6500 K with 4Nos. 12 Volt driver complete with all internal wiring, connectors etc., as required as per the specification and approved drawings (Note: The item includes for providing 3x1.5sq.mm copper wiring i/c earthing in matalic flexible conduit from nearest source upto a distance of 5 mtrs.)
11.01 | Four Message board double side size: 1040mm (H) x 2100mm (B) X 50 mm (D) | 3.00 | Each |  | 131116.12 | 393348.36 | 50000.00 | 150000.00 | 99000.00 | 297000.00 | 150000.00 | Balaji Engineering
11.02 | Five Message board double side size: 1300mm (H) x 2100mm (B) X 50mm (D) | 2.00 | Each |  | 138818.67 | 277637.34 | 60000.00 | 120000.00 | 117000.00 | 234000.00 | 120000.00 | Balaji Engineering
12.00 | Flour Mounted Sign Boards:Supply, Assembly, Installation, connecting ,testing commisioning of illuminated vinyl slim signage with 5mm thick polycarbonate sheet of following size(s) having the approved electrocut text matter (in three languagees) the signage frame shall be made 50mm wide powder coated colour RAL 9006 special aluminium extrusion with inbuilt frame and internal frame work shall be made of 25mm x 25mm x 1.3mm thick hollow squared sections shall be directly fixed to the sign frame. The sign board shall be fixed with 100mm x 100mm x 3mm thick mill finish Stainless steel square post (2Nos) including SS base plate and Gussets in 6mm thick with all hardware accessories. The SS plate with holes to fix it on holding down bolts anchored in concrete slab. The base plate shall be covered with a 3mm thick SS plate covering and approved by Engineerg-in- Charge. The pictographs boards with computerized automated self adhesive Translucent/coloured/blockout /white cast vinyl of 3M or coolybrite make having 2 or more layered facia as per requirement of approved art works including suitable ceiling mounting i/c gypsum board cutting and misc. ceiling works (if required) and make good the damage along with internal illumination acheived by using suitable 4Nos.12Volt 65watts LED strip (5mtrs.) 6500 K with 4Nos. 12 Volt driver complete with all internal wiring, connectors etc., as required as per the specification and approved drawings (Note: The item includes for providing 3x1.5sq.mm copper wiring i/c earthing in matalic flexible conduit from nearest source upto a distance of 5 mtrs.)
12.01 | 2100 X 285 X 50mm | 10.00 | Each |  | 84243.56 | 842435.60 | 25000.00 | 250000.00 | 45000.00 | 450000.00 | 250000.00 | Balaji Engineering
12.02 | 2100 X 575 X 50mm | 10.00 | Each |  | 91055.41 | 910554.10 | 30000.00 | 300000.00 | 59400.00 | 594000.00 | 300000.00 | Balaji Engineering
12.03 | 2100 X 865 X 50mm | 15.00 | Each |  | 98743.82 | 1481157.30 | 35000.00 | 525000.00 | 69300.00 | 1039500.00 | 525000.00 | Balaji Engineering
| Total in Figures |  |  |  |  | 6251457.70 |  | 4428000.00 |  | 4994263.00
Lowest Amount Quoted BY: Balaji Engineering(4428000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Additional Works for Internal and External Electrical Installations and Signages at New International Terminal T2 at Chennai Airport Tender ID: 2023_AAI_176374_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Balaji Engineering | 4428000.00 | L1
| 2 | GARIMA SALES CORPORATION | 4994263.00 | L2
| 3 | SATIN NEO DIMENSIONS PVT LTD | 6251457.70 | L3