## BoQ1
Government eProcurement System Created By: KHEMRAJ MEENA Created Date/Time: 28-Dec-2023 05:24 PM Tender Title: Renovation of Toilet Blocks in Terminal Building at Kishangarh Airport Tender ID: 2023_AAI_176425_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-C), Kishangarh Airport, Ajmer
Name of Work:- Renovation of Toilet Blocks in Terminal Building at Kishangarh Airport.
Contract No: 9001297032
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Proficio Engineering And Construction Pvt. Ltd.(GSTN-07AAHCP4985D2Z5) |  | RDO ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 95.00 | Sqm | 100.00 | 750.00 | 71250.00 | 700.00 | 66500.00 | 66500.00 | RDO ENTERPRISES
2.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 95.00 | Sqm | 101.00 | 100.00 | 9500.00 | 60.00 | 5700.00 | 5700.00 | RDO ENTERPRISES
3.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 5.00 | Sqm | 101.00 | 4500.00 | 22500.00 | 2900.00 | 14500.00 | 14500.00 | RDO ENTERPRISES
4.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 5.00 | Sqm | 101.00 | 350.00 | 1750.00 | 402.00 | 2010.00 | 1750.00 | Proficio Engineering And Construction Pvt. Ltd.
5.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick | 9.00 | Sqm | 101.00 | 1500.00 | 13500.00 | 800.00 | 7200.00 | 7200.00 | RDO ENTERPRISES
6.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades,laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 95.00 | Sqm | 100.00 | 1100.00 | 104500.00 | 800.00 | 76000.00 | 76000.00 | RDO ENTERPRISES
7.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For fixed portionPowder coated aluminium (minimum thickness of powder coating 50 micron) | 100.00 | KG | 101.00 | 500.00 | 50000.00 | 350.00 | 35000.00 | 35000.00 | RDO ENTERPRISES
8.00 | Dismantling tile work in walls, floors and roofs laid in cement mortar including stacking material within 50 metres lead.For thickness of tiles 10 mm to 25 mm | 480.00 | Sqm | 101.00 | 150.00 | 72000.00 | 100.00 | 48000.00 | 48000.00 | RDO ENTERPRISES
9.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, walls, etc. laid with cement based high polymer modified quick set tile Grey, polymer modified adhesive (water based) conforming to IS: 15477, in average 6 mm thickness complete as per the direction of EIC. Size of Tile 600x1200 mm. | 390.00 | Sqm | 101.00 | 1100.00 | 429000.00 | 1200.00 | 468000.00 | 429000.00 | Proficio Engineering And Construction Pvt. Ltd.
10.00 | Dismantling of water closet pan (Indian/European) with flushing cistern of all types (C.I./PVC/Vitrious China), wash basin and urinal including stacking of useful materials near the site and disposal of unserviceable materials all lead as per direction & satisfaction of Engineer in charge. | 47.00 | Each | 101.00 | 800.00 | 37600.00 | 100.00 | 4700.00 | 4700.00 | RDO ENTERPRISES
11.00 | Dismantling of Liquid Soap dispenser, Health Faucet, Toilet paper holder, Paper towel dispensor all types (SS/PVC) from the Toilets in Airport premises including stacking of serviceable material and disposal of unserviceable material all lead as per direction & satisfaction of Engineer in charge. | 63.00 | Each | 100.00 | 200.00 | 12600.00 | 100.00 | 6300.00 | 6300.00 | RDO ENTERPRISES
12.00 | Dismantling of Pillar cock, bottle trap, stop cock, bib cock etc. and connecting fittings including stacking of useful materials near the site and disposal of unserviceable materials to all lead complete as per direction & satisfaction of Engineer in charge. | 82.00 | Each | 101.00 | 300.00 | 24600.00 | 100.00 | 8200.00 | 8200.00 | RDO ENTERPRISES
13.00 | Providing and fixing 12 mm thick Solid Acrylic Surface Boards of approved make for vanity counters and similar locations of required size, approved shade, colour and texture with matching polyfix acrylic adhesive etc. complete as per direction & satisfaction of Engineer in charge. | 30.00 | Sqm | 101.00 | 1200.00 | 36000.00 | 1000.00 | 30000.00 | 30000.00 | RDO ENTERPRISES
14.00 | Providing and fixing of Metropole Flush Valve Regular 32mm Size (Concealed Body) With Exposed Shut Off Provision of make Jaquar (item code- FLV-CHR-1095NSQ)or equivalent make as per direction and satisfaction of E-I-C. | 9.00 | Each | 101.00 | 2500.00 | 22500.00 | 4200.00 | 37800.00 | 22500.00 | Proficio Engineering And Construction Pvt. Ltd.
15.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern of Jaquar (item code- JAH-WHT-184NBTL) or equivalent make including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required:White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 10.00 | Each | 101.00 | 4500.00 | 45000.00 | 1800.00 | 18000.00 | 18000.00 | RDO ENTERPRISES
16.00 | Providing and fixing white vitreous china extended wall mounting water closet of make Jaquar (item code- CNS-WHT-963UFSM) or equivalent along with single piece slim concealed cistern with floor mounting frame (item code- JCS-WHT- 2400FS) installation kit and "S-type" drain pipe connection set and flush control palte (item code- JCP-CHR-372415) including seat cover, cistern fittings, nuts, bolts and gasket etc. complete as per the direction & satisfaction of Engineer in charge. | 12.00 | Each | 100.00 | 8500.00 | 102000.00 | 10000.00 | 120000.00 | 102000.00 | Proficio Engineering And Construction Pvt. Ltd.
17.00 | Providing and fixing beveled edge mirror of required size of superior glass of thickness 8 mm (of approved quality) complete with 6 mm thick hard board (MDF) ground fixed to wooden cleats with C.P. brass screws and washers complete as per direction & satisfaction of Engineer in charge. | 10.00 | Sqm | 101.00 | 1000.00 | 10000.00 | 3000.00 | 30000.00 | 10000.00 | Proficio Engineering And Construction Pvt. Ltd.
18.00 | Providing and fixing of "EURONICS" Make Baby Diaper Changing Station in Stainless steel body fixed to the wall with brackets and etc., complete as per direction & satisfaction of Engineer in charge.Code No: EDC3 | 1.00 | Each | 101.00 | 10000.00 | 10000.00 | 50000.00 | 50000.00 | 10000.00 | Proficio Engineering And Construction Pvt. Ltd.
19.00 | Providing and fixing soap dispenser of make Jaquar (item code- ACN-CHR-1137N) or equivalent as per direction & satisfaction of Engineer in charge. | 19.00 | Each | 101.00 | 350.00 | 6650.00 | 3800.00 | 72200.00 | 6650.00 | Proficio Engineering And Construction Pvt. Ltd.
20.00 | Providing & fixing wall mounted paper towel dispenser of make Jaquar (item code- PTD-SAP-DT0106CS) or equivalent, with all necessary fitting and fixture complete as per direction & satisfaction of Engineer in charge. | 13.00 | Each | 101.00 | 350.00 | 4550.00 | 8000.00 | 104000.00 | 4550.00 | Proficio Engineering And Construction Pvt. Ltd.
21.00 | Providing & fixing 32mm size C.P. waste coupling, half thread of make Jaquar (item code- ALD-CHR-709) or equivalent complete as per direction & satisfaction of Engineer-in-charge. | 20.00 | Each | 100.00 | 475.00 | 9500.00 | 650.00 | 13000.00 | 9500.00 | Proficio Engineering And Construction Pvt. Ltd.
22.00 | Providing & fixing Towel rail 300mm long of make Jaquar (item code- ACN-CHR-1101S) or equivalent as per direction & satisfaction of Engineer in charge. | 19.00 | Each | 101.00 | 1450.00 | 27550.00 | 1600.00 | 30400.00 | 27550.00 | Proficio Engineering And Construction Pvt. Ltd.
23.00 | Providing & fixing soap dish holder of make Jaquar (item code- ACN-CHR-1131N) or equivalent as per direction & satisfaction of Engineer in charge. | 19.00 | Each | 101.00 | 400.00 | 7600.00 | 850.00 | 16150.00 | 7600.00 | Proficio Engineering And Construction Pvt. Ltd.
24.00 | Providing & fixing Toilet roll holder of make Jaquar (item code- ACN-CHR-1151N) or equivalent as per direction & satisfaction of Engineer in charge. | 19.00 | Each | 101.00 | 350.00 | 6650.00 | 800.00 | 15200.00 | 6650.00 | Proficio Engineering And Construction Pvt. Ltd.
25.00 | Providing & fixing of Double coat hook of make Jaquar (item code- ACN-CHR-1161N) or equivalent as per direction & satisfaction of Engineer in charge. | 19.00 | Each | 101.00 | 450.00 | 8550.00 | 600.00 | 11400.00 | 8550.00 | Proficio Engineering And Construction Pvt. Ltd.
26.00 | Providing & fixing Pillar cock with 200mm Extension Body of make Jaquar (item code- OPP-GLD-15021PM) or equivalent as per direction & satisfaction of Engineer in charge. | 1.00 | Each | 100.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 1500.00 | Proficio Engineering And Construction Pvt. Ltd.
27.00 | Providing & fixing Pillar cock with 200mm Extension Body of make Jaquar (item code- OPP-CHR-15021PM) or equivalent as per direction & satisfaction of Engineer in charge. | 18.00 | Each | 101.00 | 1500.00 | 27000.00 | 5000.00 | 90000.00 | 27000.00 | Proficio Engineering And Construction Pvt. Ltd.
28.00 | Supply of Bib cock with wall flange of make Jaquar (item code- KUP-CHR-35037PM) or equivalent as per direction & satisfaction of Engineer in charge. | 10.00 | Each | 101.00 | 1050.00 | 10500.00 | 2500.00 | 25000.00 | 10500.00 | Proficio Engineering And Construction Pvt. Ltd.
29.00 | Providing & fixing Angular stopcock with wall flange of make Jaquar (item code- KUP-CHR-35053PM) or equivalent as per direction & satisfaction of Engineer in charge. | 28.00 | Each | 101.00 | 1200.00 | 33600.00 | 1800.00 | 50400.00 | 33600.00 | Proficio Engineering And Construction Pvt. Ltd.
30.00 | Providing and fixing of Handicap toilet kit of make Jaquar (item code- WAC-SAP-BR0600CS) or equivalent including fixing of Grab bar (SS 304) with all necessary fittings completed as per direction & satisfaction of Engineer in charge. | 3.00 | Each | 101.00 | 6000.00 | 18000.00 | 8000.00 | 24000.00 | 18000.00 | Proficio Engineering And Construction Pvt. Ltd.
31.00 | Providing and fixing of Handicap toilet kit of of make Jaquar (item code- WAC-SAP-BG0800CS) or equivalent including fixing of vertical swing Grab bar (SS 304) with all necessary fittings completed as per direction & satisfaction of Engineer in charge. | 3.00 | Each | 100.00 | 6500.00 | 19500.00 | 23000.00 | 69000.00 | 19500.00 | Proficio Engineering And Construction Pvt. Ltd.
32.00 | Providing and fixing of 420x420x150 mm size table top wash basin of make Jaquar (item code- JDS-BLM-25911) or equivalent complete as per direction & satisfaction of Engineer in charge. | 1.00 | Each | 101.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 5000.00 | Proficio Engineering And Construction Pvt. Ltd.
33.00 | Providing and fixing of 420x420x150 mm size table top wash basin of make Jaquar (item code- JDS-WHM-25911) or equivalent complete as per direction & satisfaction of Engineer in charge. | 18.00 | Each | 101.00 | 5200.00 | 93600.00 | 10000.00 | 180000.00 | 93600.00 | Proficio Engineering And Construction Pvt. Ltd.
34.00 | Providing and fixing of Hand Shower (Health Faucet) with 8mm Dia, 1.2 Meter Long Flexible Tube & Wall Hook of make Jaquar (item code- ALD-CHR-573) or equivalent as per direction & satisfaction of Engineer in charge. | 12.00 | Each | 101.00 | 1000.00 | 12000.00 | 1800.00 | 21600.00 | 12000.00 | Proficio Engineering And Construction Pvt. Ltd.
35.00 | Providing and fixing of flexible tube 8mm dia 1.5 mtr. long for Health faucet of make Jaquar (item code- SHA-CHR-549D8) or equivalent as per direction & satisfaction of Engineer in charge. | 10.00 | Each | 101.00 | 800.00 | 8000.00 | 1300.00 | 13000.00 | 8000.00 | Proficio Engineering And Construction Pvt. Ltd.
36.00 | Providing and fixing wash basin of make Jaquar (item code- SLS-WHT-6801) or equivalent with full pedestal wall hung basin including fittings and filling the gaps with silicon and making good the walls wherever require with other necessary fittings completed as per site condition as per direction & satisfaction of Engineer in charge. | 1.00 | Each | 100.00 | 3500.00 | 3500.00 | 7000.00 | 7000.00 | 3500.00 | Proficio Engineering And Construction Pvt. Ltd.
37.00 | Providing and fixing of white vitreous china urinal of make Jaquar (item code- URS-WHT-13259) or equivalent in approved shape & size as per direction & satisfaction of Engineer in charge. | 10.00 | Each | 101.00 | 8800.00 | 88000.00 | 13000.00 | 130000.00 | 88000.00 | Proficio Engineering And Construction Pvt. Ltd.
38.00 | Providing and fixing of 32mm CP Brass bottle trap with internal partition of make Jaquar (item code- ALD-CHR-769 L250X190) or equivalent with 250mm wall coneection pipe & 190mm wall flange for wash basin and urinals etc. complete as per direction & satisfaction of Engineer in charge. | 20.00 | Each | 101.00 | 1850.00 | 37000.00 | 2500.00 | 50000.00 | 37000.00 | Proficio Engineering And Construction Pvt. Ltd.
39.00 | Providing and fixing Urinal partition/ Urinal Modesty panels (Make - Merino or equivalent) made of high pressure laminated compact sheet having size 1200mm x 500mm and panel thickness 12mm fixed with SS 304 PA-6 made brackets & fixtures all complete as per direction & satisfaction of Engineer in charge. | 9.00 | Each | 101.00 | 1500.00 | 13500.00 | 9000.00 | 81000.00 | 13500.00 | Proficio Engineering And Construction Pvt. Ltd.
40.00 | Providing and fixing stainless steel (grade 304) square 75x75mm floor trap all complete as per direction & satisfaction of Engineer in charge. | 28.00 | Each | 101.00 | 400.00 | 11200.00 | 800.00 | 22400.00 | 11200.00 | Proficio Engineering And Construction Pvt. Ltd.
41.00 | Providing and fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of of Size 595x595mm reinforced with fibre and natural filler of approved texture including removal of existing false ceiling tiles. Tegular edge should be treated to be a durable edge. Tile to be laid on existing grid system complete as per manufacturer's specifications and satisfaction of Engineer-in-charge. | 98.00 | Sqm | 100.00 | 1300.00 | 127400.00 | 900.00 | 88200.00 | 88200.00 | RDO ENTERPRISES
42.00 | Supply and fixing of 12 module modular base & Cover Plates on existing modular metal boxes etc. as required. | 3.00 | Each | 101.00 | 850.00 | 2550.00 | 300.00 | 900.00 | 900.00 | RDO ENTERPRISES
43.00 | Supply and fixing of 08 module modular base & Cover Plates on existing modular metal boxes etc. as required. | 12.00 | Each | 101.00 | 650.00 | 7800.00 | 500.00 | 6000.00 | 6000.00 | RDO ENTERPRISES
44.00 | Supply and fixing of 04 module modular base & Cover Plates on existing modular metal boxes etc. as required. | 5.00 | Each | 101.00 | 550.00 | 2750.00 | 800.00 | 4000.00 | 2750.00 | Proficio Engineering And Construction Pvt. Ltd.
45.00 | Supply and fixing of 03 module modular base & Cover Plates on existing modular metal boxes etc. as required. | 10.00 | Each | 101.00 | 450.00 | 4500.00 | 500.00 | 5000.00 | 4500.00 | Proficio Engineering And Construction Pvt. Ltd.
46.00 | Suppling and fixing following modular 5/6 A one way switch on the existing modular plate & switch box including connection but excluding modular plate etc. as required. | 64.00 | Each | 100.00 | 75.00 | 4800.00 | 500.00 | 32000.00 | 4800.00 | Proficio Engineering And Construction Pvt. Ltd.
47.00 | Suppling and fixing following modular 15/16 A one way switch on the existing modular plate & switch box including connection but excluding modular plate etc. as required. | 43.00 | Each | 101.00 | 100.00 | 4300.00 | 200.00 | 8600.00 | 4300.00 | Proficio Engineering And Construction Pvt. Ltd.
48.00 | Suppling and fixing following modular 6A, three pin socket on the existing modular plate & switch box including connection but excluding modular plate etc. as required. | 5.00 | Each | 101.00 | 90.00 | 450.00 | 200.00 | 1000.00 | 450.00 | Proficio Engineering And Construction Pvt. Ltd.
49.00 | Suppling and fixing following modular 6/16A, 6 pin socket on the existing modular plate & switch box including connection but excluding modular plate etc. as required. | 28.00 | Each | 101.00 | 180.00 | 5040.00 | 200.00 | 5600.00 | 5040.00 | Proficio Engineering And Construction Pvt. Ltd.
50.00 | Supplying and fixing suitable size GI box with modular plate and cover infront on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 4.00 | Each | 101.00 | 550.00 | 2200.00 | 200.00 | 800.00 | 800.00 | RDO ENTERPRISES
51.00 | Supply of 250 mm fresh air/ventilation fan with plastic body suitable for operation on 240 volt, AC supply with all accessories. Make/Model:- Crompton/Brisk Air Neo or equivalent. | 10.00 | Each | 100.00 | 1100.00 | 11000.00 | 3000.00 | 30000.00 | 11000.00 | Proficio Engineering And Construction Pvt. Ltd.
52.00 | Installation of 250mm exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 10.00 | Job | 101.00 | 1100.00 | 11000.00 | 3000.00 | 30000.00 | 11000.00 | Proficio Engineering And Construction Pvt. Ltd.
53.00 | Supply and fixing of round blank plate made of plastic, Colour - White. | 30.00 | Each | 101.00 | 10.00 | 300.00 | 30.00 | 900.00 | 300.00 | Proficio Engineering And Construction Pvt. Ltd.
54.00 | Supply and fixing of Touch-Free Infra-Red activation, instant electrically operated automatic regular duty, stainless steel, hand dryer for public toilets suitable for single phase 230 volt, 50Hz AC supply complete with three pin plug top and standard 3 core PVC insulated Cu conductor lead, wall mounting arrangment etc with all accessories. Make/Model:-Euronics/Hand Dryer EH26 or Dolphy 304 Stainless Steel Automatic Jet Hand Dryer or equivalent. | 9.00 | Each | 101.00 | 1400.00 | 12600.00 | 15000.00 | 135000.00 | 12600.00 | Proficio Engineering And Construction Pvt. Ltd.
55.00 | Supply of Recess mounted 230V, 50Hz, 24W (minimum), LED Spot light, having minimum Luminous Efficacy of 100Lm/ W, tilted 70° outwards and swivels to offer best illumination on the wall, with 05 years warrenty and as per AAI technical specifications, with all fixing accessories, driver etc. complete as required, Colour - White. Make/Model:- Havells/Sparkle Pro Snoot Make/Model:- Crompton/LCSRRA-24-CDLor equivalent | 16.00 | Each | 101.00 | 900.00 | 14400.00 | 3000.00 | 48000.00 | 14400.00 | Proficio Engineering And Construction Pvt. Ltd.
56.00 | Installation, Testing and Commissioning of all types of indoor LED light fixtures directly on ceiling at different locations in the terminal building. The LED light fixtures shall be installed including electrical connecting etc. as required . | 16.00 | Job | 100.00 | 200.00 | 3200.00 | 5000.00 | 80000.00 | 3200.00 | Proficio Engineering And Construction Pvt. Ltd.
| Total in Figures |  |  |  |  | 1741540.00 |  | 2542660.00
Lowest Amount Quoted BY: Proficio Engineering And Construction Pvt. Ltd.(1741540.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Toilet Blocks in Terminal Building at Kishangarh Airport Tender ID: 2023_AAI_176425_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Proficio Engineering And Construction Pvt. Ltd. | 1741540.00 | L1
| 2 | RDO ENTERPRISES | 2542660.00 | L2