## BoQ1
Government eProcurement System Created By: JAYAN JAYANTHAN Created Date/Time: 17-Jan-2024 10:47 AM Tender Title: Construction of additional watch tower and modification of existing watch towers for the perimeter security at Mysuru Airport. SH_ Electrical works. Tender ID: 2023_AAI_177350_1
Tender Inviting Authority: Asst. General Manager (E-E), Airports Authority of India, Mysuru.
Name of Work: Construction of additional watch tower and modification of existing watch towers for the perimeter security at Mysuru Airport. SH: Electrical works.
Contract No: 2023_AAI_177350_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shantha ELectricals and Engineers Pvt Ltd(GSTN-29AARCS2866G1ZP) |  | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | SRS ELECTRICALS(GSTN-29AWZPK1221C1ZI) |  | C P MONCHESTER ELECTRICALS(GSTN-33AJOPP7842E1ZY) |  | MPC ELECTRICALS AND ENGINEERS(GSTN-08ABUPP6558K1ZM) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | surbhi association(GSTN-23AGKPD2522N1ZK) |  | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of XLPE insulated PVC sheathed, armoured Aluminium conductor power cable of 1.1 KV grade of following sizes conforming to IS-7098 (Part-1) :1988 with upto date amendments etc complete as reqd. 3.5C x 25 Sq.mm | 3000.00 | Meter | 100.00 | 140.00 | 420000.00 | 205.00 | 615000.00 | 190.00 | 570000.00 | 167.00 | 501000.00 | 260.00 | 780000.00 | 165.00 | 495000.00 | 200.00 | 600000.00 | 200.00 | 600000.00 | 180.00 | 540000.00 | 420000.00 | Shantha ELectricals and Engineers Pvt Ltd
2.00 | Supply of following sizes of HDPE pipe, ISI marked, PE-80 grade, PN-6 rating and conforming to IS:4984 with upto date amendments etc complete as required and as per specifications. 50 mm dia (OD) | 3000.00 | Meter | 100.00 | 125.00 | 375000.00 | 97.00 | 291000.00 | 165.00 | 495000.00 | 102.00 | 306000.00 | 70.00 | 210000.00 | 125.00 | 375000.00 | 140.00 | 420000.00 | 140.00 | 420000.00 | 160.00 | 480000.00 | 210000.00 | MPC ELECTRICALS AND ENGINEERS
3.00 | Supply of energy efficient Led bulb suitable for the voltage range of 220V to 240V, suitable for fixing on the existing wall bracket. 9 W led bulb | 21.00 | Nos | 100.00 | 100.00 | 2100.00 | 125.00 | 2625.00 | 135.00 | 2835.00 | 900.00 | 18900.00 | 126.00 | 2646.00 | 95.00 | 1995.00 | 150.00 | 3150.00 | 150.00 | 3150.00 | 140.00 | 2940.00 | 1995.00 | Awasthi Electric Works
4.00 | Supply of Led street light luminare with 5 Year manufacturing warranty suitable for outdoor use,internal drive with surge protection and IP65 water resistant protection, frame and including all accessories etc as required. 45 W street light fitting | 46.00 | Nos | 100.00 | 3200.00 | 147200.00 | 1650.00 | 75900.00 | 3200.00 | 147200.00 | 3400.00 | 156400.00 | 2060.00 | 94760.00 | 1550.00 | 71300.00 | 2500.00 | 115000.00 | 2500.00 | 115000.00 | 6000.00 | 276000.00 | 71300.00 | Awasthi Electric Works
5.00 | Supply of LED Flood light with 5 Year manufacturing warranty suitable for outdoor use,internal drive with surge protection and IP65 water resistant protection, frame and including all accessories etc as required. 50W LED Flood Light | 5.00 | Nos | 100.00 | 3450.00 | 17250.00 | 2150.00 | 10750.00 | 3500.00 | 17500.00 | 9000.00 | 45000.00 | 2600.00 | 13000.00 | 1875.00 | 9375.00 | 2500.00 | 12500.00 | 2500.00 | 12500.00 | 8000.00 | 40000.00 | 9375.00 | Awasthi Electric Works
6.00 | Supply of Cabin fan suitable for the operation voltage of 220V to 240V , including grill protection,360 Gyroscopic movement and all accessories complete as required. 300mm sweep | 14.00 | Nos | 100.00 | 2450.00 | 34300.00 | 1950.00 | 27300.00 | 3000.00 | 42000.00 | 3400.00 | 47600.00 | 2600.00 | 36400.00 | 2795.00 | 39130.00 | 2250.00 | 31500.00 | 2250.00 | 31500.00 | 3000.00 | 42000.00 | 27300.00 | LAKSHMI ELECTRICAL ENTERPRISES
7.00 | Supply of led type red avaition double dome obstruction light fittting suitable for operartion on 230v 50hz AC single phase power supply with all acccessories complete as required | 16.00 | Nos | 100.00 | 7600.00 | 121600.00 | 5100.00 | 81600.00 | 6500.00 | 104000.00 | 6000.00 | 96000.00 | 12050.00 | 192800.00 | 7650.00 | 122400.00 | 5000.00 | 80000.00 | 9000.00 | 144000.00 | 6000.00 | 96000.00 | 80000.00 | surbhi association
8.00 | Supply, Installation, Testing and Commissioning of High wall mounted Inverter type Split Air-conditioning units of following capacities with FIVE (05) STAR BEE RATING suitable for R-32/equivalent eco-friendly refrigerant, complete with indoor and outdoor unit, copper condenser coil, first charging and toping up of refrigerant if required, standard length of refrigerant piping with insulation , drain piping, & interconnecting copper control cables(b/w indoor & outdoor unit), required length of power cables upto nearest socket outlet, suitable capacity of Voltage stabilizer, cordless remote control etc. suitable for operation of 230V, 50 Hz, single phase AC power supply complete as per specifications and as per actual site requirements. 2.0TR Capacity | 2.00 | Each | 100.00 | 47000.00 | 94000.00 | 48500.00 | 97000.00 | 53000.00 | 106000.00 | 60000.00 | 120000.00 | 53000.00 | 106000.00 | 53000.00 | 106000.00 | 50000.00 | 100000.00 | 50000.00 | 100000.00 | 49000.00 | 98000.00 | 94000.00 | Shantha ELectricals and Engineers Pvt Ltd
9.00 | Providing additional refrigerant piping with insulation and interconnecting copper control cable between indoor unit and outdoor unit for the following type of Split/Cassette AC units etc complete as required. 2.0TR High wall mounted inverter type Split AC units | 10.00 | Meter | 100.00 | 1300.00 | 13000.00 | 850.00 | 8500.00 | 185.00 | 1850.00 | 1800.00 | 18000.00 | 1250.00 | 12500.00 | 1275.00 | 12750.00 | 1200.00 | 12000.00 | 1200.00 | 12000.00 | 1000.00 | 10000.00 | 1850.00 | SRS ELECTRICALS
10.00 | Providing additional PVC Drain piping (medium class) of suitable size with insulation for the following type of Split/Cassette AC units complete with all accessories complete as required. 2.0TR High wall mounted inverter type Split AC units | 10.00 | Meter | 100.00 | 290.00 | 2900.00 | 80.00 | 800.00 | 150.00 | 1500.00 | 450.00 | 4500.00 | 44.00 | 440.00 | 165.00 | 1650.00 | 120.00 | 1200.00 | 120.00 | 1200.00 | 260.00 | 2600.00 | 440.00 | MPC ELECTRICALS AND ENGINEERS
11.00 | Providing Cement Concrete pedestal/ MS Stand of suitable size for installation of split/Cassette AC outdoor unit as per site requirement complete as required. | 2.00 | Job | 100.00 | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 4500.00 | 9000.00 | 2600.00 | 5200.00 | 1200.00 | 2400.00 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 800.00 | 1600.00 | 1600.00 | KALKI ELECTRICALS
12.00 | Laying of following size of HDPE pipe along with all accessories like socket, bend, couplers etc. direct in ground (75cm below ground level) including cutting, jointing, excavation, refilling the trench (after laying of pipes) but excluding sand cushioning and protective covering etc., complete as required. 50 mm dia (OD) | 3000.00 | Meter | 100.00 | 180.00 | 540000.00 | 110.00 | 330000.00 | 135.00 | 405000.00 | 102.00 | 306000.00 | 107.00 | 321000.00 | 140.00 | 420000.00 | 90.00 | 270000.00 | 100.00 | 300000.00 | 100.00 | 300000.00 | 270000.00 | surbhi association
13.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe/HDPE Pipe /GI pipe as required. Upto 35 sq. mm | 3000.00 | Meter | 100.00 | 35.00 | 105000.00 | 40.00 | 120000.00 | 25.00 | 75000.00 | 27.00 | 81000.00 | 26.00 | 78000.00 | 35.00 | 105000.00 | 30.00 | 90000.00 | 35.00 | 105000.00 | 30.00 | 90000.00 | 75000.00 | SRS ELECTRICALS
14.00 | Laying of following size of HDPE pipe along with all accessories like socket, bend, couplers etc. on the wall surface/ False ceiling including cutting, clamping, finishing etc complete as required. 50 mm dia (OD) | 33.00 | Meter | 100.00 | 90.00 | 2970.00 | 50.00 | 1650.00 | 300.00 | 9900.00 | 120.00 | 3960.00 | 80.00 | 2640.00 | 125.00 | 4125.00 | 50.00 | 1650.00 | 50.00 | 1650.00 | 160.00 | 5280.00 | 1650.00 | LAKSHMI ELECTRICAL ENTERPRISES, surbhi association, M/s LEESHA ELECTRICALS
15.00 | Supply and fixing of 2.5mm thick hot press moulded SMC junction box of size 250mm x 250mm x155mm with hinged door fitted with 32A, 4 way Connector, on concrete piller including accessories such as clamps/nuts bolts/screw etc. as required as per actual site requirements | 11.00 | Nos | 100.00 | 3100.00 | 34100.00 | 1500.00 | 16500.00 | 1500.00 | 16500.00 | 3600.00 | 39600.00 | 2600.00 | 28600.00 | 1650.00 | 18150.00 | 2500.00 | 27500.00 | 2500.00 | 27500.00 | 4000.00 | 44000.00 | 16500.00 | LAKSHMI ELECTRICAL ENTERPRISES, SRS ELECTRICALS
16.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of XLPE insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 25sq. mm | 22.00 | Nos | 100.00 | 350.00 | 7700.00 | 275.00 | 6050.00 | 650.00 | 14300.00 | 900.00 | 19800.00 | 260.00 | 5720.00 | 275.00 | 6050.00 | 250.00 | 5500.00 | 250.00 | 5500.00 | 300.00 | 6600.00 | 5500.00 | surbhi association, M/s LEESHA ELECTRICALS
17.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required | 5520.00 | Meter | 100.00 | 50.00 | 276000.00 | 27.00 | 149040.00 | 26.00 | 143520.00 | 18.00 | 99360.00 | 26.00 | 143520.00 | 35.00 | 193200.00 | 30.00 | 165600.00 | 30.00 | 165600.00 | 26.00 | 143520.00 | 99360.00 | C P MONCHESTER ELECTRICALS
18.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
18.01 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 55.00 | Meter | 100.00 | 250.00 | 13750.00 | 290.00 | 15950.00 | 265.00 | 14575.00 | 720.00 | 39600.00 | 170.00 | 9350.00 | 350.00 | 19250.00 | 500.00 | 27500.00 | 500.00 | 27500.00 | 220.00 | 12100.00 | 9350.00 | MPC ELECTRICALS AND ENGINEERS
18.02 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 110.00 | Meter | 100.00 | 180.00 | 19800.00 | 240.00 | 26400.00 | 215.00 | 23650.00 | 450.00 | 49500.00 | 170.00 | 18700.00 | 270.00 | 29700.00 | 300.00 | 33000.00 | 300.00 | 33000.00 | 180.00 | 19800.00 | 18700.00 | MPC ELECTRICALS AND ENGINEERS
19.00 | Supply and fixing following way,single pole and neutral, sheet steel,MCB distribution board,240V, on surface/recess,complete with tinned copper busbar,neutral bus bar,earth bus bar,din bar,interconnections,powder paint painted including earthing etcas required (But without MCB/RCCB/Isolator) 6 way double door | 11.00 | Nos | 100.00 | 1800.00 | 19800.00 | 2200.00 | 24200.00 | 3000.00 | 33000.00 | 3600.00 | 39600.00 | 2600.00 | 28600.00 | 1725.00 | 18975.00 | 2000.00 | 22000.00 | 2000.00 | 22000.00 | 1400.00 | 15400.00 | 15400.00 | KALKI ELECTRICALS
20.00 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. 25A ,30mA RCCB | 11.00 | Nos | 100.00 | 1900.00 | 20900.00 | 2550.00 | 28050.00 | 850.00 | 9350.00 | 1200.00 | 13200.00 | 3500.00 | 38500.00 | 2490.00 | 27390.00 | 2500.00 | 27500.00 | 2500.00 | 27500.00 | 2600.00 | 28600.00 | 9350.00 | SRS ELECTRICALS
21.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
21.01 | 6A Single pole MCB | 22.00 | Nos | 100.00 | 275.00 | 6050.00 | 155.00 | 3410.00 | 285.00 | 6270.00 | 270.00 | 5940.00 | 170.00 | 3740.00 | 170.00 | 3740.00 | 175.00 | 3850.00 | 175.00 | 3850.00 | 150.00 | 3300.00 | 3300.00 | KALKI ELECTRICALS
21.02 | 16A Single pole MCB | 11.00 | Nos | 100.00 | 275.00 | 3025.00 | 155.00 | 1705.00 | 285.00 | 3135.00 | 270.00 | 2970.00 | 170.00 | 1870.00 | 170.00 | 1870.00 | 175.00 | 1925.00 | 175.00 | 1925.00 | 150.00 | 1650.00 | 1650.00 | KALKI ELECTRICALS
22.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 11.00 | Nos | 100.00 | 190.00 | 2090.00 | 10.00 | 110.00 | 15.00 | 165.00 | 70.00 | 770.00 | 17.00 | 187.00 | 28.00 | 308.00 | 15.00 | 165.00 | 15.00 | 165.00 | 20.00 | 220.00 | 110.00 | LAKSHMI ELECTRICAL ENTERPRISES
23.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 12 Module | 11.00 | Nos | 100.00 | 450.00 | 4950.00 | 260.00 | 2860.00 | 550.00 | 6050.00 | 900.00 | 9900.00 | 800.00 | 8800.00 | 630.00 | 6930.00 | 400.00 | 4400.00 | 400.00 | 4400.00 | 800.00 | 8800.00 | 2860.00 | LAKSHMI ELECTRICAL ENTERPRISES
24.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
24.01 | 5/6 amps switch | 44.00 | Nos | 100.00 | 110.00 | 4840.00 | 60.00 | 2640.00 | 110.00 | 4840.00 | 70.00 | 3080.00 | 80.00 | 3520.00 | 75.00 | 3300.00 | 50.00 | 2200.00 | 50.00 | 2200.00 | 44.00 | 1936.00 | 1936.00 | KALKI ELECTRICALS
24.02 | 15/16 amp switch | 11.00 | Nos | 100.00 | 160.00 | 1760.00 | 225.00 | 2475.00 | 160.00 | 1760.00 | 180.00 | 1980.00 | 107.00 | 1177.00 | 135.00 | 1485.00 | 120.00 | 1320.00 | 120.00 | 1320.00 | 120.00 | 1320.00 | 1177.00 | MPC ELECTRICALS AND ENGINEERS
24.03 | 5/6 amp socket outlet | 11.00 | Nos | 100.00 | 190.00 | 2090.00 | 165.00 | 1815.00 | 185.00 | 2035.00 | 140.00 | 1540.00 | 80.00 | 880.00 | 120.00 | 1320.00 | 100.00 | 1100.00 | 100.00 | 1100.00 | 100.00 | 1100.00 | 880.00 | MPC ELECTRICALS AND ENGINEERS
24.04 | 15/16 amp socket outlet | 11.00 | Nos | 100.00 | 210.00 | 2310.00 | 225.00 | 2475.00 | 315.00 | 3465.00 | 220.00 | 2420.00 | 170.00 | 1870.00 | 225.00 | 2475.00 | 200.00 | 2200.00 | 200.00 | 2200.00 | 180.00 | 1980.00 | 1870.00 | MPC ELECTRICALS AND ENGINEERS
25.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 11.00 | Nos | 100.00 | 450.00 | 4950.00 | 310.00 | 3410.00 | 685.00 | 7535.00 | 450.00 | 4950.00 | 350.00 | 3850.00 | 490.00 | 5390.00 | 300.00 | 3300.00 | 300.00 | 3300.00 | 360.00 | 3960.00 | 3300.00 | surbhi association, M/s LEESHA ELECTRICALS
26.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group B | 44.00 | Nos | 100.00 | 750.00 | 33000.00 | 850.00 | 37400.00 | 1100.00 | 48400.00 | 900.00 | 39600.00 | 440.00 | 19360.00 | 1250.00 | 55000.00 | 1200.00 | 52800.00 | 1200.00 | 52800.00 | 880.00 | 38720.00 | 19360.00 | MPC ELECTRICALS AND ENGINEERS
27.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 11.00 | Nos | 100.00 | 35.00 | 385.00 | 10.00 | 110.00 | 15.00 | 165.00 | 90.00 | 990.00 | 8.00 | 88.00 | 42.00 | 462.00 | 25.00 | 275.00 | 25.00 | 275.00 | 20.00 | 220.00 | 88.00 | MPC ELECTRICALS AND ENGINEERS
28.00 | Supplying and fixing brass batten/ angle holder including connection etc. as required. | 11.00 | Nos | 100.00 | 30.00 | 330.00 | 80.00 | 880.00 | 85.00 | 935.00 | 200.00 | 2200.00 | 44.00 | 484.00 | 115.00 | 1265.00 | 50.00 | 550.00 | 50.00 | 550.00 | 80.00 | 880.00 | 330.00 | Shantha ELectricals and Engineers Pvt Ltd
29.00 | Supplying and fixing 3 pin, 5 amp ceiling rose on the existing junction box/ wooden block including connection etc as required. | 22.00 | Nos | 100.00 | 25.00 | 550.00 | 40.00 | 880.00 | 85.00 | 1870.00 | 120.00 | 2640.00 | 26.00 | 572.00 | 45.00 | 990.00 | 50.00 | 1100.00 | 50.00 | 1100.00 | 80.00 | 1760.00 | 550.00 | Shantha ELectricals and Engineers Pvt Ltd
30.00 | Installation, testing and commissioning of LED street light luminare on the wall bracket, including 40mm dia wall bracket of suitable shape, clamps,screw,nut and bolts, connections with suitable size of insulated copper wire completely as required, as per the site conditions. | 11.00 | Each | 100.00 | 750.00 | 8250.00 | 850.00 | 9350.00 | 650.00 | 7150.00 | 1800.00 | 19800.00 | 440.00 | 4840.00 | 650.00 | 7150.00 | 1200.00 | 13200.00 | 1200.00 | 13200.00 | 1500.00 | 16500.00 | 4840.00 | MPC ELECTRICALS AND ENGINEERS
31.00 | Installation, testing and commissioning of Cabin fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 11.00 | Each | 100.00 | 275.00 | 3025.00 | 250.00 | 2750.00 | 250.00 | 2750.00 | 200.00 | 2200.00 | 260.00 | 2860.00 | 350.00 | 3850.00 | 100.00 | 1100.00 | 100.00 | 1100.00 | 100.00 | 1100.00 | 1100.00 | surbhi association, M/s LEESHA ELECTRICALS, KALKI ELECTRICALS
32.00 | Earthing with G.I. earth pipe 3 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 11.00 | Each | 100.00 | 12000.00 | 132000.00 | 5500.00 | 60500.00 | 8500.00 | 93500.00 | 7200.00 | 79200.00 | 7100.00 | 78100.00 | 8500.00 | 93500.00 | 6500.00 | 71500.00 | 6500.00 | 71500.00 | 10000.00 | 110000.00 | 60500.00 | LAKSHMI ELECTRICAL ENTERPRISES
33.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 55.00 | Meter | 100.00 | 70.00 | 3850.00 | 210.00 | 11550.00 | 65.00 | 3575.00 | 270.00 | 14850.00 | 170.00 | 9350.00 | 190.00 | 10450.00 | 250.00 | 13750.00 | 250.00 | 13750.00 | 300.00 | 16500.00 | 3575.00 | SRS ELECTRICALS
34.00 | Laying of following size of HDPE pipe under bitumenous road/concrete surface(75cm below ground level) including cutting, chiselling, excavation, refilling the trench (after laying of pipes) finishing and making good the top surface with 1:2:4 cement concrete of minimum 150mm thickness etc complete as required. 50mm Dia | 18.00 | Meter | 100.00 | 720.00 | 12960.00 | 1350.00 | 24300.00 | 450.00 | 8100.00 | 1400.00 | 25200.00 | 350.00 | 6300.00 | 475.00 | 8550.00 | 200.00 | 3600.00 | 200.00 | 3600.00 | 800.00 | 14400.00 | 3600.00 | surbhi association, M/s LEESHA ELECTRICALS
35.00 | Supply and embedding of following sizes of 'B' Class GI pipe across the culvert crossing including cutting the side walls of culvert at required depth and finishing the surface 1:2:4 grade cement concrete after embedding of pipes etc complete as required as per actual site requirements. 65 mm GI Pipe | 20.00 | Meter | 100.00 | 1050.00 | 21000.00 | 1250.00 | 25000.00 | 1500.00 | 30000.00 | 1450.00 | 29000.00 | 800.00 | 16000.00 | 695.00 | 13900.00 | 1000.00 | 20000.00 | 1000.00 | 20000.00 | 1100.00 | 22000.00 | 13900.00 | Awasthi Electric Works
36.00 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | 93.00 | Nos | 100.00 | 350.00 | 32550.00 | 545.00 | 50685.00 | 150.00 | 13950.00 | 300.00 | 27900.00 | 440.00 | 40920.00 | 590.00 | 54870.00 | 500.00 | 46500.00 | 500.00 | 46500.00 | 360.00 | 33480.00 | 13950.00 | SRS ELECTRICALS
| Total in Figures |  |  |  |  | 2555335.00 |  | 2176620.00 |  | 2483330.00 |  | 2291150.00 |  | 2333144.00 |  | 2355645.00 |  | 2293435.00 |  | 2402435.00 |  | 2534266.00
Lowest Amount Quoted BY: LAKSHMI ELECTRICAL ENTERPRISES(2176620.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of additional watch tower and modification of existing watch towers for the perimeter security at Mysuru Airport. SH_ Electrical works. Tender ID: 2023_AAI_177350_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 2176620.00 | L1
| 2 | C P MONCHESTER ELECTRICALS | 2291150.00 | L2
| 3 | surbhi association | 2293435.00 | L3
| 4 | MPC ELECTRICALS AND ENGINEERS | 2333144.00 | L4
| 5 | Awasthi Electric Works | 2355645.00 | L5
| 6 | M/s LEESHA ELECTRICALS | 2402435.00 | L6
| 7 | SRS ELECTRICALS | 2483330.00 | L7
| 8 | KALKI ELECTRICALS | 2534266.00 | L8
| 9 | Shantha ELectricals and Engineers Pvt Ltd | 2555335.00 | L9