## BoQ1
Government eProcurement System Created By: Mayank Gaur Created Date/Time: 19-Feb-2024 10:49 AM Tender Title: Replacement of PA System Tender ID: 2023_AAI_179227_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg.-E), AAI, DATS Complex, IGI Airport, New Delhi.
Name of Work: Replacement of exisitng PA System installed at DATS Complex, IGI Airport along with five (5) Year of All Inclusive Comprehensive Annual Maintenance Contract (AICAMC) after completion of Defect Liability Period (DLP) of 12 months.
Contract No: AAI/DATS/E-E/PA System -DATS/2023-24/E-NIT-04
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Omsan Smart Technologies LLP(GSTN-NA) |  | Lotus Techsol Private Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : SITC Work SITC of PA Systems Voice Alarm Controller having features like announcement to minimum 6 zones & expandable up to minimum 120 zones, frequency response: 85Hz-18kHz, THD<0.5%, an All-Call-Key, built in minimum 240W amplifier, emergency microphone on the front panel, plug & play to selected zones, in-built storage of minimum capacity of 1 GB to record temporary messages, CE complied/ EN 54-16 certified & suitable to operate on 220-240 Volt, 50 Hz AC supply complete as required. (Refer. Sl. no.62 list of preffered makes) | 1.00 | Nos. |  | 263850.00 | 263850.00 | 250303.00 | 250303.00 | 250303.00 | Lotus Techsol Private Limited
2.00 | SH-I : SITC Work SITC of Voice Alarm Router/ Expander is a zone expansion device connects to the main controller (as mentioned in item no. 1) and addition of up to minimum 6 zones and 12-input contacts with connectivity of call stations, CE complied/ EN 54-16 certified & suitable to operate on 220-240 Volt, 50 Hz AC supply complete as required. | 1.00 | Nos. |  | 156250.00 | 156250.00 | 192077.00 | 192077.00 | 156250.00 | Omsan Smart Technologies LLP
3.00 | SH-I : SITC Work SITC of Voice Alarm Call Station having gooseneck condeser microphone with individual minimum 6 zone selection keys, LED indication for zone selection, THD<0.5%, frequency response: 100Hz-10kHz complete as required. | 1.00 | Nos. |  | 53080.00 | 53080.00 | 51409.00 | 51409.00 | 51409.00 | Lotus Techsol Private Limited
4.00 | SH-I : SITC Work SITC of Voice Alarm Call Station keypad that adds minimum 6 additional zone-select keys. , LED indication for zone selection & volume control feature etc. complete as required. | 1.00 | Nos. |  | 37570.00 | 37570.00 | 41000.00 | 41000.00 | 37570.00 | Omsan Smart Technologies LLP
5.00 | SH-I : SITC Work SITC of minimum 480W power amplifier, 70V/ 100V in exisiting 19' U rack and having 4-16 ohm loudspeaker load, frequency response: 70 Hz to 18kHz or better, distortion <1% or better, CMRR>25dB or better, dual inputs with priority switching, forced air cooling with fan for ventilation, either in-build battery back-up with automatic switchover OR suitable external battery backup for 30 minutes with automatic switchover facility OR provision of connection to existing UPS supply and CE complied/ EN 54-16 certified & suitable to operate on 220-240 Volt, 50 Hz AC supply complete as required. (The scope includes dismantling of existing amplifiers and handed over to concerned AAI official) | 12.00 | Nos. |  | 151470.00 | 1817640.00 | 77600.00 | 931200.00 | 931200.00 | Lotus Techsol Private Limited
6.00 | SH-I : SITC Work Supplying and drawing of 2.5 sqmm. size & 24 core FRLS PVC insulated copper conductor armored control cable in the existing surface / recessed cable tray including connections and interconnections etc. as required. | 200.00 | Mtr. |  | 620.00 | 124000.00 | 500.00 | 100000.00 | 100000.00 | Lotus Techsol Private Limited
7.00 | SH-I : SITC Work Supplying and drawing of 2.5 sqmm. size & 12 core FRLS PVC insulated copper conductor armored control cable in the existing surface / recessed cable tray including connections and interconnections etc. as required. | 200.00 | Mtr. |  | 515.00 | 103000.00 | 300.00 | 60000.00 | 60000.00 | Lotus Techsol Private Limited
8.00 | SH-I : SITC Work Supplying and installing of perforated Hot Dipped Galvanised Iron cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. complete as required with all accessories. 150 mm width X 50 mm depth X 1.6 mm thickness | 20.00 | Mtr. |  | 740.00 | 14800.00 | 500.00 | 10000.00 | 10000.00 | Lotus Techsol Private Limited
9.00 | SH-II : AICAMC for 5 Years All Inclusive Comprehensive Annual Maintenance Contract (AICAMC) for Public Address System installed at DATS Complex, IGI Airport comprising of items installed as per SH-I and other associate components etc. including monthly engineer visits for checking entire PA system serviceability, carrying out periodically cleaning & maintenance as per manufacturer recommendations and unlimited breakdown call/ complaint visits (24x7) by experienced engineers including replacement of spares etc. complete as required for smooth operation of complete system. The scope of work also includes checking & servicing of metal cabinet multitapping wall mounted speaker, round metal multitapping ceiling suspended speaker, associted circuit wiring and other accessories etc. (not covered in SH-I but associated with the system as per the inventory list attached).
9.01 | For 1st year after DLP Period (5% of Capital Cost i.e. Total of Item no. 1 to 8) | 12.00 | Month |  | 10709.13 | 128509.56 | 6816.62 | 81799.44 | 81799.44 | Lotus Techsol Private Limited
9.02 | For 2nd Year after DLP Period (5% escalation w.r.t. 1st Year) | 12.00 | Month |  | 11244.59 | 134935.08 | 7157.45 | 85889.40 | 85889.40 | Lotus Techsol Private Limited
9.03 | For 3rd Year after DLP Period (5% escalation w.r.t. 2nd Year) | 12.00 | Month |  | 11806.82 | 141681.84 | 7515.32 | 90183.84 | 90183.84 | Lotus Techsol Private Limited
9.04 | For 4th Year after DLP Period (5% escalation w.r.t. 3rd Year) | 12.00 | Month |  | 12397.16 | 148765.92 | 7891.09 | 94693.08 | 94693.08 | Lotus Techsol Private Limited
9.05 | For 5th Year after DLP Period (5% escalation w.r.t. 4th Year) | 12.00 | Month |  | 13017.02 | 156204.24 | 8285.64 | 99427.68 | 99427.68 | Lotus Techsol Private Limited
10.00 | Replacement of existing unserviceable 6W round metal multitapping ceiling suspended speaker ( Model: RCSS/FTS/ RNS 5/T; make: Ateis) with similar speaker of prefferd make as and when required.
10.01 | For 1st year after DLP Period | 5.00 | Each |  | 28881.90 | 144409.50 | 1000.00 | 5000.00 | 5000.00 | Lotus Techsol Private Limited
10.02 | For 2nd Year after DLP Period | 5.00 | Each |  | 30326.00 | 151630.00 | 1000.00 | 5000.00 | 5000.00 | Lotus Techsol Private Limited
10.03 | For 3rd Year after DLP Period | 5.00 | Each |  | 31842.29 | 159211.45 | 1000.00 | 5000.00 | 5000.00 | Lotus Techsol Private Limited
10.04 | For 4th Year after DLP Period | 5.00 | Each |  | 33434.41 | 167172.05 | 1200.00 | 6000.00 | 6000.00 | Lotus Techsol Private Limited
10.05 | For 5th Year after DLP Period | 5.00 | Each |  | 35106.13 | 175530.65 | 1200.00 | 6000.00 | 6000.00 | Lotus Techsol Private Limited
11.00 | Replacement of existing unserviceable 6W metal cabinet multitapping wall mounted speaker ( Model: Sentry6; make: Ateis) with similar speaker of preffred make as and when required.
11.01 | For 1st year after DLP Period | 5.00 | Each |  | 28881.90 | 144409.50 | 3000.00 | 15000.00 | 15000.00 | Lotus Techsol Private Limited
11.02 | For 2nd Year after DLP Period | 5.00 | Each |  | 30326.00 | 151630.00 | 3000.00 | 15000.00 | 15000.00 | Lotus Techsol Private Limited
11.03 | For 3rd Year after DLP Period | 5.00 | Each |  | 31842.29 | 159211.45 | 3200.00 | 16000.00 | 16000.00 | Lotus Techsol Private Limited
11.04 | For 4th Year after DLP Period | 5.00 | Each |  | 33434.41 | 167172.05 | 3500.00 | 17500.00 | 17500.00 | Lotus Techsol Private Limited
11.05 | For 5th Year after DLP Period | 5.00 | Each |  | 35106.13 | 175530.65 | 3500.00 | 17500.00 | 17500.00 | Lotus Techsol Private Limited
| Total in Figures |  |  |  |  | 4876193.94 |  | 2195982.44
Lowest Amount Quoted BY: Lotus Techsol Private Limited(2195982.44)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of PA System Tender ID: 2023_AAI_179227_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Lotus Techsol Private Limited | 2195982.44 | L1
| 2 | Omsan Smart Technologies LLP | 4876193.94 | L2