## BoQ1
Government eProcurement System Created By: Aloke Ranjan Biswas Created Date/Time: 31-Jan-2024 04:08 PM Tender Title: Miscellaneous Civil Works for New ATC Tower and Technical Block at NSCBI Airport, Kolkata. Tender ID: 2023_AAI_179267_1
Tender Inviting Authority: Sunil Kumar Choudhary, AGM (E-C), AAI, NSCBI Airport, Kolkata - 700 052.
Name of Work: Miscellaneous Civil work for New ATC Tower and Technical Block at NSCBI Airport, Kolkata
Contract No: 2023_AAI_179267_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s. A S Traders(GSTN-19AKDPR7595N1ZA) |  | M/S BHATTACHARYYA CONSTRUCTION(GSTN-19AAFFM4885Q1ZA) |  | Saha Building Centre Pvt Ltd(GSTN-19AALCS6441F1Z3) |  | ARDHENDU BIKAS DAS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. - All kinds of soil | 30.00 | cum |  | 160.00 | 4800.00 | 150.00 | 4500.00 | 162.00 | 4860.00 | 200.00 | 6000.00 | 4500.00 | M/S BHATTACHARYYA CONSTRUCTION
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 50.00 | cum |  | 6000.00 | 300000.00 | 5000.00 | 250000.00 | 7200.00 | 360000.00 | 7400.00 | 370000.00 | 250000.00 | M/S BHATTACHARYYA CONSTRUCTION
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 40 mm nominal size derived from natural sources) | 40.00 | cum |  | 4500.00 | 180000.00 | 1000.00 | 40000.00 | 6700.00 | 268000.00 | 6700.00 | 268000.00 | 40000.00 | M/S BHATTACHARYYA CONSTRUCTION
4.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 60.00 | cum |  | 6200.00 | 372000.00 | 7000.00 | 420000.00 | 8500.00 | 510000.00 | 8300.00 | 498000.00 | 372000.00 | M/s. A S Traders
5.00 | Centering and shuttering including strutting, propping etc. and removal of form for - Foundations, footings, bases of columns, etc. for mass concrete. | 96.00 | sqm |  | 200.00 | 19200.00 | 200.00 | 19200.00 | 250.00 | 24000.00 | 340.00 | 32640.00 | 19200.00 | M/s. A S Traders, M/S BHATTACHARYYA CONSTRUCTION
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for - Suspended floors, roofs, landings, balconies and access platform. | 53.00 | sqm |  | 300.00 | 15900.00 | 250.00 | 13250.00 | 450.00 | 23850.00 | 750.00 | 39750.00 | 13250.00 | M/S BHATTACHARYYA CONSTRUCTION
7.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. - Thermo-Mechanically Treated bars of grade Fe-500D or more. | 3850.00 | kg |  | 70.00 | 269500.00 | 70.00 | 269500.00 | 80.00 | 308000.00 | 84.00 | 323400.00 | 269500.00 | M/s. A S Traders, M/S BHATTACHARYYA CONSTRUCTION
8.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in size of brick 248 x 120 x 70 mm - Cement mortar 1:6 (1 cement : 6 coarse sand) | 30.00 | cum |  | 4000.00 | 120000.00 | 6000.00 | 180000.00 | 5350.00 | 160500.00 | 6850.00 | 205500.00 | 120000.00 | M/s. A S Traders
9.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in in size of brick 248 x 120 x 70 mm : Cement mortar 1:6 (1 cement : 6 coarse sand) | 17.00 | cum |  | 5000.00 | 85000.00 | 50.00 | 850.00 | 5800.00 | 98600.00 | 8200.00 | 139400.00 | 850.00 | M/S BHATTACHARYYA CONSTRUCTION
10.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in size of brick 248 x 120 x 70 mm - Cement mortar 1:4 (1 cement :4 coarse sand) | 300.00 | sqm |  | 750.00 | 225000.00 | 900.00 | 270000.00 | 850.00 | 255000.00 | 1050.00 | 315000.00 | 225000.00 | M/s. A S Traders
11.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. - Granite stone slab colour black, Cherry/Ruby red - Area of slab over 0.50 sqm | 26.00 | sqm |  | 3500.00 | 91000.00 | 2800.00 | 72800.00 | 2700.00 | 70200.00 | 4200.00 | 109200.00 | 70200.00 | Saha Building Centre Pvt Ltd
12.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. - Granite work | 43.00 | metre |  | 250.00 | 10750.00 | 50.00 | 2150.00 | 60.00 | 2580.00 | 380.00 | 16340.00 | 2150.00 | M/S BHATTACHARYYA CONSTRUCTION
13.00 | Providing, fabricating and supplying and fixing panels of aluminium composite panel cladding in pan shape in metalic colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. The fastening brackets of Aluminium alloy 6005 T5 / MS with Hot Dip Galvanised with serrations and serrated washers to arrest the wind load movement, fasteners, SS 316 Pins and anchor bolts of approved make in SS 316, Nylon separators to prevent bi-metallic contacts all complete required to perform as per specification and drawing The item includes cost of all material & labour component, the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working curtain wall with aluminium composite panel cladding, cleaning and protection of the curtain wall with aluminium composite panel cladding till the handing over of the building for occupation. Base frame work for ACP cladding is payable under the relevant aluminium item.s The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete, as per the Architectural drawings, as per item description, as specified, as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places. | 85.00 | sqm |  | 3000.00 | 255000.00 | 1000.00 | 85000.00 | 2800.00 | 238000.00 | 4300.00 | 365500.00 | 85000.00 | M/S BHATTACHARYYA CONSTRUCTION
14.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). - Second class teak wood | .50 | cum |  | 150000.00 | 75000.00 | 100000.00 | 50000.00 | 130000.00 | 65000.00 | 125000.00 | 62500.00 | 50000.00 | M/S BHATTACHARYYA CONSTRUCTION
15.00 | Providing and fixing 25 mm thick shutters for cup board etc. : Panelled or panelled & glazed shutters : - Second class teak wood including iSi marked nickel plated bright finished M.S. piano hinges with necessary screws | 102.00 | sqm |  | 3000.00 | 306000.00 | 4400.00 | 448800.00 | 2500.00 | 255000.00 | 4000.00 | 408000.00 | 255000.00 | Saha Building Centre Pvt Ltd
16.00 | Providing and fixing Pre-laminated flat pressed 3 layer (medium density) particle board or graded wood particle board IS : 3087 marked, with one side decorative and other side balancing lamination Grade I, Type II exterior grade IS : 12823 marked, in shelves with screws and fittings wherever required, edges to be painted with polyurethane primer (fittings to be paid separately). - 18 mm thick | 1500.00 | sqm |  | 800.00 | 1200000.00 | 950.00 | 1425000.00 | 1100.00 | 1650000.00 | 1700.00 | 2550000.00 | 1200000.00 | M/s. A S Traders
17.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 20.00 | sqm |  | 1800.00 | 36000.00 | 2500.00 | 50000.00 | 2800.00 | 56000.00 | 3500.00 | 70000.00 | 36000.00 | M/s. A S Traders
18.00 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : 250 x 16 mm | 12.00 | each |  | 120.00 | 1440.00 | 150.00 | 1800.00 | 280.00 | 3360.00 | 200.00 | 2400.00 | 1440.00 | M/s. A S Traders
19.00 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : 250 x 10 mm | 12.00 | each |  | 120.00 | 1440.00 | 100.00 | 1200.00 | 200.00 | 2400.00 | 100.00 | 1200.00 | 1200.00 | M/S BHATTACHARYYA CONSTRUCTION, ARDHENDU BIKAS DAS
20.00 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. - 75 mm overall thickness full height partition with 12.5 mm thick double skin fire rated gypsum board of approved make conforming to IS: 2095: part I. | 778.00 | sqm |  | 1500.00 | 1167000.00 | 1700.00 | 1322600.00 | 1450.00 | 1128100.00 | 2000.00 | 1556000.00 | 1128100.00 | Saha Building Centre Pvt Ltd
21.00 | Providing and fixing cup board shutters 25 mm thick, with Pre-laminated flat pressed three layer particle board or graded wood particle board IS : 12823 marked, exterior grade (Grade l Type ll), having one side decorative lamination and other side balancing lamination, including IInd class teak wood lipping of 25 mm wide x 12 mm thick with necessary screws and bright finished stainless steel piano hinges, complete as per direction of the Engineer-in-Charge. | 180.00 | sqm |  | 2000.00 | 360000.00 | 1300.00 | 234000.00 | 1350.00 | 243000.00 | 2150.00 | 387000.00 | 234000.00 | M/S BHATTACHARYYA CONSTRUCTION
22.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. - In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete. | 1716.00 | kg |  | 90.00 | 154440.00 | 80.00 | 137280.00 | 95.00 | 163020.00 | 110.00 | 188760.00 | 137280.00 | M/S BHATTACHARYYA CONSTRUCTION
23.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. - In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 7221.00 | kg |  | 110.00 | 794310.00 | 80.00 | 577680.00 | 99.00 | 714879.00 | 135.00 | 974835.00 | 577680.00 | M/S BHATTACHARYYA CONSTRUCTION
24.00 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. - 40 mm thick with 20 mm nominal size stone aggregate | 103.00 | sqm |  | 400.00 | 41200.00 | 400.00 | 41200.00 | 450.00 | 46350.00 | 600.00 | 61800.00 | 41200.00 | M/s. A S Traders, M/S BHATTACHARYYA CONSTRUCTION
25.00 | Providing and laying Ceramic glazed floor tiles of size 300 x 300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc. complete. | 180.00 | sqm |  | 850.00 | 153000.00 | 800.00 | 144000.00 | 850.00 | 153000.00 | 1000.00 | 180000.00 | 144000.00 | M/S BHATTACHARYYA CONSTRUCTION
26.00 | Providing and fixing 1st quality ceramic glazed tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 347.00 | sqm |  | 1700.00 | 589900.00 | 800.00 | 277600.00 | 925.00 | 320975.00 | 1000.00 | 347000.00 | 277600.00 | M/S BHATTACHARYYA CONSTRUCTION
27.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. - Size of Tile 600x600 mm | 407.00 | sqm |  | 1200.00 | 488400.00 | 860.00 | 350020.00 | 1100.00 | 447700.00 | 1400.00 | 569800.00 | 350020.00 | M/S BHATTACHARYYA CONSTRUCTION
28.00 | Providing corrugated G.S. sheet roofing including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. - 1.00 mm thick with zinc coating not less than 275 gm/m² | 1528.00 | sqm |  | 1200.00 | 1833600.00 | 1000.00 | 1528000.00 | 1100.00 | 1680800.00 | 1200.00 | 1833600.00 | 1528000.00 | M/S BHATTACHARYYA CONSTRUCTION
29.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion - Single socketed pipes - 110 mm diameter | 116.00 | metre |  | 450.00 | 52200.00 | 300.00 | 34800.00 | 380.00 | 44080.00 | 285.00 | 33060.00 | 33060.00 | ARDHENDU BIKAS DAS
30.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings / accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. - Bend 87.5° - 110 mm bend | 15.00 | each |  | 150.00 | 2250.00 | 200.00 | 3000.00 | 350.00 | 5250.00 | 150.00 | 2250.00 | 2250.00 | M/s. A S Traders, ARDHENDU BIKAS DAS
31.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings / accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. - Shoe (Plain) - 110 mm Shoe | 15.00 | each |  | 120.00 | 1800.00 | 150.00 | 2250.00 | 350.00 | 5250.00 | 125.00 | 1875.00 | 1800.00 | M/s. A S Traders
32.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cut-outs made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | 2565.00 | sqm |  | 550.00 | 1410750.00 | 1000.00 | 2565000.00 | 840.00 | 2154600.00 | 1190.00 | 3052350.00 | 1410750.00 | M/s. A S Traders
33.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 453.00 | sqm |  | 800.00 | 362400.00 | 500.00 | 226500.00 | 620.00 | 280860.00 | 800.00 | 362400.00 | 226500.00 | M/S BHATTACHARYYA CONSTRUCTION
34.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main ’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calcium silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Sections shall be pre-painted with polyester baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. Note :- Only calcium silicate false ceiling area will be measured from wall to wall. No deduction shall be made for exposed frames/opening (cut outs) having area less than 0.30 sqm. The calcium silicate ceiling tile shall have NRC value of 0.50 (Minimum), light reflection > 85%, non- combustible as per B.S. 476 part IV, 100% humidity resistance and also having thermal conductivity <0.043 w/make | 501.00 | sqm |  | 1600.00 | 801600.00 | 1560.00 | 781560.00 | 1475.00 | 738975.00 | 1890.00 | 946890.00 | 738975.00 | Saha Building Centre Pvt Ltd
35.00 | Providing and fixing Gal Clip in Metal Ceiling System of 600 X 600, 600 X 1200, 300 X 1200 mm module which includes providing and fixing 'C' wall angle of size 20x30x20 mm made of 0.5 mm thick pre painted steel along the perimeter of the room with help of nylon sleeves and wooden screws at 300 mm centre to centre, suspending the main C carrier of size 10x38x10 mm made of G.I steel 0.7 mm thick from the soffit with help of soffit cleat 37x27x25x1.6 mm, rawl plugs of size 38x12 mm and C carrier suspension clip and main carrier bracket at 1000 mm c/c. Inverted triangle shaped Spring Tee having height of 24 mm and width of 34 mm made of Gal steel 0.45 mm thick is then fixed to the main C carrier and in direction perpendicular to it at 600 mm centres with help of suspension brackets. Wherever the main C carrier and spring T have to join, C carrier and spring T connectors have to be used. All sections to be galvanized @ 120 gms/sqm (both side inclusive), fixing with clip in tiles into spring T with : GI Metal Ceiling Clip in plain Bevelled edge global white colour tiles of size 600x600, 600 X 1200, 300 X 1200 and 0.5 mm thick with 25 mm height,made of G I sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending andperforation. | 1625.00 | sqm |  | 500.00 | 812500.00 | 3000.00 | 4875000.00 | 1850.00 | 3006250.00 | 2100.00 | 3412500.00 | 812500.00 | M/s. A S Traders
36.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 Coarse sand) | 427.00 | sqm |  | 210.00 | 89670.00 | 160.00 | 68320.00 | 260.00 | 111020.00 | 290.00 | 123830.00 | 68320.00 | M/S BHATTACHARYYA CONSTRUCTION
37.00 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : 1:6 (1 cement: 6 Coarse sand) | 427.00 | sqm |  | 250.00 | 106750.00 | 180.00 | 76860.00 | 280.00 | 119560.00 | 370.00 | 157990.00 | 76860.00 | M/S BHATTACHARYYA CONSTRUCTION
38.00 | Applying one coat of water thinkable cement primer of approved brand and manufacture on wall surface : Water thinkable cement primer | 1896.00 | sqm |  | 50.00 | 94800.00 | 30.00 | 56880.00 | 40.00 | 75840.00 | 80.00 | 151680.00 | 56880.00 | M/S BHATTACHARYYA CONSTRUCTION
39.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 litre/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 1091.00 | sqm |  | 40.00 | 43640.00 | 80.00 | 87280.00 | 95.00 | 103645.00 | 162.00 | 176742.00 | 43640.00 | M/s. A S Traders
40.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 1100.00 | sqm |  | 80.00 | 88000.00 | 70.00 | 77000.00 | 90.00 | 99000.00 | 150.00 | 165000.00 | 77000.00 | M/S BHATTACHARYYA CONSTRUCTION
41.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 436.00 | sqm |  | 120.00 | 52320.00 | 70.00 | 30520.00 | 80.00 | 34880.00 | 135.00 | 58860.00 | 30520.00 | M/S BHATTACHARYYA CONSTRUCTION
42.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1091.00 | sqm |  | 110.00 | 120010.00 | 100.00 | 109100.00 | 80.00 | 87280.00 | 110.00 | 120010.00 | 87280.00 | Saha Building Centre Pvt Ltd
43.00 | Welded steel wire fabric fencing with posts of specified material and of standard design placed and embedded in cement concrete blocks 45x45x 60 cm of mix 1:5:10 (1 cement:5 fine sand : 10 graded stone aggregate 40 mm nominal size), every 15th post, last but one end post and corner post shall be strutted on both sides and end post on one side only and struts embedded in cement concrete blocks 70x45x50 cm of the same mix, provided with welded steel wire fabric fixed between the posts fitted and fixed with G.I. staples on wooden plugs or tied to 6 mm bar nibs with G.I. binding wire (cost of posts, welded steel wire fabric, painting, earth work in excavation and concrete to be paid for separately). | 342.00 | sqm |  | 20.00 | 6840.00 | 20.00 | 6840.00 | 600.00 | 205200.00 | 60.00 | 20520.00 | 6840.00 | M/s. A S Traders, M/S BHATTACHARYYA CONSTRUCTION
44.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length (total length 90 m), having 50 no's rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 611.00 | metre |  | 1200.00 | 733200.00 | 450.00 | 274950.00 | 400.00 | 244400.00 | 300.00 | 183300.00 | 183300.00 | ARDHENDU BIKAS DAS
45.00 | Manufacturing, supplying and fixing retro reflective overhead signage boards made up of 2 mm thick aluminium sheet, face to be fully covered with high intensity and encapsulated lens type heat activated retro reflective sheeting conforming to type - III of ASTM-D-4956-01 as approved by Engineer-in-charge, letters, borders etc. as per IRC : 67-2001 in silver white with blue colour back ground and with high intensity grade, pasted on substrate by pressure sensitive adhesive backing which shall be activated by applying pressure conforming to class II of ASTM-D-4956-01 and fixing the same to the plate of structural frame work by means of suitable sized aluminium alloys, rivets or bolts & nuts @ 300 mm centre to centre all along the periphery as well as in two vertical rows along with theft resistant measures, including the cost of painting with two or more coats of epoxy paint in grey colour on the back side of aluminium sheet including appropriate priming coat. The rate includes the cost of rounding off the corners, lowering down the structural frame work from the gantry, fixing and erecting the same in position all complete as per drawings, specification and direction of the engineer-incharge. (Structural frame work including M.S. plate to be provided separately. Rectangular area of the sheet only shall be measured for payment). - Overhead informatory road signage | 19.00 | sqm |  | 5000.00 | 95000.00 | 4000.00 | 76000.00 | 5500.00 | 104500.00 | 5500.00 | 104500.00 | 76000.00 | M/S BHATTACHARYYA CONSTRUCTION
46.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber / neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, panelling and dash fasteners to be paid for separately) : For fixed portion - Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 412.00 | kg |  | 520.00 | 214240.00 | 440.00 | 181280.00 | 400.00 | 164800.00 | 550.00 | 226600.00 | 164800.00 | Saha Building Centre Pvt Ltd
47.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber / neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, panelling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) - Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 561.00 | kg |  | 570.00 | 319770.00 | 440.00 | 246840.00 | 420.00 | 235620.00 | 550.00 | 308550.00 | 235620.00 | Saha Building Centre Pvt Ltd
48.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge. (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 360.00 | sqm |  | 900.00 | 324000.00 | 950.00 | 342000.00 | 850.00 | 306000.00 | 1310.00 | 471600.00 | 306000.00 | Saha Building Centre Pvt Ltd
49.00 | Filling the gap in between aluminium frame & adjacent RCC / Brick / Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. - Upto 5mm depth and 5 mm width | 1200.00 | metre |  | 50.00 | 60000.00 | 50.00 | 60000.00 | 60.00 | 72000.00 | 70.00 | 84000.00 | 60000.00 | M/s. A S Traders, M/S BHATTACHARYYA CONSTRUCTION
50.00 | Providing and fixing double glazed hermetically sealed glazing in aluminium windows, ventilators and partition etc. with 6 mm thick clear float glass both side, having 12 mm air gap, including providing EPDM gasket, perforated aluminium spacers, desiccants, sealant (Both primary and secondary sealant) etc. as per specifications, drawings and direction of Engineer-in-charge complete. | 387.00 | sqm |  | 2000.00 | 774000.00 | 4100.00 | 1586700.00 | 1900.00 | 735300.00 | 4200.00 | 1625400.00 | 735300.00 | Saha Building Centre Pvt Ltd
51.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers with pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 10.00 | each |  | 1300.00 | 13000.00 | 700.00 | 7000.00 | 1500.00 | 15000.00 | 750.00 | 7500.00 | 7000.00 | M/S BHATTACHARYYA CONSTRUCTION
52.00 | Providing and fixing 12mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc. to be paid separately) | 96.00 | sqm |  | 6000.00 | 576000.00 | 6000.00 | 576000.00 | 2600.00 | 249600.00 | 4600.00 | 441600.00 | 249600.00 | Saha Building Centre Pvt Ltd
53.00 | Providing and supplying aluminium extruded tubular and other aluminium sections, the aluminium quality as per grade 6063 T5 or T6 as per BS 1474,including super durable powder coating of 60-80 microns conforming to AAMA 2604 of required colour and shade as approved by the Engineer-in-Charge. (The item includes cost of material such as cleats, sleeves, screws etc. necessary for fabrication of extruded aluminium frame work. Nothing extra shall be paid on this account). The weight of aluminium extruded section shall be taken for purpose of payment. | 2605.00 | Kg |  | 350.00 | 911750.00 | 400.00 | 1042000.00 | 460.00 | 1198300.00 | 390.00 | 1015950.00 | 911750.00 | M/s. A S Traders
54.00 | Removing of damaged D.G.U, Cleaning of surface and supplying & installing of new I.G.U (fixed in position over aluminum vertical and horizontal framing members) with high performance solar control insulated Heat Strengthened / Heat soaked toughened glass .The outer glass shall be heat reflective, solar control, as well as thermal control, UV protected with low internal and external reflection with good light transmission properties. (Aluminum vertical and horizontal framing work is excluded in the item) Details of the D.G.U as shown in drawings and details enclosed. All components should be sealed for water proofing with non stain weather silicon of Wackersikasil / DOW corning / GE silicones with silicon joint movement minimum + 50% according to ASTMC - 920. (Silicone grade shall be used as per the manufacturer’s recommendation only). All Screws, Bolts, Nuts and Washers used in the glazing shall be only stainless steel (S.S. grade 316) and of approved make. All the joints of glass panel in elevation shall be filled with approved grade of weather silicon(nonstaining) using appropriate size of backer rod, masking tape to avoid any stains of silicon on glass / aluminium framing, joints shall be uniform in concave shape in both vertical and horizontal directions and gap between two glass panels as shown in drawings and details enclosed. For the payment purpose the actual area of structral galzing including width of groove on the external face shall be measured in sqm upto two decimal. - Glass Type = 28mm thick D.G.U. consisting of outer 6mm thick high performance heat soaked toughened glass + 16mm air gap + Inner 6mm thick heat soaked toughened clear glass. Glass shall have following properties - Visual Light Tranmission (VLT) more than 40%, Internal reflection less than 15%, External reflection less than 20 %, Solar Factor less than 0.25 and U value less than 2.0 W/m2 degrees K. | 189.00 | sqm |  | 500.00 | 94500.00 | 1000.00 | 189000.00 | 4000.00 | 756000.00 | 5600.00 | 1058400.00 | 94500.00 | M/s. A S Traders
55.00 | Providing and fixing Lightweight Aluminium Access Ceiling Trapdoor with continuous aluminium hinge IQUBX CTD-023H. The Trapdoor to be able to carry 10mm Painted MDF Board / Painted Partical Board / Painted marine Ply / Prelaminated Board / painted bison board or calcium silicate board as per the requirement to match the ceiling finish with minimum visible flange. Fixed to soffit of slab and / or ceiling frame with appropriate strong support. The lid to be connected with trap door frame with 1 or 2 Chain with each trap door and locked with 1 or 2 allen keys. The Ceiling Trapdoor may have one or more openable Lid/ Door depending upon the size of trapdoor. This model has collar depth of 20mm and flange of 3mm on both sides. Size of trap door may be 600 x 600 mm / 1200 x 600 mm and may have finish powder coated, infilled material 0.7mm thick Perforated GI Sheet, No. of shutters - 2 nos., locking - yes, steel wire - yes as per direction and satisfaction of Engg.-in-charge. | 300.00 | nos. |  | 15400.00 | 4620000.00 | 1300.00 | 390000.00 | 3000.00 | 900000.00 | 8800.00 | 2640000.00 | 390000.00 | M/S BHATTACHARYYA CONSTRUCTION
56.00 | Providing and fixing removable raised/false access flooring with system and its components of approved make for different plenum height with possible height adjustment upto 50 mm, comprising of modular load bearing floor panels supported on G.I. rectangular stinger frame work and G.I. Pedestal etc. all complete, as per the architectural drawings, as specified and as directed by Engineer-in-charge consisting of: (a) Providing at required spacing to form modular framework, pedestals made out of GI tube of thickness minimum 2 mm and 25 mm outer diameter, fully welded on to the G.I. Base plate of size 100mm x 100mm x 3mm at the bottom of the pedestal tube, G.I. pedestal head of size 75mmx75mmx3.5 mm welded with GI fully threaded stud 16mm outer diameter with two GI Check nuts screwed on the stud for level adjustment upto 50mm, locking and stabilizing the pedestal head in position at the required level. The pedestals shall be fixed to the subfloor (base) through base plate using epoxy based adhesive of approved make or the machine screw with rawl plug. (b) Stringers system in all steel construction hot dipped galvanized of rectangular size 570x20x30x0.80mm thick having holes at both ends for securing the stringers on to the pedestal head using fully threaded screws ensuring maximum lateral stability in all directions, the grid formed by the pedestal and stringer assembly shall receive the floor panel, this system shall provide adequate solid, rigid support for access floor panel, the system shall provide a minimum clear uninterrupted clearance between the bottom of the floor for electrical conduits and wiring etc. all complete as per the architectural drawings, as specified and as directed by the Engineer-in-charge. (c) Providing and fixing Access Floor panel of 600x600x32 mm medium grade Filled Steel anti static high pressure Lamination of 800H grade (FS800H). Access Floor panel shall be steel welded construction with an enclosed bottom pan with uniform pattern of 64 hemispherical cones. The top and bottom plates of Steel Gauges: top 0.6 mm and bottom 0.7 mm fused spot welded together (minimum 64 welds in each dome and 20 welds along each flange). The panel should be Corroresist epoxy coated for lifetime rust protection and cavity formed by the top and bottom plate is filled with Pyrogrip noncombustible Portland cementitious core mixed with lightweight foaming compound. The access floor shall be factory finished with Anti-static High Pressure laminate with Non Warp technology upto 1mm thickness for superior adhesion and Surface flatness within 0.75mm.The panel is to withstand a Concentrated Load of 363 kgs applied on area 25mm x 25mm without collapse in the centre of the panel which is placed on four steel blocks. The panel will withstand and Uniformly Distributed Load (UDL) minimum 1250 kg/sqm and an impact load of 50kg all complete as per the approved manufacturers specification and as per the direction of Engineer-in-charge. All specification must be printed on the side of the panel to ensure the quality of the product. - 300 mm Finished Floor Height (FFH) | 400.00 | sqm |  | 3500.00 | 1400000.00 | 3700.00 | 1480000.00 | 4000.00 | 1600000.00 | 5040.00 | 2016000.00 | 1400000.00 | M/s. A S Traders
57.00 | Providing and fixing removable raised/false access flooring with system and its components of approved make for different plenum height with possible height adjustment upto 50 mm, comprising of modular load bearing floor panels supported on G.I. rectangular stinger frame work and G.I. Pedestal etc. all complete, as per the architectural drawings, as specified and as directed by Engineer-in-charge consisting of: (a) Providing at required spacing to form modular framework, pedestals made out of GI tube of thickness minimum 2 mm and 25 mm outer diameter, fully welded on to the G.I. Base plate of size 100mm x 100mm x 3mm at the bottom of the pedestal tube, G.I. pedestal head of size 75mmx75mmx3.5 mm welded with GI fully threaded stud 16mm outer diameter with two GI Check nuts screwed on the stud for level adjustment upto 50mm, locking and stabilizing the pedestal head in position at the required level. The pedestals shall be fixed to the subfloor (base) through base plate using epoxy based adhesive of approved make or the machine screw with rawl plug. (b) Stringers system in all steel construction hot dipped galvanized of rectangular size 570x20x30x0.80mm thick having holes at both ends for securing the stringers on to the pedestal head using fully threaded screws ensuring maximum lateral stability in all directions, the grid formed by the pedestal and stringer assembly shall receive the floor panel, this system shall provide adequate solid, rigid support for access floor panel, the system shall provide a minimum clear uninterrupted clearance between the bottom of the floor for electrical conduits and wiring etc. all complete as per the architectural drawings, as specified and as directed by the Engineer-in-charge. (c) Providing and fixing Access Floor panel of 600x600x32 mm medium grade Filled Steel anti static high pressure Lamination of 800H grade (FS800H). Access Floor panel shall be steel welded construction with an enclosed bottom pan with uniform pattern of 64 hemispherical cones. The top and bottom plates of Steel Gauges: top 0.6 mm and bottom 0.7 mm fused spot welded together (minimum 64 welds in each dome and 20 welds along each flange). The panel should be Corroresist epoxy coated for lifetime rust protection and cavity formed by the top and bottom plate is filled with Pyrogrip noncombustible Portland cementitious core mixed with lightweight foaming compound. The access floor shall be factory finished with Anti-static High Pressure laminate with Non Warp technology upto 1mm thickness for superior adhesion and Surface flatness within 0.75mm.The panel is to withstand a Concentrated Load of 363 kgs applied on area 25mm x 25mm without collapse in the centre of the panel which is placed on four steel blocks. The panel will withstand and Uniformly Distributed Load (UDL) minimum 1250 kg/sqm and an impact load of 50kg all complete as per the approved manufacturers specification and as per the direction of Engineer-in-charge. All specification must be printed on the side of the panel to ensure the quality of the product. - 450 mm Finished Floor Height (FFH) | 400.00 | sqm |  | 4750.00 | 1900000.00 | 3700.00 | 1480000.00 | 4400.00 | 1760000.00 | 5400.00 | 2160000.00 | 1480000.00 | M/S BHATTACHARYYA CONSTRUCTION
58.00 | Providing and fixing Tubeline as approved make metal ceiling system as per drawing detailed. Metal suspended ceiling system shall comprise specialist extruded aluminium tubular sections (50mmdiax2.0mm thick @ 150mm c/c) located within a precision formed aluminium carrier section. Points within the carrier section, at precise predetermined centres, in accordance as per drawing. Tubes shall be connected in length by dedicated splice connector sections and securely locked into position, in the carrier section, with a specialist locking spring clip device. Tubes and carrier sections shall be finished with polyester powder paint to the approved colour with colour matching end caps used to close off the tubular sections. The membrane material shall be specialist extruded circularor as per drawing . The finish will be Polyester powder coating electro-statically applied to all surfaces of the tube and carrier section as a post painting process. Coat thickness of minimum 60 microns. The suspension system is Precision made, pre slotted as per manufacturer specifications aluminium tee carrier section positioned at 1200 mm centres and supported by slide on brackets TCB 12/ L bolted to angle hangers suspended from structural soffit at 1200mm centres or as per drawing. Tubeline sections shall be positioned at precise centres by positioning each leg securely into the pre slotted as per manufacturer specifications carrier section and securely locked into place with preformed spring security clips at approved centres. Products must be fully tested in accordance with BS476 parts 6 and 7 with regard to fire propagation and surface spread of flame and by virtue of their performance be designated Class O in accordance with U.K. Building regulations. Item shall include supplying, installation and fixing of Tubeline metal ceiling complete including grid and all accessories such as hangers, fasteners, anchor bolts, brackets, screws, all machineries etd complete with all respect). The above work is to be carried out by a specialised agency as approved by the Engineer-in-Charge. | 1237.00 | sqm |  | 300.00 | 371100.00 | 2000.00 | 2474000.00 | 2700.00 | 3339900.00 | 5700.00 | 7050900.00 | 371100.00 | M/s. A S Traders
59.00 | Providing and fixing in position single / double, leaf fire check doors and frames at all levels of approved make, design, finish, complete in all respect as per specifications and direction of Engineer-In-Charge and consisting of :- a) Pressed male door frames manufactured from 1.6mm(16gauge) thick galvanised steel sheet confirming to IS 277(2003) of double rebate profile of size minimum (143mm X 57 mm) finished with 'H' -primer. b)minimum 46mm thick G.I. fire check door of 120 minutes fire rating conforming to BS:476 part 22 & IS : 364 part II fabricated with 2 nos. 1.2mm thick(18 gauge) galvanised sheet with infill of fire rated properitory insulation filler bonded to both faces of sheet with lock seam joints at style edges and internal reinforcement at top, bottom and style edges and internal reinforcement at top bottom and style edges for fire rating. c)The door frames and door shutters shall be primed with 'H' primer and finished with PU/Powder coated . The shutter would be mounted with SS Ball Bearing Hinges of size 100mm x 75mm x 3.0mm of Becker Fire Solutions ( 4Nos per leaf), appropriate openings for vision panel glass. Prototype Test certificate for a test carried out earlier at CBRI Roorkee or NTH Kolkata for fire rating of doors, shall be attached along with manufacturers test certificate. d) All door shall be factory made including hardwares i.e. hinges, panic bar, door closer, lock, handles etc. as desired with necessary reinforcement and direction of Engineer in charge. e) Minimum 5 mm thick Pyron /pyrobeck / Central/Saint Gobain Fire Rated Clear Non Wired Glass of 120 minutes rating one on each leaf of size 300 x 300mm. - Single Leaf / Double Leaf Door with vision with a guaranteed of 120 minutes fire rating | 38.00 | sqm |  | 16000.00 | 608000.00 | 16000.00 | 608000.00 | 19000.00 | 722000.00 | 18500.00 | 703000.00 | 608000.00 | M/s. A S Traders, M/S BHATTACHARYYA CONSTRUCTION
60.00 | Providing and placing dustbin as per drawing, materials comprising stainless steel grade 304, capacity 180 lits (60 lits X3 ) with powder coating matt finish with wheel and lock lid and inner bin of 202 steel grade at different location as per direction and satisfaction of Engineering-in-charge. | 18.00 | each |  | 30000.00 | 540000.00 | 48000.00 | 864000.00 | 29000.00 | 522000.00 | 28500.00 | 513000.00 | 513000.00 | ARDHENDU BIKAS DAS
| Total in Figures |  |  |  |  | 26749970.00 |  | 29095110.00 |  | 29250284.00 |  | 41277882.00
Lowest Amount Quoted BY: M/s. A S Traders(26749970.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil Works for New ATC Tower and Technical Block at NSCBI Airport, Kolkata. Tender ID: 2023_AAI_179267_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s. A S Traders | 26749970.00 | L1
| 2 | M/S BHATTACHARYYA CONSTRUCTION | 29095110.00 | L2
| 3 | Saha Building Centre Pvt Ltd | 29250284.00 | L3
| 4 | ARDHENDU BIKAS DAS | 41277882.00 | L4