## BoQ1
Government eProcurement System Created By: ABHIJIT DATTA Created Date/Time: 06-Mar-2024 12:37 PM Tender Title: Works Contract for Miscellaneous Electrical Works. SH Replacement of Cabinet Inline Fan for toilet exhaust at NSCBI Airport, Kolkata Tender ID: 2023_AAI_179268_1
Tender Inviting Authority: AGM EE I
Name of Work: Works Contract for Works Contract for Miscellaneous Electrical Works. SH: Replacement of Cabinet Inline Fan for toilet exhaust at NSCBI Airport, Kolkata.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders(GSTN-19AEIPB6323B1ZZ)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Cabinet direct drive Inline Fan with 20G Galvanised Steel Sheet cabinet complete with inlet and outlet spigots, mounting brackets, access panel, filter fixing arrangements suitable for inline mounting comprising of forward curved DIDW impeller with single phase squirrel cage induction motor, metal clad MCB (20 Amp, 10 KA) and starter, suitable length cable, earthing etc complete as required, suitable for single phase 230 Volts 50 HZ AC supply as per specifications of following capacities:- 1500 CFM Inline Fan. | 150.00 | Each | 19875.00 | 18000.00 | 2700000.00 | 2700000.00 | Youngmen Traders
2.00 | Installation, testing & commissioning of the 1500 CFM Cabinet Inline Fan at Sl. No. 1 complete as required as per instruction of E-I-C. | 150.00 | Each | 1863.00 | 1200.00 | 180000.00 | 180000.00 | Youngmen Traders
3.00 | Dismantling of existing installed Cabinet Inline Fan from the site with its accessories and shifting the same to AAI store as per the instruction of EIC. | 150.00 | Each | 466.00 | 200.00 | 30000.00 | 30000.00 | Youngmen Traders
| Total in Figures |  |  |  |  | 2910000.00
Lowest Amount Quoted BY: Youngmen Traders(2910000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Works Contract for Miscellaneous Electrical Works. SH Replacement of Cabinet Inline Fan for toilet exhaust at NSCBI Airport, Kolkata Tender ID: 2023_AAI_179268_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Youngmen Traders | 2910000.00 | L1