## BoQ1
Government eProcurement System Created By: Sanjib Kumar Dey Created Date/Time: 29-Jan-2024 05:18 PM Tender Title: Relocation of Civil Enquiry Office and rearrangement of Water supply lines due to fall of Metro Railway alignment at New Quarters NSCBI Airport SH Electrical and IT works Tender ID: 2023_AAI_179275_1
Tender Inviting Authority: AGM(E-E), AAI, RHQ, ER
Name of Work: Relocation of Civil Enquiry Office & re- arrangement of water supply lines due to fall of Metro Railway alignment at New Quarter NSCBI Airport. SH: Electrical & IT Works.
Contract No: AAI/ER /KOL /EE/NIT-07/2023 -24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | ANIRBAN ENTERPRISE(GSTN-19AHNPB5949D1Z6) |  | MANNA ELECTRONICS AND ELECTRICAL WORKS(GSTN-19AALFM9363P2Z6)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable etc. as required.
1.10 | Group B | 40.00 | Point |  | 1250.00 | 50000.00 | 900.00 | 36000.00 | 860.00 | 34400.00 | 34400.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
2.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/recessed steel conduit as required
2.10 | 2 x 2.5 sq. mm + 1 x 2.5 sq. mm earth wire | 160.00 | Metre |  | 350.00 | 56000.00 | 190.00 | 30400.00 | 365.00 | 58400.00 | 30400.00 | ANIRBAN ENTERPRISE
2.20 | 2 X 6 sq. mm +1 X 6 sq. mm earth wire | 80.00 | Metre |  | 500.00 | 40000.00 | 325.00 | 26000.00 | 230.47 | 18437.60 | 18437.60 | MANNA ELECTRONICS AND ELECTRICAL WORKS
3.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 200.00 | Metre |  | 350.00 | 70000.00 | 265.00 | 53000.00 | 250.92 | 50184.00 | 50184.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
4.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 100.00 | Metre |  | 500.00 | 50000.00 | 515.00 | 51500.00 | 430.00 | 43000.00 | 43000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
5.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
5.10 | 5/6 amps switch | 100.00 | Each |  | 120.00 | 12000.00 | 95.00 | 9500.00 | 75.00 | 7500.00 | 7500.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
5.20 | 15/16 A switch | 8.00 | Each |  | 210.00 | 1680.00 | 125.00 | 1000.00 | 165.00 | 1320.00 | 1000.00 | ANIRBAN ENTERPRISE
5.30 | 3 pin 5/6 A socket outlet | 32.00 | Each |  | 250.00 | 8000.00 | 95.00 | 3040.00 | 245.00 | 7840.00 | 3040.00 | ANIRBAN ENTERPRISE
5.40 | 6 pin 15/16 A socket outlet | 8.00 | Each |  | 320.00 | 2560.00 | 125.00 | 1000.00 | 245.00 | 1960.00 | 1000.00 | ANIRBAN ENTERPRISE
6.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required.
6.10 | 1 or 2 Module (75mmX75mm) | 20.00 | Each |  | 300.00 | 6000.00 | 65.00 | 1300.00 | 180.00 | 3600.00 | 1300.00 | ANIRBAN ENTERPRISE
6.20 | 3 Module (100mmX75mm) | 20.00 | Each |  | 400.00 | 8000.00 | 85.00 | 1700.00 | 190.00 | 3800.00 | 1700.00 | ANIRBAN ENTERPRISE
6.30 | 4 Module (125mmX75mm) | 20.00 | Each |  | 450.00 | 9000.00 | 95.00 | 1900.00 | 225.00 | 4500.00 | 1900.00 | ANIRBAN ENTERPRISE
6.40 | 6 Module (200mmX75mm) | 20.00 | Each |  | 550.00 | 11000.00 | 115.00 | 2300.00 | 380.00 | 7600.00 | 2300.00 | ANIRBAN ENTERPRISE
6.50 | 8 Module (125mmX125mm) | 20.00 | Each |  | 650.00 | 13000.00 | 125.00 | 2500.00 | 425.00 | 8500.00 | 2500.00 | ANIRBAN ENTERPRISE
7.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 16.00 | Each |  | 750.00 | 12000.00 | 324.00 | 5184.00 | 800.00 | 12800.00 | 5184.00 | ANIRBAN ENTERPRISE
8.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 20.00 | Each |  | 20.00 | 400.00 | 12.00 | 240.00 | 40.00 | 800.00 | 240.00 | ANIRBAN ENTERPRISE
9.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator). Make- L & T or equivalent as per AAI approve make.
9.10 | 8 way, Double Door | 4.00 | Each |  | 1500.00 | 6000.00 | 1600.00 | 6400.00 | 1500.00 | 6000.00 | 6000.00 | M/s LEESHA ELECTRICALS, MANNA ELECTRONICS AND ELECTRICAL WORKS
10.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required .(Similar to Make-L & T or equivalent)
10.10 | 12 way (4 + 36), Double door | 1.00 | Each |  | 6500.00 | 6500.00 | 12500.00 | 12500.00 | 15800.00 | 15800.00 | 6500.00 | M/s LEESHA ELECTRICALS
11.00 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. (Similar to Make- Legrand or equivalent)
11.10 | 63A, FP,16kA | 1.00 | Each |  | 3500.00 | 3500.00 | 4200.00 | 4200.00 | 7100.00 | 7100.00 | 3500.00 | M/s LEESHA ELECTRICALS
12.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. ( Make- Havells or equivalent as per AAI approve make.)
12.10 | Single pole | 20.00 | Each |  | 130.00 | 2600.00 | 125.00 | 2500.00 | 192.00 | 3840.00 | 2500.00 | ANIRBAN ENTERPRISE
12.20 | Single pole and Neutral | 10.00 | Each |  | 320.00 | 3200.00 | 390.00 | 3900.00 | 580.00 | 5800.00 | 3200.00 | M/s LEESHA ELECTRICALS
13.00 | Supply of 36 W Indoor Surface mounted Integrated LED Lamp 4ft. long with efficacy >100 lumen/watt constructed of Aluminium extrusion in white finish complete for Glare free uniform illumination with longer life suitable for 230V, 50 Hz power supply ( Similar to Havells, Product code- LUMILINE+ XS36WLED865SPCWH or Equivalent LED fittings conforming to AAI Technical specification). | 24.00 | Each |  | 800.00 | 19200.00 | 490.00 | 11760.00 | 666.00 | 15984.00 | 11760.00 | ANIRBAN ENTERPRISE
14.00 | Supply of 60 watt LED street light luminaire of Pressure die-cast Al housing, IP66 protection, having minimum 4000 lumen output & minimum CCT from 5000K to 6500K i/c necessary electronic driver, high power LED lamp suitable to operate on 230V ac power supply with supply and fixing 50 mm of medium class G.I.bend on wall etc as required. ( Similar to Havells, Product code- ENDURAOMNIPLUSSL60WLED757SASYTOPC or Equivalent LED fittings conforming to AAI Technical specification). | 50.00 | Each |  | 3200.00 | 160000.00 | 2000.00 | 100000.00 | 2150.00 | 107500.00 | 100000.00 | ANIRBAN ENTERPRISE
15.00 | ITC of pre-wired, fluorescent fitting / compact fluorescent fitting/LED fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/wall, including connection with 1.5 sqmm FR PVC insulated copper conductor, single core cable and earthing etc. as required. | 74.00 | Each |  | 150.00 | 11100.00 | 150.00 | 11100.00 | 120.00 | 8880.00 | 8880.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
16.00 | ITC of LED Street Light in 40mm dia GI Pipe over Pole or Wall including connection and necessary clamping arrangement etc. as required. | 50.00 | Job |  | 650.00 | 32500.00 | 225.00 | 11250.00 | 30.00 | 1500.00 | 1500.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
17.00 | Supply of 1200 mm sweep anti dust ceiling fan with remote high Speed fan complete as required suitable for operation on 220-240V, 50Hz, single phase power supply. Make- Crompton, Model- Silent Pro Enso or Equivalent as per AAI Approve make. | 20.00 | Each |  | 2250.00 | 45000.00 | 5000.00 | 100000.00 | 5000.00 | 100000.00 | 45000.00 | M/s LEESHA ELECTRICALS
18.00 | Supply of Exhaust fan complete as required suitable for operation on 220-240V, 50Hz, 1ph power supply. Make- Bajaj Maxima Dxl, or Equivalent as per AAI Approved make.
18.10 | 300 mm sweep, Fibre body, with minimum 1000 rpm. | 16.00 | Each |  | 1800.00 | 28800.00 | 1100.00 | 17600.00 | 1350.00 | 21600.00 | 17600.00 | ANIRBAN ENTERPRISE
19.00 | Installation of exhaust fan upto 450mm in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 16.00 | Each |  | 250.00 | 4000.00 | 300.00 | 4800.00 | 85.00 | 1360.00 | 1360.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
20.00 | ITC of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 20.00 | Each |  | 100.00 | 2000.00 | 225.00 | 4500.00 | 110.00 | 2200.00 | 2000.00 | M/s LEESHA ELECTRICALS
21.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 20.00 | Each |  | 650.00 | 13000.00 | 350.00 | 7000.00 | 330.00 | 6600.00 | 6600.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
22.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 2.00 | Each |  | 6500.00 | 13000.00 | 5500.00 | 11000.00 | 5000.00 | 10000.00 | 10000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
23.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 20.00 | meter |  | 30.00 | 600.00 | 22.00 | 440.00 | 22.00 | 440.00 | 440.00 | ANIRBAN ENTERPRISE, MANNA ELECTRONICS AND ELECTRICAL WORKS
24.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 20.00 | meter |  | 150.00 | 3000.00 | 175.00 | 3500.00 | 192.00 | 3840.00 | 3000.00 | M/s LEESHA ELECTRICALS
25.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required.
25.10 | Upto 35 sq. mm | 40.00 | Metre |  | 300.00 | 12000.00 | 295.00 | 11800.00 | 250.00 | 10000.00 | 10000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
26.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
26.10 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 5.00 | Metre |  | 30.00 | 150.00 | 55.00 | 275.00 | 28.00 | 140.00 | 140.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
27.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ STONEWARE/ METAL/CORRUGATED PIPE as required.
27.10 | Upto 35 sq. mm | 5.00 | Metre |  | 25.00 | 125.00 | 40.00 | 200.00 | 25.00 | 125.00 | 125.00 | M/s LEESHA ELECTRICALS, MANNA ELECTRONICS AND ELECTRICAL WORKS
28.00 | Supplying and making end termination with brass compression gland and Aluminum lugs for following size of XLPE insulated PVC sheathed aluminium conductor armoured power cable of 1.1 KV grade as required.
28.10 | 4 Core 16 Sq.mm. | 2.00 | Sets |  | 250.00 | 500.00 | 290.00 | 580.00 | 202.00 | 404.00 | 404.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
29.00 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required
29.10 | 50mm dia | 5.00 | Metre |  | 500.00 | 2500.00 | 595.00 | 2975.00 | 585.00 | 2925.00 | 2500.00 | M/s LEESHA ELECTRICALS
30.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 5.00 | Cum |  | 850.00 | 4250.00 | 800.00 | 4000.00 | 1000.00 | 5000.00 | 4000.00 | ANIRBAN ENTERPRISE
31.00 | Design and SITC of Flex Vinyle Signage of Size 15 feet X 4 feet with Backlit LED light suitable for 240 V, I Phase and ACP Danger Board (Night Glow) to be installed as per desgnated site of newly commissioned R520, New Qtr. Residential Colony i/c Backlit Cut Vinyle Flex Stratching on 1 Inchiron Square Pipe Structure Slide covering with machine bended , Spray Painted 22 SWG GI Sheet with 1.5 Watt LED ( 5 Years warranty) and IP 67 power Supply ( 5 Years Warranty) with necessary ACP Board ( Alu Decor). Note : Text matter will be provided by AAI. | 1.00 | Each |  | 96000.00 | 96000.00 | 48000.00 | 48000.00 | 100000.00 | 100000.00 | 48000.00 | ANIRBAN ENTERPRISE
32.00 | Supply, Installation, Configuration, Testing & Laying through Conduit of CAT6 STP Cable with Jacks and accessories | 305.00 | Metre |  | 50.00 | 15250.00 | 55.00 | 16775.00 | 50.00 | 15250.00 | 15250.00 | M/s LEESHA ELECTRICALS, MANNA ELECTRONICS AND ELECTRICAL WORKS
33.00 | Supply, Installation of Sintex Outdoor Box for Camera Installation as per site requirement. | 6.00 | Job |  | 950.00 | 5700.00 | 750.00 | 4500.00 | 1000.00 | 6000.00 | 4500.00 | ANIRBAN ENTERPRISE
34.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
34.10 | 20 mm | 50.00 | Metre |  | 50.00 | 2500.00 | 18.00 | 900.00 | 13.00 | 650.00 | 650.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
34.20 | 25 mm | 100.00 | Metre |  | 60.00 | 6000.00 | 26.00 | 2600.00 | 18.00 | 1800.00 | 1800.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
35.00 | Supply, Installation, Testing & Commissioning of 9U Indoor 19" Wall Mount (Minimum depth of 500mm) Rack with, Rack mount tray, Horizontal Cable Manager 1 Nos, Fan Housing Unit, 5/15 PDU 6 Ports 1 No. and H/W front Panel (20 Nos/pkt) 1 pkt. | 4.00 | Job |  | 6500.00 | 26000.00 | 7300.00 | 29200.00 | 5500.00 | 22000.00 | 22000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
36.00 | Supply, Installation, Testing & Laying through pole to pole with GI Masenger wire & Pole accessories of 6 Core (SM) Outdoor Armoured OFC Cable | 1250.00 | Metre |  | 55.00 | 68750.00 | 66.00 | 82500.00 | 50.00 | 62500.00 | 62500.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
37.00 | Supply, Installation, Testing & Commissioning of LC-LC (SM) Duplex Patch Cord (3 Mtrs) | 8.00 | Job |  | 1200.00 | 9600.00 | 1800.00 | 14400.00 | 1200.00 | 9600.00 | 9600.00 | M/s LEESHA ELECTRICALS, MANNA ELECTRONICS AND ELECTRICAL WORKS
38.00 | Supply, Installation, Testing & Commissioning of 12 port (SM) LC type Loaded LIU | 4.00 | Job |  | 6500.00 | 26000.00 | 7575.00 | 30300.00 | 6000.00 | 24000.00 | 24000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
39.00 | Supply, Installation, Testing & Commissioning of 8 Port Layer 2 PoE switch with 2 nos 1G SEP Switch Type: L2 Cloud managed IP Support: IPv6 & IPv4 PoE/PoE + ports: 8 PoE + PoE Power Budget : 124W Switching capacity: 20Gbps Non Blocking PoE Support: (802.3af) & PoE+ (802.3at) Packet forwarding rate: 14.88 Mbps Immunity: IEC 61000-4-11, EN 61000-3-2, IEC 61000-3-2, CISPR 24/ CISPR 35, EN 55024:2010/ EN 55035:2017 | 4.00 | Job |  | 25000.00 | 100000.00 | 28000.00 | 112000.00 | 22000.00 | 88000.00 | 88000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
40.00 | Supply, Installation, Configuration, Testing & Commissioning of 10G SFP modules for switches | 6.00 | Job |  | 2000.00 | 12000.00 | 3350.00 | 20100.00 | 2000.00 | 12000.00 | 12000.00 | M/s LEESHA ELECTRICALS, MANNA ELECTRONICS AND ELECTRICAL WORKS
41.00 | Supply, Installation, Configuration, Testing & Commissioning of5 MP IP Motorized verifocal Bullet Camera Image Sensor: 1/2.8" progressive Scan CMOS Image Resolution: 2592 X 1944 Pixels Lens: 2.7-13.5 mm Frame rate : Max 30fps Min Illumination: 0.005 Lux at F1.6, 0 Lux ( IR On ) Onvif ( Profile G,S,T) Video Compression : H.265 HEVC/H.264/MJPEG WDR: 120db BLC,3D DNR Video Stream: 3 IR Range: Up to 60 Meters On board storage: Micro SD card 256GB ( card not incl.) Alarm: 1 Input & 1 Output Audio: 1 Input & 1 Output Event Alalytics: Intrusion Detection, Tampering, Multi loitering, Motion detection, People Count IP Rating : IP67 Power Supply : 12V, PoE ( 802.3af) Certification: CE, FCC, UL, RCM, UKCA, Onvif | 9.00 | Job |  | 18500.00 | 166500.00 | 21200.00 | 190800.00 | 17000.00 | 153000.00 | 153000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
42.00 | Supply, Installation, Testing & Commissioning of 1KVA UPS | 4.00 | Job |  | 4500.00 | 18000.00 | 4750.00 | 19000.00 | 4025.00 | 16100.00 | 16100.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
43.00 | Supply, Installation, Testing & Commissioning of 16-Channel NVR ( Enterprise Series ) Input: Up to 16 IP Input Network Throughput: 320 Mbps Audio: 2 way Communication Sata Interface: 2 HDD (up to 10TB each) Video Compression: H.265/H.264 Display: HDMI1(4K Max), HDMI2(1080P), VGA(1080P) Recording Resolution: Up to 3840 X 2160 Pixel Ethernet: 10/100/1000 Mbps X 2 USB Interface: Front 2 X USB 2.0, Back 1 X USB 3.0 Power Supply: 100-240V AC Certification: CE, FCC, UL, RCM, UKCA, Onvif | 1.00 | Job |  | 29500.00 | 29500.00 | 33350.00 | 33350.00 | 28000.00 | 28000.00 | 28000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
44.00 | Supply, Installation, Testing & Commissioning of 8TB surveillance HDD | 2.00 | Job |  | 15000.00 | 30000.00 | 16750.00 | 33500.00 | 15000.00 | 30000.00 | 30000.00 | M/s LEESHA ELECTRICALS, MANNA ELECTRONICS AND ELECTRICAL WORKS
45.00 | 60 cm/24 inches Full HD IPS 1920 x 1080 Pixels LCD Monitor, Inbuilt Speaker, HDMI x 2, VGA Port, 75 Hz Refresh Rate, AMD Freesync, 3 Side Borderless Slim Design | 1.00 | Nos |  | 11500.00 | 11500.00 | 10550.00 | 10550.00 | 12000.00 | 12000.00 | 10550.00 | ANIRBAN ENTERPRISE
| Total in Figures |  |  |  |  | 1346465.00 |  | 1207319.00 |  | 1182579.60
Lowest Amount Quoted BY: MANNA ELECTRONICS AND ELECTRICAL WORKS(1182579.60)

## BOQ Summary
BOQ Summary Details Tender Title: Relocation of Civil Enquiry Office and rearrangement of Water supply lines due to fall of Metro Railway alignment at New Quarters NSCBI Airport SH Electrical and IT works Tender ID: 2023_AAI_179275_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MANNA ELECTRONICS AND ELECTRICAL WORKS | 1182579.60 | L1
| 2 | ANIRBAN ENTERPRISE | 1207319.00 | L2
| 3 | M/s LEESHA ELECTRICALS | 1346465.00 | L3