## BoQ1
Government eProcurement System Created By: Venkatesan R Created Date/Time: 20-Jun-2023 04:10 PM Tender Title: Repairs/Renovation of Industrial Canteen building (NIB 21) inside factory at EFA. Tender ID: 2023_AVNL_152557_1
Tender Inviting Authority: The Chief General Manager, Engine Factory Avadi (A Unit of AVNL)
Name of Work: Repair/ renovation of Industrial Canteen building (NIB-21) inside factory at Engine Factory Avadi
Contract No: EFA/EO(C )/1278/E/TE/02/2023-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMUTHA ENGINEERING AND CONSTRUCTION(GSTN-NA) |  | TMS CONSTRUCTIONS(GSTN-NA) |  | HARI ENTERPRISES(GSTN-NA) |  | P S G CONSTRUCTIONS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | M/L Excavation in trenches, n. exc. 1.5m wide and n.exc. 1.5m in depth for foundation etc. And getting out including dressing/ trimming sides and levelling/grading and ramming of bottoms of excavation in dence soil. | 395.00 | CU.M | 675.00 | 625.00 | 246875.00 | 690.00 | 272550.00 | 585.00 | 231075.00 | 605.00 | 238975.00 | 231075.00 | HARI ENTERPRISES
2.00 | Surface excavation n.exc. 30cm. Deep and avaraging 15 cm.deep and getting out hard and dence soil. | 49.00 | SQM | 93.20 | 56.00 | 2744.00 | 100.00 | 4900.00 | 59.00 | 2891.00 | 99.00 | 4851.00 | 2744.00 | AMUTHA ENGINEERING AND CONSTRUCTION
3.00 | Demolition of brick work built in cement morter. | 40.00 | CU.M | 590.00 | 435.00 | 17400.00 | 600.00 | 24000.00 | 450.00 | 18000.00 | 565.00 | 22600.00 | 17400.00 | AMUTHA ENGINEERING AND CONSTRUCTION
4.00 | Demolition of Cement Concrete (unreinforced) of any description and in any position not otherwise specificically provided for, and remove them. | 95.00 | CU.M | 1631.30 | 750.00 | 71250.00 | 1700.00 | 161500.00 | 850.00 | 80750.00 | 900.00 | 85500.00 | 71250.00 | AMUTHA ENGINEERING AND CONSTRUCTION
5.00 | S/F for filling of good quality loose earth / sand filling and leveling of earth in layers including watering and consolidation. | 102.00 | CU.M | 1974.30 | 2050.00 | 209100.00 | 2500.00 | 255000.00 | 1850.00 | 188700.00 | 2650.00 | 270300.00 | 188700.00 | HARI ENTERPRISES
6.00 | Returning of earth/excavated materials to the sides of foundation trench and on floor, filling including spreading, lebeling, watering and well raming in layers n.exc. 25 cm, Hard/dense soil. | 110.00 | CU.M | 139.10 | 72.00 | 7920.00 | 250.00 | 27500.00 | 71.00 | 7810.00 | 85.00 | 9350.00 | 7810.00 | HARI ENTERPRISES
7.00 | M/L for Single Brick Flat Solling using sub class "B" bricks, laid dry on edge in floors. | 350.00 | SQM | 434.80 | 295.00 | 103250.00 | 800.00 | 280000.00 | 400.00 | 140000.00 | 350.00 | 122500.00 | 103250.00 | AMUTHA ENGINEERING AND CONSTRUCTION
8.00 | Taking down Cement Plaster on brick walls etc. including raking out joints, hacking for key & scrubbing down with water etc. | 1040.00 | SQM | 94.94 | 101.00 | 105040.00 | 100.00 | 104000.00 | 115.00 | 119600.00 | 135.00 | 140400.00 | 104000.00 | TMS CONSTRUCTIONS
9.00 | Cutting chase, pinning in, making good to facings where required and pointing to Cement Mortar 1:3.to ends or edges of landings, steps, cills, sunshades, shelves, lintels,etc. and cutting chases for concealed water tubing or concealed conduit wiring, etc. and making good, cutting exc. 10cm but not exc. 20 cm girth in brick walls. | 100.00 | RM | 52.10 | 95.00 | 9500.00 | 60.00 | 6000.00 | 75.00 | 7500.00 | 70.00 | 7000.00 | 6000.00 | TMS CONSTRUCTIONS
10.00 | Taking down/out old damaged unserviceble cast iron pipes, jointed in cement morter, 100mm dia | 100.00 | RM | 120.00 | 95.00 | 9500.00 | 140.00 | 14000.00 | 105.00 | 10500.00 | 99.00 | 9900.00 | 9500.00 | AMUTHA ENGINEERING AND CONSTRUCTION
11.00 | Cleaning and removing all scale and dirt, etc. from tanks and from mouths of circulating pipes etc.( Capacity Exc. 500 Ltrs. But n. exc. 1000 Ltrs. | 4.00 | EACH | 796.06 | 606.00 | 2424.00 | 900.00 | 3600.00 | 500.00 | 2000.00 | 501.00 | 2004.00 | 2000.00 | HARI ENTERPRISES
12.00 | Demolition of Reinforcement Cement Concrete of any description and in any position not otherwise specifically provided for (reinforcement cut as required to facilitate demolition) | 12.00 | CU.M | 1883.70 | 999.00 | 11988.00 | 1900.00 | 22800.00 | 1050.00 | 12600.00 | 999.00 | 11988.00 | 11988.00 | P S G CONSTRUCTIONS, AMUTHA ENGINEERING AND CONSTRUCTION
13.00 | Taking down damaged wooden frame with shutters | 132.00 | EACH | 282.90 | 235.00 | 31020.00 | 300.00 | 39600.00 | 215.00 | 28380.00 | 200.00 | 26400.00 | 26400.00 | P S G CONSTRUCTIONS
14.00 | Felling of shrub/bushes (woody plant distinguished from a tree )including Cutting of branches ( girth exc. 30 cm and n. exc. 100 cm.) and stacking of serviceable material and disposal of unserviceble material to a distance n/exc. 50m and clearing site. | 5.00 | EACH | 1248.00 | 2060.00 | 10300.00 | 1300.00 | 6500.00 | 1800.00 | 9000.00 | 650.00 | 3250.00 | 3250.00 | P S G CONSTRUCTIONS
15.00 | Cutting holes in brick walls built in cement mortar or cement lime mortar for inserting holdfasts and making good dismantled portion in cement moratr 1:3 or cement concrete 1:2:4 type B-1 as required, exc. 1/2 brick n. exc. 1 brick thick | 792.00 | EACH | 340.19 | 175.00 | 138600.00 | 360.00 | 285120.00 | 180.00 | 142560.00 | 165.00 | 130680.00 | 130680.00 | P S G CONSTRUCTIONS
16.00 | M & L for anti termite treatment along the external/ internal wall below concrete or masonry apron using chemical emulsion @ 2.25 litres per linear metre including drilling and plugging holes etc. in apron | 425.00 | RM | 89.20 | 88.00 | 37400.00 | 100.00 | 42500.00 | 90.00 | 38250.00 | 110.00 | 46750.00 | 37400.00 | AMUTHA ENGINEERING AND CONSTRUCTION
17.00 | M & L for Treating the bottom and sides of excavation at the rate of 5 litres of emulsion per square metre of surface area | 165.00 | SQM | 66.80 | 68.00 | 11220.00 | 80.00 | 13200.00 | 70.00 | 11550.00 | 95.00 | 15675.00 | 11220.00 | AMUTHA ENGINEERING AND CONSTRUCTION
18.00 | Rendering 15mm thick cement plaster, using cement morter (1:4) on wall/ceiling / concrete serfaces and finish the surface even and smooth without using extra cement including coat. | 2880.00 | SQM | 304.24 | 385.00 | 1108800.00 | 600.00 | 1728000.00 | 390.00 | 1123200.00 | 404.00 | 1163520.00 | 1108800.00 | AMUTHA ENGINEERING AND CONSTRUCTION
19.00 | Rendering screed bed or bedding layer of cement mortar 1:4 having 25mm thick over floor concrete for floor finishes as directed by E-In-Charge Including M&L complete | 2470.00 | SQM | 278.36 | 189.00 | 466830.00 | 400.00 | 988000.00 | 145.00 | 358150.00 | 215.00 | 531050.00 | 358150.00 | HARI ENTERPRISES
20.00 | M & L for one coat of cement slurry on floor, column and chipping surfaces of roof @ 3kg/Sq,m. | 2470.00 | SQM | 20.60 | 23.00 | 56810.00 | 25.00 | 61750.00 | 25.00 | 61750.00 | 27.00 | 66690.00 | 56810.00 | AMUTHA ENGINEERING AND CONSTRUCTION
21.00 | M & L for P.C.C.in foundations filling and mass concrete 1:2:4 Type B1, with 20mm graded aggregate,. | 28.00 | CU.M | 5357.20 | 6166.00 | 172648.00 | 7500.00 | 210000.00 | 5900.00 | 165200.00 | 6150.00 | 172200.00 | 165200.00 | HARI ENTERPRISES
22.00 | M& L for Reinforced Ready Mixed Cement Concrete (DESIGN MIX) M30 grade in foundation, including raft footings, foundation beams, plinth beams, bases for column etc., basement slabs, underreamed piles and mass concrete at floors etc.; complete all as specified and as directed by the Engineer-in-Charge. | 165.00 | CU.M | 7977.02 | 7254.00 | 1196910.00 | 9000.00 | 1485000.00 | 6900.00 | 1138500.00 | 7150.00 | 1179750.00 | 1138500.00 | HARI ENTERPRISES
23.00 | M & L for P.C.C. 1:2:4 Type B1 using 12.5 mm greded stone aggregate 55 mm thick as in top layer of floor. | 735.00 | SQM | 432.40 | 422.00 | 310170.00 | 600.00 | 441000.00 | 352.00 | 258720.00 | 405.00 | 297675.00 | 258720.00 | HARI ENTERPRISES
24.00 | M & L for Formwork to sides and soffits of floor or roof beams, beam haunchings, girders, bressummers, lintels, cantilevers, shelves including supports, overhangs, etc. also splays between floors and beams, etc.; Complete all as specified and as directed by the Engineer-in-Charge. | 825.00 | SQM | 543.19 | 385.00 | 317625.00 | 750.00 | 618750.00 | 390.00 | 321750.00 | 400.00 | 330000.00 | 317625.00 | AMUTHA ENGINEERING AND CONSTRUCTION
25.00 | M & L for mild steel TMT bars of 10 mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia.; Complete all as specified and as directed by the Engineer-in-Charge. | 8500.00 | KG | 82.60 | 100.00 | 850000.00 | 105.00 | 892500.00 | 90.00 | 765000.00 | 115.00 | 977500.00 | 765000.00 | HARI ENTERPRISES
26.00 | M & L for mild steel TMT bars of 6 to 8 mm dia and , cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia.; Complete all as specified and as directed by the Engineer-in-Charge. | 970.00 | KG | 84.55 | 102.00 | 98940.00 | 105.00 | 101850.00 | 99.00 | 96030.00 | 117.00 | 113490.00 | 96030.00 | HARI ENTERPRISES
27.00 | M & L for Precast Cement concrete block masonry with solid block of type B1 1:2:4 (20mm graded aggregate) in 1:6 cement mortar, exc. 10 cm in width; complete all as specified and as directed by the Engineer-in-Charge | 57.00 | CU.M | 9079.00 | 8880.00 | 506160.00 | 10000.00 | 570000.00 | 8900.00 | 507300.00 | 9000.00 | 513000.00 | 506160.00 | AMUTHA ENGINEERING AND CONSTRUCTION
28.00 | M/L for Reinforced concrete pipes, class NP2, laid and jointed complete with collars,150mm dia | 90.00 | RM | 364.00 | 525.00 | 47250.00 | 500.00 | 45000.00 | 475.00 | 42750.00 | 650.00 | 58500.00 | 42750.00 | HARI ENTERPRISES
29.00 | M/L for RCC hume pipe Bends, laid and jointed, complete,150mm dia | 10.00 | EACH | 512.15 | 805.00 | 8050.00 | 600.00 | 6000.00 | 750.00 | 7500.00 | 500.00 | 5000.00 | 5000.00 | P S G CONSTRUCTIONS
30.00 | S/F roof trusses (framed), trussed, purlins, crane gantries, rails and fastenings and heavy bracket framing ( Beam,tee,angle,channel or flat sections) including distance pieces, cleats etc. Fe-290 (Gde E-165) | 2978.00 | KG | 126.06 | 101.00 | 300778.00 | 160.00 | 476480.00 | 125.00 | 372250.00 | 111.00 | 330558.00 | 300778.00 | AMUTHA ENGINEERING AND CONSTRUCTION
31.00 | S/F for gates of angle or other section with gusset plates, rails, braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing complete, Fe-290(Gde E 165) | 150.00 | KG | 116.24 | 115.00 | 17250.00 | 140.00 | 21000.00 | 125.00 | 18750.00 | 122.00 | 18300.00 | 17250.00 | AMUTHA ENGINEERING AND CONSTRUCTION
32.00 | M/L 20mm thick Granite (of any type) tiles machine cut, in skirting/ dado laid over cement screed and jointed with grey cement slurry, and pointed with white cement with admixture of pigment to match the shade of granite stone including grinding and polishing complete. | 132.00 | SQM, | 2442.75 | 2985.00 | 394020.00 | 2900.00 | 382800.00 | 2308.00 | 304656.00 | 2999.00 | 395868.00 | 304656.00 | HARI ENTERPRISES
33.00 | Supply & Fixing of PVC(SWR) pipe of 110 mm dia to walls double socketed sewer line outlet airvent or in trenches inlcuding all fittings like clamps, bends, Tee etc. complete all as specified and as directed by the Engineer-in-Charge. | 130.00 | RM | 200.00 | 301.00 | 39130.00 | 300.00 | 39000.00 | 295.00 | 38350.00 | 265.00 | 34450.00 | 34450.00 | P S G CONSTRUCTIONS
34.00 | M & L for PVC Rainwater (SWR) bends any radious, 110mm bore, with provided access door and prferably Supreme make. | 27.00 | EACH | 170.00 | 215.00 | 5805.00 | 200.00 | 5400.00 | 200.00 | 5400.00 | 195.00 | 5265.00 | 5265.00 | P S G CONSTRUCTIONS
35.00 | S & F of PVC(SWR) branch piece,single 'Y' equal or unequal, with provided access door 110 mm dia. | 4.00 | EACH | 597.56 | 355.00 | 1420.00 | 650.00 | 2600.00 | 335.00 | 1340.00 | 303.00 | 1212.00 | 1212.00 | P S G CONSTRUCTIONS
36.00 | S & F of PVC(SWR) junction single (Single 'T' equal or unequal, 110 mm dia, with provided access door. | 4.00 | EACH | 549.03 | 305.00 | 1220.00 | 600.00 | 2400.00 | 285.00 | 1140.00 | 277.00 | 1108.00 | 1108.00 | P S G CONSTRUCTIONS
37.00 | S & F of 110/110mm bore suitable for PVC (SWR) ‘P’ trap for water closet as directed by E-in-charge. | 8.00 | EACH | 265.00 | 505.00 | 4040.00 | 300.00 | 2400.00 | 395.00 | 3160.00 | 400.00 | 3200.00 | 2400.00 | TMS CONSTRUCTIONS
38.00 | S&F PVC (SWR) WC connector with lip ring, 110 mm dia. | 8.00 | EACH | 225.00 | 295.00 | 2360.00 | 300.00 | 2400.00 | 300.00 | 2400.00 | 298.00 | 2384.00 | 2360.00 | AMUTHA ENGINEERING AND CONSTRUCTION
39.00 | S&F PVC (SWR) gully trap, plain with grating including jointing with solvent cement, 125/110 mm dia. | 8.00 | EACH | 265.00 | 405.00 | 3240.00 | 300.00 | 2400.00 | 399.00 | 3192.00 | 404.00 | 3232.00 | 2400.00 | TMS CONSTRUCTIONS
40.00 | Fixing only vetreous china wash down Squatting pan including connection to "P" or "S" trap, flushing pipe, anti syphonage pipe etc. complete including making good to floor. | 4.00 | EACH | 850.00 | 2050.00 | 8200.00 | 1000.00 | 4000.00 | 1875.00 | 7500.00 | 2150.00 | 8600.00 | 4000.00 | TMS CONSTRUCTIONS
41.00 | Fixing only vetreous china wash down water closet (Pedestal pattern), complete | 3.00 | EACH | 715.40 | 4777.00 | 14331.00 | 900.00 | 2700.00 | 4650.00 | 13950.00 | 4050.00 | 12150.00 | 2700.00 | TMS CONSTRUCTIONS
42.00 | Supply only vetreous china wash down Squatting pan of pattern long pan, size- 580mm white, (Orissa Pan) front or back inlet and foot rests (excluding flushing cistern and flush pipe) including connection to "P" or "S" trap, flushing pipe, anti syphonage pipe etc. complete including making good to floor. | 4.00 | EACH | 1819.09 | 3365.00 | 13460.00 | 2200.00 | 8800.00 | 3050.00 | 12200.00 | 2750.00 | 11000.00 | 8800.00 | TMS CONSTRUCTIONS
43.00 | Supply of Vitreous China, semi-pedestal pattern (Anglo-Indian Type) EWC wash down water closet pan - white (excluding fixing bolts, flushing cistern and flush pipe) | 3.00 | EACH | 3466.25 | 4990.00 | 14970.00 | 4500.00 | 13500.00 | 5150.00 | 15450.00 | 4330.00 | 12990.00 | 12990.00 | P S G CONSTRUCTIONS
44.00 | Supply only Flushing cistern i.e. PVC valveless, syphonic action type, low level, white, with inlet, ball valve, flote & handle including brackets-10 liters capacity. | 7.00 | EACH | 797.24 | 1150.00 | 8050.00 | 900.00 | 6300.00 | 1350.00 | 9450.00 | 1150.00 | 8050.00 | 6300.00 | TMS CONSTRUCTIONS
45.00 | S & F of Bib taps, cast copper alloy with crutch or butterfly handle, screwed down, screwed for iron pipe or for brass ferrule and fixed, Chrome Plated, fancy type, conforming to IS standards and weighing not less than 690 gms. 15mm bore | 25.00 | EACH | 607.57 | 1000.00 | 25000.00 | 900.00 | 22500.00 | 900.00 | 22500.00 | 950.00 | 23750.00 | 22500.00 | HARI ENTERPRISES, TMS CONSTRUCTIONS
46.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 12.00 | EACH | 886.25 | 1950.00 | 23400.00 | 1200.00 | 14400.00 | 1650.00 | 19800.00 | 1450.00 | 17400.00 | 14400.00 | TMS CONSTRUCTIONS
47.00 | S & F of waste fittings, brass, chromium plated for glazed ware sinks, basins etc. with long screwed shanks and flynuts, flange end bedded in red lead cement and other end fixed, 32mm dia. | 12.00 | EACH | 158.76 | 599.00 | 7188.00 | 250.00 | 3000.00 | 650.00 | 7800.00 | 550.00 | 6600.00 | 3000.00 | TMS CONSTRUCTIONS
48.00 | Supply only flushing pipe of high density polyethylene(HDPE) pipes, pressure rating 6kgf/ sqcm, 32 mm dia, for low level cistern. | 15.00 | RM | 177.25 | 222.00 | 3330.00 | 250.00 | 3750.00 | 215.00 | 3225.00 | 185.00 | 2775.00 | 2775.00 | P S G CONSTRUCTIONS
49.00 | S & F PVC connections 15mm size with PTMT nuts of length 450mm. | 20.00 | EACH | 150.00 | 165.00 | 3300.00 | 200.00 | 4000.00 | 195.00 | 3900.00 | 175.00 | 3500.00 | 3300.00 | AMUTHA ENGINEERING AND CONSTRUCTION
50.00 | S & F for Gun metal globe or gate valves with iron wheelhead, screwed both ends for iron pipe, 15mm bore. | 10.00 | EACH | 505.45 | 805.00 | 8050.00 | 900.00 | 9000.00 | 750.00 | 7500.00 | 850.00 | 8500.00 | 7500.00 | HARI ENTERPRISES
51.00 | S & F of Stop valves, (Angle cock) cast copper alloy, screwed down, high pressure, with crutch or butterfly handle, screwed end for iron pipe or for unions and fixed; Chromium Plated, fancy type, 15mm bore | 22.00 | EACH | 682.03 | 1050.00 | 23100.00 | 900.00 | 19800.00 | 950.00 | 20900.00 | 1050.00 | 23100.00 | 19800.00 | TMS CONSTRUCTIONS
52.00 | S & F for Providing & fixing chrome plated brass battery based infrared sensor operated pillar cock, having foam flow technology., 15mm bore. | 22.00 | EACH | 8050.50 | 4050.00 | 89100.00 | 9000.00 | 198000.00 | 4000.00 | 88000.00 | 5680.00 | 124960.00 | 88000.00 | HARI ENTERPRISES
53.00 | S & F 25mm bore CPVC Pipe medium grade with all fittings and fixed complete to walls and ceilings or laid in floors | 50.00 | RM | 196.00 | 205.00 | 10250.00 | 200.00 | 10000.00 | 225.00 | 11250.00 | 265.00 | 13250.00 | 10000.00 | TMS CONSTRUCTIONS
54.00 | S & F 50 mm bore CPVC Pipe medium grade with all fittings and fixed complete to walls and ceilings or laid in floors | 40.00 | RM | 433.00 | 395.00 | 15800.00 | 500.00 | 20000.00 | 415.00 | 16600.00 | 425.00 | 17000.00 | 15800.00 | AMUTHA ENGINEERING AND CONSTRUCTION
55.00 | S & F of grating doom 100 mm dia of PTMT(min. wt. 25 grms.) | 20.00 | EACH | 51.61 | 65.00 | 1300.00 | 60.00 | 1200.00 | 70.00 | 1400.00 | 68.00 | 1360.00 | 1200.00 | TMS CONSTRUCTIONS
56.00 | S & F Ball brass valves of 25mm dia., high pressure, with polythene float and flynut complete, screwed for iron pipe or brass ferrule. | 4.00 | EACH | 488.27 | 685.00 | 2740.00 | 600.00 | 2400.00 | 700.00 | 2800.00 | 850.00 | 3400.00 | 2400.00 | TMS CONSTRUCTIONS
57.00 | Providing and fixing white vitreous china battery based infrared sensor operated urinal of approx. size 610 x 390 x 370 mm having pre & post flushing with water (250 ml & 500 ml consumption), having water inlet from back side, including fixing to wall with suitable brackets all as per manufacturers specification and direction of Engineer-in-charge. | 10.00 | EACH | 7004.45 | 8650.00 | 86500.00 | 8000.00 | 80000.00 | 11520.00 | 115200.00 | 7580.00 | 75800.00 | 75800.00 | P S G CONSTRUCTIONS
58.00 | Rendering two coats of Cement base paint paint on walls including preparation of old surfaces Complete all as specified and as directed by the Engineer-in-Charge. | 1360.00 | SQM | 71.90 | 125.00 | 170000.00 | 80.00 | 108800.00 | 90.00 | 122400.00 | 90.00 | 122400.00 | 108800.00 | TMS CONSTRUCTIONS
59.00 | S & F of dining table 8 seater of size-2300x750x750mm with seat fixed type, table should be fabricated out of SS 304 grade 16 SWG 1.5mm thick sheet, underneath stiffner 4 nos of SS304 grade 1.5mm thick of 200x750x30mm size, underneath leg horizontal with verticle frame of SS304 grade 1.5mm thick of size 40 sqmm pipe and seat of SS202 Grade with underneath 25 sqmm pipe. All legs of seat and table should be provided with neylon push. Complete all as specified and as directed by the Engineer-in-Charge. | 8.00 | Each | 38350.00 | 59500.00 | 476000.00 | 40000.00 | 320000.00 | 53349.00 | 426792.00 | 64500.00 | 516000.00 | 320000.00 | TMS CONSTRUCTIONS
60.00 | S & F of dining table only size-2300x750x750mm, table should be fabricated out of SS 304 grade 16 SWG 1.5mm thick sheet, underneath stiffner 4 nos of SS304 grade 1.5mm thick of 200x750x30mm size, underneath leg horizontal with verticle frame of SS304 grade 1.5mm thick of size 40 sqmm pipe. All legs of seat and table should be provided with neylon push. Complete all as specified and as directed by the Engineer-in-Charge. | 8.00 | Each | 23010.00 | 33500.00 | 268000.00 | 25000.00 | 200000.00 | 31598.00 | 252784.00 | 36500.00 | 292000.00 | 200000.00 | TMS CONSTRUCTIONS
61.00 | Supply of Dining Chair made up of Stainless steel frame with black rexine cushion back and seat having 200Kg weight capacity (maximum). Size of the chair will be 40.6x43.2x92.7CM and weight of chair should not be less than 15 Kg. | 64.00 | EACH | 4670.00 | 13500.00 | 864000.00 | 4800.00 | 307200.00 | 9859.00 | 630976.00 | 12500.00 | 800000.00 | 307200.00 | TMS CONSTRUCTIONS
62.00 | S & F of wall mounted type SS sink for hand washing suitable for 3 tap over all of 60"x20" + 12"x7" back splash size, mouth clearance 17", sink should be fabricated out of SS304 grade 18SWG thick sheet, provided with drain holes throughout, tap holes & splash back holes. Complete all as specified and as directed by the Engineer-in-Charge. | 7.00 | EACH | 26550.00 | 34500.00 | 241500.00 | 29000.00 | 203000.00 | 32534.00 | 227738.00 | 36500.00 | 255500.00 | 203000.00 | TMS CONSTRUCTIONS
63.00 | S & F of wall mounted type SS sink for hand washing suitable for 2 tap over all of 48"x20" + 12"x7" back splash size, mouth clearance 17", sink should be fabricated out of SS304 grade 18SWG thick sheet, provided with drain holes throughout, tap holes & splash back holes. Complete all as specified and as directed by the Engineer-in-Charge. | 3.00 | EACH | 21830.00 | 28500.00 | 85500.00 | 23000.00 | 69000.00 | 25200.00 | 75600.00 | 27500.00 | 82500.00 | 69000.00 | TMS CONSTRUCTIONS
64.00 | S & F of Providing and laying Double charge vitrified tile polished finish of size in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only. Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily, size- 1000x1000 mm; Complete all as specified and as directed by the Engineer-in-Charge. | 910.00 | SQM | 1612.75 | 1950.00 | 1774500.00 | 2300.00 | 2093000.00 | 1583.00 | 1440530.00 | 1850.00 | 1683500.00 | 1440530.00 | HARI ENTERPRISES
65.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 790.00 | SQM | 1063.45 | 1350.00 | 1066500.00 | 1200.00 | 948000.00 | 1126.00 | 889540.00 | 1350.00 | 1066500.00 | 889540.00 | HARI ENTERPRISES
66.00 | S/F Steel Rolling Shutters, without ball bearing, as specified including top cover, anchoring rod, hasp and staple and one shop coat of primer erected in position as indicated, but gear operated type with bevel gear box and crank handle, 1.25mm th. laths. | 7.50 | SQM | 2753.61 | 6850.00 | 51375.00 | 3000.00 | 22500.00 | 6500.00 | 48750.00 | 6500.00 | 48750.00 | 22500.00 | TMS CONSTRUCTIONS
67.00 | S/F Safety lever locks mild steel with 4 levers for rolling shutters. | 4.00 | Each | 947.64 | 999.00 | 3996.00 | 1100.00 | 4400.00 | 1040.00 | 4160.00 | 950.00 | 3800.00 | 3800.00 | P S G CONSTRUCTIONS
68.00 | S/F ball bearing for rolling shutters | 4.00 | Each | 578.34 | 499.00 | 1996.00 | 700.00 | 2800.00 | 580.00 | 2320.00 | 585.00 | 2340.00 | 1996.00 | AMUTHA ENGINEERING AND CONSTRUCTION
69.00 | S & F GI frame work for seamless ceiling comprising of GI perimeter channel 0.55 mm thick with two unequal flanges of 20 and 30mm and web of 27mm fixed to surrounding wall using nylon sleeves and screws at 450mm centre to centre/ intermediate channel 0.9mm thick having two equal flanges of 15mm each and web of 45mm suspended from soffit at approx 900 mm centre to centre with GI cleat and steel expansion fasteners with and including ceiling section(not exc. 1.2m length) of 0.55 mm thickness having kurled web of 50mm and flange of 26mm each with lips of 10.50mm fixed to the intermediate channel with connecting clips across the intermediate channel at 457mm centre to centre.Size of Grid-605x605mm; complete all as specified and as directed by the Engineer-in-Charge (Make : SAINT GOBAIN (GypSerra)/INDIA only) | 790.00 | SQM | 484.03 | 515.00 | 406850.00 | 550.00 | 434500.00 | 400.00 | 316000.00 | 550.00 | 434500.00 | 316000.00 | HARI ENTERPRISES
70.00 | Material and Labour Providing and fixing 10mm thick plaster of paris ceiling (Gypsum anhydrous) to flat surface with metal frame work and reinforced with G.I. wire mesh (Fillets, metal frame work and G.I. wire mesh paid separately) including for any raised or sunk moulding, including cornice at corners and middle portion and making the provisions for AC diffusers & electrical fittings by cutting the board; complete as directed by EIC. (Make : INDIA/SAINT GOBAIN (Gyproc) only) | 790.00 | SQM | 1575.38 | 899.00 | 710210.00 | 1650.00 | 1303500.00 | 890.00 | 703100.00 | 1050.00 | 829500.00 | 703100.00 | HARI ENTERPRISES
71.00 | Supply and Fixing of plain fillets, squre, rectangular or triangular in section, clean sawn, secured with nail or brads with second class hard wood and sectional area exc. 13 sq.cm but n. exc. 25 Sq. cm., Avarage weight 515 Kgs/CU.M at 12 % moisture content such as kail, Khasipine, chil etc. | 375.00 | RM | 169.73 | 175.00 | 65625.00 | 190.00 | 71250.00 | 150.00 | 56250.00 | 165.00 | 61875.00 | 56250.00 | HARI ENTERPRISES
72.00 | M & L for 3mm thick wall care putty on ceiling (Make : Asian/JK White/ Birla) as per manufacturers instructions complete all as specified and as directed by the Engineer-in-Charge | 1402.00 | SQM | 90.77 | 75.00 | 105150.00 | 100.00 | 140200.00 | 56.00 | 78512.00 | 72.00 | 100944.00 | 78512.00 | HARI ENTERPRISES
73.00 | M&L for applying two coats of Plastic emulsion paint on new surface of any description over 10cm girth or width over one coat of wall primer including surface preparation; Complete all as specified and as directed by the Engineer-in-Charge. (Make : ASIAN/ NEROLAC/ BERGER only) | 1402.00 | SQM | 150.90 | 140.00 | 196280.00 | 160.00 | 224320.00 | 137.00 | 192074.00 | 142.00 | 199084.00 | 192074.00 | HARI ENTERPRISES
74.00 | Rendering two coats of distempering on walls with oil emultion (Berger/Asian/ICI) over priming surfaces i.e. chalk whiting with alkali resistant priming paint after preparation of plastered old serfaces including washing, rubbing down and stopping of distempered and painted surface. | 950.00 | SQM | 108.70 | 121.00 | 114950.00 | 110.00 | 104500.00 | 117.00 | 111150.00 | 122.00 | 115900.00 | 104500.00 | TMS CONSTRUCTIONS
75.00 | Designing, fabricating, testing, installing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including: (a) Structural analysis & design and preparation of shop drawings for pressure equalisation or rain screen principle as required, proper drainage of water to make it watertight including checking of all the structural and functional design. (b) Providing, fabricating and supplying and fixing panels of aluminium composite panel cladding in pan shape in metalic colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. (c) The fastening brackets of Aluminium alloy 6005 T5 / MS with Hot Dip Galvanised with serrations and serrated washers to arrest the wind load movement, fasteners, SS 316 Pins and anchor bolts of approved make in SS 316, Nylon separators to prevent bi-metallic contacts all complete required to perform as per specification and drawing The item includes cost of all material & labour component, the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working curtain wall with aluminium composite panel cladding, cleaning and protection of the curtain wall with aluminium composite panel cladding till the handing over of the building for occupation. The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete , as per the Architectural drawings, as per item description, as specified, as per the approved shop drawings and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places. Complete all as specified and as directed by the Engineer-in-Charge | 510.00 | SQM | 4474.20 | 5350.00 | 2728500.00 | 5000.00 | 2550000.00 | 5000.00 | 2550000.00 | 6500.00 | 3315000.00 | 2550000.00 | HARI ENTERPRISES, TMS CONSTRUCTIONS
76.00 | M & L for sheet glass 5.5mm thick, ordinary quality and glazing with rubber neoprene packing in square exc 0.5 sq m in each pane complete all as specified and as directed by the Engineer-in-Charge (Make : SAINT GOBAIN/ MODYGUARD only). | 185.00 | SQM | 1330.80 | 1150.00 | 212750.00 | 1450.00 | 268250.00 | 1050.00 | 194250.00 | 1155.00 | 213675.00 | 194250.00 | HARI ENTERPRISES
77.00 | S& F of Mortice lock, vertical type size 100mm 4 levers brass made. | 15.00 | EACH | 758.80 | 811.00 | 12165.00 | 900.00 | 13500.00 | 750.00 | 11250.00 | 850.00 | 12750.00 | 11250.00 | HARI ENTERPRISES
78.00 | S & F of double action spring hydraulically regulated made up of minimum 1.25mm thich aluminium alloy sheet foundation box, main body with Stainless Steel cover, governing pivot made up of brass, other parths made up of mild steel heavy duty . (Make : GODREJ, DORMA only) | 12.00 | EACH | 3734.00 | 4350.00 | 52200.00 | 4000.00 | 48000.00 | 4150.00 | 49800.00 | 3850.00 | 46200.00 | 46200.00 | P S G CONSTRUCTIONS
79.00 | S & F white colour Two track sliding uPVC window frame (60mmx62mm) made of extruded profiles, frame will be mitered cut and fusion welded at all corners and 1.2 ±0.2mm thick galvanized steel profile (paid seperately) to be inserted in required profile including drilling of holes for fixing hardware and drainage of water etc. making arrengement for fixing hardware, EPDM gasket for uPVC 2 shutter sliding window complete as directed by Engineer-in-charge. | 235.00 | RM | 538.16 | 615.00 | 144525.00 | 600.00 | 141000.00 | 550.00 | 129250.00 | 650.00 | 152750.00 | 129250.00 | HARI ENTERPRISES
80.00 | S & F white colour two track sliding window sash (42mmx67mm) made of extruded profiles, sash will be mitered cut and fusion welded at all corners and 1.2 ±0.2mm thick galvanized steel profile (paid seperately) to be inserted in required profile for uPVC 2 shutter sliding window complete as directed by Engineer-in-charge. | 345.00 | RM | 499.25 | 595.00 | 205275.00 | 600.00 | 207000.00 | 515.00 | 177675.00 | 595.00 | 205275.00 | 177675.00 | HARI ENTERPRISES
81.00 | S & F of two track sliding interlock for window (one verticle length in each shutter) (45.5mmx20mm) complete as directed by Engineer-in-charge. | 88.00 | RM | 128.92 | 165.00 | 14520.00 | 150.00 | 13200.00 | 130.00 | 11440.00 | 185.00 | 16280.00 | 11440.00 | HARI ENTERPRISES
82.00 | S & F of two track sliding window glazing bead (24.5mmx16mm) complete as directed by Engineer-in-charge. | 690.00 | RM | 93.37 | 144.00 | 99360.00 | 120.00 | 82800.00 | 100.00 | 69000.00 | 165.00 | 113850.00 | 69000.00 | HARI ENTERPRISES
83.00 | S & F Reinforcement frame (30mmx21.5mm)x2 Nos for two track sliding window. complete as directed by Engineer-in-charge. | 235.00 | RM | 184.35 | 241.00 | 56635.00 | 200.00 | 47000.00 | 185.00 | 43475.00 | 225.00 | 52875.00 | 43475.00 | HARI ENTERPRISES
84.00 | S & F Reinforcement sash (30mmx18mm) for two track sliding window complete as directed by Engineer-in-charge. | 345.00 | RM | 77.16 | 92.00 | 31740.00 | 100.00 | 34500.00 | 80.00 | 27600.00 | 115.00 | 39675.00 | 27600.00 | HARI ENTERPRISES
85.00 | M & L for fixing steel roller for uPVC sliding windows with necessary screws etc. complete as directed by Engineer-in-charge. | 176.00 | EACH | 61.43 | 89.00 | 15664.00 | 70.00 | 12320.00 | 75.00 | 13200.00 | 99.00 | 17424.00 | 12320.00 | TMS CONSTRUCTIONS
86.00 | M & L for fixing steel (white powder coated) crescent lock for uPVC sliding windows/door with necessary screws etc. complete as directed by Engineer-in-charge. | 88.00 | EACH | 116.37 | 143.00 | 12584.00 | 130.00 | 11440.00 | 135.00 | 11880.00 | 165.00 | 14520.00 | 11440.00 | TMS CONSTRUCTIONS
87.00 | M & L for fixing zinc alloy (white powder coated) touch lock for uPVC sliding windows with necessary screws etc. complete as directed by Engineer-in-charge. | 88.00 | EACH | 126.35 | 154.00 | 13552.00 | 140.00 | 12320.00 | 140.00 | 12320.00 | 185.00 | 16280.00 | 12320.00 | HARI ENTERPRISES, TMS CONSTRUCTIONS
88.00 | S & F for Aluminium track on bottom rail for uPVC windows with necessary screws etc. complete as directed by Engineer-in-charge. | 66.00 | RM | 29.47 | 48.00 | 3168.00 | 35.00 | 2310.00 | 40.00 | 2640.00 | 56.00 | 3696.00 | 2310.00 | TMS CONSTRUCTIONS
89.00 | S & F for Neoprene/ EPDM rubber gasket for uPVC windows/ doors complete as directed by Engineer-in-charge. | 1114.00 | RM | 23.65 | 42.00 | 46788.00 | 30.00 | 33420.00 | 37.00 | 41218.00 | 48.00 | 53472.00 | 33420.00 | TMS CONSTRUCTIONS
90.00 | S & F for wool pile for uPVC windows/ doors complete as directed by Engineer-in-charge. | 422.40 | RM | 21.00 | 29.00 | 12249.60 | 28.00 | 11827.20 | 25.00 | 10560.00 | 42.00 | 17740.80 | 10560.00 | HARI ENTERPRISES
91.00 | Filling the gap in between uPVC frame & adjacent RCC/ Brick/ Stone work upto 5mm depth and 5mm width by providing weather silicon sealant over backer rod of approved quality as per the direction of Engineer-in-charge complete. | 460.00 | RM | 79.45 | 72.00 | 33120.00 | 85.00 | 39100.00 | 65.00 | 29900.00 | 75.00 | 34500.00 | 29900.00 | HARI ENTERPRISES
92.00 | S & F white colour frame of size 60x58mm made of extruded profiles, frame will be mitered cut and fusion welded at all corners and 1.2 ±0.2mm thick galvanized steel profile (paid seperately) to be inserted in required profile including drilling of holes for fixing hardware and drainage of water etc. making arrengement for fixing hardware, EPDM gasket for uPVC casement windows in ventilator with friction hinge & outward opening complete as directed by Engineer-in-charge. | 224.76 | RM | 354.17 | 415.00 | 93275.40 | 400.00 | 89904.00 | 350.00 | 78666.00 | 435.00 | 97770.60 | 78666.00 | HARI ENTERPRISES
93.00 | S & F white colour sash/ mullion of size 60x73mm (Style, rail and intermediate section) made of extruded profiles, sash will be mitered cut and fusion welded at all corners and 1.2 ±0.2mm thick galvanized steel profile (paid seperately) to be inserted in required profile for uPVC casement windows in ventilator with friction hinge & outward opening complete as directed by Engineer-in-charge. | 212.16 | RM | 395.92 | 450.00 | 95472.00 | 450.00 | 95472.00 | 300.00 | 63648.00 | 515.00 | 109262.40 | 63648.00 | HARI ENTERPRISES
94.00 | S & F for glazing bead of size 35x30mm for uPVC casement windows in ventilator with friction hinge & outward opening complete as directed by Engineer-in-charge. | 212.16 | RM | 166.75 | 196.00 | 41583.36 | 200.00 | 42432.00 | 200.00 | 42432.00 | 235.00 | 49857.60 | 41583.36 | AMUTHA ENGINEERING AND CONSTRUCTION
95.00 | S & F for reinforcement frame of size 28x21.5mm for uPVC casement windows in ventilator with friction hinge & outward opening complete as directed by Engineer-in-charge. | 224.76 | RM | 86.02 | 101.00 | 22700.76 | 100.00 | 22476.00 | 100.00 | 22476.00 | 101.00 | 22700.76 | 22476.00 | HARI ENTERPRISES, TMS CONSTRUCTIONS
96.00 | S & F for reinforcement sash of size 31x20.5mm for uPVC casement windows in ventilator with friction hinge & outward opening complete as directed by Engineer-in-charge. | 212.16 | RM | 104.77 | 125.00 | 26520.00 | 120.00 | 25459.20 | 100.00 | 21216.00 | 122.00 | 25883.52 | 21216.00 | HARI ENTERPRISES
97.00 | M & L for fixing stainless steel (SS 304 Grade) size 200x19x1.9mm, friction hinges to the side/ top hung uPVC windows of approved quality, with necessary stainless steel screws etc.complete as directed by Engineer-in-charge. | 126.00 | EACH | 261.60 | 315.00 | 39690.00 | 300.00 | 37800.00 | 275.00 | 34650.00 | 324.00 | 40824.00 | 34650.00 | HARI ENTERPRISES
98.00 | M & L for fixing casement handle made up of zinc alloyed (white powder coated) for uPVC casement windows with necessary screws etc. complete as directed by Engineer-in-charge. | 63.00 | EACH | 186.27 | 211.00 | 13293.00 | 220.00 | 13860.00 | 195.00 | 12285.00 | 222.00 | 13986.00 | 12285.00 | HARI ENTERPRISES
99.00 | S/F Providing and fixing factory made uPVC white colour casement (Openable) Door made of extruded profile wilh wall thickness of 2.3mm ( + -0.2mm). Window profile with hollow section with mitlti chamber, frame (60mm x 58mm), sash (60mm x 78mm). T profile (One vertical length in between two shutters) (60mm x 74mm). Glazing bead (35mm x 20mm) will be mitered cut and fusion welded at all corners, including drilling ol holes for fixing hardware and drainage of water etc., making arrangement for fixing of hardware. EPDM gasket 1.2 + -0.2mm thick galvanized steel Frame (28mm x 21.5mm), sash (31mm x 27mm), T profile (27mm x 17mm) to be inserted in required profile, frame will be fixed to the wall wilh 8mm x 100mm long fasteners. Hardware: [casement door handle made of zinc alloyed (white powder coated). Corner striker. Secondary Strikers. Cylinder. Door transmission gear made of mild sleel with multi point locking system with strikes. 3D Hinges of zinc alloyed (white powder coated) [and 5mm thick glazing with selected quality glass. (Note: The unit rate quoted by contractor excludes cost of glass and includes all other connected accessories. Net opening will be measured for payment purpose.) ® 08158 Providing and fixing factory. | 60.00 | SQM | 11166.12 | 10950.00 | 657000.00 | 11500.00 | 690000.00 | 9999.00 | 599940.00 | 11333.00 | 679980.00 | 599940.00 | HARI ENTERPRISES
100.00 | S/F of sleek powder coated aluminium frames openable mosquito net window, the mosquito mesh are custom made for windows & doors. These frames fitted with mosquito mesh can be fitted on existing windows & doors. The SS-304 mosquito mesh including and used is specially woven & treated so as to allow more air & light & not to attract dust. High quality accessories are used to fit the frames so that they are long lasting, washable & easy to maintain. The frame colours available are brown, ivory, white, black, honey gold and cherry. Special colours are available at an extra cost. The mosquito mesh colours available are :- Charcoal & Silver Grey in Fiberglass Charcoal & Britekote in Aluminium Black in SS Mesh GREY AND BLACK IN PETMESH Silver Grey & Black in BETTER VUE MESH. These Frames go well with all types of interiors. | 125.00 | SQM | 1400.13 | 2750.00 | 343750.00 | 1500.00 | 187500.00 | 3217.00 | 402125.00 | 3333.00 | 416625.00 | 187500.00 | TMS CONSTRUCTIONS
101.00 | S/F for Framed work as in doors or gates of angle ( ISA-7575, 6mm thick, ISA 5050, 6mm tk. or other section, GDE Fe- 410-S with gusset plates, rails, braces, etc, complete drilled for fixing of steel sheeting or other covering. Doors, etc, to be prepaired for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering) and hanging also fastening and fixing complete. | 1875.00 | KG | 119.16 | 199.00 | 373125.00 | 130.00 | 243750.00 | 120.00 | 225000.00 | 124.00 | 232500.00 | 225000.00 | HARI ENTERPRISES
102.00 | S/F of Roof trusses (framed), trussed, purlins, crane gantries, rails and fastenings and heavy bracket framing (Beam, tee, angle, channel or flat sections) including distance pieces, cleats etc. Fe 410 -W (Gde E- 250) quality A | 3071.98 | KG | 126.06 | 185.00 | 568316.30 | 160.00 | 491516.80 | 100.00 | 307198.00 | 124.00 | 380925.52 | 307198.00 | HARI ENTERPRISES
103.00 | Machine cut kota stone slab flooring 20-25mm thick over cement screed base laid and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete. | 55.00 | SQM | 1027.40 | 4050.00 | 222750.00 | 1200.00 | 66000.00 | 3850.00 | 211750.00 | 2950.00 | 162250.00 | 66000.00 | TMS CONSTRUCTIONS
104.00 | S& F of Chequered precast cement concrete tiles of Medium shade pigment using 50% white cement 50% Grey cement 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). | 250.00 | SQM | 1160.00 | 1050.00 | 262500.00 | 1250.00 | 312500.00 | 1052.00 | 263000.00 | 1050.00 | 262500.00 | 262500.00 | P S G CONSTRUCTIONS, AMUTHA ENGINEERING AND CONSTRUCTION
105.00 | Pre- painted galvatume aluminum zinc coating GI based corrugated steel sheet 0.50mm thick of ancolour having tensile strength of 550 Mpa as in roof covering/cladding to wall, fixed with self tapping screws as specified | 200.00 | SQM | 767.01 | 855.00 | 171000.00 | 850.00 | 170000.00 | 715.00 | 143000.00 | 805.00 | 161000.00 | 143000.00 | HARI ENTERPRISES
106.00 | M/L for priming surfaces (except felt) with modified bitumen (STP-Shalicoat TY-32 absorved in the Concrete or Plaster Surfaces @ 0.3 KG /SQM) for applying APP based polymeric membrane. | 845.00 | SQM | 244.33 | 115.00 | 97175.00 | 300.00 | 253500.00 | 93.00 | 78585.00 | 101.00 | 85345.00 | 78585.00 | HARI ENTERPRISES
107.00 | M/L for APP based polymeric membrane minimum weighing 3Kg./SQM and minimum 3mm thick reinforced with polyster non wove fabric(wt. not less than 150 gms/SQM) land on primed surface by forced application complete all as specified. | 845.00 | SQM | 403.65 | 415.00 | 350675.00 | 550.00 | 464750.00 | 337.00 | 284765.00 | 400.00 | 338000.00 | 284765.00 | HARI ENTERPRISES
108.00 | M/L for Two Coats of heat resisting paint over polymer membrane surface (i.e. Super Silver Shild paint & shall be applied @ 250 grams/SQM as recommended by the manufacturer) exceeding 10cm in width or girth. | 845.00 | SQM | 49.00 | 56.00 | 47320.00 | 80.00 | 67600.00 | 48.00 | 40560.00 | 65.00 | 54925.00 | 40560.00 | HARI ENTERPRISES
109.00 | Applying Two coats of Synthetic enamel paints (Berger/Asian/ICI) over preparation of new surfaces on steel surfaces of any description, over aluminium red oxide primer, above 10 cm in width or girth. | 250.00 | SQM, | 144.30 | 85.00 | 21250.00 | 140.00 | 35000.00 | 78.00 | 19500.00 | 75.00 | 18750.00 | 18750.00 | P S G CONSTRUCTIONS
110.00 | Material & Labour for providing and fixing stainless steel (Grade 304) railing made of hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing, fitting the same with necessary stainless steel nuts and bolts complete, including fixing the railing with necessary accessories & stainless steel dash fasteners, stainless steel bolts. etc., of required size. | 1230.00 | KG | 505.38 | 525.00 | 645750.00 | 600.00 | 738000.00 | 499.00 | 613770.00 | 435.00 | 535050.00 | 535050.00 | P S G CONSTRUCTIONS
111.00 | Credit Items:- Taken out / Removing of rubbish / excavated materials from Factory to outside as directed by Engg. in charge (i.e. exc. 500 mtr. but n.exc 1KM). (Credit Basis) | 292.00 | LOAD | 68.00 | 45.00 | -13140.00 | 70.00 | -20440.00 | 35.00 | -10220.00 | 15.00 | -4380.00 | -20440.00 | TMS CONSTRUCTIONS
112.00 | M&L for one light point Controlled by one switch and wiring with 1.5 SQMm size PVC sheathed, stranded Copper Conductor Cables FRLS in PVC Conduit Complete all as Specified and as directed by the Engineer-in-Charge | 150.00 | POINT | 992.75 | 1150.00 | 172500.00 | 1000.00 | 150000.00 | 910.00 | 136500.00 | 1050.00 | 157500.00 | 136500.00 | HARI ENTERPRISES
113.00 | M&L for one Fan point Controlled by one switch and wiring with 1.5 SQMm size PVC sheathed, stranded Copper Conductor Cables FRLS in PVC Conduit Complete all as Specified and as directed by the Engineer-in-Charge | 140.00 | POINT | 992.75 | 1150.00 | 161000.00 | 1000.00 | 140000.00 | 910.00 | 127400.00 | 1050.00 | 147000.00 | 127400.00 | HARI ENTERPRISES
114.00 | M&L for one Exhaust Fan point Controlled by one switch and wiring with 2.5 SQMm size PVC sheathed, stranded Copper Conductor Cables FRLS in PVC Conduit Complete all as Specified and as directed by the Engineer-in-Charge | 28.00 | POINT | 1131.39 | 1170.00 | 32760.00 | 1200.00 | 33600.00 | 1170.00 | 32760.00 | 1250.00 | 35000.00 | 32760.00 | HARI ENTERPRISES, AMUTHA ENGINEERING AND CONSTRUCTION
115.00 | M&L 5A, 3pin socket outlet Socket on the same board with other switches, with cable 1.5 sq.mm size. PVC sheathed, stranded Copper Conductor Cables FRLS in PVC Conduit Complete all as Specified and as directed by the Engineer-in-Charge | 300.00 | RMTR | 284.10 | 222.00 | 66600.00 | 300.00 | 90000.00 | 208.00 | 62400.00 | 275.00 | 82500.00 | 62400.00 | HARI ENTERPRISES
116.00 | Supply &fixing of 10Amps one way modular switch as directed by the Engineer-in-Charge. | 350.00 | EACH | 260.50 | 144.00 | 50400.00 | 270.00 | 94500.00 | 130.00 | 45500.00 | 165.00 | 57750.00 | 45500.00 | HARI ENTERPRISES
117.00 | Supply &fixing of 6Amps Socket & modular switch as directed by the Engineer-in-Charge. | 60.00 | EACH | 340.54 | 222.00 | 13320.00 | 400.00 | 24000.00 | 195.00 | 11700.00 | 225.00 | 13500.00 | 11700.00 | HARI ENTERPRISES
118.00 | Supply &fixing of 16Amps one way modular switch as directed by the Engineer-in-Charge. | 25.00 | EACH | 343.70 | 235.00 | 5875.00 | 400.00 | 10000.00 | 201.00 | 5025.00 | 245.00 | 6125.00 | 5025.00 | HARI ENTERPRISES
119.00 | Supply &fixing of 6/16Amps modular Socket as directed by the Engineer-in-Charge. | 25.00 | EACH | 528.40 | 415.00 | 10375.00 | 600.00 | 15000.00 | 390.00 | 9750.00 | 425.00 | 10625.00 | 9750.00 | HARI ENTERPRISES
120.00 | Supply &fixing of 25Amps Socket for A/c as directed by the Engineer-in-Charge. | 25.00 | EACH | 2081.50 | 1265.00 | 31625.00 | 2100.00 | 52500.00 | 1105.00 | 27625.00 | 1250.00 | 31250.00 | 27625.00 | HARI ENTERPRISES
121.00 | Supply &fixing of 25Amps 2PoleMCB for A/c as directed by the Engineer-in-Charge. | 25.00 | EACH | 2081.50 | 1425.00 | 35625.00 | 2100.00 | 52500.00 | 1300.00 | 32500.00 | 1410.00 | 35250.00 | 32500.00 | HARI ENTERPRISES
122.00 | S&F Modular Box 2 module made out 1.2 mm GI Sheet as directed by the Engg.-in-charge | 50.00 | EACH | 179.10 | 121.00 | 6050.00 | 180.00 | 9000.00 | 91.00 | 4550.00 | 121.00 | 6050.00 | 4550.00 | HARI ENTERPRISES
123.00 | S&F Modular Box 3 module made out 1.2 mm GI Sheet as directed by the Engineer-in-charge | 30.00 | EACH | 179.80 | 131.00 | 3930.00 | 180.00 | 5400.00 | 108.00 | 3240.00 | 135.00 | 4050.00 | 3240.00 | HARI ENTERPRISES
124.00 | S&F Modular Box 6 module made out 1.2 mm GI Sheet as directed by the Engineer-in-charge | 55.00 | EACH | 284.10 | 215.00 | 11825.00 | 300.00 | 16500.00 | 195.00 | 10725.00 | 225.00 | 12375.00 | 10725.00 | HARI ENTERPRISES
125.00 | S&F Modular White Cover Plate With Frame, 2 module. as directed by the Engineer-in-charge | 50.00 | EACH | 195.80 | 81.00 | 4050.00 | 210.00 | 10500.00 | 74.00 | 3700.00 | 90.00 | 4500.00 | 3700.00 | HARI ENTERPRISES
126.00 | S&F Modular White Cover Plate With Frame, 3 module. as directed by the Engineer-in-charge | 30.00 | EACH | 217.70 | 121.00 | 3630.00 | 240.00 | 7200.00 | 101.00 | 3030.00 | 125.00 | 3750.00 | 3030.00 | HARI ENTERPRISES
127.00 | S&F Modular White Cover Plate With Frame, 6 module. as directed by the Engineer-in-charge | 55.00 | EACH | 309.60 | 191.00 | 10505.00 | 340.00 | 18700.00 | 188.00 | 10340.00 | 201.00 | 11055.00 | 10340.00 | HARI ENTERPRISES
128.00 | M&L For A/c wiring with 2runs of 6 SQ MM Copper PVC Insulated multistrand FRLSH along with 1run 6 SQ MM Copper Wire green as earth Continuity Concealed on Wall /fixed on Ceiling With Suitable PVC pipe &accessories. As directed by the Engineer-in-charge | 300.00 | RMTR | 392.66 | 301.00 | 90300.00 | 550.00 | 165000.00 | 292.00 | 87600.00 | 333.00 | 99900.00 | 87600.00 | HARI ENTERPRISES
129.00 | M&L For Sub main wiring along with single core earthwire with 4x 2.5 SQ MM Copper conductor with 1x2.5 mm earth wire with Suitable PVC conduit pipe &accessories. As directed by the Engineer-in-charge. | 300.00 | RMTR | 241.79 | 231.00 | 69300.00 | 600.00 | 180000.00 | 227.00 | 68100.00 | 244.00 | 73200.00 | 68100.00 | HARI ENTERPRISES
130.00 | Supply and fixing ceiling fans complete with blades, down rods, electronic regulator and accessories, 230V, 1200mm sweep. Min air delivery 210 CFM with Service value 6.00 BEE.Five star rated with brushless direct current motor (BLDC). As directed by the Engineer-in-charge | 85.00 | EACH | 2649.47 | 3658.00 | 310930.00 | 2800.00 | 238000.00 | 3575.00 | 303875.00 | 3750.00 | 318750.00 | 238000.00 | TMS CONSTRUCTIONS
131.00 | Supply& fixing of 2’×2’ Panel LED Light (40Watt)Fitting Suitable for fall ceiling, As directed by the Engineer-in-charge | 96.00 | EACH | 4558.73 | 2722.00 | 261312.00 | 4600.00 | 441600.00 | 2600.00 | 249600.00 | 2850.00 | 273600.00 | 249600.00 | HARI ENTERPRISES
132.00 | S&F of modular fan steo Regulator, 120W - 2 module with Accessories. as directed by the Engineer-in-charge. | 85.00 | EACH | 1017.95 | 333.00 | 28305.00 | 1050.00 | 89250.00 | 312.00 | 26520.00 | 299.00 | 25415.00 | 25415.00 | P S G CONSTRUCTIONS
133.00 | S&F of Fan hoke along with Down Rod to fixing in ceiling with suitable civil work, as directed by the Engineer-in-charge | 60.00 | EACH | 170.60 | 411.00 | 24660.00 | 200.00 | 12000.00 | 390.00 | 23400.00 | 375.00 | 22500.00 | 12000.00 | TMS CONSTRUCTIONS
134.00 | S&F of 300mm sweep with blades and frame and louvers Exhaust Fan, steel body AC single phase. 230V As directed by the Engineer-in-charge | 25.00 | EACH | 3548.59 | 2511.00 | 62775.00 | 3600.00 | 90000.00 | 2470.00 | 61750.00 | 2650.00 | 66250.00 | 61750.00 | HARI ENTERPRISES
135.00 | S&F of 450 mm sweep heavy duty with blades and frame and louvers Exhaust Fan, steel body AC single phase. 230V As directed by the Engineer-in-charge | 3.00 | EACH | 5448.02 | 8150.00 | 24450.00 | 5600.00 | 16800.00 | 7800.00 | 23400.00 | 7650.00 | 22950.00 | 16800.00 | TMS CONSTRUCTIONS
136.00 | S&F of LED Tube Light 18Watt,(T8) Twin Fitting with suitable fixtures& Accessories As directed by the Engineer-in-charge | 80.00 | EACH | 1330.39 | 1000.00 | 80000.00 | 1350.00 | 108000.00 | 1040.00 | 83200.00 | 999.00 | 79920.00 | 79920.00 | P S G CONSTRUCTIONS
137.00 | S&F of LED Tube Light 18Watt,(T8) Single Fitting with suitable fixtures& Accessories As directed by the Engineer-in-charge | 50.00 | EACH | 1330.39 | 700.00 | 35000.00 | 1350.00 | 67500.00 | 689.00 | 34450.00 | 735.00 | 36750.00 | 34450.00 | HARI ENTERPRISES
138.00 | Supply and fixing LED street light fitting 60 Watt 230V,AC, outdoor type with high pressure die cast aluminium hosing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including Thermal management in multiple optics complete with IP65/66 protection complete. | 10.00 | EACH | 5459.53 | 4000.00 | 40000.00 | 5600.00 | 56000.00 | 3835.00 | 38350.00 | 4050.00 | 40500.00 | 38350.00 | HARI ENTERPRISES
139.00 | S&F of TPN 8 Way double door 415 volts powder coated DB fixed on wall /concealed on wall with 200amps rated Bus bar Pre wired with suitable copper conductor. As directed by the Engineer-in-charge | 7.00 | EACH | 3588.70 | 6000.00 | 42000.00 | 5600.00 | 39200.00 | 5915.00 | 41405.00 | 6150.00 | 43050.00 | 39200.00 | TMS CONSTRUCTIONS
140.00 | S&F of 10Amps, Single pole, MCB with Accessories. | 24.00 | EACH | 360.14 | 200.00 | 4800.00 | 370.00 | 8880.00 | 191.00 | 4584.00 | 215.00 | 5160.00 | 4584.00 | HARI ENTERPRISES
141.00 | S&F of 20Amps, Single pole, MCB with Accessories. | 30.00 | EACH | 360.14 | 200.00 | 6000.00 | 370.00 | 11100.00 | 191.00 | 5730.00 | 215.00 | 6450.00 | 5730.00 | HARI ENTERPRISES
142.00 | S&F of 25Amps, Single pole, MCB with Accessories. | 30.00 | EACH | 360.14 | 200.00 | 6000.00 | 370.00 | 11100.00 | 191.00 | 5730.00 | 215.00 | 6450.00 | 5730.00 | HARI ENTERPRISES
143.00 | S&F of 32Amps, Single pole, MCB with Accessories. | 30.00 | EACH | 360.14 | 200.00 | 6000.00 | 370.00 | 11100.00 | 191.00 | 5730.00 | 215.00 | 6450.00 | 5730.00 | HARI ENTERPRISES
144.00 | XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100Volts grade, cross – sectional area 2R×95 SQMm. 4 Core. As directed by the Engineer-in-charge | 400.00 | RTMR | 581.32 | 1500.00 | 600000.00 | 780.00 | 312000.00 | 1430.00 | 572000.00 | 1650.00 | 660000.00 | 312000.00 | TMS CONSTRUCTIONS
145.00 | S&F of 250Amps, 4Pole, MCCB with Accessories. As directed by the Engineer-in-charge | 2.00 | EACH | 12986.10 | 27850.00 | 55700.00 | 28500.00 | 57000.00 | 22200.00 | 44400.00 | 26500.00 | 53000.00 | 44400.00 | HARI ENTERPRISES
146.00 | S&F of 125 Amps, 4Pole, MCCB with Accessories. As directed by the Engineer-in-charge | 5.00 | EACH | 4617.65 | 6550.00 | 32750.00 | 13000.00 | 65000.00 | 5400.00 | 27000.00 | 6350.00 | 31750.00 | 27000.00 | HARI ENTERPRISES
147.00 | S&F of 100 Amps, 4Pole, MCCB with Accessories. As directed by the Engineer-in-charge | 2.00 | EACH | 4328.70 | 4250.00 | 8500.00 | 11000.00 | 22000.00 | 3600.00 | 7200.00 | 4250.00 | 8500.00 | 7200.00 | HARI ENTERPRISES
148.00 | S&F of 63Amps, 4Pole, MCCB with Accessories. As directed by the Engineer-in-charge | 6.00 | EACH | 4024.10 | 3350.00 | 20100.00 | 8200.00 | 49200.00 | 2820.00 | 16920.00 | 3335.00 | 20010.00 | 16920.00 | HARI ENTERPRISES
149.00 | S&F of 40Amps, 4Pole, MCCB with Accessories. As directed by the Engineer-in-charge | 2.00 | EACH | 4024.10 | 5550.00 | 11100.00 | 6500.00 | 13000.00 | 4800.00 | 9600.00 | 5550.00 | 11100.00 | 9600.00 | HARI ENTERPRISES
150.00 | S&F of TPN 4 Way double door 415 volts powder coated DB(Panel) fixed on wall oncealed on wall with 300 amps rated Bus bar Pre wired with suitable copper conductor. With 250 Amps -MCCB(01No),125Amps-MCCB(05Nos),100Amps-MCCB(02Nos), 63Amps-MCCB (06Nos), 40Amps-MCCB(02Nos) & Multi-Function Meter , With Three Phase Indicator. As directed by the Engineer-in-charge | 1.00 | EACH | 240900.00 | 425000.00 | 425000.00 | 250000.00 | 250000.00 | 359600.00 | 359600.00 | 385000.00 | 385000.00 | 250000.00 | TMS CONSTRUCTIONS
151.00 | M&L For Sub main wiring with 4runs of 16 SQ MM Copper PVC Insulated multistrand FRLS along with 1run 16Q MM Copper Wire green as earth Continuity Concealed on Wall /fixed on Ceiling With Suitable PVC pipe &accessories. As directed by the Engineer-in-charge | 100.00 | RM | 835.93 | 835.00 | 83500.00 | 1000.00 | 100000.00 | 780.00 | 78000.00 | 801.00 | 80100.00 | 78000.00 | HARI ENTERPRISES
152.00 | Supply , install , vacuumizing, commissioning and testing of IVRF Out door unit, comprising of Hermitically sealed twin rotary DC inverter, tube fin type condenser coil made up of helical inner groved copper tube, aluminium coated fins, special BLDC type fan motor with axial flow type fan. Out door unit should be enclosed with powder coated sheet metal sheet, All hardware should have anti rust quality and PCB should be coated with special acrylic based polymer film. Suitable for operation on R - 410A refrigerant and of nominal capacity of 10HP. Complete all as specified and as directed by the Engineer-in-Charge. (Make: Model IVRFB-10SC/SH of BLUE STAR or equivalent in / LG/ CARRIER/ VOLTAS/ DAIKIN). | 1.00 | EACH | 302272.00 | 365000.00 | 365000.00 | 40000.00 | 40000.00 | 340500.00 | 340500.00 | 315000.00 | 315000.00 | 40000.00 | TMS CONSTRUCTIONS
153.00 | Supply and install Four way cassette type indoor units complete with wired remote control unit. Unit should have: a. Size of the grill 950x950x65 mm b. multi mode function such as Auto/cool/Heat/ Dry/ Sleep c. power ful in built drain pump to lift condensed water up to 1 mtr d. multi fan speed e. fliter clean reminder f. user friendly detachable grilles g. provision to add fresh air. h. sound level should be within 43dB. Single phase units 230V, 50 Hz of 4.0TR capacity . Complete all as specified and as directed by the Engineer-in-Charge. (Make: Model VLC-48 of BLUE STAR or equivalent in LG/ CARRIER/ VOLTAS/ DAIKIN/ HITACHI). | 2.00 | EACH | 69657.60 | 68580.00 | 137160.00 | 75000.00 | 150000.00 | 67500.00 | 135000.00 | 62500.00 | 125000.00 | 125000.00 | P S G CONSTRUCTIONS
154.00 | Supply and installation of Refnet joints made up of copper pipe; size as per site requirement Complete all as specified and as directed by the Engineer-in-Charge. | 1.00 | EACH | 7872.00 | 9150.00 | 9150.00 | 9000.00 | 9000.00 | 8970.00 | 8970.00 | 9250.00 | 9250.00 | 8970.00 | HARI ENTERPRISES
155.00 | Transportation, loading, unloading, lifting, shifting of AC equipments and materials | 1.00 | EACH | 11800.00 | 12220.00 | 12220.00 | 13000.00 | 13000.00 | 12001.00 | 12001.00 | 12650.00 | 12650.00 | 12001.00 | HARI ENTERPRISES
156.00 | Supply , installation, testing and commissioning of hard/soft drawn refrigerant Copper Piping between indoor & outdoor units covered with nitrile rubber insulation and further wrapped with weather proof tap and painted with weather resistant paint. The brazing to be carried out with bleeding of nitrogen. | 22.00 | RM | 1888.00 | 2250.00 | 49500.00 | 2000.00 | 44000.00 | 1820.00 | 40040.00 | 2150.00 | 47300.00 | 40040.00 | HARI ENTERPRISES
157.00 | Supply and installation of 2 core 0.75 sqmm sheilded flexible cable with PVC conduit (any ISI brand) with accesorries for indoor to out door communication. | 25.00 | RM | 259.60 | 255.00 | 6375.00 | 300.00 | 7500.00 | 247.00 | 6175.00 | 325.00 | 8125.00 | 6175.00 | HARI ENTERPRISES
158.00 | Supply and installation of PVC condensated drain piping insulated with nitrile rubber foam insulation connected to nearest drain point. | 20.00 | RM | 271.40 | 278.00 | 5560.00 | 300.00 | 6000.00 | 260.00 | 5200.00 | 299.00 | 5980.00 | 5200.00 | HARI ENTERPRISES
159.00 | Supply and charging of addition R407A Refrigerant Gas at site. | 35.00 | KG | 1416.00 | 1444.00 | 50540.00 | 1600.00 | 56000.00 | 1300.00 | 45500.00 | 1650.00 | 57750.00 | 45500.00 | HARI ENTERPRISES
160.00 | Providing & fixing of rubber pad, Hi-tech supports (such as L angle, Anchor bolts, threaded rods, nut, bolt and washers, PVC accessories, clamps for external & shaft area pipe etc.) for indoor unit, refrigerant and drain pipes. | 1.00 | EACH | 8500.00 | 98500.00 | 98500.00 | 11000.00 | 11000.00 | 5406.00 | 5406.00 | 75800.00 | 75800.00 | 5406.00 | HARI ENTERPRISES
| Total in Figures |  |  |  |  | 25352846.42 |  | 27662517.20 |  | 22749240.00 |  | 26002961.20
Lowest Amount Quoted BY: HARI ENTERPRISES(22749240.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repairs/Renovation of Industrial Canteen building (NIB 21) inside factory at EFA. Tender ID: 2023_AVNL_152557_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HARI ENTERPRISES | 22749240.00 | L1
| 2 | AMUTHA ENGINEERING AND CONSTRUCTION | 25352846.42 | L2
| 3 | P S G CONSTRUCTIONS | 26002961.20 | L3
| 4 | TMS CONSTRUCTIONS | 27662517.20 | L4