## BoQ1
Government eProcurement System Created By: K SREEVANI Created Date/Time: 03-Jun-2023 01:20 PM Tender Title: Rewiring of MT(Motor Transport) office bldg inside Factory area at OFMK(Bldg.No.11) Tender ID: 2023_AVNL_152667_1
Tender Inviting Authority: CHIEF GENERAL MANAGER, ORDNANCE FACTORY MEDAK HYDERABAD A UNIT OF AVNL
Name of Work: Rewiring of MT (Motor Transport) office bldg inside factory area at OFMK
Contract No: 76026/TE-04/OFMK/EOC/Rewiring MT/23-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NIKESH ENTERPRISES(GSTN-NA) |  | SRI SAI PANASA ELECTRICALS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking Down : Taking Down carefully copper/Aluminium point wiring (light ,Fan ,Socket, power point ) complete (fittings such as switches, ceiling roses, pendents, regulators, sockets, etc to be measured seperately) removing mateiral to store for keeping in safe custody for reuse at site and making good ,disturbed surfaces of walls ,floors etc as per the instructions of EIC. | 188.00 | Each | 100.00 | 22.00 | 4136.00 | 235.00 | 44180.00 | 4136.00 | NIKESH ENTERPRISES
2.00 | Taking Down : Taking Down carefully by unscrewing from board /outlets boxes fittings and fixtures such as switches ,sockets, ceiling roses, lamp holders, brackets, ceiling fittings, bulk head fittings, tubelight fittings and regulatorsetc for reuse at site or carrying to the store ( to be measured only when found serviciable in all respect complete for reuse as per instructions of EIC. | 396.00 | Each | 100.00 | 40.00 | 15840.00 | 35.00 | 13860.00 | 13860.00 | SRI SAI PANASA ELECTRICALS
3.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/polycab/L&T in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 213.00 | Each | 10.00 | 900.00 | 191700.00 | 1100.00 | 234300.00 | 191700.00 | NIKESH ENTERPRISES
4.00 | point wiring: Supply and fixing /Drawing of cables to one 3 pin socket outlet 5 amps independent on the same board with other switches, with cables 1.5 sq.mm size of copper conductor cables FR PVC concealed conduit wiring Make Finolex/Havells/ polycab /L&T as specified by EIC. | 87.00 | Each | 10.00 | 530.00 | 46110.00 | 465.00 | 40455.00 | 40455.00 | SRI SAI PANASA ELECTRICALS
5.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 5 amps independent, with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/polycab/L&T in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and all connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC. | 91.00 | Each | 10.00 | 900.00 | 81900.00 | 1267.00 | 115297.00 | 81900.00 | NIKESH ENTERPRISES
6.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/ polycab/ L&T in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire. All connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC 's technical instructions amended from time to time. | 37.00 | Each | 100.00 | 1200.00 | 44400.00 | 2347.00 | 86839.00 | 44400.00 | NIKESH ENTERPRISES
7.00 | ceiling rose :Supply and fixing of ceiling rose,PVC/Polycorbonate,3 terminal Make Anchor / Havells/Maru/Cona of ISI quality. | 213.00 | Each | 100.00 | 60.00 | 12780.00 | 50.00 | 10650.00 | 10650.00 | SRI SAI PANASA ELECTRICALS
8.00 | Celing Fan: Labour only for ceiling fan and connecting up including provision of cable from ceiling rose to fan. | 30.00 | Each | 10.00 | 80.00 | 2400.00 | 170.00 | 5100.00 | 2400.00 | NIKESH ENTERPRISES
9.00 | BUZZER:Ding dong buzzer of AC 230Volt. Make:Legrand/Schneider/ Havells/Anchor/GM | 2.00 | Each | 10.00 | 450.00 | 900.00 | 280.00 | 560.00 | 560.00 | SRI SAI PANASA ELECTRICALS
10.00 | MCB :Supply and fixing of MCB, 240 V, single pole 5 to 40 amp Make legrand/Schneider/Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 36.00 | Each | 10.00 | 150.00 | 5400.00 | 360.00 | 12960.00 | 5400.00 | NIKESH ENTERPRISES
11.00 | MCB :Supply and fixing of MCB, 240 V, DP 40 amp. Make legrand/Schneider/Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 4.00 | Each | 100.00 | 1000.00 | 4000.00 | 512.00 | 2048.00 | 2048.00 | SRI SAI PANASA ELECTRICALS
12.00 | MCB :Supply and fixing of MCB, 415 V, TPN 63A amp Make legrand/Schneider/Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 2.00 | Each | 100.00 | 2000.00 | 4000.00 | 1300.00 | 2600.00 | 2600.00 | SRI SAI PANASA ELECTRICALS
13.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of SPN, 8 way, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand/Schneider/Indoasian/ Havells complete all as specified by EIC. | 4.00 | Each | 10.00 | 1500.00 | 6000.00 | 3000.00 | 12000.00 | 6000.00 | NIKESH ENTERPRISES
14.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of TPN,4 way, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand/Schneider/Indoasian/ Havells complete all as specified by EIC. | 2.00 | Each | 10.00 | 3500.00 | 7000.00 | 16000.00 | 32000.00 | 7000.00 | NIKESH ENTERPRISES
15.00 | MCCB: Suppply and fixing of MCCB 3 pole, 415 V,adjustable type, 250 Amps with breaking capacity 36 KA Make: legrand/Schneider/ Indoasian/ Havells/ L&T | 1.00 | Each | 10.00 | 16000.00 | 16000.00 | 16000.00 | 16000.00 | 16000.00 | SRI SAI PANASA ELECTRICALS, NIKESH ENTERPRISES
16.00 | Industrial socket plug: Supply and fixing of Single pole and neutral, 240 V, 20 amps, enclosure with a two pin and earth plug and socket complete with one single pole MCB Make Schneider/Indoasian/Legrand/ABB | 3.00 | Each | 10.00 | 1009.00 | 3027.00 | 2000.00 | 6000.00 | 3027.00 | NIKESH ENTERPRISES
17.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 4x6.0 Sq.mm + 1x6 sq.mm earth wire in PVC concelead Conduit wiring .Make: Finolex/Havells /polycab/L&T complete all as specified by the EIC | 20.00 | RM | 10.00 | 420.00 | 8400.00 | 400.00 | 8000.00 | 8000.00 | SRI SAI PANASA ELECTRICALS
18.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x4.0 Sq.mm + 1x4.0 sq.mm earth wire in PVC Conduit wiring .Make: Finolex/Havells /polycab/L&T complete all as specified by the EIC | 80.00 | RM | 10.00 | 360.00 | 28800.00 | 164.00 | 13120.00 | 13120.00 | SRI SAI PANASA ELECTRICALS
19.00 | MODULAR BELL PUSH: Supply and Fixing of modular bell push Flush type 6 amps Modular type Make:Legrand/ Schneider/Havells | 2.00 | Each | 10.00 | 40.00 | 80.00 | 120.00 | 240.00 | 80.00 | NIKESH ENTERPRISES
20.00 | Modular Fan Regulator: Material and Labour for fan step regulator, 120watt , 2 module Make Havells/ Schneider/ Legrand | 30.00 | Each | 10.00 | 396.00 | 11880.00 | 1017.00 | 30510.00 | 11880.00 | NIKESH ENTERPRISES
21.00 | Switch Modular : Supply and Fixing of switch modular type of one way 6 amps make Legrand/Schneider/Havells of ISI quality complete all as specifies by the EIC | 391.00 | Each | 100.00 | 45.00 | 17595.00 | 210.00 | 82110.00 | 17595.00 | NIKESH ENTERPRISES
22.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 3 pin 6 amps modular type make Legrand/Schneider/Havells of ISI quality complete all as specified by the EIC | 178.00 | Each | 100.00 | 60.00 | 10680.00 | 340.00 | 60520.00 | 10680.00 | NIKESH ENTERPRISES
23.00 | SWITCH MODULAR : Supply and Fixing of switch modular type of one way 16 amps make Legrand/ Schneider/Havells of ISI quality complete all as specifies by the EIC | 34.00 | Each | 10.00 | 106.00 | 3604.00 | 250.00 | 8500.00 | 3604.00 | NIKESH ENTERPRISES
24.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 3 pin 6/16 amps modular type make Legrand/ Schneider/Havells of ISI quality complete all as specified by the EIC | 34.00 | Each | 10.00 | 156.00 | 5304.00 | 528.00 | 17952.00 | 5304.00 | NIKESH ENTERPRISES
25.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 4 module of make Legrand/ Schneider /Havells complete all as specified by the EIC | 118.00 | Each | 10.00 | 82.00 | 9676.00 | 247.00 | 29146.00 | 9676.00 | NIKESH ENTERPRISES
26.00 | METAL FLUSH BOX : Supply and Fixing of 4 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand/ Schneider/ Havells complete all as specified by the EIC | 118.00 | Each | 100.00 | 95.00 | 11210.00 | 213.00 | 25134.00 | 11210.00 | NIKESH ENTERPRISES
27.00 | LED SECURITY LIGHT : Fixing only of security/ street light fitting(Street Light OFMK supply). | 16.00 | Each | 100.00 | 260.00 | 4160.00 | 164.00 | 2624.00 | 2624.00 | SRI SAI PANASA ELECTRICALS
28.00 | Cutting Chases: Cutting chases , pinning in, making good to facings where required and pointing in cement mortor 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels etc; and cutting chases for concealed water tubing or concealed conduit wiring etc, and making good , cutting not exceding 10 cm girth.complete all as specified by the EIC | 400.00 | RM | 10.00 | 160.00 | 64000.00 | 50.00 | 20000.00 | 20000.00 | SRI SAI PANASA ELECTRICALS
29.00 | Painting: Distempering walls with distemper oil emulsion, white or tinted single coat | 100.00 | Sq.M | 10.00 | 80.00 | 8000.00 | 100.00 | 10000.00 | 8000.00 | NIKESH ENTERPRISES
30.00 | Celing Fan(BLDC): Supply and fixing of ceiling fan complete with blades, down rods, electronic regulator and accessories,230 V, 1200 mm sweep, minimum air delivery 210 CFM with service value 6.00 BEE 5 star rated with brush less DC motor(BLDC) Make Usha/ Orient/CG/ Havells | 10.00 | Each | 10.00 | 4500.00 | 45000.00 | 2650.00 | 26500.00 | 26500.00 | SRI SAI PANASA ELECTRICALS
31.00 | Modular metal flush box :Supply and Fixing of 6/8 Module metal flush box of make Legrand/Schneider/Havells compleate all as secified by the EIC | 6.00 | Each | 100.00 | 160.00 | 960.00 | 284.00 | 1704.00 | 960.00 | NIKESH ENTERPRISES
32.00 | Modular frame & cover plate :Supply and Fixing of 8 Module covering plate with frame of make Legrand/Schneider/Havells compleate all as secified by the EIC | 6.00 | Each | 100.00 | 135.00 | 810.00 | 381.00 | 2286.00 | 810.00 | NIKESH ENTERPRISES
33.00 | Lightening protection: material & Labour of Air termination single pointed copper rod 12mm dia and 300mm long complete all as specified | 8.00 | Each | 10.00 | 458.00 | 3664.00 | 454.00 | 3632.00 | 3632.00 | SRI SAI PANASA ELECTRICALS
34.00 | LP system Test point terminal block: Material & Labour for test point terminal block made of Gun metal or Phosporus bronze size 75x75x25 mm drilled and screwed including 3 nos 8 mm dia 25mm long hexahead screws complete all as specified bu EIC | 8.00 | Each | 10.00 | 5000.00 | 40000.00 | 689.00 | 5512.00 | 5512.00 | SRI SAI PANASA ELECTRICALS
35.00 | GI Strip : material and Labour for galvanised iron strip 32x6mm burried in ground or fixed neatly on the wall/ roof sheet with porceleing supporters complete all as specified | 600.00 | meter | 10.00 | 230.00 | 138000.00 | 213.00 | 127800.00 | 127800.00 | SRI SAI PANASA ELECTRICALS
36.00 | Earthing:Earthing complete with Galvanised steel earth plate electrode 60x60 cm X 6 mm thick ,buries directly in ground (Earth pit not less than 2.25 meters deep below ground level) with top edge of the plate not lessthan 1.5 meters below ground level,connected to galvanised iron or steel strip 32x6 mm as earthing lead by means of bolts,nuts,check nuts and washerers of GI or steel all as shown in Electrical plate no 3 connected to earth test point as specified or indicated including testing on completion. | 8.00 | each | 10.00 | 5500.00 | 44000.00 | 7573.00 | 60584.00 | 44000.00 | NIKESH ENTERPRISES
37.00 | GI PIPE :Supply and fixing of GI pipe to protect earthing strip 40 mm dia medium grade complete all as specified and directed | 10.00 | RM | 10.00 | 333.00 | 3330.00 | 500.00 | 5000.00 | 3330.00 | NIKESH ENTERPRISES
38.00 | GI PIPE :Supply and fixing of GI pipe to protect earthing strip 20 mm dia medium grade complete all as specified and directed | 10.00 | RM | 10.00 | 220.00 | 2200.00 | 380.00 | 3800.00 | 2200.00 | NIKESH ENTERPRISES
39.00 | Excavation: Excavating in trenches in hard/dense soil not exceeding 1.5 metre wide and not exceeding 1.5 metre depth over areas in Hard/Dense soil getting out complete all as specified and directed. | 18.00 | cu.m | 10.00 | 500.00 | 9000.00 | 250.00 | 4500.00 | 4500.00 | SRI SAI PANASA ELECTRICALS
40.00 | cement concrete:providing cement concrete cast in situ for each pit chamber slightly rounded or chamfere angles including finisheing by using type B1 1:2:4 (20mm graded aggregate complete all as specified by the EIC | 1.60 | cu.m | 10.00 | 4500.00 | 7200.00 | 8569.00 | 13710.40 | 7200.00 | NIKESH ENTERPRISES
41.00 | precast cement concreate: B1 1:2:4 (20mm graded aggregate) in covers slabs for earth pits with faces size (40x40x5 cm ) complete all as specified and directed | .40 | cu.m | 100.00 | 4500.00 | 1800.00 | 11036.00 | 4414.40 | 1800.00 | NIKESH ENTERPRISES
42.00 | mild steel bar 8 mm dia over cut to length ,bend to shape for hooking quality conforming to GD 1 ,IS 432(pt .1 ) complete all as specified yb the EIC | 50.00 | kg | 100.00 | 120.00 | 6000.00 | 84.72 | 4236.00 | 4236.00 | SRI SAI PANASA ELECTRICALS
43.00 | PANEL:supply and fixing of LT Distribution panel with powder coated 2mm thickness CRCA sheet with 250Amps, 36KA, 4 pole MCCB in coming, 3 ph and neural bus(Aluminium) bar(300Amps) and Supply and fixing of 125A,36 KA 3 pole MCCB 3 nos and 100 A, 36KA 3 pole MCCB 6 Nos with digital volt meter and Ammeter and Multi function meter indication lamps, selector switch including all, MCCBs Make L&T/Schneider/Siemens | 1.00 | Each | 10.00 | 250679.00 | 250679.00 | 150000.00 | 150000.00 | 150000.00 | SRI SAI PANASA ELECTRICALS
44.00 | Fan Hook: Supply and Fixing of Fan hook with double anchor bolt complete fixing as per instructions of EIC. | 10.00 | Each | 10.00 | 209.00 | 2090.00 | 70.00 | 700.00 | 700.00 | SRI SAI PANASA ELECTRICALS
45.00 | SWITCH BOARD BOX WITH FRAME PLATE AND COVER PLATE 16 MODULE : Supply and Fixing of covering plates with Metal Flush box and cover plate frames of 16 module of make Legrand/ Schneider/ Havells complete all as specified by the EIC | 53.00 | Each | 10.00 | 581.00 | 30793.00 | 600.00 | 31800.00 | 30793.00 | NIKESH ENTERPRISES
46.00 | Street light fitting angular bracket pipe: : Street light fitting fixing pipe complete with 3.0 m long G.I. pipe 40 mm dia for security lightcomplete all as specified by the EIC. | 16.00 | Each | 100.00 | 501.00 | 8016.00 | 1500.00 | 24000.00 | 8016.00 | NIKESH ENTERPRISES
| Total in Figures |  |  |  |  | 1222524.00 |  | 1412883.80
Lowest Amount Quoted BY: NIKESH ENTERPRISES(1222524.00)

## BOQ Summary
BOQ Summary Details Tender Title: Rewiring of MT(Motor Transport) office bldg inside Factory area at OFMK(Bldg.No.11) Tender ID: 2023_AVNL_152667_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NIKESH ENTERPRISES | 1222524.00 | L1
| 2 | SRI SAI PANASA ELECTRICALS | 1412883.80 | L2