## BoQ1
Government eProcurement System Created By: Venkatesan R Created Date/Time: 11-Jul-2023 11:05 AM Tender Title: Modification of existing boundary wall to facilitate the vehicles entry and cover the surrounding area with providing paver block at EFA URC building at HVF Estate Tender ID: 2023_AVNL_152745_1
Tender Inviting Authority: The Chief General Manager, Engine Factory Avadi (A Unit of AVNL)
Name of Work: Modification of existing boundary wall to facilitate the vehicles entry and cover the surrounding area with i/c providing paver block at EFA URC building at HVF Estate.
Contract No: EFA/EO(C )/1278/E/TE/03/2023-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | TMS CONSTRUCTIONS(GSTN-NA) |  | B MURUGESAN(GSTN-NA) |  | S VINAYAGAMURTHY(GSTN-NA) |  | SS ENTERPRISE(GSTN-NA) |  | ATTHAR BAI TIMBERS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | M&L for Excavation in trenches, n. exc. 1.5m wide and n.exc. 1.5m in depth for foundation etc. And getting out including dressing/ trimming sides and levelling/grading and ramming of bottoms of excavation in dence soil. | 56.00 | CU.M | 675.00 | 600.00 | 33600.00 | 340.00 | 19040.00 | 1100.00 | 61600.00 | 500.00 | 28000.00 | 729.00 | 40824.00 | 19040.00 | B MURUGESAN
2.00 | Surface excavation n.exc. 30cm. Deep and avaraging 15 cm.deep and getting out hard and dence soil. | 330.00 | SQM | 93.20 | 100.00 | 33000.00 | 7.00 | 2310.00 | 90.00 | 29700.00 | 80.00 | 26400.00 | 101.00 | 33330.00 | 2310.00 | B MURUGESAN
3.00 | Returning, filling in, including spreading, levelling, watering and well ramming in layers not exc 25 cm. | 60.00 | Cu.m. | 139.10 | 140.00 | 8400.00 | 160.00 | 9600.00 | 135.00 | 8100.00 | 120.00 | 7200.00 | 150.00 | 9000.00 | 7200.00 | SS ENTERPRISE
4.00 | Demolition of brick work built in cement morter of any description. | 4.14 | CU.M | 590.00 | 600.00 | 2484.00 | 970.00 | 4015.80 | 590.00 | 2442.60 | 600.00 | 2484.00 | 637.00 | 2637.18 | 2442.60 | S VINAYAGAMURTHY
5.00 | M & L for sand filling under floors or in foundations including watering and consolidation, complete all as specified. | 68.00 | CU.M | 1974.30 | 2200.00 | 149600.00 | 2500.00 | 170000.00 | 1810.00 | 123080.00 | 2000.00 | 136000.00 | 2132.00 | 144976.00 | 123080.00 | S VINAYAGAMURTHY
6.00 | M/L for P.C.C. 1:4:8 Type D2 using 40 mm greded stone aggregate 100 mm thick complete all as specified and directed by Engg. In. Charge. | 735.00 | SQM | 533.00 | 560.00 | 411600.00 | 520.00 | 382200.00 | 540.00 | 396900.00 | 520.00 | 382200.00 | 684.00 | 502740.00 | 382200.00 | B MURUGESAN, SS ENTERPRISE
7.00 | M/L for P.C.C. 1:3:6 Type M-10 grade using 40 mm greded stone aggregate complete all as specified and directed by Engg. In. Charge. | 24.16 | Cu.m. | 4673.50 | 5500.00 | 132880.00 | 5830.00 | 140852.80 | 5600.00 | 135296.00 | 4350.00 | 105096.00 | 5047.00 | 121935.52 | 105096.00 | SS ENTERPRISE
8.00 | Cutting holes in brick walls built in cement mortar or cement lime mortar for inserting holdfasts and making good dismantled portion in cement moratr 1:3 or cement concrete 1:2:4 type B-1 as required, exc. 1/2 brick n. exc. 1 brick thick | 20.00 | EACH | 340.19 | 300.00 | 6000.00 | 250.00 | 5000.00 | 340.00 | 6800.00 | 350.00 | 7000.00 | 367.00 | 7340.00 | 5000.00 | B MURUGESAN
9.00 | M & L for P.C.C.in foundations filling and mass concrete 1:2:4 Type B1, with 20mm graded aggregate,. | 89.00 | CU.M | 5357.20 | 7500.00 | 667500.00 | 6640.00 | 590960.00 | 6200.00 | 551800.00 | 5500.00 | 489500.00 | 5785.00 | 514865.00 | 489500.00 | SS ENTERPRISE
10.00 | M& L for Reinforced Ready Mixed Cement Concrete (DESIGN MIX) M30 grade in foundation, including raft footings, foundation beams, plinth beams, bases for column etc., basement slabs, underreamed piles and mass concrete at floors etc.; complete all as specified and as directed by the Engineer-in-Charge. | 39.00 | CU.M | 7977.02 | 8200.00 | 319800.00 | 8080.00 | 315120.00 | 6350.00 | 247650.00 | 8000.00 | 312000.00 | 8615.00 | 335985.00 | 247650.00 | S VINAYAGAMURTHY
11.00 | M & L for P.C.C. 1:2:4 Type B1 using 12.5 mm greded stone aggregate 55 mm thick as in top layer of floor. | 60.75 | SQM | 432.40 | 500.00 | 30375.00 | 700.00 | 42525.00 | 325.00 | 19743.75 | 420.00 | 25515.00 | 467.00 | 28370.25 | 19743.75 | S VINAYAGAMURTHY
12.00 | M & L for Formwork to sides and soffits of floor or roof beams, beam haunchings, girders, bressummers, lintels, cantilevers, shelves including supports, overhangs, etc. also splays between floors and beams, etc.; Complete all as specified and as directed by the Engineer-in-Charge. | 197.00 | SQM | 543.19 | 600.00 | 118200.00 | 610.00 | 120170.00 | 460.00 | 90620.00 | 500.00 | 98500.00 | 587.00 | 115639.00 | 90620.00 | S VINAYAGAMURTHY
13.00 | M & L for mild steel TMT bars of 10 mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia.; Complete all as specified and as directed by the Engineer-in-Charge. | 3729.00 | KG | 82.60 | 95.00 | 354255.00 | 97.00 | 361713.00 | 78.00 | 290862.00 | 95.00 | 354255.00 | 89.00 | 331881.00 | 290862.00 | S VINAYAGAMURTHY
14.00 | M & L for mild steel TMT bars of 6 to 8 mm dia and , cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia.; Complete all as specified and as directed by the Engineer-in-Charge. | 543.00 | KG | 84.55 | 95.00 | 51585.00 | 97.00 | 52671.00 | 80.00 | 43440.00 | 98.00 | 53214.00 | 91.00 | 49413.00 | 43440.00 | S VINAYAGAMURTHY
15.00 | M/L of Cement Brick work with Sub class old size "B" Bricks, straight or curved on plan exc. 6m mean radius built in cement morter 1:4 | 39.00 | Cu.m. | 5370.50 | 7500.00 | 292500.00 | 7090.00 | 276510.00 | 5300.00 | 206700.00 | 6000.00 | 234000.00 | 5800.00 | 226200.00 | 206700.00 | S VINAYAGAMURTHY
16.00 | Rendering 15mm thick cement plaster, using cement morter (1:4) on wall/ceiling / concrete serfaces and finish the surface even and smooth without using extra cement including coat. | 364.00 | SQM | 304.24 | 400.00 | 145600.00 | 304.00 | 110656.00 | 225.00 | 81900.00 | 300.00 | 109200.00 | 329.00 | 119756.00 | 81900.00 | S VINAYAGAMURTHY
17.00 | M&L for applying two coats of Plastic emulsion paint on new surface of any description over 10cm girth or width over one coat of wall primer including surface preparation; Complete all as specified and as directed by the Engineer-in-Charge. (Make : ASIAN/ NEROLAC/ BERGER only) | 90.00 | SQM | 150.90 | 120.00 | 10800.00 | 124.00 | 11160.00 | 141.00 | 12690.00 | 105.00 | 9450.00 | 233.00 | 20970.00 | 9450.00 | SS ENTERPRISE
18.00 | M&L for applying one coats of exterior plastic emulsion paint on old surface of any description over 10cm girth or width including surface preparation; Complete all as specified and as directed by the Engineer-in-Charge. (Make : ASIAN/ NEROLAC/ BERGER only) | 702.00 | SQM | 67.50 | 70.00 | 49140.00 | 52.00 | 36504.00 | 67.00 | 47034.00 | 64.00 | 44928.00 | 146.00 | 102492.00 | 36504.00 | B MURUGESAN
19.00 | M&L for applying two coats of exterior plastic emulsion paint on new surface of any description over 10cm girth or width over one coat of wall promer including surface preparation; Complete all as specified and as directed by the Engineer-in-Charge. (Make : ASIAN/ NEROLAC/ BERGER only) | 598.00 | SQM | 143.20 | 110.00 | 65780.00 | 124.00 | 74152.00 | 143.00 | 85514.00 | 150.00 | 89700.00 | 176.00 | 105248.00 | 65780.00 | TMS CONSTRUCTIONS
20.00 | Applying Two coats of Synthetic enamel paints (Berger/Asian/ICI) over preparation of new surfaces on steel surfaces of any description, over aluminium red oxide primer, above 10 cm in width or girth. | 120.00 | SQM, | 144.20 | 110.00 | 13200.00 | 133.00 | 15960.00 | 141.00 | 16920.00 | 140.00 | 16800.00 | 156.00 | 18720.00 | 13200.00 | TMS CONSTRUCTIONS
21.00 | Rendering screed bed or bedding layer of cement mortar 1:4 having 25mm thick over floor concrete for floor finishes as directed by E-In-Charge Including M&L complete | 707.00 | SQM | 278.36 | 300.00 | 212100.00 | 340.00 | 240380.00 | 300.00 | 212100.00 | 260.00 | 183820.00 | 361.00 | 255227.00 | 183820.00 | SS ENTERPRISE
22.00 | M & L for laying of brick over cable (moduler bricks;common burnt clay building bricks, subclass "A") complete all as specified and directed by Engg. In. Charge. | .50 | 1000Nos | 5305.13 | 8000.00 | 4000.00 | 16000.00 | 8000.00 | 10000.00 | 5000.00 | 10.00 | 5.00 | 5729.00 | 2864.50 | 5.00 | SS ENTERPRISE
23.00 | S & F of Non - skid Ceramic Coloured tiles 7 to 8 mm thick sqare /rectangular) area of each tile exceeding 0.11 sqm but not exceeding 0.18 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match.Complete all as specified and as directed by the Engineer-in-Charge | 25.00 | SQM | 1149.80 | 1200.00 | 30000.00 | 1060.00 | 26500.00 | 1450.00 | 36250.00 | 1600.00 | 40000.00 | 1242.00 | 31050.00 | 26500.00 | B MURUGESAN
24.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete.Complete all as specified and as directed by the Engineer-in-Charge | 60.00 | SQM | 1063.45 | 1100.00 | 66000.00 | 1060.00 | 63600.00 | 1300.00 | 78000.00 | 1100.00 | 66000.00 | 1699.00 | 101940.00 | 63600.00 | B MURUGESAN
25.00 | S& F of Machine pressed precast concrete interlocking paver block any shape and size confirming to IS 15658-2006 of 60 mm thickness, M-35 Grade With Grey cement and no pigment. Complete all as specified and as directed by the Engineer-in-Charge | 660.00 | SQM | 741.60 | 850.00 | 561000.00 | 610.00 | 402600.00 | 650.00 | 429000.00 | 700.00 | 462000.00 | 801.00 | 528660.00 | 402600.00 | B MURUGESAN
26.00 | M/L 20mm thick Granite (of any type) tiles machine cut, in skirting/ dado laid over cement screed and jointed with grey cement slurry, and pointed with white cement with admixture of pigment to match the shade of granite stone including grinding and polishing complete. | 60.00 | SQM, | 2442.75 | 2600.00 | 156000.00 | 4660.00 | 279600.00 | 2442.00 | 146520.00 | 2500.00 | 150000.00 | 2638.00 | 158280.00 | 146520.00 | S VINAYAGAMURTHY
27.00 | S& F of Chequered precast cement concrete tiles of Medium shade pigment using 50% white cement 50% Grey cement 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). | 15.00 | SQM | 1160.00 | 1200.00 | 18000.00 | 1330.00 | 19950.00 | 1525.00 | 22875.00 | 1090.00 | 16350.00 | 1253.00 | 18795.00 | 16350.00 | SS ENTERPRISE
28.00 | S/F roof trusses (framed), trussed, purlins, crane gantries, rails and fastenings and heavy bracket framing ( Beam,tee,angle,channel or flat sections) including distance pieces, cleats etc. Fe-290 (Gde E-165) | 3020.00 | KG | 126.06 | 150.00 | 453000.00 | 160.00 | 483200.00 | 126.06 | 380701.20 | 120.00 | 362400.00 | 136.00 | 410720.00 | 362400.00 | SS ENTERPRISE
29.00 | S/F for gates of angle or other section with gusset plates, rails, braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing complete, Fe-290(Gde E 165) with heavy heavy duty ball bearing hinges, | 840.00 | KG | 116.24 | 130.00 | 109200.00 | 133.00 | 111720.00 | 116.00 | 97440.00 | 125.00 | 105000.00 | 126.00 | 105840.00 | 97440.00 | S VINAYAGAMURTHY
30.00 | S/F ball bearing for Iron gate movement | 4.00 | Each | 578.34 | 800.00 | 3200.00 | 2500.00 | 10000.00 | 550.00 | 2200.00 | 580.00 | 2320.00 | 625.00 | 2500.00 | 2200.00 | S VINAYAGAMURTHY
31.00 | Providing and fixing G.I. chain link fabric fencing of required width in mesh size 50x50 mm including strengthening with 2 mm dia wire or nuts, bolts and washers as required complete as per the direction of Engineer-in-charge.Made of G.I. wire of dia. 4 mm, PVC coated to achieve outer dia not less than 5 mm in required colour and shade. | 105.00 | Sq.m. | 901.65 | 900.00 | 94500.00 | 700.00 | 73500.00 | 278.00 | 29190.00 | 900.00 | 94500.00 | 974.00 | 102270.00 | 29190.00 | S VINAYAGAMURTHY
32.00 | S/f of Pre-painted galvalume aluminum zinc coating GI based Plain steel sheet 0.50mm thick of any colour having tensile strength of 550 Mpa as in roof covering/cladding to wall, fixed with self tapping screws as specified | 143.00 | SQM | 767.01 | 800.00 | 114400.00 | 700.00 | 100100.00 | 650.00 | 92950.00 | 700.00 | 100100.00 | 828.00 | 118404.00 | 92950.00 | S VINAYAGAMURTHY
33.00 | Material & Labour for providing and fixing stainless steel (Grade 304) railing made of hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (where ever required) and fitting the same with necessary stainless steel nuts and bolts complete, including fixing the railing with necessary accessories & stainless steel dash fasteners, stainless steel bolts. etc., of required size, on the top of floor or the side of waist slab with suitable arrangement | 453.00 | KG | 505.38 | 550.00 | 249150.00 | 700.00 | 317100.00 | 505.00 | 228765.00 | 450.00 | 203850.00 | 546.00 | 247338.00 | 203850.00 | SS ENTERPRISE
34.00 | M & L for Forming Contraction (Dummy) joints 65mm deep x 10mm wide, filled with sealing compound of Grade "B" Quality; complete all specified. | 4.00 | 10RM | 608.70 | 600.00 | 2400.00 | 430.00 | 1720.00 | 608.00 | 2432.00 | 625.00 | 2500.00 | 657.00 | 2628.00 | 1720.00 | B MURUGESAN
35.00 | M/L for Reinforced concrete pipes, class NP2, laid and jointed complete with collars,150mm dia | 50.00 | RM | 364.00 | 400.00 | 20000.00 | 340.00 | 17000.00 | 364.00 | 18200.00 | 350.00 | 17500.00 | 393.00 | 19650.00 | 17000.00 | B MURUGESAN
36.00 | Supply & Fixing of PVC(SWR) pipe of 110 mm dia to walls double socketed sewer line outlet airvent or in trenches inlcuding all fittings like clamps, bends, Tee etc. complete all as specified and as directed by the Engineer-in-Charge. | 15.00 | RM | 200.00 | 220.00 | 3300.00 | 700.00 | 10500.00 | 330.00 | 4950.00 | 150.00 | 2250.00 | 216.00 | 3240.00 | 2250.00 | SS ENTERPRISE
37.00 | M & L for PVC Rainwater (SWR) bends any radious, 110mm bore, with provided access door and prferably Supreme make. | 6.00 | EACH | 170.00 | 200.00 | 1200.00 | 250.00 | 1500.00 | 140.00 | 840.00 | 150.00 | 900.00 | 184.00 | 1104.00 | 840.00 | S VINAYAGAMURTHY
38.00 | S & F of PVC(SWR) junction single (Single 'T' equal or unequal, 110 mm dia, with provided access door. | 1.00 | EACH | 549.03 | 580.00 | 580.00 | 520.00 | 520.00 | 240.00 | 240.00 | 500.00 | 500.00 | 593.00 | 593.00 | 240.00 | S VINAYAGAMURTHY
39.00 | S & F of 110/110mm bore suitable for PVC (SWR) ‘P’ trap for water closet as directed by E-in-charge. | 2.00 | EACH | 265.00 | 350.00 | 700.00 | 430.00 | 860.00 | 350.00 | 700.00 | 260.00 | 520.00 | 286.00 | 572.00 | 520.00 | SS ENTERPRISE
40.00 | Providng and fixing Rotational moulded polyethylene water storage tanks (cylindrical vertical with closed top) hoisted and fixed in position and making all connection with required fittings all as specified in SSR Part I | 1.00 | EACH | 8196.46 | 8000.00 | 8000.00 | 17710.00 | 17710.00 | 10000.00 | 10000.00 | 8500.00 | 8500.00 | 10358.00 | 10358.00 | 8000.00 | TMS CONSTRUCTIONS
41.00 | S&F PVC (SWR) WC connector with lip ring, 110 mm dia. | 2.00 | EACH | 225.00 | 220.00 | 440.00 | 700.00 | 1400.00 | 300.00 | 600.00 | 225.00 | 450.00 | 243.00 | 486.00 | 440.00 | TMS CONSTRUCTIONS
42.00 | S&F PVC (SWR) gully trap, plain with grating including jointing with solvent cement, 125/110 mm dia. | 4.00 | EACH | 265.00 | 230.00 | 920.00 | 790.00 | 3160.00 | 450.00 | 1800.00 | 260.00 | 1040.00 | 286.00 | 1144.00 | 920.00 | TMS CONSTRUCTIONS
43.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required :W.C. pan with ISI marked white solid plastic seat and lid | 2.00 | EACH | 5540.55 | 5500.00 | 11000.00 | 5200.00 | 10400.00 | 4000.00 | 8000.00 | 5500.00 | 11000.00 | 5984.00 | 11968.00 | 8000.00 | S VINAYAGAMURTHY
44.00 | S & F Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms 15 mm nominal bore. | 2.00 | EACH | 715.05 | 800.00 | 1600.00 | 970.00 | 1940.00 | 900.00 | 1800.00 | 1100.00 | 2200.00 | 772.00 | 1544.00 | 1544.00 | ATTHAR BAI TIMBERS
45.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 2.00 | EACH | 886.25 | 900.00 | 1800.00 | 1600.00 | 3200.00 | 1200.00 | 2400.00 | 1080.00 | 2160.00 | 957.00 | 1914.00 | 1800.00 | TMS CONSTRUCTIONS
46.00 | S & F of waste fittings, brass, chromium plated for glazed ware sinks, basins etc. with long screwed shanks and flynuts, flange end bedded in red lead cement and other end fixed, 32mm dia. | 2.00 | EACH | 158.76 | 200.00 | 400.00 | 250.00 | 500.00 | 280.00 | 560.00 | 150.00 | 300.00 | 171.00 | 342.00 | 300.00 | SS ENTERPRISE
47.00 | Supply only flushing pipe of high density polyethylene(HDPE) pipes, pressure rating 6kgf/ sqcm, 32 mm dia, for low level cistern. | 3.00 | RM | 177.25 | 200.00 | 600.00 | 160.00 | 480.00 | 700.00 | 2100.00 | 150.00 | 450.00 | 191.00 | 573.00 | 450.00 | SS ENTERPRISE
48.00 | S & F PVC connections 15mm size with PTMT nuts of length 450mm. | 6.00 | EACH | 150.00 | 200.00 | 1200.00 | 97.00 | 582.00 | 70.00 | 420.00 | 150.00 | 900.00 | 162.00 | 972.00 | 420.00 | S VINAYAGAMURTHY
49.00 | S & F for Gun metal globe or gate valves with iron wheelhead, screwed both ends for iron pipe, 15mm bore. | 2.00 | EACH | 505.45 | 600.00 | 1200.00 | 700.00 | 1400.00 | 700.00 | 1400.00 | 650.00 | 1300.00 | 546.00 | 1092.00 | 1092.00 | ATTHAR BAI TIMBERS
50.00 | S & F of Stop valves, (Angle cock) cast copper alloy, screwed down, high pressure, with crutch or butterfly handle, screwed end for iron pipe or for unions and fixed; Chromium Plated, fancy type, 15mm bore | 6.00 | EACH | 682.03 | 800.00 | 4800.00 | 700.00 | 4200.00 | 470.00 | 2820.00 | 650.00 | 3900.00 | 737.00 | 4422.00 | 2820.00 | S VINAYAGAMURTHY
51.00 | S & F for Pillar taps, cast copper alloy, with capstan heads, chromium plated, screwed down high pressure, with or without lettered 'Hot' or 'Cold' with long screwed shanks and fly-nuts, screwed for iron pipe and fixed, but fancy type, wt. should not less than 690gm, 15mm bore. | 2.00 | EACH | 676.44 | 900.00 | 1800.00 | 1150.00 | 2300.00 | 950.00 | 1900.00 | 800.00 | 1600.00 | 731.00 | 1462.00 | 1462.00 | ATTHAR BAI TIMBERS
52.00 | S & F 25mm bore CPVC Pipe medium grade with all fittings and fixed complete to walls and ceilings or laid in floors | 100.00 | RM | 196.00 | 220.00 | 22000.00 | 430.00 | 43000.00 | 250.00 | 25000.00 | 200.00 | 20000.00 | 212.00 | 21200.00 | 20000.00 | SS ENTERPRISE
53.00 | S & F of grating doom 100 mm dia of PTMT(min. wt. 25 grms.) | 4.00 | EACH | 51.61 | 60.00 | 240.00 | 160.00 | 640.00 | 200.00 | 800.00 | 50.00 | 200.00 | 56.00 | 224.00 | 200.00 | SS ENTERPRISE
54.00 | S & F Ball brass valves of 25mm dia., high pressure, with polythene float and flynut complete, screwed for iron pipe or brass ferrule. | 1.00 | EACH | 488.27 | 500.00 | 500.00 | 700.00 | 700.00 | 300.00 | 300.00 | 500.00 | 500.00 | 527.00 | 527.00 | 300.00 | S VINAYAGAMURTHY
55.00 | S & F Vitreous China urinals, half stall type, complete including providing and fixing plugs, bedding urinal against wall in cement mortar 1:2, securing urinal to plugs with and including 60mm long brass screws, pointing around urinal back in cement; fixing automatic flushing cistern with brackets, flush pipe, grating and Union for discharge pipe. (Exclusive of fixing supply pipe to flushing cistern, trap and waste pipe) | 2.00 | EACH | 715.40 | 800.00 | 1600.00 | 6100.00 | 12200.00 | 1800.00 | 3600.00 | 1500.00 | 3000.00 | 773.00 | 1546.00 | 1546.00 | ATTHAR BAI TIMBERS
56.00 | Fixing only wash basins, vitereous china (flat back or angle back type) any size, including cutting for and pinning in ends of brackets or erecting stand but exclusive of fixing of supply and waste pipe. | 2.00 | EACH | 650.95 | 900.00 | 1800.00 | 430.00 | 860.00 | 500.00 | 1000.00 | 600.00 | 1200.00 | 703.00 | 1406.00 | 860.00 | B MURUGESAN
57.00 | Supply only wash basins, vitereous china (flat back or angle back type) size 630x450mm including brackets. | 2.00 | EACH | 1005.21 | 1200.00 | 2400.00 | 4300.00 | 8600.00 | 1500.00 | 3000.00 | 1200.00 | 2400.00 | 1086.00 | 2172.00 | 2172.00 | ATTHAR BAI TIMBERS
58.00 | Providing and fixing for Biodegradable polyethylene septic tank-10mm wall thickness (green colour), horizontal, with self cleaning DRDO Bio bacteria technology, 3" height with consist of three chamber cylindrical shape for human waste, 1500L capacity and manhole dia-250mm, pipe diameter 100mm, including making all connection for inlet and outlet. | 1.00 | EACH | 24500.00 | 26000.00 | 26000.00 | 52000.00 | 52000.00 | 40000.00 | 40000.00 | 25000.00 | 25000.00 | 26460.00 | 26460.00 | 25000.00 | SS ENTERPRISE
59.00 | S & F white colour frame of size 60x58mm made of extruded profiles, frame will be mitered cut and fusion welded at all corners and 1.2 ±0.2mm thick galvanized steel profile (paid seperately) to be inserted in required profile including drilling of holes for fixing hardware and drainage of water etc. making arrengement for fixing hardware, EPDM gasket for uPVC casement windows in ventilator with friction hinge & outward opening complete as directed by Engineer-in-charge. | 9.00 | RM | 354.17 | 400.00 | 3600.00 | 700.00 | 6300.00 | 522.00 | 4698.00 | 350.00 | 3150.00 | 383.00 | 3447.00 | 3150.00 | SS ENTERPRISE
60.00 | S & F white colour sash/ mullion of size 60x73mm (Style, rail and intermediate section) made of extruded profiles, sash will be mitered cut and fusion welded at all corners and 1.2 ±0.2mm thick galvanized steel profile (paid seperately) to be inserted in required profile for uPVC casement windows in ventilator with friction hinge & outward opening complete as directed by Engineer-in-charge. | 9.00 | RM | 395.92 | 400.00 | 3600.00 | 610.00 | 5490.00 | 395.00 | 3555.00 | 400.00 | 3600.00 | 428.00 | 3852.00 | 3555.00 | S VINAYAGAMURTHY
61.00 | S & F for glazing bead of size 35x30mm for uPVC casement windows in ventilator with friction hinge & outward opening complete as directed by Engineer-in-charge. | 9.00 | RM | 166.75 | 200.00 | 1800.00 | 520.00 | 4680.00 | 200.00 | 1800.00 | 150.00 | 1350.00 | 180.00 | 1620.00 | 1350.00 | SS ENTERPRISE
62.00 | S & F for reinforcement frame of size 28x21.5mm for uPVC casement windows in ventilator with friction hinge & outward opening complete as directed by Engineer-in-charge. | 9.00 | RM | 86.02 | 100.00 | 900.00 | 430.00 | 3870.00 | 86.00 | 774.00 | 85.00 | 765.00 | 93.00 | 837.00 | 765.00 | SS ENTERPRISE
63.00 | S & F for reinforcement sash of size 31x20.5mm for uPVC casement windows in ventilator with friction hinge & outward opening complete as directed by Engineer-in-charge. | 9.00 | RM | 104.77 | 150.00 | 1350.00 | 340.00 | 3060.00 | 104.00 | 936.00 | 900.00 | 8100.00 | 113.00 | 1017.00 | 936.00 | S VINAYAGAMURTHY
64.00 | M & L for fixing stainless steel (SS 304 Grade) size 200x19x1.9mm, friction hinges to the side/ top hung uPVC windows of approved quality, with necessary stainless steel screws etc.complete as directed by Engineer-in-charge. | 10.00 | EACH | 261.60 | 300.00 | 3000.00 | 250.00 | 2500.00 | 90.00 | 900.00 | 250.00 | 2500.00 | 283.00 | 2830.00 | 900.00 | S VINAYAGAMURTHY
65.00 | M & L for fixing casement handle made up of zinc alloyed (white powder coated) for uPVC casement windows with necessary screws etc. complete as directed by Engineer-in-charge. | 5.00 | EACH | 186.27 | 200.00 | 1000.00 | 250.00 | 1250.00 | 300.00 | 1500.00 | 150.00 | 750.00 | 201.00 | 1005.00 | 750.00 | SS ENTERPRISE
66.00 | S&F of Sheet glass ordinary quality and glazing with EPDM Gasket in ventilator n.exc 0.5 sq. m in each pane, 5.0 mm thick | 2.00 | SQM | 926.90 | 900.00 | 1800.00 | 1150.00 | 2300.00 | 570.00 | 1140.00 | 900.00 | 1800.00 | 1001.00 | 2002.00 | 1140.00 | S VINAYAGAMURTHY
67.00 | M & L for 600mmx450mm bevelled edge mirror of selected quality glass, mounted on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass screws and cup washers | 2.00 | EACH | 554.60 | 700.00 | 1400.00 | 1600.00 | 3200.00 | 600.00 | 1200.00 | 600.00 | 1200.00 | 599.00 | 1198.00 | 1198.00 | ATTHAR BAI TIMBERS
68.00 | M & L for Sheet glass shelf assembly consisting of 5.5mm thick sheet glass shelf 12cm wide with chromium plated bracket guard and railing 60cm long | 2.00 | EACH | 346.63 | 450.00 | 900.00 | 880.00 | 1760.00 | 500.00 | 1000.00 | 300.00 | 600.00 | 374.00 | 748.00 | 600.00 | SS ENTERPRISE
69.00 | Filling the gap in between uPVC frame & adjacent RCC/ Brick/ Stone work upto 5mm depth and 5mm width by providing weather silicon sealant over backer rod of approved quality as per the direction of Engineer-in-charge complete. | 10.00 | RM | 79.45 | 90.00 | 900.00 | 250.00 | 2500.00 | 50.00 | 500.00 | 50.00 | 500.00 | 86.00 | 860.00 | 500.00 | S VINAYAGAMURTHY, SS ENTERPRISE
70.00 | Filling the gap in between aluminium/ stone/ wood frame and adjacent RCC/Brick/ Stone/ wood / Ceramic/ Gypsum work by providing weather/structural non sag elastomeric PU sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete, complying to ASTM C920, DIN 18540- F & ISO 11600, Upto 10 mm depth and 10 mm width | 200.00 | RM | 177.00 | 180.00 | 36000.00 | 97.00 | 19400.00 | 30.00 | 6000.00 | 150.00 | 30000.00 | 191.00 | 38200.00 | 6000.00 | S VINAYAGAMURTHY
71.00 | Supply only bituminus flash band 100 mm wide and 10m length (Make:- Bostic/Sika/Fosroc) | 20.00 | EACH | 1345.00 | 1400.00 | 28000.00 | 430.00 | 8600.00 | 400.00 | 8000.00 | 1300.00 | 26000.00 | 1453.00 | 29060.00 | 8000.00 | S VINAYAGAMURTHY
72.00 | M/L for Factory Made Solid PVC Moulded Door Shutter, 28 to 30mm thick (stiles), with 2, 4, or 6 raised panel design with but 2mm thick Moulded Prelam PVC Sheet on the front face & 2mm prelam PVC Sheet on back face supplying & fixing in frame at site as per specification & drawing.With Particle With Wood Board Core | 8.00 | SQM | 6631.00 | 6800.00 | 54400.00 | 3040.00 | 24320.00 | 3000.00 | 24000.00 | 6500.00 | 52000.00 | 7161.00 | 57288.00 | 24000.00 | S VINAYAGAMURTHY
73.00 | S/F of Solid PVC Double door frame of size 50mm x 95mm made out of 5mm Plain colour PVC sheet reinforced with M.S. tube, suppling & fixing in opening as per specification & drawing. | 12.00 | RM | 988.50 | 1000.00 | 12000.00 | 250.00 | 3000.00 | 200.00 | 2400.00 | 1000.00 | 12000.00 | 1068.00 | 12816.00 | 2400.00 | S VINAYAGAMURTHY
74.00 | S/F Alluminium alloy, anodised, sliding door bolts-300mm long, with hasp, staple (bolt type) and fixing bolts and sliding bolts of extruded sections. | 4.00 | EACH | 428.20 | 500.00 | 2000.00 | 430.00 | 1720.00 | 100.00 | 400.00 | 400.00 | 1600.00 | 462.00 | 1848.00 | 400.00 | S VINAYAGAMURTHY
75.00 | S/F Aluminium, anodised, barrel type tower bolt of extruded section -200mm long, | 8.00 | EACH | 88.20 | 100.00 | 800.00 | 340.00 | 2720.00 | 120.00 | 960.00 | 80.00 | 640.00 | 95.00 | 760.00 | 640.00 | SS ENTERPRISE
76.00 | S/F Extruded aluminium alloy handles, fabricated type, anodised -150mm long. | 8.00 | EACH | 88.20 | 100.00 | 800.00 | 160.00 | 1280.00 | 110.00 | 880.00 | 80.00 | 640.00 | 95.00 | 760.00 | 640.00 | SS ENTERPRISE
77.00 | S/F but hinges-125mm size, heavy weight cold rolled mild steel. | 12.00 | EACH | 101.60 | 100.00 | 1200.00 | 160.00 | 1920.00 | 95.00 | 1140.00 | 100.00 | 1200.00 | 110.00 | 1320.00 | 1140.00 | S VINAYAGAMURTHY
78.00 | M&L for one light point Controlled by one switch and wiring with 1.5 sq.mm size PVC sheathed, stranded Copper Conductor Cables FRLS in PVC Conduit Complete all as Specified and as directed by the Engineer-in-Charge | 5.00 | POINT | 992.75 | 1100.00 | 5500.00 | 700.00 | 3500.00 | 1900.00 | 9500.00 | 1000.00 | 5000.00 | 1072.00 | 5360.00 | 3500.00 | B MURUGESAN
79.00 | M&L 5A Socket with switches and wiring with 2R×2.5 sq.mm and 1R×1.5sq.mm size PVC sheathed, stranded Copper Conductor Cables FRLS in PVC Conduit Complete all as Specified and as directed by the Engineer-in-Charge | 5.00 | RMTR | 284.10 | 1000.00 | 5000.00 | 1150.00 | 5750.00 | 580.00 | 2900.00 | 270.00 | 1350.00 | 312.00 | 1560.00 | 1350.00 | SS ENTERPRISE
80.00 | Supply &fixing of 10Amps one way modular switch as directed by the Engineer-in-Charge. | 10.00 | EACH | 260.50 | 300.00 | 3000.00 | 124.00 | 1240.00 | 37.00 | 370.00 | 250.00 | 2500.00 | 281.00 | 2810.00 | 370.00 | S VINAYAGAMURTHY
81.00 | Supply &fixing of 6Amps Socket & modular switch as directed by the Engineer-in-Charge. | 5.00 | EACH | 340.54 | 400.00 | 2000.00 | 610.00 | 3050.00 | 140.00 | 700.00 | 320.00 | 1600.00 | 368.00 | 1840.00 | 700.00 | S VINAYAGAMURTHY
82.00 | S&F Modular Box 6 module made out 1.2 mm GI Sheet as directed by the Engineer-in-charge | 2.00 | EACH | 284.10 | 400.00 | 800.00 | 403.00 | 806.00 | 110.00 | 220.00 | 270.00 | 540.00 | 307.00 | 614.00 | 220.00 | S VINAYAGAMURTHY
83.00 | S&F Modular Box 3 module made out 1.2 mm GI Sheet as directed by the Engineer-in-charge | 4.00 | EACH | 179.80 | 200.00 | 800.00 | 304.00 | 1216.00 | 70.00 | 280.00 | 180.00 | 720.00 | 194.00 | 776.00 | 280.00 | S VINAYAGAMURTHY
84.00 | S&F Modular White Cover Plate With Frame, 3 module. as directed by the Engineer-in-charge | 4.00 | EACH | 217.70 | 250.00 | 1000.00 | 304.00 | 1216.00 | 85.00 | 340.00 | 200.00 | 800.00 | 211.00 | 844.00 | 340.00 | S VINAYAGAMURTHY
85.00 | S&F Modular White Cover Plate With Frame, 6 module. as directed by the Engineer-in-charge | 2.00 | EACH | 309.60 | 350.00 | 700.00 | 403.00 | 806.00 | 150.00 | 300.00 | 300.00 | 600.00 | 334.00 | 668.00 | 300.00 | S VINAYAGAMURTHY
86.00 | S&F of LED Tube Light 18Watt,(T8) Single Fitting with suitable fixtures& Accessories As directed by the Engineer-in-charge | 5.00 | EACH | 1330.39 | 1400.00 | 7000.00 | 340.00 | 1700.00 | 220.00 | 1100.00 | 1300.00 | 6500.00 | 1437.00 | 7185.00 | 1100.00 | S VINAYAGAMURTHY
87.00 | M&L for one Exhaust Fan point Controlled by one switch and wiring with 2.5 sq.mm size PVC sheathed, stranded Copper Conductor Cables FRLS in PVC Conduit Complete all as Specified and as directed by the Engineer-in-Charge | 3.00 | POINT | 1131.39 | 1200.00 | 3600.00 | 1150.00 | 3450.00 | 800.00 | 2400.00 | 1100.00 | 3300.00 | 1222.00 | 3666.00 | 2400.00 | S VINAYAGAMURTHY
88.00 | S&F of 12” Exhaust Fan & Accessories As directed by the Engineer-in-charge | 3.00 | EACH | 3548.59 | 4000.00 | 12000.00 | 3004.00 | 9012.00 | 1850.00 | 5550.00 | 3000.00 | 9000.00 | 3832.00 | 11496.00 | 5550.00 | S VINAYAGAMURTHY
89.00 | S&F of TPN 8 Way Single door 415 volts powder coated DB fixed on wall /concealed on wall with suitable rated Bus bar Pre wired with suitable copper conductor. As directed by the Engineer-in-charge | 1.00 | EACH | 2037.40 | 2200.00 | 2200.00 | 3670.00 | 3670.00 | 750.00 | 750.00 | 2000.00 | 2000.00 | 2200.00 | 2200.00 | 750.00 | S VINAYAGAMURTHY
90.00 | S&F of 10Amps, Single pole, MCB with Accessories. | 4.00 | EACH | 360.14 | 400.00 | 1600.00 | 205.00 | 820.00 | 140.00 | 560.00 | 350.00 | 1400.00 | 389.00 | 1556.00 | 560.00 | S VINAYAGAMURTHY
91.00 | S&F of 25Amps, Single pole, MCB with Accessories. | 2.00 | EACH | 360.14 | 400.00 | 800.00 | 205.00 | 410.00 | 140.00 | 280.00 | 350.00 | 700.00 | 389.00 | 778.00 | 280.00 | S VINAYAGAMURTHY
92.00 | S&F of 40Amps, Four pole, (TPN) MCB with Accessories. | 2.00 | EACH | 1200.00 | 1300.00 | 2600.00 | 2500.00 | 5000.00 | 1550.00 | 3100.00 | 1200.00 | 2400.00 | 1296.00 | 2592.00 | 2400.00 | SS ENTERPRISE
93.00 | Supply and fixing post top lantern LED type 20 watt 230 volts AC ,outdoor type with decorative post top for 360 degree indirect light IP 65 protection with impact and corrosion resistant complete with driver and lamp complete. | 2.00 | EACH | 5114.04 | 6000.00 | 12000.00 | 9700.00 | 19400.00 | 750.00 | 1500.00 | 5200.00 | 10400.00 | 5523.00 | 11046.00 | 1500.00 | S VINAYAGAMURTHY
94.00 | S&F of LED Focus Light 200Watt, Fitting with suitable fixtures& Accessories As directed by the Engineer-in-charge | 3.00 | EACH | 10486.31 | 12000.00 | 36000.00 | 8800.00 | 26400.00 | 2450.00 | 7350.00 | 10500.00 | 31500.00 | 11325.00 | 33975.00 | 7350.00 | S VINAYAGAMURTHY
95.00 | XLPE insulated, armoured heavy duty electric cable with aluminium conductor 1100Volts grade, cross-sectional area16 sq.mm. 4Core, As directed by the Engineer-in-charge | 16.00 | RM | 193.50 | 200.00 | 3200.00 | 403.00 | 6448.00 | 200.00 | 3200.00 | 200.00 | 3200.00 | 209.00 | 3344.00 | 3200.00 | S VINAYAGAMURTHY, SS ENTERPRISE, TMS CONSTRUCTIONS
96.00 | XLPE insulated, armoured heavy duty electric cable with aluminium conductor 1100Volts grade, cross-sectional area 10 sq.mm. 2Core, As directed by the Engineer-in-charge | 35.00 | RM | 143.61 | 200.00 | 7000.00 | 277.00 | 9695.00 | 150.00 | 5250.00 | 140.00 | 4900.00 | 155.00 | 5425.00 | 4900.00 | SS ENTERPRISE
97.00 | XLPE insulated, armoured heavy duty electric cable with aluminium conductor 1100Volts grade, cross-sectional area 16 sq.mm. 2Core, As directed by the Engineer-in-charge | 10.00 | RM | 158.67 | 200.00 | 2000.00 | 277.00 | 2770.00 | 180.00 | 1800.00 | 180.00 | 1800.00 | 173.00 | 1730.00 | 1730.00 | ATTHAR BAI TIMBERS
98.00 | M/L for earth continuty conductor or main earthing lead fixed to wall on batten or recess or chases or buried in ground or drawn in conduit/pipe or fixed to poles or any other indicated situation for loop eatrthing etc as required 4mm dia galvanised iron or steel wire, As directed by the Engineer-in-charge | 70.00 | RM | 60.20 | 75.00 | 5250.00 | 115.00 | 8050.00 | 390.00 | 27300.00 | 60.00 | 4200.00 | 97.00 | 6790.00 | 4200.00 | SS ENTERPRISE
| Total in Figures |  |  |  |  | 5352829.00 |  | 5289020.60 |  | 4491178.55 |  | 4670862.00 |  | 5301532.45
Lowest Amount Quoted BY: S VINAYAGAMURTHY(4491178.55)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of existing boundary wall to facilitate the vehicles entry and cover the surrounding area with providing paver block at EFA URC building at HVF Estate Tender ID: 2023_AVNL_152745_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S VINAYAGAMURTHY | 4491178.55 | L1
| 2 | SS ENTERPRISE | 4670862.00 | L2
| 3 | B MURUGESAN | 5289020.60 | L3
| 4 | ATTHAR BAI TIMBERS | 5301532.45 | L4
| 5 | TMS CONSTRUCTIONS | 5352829.00 | L5