## BoQ1
Government eProcurement System Created By: Venkatesan R Created Date/Time: 29-Dec-2023 12:06 PM Tender Title: Construction of new storage godown for keeping Engines and Steal boxes adjacent to store receipt office at EFA. Tender ID: 2023_AVNL_154571_1
Tender Inviting Authority: The Chief General Manager, Engine Factory Avadi (A Unit of AVNL)
Name of Work: Construction of new Storage Godown for keeping Engines and steel packing boxes adjacent to Store Receipt office at EFA.
Contract No: EFA/EO(C )/1278/E/TE/04/2023-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Siva Enterprises(GSTN-NA) |  | TMS CONSTRUCTIONS(GSTN-NA) |  | P S G CONSTRUCTIONS(GSTN-NA) |  | HARI ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Labour including tools, tackles, equipments for site clearance such as cutting of bushes removing of plants including uprooting of roots of plants and levelling the ground and clearing the site for working as specified and directed. | 1000.00 | SQ.M | 17.90 | 20.00 | 20000.00 | 15.00 | 15000.00 | 25.00 | 25000.00 | 20.00 | 20000.00 | 15000.00 | TMS CONSTRUCTIONS
2.00 | Grubbing up of tree trunk including portion protruding over ground digging out roots, exc. 200cm and not exc. 250cm filling holes, staking of serviceable material and removing of unserviceable material to a distance of 50 M and clearing site as directed by E-in-charge. | 8.00 | EACH | 3814.40 | 4100.00 | 32800.00 | 3000.00 | 24000.00 | 4115.00 | 32920.00 | 3800.00 | 30400.00 | 24000.00 | TMS CONSTRUCTIONS
3.00 | Surface dressing n.exc 15 cm deep in hard dense soil including uprooting all vegetation grass etc and leveling the earth as directed by the E-In-Charge complete. | 1230.00 | SQ.M | 33.50 | 35.00 | 43050.00 | 25.00 | 30750.00 | 39.00 | 47970.00 | 25.00 | 30750.00 | 30750.00 | HARI ENTERPRISES, TMS CONSTRUCTIONS
4.00 | Excavating in trenches, not exc 1.5m wide and not exc 1.5m in depth; for foundation etc. not exc 10 sq. m on plan and not exc 1.5m in depth and getting out in hard/dense soil, complete all as specified. | 358.00 | CU.M | 675.00 | 660.00 | 236280.00 | 490.00 | 175420.00 | 595.00 | 213010.00 | 500.00 | 179000.00 | 175420.00 | TMS CONSTRUCTIONS
5.00 | Excavating in trenches, not exc 1.5m wide and exc 1.5m in depth; for foundation etc. not exc 10 sq. m on plan and not exc 3.0m in depth and getting out in hard/dense soil, complete all as specified. (675+158.7=833.7) | 59.00 | CU.M | 833.70 | 820.00 | 48380.00 | 600.00 | 35400.00 | 775.00 | 45725.00 | 580.00 | 34220.00 | 34220.00 | HARI ENTERPRISES
6.00 | Returning, filling in, including spreading, levelling, watering and well ramming in layers not exc 25 cm in hard/dense soil, complete all as specified. | 325.00 | CU.M | 139.10 | 115.00 | 37375.00 | 100.00 | 32500.00 | 99.00 | 32175.00 | 70.00 | 22750.00 | 22750.00 | HARI ENTERPRISES
7.00 | M & L for sand filling under floors or in foundations including watering and consolidation, complete all as specified. | 142.00 | CU.M | 1974.30 | 2400.00 | 340800.00 | 2000.00 | 284000.00 | 2295.00 | 325890.00 | 1550.00 | 220100.00 | 220100.00 | HARI ENTERPRISES
8.00 | M & L for PCC 1:4:8 Type D2 40mm graded aggregate as in foundations, filling and mass concrete complete all as specified and as directed by the Engineer-in-Charge. | 142.00 | CU.M | 5483.10 | 5400.00 | 766800.00 | 5300.00 | 752600.00 | 5200.00 | 738400.00 | 5350.00 | 759700.00 | 738400.00 | P S G CONSTRUCTIONS
9.00 | M& L for Reinforced Ready Mixed Cement Concrete (DESIGN MIX) M30 grade in foundation, including raft footings, foundation beams, plinth beams, bases for column etc., basement slabs, underreamed piles and mass concrete at floors etc.; complete all as specified and as directed by the Engineer-in-Charge. | 220.00 | CU.M | 7977.02 | 8100.00 | 1782000.00 | 7800.00 | 1716000.00 | 7850.00 | 1727000.00 | 7600.00 | 1672000.00 | 1672000.00 | HARI ENTERPRISES
10.00 | M & L for Precast Cement concrete block masonry with solid block of type B1 1:2:4 (20mm graded aggregate) in 1:6 cement mortar, exc. 10 cm in width; complete all as specified and as directed by the Engineer-in-Charge | 91.00 | CU.M | 9079.00 | 9250.00 | 841750.00 | 9000.00 | 819000.00 | 8950.00 | 814450.00 | 8900.00 | 809900.00 | 809900.00 | HARI ENTERPRISES
11.00 | M & L for Rendering 20 mm thick in cement plaster 1:4 on fair faces of brick internal / external surfaces; and surface to be finished even and smooth without using extra cement; Complete all as specified and as directed by the Engineer-in-Charge. (204.8+58.32+58.32+41.12=362.56) | 835.00 | SQ.M | 362.56 | 420.00 | 350700.00 | 300.00 | 250500.00 | 390.00 | 325650.00 | 390.00 | 325650.00 | 250500.00 | TMS CONSTRUCTIONS
12.00 | Material and Labour for Finishing walls with Acrylic Smooth exterior paint of required shade, (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) including complete removal of existing treatment as directed by Engineer-in-Charge. | 835.00 | SQ.M | 165.00 | 155.00 | 129425.00 | 160.00 | 133600.00 | 166.00 | 138610.00 | 115.00 | 96025.00 | 96025.00 | HARI ENTERPRISES
13.00 | M & L for form work using steel plates for concrete foundations, footings, bases of columns, raft and raft beams, sides and soffits (if any) of foundation and plinth beams; and similar work; vertical or to batter,complete all as specified. | 320.00 | SQ.M | 316.72 | 460.00 | 147200.00 | 300.00 | 96000.00 | 450.00 | 144000.00 | 390.00 | 124800.00 | 96000.00 | TMS CONSTRUCTIONS
14.00 | M & L for mild steel TMT bars of 10mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia.as directed by E-in-charge. | 6458.00 | KG | 82.60 | 110.00 | 710380.00 | 80.00 | 516640.00 | 101.00 | 652258.00 | 95.00 | 613510.00 | 516640.00 | TMS CONSTRUCTIONS
15.00 | M & L for mild steel TMT bars of 6mm to 8mm dia, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia. as directed by E-in-charge. | 2919.36 | KG | 84.55 | 120.00 | 350323.20 | 80.00 | 233548.80 | 107.00 | 312371.52 | 100.00 | 291936.00 | 233548.80 | TMS CONSTRUCTIONS
16.00 | Providing and laying S&S Ductile Iron Pipes conforming to IS : 8329 : 150mm K-7 Pipe. | 95.00 | RM | 1121.10 | 1600.00 | 152000.00 | 1100.00 | 104500.00 | 1615.00 | 153425.00 | 1450.00 | 137750.00 | 104500.00 | TMS CONSTRUCTIONS
17.00 | Providing and laying D.I. specials of class K-12 suitable for push-on jointing as per IS : 9523 : Upto 600mm dia. | 1.50 | QTL | 17155.90 | 24500.00 | 36750.00 | 16000.00 | 24000.00 | 20050.00 | 30075.00 | 23500.00 | 35250.00 | 24000.00 | TMS CONSTRUCTIONS
18.00 | M&L for Fabrication roof trusses (framed), trussed, purlins, crane gantries, rails and fastening and heavy bracket framing (beam, tee, angle, channel or flat sections ) including distances pieces, cleats, drilling the member for site connections etc. of Fe-410-W (Gde-E-250)quality B grade; Complete all as specified and as directed by the Engineer-in-Charge. | 30165.00 | KG | 124.38 | 175.00 | 5278875.00 | 130.00 | 3921450.00 | 175.00 | 5278875.00 | 156.00 | 4705740.00 | 3921450.00 | TMS CONSTRUCTIONS
19.00 | S & F 16-20mm dia of shank mild steel screw bolts (machine made) with hexagonal or square heads at one end and screwed the other, or screwed both ends, each screwed end to be fitted with washers and one hexagonal or square nut, exc 22.5cm but n exc 30cm long as directed by the E-in-Charge complete. | 720.00 | KG | 89.20 | 130.00 | 93600.00 | 85.00 | 61200.00 | 130.00 | 93600.00 | 130.00 | 93600.00 | 61200.00 | TMS CONSTRUCTIONS
20.00 | S & F 16-20mm dia of shank mild steel screw bolts (machine made) with hexagonal or square heads at one end and screwed the other, or screwed both ends, each screwed end to be fitted with washers and one hexagonal or square nut, exc 5cm but n exc 10cm long as directed by the E-in-Charge complete. | 246.00 | KG | 101.67 | 140.00 | 34440.00 | 100.00 | 24600.00 | 137.00 | 33702.00 | 155.00 | 38130.00 | 24600.00 | TMS CONSTRUCTIONS
21.00 | Supply & Fixing of Galvanised Class 3 Plain or corrugated steel sheets 2mm and 3mm thickness in Valley and Eues gutter including fabrication (with riveted, bolted or welded attachment); complete all as specified and as directed by the Engineer-in-Charge. (77.64+42.32+23.88=143.84) | 3265.00 | KG | 143.84 | 200.00 | 653000.00 | 145.00 | 473425.00 | 211.00 | 688915.00 | 185.00 | 604025.00 | 473425.00 | TMS CONSTRUCTIONS
22.00 | Supply & Fixing of roofing, walling & Cladding of High Tensile 550 MPa yield strength colour coated galvalume steel sheet 0.5mm (TCT) thickness as in roof covering in length as per site requirement fixed with self drilling/self tapping anti corrosive screws with EPDM seal complete all as per manufacturers specifications and instructions and as approved and directed by considering the dimensions and height including all the necessary scaffolding and following safety aspects; Complete all as specified and as directed by the Engineer-in-Charge. | 1286.00 | SQ.M | 767.01 | 900.00 | 1157400.00 | 720.00 | 925920.00 | 900.00 | 1157400.00 | 777.00 | 999222.00 | 925920.00 | TMS CONSTRUCTIONS
23.00 | Supply & Fixing of PVC(SWR) pipe of 110 mm dia to walls or in trenches inlcuding all necessary fittings;Complete all as specified and as directed by the Engineer-in-Charge. | 205.00 | RM | 195.00 | 200.00 | 41000.00 | 200.00 | 41000.00 | 190.00 | 38950.00 | 222.00 | 45510.00 | 38950.00 | P S G CONSTRUCTIONS
24.00 | Supply and fixing of PVC (SWR) bends of dia 110mm with any radius; Complete all as specified and as directed by the Engineer-in-Charge. | 50.00 | EACH | 125.00 | 150.00 | 7500.00 | 130.00 | 6500.00 | 122.00 | 6100.00 | 150.00 | 7500.00 | 6100.00 | P S G CONSTRUCTIONS
25.00 | M & L for Finishing steel surface with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer’s specifications including appropriate priming coat, preparation of surface, etc. complete. | 1115.00 | SQ.M | 201.70 | 200.00 | 223000.00 | 180.00 | 200700.00 | 166.00 | 185090.00 | 188.00 | 209620.00 | 185090.00 | P S G CONSTRUCTIONS
26.00 | M & L for Finishing cement concrete surface even and smooth using extra cement with the help of power trowel. | 820.00 | SQ.M | 41.50 | 40.00 | 32800.00 | 40.00 | 32800.00 | 38.00 | 31160.00 | 40.00 | 32800.00 | 31160.00 | P S G CONSTRUCTIONS
27.00 | Providing and applying of 5mm ultra thin high strength cementitious trowelable topping over priming coat of cement slurry admixed with SBR Laxtex (@ 10-15% by wt of cement) including surface preparation by grinding the base floor with metal graded pads to make base surface uniformily rough, remove loose material upto 1 to 2 mm. Compressive strength of topping should not less than 70MPa. (Make: Ultra thin high strength cementitious topping and primer shall be of ROCLAND/ BASF/ CIPY/ JEMKON). Complete all as specified and as directed by the Engineer-in-Charge. | 820.00 | SQ.M | 1829.00 | 1800.00 | 1476000.00 | 1680.00 | 1377600.00 | 1850.00 | 1517000.00 | 2100.00 | 1722000.00 | 1377600.00 | TMS CONSTRUCTIONS
28.00 | M & L for Dry laying of Bricks, sub class B,laid flat, in floors, old size bricks | 160.00 | SQ.M | 339.50 | 355.00 | 56800.00 | 340.00 | 54400.00 | 295.00 | 47200.00 | 500.00 | 80000.00 | 47200.00 | P S G CONSTRUCTIONS
29.00 | M & L for dismantling of cast iron or ductile iron pipes of 150mm dia including fittings, jointed in cement mortar or lead and taking out of trenches, Pipe to be deposited to Civil Godown, (Earth work shall be paid seperately); complete all specified. | 82.00 | RM | 133.10 | 100.00 | 8200.00 | 100.00 | 8200.00 | 99.00 | 8118.00 | 145.00 | 11890.00 | 8118.00 | P S G CONSTRUCTIONS
30.00 | M & L for Forming Contraction (Dummy) joints 65mm deep x 10mm wide, filled with sealing compound of Grade "B" Quality; complete all specified. | 38.40 | 10RM | 608.70 | 880.00 | 33792.00 | 600.00 | 23040.00 | 1350.00 | 51840.00 | 900.00 | 34560.00 | 23040.00 | TMS CONSTRUCTIONS
31.00 | Removing of rubbish / excavated materials away from site as directed by Engg. in charge (i.e. exc. 500 mtr. but n.exc 1KM). | 92.00 | CU.M | 344.40 | 425.00 | 39100.00 | 300.00 | 27600.00 | 399.00 | 36708.00 | 400.00 | 36800.00 | 27600.00 | TMS CONSTRUCTIONS
32.00 | Supply & fixing for Single door, 415V, Triple pole and neutral, 4 way with 200 amps rated bus bar Sheet Metal enclosures for DBs when MCBs to be used | 1.00 | EACH | 1350.25 | 1400.00 | 1400.00 | 1400.00 | 1400.00 | 1405.00 | 1405.00 | 1750.00 | 1750.00 | 1400.00 | Siva Enterprises, TMS CONSTRUCTIONS
33.00 | S & F for Modular Switch, 1 Way, 6A, 1 Module | 60.00 | EACH | 260.50 | 300.00 | 18000.00 | 280.00 | 16800.00 | 269.00 | 16140.00 | 200.00 | 12000.00 | 12000.00 | HARI ENTERPRISES
34.00 | Supply and fixing LED street light fitting 100Watt 230 V AC outdoor type with high pressure die cast aluminum hosing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete. | 49.00 | EACH | 8676.67 | 6900.00 | 338100.00 | 9000.00 | 441000.00 | 7850.00 | 384650.00 | 7750.00 | 379750.00 | 338100.00 | Siva Enterprises
35.00 | S & F for Socket 6A/16A - 2/3 pin combined 2 module | 10.00 | EACH | 528.40 | 500.00 | 5000.00 | 550.00 | 5500.00 | 485.00 | 4850.00 | 550.00 | 5500.00 | 4850.00 | P S G CONSTRUCTIONS
36.00 | S & F for Modular White cover plate with frame, 6 Module | 13.00 | EACH | 309.60 | 300.00 | 3900.00 | 350.00 | 4550.00 | 285.00 | 3705.00 | 300.00 | 3900.00 | 3705.00 | P S G CONSTRUCTIONS
37.00 | S & F XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, 3 ½ Core and cross-sectional area 35sq mm; as directed by the E-In-Charge complete. | 50.00 | RM | 269.75 | 275.00 | 13750.00 | 280.00 | 14000.00 | 244.00 | 12200.00 | 280.00 | 14000.00 | 12200.00 | P S G CONSTRUCTIONS
38.00 | S & F for Modular Metal flush box, 6 module | 13.00 | EACH | 284.10 | 290.00 | 3770.00 | 290.00 | 3770.00 | 260.00 | 3380.00 | 290.00 | 3770.00 | 3380.00 | P S G CONSTRUCTIONS
39.00 | M & L for one light point or one fan point controlled by one switch and wiring with 1.5 sq. mm size copper conductor cables FRLS, in PVC conduit complete all as specified and as directed by the Engineer-in-Charge | 49.00 | POINT | 992.75 | 1200.00 | 58800.00 | 1000.00 | 49000.00 | 950.00 | 46550.00 | 1250.00 | 61250.00 | 46550.00 | P S G CONSTRUCTIONS
40.00 | M & L for sub main wiring with 2 single core 2.5 Sq.mm. copper stranded un-sheathed with 1x1.50 Sq.mm. Coper solid earth continuty including PVC Conduit. | 95.00 | RM | 185.21 | 200.00 | 19000.00 | 190.00 | 18050.00 | 166.00 | 15770.00 | 225.00 | 21375.00 | 15770.00 | P S G CONSTRUCTIONS
41.00 | M&L for One 3 pin socket outlet 5 Amps on the same board with other switches, with PVC Sheathed cables of 2.5 sq. mm. size complete all as specified and as directed by the Engineer-in-Charge. | 10.00 | PER POINT | 169.01 | 195.00 | 1950.00 | 170.00 | 1700.00 | 166.00 | 1660.00 | 200.00 | 2000.00 | 1660.00 | P S G CONSTRUCTIONS
42.00 | M/L for Earth continuity conductor or main earthing lead fixed to wall on batten or recess or chases or buried in ground or drawn in conduit/pipe or fixed to poles or any other indicated situation for loop earthing etc. as required 2mm dia galvanised iron or steel wire 7/ 4mm dia GI wire complete. | 100.00 | RM | 47.80 | 55.00 | 5500.00 | 50.00 | 5000.00 | 55.00 | 5500.00 | 65.00 | 6500.00 | 5000.00 | TMS CONSTRUCTIONS
43.00 | S & F MCCBs 415V, 16KA, 4Pole and 100AMPs | 1.00 | EACH | 4328.70 | 5500.00 | 5500.00 | 4500.00 | 4500.00 | 5050.00 | 5050.00 | 5000.00 | 5000.00 | 4500.00 | TMS CONSTRUCTIONS
44.00 | S/F Isolalor Single pole 40A, 240 V | 12.00 | EACH | 360.14 | 400.00 | 4800.00 | 380.00 | 4560.00 | 377.00 | 4524.00 | 475.00 | 5700.00 | 4524.00 | P S G CONSTRUCTIONS
45.00 | S & F Isolater four pole, 415V, 63AMPs | 1.00 | EACH | 1550.00 | 1500.00 | 1500.00 | 1600.00 | 1600.00 | 1404.00 | 1404.00 | 1650.00 | 1650.00 | 1404.00 | P S G CONSTRUCTIONS
| Total in Figures |  |  |  |  | 15642490.20 |  | 12993323.80 |  | 15440375.52 |  | 14549283.00
Lowest Amount Quoted BY: TMS CONSTRUCTIONS(12993323.80)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of new storage godown for keeping Engines and Steal boxes adjacent to store receipt office at EFA. Tender ID: 2023_AVNL_154571_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | TMS CONSTRUCTIONS | 12993323.80 | L1
| 2 | HARI ENTERPRISES | 14549283.00 | L2
| 3 | P S G CONSTRUCTIONS | 15440375.52 | L3
| 4 | Siva Enterprises | 15642490.20 | L4