## BoQ1
Government eProcurement System Created By: YOGESH BHALERAO Created Date/Time: 29-Nov-2023 04:12 PM Tender Title: REPAIRS TO SEMINAR HALL BLDG. NO. 112 FOR ACCOMMODATING FACILITY OF DINING AND KITCHEN OF MPF AT ORD. ESTATE AMBERNATH. Tender ID: 2023_AVNL_159736_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGR MTPF (AVNL) AMBERNATH
Name of Work:REPAIRS TO SEMINAR HALL (BLDG. NO. 112) FOR ACCOMMODATING FACILITY OF DINING AND KITCHEN OF MPF AT ORD. ESTATE AMBERNATH.
Contract No: 0503/16/2022-23/EO/MPF
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | HITECH BUILDCON(GSTN-27BMOPK1627A1ZA) |  | HINDUSTAN CONSTRUCTION CO(GSTN-NA) |  | GOLDEN CONSTRUCTION(GSTN-NA) |  | SUNBUD MULTIVENTURES PVT. LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | REPAIRS TO SEMINAR HALL (BLDG. NO. 112) FOR ACCOMMODATING FACILITY OF DINING AND KITCHEN OF MPF AT ORD. ESTATE AMBERNATH.
1.10 | Excavating in trenches in Hard Dense Soil, including return filling; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. n exc 10 Sq.m on plan and exc 1.5 m in depth and getting out, including bailing out of ground water, thorough cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. | 132.00 | Cu.m | 542.40 | 767.00 | 101244.00 | 450.00 | 59400.00 | 500.00 | 66000.00 | 600.00 | 79200.00 | 59400.00 | HINDUSTAN CONSTRUCTION CO
2.10 | M & L for Moorum/red bajri filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, levelled and rammed including watering, thorough cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. | 154.00 | Cu.m | 1240.10 | 1180.00 | 181720.00 | 630.00 | 97020.00 | 600.00 | 92400.00 | 625.00 | 96250.00 | 92400.00 | GOLDEN CONSTRUCTION
3.10 | M & L for Hardcore of guage exc 63mm but n exc. 100 mm, deposited, spread and levelled in layers n exc. 15 cm thick, watered and rolled/rammed to a true surface, thorough cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. | 52.00 | Cu.m | 2614.90 | 3776.00 | 196352.00 | 1530.00 | 79560.00 | 2000.00 | 104000.00 | 1500.00 | 78000.00 | 78000.00 | SUNBUD MULTIVENTURES PVT. LTD
4.10 | M & L for Plain Cement Concrete Design Mix concrete M-20 Grade (20 mm graded aggregate) including thorough compaction with needle vibrator, curing, cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Notes: 1. The Contractor shall use Ready Mix Concrete as approved by the EIC & shall submit its composition certificate from respective RMC unit for each RMC vehicle coming to site. 2. Contractor shall carry out cube test of concrete as desired by EIC & shall submit test certificate from Govt. approved lab at his own cost. | 38.00 | Cu.m | 5798.10 | 9440.00 | 358720.00 | 5850.00 | 222300.00 | 8000.00 | 304000.00 | 6000.00 | 228000.00 | 222300.00 | HINDUSTAN CONSTRUCTION CO
5.10 | M & L for Damp proof course to horizontal or vertical surfaces in Cement Concrete 1:2:4, type B-0 including necessary formwork, Applying evenly a coat of blown type bitumen at the rate of 1.50 kg per square metre and blinding with clean dry sand @ 0.05 cu. M. per sq. m including thorough curing & cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. | 15.00 | Sq.m | 405.81 | 2596.00 | 38940.00 | 396.00 | 5940.00 | 300.00 | 4500.00 | 600.00 | 9000.00 | 4500.00 | GOLDEN CONSTRUCTION
6.10 | M & L Reinforced Cement Concrete in design mix of M-30 grade (Ready Mix Concrete) in 20mm graded aggregates in Foundations, including rafts, footings, foundation beams; linth beams; bases for columns, etc.; basement slabs, under-reamed piles and mass concrete including thorough compaction with needle vibrator, curing, cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Notes: 1. The Contractor shall use Ready Mix Concrete as approved by the EIC & shall submit its composition certificate from respective RMC unit for each RMC vehicle coming to site. 2. Contractor shall carry out cube test of concrete as desired by EIC & shall submit test certificate from Govt. approved lab at his own cost. The Contractor shall also carry out any other field test as desired by the TE / EIC / SIC / Fy. Supervisor at his own cost & manpower. | 80.00 | Cu.m | 7721.87 | 11328.00 | 906240.00 | 6003.00 | 480240.00 | 10000.00 | 800000.00 | 6900.00 | 552000.00 | 480240.00 | HINDUSTAN CONSTRUCTION CO
7.10 | M&L Reinforced Cement Concrete in design mix of M-30 grade (Ready Mix Concrete) in 20mm graded aggregates in Columns including thorough compaction with needle vibrator, curing, cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Notes: 1. The Contractor shall use Ready Mix Concrete as approved by the EIC & shall submit its composition certificate from respective RMC unit for each RMC vehicle coming to site. 2. Contractor shall carry out cube test of concrete as desired by EIC & shall submit test certificate from Govt. approved lab at his own cost. The Contractor shall also carry out any other field test as desired by the TE / EIC / SIC / Fy. Supervisor at his own cost & manpower. | 19.00 | Cu.m | 8854.74 | 9600.00 | 182400.00 | 6660.00 | 126540.00 | 10000.00 | 190000.00 | 7300.00 | 138700.00 | 126540.00 | HINDUSTAN CONSTRUCTION CO
8.10 | M&L Reinforced Cement Concrete in design mix of M-30 grade (Ready Mix Concrete) in 20mm graded aggregates in Beams and lintel including thorough compaction with needle vibrator, curing, cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Notes: 1. The Contractor shall use Ready Mix Concrete as approved by the EIC & shall submit its composition certificate from respective RMC unit for each RMC vehicle coming to site. 2. Contractor shall carry out cube test of concrete as desired by EIC & shall submit test certificate from Govt. approved lab at his own cost. The Contractor shall also carry out any other field test as desired by the TE / EIC / SIC / Fy. Supervisor at his own cost & manpower. | 30.00 | Cu.m | 8356.00 | 11328.00 | 339840.00 | 7002.00 | 210060.00 | 10000.00 | 300000.00 | 7100.00 | 213000.00 | 210060.00 | HINDUSTAN CONSTRUCTION CO
9.10 | M&L Reinforced Cement Concrete in design mix of M-30 grade (Ready Mix Concrete) in 20mm graded aggregates in slab including thorough compaction with needle vibrator, curing, cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Notes: 1. The Contractor shall use Ready Mix Concrete as approved by the EIC & shall submit its composition certificate from respective RMC unit for each RMC vehicle coming to site. 2. Contractor shall carry out cube test of concrete as desired by EIC & shall submit test certificate from Govt. approved lab at his own cost. The Contractor shall also carry out any other field test as desired by the TE / EIC / SIC / Fy. Supervisor at his own cost & manpower. | 39.00 | Cu.m | 7592.53 | 11328.00 | 441792.00 | 6750.00 | 263250.00 | 10000.00 | 390000.00 | 7800.00 | 304200.00 | 263250.00 | HINDUSTAN CONSTRUCTION CO
10.10 | M&L Reinforced Cement Concrete in design mix of M-30 grade in 20mm graded aggregates in chajja including thorough compaction with needle vibrator, curing, cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Notes: 1. The Contractor shall use Ready Mix Concrete as approved by the EIC & shall submit its composition certificate from respective RMC unit for each RMC vehicle coming to site. 2. Contractor shall carry out cube test of concrete as desired by EIC & shall submit test certificate from Govt. approved lab at his own cost. The Contractor shall also carry out any other field test as desired by the TE / EIC / SIC / Fy. Supervisor at his own cost & manpower. | 1.00 | Cu.m | 8950.61 | 11328.00 | 11328.00 | 8100.00 | 8100.00 | 10000.00 | 10000.00 | 8000.00 | 8000.00 | 8000.00 | SUNBUD MULTIVENTURES PVT. LTD
11.10 | M& L for Formwork flat and with fair finish surface to sides of concrete foundations, footings, bases of columns, raft and raft beams, sides and soffits (if any) of foundation and plinth beams; and similar work; vertical or to batter including thorough cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Notes: 1. Contractor shall use approved make of ply for shuttering as approved by the EIC. 2. In case of any defect, the contractor shall immediately rectify / replace shuttering to entire satisfaction of TE / EIC / SIC / Fy. Supervisor. | 269.00 | Sq.m | 397.11 | 885.00 | 238065.00 | 270.00 | 72630.00 | 400.00 | 107600.00 | 300.00 | 80700.00 | 72630.00 | HINDUSTAN CONSTRUCTION CO
12.10 | M&L for Formwork for concrete flat and with fair finish surface to sides of pillars, posts, struts, piers, columns and stanchions including thorough cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Notes: 1. Contractor shall use approved make of ply for shuttering as approved by the EIC. 2. In case of any defect, the contractor shall immediately rectify / replace shuttering to entire satisfaction of TE / EIC / SIC / Fy. Supervisor. | 212.00 | Sq.m | 678.47 | 885.00 | 187620.00 | 360.00 | 76320.00 | 500.00 | 106000.00 | 600.00 | 127200.00 | 76320.00 | HINDUSTAN CONSTRUCTION CO
13.10 | M&L for Formwork for concrete flat and with fair finish surface to soffits of floor or roof beams, beam haunchings, girders, bressummers, lintels, cantilevers, shelves including supports, overhangs, etc. also splays between floors and beams, etc.including thorough cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Notes: 1. Contractor shall use approved make of ply for shuttering as approved by the EIC. 2. In case of any defect, the contractor shall immediately rectify / replace shuttering to entire satisfaction of TE / EIC / SIC / Fy. Supervisor. | 240.00 | Sq.m | 543.19 | 885.00 | 212400.00 | 360.00 | 86400.00 | 400.00 | 96000.00 | 600.00 | 144000.00 | 86400.00 | HINDUSTAN CONSTRUCTION CO
14.10 | M&L for Formwork for concrete flat and with fair finish surface to soffits of suspended slabs such as roof slabs, floor slabs, landings and similar work; not exceeding 200mm thick (Horizontal or sloping) including thorough cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Notes: 1. Contractor shall use approved make of ply for shuttering as approved by the EIC. 2. In case of any defect, the contractor shall immediately rectify / replace shuttering to entire satisfaction of TE / EIC / SIC / Fy. Supervisor. | 14.00 | Sq.m | 575.65 | 885.00 | 12390.00 | 396.00 | 5544.00 | 400.00 | 5600.00 | 550.00 | 7700.00 | 5544.00 | HINDUSTAN CONSTRUCTION CO
15.10 | M&L for Formwork for concrete flat and with fair finish surface to staircases with sloping or stepped soffits including risers and stringers (excluding landing) including thorough cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Notes: 1. Contractor shall use approved make of ply for shuttering as approved by the EIC. 2. In case of any defect, the contractor shall immediately rectify / replace shuttering to entire satisfaction of TE / EIC / SIC / Fy. Supervisor. | 2.00 | Sq.m | 596.76 | 885.00 | 1770.00 | 540.00 | 1080.00 | 400.00 | 800.00 | 600.00 | 1200.00 | 800.00 | GOLDEN CONSTRUCTION
16.10 | M&L for TMT bars 10mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or securing with clips etc all complete as directed by the Engg In Charge. Important Notes: 1. Sample of TMT bars for each dia used shall be got approved from EIC before incorporating in work. 2. Contractor shall carry out Test as desired by the EIC from Govt. approved Lab & shall submit test certificate from Govt. approved lab at his own cost. | 20280.00 | Kg | 82.60 | 115.00 | 2332200.00 | 81.00 | 1642680.00 | 70.00 | 1419600.00 | 86.00 | 1744080.00 | 1419600.00 | GOLDEN CONSTRUCTION
17.10 | M&L for Brickwork with subclass ‘B’ bricks, in Cement Mortar 1:4, straight or curved on plan exc 6m mean radius including thorough curing, cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Notes: 1. Sample of Bricks to be used shall be got approved from EIC before incorporating in work. 2. Contractor shall use dust free aggregates as approved by the EIC for Mortar preparation. 3. Contractor shall carry out Test as desired by the EIC from Govt. approved Lab & shall submit test certificate from Govt. approved lab at his own cost. | 60.00 | Cu.m | 5370.50 | 8850.00 | 531000.00 | 5400.00 | 324000.00 | 7000.00 | 420000.00 | 6000.00 | 360000.00 | 324000.00 | HINDUSTAN CONSTRUCTION CO
18.10 | M&L for Ceiling Plastering in CM 1:4 with neeru Finish, Rendering 10mm thick on fair faces of brick work or concrete surfaces including thorough curing, cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Notes: 1. Contractor shall use dust free aggregates as approved by the EIC for Mortar preparation. 2. Contractor shall use any one approved Make of cement as approved by the EIC throughout the work & the cement bag shall not be more than one month old. | 223.00 | Sq.m | 254.80 | 649.00 | 144727.00 | 270.00 | 60210.00 | 300.00 | 66900.00 | 300.00 | 66900.00 | 60210.00 | HINDUSTAN CONSTRUCTION CO
19.10 | M&L for rendering 20 mm thick Wall Plastering in CM 1:4 with neeru Finish on fair faces of brick work or concrete Surfaces including thorough curing, cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Notes: 1. Contractor shall use dust free aggregates as approved by the EIC for Mortar preparation. 2. Contractor shall use any one approved Make of cement as approved by the EIC throughout the work & the cement bag shall not be more than one month old. | 410.00 | Sq.m | 371.44 | 885.00 | 362850.00 | 270.00 | 110700.00 | 600.00 | 246000.00 | 280.00 | 114800.00 | 110700.00 | HINDUSTAN CONSTRUCTION CO
20.10 | M&L for External Wall Plaster in CM 1:4 with sand faced Finish, Rendering 20mm thick on fair faces of brick work or concrete surfaces including thorough curing, cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Notes: 1. Contractor shall use dust free aggregates as approved by the EIC for Mortar preparation. 2. Contractor shall use any one approved Make of cement as approved by the EIC throughout the work & the cement bag shall not be more than one month old. | 212.00 | Sq.m | 496.26 | 944.00 | 200128.00 | 333.00 | 70596.00 | 600.00 | 127200.00 | 400.00 | 84800.00 | 70596.00 | HINDUSTAN CONSTRUCTION CO
21.10 | M & L for Screed bed or bedding layer in CM 1:6 of mortar Avg. 50 mm thick for laying floor finishes etc all complete as directed by the Engg In Charge. Important Notes: 1. Contractor shall use dust free aggregates as approved by the EIC for Mortar preparation. 2. Contractor shall use any one approved Make of cement as approved by the EIC throughout the work & the cement bag shall not be more than one month old. | 223.00 | Sq.m | 566.00 | 1770.00 | 394710.00 | 297.00 | 66231.00 | 300.00 | 66900.00 | 225.00 | 50175.00 | 50175.00 | SUNBUD MULTIVENTURES PVT. LTD
22.10 | M & L for Vitrified Ceramic tiles 8 to 10 mm thick (square/ rectangular) Make: HR Johnson / Kajaria / Somany polished, area of each tiles not exceeding 0.36 Sq.m, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including thorough cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Note: Sample, Design, colour combination of tiles shall be got approved from EIC before incorporating in the work. | 233.00 | Sq.m | 1469.80 | 1416.00 | 329928.00 | 1080.00 | 251640.00 | 1100.00 | 256300.00 | 1100.00 | 256300.00 | 251640.00 | HINDUSTAN CONSTRUCTION CO
23.10 | M&L for Non – skid Ceramic coloured tiles 7 to 8 mm thick (square/ rectangular) Make: HR Johnson / Kajaria / Somany area of each tile exceeding 0.06 Sq.m but not exceeding 0.11 Sq.m, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including thorough cleaning of site & site surrounding at each days work etc all complete as directed by the Engg In Charge. Important Note: Sample, Design, colour combination of tiles shall be got approved from EIC before incorporating in the work. | 32.00 | Sq.m | 1149.80 | 1416.00 | 45312.00 | 990.00 | 31680.00 | 900.00 | 28800.00 | 800.00 | 25600.00 | 25600.00 | SUNBUD MULTIVENTURES PVT. LTD
24.10 | M&L for Glazed ceramic tiles Make: HR Johnson / Kajaria / Somany in vertical surface 350x 250x 7 mm/ 450X 350X 7mm thick (or as per equivalent size available in market & approved by EIC) etc and jointed in neat cement slurry and pointed in white or colour cement to match including thorough cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Note: Sample, Design, colour combination of tiles shall be got approved from EIC before incorporating in the work. | 167.00 | Sq.m | 1338.40 | 1870.00 | 312290.00 | 990.00 | 165330.00 | 900.00 | 150300.00 | 900.00 | 150300.00 | 150300.00 | GOLDEN CONSTRUCTION, SUNBUD MULTIVENTURES PVT. LTD
25.10 | M&L for Granite 18 to 20mm thick (of any type) work (table rubbed and polished) in steps, jambs, pillars, window- cills, cooking platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite including thorough cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. Important Note: Sample, colour of Granite shall be got approved from EIC before incorporating in the work. | 60.00 | Sq.m | 5183.70 | 6490.00 | 389400.00 | 3960.00 | 237600.00 | 4000.00 | 240000.00 | 4000.00 | 240000.00 | 237600.00 | HINDUSTAN CONSTRUCTION CO
26.10 | Providing edge moulding to 18-20mm thick granite stone of counters vanities etc. including machine polishing to edge to give high gloss finish including thorough cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg In Charge. | 250.00 | RM | 376.25 | 531.00 | 132750.00 | 225.00 | 56250.00 | 200.00 | 50000.00 | 200.00 | 50000.00 | 50000.00 | GOLDEN CONSTRUCTION, SUNBUD MULTIVENTURES PVT. LTD
27.10 | M&L Machine cut cudappah stone slab 20-25mm thick over cement screed base, laid and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing, thorough cleaning of site & site surrounding at each days work etc all complete as directed by the Engg In Charge. Important Note: Sample of Cudappah stone shall be got approved from EIC before incorporating in the work. | 27.00 | Sq.m | 849.10 | 1416.00 | 38232.00 | 1260.00 | 34020.00 | 800.00 | 21600.00 | 800.00 | 21600.00 | 21600.00 | GOLDEN CONSTRUCTION, SUNBUD MULTIVENTURES PVT. LTD
28.10 | S&F Factory made solid panel PVC door shutter 30 mm thick (style) consisting of frame made out of M.S. tubes for top & bottom rails. M.S. frame shall be covered with heat moulded plain colour PVC ‘C’ channel having a PVC sheet strip of 20mm width stuck inside with solvent cement for stiles and plain colour PVC sheets for top rail, lock rail & bottom rail on either side & as gap insert for top rail & bottom rail; Panelling of plain colour PVC sheet to be fitted in the M.S. frame welded / sealed to the stiles & rails with suitable PVC sheet beading, and joined together with solvent cement, supplying & fixing in the frame at site as per specification & drawing etc all complete as directed by the Engg In Charge. Important Note: Sample, design/Pattern & make of door shall be got approved from EIC before incorporating in the work. | 9.00 | Sq.m | 2398.60 | 4130.00 | 37170.00 | 3330.00 | 29970.00 | 4000.00 | 36000.00 | 2400.00 | 21600.00 | 21600.00 | SUNBUD MULTIVENTURES PVT. LTD
29.10 | S & F Plain, solid, straight chowkats and frames in first class hardwood wrought, framed rebated on the solid, rounded or chamfered, put together with glue pinned at joints, supplied and fixed etc all complete as directed by the Engg In Charge. Important Note: Sample of frame shall be got approved from EIC before incorporating in the work. | .21 | Cu.m | 172774.30 | 141600.00 | 29311.20 | 125000.00 | 25875.00 | 90000.00 | 18630.00 | 165000.00 | 34155.00 | 18630.00 | GOLDEN CONSTRUCTION
30.10 | S & F Flush shutters 30 mm thick solid core construction, with block board core and plywood face panels, commercial type on both sides etc all complete as directed by the Engg In Charge. Important Note: Sample of shutter shall be got approved from EIC before incorporating in the work. | 5.00 | Sq.m | 1620.00 | 11800.00 | 59000.00 | 2250.00 | 11250.00 | 3000.00 | 15000.00 | 1700.00 | 8500.00 | 8500.00 | SUNBUD MULTIVENTURES PVT. LTD
31.10 | S & F Decorative laminate 1.5mm thick of approved make & quality type 1 of surface finish, colour and pattern as approved, fixed with approved adhesive as per manufacturer’s instructions etc all complete as directed by the Engg In Charge. Important Note: Sample of laminate shall be got approved from EIC before incorporating in the work. | 9.00 | Sq.m | 1333.30 | 2950.00 | 26550.00 | 1800.00 | 16200.00 | 1500.00 | 13500.00 | 1250.00 | 11250.00 | 11250.00 | SUNBUD MULTIVENTURES PVT. LTD
32.10 | S&F Brass barrel tower bolts, 300mm of approved make & quality with cast or sheet barrel and rolled or cast bolts and fixed etc all complete as directed by the Engg In Charge. Important Note: Sample of Tower Bolts shall be got approved from EIC before incorporating in the work. | 7.00 | Each | 430.20 | 1500.00 | 10500.00 | 495.00 | 3465.00 | 1000.00 | 7000.00 | 550.00 | 3850.00 | 3465.00 | HINDUSTAN CONSTRUCTION CO
33.10 | S&F Brass, sliding door bolt of approved make & quality with sand or die-cast brass hasp, 300mm staple (bolt type) and fixing bolt with rolled or drawn brass bolts and fixed etc all complete as directed by the Engg In Charge. Important Note: Sample of sliding door Bolts shall be got approved from EIC before incorporating in the work. | 7.00 | Each | 1011.50 | 1416.00 | 9912.00 | 1800.00 | 12600.00 | 1500.00 | 10500.00 | 1500.00 | 10500.00 | 9912.00 | HITECH BUILDCON
34.10 | S & F Butt hinges, 125mm, extruded brass of approved make & quality, with mild steel hinge pin, bright polished and fixed, type B-11 etc all complete as directed by the Engg In Charge. Important Note: Sample of Hinges shall be got approved from EIC before incorporating in the work. | 21.00 | Each | 256.90 | 354.00 | 7434.00 | 360.00 | 7560.00 | 100.00 | 2100.00 | 300.00 | 6300.00 | 2100.00 | GOLDEN CONSTRUCTION
35.10 | S & F Extruded brass handles, 150mm of approved make & quality fabricated type polished etc all complete as directed by the Engg In Charge. Important Note: Sample of Handles shall be got approved from EIC before incorporating in the work. | 14.00 | Each | 267.90 | 944.00 | 13216.00 | 450.00 | 6300.00 | 2000.00 | 28000.00 | 280.00 | 3920.00 | 3920.00 | SUNBUD MULTIVENTURES PVT. LTD
36.10 | S & F Mortice latch 100 mm of approved make & quality with two levers (vertical type), brass body and fixed etc all complete as directed by the Engg In Charge. Important Note: Sample of Mortice Latch shall be got approved from EIC before incorporating in the work. | 5.00 | Each | 758.70 | 1416.00 | 7080.00 | 900.00 | 4500.00 | 2000.00 | 10000.00 | 900.00 | 4500.00 | 4500.00 | SUNBUD MULTIVENTURES PVT. LTD, HINDUSTAN CONSTRUCTION CO
37.10 | S & F Mortice lock, brass 4 lever vertical type, size 100 mm of approved make & quality etc all complete as directed by the Engg In Charge. Important Note: Sample of Mortice Lock shall be got approved from EIC before incorporating in the work. | 5.00 | Each | 758.80 | 885.00 | 4425.00 | 990.00 | 4950.00 | 2000.00 | 10000.00 | 800.00 | 4000.00 | 4000.00 | SUNBUD MULTIVENTURES PVT. LTD
38.10 | S& F UPVC frame window 3 / 4 track of approved make & quality and three window shutter , frame reinforced with 1mm thick GI, adjustable roller , touch lock and along with 5mm thick toughen glass etc all complete as directed by the Engg In Charge. Important Note: Sample of UPVC Frames & allied accessories shall be got approved from EIC before incorporating in the work. | 34.00 | Sq.m | 4761.30 | 14160.00 | 481440.00 | 6300.00 | 214200.00 | 4000.00 | 136000.00 | 5200.00 | 176800.00 | 136000.00 | GOLDEN CONSTRUCTION
39.10 | S & F Collapsible steel gates, top hung, consisting of channel pickets, pivoted flat bars, top and bottom runners, brass handles etc., as specified, erected in position and securing runners with holdfasts and brackets, complete etc all complete as directed by the Engg In Charge. Important Note: Sample of Collapsible Gate & allied accessories shall be got approved from EIC before incorporating in the work. | 12.00 | Sq.m | 2952.19 | 4130.00 | 49560.00 | 5400.00 | 64800.00 | 5000.00 | 60000.00 | 3100.00 | 37200.00 | 37200.00 | SUNBUD MULTIVENTURES PVT. LTD
40.10 | S & F Vitreous China wash down water closet pan Make: Parryware / Hindware / Jaquar (pedestal pattern), white, Plastic water closet seat, black, closed pattern with flat bottom, and cover and mild steel chromium plated or aluminised hinging device etc all complete as directed by the Engg In Charge. Important Note: Sample of Pan & allied accessories shall be got approved from EIC before incorporating in the work. | 3.00 | Each | 2601.04 | 5310.00 | 15930.00 | 3600.00 | 10800.00 | 3000.00 | 9000.00 | 1800.00 | 5400.00 | 5400.00 | SUNBUD MULTIVENTURES PVT. LTD
41.10 | S&F PVC valveless, syphonic action type, flushing cistern 10 liter capacity, low level, white, with inlet, ball valve, float and handle including brackets flush pipe of polyethylene of low or high density or PVC 32mm dia for low level cistern Make: Parryware / Hindware / Jaquar etc all complete as directed by the Engg In Charge. Important Note: Sample of Flushing Cistern & allied accessories shall be got approved from EIC before incorporating in the work. | 3.00 | Each | 880.43 | 11800.00 | 35400.00 | 1170.00 | 3510.00 | 1200.00 | 3600.00 | 1400.00 | 4200.00 | 3510.00 | HINDUSTAN CONSTRUCTION CO
42.10 | S & F Vitreous China wash basin, white, flat back, size 580x450 mm excluding taps, waste, chain and plug and porcelain stopper but including brackets Make: Parryware / Hindware / Jaquar etc all complete as directed by the Engg In Charge. Important Note: Sample of Wash Basin & allied accessories shall be got approved from EIC before incorporating in the work. | 5.00 | Each | 1656.16 | 7080.00 | 35400.00 | 2700.00 | 13500.00 | 2000.00 | 10000.00 | 1500.00 | 7500.00 | 7500.00 | SUNBUD MULTIVENTURES PVT. LTD
43.10 | S & F Health faucet Make: Parryware / Hindware / Jaquar (ABS body mild steel chromium plated suitable for 15mm dia pipe with 1.25m long flexible tube and ABS wall hook including making connection and fixed in position complete in all respect as specified etc all complete as directed by the Engg In Charge. Important Note: Sample of Health Faucet & allied accessories shall be got approved from EIC before incorporating in the work. | 3.00 | Each | 395.65 | 2124.00 | 6372.00 | 720.00 | 2160.00 | 6000.00 | 18000.00 | 550.00 | 1650.00 | 1650.00 | SUNBUD MULTIVENTURES PVT. LTD
44.10 | S & F Plastic water tank 1000 liter capacity, approved quality Make: Sintex / Prince Storefit / Astral Opta including all accessories and float valve etc all complete as directed by the Engg In Charge. Important Note: Sample of Plastic water tank & allied accessories shall be got approved from EIC before incorporating in the work. | 3.00 | Each | 7625.75 | 16520.00 | 49560.00 | 9000.00 | 27000.00 | 10000.00 | 30000.00 | 7300.00 | 21900.00 | 21900.00 | SUNBUD MULTIVENTURES PVT. LTD
45.10 | S & F PVC (SWR) pipes, double socketed, in any length, with rubber rings joints 110mm dia Make: Prince / Astral / Kisan etc all complete as directed by the Engg In Charge. Important Note: Sample of PVC pipes & allied accessories shall be got approved from EIC before incorporating in the work. | 20.00 | Rm | 215.00 | 1652.00 | 33040.00 | 225.00 | 4500.00 | 300.00 | 6000.00 | 200.00 | 4000.00 | 4000.00 | SUNBUD MULTIVENTURES PVT. LTD
46.10 | S & F Toilet paper holder, stainless steel Make: Parryware / Hindware / Jaquar etc all complete as directed by the Engg In Charge. Important Note: Sample of Toilet paper holder & allied accessories shall be got approved from EIC before incorporating in the work. | 3.00 | Each | 566.39 | 356.00 | 1068.00 | 720.00 | 2160.00 | 200.00 | 600.00 | 500.00 | 1500.00 | 600.00 | GOLDEN CONSTRUCTION
47.10 | S & F Brass CP mixer for 15mm bore dia of pipe Make: Parryware / Hindware / Jaquar for mixing hot & cold water screwed down for iron pipe and fixed etc all complete as directed by the Engg In Charge. Important Note: Sample of Brass CP Mixer & allied accessories shall be got approved from EIC before incorporating in the work. | 1.00 | Each | 1743.41 | 5760.00 | 5760.00 | 3600.00 | 3600.00 | 400.00 | 400.00 | 3500.00 | 3500.00 | 400.00 | GOLDEN CONSTRUCTION
48.10 | S & F Swivel CP shower Make: Parryware / Hindware / Jaquar for fixing with 15mm pipe and Shower arm 15 mm size, 195mm long with bend of 45 degree with flange etc all complete as directed by the Engg In Charge. Important Note: Sample of Shower & allied accessories shall be got approved from EIC before incorporating in the work. | 1.00 | Each | 223.18 | 2124.00 | 2124.00 | 450.00 | 450.00 | 400.00 | 400.00 | 600.00 | 600.00 | 400.00 | GOLDEN CONSTRUCTION
49.10 | S & F Bib taps for 15 mm bore dia of pipe fancy type, cast copper alloy with crutch or butterfly handle, screwed down, screwed for iron pipe or for brass ferrule and fixed Make: Parryware / Hindware / Jaquar etc all complete as directed by the Engg In Charge. Important Note: Sample of Bib Taps & allied accessories shall be got approved from EIC before incorporating in the work. | 5.00 | Each | 607.57 | 1062.00 | 5310.00 | 630.00 | 3150.00 | 300.00 | 1500.00 | 500.00 | 2500.00 | 1500.00 | GOLDEN CONSTRUCTION
50.10 | S & F Pillar taps for 15 mm bore dia of pipe fancy type, cast copper alloy, with capstan heads, chromium plated, screwed down high pressure, with or without lettered ‘Hot’ or ‘Cold’ with long screwed shanks and fly-nuts, screwed for iron pipe and fixed Make: Parryware / Hindware / Jaquar etc all complete as directed by the Engg In Charge. Important Note: Sample of Pillar Taps & allied accessories shall be got approved from EIC before incorporating in the work. | 5.00 | Each | 676.44 | 1100.00 | 5500.00 | 720.00 | 3600.00 | 400.00 | 2000.00 | 1100.00 | 5500.00 | 2000.00 | GOLDEN CONSTRUCTION
51.10 | S & F Ball valves for 15 mm bore dia of pipe high pressure of PTMT of approved make with epoxy coated Aluminium rod & high density plastic ball screwed for iron pipe and fixed. (Minimum weight 15mm-142gms/20 mm – 210 gms / 25mm-455gms/ 40mm – 690 gms) etc all complete as directed by the Engg In Charge. Important Note: Sample of Ball valves & allied accessories shall be got approved from EIC before incorporating in the work. | 3.00 | Each | 312.54 | 708.00 | 2124.00 | 450.00 | 1350.00 | 2000.00 | 6000.00 | 500.00 | 1500.00 | 1350.00 | HINDUSTAN CONSTRUCTION CO
52.10 | S & F Nipple for 15 mm bore dia of pipe suitable for HDPE water tank. (Minimum weight 15 mm-38gms/20mm- 45gms /25mm- 65gms) etc all complete as directed by the Engg In Charge. Important Note: Sample of water tank nipples & allied accessories shall be got approved from EIC before incorporating in the work. | 3.00 | Each | 64.45 | 1416.00 | 4248.00 | 90.00 | 270.00 | 300.00 | 900.00 | 60.00 | 180.00 | 180.00 | SUNBUD MULTIVENTURES PVT. LTD
53.10 | S & F Waste coupling for 32 mm bore dia of pipe of PTMT of approved make (half or full threaded) (Minimum weight 32mm- 5gms/40mm-60 gms) etc all complete as directed by the Engg In Charge. Important Note: Sample of waste couplings & allied accessories shall be got approved from EIC before incorporating in the work. | 5.00 | Each | 126.75 | 1416.00 | 7080.00 | 270.00 | 1350.00 | 1000.00 | 5000.00 | 100.00 | 500.00 | 500.00 | SUNBUD MULTIVENTURES PVT. LTD
54.10 | S & F Grating doom 100mm dia of PTMT of approved make (Minimum weight 25gms) etc all complete as directed by the Engg In Charge. Important Note: Sample of gating & allied accessories shall be got approved from EIC before incorporating in the work. | 7.00 | Each | 51.61 | 1350.00 | 9450.00 | 90.00 | 630.00 | 100.00 | 700.00 | 70.00 | 490.00 | 490.00 | SUNBUD MULTIVENTURES PVT. LTD
55.10 | S & F Towel Rail CP 600 mm long of approved make fixed with and including Chromium plated brass screws and wooden/plastic cleats. (Minimum weight 190gms) etc all complete as directed by the Engg In Charge. Important Note: Sample of Towel rail & allied accessories shall be got approved from EIC before incorporating in the work. | 5.00 | Each | 292.46 | 1200.00 | 6000.00 | 630.00 | 3150.00 | 400.00 | 2000.00 | 450.00 | 2250.00 | 2000.00 | GOLDEN CONSTRUCTION
56.10 | S & F PVC connections 15mm size with PTMT of approved make nuts of length 300mm etc all complete as directed by the Engg In Charge. Important Note: Sample of PVC Connections & allied accessories shall be got approved from EIC before incorporating in the work. | 5.00 | Each | 115.20 | 1200.00 | 6000.00 | 630.00 | 3150.00 | 200.00 | 1000.00 | 110.00 | 550.00 | 550.00 | SUNBUD MULTIVENTURES PVT. LTD
57.10 | S & F CPVC pipes 20mm outer dia SDR 11 & Plain CPVC SDR 11 fittings Make: Prince Flow Guardplus / Astral CPVC Pro / Finolex CPVC Pipes on walls/ceiling or laying in floors etc all complete as directed by the Engg In Charge. Important Note: Sample of CPVC pipes & allied accessories shall be got approved from EIC before incorporating in the work. | 100.00 | RM | 220.70 | 900.00 | 90000.00 | 225.00 | 22500.00 | 100.00 | 10000.00 | 270.00 | 27000.00 | 10000.00 | GOLDEN CONSTRUCTION
58.10 | S & F Supplying and laying of CPVC pipes 40 mm outer dia SDR 11 & Plain CPVC SDR 11 fittings Make: Prince Flow Guardplus / Astral CPVC Pro / Finolex CPVC Pipes on walls/ceiling or laying in floors etc all complete as directed by the Engg In Charge. Important Note: Sample of CPVC pipes & allied accessories shall be got approved from EIC before incorporating in the work. | 100.00 | RM | 619.70 | 1000.00 | 100000.00 | 540.00 | 54000.00 | 300.00 | 30000.00 | 650.00 | 65000.00 | 30000.00 | GOLDEN CONSTRUCTION
59.10 | S & F brass Elbow for CPVC pipe of 20 mm outer dia Make: Prince Flow Guardplus / Astral CPVC Pro / Finolex CPVC Pipes etc all complete as directed by the Engg In Charge. Important Note: Sample of Brass elbow shall be got approved from EIC before incorporating in the work. | 20.00 | Each | 27.20 | 250.00 | 5000.00 | 45.00 | 900.00 | 40.00 | 800.00 | 40.00 | 800.00 | 800.00 | GOLDEN CONSTRUCTION, SUNBUD MULTIVENTURES PVT. LTD
60.10 | S & F brass Tee for CPVC pipe of 20 mm outer dia etc all complete as directed by the Engg In Charge. Important Note: Sample of Brass Tee shall be got approved from EIC before incorporating in the work. | 10.00 | Each | 44.10 | 300.00 | 3000.00 | 54.00 | 540.00 | 200.00 | 2000.00 | 60.00 | 600.00 | 540.00 | HINDUSTAN CONSTRUCTION CO
61.10 | S & F Male brass threaded adaptor for CPVC pipe of 20 mm outer dia etc all complete as directed by the Engg In Charge. Important Note: Sample of Brass male threaded adaptor shall be got approved from EIC before incorporating in the work. | 20.00 | Each | 32.10 | 350.00 | 7000.00 | 45.00 | 900.00 | 100.00 | 2000.00 | 45.00 | 900.00 | 900.00 | SUNBUD MULTIVENTURES PVT. LTD, HINDUSTAN CONSTRUCTION CO
62.10 | S & F Female brass threaded adaptor for CPVC pipe of 20 mm outer dia etc all complete as directed by the Engg In Charge. Important Note: Sample of Brass Female threaded adaptor shall be got approved from EIC before incorporating in the work. | 10.00 | Each | 42.50 | 350.00 | 3500.00 | 63.00 | 630.00 | 100.00 | 1000.00 | 55.00 | 550.00 | 550.00 | SUNBUD MULTIVENTURES PVT. LTD
63.10 | S & F tank Adaptor for CPVC pipe of 20 mm outer dia etc all complete as directed by the Engg In Charge. Important Note: Sample of Tank adaptor shall be got approved from EIC before incorporating in the work. | 10.00 | Each | 91.40 | 350.00 | 3500.00 | 135.00 | 1350.00 | 100.00 | 1000.00 | 110.00 | 1100.00 | 1000.00 | GOLDEN CONSTRUCTION
64.10 | S & F tank Union for CPVC pipe of 20 mm outer dia etc all complete as directed by the Engg In Charge. Important Note: Sample of Tank Union shall be got approved from EIC before incorporating in the work. | 10.00 | Each | 123.50 | 650.00 | 6500.00 | 180.00 | 1800.00 | 60.00 | 600.00 | 140.00 | 1400.00 | 600.00 | GOLDEN CONSTRUCTION
65.10 | S & F tank Ball valve for CPVC pipe of 20 mm outer dia etc all complete as directed by the Engg In Charge. Important Note: Sample of Tank Ball Valve shall be got approved from EIC before incorporating in the work. | 3.00 | Each | 205.90 | 900.00 | 2700.00 | 360.00 | 1080.00 | 1000.00 | 3000.00 | 300.00 | 900.00 | 900.00 | SUNBUD MULTIVENTURES PVT. LTD
66.10 | S & F brass Elbow for CPVC pipe of 40 mm outer dia etc all complete as directed by the Engg In Charge. Important Note: Sample of Brass Elbow shall be got approved from EIC before incorporating in the work. | 10.00 | Each | 227.70 | 900.00 | 9000.00 | 270.00 | 2700.00 | 100.00 | 1000.00 | 270.00 | 2700.00 | 1000.00 | GOLDEN CONSTRUCTION
67.10 | S & F brass Tee for CPVC pipe of 40 mm outer dia etc all complete as directed by the Engg In Charge. Important Note: Sample of Brass Tee shall be got approved from EIC before incorporating in the work. | 10.00 | Each | 276.60 | 900.00 | 9000.00 | 360.00 | 3600.00 | 100.00 | 1000.00 | 265.00 | 2650.00 | 1000.00 | GOLDEN CONSTRUCTION
68.10 | S & F Male brass threaded adaptor for CPVC pipe of 40 mm outer dia etc all complete as directed by the Engg In Charge. Important Note: Sample of Male Brass Threaded Adaptor shall be got approved from EIC before incorporating in the work. | 9.00 | Each | 81.90 | 900.00 | 8100.00 | 180.00 | 1620.00 | 200.00 | 1800.00 | 90.00 | 810.00 | 810.00 | SUNBUD MULTIVENTURES PVT. LTD
69.10 | S & F Female brass threaded adaptor for CPVC pipe of 40 mm outer dia etc all complete as directed by the Engg In Charge. Important Note: Sample of Female Brass Threaded Adaptor shall be got approved from EIC before incorporating in the work. | 10.00 | Each | 215.70 | 900.00 | 9000.00 | 360.00 | 3600.00 | 300.00 | 3000.00 | 225.00 | 2250.00 | 2250.00 | SUNBUD MULTIVENTURES PVT. LTD
70.10 | S & F tank Adaptor for CPVC pipe of 40 mm outer dia etc all complete as directed by the Engg In Charge. Important Note: Sample of Tank Adaptor shall be got approved from EIC before incorporating in the work. | 10.00 | Each | 314.10 | 750.00 | 7500.00 | 450.00 | 4500.00 | 60.00 | 600.00 | 420.00 | 4200.00 | 600.00 | GOLDEN CONSTRUCTION
71.10 | S & F tank Union for CPVC pipe of 40 mm outer dia etc all complete as directed by the Engg In Charge. Important Note: Sample of Tank Union shall be got approved from EIC before incorporating in the work. | 9.00 | Each | 417.70 | 1000.00 | 9000.00 | 540.00 | 4860.00 | 300.00 | 2700.00 | 470.00 | 4230.00 | 2700.00 | GOLDEN CONSTRUCTION
72.10 | S & F tank Ball valve for CPVC pipe of 40 mm outer dia etc all complete as directed by the Engg In Charge. Important Note: Sample of Tank Ball Valve shall be got approved from EIC before incorporating in the work. | 9.00 | Each | 1066.20 | 900.00 | 8100.00 | 1260.00 | 11340.00 | 200.00 | 1800.00 | 1100.00 | 9900.00 | 1800.00 | GOLDEN CONSTRUCTION
73.10 | S & F 110 mm bore PVC (SWR) pipes Make: Prince / Astral / Kisan single socketed, in any length with rubber ring joints, laid in trenches or in floors etc all complete as directed by the Engg In Charge. Important Note: Sample of PVC SWR pipes shall be got approved from EIC before incorporating in the work. | 50.00 | Rm | 190.00 | 1652.00 | 82600.00 | 405.00 | 20250.00 | 300.00 | 15000.00 | 180.00 | 9000.00 | 9000.00 | SUNBUD MULTIVENTURES PVT. LTD
74.10 | S & F 110mm bore PVC (SWR) bend any radius Make: Prince / Astral / Kisan etc all complete as directed by the Engg In Charge. Important Note: Sample of PVC SWR bends & allied accessories shall be got approved from EIC before incorporating in the work. | 5.00 | Each | 125.00 | 600.00 | 3000.00 | 450.00 | 2250.00 | 300.00 | 1500.00 | 110.00 | 550.00 | 550.00 | SUNBUD MULTIVENTURES PVT. LTD
75.10 | S & F 110 mm bore PVC (SWR) P /Q / S trap Make: Prince / Astral / Kisan etc all complete as directed by the Engg In Charge. Important Note: Sample of PVC SWR traps shall be got approved from EIC before incorporating in the work. | 5.00 | Each | 265.00 | 600.00 | 3000.00 | 450.00 | 2250.00 | 300.00 | 1500.00 | 255.00 | 1275.00 | 1275.00 | SUNBUD MULTIVENTURES PVT. LTD
76.10 | M&L for applying two coats of distemper oil emulsion, Make: 1st Quality from Asian Paints / Nerolac / Indigo including preparation of new surfaces, chalk whiting on plastered surface, preparatory to distempering, priming plastered and other surface with alkali resistance priming paint, applying 3mm thick wall care putty on wall etc all complete as directed by the Engg In Charge. Important Note: Sample of Distemper & colour / colour combination, wall care putty etc shall be got approved from EIC before incorporating in the work. | 633.00 | Sq.m | 184.94 | 300.00 | 189900.00 | 180.00 | 113940.00 | 100.00 | 63300.00 | 165.00 | 104445.00 | 63300.00 | GOLDEN CONSTRUCTION
77.10 | M & L for Finishing walls with 100% Premium acrylic emulsion paint Make: 1st Quality from Asian Paints / Nerolac / Indigo having VOC less than 50 gm/litre and UV resistance as per IS 15489:2004, Alkali & fungal resistance, dirt resistance exterior paint (Make: 1st Quality as selected & approved by EIC from Asian Paints, Nerolac, Dulux, Indigo Paints) of required shade (Company Depot Tinted) with silicon additives. New work (Two or more coats applied @ 1.43 litre/ 10sqm. Over and including priming coat of exterior primer applied @ 0.90 litre/10 Sq.m etc all complete as directed by the Engg In Charge. Important Note: Sample of Exterior Paint & colour / colour combination shall be got approved from EIC before incorporating in the work. | 212.00 | Sq.m | 154.45 | 415.00 | 87980.00 | 180.00 | 38160.00 | 120.00 | 25440.00 | 154.00 | 32648.00 | 25440.00 | GOLDEN CONSTRUCTION
78.10 | S & F PVC insulation panels with EPS stuck to 1mm plain PVC sheet suitably placed in and including false ceiling grid made of Aluminium/G.I. of approved make & standard quality as per specification and drawing etc all complete as directed by the Engg In Charge. Important Note: Sample of PVC Panels, allied accessories, colour / colour combination shall be got approved from EIC before incorporating in the work. | 223.00 | Sq.m | 1474.70 | 2500.00 | 557500.00 | 1530.00 | 341190.00 | 1400.00 | 312200.00 | 1650.00 | 367950.00 | 312200.00 | GOLDEN CONSTRUCTION
79.10 | S & F Machine pressed precast concrete interlocking paver block any shape and size confirming to IS 15658-2006 of 100 mm thickness M-50 Grade etc all complete as directed by the Engg In Charge. Important Note: Sample of Paver Block & colour / colour combination (if any) shall be got approved from EIC before incorporating in the work. | 60.00 | Sq.m | 1059.20 | 1200.00 | 72000.00 | 990.00 | 59400.00 | 1000.00 | 60000.00 | 700.00 | 42000.00 | 42000.00 | SUNBUD MULTIVENTURES PVT. LTD
80.10 | S & F APP based polymeric membrane minimum weighing 3kg/Sq.m and minimum 3mm thick (Make: Tikidan / Pidilite) reinforced with polyster non wove fabric (wt. not less than 150 gms/Sq.m) land on primed surface by forced application complete all as specified etc all complete as directed by the Engg In Charge. Important Note: Sample of APP Membrane shall be got approved from EIC before incorporating in the work. | 256.00 | Sq.m | 403.65 | 1200.00 | 307200.00 | 396.00 | 101376.00 | 700.00 | 179200.00 | 400.00 | 102400.00 | 101376.00 | HINDUSTAN CONSTRUCTION CO
81.10 | Excavating in trenches, n exc 1.5 m wide and n exc 1.5 m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. n exc 10 sq m on plan and n exc1.5 m in depth and getting out Hard Dense Soil including bailing out of ground water, thorough cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg in Charge. | 45.00 | Per Cu. M | 675.00 | 900.00 | 40500.00 | 540.00 | 24300.00 | 600.00 | 27000.00 | 600.00 | 27000.00 | 24300.00 | HINDUSTAN CONSTRUCTION CO
82.10 | Excavating in trenches, n exc 1.5 m wide and n exc 1.5 m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. n exc 10 sq m on plan and n exc1.5 m in depth and getting out in soft/disintegrated rock including bailing out of ground water, thorough cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg in Charge | 36.00 | Per Cu. M | 1542.20 | 900.00 | 32400.00 | 1260.00 | 45360.00 | 600.00 | 21600.00 | 1100.00 | 39600.00 | 21600.00 | GOLDEN CONSTRUCTION
83.10 | Return filing in Hard Dense Soil, including spreading, leveling, watering and well ramming in layers not exc 25 CM including thorough cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg in Charge | 45.00 | Per Cu. M | 139.10 | 1650.00 | 74250.00 | 90.00 | 4050.00 | 100.00 | 4500.00 | 99.00 | 4455.00 | 4050.00 | HINDUSTAN CONSTRUCTION CO
84.10 | Return filing in soft disintegrated rocks, including spreading, leveling, watering and well ramming in layers not exc 25 CM including thorough cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg in Charge | 36.00 | Per Cu. M | 185.00 | 1650.00 | 59400.00 | 90.00 | 3240.00 | 100.00 | 3600.00 | 140.00 | 5040.00 | 3240.00 | HINDUSTAN CONSTRUCTION CO
85.10 | Providing cement concrete in roof kerbs or muds stops rounded or chamfered on edges for Road cutting Type B1 1:2:4 (20 mm graded aggregate ) including thorough curing, cleaning of site & site surrounding at each day’s work etc all complete as directed by the Engg in Charge | 3.00 | Per Cu. M | 8369.30 | 7500.00 | 22500.00 | 7200.00 | 21600.00 | 8000.00 | 24000.00 | 7300.00 | 21900.00 | 21600.00 | HINDUSTAN CONSTRUCTION CO
86.10 | M & L of Earthing Complete with Copper earth plate electrode 60 x 60 cm x 3.15 mm thick buried directly into ground (earth pit not less than 2.25 mtrs deep below ground level ) with edge of the plate not less than 1.5 mtrs. Below normal ground level. And copper strip as earth lead minimum earth continuity strip of 7.5 mtrs etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials used for earthing shall be got approved from EIC before incorporating in the work. | 2.00 | Each Set | 15805.50 | 41300.00 | 82600.00 | 11700.00 | 23400.00 | 16000.00 | 32000.00 | 14700.00 | 29400.00 | 23400.00 | HINDUSTAN CONSTRUCTION CO
87.10 | S & F Cast Iron Man hole Chamber Cover exceeding 5 Kgs each all complete as directed by the Engg in Charge. Important Note: Sample of all materials for chamber cover shall be got approved from EIC before incorporating in the work. | 20.00 | per kg | 133.10 | 1000.00 | 20000.00 | 180.00 | 3600.00 | 140.00 | 2800.00 | 140.00 | 2800.00 | 2800.00 | GOLDEN CONSTRUCTION, SUNBUD MULTIVENTURES PVT. LTD
88.10 | M & L Copper Earth continuity strips 20 x 3 mm all complete as directed by the Engg in Charge. Important Note: Sample of all materials for earth strips shall be got approved from EIC before incorporating in the work. | 16.00 | Per RM | 426.80 | 1700.00 | 27200.00 | 450.00 | 7200.00 | 300.00 | 4800.00 | 500.00 | 8000.00 | 4800.00 | GOLDEN CONSTRUCTION
89.10 | M &L for Supply, Laying & Termination with proper Lugs, Glands etc.3.5 core XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 50 Sq mm Make: Finolex/Polycab/CCI all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from EIC before incorporating in the work. | 40.00 | Per RM | 337.52 | 2596.00 | 103840.00 | 360.00 | 14400.00 | 1000.00 | 40000.00 | 250.00 | 10000.00 | 10000.00 | SUNBUD MULTIVENTURES PVT. LTD
90.10 | M & L for Supply, Laying & Termination with proper Lugs, Glands etc. 4 core XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 16 Sq mm Make: Finolex/Polycab/CCI all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from EIC before incorporating in the work. | 180.00 | Per RM | 249.04 | 2832.00 | 509760.00 | 225.00 | 40500.00 | 200.00 | 36000.00 | 180.00 | 32400.00 | 32400.00 | SUNBUD MULTIVENTURES PVT. LTD
91.10 | S & F Sheet Metal Enclosures with Double Door mounted in concealed fiitingfor DB'S When MCBs to be used TPN 100 Amps 6 Way each all complete as directed by the Engg in Charge Make: Siemens/Schnieder/L&T/Havells/Standard etc all complete as directed by the Engg in Charge. Important Note: Sample of sheet metal enclosure & allied accessories shall be got approved from EIC before incorporating in the work. | 1.00 | Each | 3588.70 | 2950.00 | 2950.00 | 4500.00 | 4500.00 | 4000.00 | 4000.00 | 2800.00 | 2800.00 | 2800.00 | SUNBUD MULTIVENTURES PVT. LTD
92.10 | Supply and fixing 415V 10 KA 'C' curve miniature circuit breaker (MCB) TPN of 100 Amps Make: Siemens/Schnieder/L&T/Havells/Standard current carrying capacity in the DB complete with connection testing and commissioning etc all complete as directed by the Engg in Charge. Important Note: Sample of 'C' Curve MCB & allied accessories shall be got approved from EIC before incorporating in the work. | 1.00 | Each | 2360.74 | 7670.00 | 7670.00 | 3600.00 | 3600.00 | 2000.00 | 2000.00 | 2200.00 | 2200.00 | 2000.00 | GOLDEN CONSTRUCTION
93.10 | Supply and fixing 'B' curve miniature circuit breaker Din rail or Modular (MCB) of single poles and current carrying capacity 5 to 32 AMP, in the MCB DB Make: Siemens/Schnieder/L&T/Havells/Standard Complete with connection testing and commissioning etc all complete as directed by the Engg in Charge. Important Note: Sample of 'B' Curve MCB & allied accessories shall be got approved from EIC before incorporating in the work. | 10.00 | Each | 284.20 | 6490.00 | 64900.00 | 360.00 | 3600.00 | 300.00 | 3000.00 | 200.00 | 2000.00 | 2000.00 | SUNBUD MULTIVENTURES PVT. LTD
94.10 | Supply and fixing of Modular Metal Flush Box 3 Modules of approved make all complete as directed by the Engg in Charge. Important Note: Sample of Modular Metal Flush Box & allied accessories shall be got approved from EIC before incorporating in the work. | 6.00 | Each | 179.80 | 2124.00 | 12744.00 | 450.00 | 2700.00 | 600.00 | 3600.00 | 165.00 | 990.00 | 990.00 | SUNBUD MULTIVENTURES PVT. LTD
95.10 | Supply and fixing of Modular Metal Flush Box 6 Modules of approved make all complete as directed by the Engg in Charge. Important Note: Sample of Modular Metal Flush Box & allied accessories shall be got approved from EIC before incorporating in the work. | 20.00 | Each | 284.10 | 2530.00 | 50600.00 | 360.00 | 7200.00 | 1000.00 | 20000.00 | 280.00 | 5600.00 | 5600.00 | SUNBUD MULTIVENTURES PVT. LTD
96.10 | Supply and fixing of Modular White cover plate of approved make with frame, 3 Modules all complete as directed by the Engg in Charge. Important Note: Sample of Modular Cover plate & allied accessories shall be got approved from EIC before incorporating in the work. | 6.00 | Each | 217.70 | 450.00 | 2700.00 | 360.00 | 2160.00 | 500.00 | 3000.00 | 200.00 | 1200.00 | 1200.00 | SUNBUD MULTIVENTURES PVT. LTD
97.10 | Supply and fixing of Modular White cover plate with frame 6 Modules of approved make all complete as directed by the Engg in Charge. Important Note: Sample of Modular Cover plate & allied accessories shall be got approved from EIC before incorporating in the work. | 20.00 | Each | 309.60 | 900.00 | 18000.00 | 360.00 | 7200.00 | 600.00 | 12000.00 | 290.00 | 5800.00 | 5800.00 | SUNBUD MULTIVENTURES PVT. LTD
98.10 | Supply and fixing of Modular MCB Isolator 40 Amps Double Pole, Make: Siemens/Schnieder/L&T/Havells/Standard etc all complete as directed by the Engg in Charge. Important Note: Sample of Modular MCB & allied accessories shall be got approved from EIC before incorporating in the work. | 2.00 | Each | 512.40 | 4250.00 | 8500.00 | 630.00 | 1260.00 | 800.00 | 1600.00 | 450.00 | 900.00 | 900.00 | SUNBUD MULTIVENTURES PVT. LTD
99.10 | Supply and fixing of Modular Switch Socket combination, 16A - 6 pin combined 3 module Make: Anchor / Roma / GM / Legrand / Cona, all complete as directed by the Engg in Charge. Important Note: Sample of Modular socket & allied accessories shall be got approved from EIC before incorporating in the work. | 20.00 | Each | 392.20 | 1000.00 | 20000.00 | 360.00 | 7200.00 | 1000.00 | 20000.00 | 400.00 | 8000.00 | 7200.00 | HINDUSTAN CONSTRUCTION CO
100.10 | Supply and fixing of Modular Switch Make: Anchor / Roma / GM / Legrand / Cona 1 way 6A, 1 module etc all complete as directed by the Engg in Charge. Important Note: Sample of Modular Switch & allied accessories shall be got approved from EIC before incorporating in the work. | 40.00 | Each | 260.50 | 649.00 | 25960.00 | 270.00 | 10800.00 | 800.00 | 32000.00 | 250.00 | 10000.00 | 10000.00 | SUNBUD MULTIVENTURES PVT. LTD
101.10 | Supply and fixing of Modular Bell push 6A 1 module Make: Anchor / Roma / GM / Legrand / Cona etc all complete as directed by the Engg in Charge. Important Note: Sample of Modular Bell & allied accessories shall be got approved from EIC before incorporating in the work. | 1.00 | Each | 307.30 | 885.00 | 885.00 | 334.00 | 334.00 | 100.00 | 100.00 | 300.00 | 300.00 | 100.00 | GOLDEN CONSTRUCTION
102.10 | Supply and fixing of Modular Ceiling Rose Make: Anchor / Roma / GM / Legrand / Cona 3 Pole polycarbonate isolated body 230 V AC, all complete as directed by the Engg in Charge. Important Note: Sample of Modular Ceiling Rose & allied accessories shall be got approved from EIC before incorporating in the work. | 30.00 | Each | 65.70 | 1180.00 | 35400.00 | 45.00 | 1350.00 | 100.00 | 3000.00 | 50.00 | 1500.00 | 1350.00 | HINDUSTAN CONSTRUCTION CO
103.10 | Supply and fixing of Lamp holder of approved Make & Quality PVC/Polycarbonate type with back plate suitable for batten fittings 230 V AC, all complete as directed by the Engg in Charge. Important Note: Sample of Lamp Holder & allied accessories shall be got approved from EIC before incorporating in the work. | 10.00 | Each | 166.50 | 650.00 | 6500.00 | 153.00 | 1530.00 | 100.00 | 1000.00 | 140.00 | 1400.00 | 1000.00 | GOLDEN CONSTRUCTION
104.10 | Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete of Make: GM/Havells/Bajaj /Syska/Philips etc. all complete as directed by the Engg in Charge. Important Note: Sample & allied accessories shall be got approved from EIC before incorporating in the work. | 24.00 | Each | 4269.19 | 6490.00 | 155760.00 | 3600.00 | 86400.00 | 8000.00 | 192000.00 | 3600.00 | 86400.00 | 86400.00 | SUNBUD MULTIVENTURES PVT. LTD, HINDUSTAN CONSTRUCTION CO
105.10 | Supply & Fixing Calling Bell Electronic musical 250 V AC with Battery Backup Make: Cona/Anchor/Legrand/Crabtree/GM etc. all complete as directed by the Engg in Charge. Important Note: Sample of calling Bell & allied accessories shall be got approved from EIC before incorporating in the work. | 1.00 | Each | 561.50 | 2400.00 | 2400.00 | 450.00 | 450.00 | 400.00 | 400.00 | 500.00 | 500.00 | 400.00 | GOLDEN CONSTRUCTION
106.10 | Supply and fixing exhaust fan made of sturdy Engineering plastic complete with louvers shutter, voltage 230V, 50 Hz, RPM 1200, Copper winding of sweep 250mm of Make: Automberg/Havells/Usha/Bajaj/Crompton /Surya etc all complete as directed by the Engg in Charge. Important Note: Sample of Exhaust Fan & allied accessories shall be got approved from EIC before incorporating in the work. | 3.00 | Each | 1606.52 | 1770.00 | 5310.00 | 1800.00 | 5400.00 | 4000.00 | 12000.00 | 1500.00 | 4500.00 | 4500.00 | SUNBUD MULTIVENTURES PVT. LTD
107.10 | S & Fixing of 2/4 Line Telephone Jack with PCB 1 Module Make GM Model AA 1 045 Magnesia or Equivalent model of make Legrand/Anchor/Crabtree/Havells/Philips etc all complete as directed by the Engg in Charge. Important Note: Sample of Telephone Jack & allied accessories shall be got approved from EIC before incorporating in the work. | 4.00 | Each | 126.00 | 2400.00 | 9600.00 | 152.75 | 611.00 | 2500.00 | 10000.00 | 150.00 | 600.00 | 600.00 | SUNBUD MULTIVENTURES PVT. LTD
108.10 | S & Fixing of RJ-45 Sockets for Computer LAN connection 1 Module of Make GM/Legrand/Anchor/Crabtree/Havells/Philips all complete as directed by the Engg in Charge. Important Note: Sample of Sockets & allied accessories shall be got approved from EIC before incorporating in the work. | 2.00 | Each | 230.50 | 1500.00 | 3000.00 | 225.00 | 450.00 | 3000.00 | 6000.00 | 200.00 | 400.00 | 400.00 | SUNBUD MULTIVENTURES PVT. LTD
109.10 | S & F Booster pumps for 440 V, 3 Phase, 50 Hz Confirming to IS- 12469 :1988 With CI Casing bronze impeller and stainless steel shaft mounted on heavy duty bearings suitable for 440 volts, 3 phase, 50 Hz 30m head, 450 LPM discharge etc all complete as directed by the Engg in Charge. Important Note: Sample of Booster Pump and allied accessories shall be got approved from EIC before incorporating in the work. | 1.00 | Each | 63400.00 | 10300.00 | 10300.00 | 75000.00 | 75000.00 | 25000.00 | 25000.00 | 49000.00 | 49000.00 | 10300.00 | HITECH BUILDCON
110.10 | S & F Submain Wiring in Rigid PVC Conduit Wiring in Concealed Fittings 2x6.0 sq. mm + 1x4.0 sq. mm earth wire all complete as directed by the Engg in Charge Wire Make:Finolex/Polycab/Havells all complete as directed by the Engg in Charge. Important Note: Sample of wire & allied accessories shall be got approved from EIC before incorporating in the work. | 60.00 | Per RM | 259.20 | 450.00 | 27000.00 | 297.00 | 17820.00 | 300.00 | 18000.00 | 250.00 | 15000.00 | 15000.00 | SUNBUD MULTIVENTURES PVT. LTD
111.10 | S & F Submain Wiring in Rigid PVC Conduit Wiring in Concealed Fittings 2x4.0 sq. mm + 1x2.5 sq. mm earth wire all complete as directed by the Engg in Charge Wire Make:Finolex/Polycab/Havells all complete as directed by the Engg in Charge. Important Note: Sample of wire & allied accessories shall be got approved from EIC before incorporating in the work. | 120.00 | Per RM | 215.00 | 350.00 | 42000.00 | 270.00 | 32400.00 | 300.00 | 36000.00 | 200.00 | 24000.00 | 24000.00 | SUNBUD MULTIVENTURES PVT. LTD
112.10 | S & F One Light Point or one Fan point controlled by one switch with cables 1.5 Sq.mm Size in Rigid PVC Conduit in Wire Make:Finolex/Polycab/Havells all complete as directed by the Engg in Charge. Important Note: Sample of all materials & allied accessories shall be got approved from EIC before incorporating in the work. | 40.00 | Each | 992.75 | 450.00 | 18000.00 | 875.00 | 35000.00 | 900.00 | 36000.00 | 1000.00 | 40000.00 | 18000.00 | HITECH BUILDCON
113.10 | Supply and install hi wall split AC units indoor/outdoor complete with cordless remote control unit and with in built air ionizer and Plasma filter for better indoor air quality with minimum 5 star rating and EER 3.2.of capacity 1.5 TR of Make: LG/Voltas/Bluestar etc. all complete as directed by the Engg in Charge Important Note: Sample of Air Conditioner & allied accessories shall be got approved from EIC before incorporating in the work. | 8.00 | Each | 60815.37 | 77000.00 | 616000.00 | 54000.00 | 432000.00 | 6000.00 | 48000.00 | 50000.00 | 400000.00 | 48000.00 | GOLDEN CONSTRUCTION
114.10 | Cutting chases, pinning in, making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels,etc.;and cutting chases for concealed water tubing or concealed conduit wiring, etc. and making good, cutting exceeding 20cm girth, including thorough cleaning of site & site surrounding at each day’s work all complete as directed by the Engg in Charge | 250.00 | Per RM | 55.60 | 2596.00 | 649000.00 | 63.00 | 15750.00 | 50.00 | 12500.00 | 50.00 | 12500.00 | 12500.00 | GOLDEN CONSTRUCTION, SUNBUD MULTIVENTURES PVT. LTD
115.10 | Supply of 4 PAIR CAT6 UTP CABLE FOR NETWORKING all complete as directed by the Engg in Charge. Note: Sample of CAT Cable & allied accessories shall be got approved from EIC before incorporating in the work. | 50.00 | Per RM | 22.63 | 1900.00 | 95000.00 | 26.00 | 1300.00 | 800.00 | 40000.00 | 30.00 | 1500.00 | 1300.00 | HINDUSTAN CONSTRUCTION CO
116.10 | S & F Rigid non-metallic PVC conduit 25 mm exclusive of boxes (junction/terminal) but inclusive of all tees, bends, elbows, reducers, bell mouth tube ends and fixing accessories such as couplers, lock nuts, saddles, pipe hooks etc. for laying of Telephone & CAT6 Cables, all complete as directed by the Engg in Charge. Important Note: Sample of conduit & allied accessories shall be got approved from EIC before incorporating in the work. | 60.00 | Per RM | 84.30 | 60.00 | 3600.00 | 89.00 | 5340.00 | 100.00 | 6000.00 | 70.00 | 4200.00 | 3600.00 | HITECH BUILDCON
117.10 | S&F Submain Wiring in Rigid PVC Conduit Wiring in Concealed Fittings 2x1.5 sq. mm + 1x1 sq. mm earth wire all complete as directed by the Engg in Charge Wire Make:Finolex/Polycab/Havells all complete as directed by the Engg in Charge. Important Note: Sample of wire & allied accessories shall be got approved from EIC before incorporating in the work. | 100.00 | Per RM | 185.21 | 60.00 | 6000.00 | 198.00 | 19800.00 | 300.00 | 30000.00 | 200.00 | 20000.00 | 6000.00 | HITECH BUILDCON
118.10 | S&F of Rigid PVC Junction boxes (1 to 4 way) all complete as directed by the Engg in Charge. Important Note: Sample of Junction Box & allied accessories shall be got approved from EIC before incorporating in the work. | 60.00 | Each | 46.21 | 750.00 | 45000.00 | 45.00 | 2700.00 | 100.00 | 6000.00 | 50.00 | 3000.00 | 2700.00 | HINDUSTAN CONSTRUCTION CO
| Total in Figures |  |  |  |  | 14091621.20 |  | 7097562.00 |  | 7614270.00 |  | 7288143.00
Lowest Amount Quoted BY: HINDUSTAN CONSTRUCTION CO(7097562.00)

## BOQ Summary
BOQ Summary Details Tender Title: REPAIRS TO SEMINAR HALL BLDG. NO. 112 FOR ACCOMMODATING FACILITY OF DINING AND KITCHEN OF MPF AT ORD. ESTATE AMBERNATH. Tender ID: 2023_AVNL_159736_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HINDUSTAN CONSTRUCTION CO | 7097562.00 | L1
| 2 | SUNBUD MULTIVENTURES PVT. LTD | 7288143.00 | L2
| 3 | GOLDEN CONSTRUCTION | 7614270.00 | L3
| 4 | HITECH BUILDCON | 14091621.20 | L4