## BoQ1
Government eProcurement System Created By: VENKATESAN KANNAIAH Created Date/Time: 15-Sep-2023 03:29 PM Tender Title: Repairs to the roof of Market area building, Civil Engineering Godown and Electrical building at HVF Estate Tender ID: 2023_AVNL_160077_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HEAVY VEHICLES FACTORY, AVADI
Name of Work : REPAIRS TO THE ROOF OF MARKET AREA BUILDING, CIVIL ENGINEERING GODOWN AND ELECTRICAL BUILDING AT HVF ESTATE
HVF T.E No : HVF/TE/13025/CEO/2023-24/28
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SRI LAKSHMI INDUSTRIES(GSTN-NA) |  | S VINAYAGAMURTHY(GSTN-NA) |  | SAI SRI HARSHA ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Grubbing up tree of girth exceeding 100 cm and not exceeding 150 cm including cutting of trunk portion protruding over ground, digging out roots, filling holes and levelling off ground, stacking of serviceable material and removing of unserviceable material to a distance not exceeding 50m and clearing site as directed by EIC. | 5.00 | Each | 2955.40 | 3000.00 | 15000.00 | 2800.00 | 14000.00 | 2999.00 | 14995.00 | 14000.00 | S VINAYAGAMURTHY
2.00 | Dismantling floor,hearth or wall tiling including cement mortar bedding (but not backing),removing serviceable tiles to store and rubbish off the premises | 1000.00 | m2 | 89.50 | 70.00 | 70000.00 | 60.00 | 60000.00 | 29.00 | 29000.00 | 29000.00 | SAI SRI HARSHA ENTERPRISES
3.00 | Demolition of Cement concrete (unreinforced) in ground floors and pavings n exc 15cm thickness (below or above ground level) as directed by EIC. | 65.00 | m3 | 1379.50 | 700.00 | 45500.00 | 1200.00 | 78000.00 | 499.00 | 32435.00 | 32435.00 | SAI SRI HARSHA ENTERPRISES
4.00 | Dismantling structural steel work including doors , gates but excluding framed truss etc., & as directed by EIC. | 3.00 | Quintal | 623.60 | 600.00 | 1800.00 | 550.00 | 1650.00 | 599.00 | 1797.00 | 1650.00 | S VINAYAGAMURTHY
5.00 | Taking down window Shutters with frame of any description not exc 1.0 sq. m each and handing over the same to CE(E)/Store. | 30.00 | Each | 123.40 | 110.00 | 3300.00 | 120.00 | 3600.00 | 199.00 | 5970.00 | 3300.00 | SRI LAKSHMI INDUSTRIES
6.00 | Taking down door shutters with frame or cupboard shutter with frame exceeding 1.50 sqm but not exceeding 4.00sqm each without taking shutter from the frame and handing over the same to CE(E)/Store. | 25.00 | Each | 455.60 | 300.00 | 7500.00 | 370.00 | 9250.00 | 199.00 | 4975.00 | 4975.00 | SAI SRI HARSHA ENTERPRISES
7.00 | Taking down plastering cement lime or cement mortar | 300.00 | m2 | 28.85 | 25.00 | 7500.00 | 20.00 | 6000.00 | 25.00 | 7500.00 | 6000.00 | S VINAYAGAMURTHY
8.00 | M&L for dubbing in CM1:6, 10mm thick on faces of old brick work /concrer surfaces. | 300.00 | m2 | 158.81 | 250.00 | 75000.00 | 145.00 | 43500.00 | 289.00 | 86700.00 | 43500.00 | S VINAYAGAMURTHY
9.00 | M & L for providing plastering in CM 1:4, 15mm thick on brick / concrete surface. | 300.00 | m2 | 263.12 | 350.00 | 105000.00 | 280.00 | 84000.00 | 339.00 | 101700.00 | 84000.00 | S VINAYAGAMURTHY
10.00 | Excavating hard/dense soil in post holes (or similar holes) each n exc 0.5 cu.m getting out, returning, filling in and ramming earth or broken rubble mixed with earth around, in layers not exceeding 25cm as directed by EIC. | 16.00 | Each | 381.40 | 300.00 | 4800.00 | 310.00 | 4960.00 | 389.00 | 6224.00 | 4800.00 | SRI LAKSHMI INDUSTRIES
11.00 | Material and labour for sand filling in foundation including watering and consolidation as directed by EIC. | 60.00 | m3 | 1974.30 | 2000.00 | 120000.00 | 1872.00 | 112320.00 | 1999.00 | 119940.00 | 112320.00 | S VINAYAGAMURTHY
12.00 | M&L for Cement concrete in foundations, filling and mass concrete PCC 1:4:8 D2 type using 40mm graded aggregated in flooring as directed by EIC. | 65.00 | m3 | 5483.10 | 5200.00 | 338000.00 | 5325.00 | 346125.00 | 5499.00 | 357435.00 | 338000.00 | SRI LAKSHMI INDUSTRIES
13.00 | Material and labour fo PCC 1:2:4, B2 type using 20mm graded aggregated in foundation and flooring as directed by EIC. | 65.00 | m3 | 6533.33 | 6700.00 | 435500.00 | 6307.00 | 409955.00 | 6499.00 | 422435.00 | 409955.00 | S VINAYAGAMURTHY
14.00 | Dismantling of single layer Mangalore pattern or similar type of tile in roofing as directed by EIC. | 800.00 | m2 | 52.80 | 40.00 | 32000.00 | 40.00 | 32000.00 | 39.00 | 31200.00 | 31200.00 | SAI SRI HARSHA ENTERPRISES
15.00 | Dismantling of timber scantling 40sq.cm and over in section on any position in framed work as directed by EIC. | 25.00 | m3 | 1190.00 | 900.00 | 22500.00 | 1050.00 | 26250.00 | 49.00 | 1225.00 | 1225.00 | SAI SRI HARSHA ENTERPRISES
16.00 | Dismantling of AC sheet (corrugated, semicorrugated, etc.) in roofing covering as directed by EIC. | 100.00 | m2 | 35.00 | 30.00 | 3000.00 | 37.00 | 3700.00 | 49.00 | 4900.00 | 3000.00 | SRI LAKSHMI INDUSTRIES
17.00 | Supply and fixing of pre-painted galvaume aluminum zinc coating GI based plain steel sheet 0.50mm thick of a color having tensile strength of 550 Mpa as in roof covering /cladding to walll fixed with self tapping screws as specified as directed by EIC. | 65.00 | m2 | 717.01 | 850.00 | 55250.00 | 709.00 | 46085.00 | 799.00 | 51935.00 | 46085.00 | S VINAYAGAMURTHY
18.00 | Supply and fixing of pre-painted galvaume aluminum zinc coating GI based corrugated steel sheet 0.50mm thick of a color having tensile strength od 550 Mpa as in roof covering /cladding to walll fixed with self tapping screws as directed by EIC. | 1000.00 | m2 | 767.01 | 900.00 | 900000.00 | 751.00 | 751000.00 | 799.00 | 799000.00 | 751000.00 | S VINAYAGAMURTHY
19.00 | Supply and fixing of framed work using Fe410 W(Gde-E- 250) A quality mild rolled steel tube , angles , plates etc . Inculding cutting , welding etc complete as directed by EIC. | 12500.00 | KG | 126.06 | 120.00 | 1500000.00 | 112.00 | 1400000.00 | 125.00 | 1562500.00 | 1400000.00 | S VINAYAGAMURTHY
20.00 | Material and labour for painting steel work with two coat of synethic enamel paint over one coat of red oxide inculding preparation of new steel surfaces as directed by EIC. | 600.00 | m2 | 141.30 | 110.00 | 66000.00 | 132.00 | 79200.00 | 94.00 | 56400.00 | 56400.00 | SAI SRI HARSHA ENTERPRISES
21.00 | M & L Forming jambs Cement mortar 1:4,Making good under cills or over arches, lintels and bressummers.including allpinning when necessary | 100.00 | m2 | 710.60 | 600.00 | 60000.00 | 670.00 | 67000.00 | 399.00 | 39900.00 | 39900.00 | SAI SRI HARSHA ENTERPRISES
22.00 | Supply and fixing of holdfast made out of 25 X 6 mm flat fixed to Door frame. | 25.00 | KG | 181.08 | 140.00 | 3500.00 | 160.00 | 4000.00 | 109.00 | 2725.00 | 2725.00 | SAI SRI HARSHA ENTERPRISES
23.00 | M& L for brick work built in CM 1:6 using Sub-class"B" Bricks as per SSR & as directed by EIC. | 5.00 | m3 | 4875.00 | 8000.00 | 40000.00 | 5150.00 | 25750.00 | 6399.00 | 31995.00 | 25750.00 | S VINAYAGAMURTHY
24.00 | Labour charges inculding removal of existing damaged perforated board from aluminium grid work and realigning repositioning , levelling and replacement of suppoting hanger, bolts, nuts etc if any required | 140.00 | m2 | 355.20 | 250.00 | 35000.00 | 360.00 | 50400.00 | 59.00 | 8260.00 | 8260.00 | SAI SRI HARSHA ENTERPRISES
25.00 | Material and labour for Anodised aluminium snap grid frame work for false ceiling all as specified Size of grid 605 x 605mm | 492.00 | m2 | 489.29 | 500.00 | 246000.00 | 475.00 | 233700.00 | 599.00 | 294708.00 | 233700.00 | S VINAYAGAMURTHY
26.00 | Supply and fixing of perforated particle board/ tiles for insulation and accoustic purposes . 60*60 cm in 12mm thick in size , fixed on snap grid as directed by EIC. | 492.00 | m2 | 537.06 | 520.00 | 255840.00 | 510.00 | 250920.00 | 549.00 | 270108.00 | 250920.00 | S VINAYAGAMURTHY
27.00 | Material and labour for applying two coat of interior emulsion on internal ceiling surfaces with one coat of primer including preparation of new surface | 492.00 | m2 | 143.20 | 120.00 | 59040.00 | 143.00 | 70356.00 | 89.00 | 43788.00 | 43788.00 | SAI SRI HARSHA ENTERPRISES
28.00 | S/F of plain solid straight chowkats and frames , wrougth framed rebated on the solid rounded or chamfered put together , with glue pinned at joints of 2nd class hard wood as directed by EIC | 1.00 | m3 | 86387.15 | 85000.00 | 85000.00 | 83000.00 | 83000.00 | 99999.00 | 99999.00 | 83000.00 | S VINAYAGAMURTHY
29.00 | S&F of glazed and skeleton door/window/ ventilator shutters made out of II class hard wood of 30 mm thickness open rebated and prepared to receive glass, wire mesh etc., (with sash bars) edges of framing plain, chamfered or rounded fitted with cut and mitered beads for securing glass, wire mesh etc., Size of members of shutters all complete. | 35.00 | m2 | 2061.10 | 2400.00 | 84000.00 | 2100.00 | 73500.00 | 3699.00 | 129465.00 | 73500.00 | S VINAYAGAMURTHY
30.00 | Supply and fixing sheet glass ordinary quality of 4.00mm thick and glazing with oil putty in square n exc 0.5 Sq.m in each pane . | 20.00 | m2 | 680.70 | 800.00 | 16000.00 | 720.00 | 14400.00 | 999.00 | 19980.00 | 14400.00 | S VINAYAGAMURTHY
31.00 | Supply and fixing of Hook and eye of mild steel wire type I for 150mm size. | 50.00 | Each | 29.10 | 30.00 | 1500.00 | 33.00 | 1650.00 | 199.00 | 9950.00 | 1500.00 | SRI LAKSHMI INDUSTRIES
32.00 | S/F of IInd class plain 40 mm thick , panelled shutter ( any number of panels) with panels of timber flat on both sides and fitted to chowkats as per SSR & as directed by EIC | 45.00 | m2 | 2332.30 | 2800.00 | 126000.00 | 2323.00 | 104535.00 | 4499.00 | 202455.00 | 104535.00 | S VINAYAGAMURTHY
33.00 | Supply and Fixing of extruded Aluminium alloy with brass/bronze hinge pin type C-22 Butt hinges heavy weight 75mm length. | 60.00 | Each | 108.50 | 100.00 | 6000.00 | 102.00 | 6120.00 | 199.00 | 11940.00 | 6000.00 | SRI LAKSHMI INDUSTRIES
34.00 | Supply a nd Fixing of Aluminium anodized skeleton tower bolts with plate of 100mm length. | 60.00 | Each | 58.70 | 80.00 | 4800.00 | 61.00 | 3660.00 | 149.00 | 8940.00 | 3660.00 | S VINAYAGAMURTHY
35.00 | Supply and Fixing of Aluminium handle fabricated type 100mm length. | 60.00 | Each | 73.50 | 80.00 | 4800.00 | 70.00 | 4200.00 | 149.00 | 8940.00 | 4200.00 | S VINAYAGAMURTHY
36.00 | S/F of butt hinges medium weight cold rolled mild steel and fixed to chowkats size of hinges shall be 125mm as directed by EIC | 75.00 | Each | 97.50 | 85.00 | 6375.00 | 91.00 | 6825.00 | 99.00 | 7425.00 | 6375.00 | SRI LAKSHMI INDUSTRIES
37.00 | S/F of 200mm aluminum anodized barrel tower bolts of extruded section and fixed as per SSR & as directed by EIC. | 50.00 | Each | 88.20 | 120.00 | 6000.00 | 85.00 | 4250.00 | 149.00 | 7450.00 | 4250.00 | S VINAYAGAMURTHY
38.00 | S/F of 150mm extruded aluminum alloy handles fabricated type anodized as per SSR & as directed by EIC. | 50.00 | Each | 88.20 | 130.00 | 6500.00 | 85.00 | 4250.00 | 149.00 | 7450.00 | 4250.00 | S VINAYAGAMURTHY
39.00 | M & L for painting to wooden surfaces of any description over 10cm width or girth with two coats of synthetic enamel paint over a coat of pink primer including preparing new wooden surfacesas per SSR & as directed by EIC . | 80.00 | m2 | 140.20 | 130.00 | 10400.00 | 122.00 | 9760.00 | 89.00 | 7120.00 | 7120.00 | SAI SRI HARSHA ENTERPRISES
40.00 | Cutting holes in brick walls built in cement mortar Exc.half brick work but not exc.one brick for inserting hold fasts and making good dismantled portion in cement mortar 1:3 or cement concrete 1:2:4 type B1 as required. | 50.00 | Each | 340.19 | 200.00 | 10000.00 | 138.00 | 6900.00 | 199.00 | 9950.00 | 6900.00 | S VINAYAGAMURTHY
41.00 | Material and labour for colour washing two coat inculding preparation of Old de corateed surface as directed by EIC. | 500.00 | m2 | 19.40 | 20.00 | 10000.00 | 20.00 | 10000.00 | 19.00 | 9500.00 | 9500.00 | SAI SRI HARSHA ENTERPRISES
42.00 | M & L for OBD two coats on old plastered walls inculding preparing the old plastered surfaces as directed by EIC. | 820.00 | m2 | 68.20 | 60.00 | 49200.00 | 72.00 | 59040.00 | 79.00 | 64780.00 | 49200.00 | SRI LAKSHMI INDUSTRIES
43.00 | Material and Labour for glazed ceramic colour tiles in vertical surfaces 350x 250x 7 mm/ 450X 350X 7mm thick set and jointed in neat cement slurry and pointed in white or coloured cement to match including screed bed in CM 1:4 15mm thick complete. | 150.00 | m2 | 1561.77 | 1400.00 | 210000.00 | 1200.00 | 180000.00 | 1249.00 | 187350.00 | 180000.00 | S VINAYAGAMURTHY
44.00 | M& L for Virifield ceramic tiles 10mm thick (sq/rectangular) polished , area of each tiles not exceeding 0.36 sqm in floors etc., Set and jointed in nead cement slurry and pointed in white or coloured cement to match including screed bed in CM 1:4 15mm thick complete as directed by EIC.(Light shade). | 850.00 | m2 | 1693.17 | 1350.00 | 1147500.00 | 1349.00 | 1146650.00 | 1179.00 | 1002150.00 | 1002150.00 | SAI SRI HARSHA ENTERPRISES
45.00 | Material and labour for Point wiring with 1.5sqmm PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare copper earth continuity wire.a)one light point or one fan point controlled by one switch with cables1.5 sqmm size. | 236.00 | Point | 992.75 | 990.00 | 233640.00 | 948.00 | 223728.00 | 749.00 | 176764.00 | 176764.00 | SAI SRI HARSHA ENTERPRISES
46.00 | Material and labour for Point wiring with 1.5sqmm PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare copper earth continuity wire.b)One 3 pin socket outlet 5 amps on the same board with other switches, with cables 1.5 sqmm size. | 100.00 | Point | 284.10 | 280.00 | 28000.00 | 235.00 | 23500.00 | 749.00 | 74900.00 | 23500.00 | S VINAYAGAMURTHY
47.00 | Material and labour for Point wiring with 1.5sqmm PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare copper earth continuity wire.c)One 3 pin socket outlet 5 amps independent, with cables 2.5 sqmm size. | 40.00 | Point | 1131.39 | 1100.00 | 44000.00 | 1160.00 | 46400.00 | 749.00 | 29960.00 | 29960.00 | SAI SRI HARSHA ENTERPRISES
48.00 | Supply & fixing of switch piano, flush type single pole one way 6 amps. (ANCHOR / LEGRAND/ HAVELLS make). | 305.00 | Each | 120.80 | 100.00 | 30500.00 | 55.00 | 16775.00 | 79.00 | 24095.00 | 16775.00 | S VINAYAGAMURTHY
49.00 | Supply & fixing of switch piano, flush type single pole one way 16 amps. (ANCHOR / LEGRAND/ HAVELLS make). | 47.00 | Each | 218.40 | 200.00 | 9400.00 | 70.00 | 3290.00 | 99.00 | 4653.00 | 3290.00 | S VINAYAGAMURTHY
50.00 | Supply & fixing of Socket outlet 2 in 1, 3 pin, 6 amp flush type (ANCHOR / LEGRAND/ HAVELLS make). | 90.00 | Each | 130.10 | 120.00 | 10800.00 | 72.00 | 6480.00 | 119.00 | 10710.00 | 6480.00 | S VINAYAGAMURTHY
51.00 | Supply & fixing of Socket outlet 2 in 1, 3 pin, 6 and 16 amp flush type (ANCHOR / LEGRAND/ HAVELLS make). | 47.00 | Each | 224.60 | 210.00 | 9870.00 | 88.00 | 4136.00 | 199.00 | 9353.00 | 4136.00 | S VINAYAGAMURTHY
52.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required. 2x2.5sqmm + 1x2.5sqmm earth wire | 540.00 | m | 185.21 | 200.00 | 108000.00 | 193.00 | 104220.00 | 199.00 | 107460.00 | 104220.00 | S VINAYAGAMURTHY
53.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required. 2x4.0sqmm + 1x4.0sqmm earth wire | 320.00 | m | 215.00 | 250.00 | 80000.00 | 210.00 | 67200.00 | 249.00 | 79680.00 | 67200.00 | S VINAYAGAMURTHY
54.00 | Supply & Fixing of wiring for circuit/sub main wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/recessed as required. 2x6.0sqmm + 1x6.0sqmm earth wire | 300.00 | m | 259.20 | 300.00 | 90000.00 | 255.00 | 76500.00 | 299.00 | 89700.00 | 76500.00 | S VINAYAGAMURTHY
55.00 | Material & Labour for ceiling rose, 3 Phase/PVC/polycorbonate, isolated body (ANCHOR / LEGRAND/ HAVELLS make). | 183.00 | Each | 65.70 | 50.00 | 9150.00 | 42.00 | 7686.00 | 99.00 | 18117.00 | 7686.00 | S VINAYAGAMURTHY
56.00 | supply & fixing of lamp holders PVC/polycorbonate type with cord grid cap suitabile for pendant/straight/slanding fittings. | 50.00 | Each | 130.80 | 90.00 | 4500.00 | 135.00 | 6750.00 | 99.00 | 4950.00 | 4500.00 | SRI LAKSHMI INDUSTRIES
57.00 | Supply & Fixing of stepped type electronic fan regulator flush type on the existing phenolic laminated sheet etc. (ANCHOR / LEGRAND/ HAVELLS make). | 65.00 | Each | 365.90 | 100.00 | 6500.00 | 320.00 | 20800.00 | 399.00 | 25935.00 | 6500.00 | SRI LAKSHMI INDUSTRIES
58.00 | Supply & fixing sheet metal enclosures for DB's when MCBs to be use, 8 way with 200 amps rated bus bar, single door. Make:STANDARD / LEGRAND / HAVELLS. | 6.00 | Each | 1578.70 | 2000.00 | 12000.00 | 1620.00 | 9720.00 | 1499.00 | 8994.00 | 8994.00 | SAI SRI HARSHA ENTERPRISES
59.00 | Supply and fixing amp rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the MCB DB complete with connection testing and commissioning. SPN 32 AMP (Make: Legrand/ABB/ Schneider) | 6.00 | Each | 851.20 | 1300.00 | 7800.00 | 850.00 | 5100.00 | 299.00 | 1794.00 | 1794.00 | SAI SRI HARSHA ENTERPRISES
60.00 | SSupply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 6 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. (Make:Legrand/ ABB / Schneider) | 36.00 | Each | 284.20 | 250.00 | 9000.00 | 295.00 | 10620.00 | 299.00 | 10764.00 | 9000.00 | SRI LAKSHMI INDUSTRIES
61.00 | Material and labour for Brick walls cutting chases,pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exc. 10 cm but not exc. 20 cm grith. | 32.00 | m | 52.10 | 90.00 | 2880.00 | 75.00 | 2400.00 | 299.00 | 9568.00 | 2400.00 | S VINAYAGAMURTHY
62.00 | Material and labour for preparing new surfaces plastered, on this first coat and subsequent coat of distempering walls with distempering oil emulsion as same existing colour. | 29.00 | m2 | 66.80 | 55.00 | 1595.00 | 65.00 | 1885.00 | 89.00 | 2581.00 | 1595.00 | SRI LAKSHMI INDUSTRIES
63.00 | Taking down copper/Aluminium point wiring(light, fan, socket or power) complete, including fixture and fittings such as switches, ceiling roses, pendants, regulators, sockets, light fitting etc. removing materials to store for keeping in safe custody for taking credit and making good disturbed surfaces of wall, floors, etc. | 150.00 | Point | 152.00 | 90.00 | 13500.00 | 140.00 | 21000.00 | 26.00 | 3900.00 | 3900.00 | SAI SRI HARSHA ENTERPRISES
64.00 | LESS CREDIT Dismantled items of Taking down copper/Aluminium point wiring(light, fan, socket or power) complete, including fixture and fittings such as switches, ceiling roses, pendants, regulators, sockets, light fitting etc. | 150.00 | Point | 14.00 | 10.00 | -1500.00 | 1.00 | -150.00 | 33.00 | -4950.00 | -4950.00 | SAI SRI HARSHA ENTERPRISES
| Total in Figures |  |  |  |  | 7000740.00 |  | 6590501.00 |  | 6873522.00
Lowest Amount Quoted BY: S VINAYAGAMURTHY(6590501.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repairs to the roof of Market area building, Civil Engineering Godown and Electrical building at HVF Estate Tender ID: 2023_AVNL_160077_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S VINAYAGAMURTHY | 6590501.00 | L1
| 2 | SAI SRI HARSHA ENTERPRISES | 6873522.00 | L2
| 3 | SRI LAKSHMI INDUSTRIES | 7000740.00 | L3