## BoQ1
Government eProcurement System Created By: K SREEVANI Created Date/Time: 01-Sep-2023 12:48 PM Tender Title: Construction of Quality Complex, Change Rooms and Toilets near Overhauling building inside Factory area at OFMK Tender ID: 2023_AVNL_161222_1
Tender Inviting Authority: CHIEF GENERAL MANAGER, ORDNANCE FACTORY MEDAK HYDERABAD A UNIT OF AVNL
Name of Work: Construction of Quality Complex, Change Rooms & Toilets near Overhauling building inside Factory area at OFMK
Contract No: 76026/ TE-15/ OFMK/EOC/OH Complex/ 23-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VBR INFRA(GSTN-NA) |  | SATYANARAYANA RAJU VEGESNA(GSTN-NA) |  | MAVEE SYNDICATE(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | DEMOLITION OF CEMENT CONCRETE: Demolition of unreinforced cement concrete in ground floors and pavings exceeding 15cm thcikness above ground level, complete all as specified and directed by EIC | 35.00 | Cum | 100.00 | 2000.00 | 70000.00 | 2000.00 | 70000.00 | 2050.00 | 71750.00 | 70000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
2.00 | DEMOLITION OF CEMENT CONCRETE WITH REINFORCEMENT: Demolition of reinforced cement concrete in ground floors and pavings exceeding 15cm thcikness above ground level, complete all as specified and directed by EIC | 9.00 | Cum | 100.00 | 2100.00 | 18900.00 | 2100.00 | 18900.00 | 2150.00 | 19350.00 | 18900.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
3.00 | DEMOLITION OF BRICK WORK : Demolition of brick work or stone /boulder masonry built in cement mortal including all quoins, arches, pillars, etc. complete all as specified and directed by EIC | 15.00 | Cum | 10.00 | 500.00 | 7500.00 | 500.00 | 7500.00 | 600.00 | 9000.00 | 7500.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
4.00 | SURFACE EXCAVATION : Surface excavation in hard/dense soil n.exc (not exceeding ) 30 cm deep and averaging 15CM deep and getting out inclulding all as specified and directed by EIC. | 1810.00 | Sqm | 10.00 | 60.00 | 108600.00 | 60.00 | 108600.00 | 100.00 | 181000.00 | 108600.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
5.00 | EXCAVATION: Excavation in trenches in hard rock not exceeding 1.5m width and 1.5m depth and getting out and carting the same to the location as shown by EIC/SIC | 140.00 | Cum | 10.00 | 2000.00 | 280000.00 | 2000.00 | 280000.00 | 2100.00 | 294000.00 | 280000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
6.00 | EXCAVATION: Excavation in over areas in hard/dense soil not exceeding 1.5m depth and getting out and carting the same to the location as shown by EIC/SIC | 90.00 | Cum | 100.00 | 350.00 | 31500.00 | 350.00 | 31500.00 | 350.00 | 31500.00 | 31500.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
7.00 | FELLING OF TREE: Felling of tree exc.30 cm and not exc.100 cm girth including cutting of trunk and branches and stacking of serviceable material and disposal of unserviceable material to a distance n exc. 50m and clearing site | 9.00 | Each | 100.00 | 1000.00 | 9000.00 | 1000.00 | 9000.00 | 950.00 | 8550.00 | 8550.00 | MAVEE SYNDICATE
8.00 | GRUBBING UP TREE TRUNK : Grubbing up tree trunk of girth exceeding 100 mm and not exceeding 150 mm, including cutting of trunk portion protruding over ground, digging out roots, filling holes and levelling off ground, stacking of serviceable materials and removing of unserviceable materials to a distance n. exc. 50 m and clearing site. | 5.00 | Each | 10.00 | 2500.00 | 12500.00 | 2500.00 | 12500.00 | 3000.00 | 15000.00 | 12500.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
9.00 | EXCAVATION: Excavation in Trenches, in Hard dence soil , n exc, 1.5m wide and n, exc 1.5m in depth for foundation, etc or for shafts, wells, manholes getting out nclulding all as specified and directed. | 540.00 | Cum | 10.00 | 575.00 | 310500.00 | 575.00 | 310500.00 | 750.00 | 405000.00 | 310500.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
10.00 | REMOVING OF EXCAVATED MATERIAL Removal of excavated material to a distance exceeding 500M but not exceding 1.0 KM and deposting where directed, complete all specified and directed. | 750.00 | Cum | 10.00 | 350.00 | 262500.00 | 350.00 | 262500.00 | 600.00 | 450000.00 | 262500.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
11.00 | MOORUM : Supply and filling of Moorum/Red Bajri, filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, levelled and rammed including watering complete all as specified and directed. | 710.00 | Cum | 100.00 | 1000.00 | 710000.00 | 1000.00 | 710000.00 | 1500.00 | 1065000.00 | 710000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
12.00 | STONE MASONRY : Walling of squared rubble, regular coursed, well bonded, bedded and solidly hearted, built in cement mortar 1:6. | 55.00 | Cum | 100.00 | 5500.00 | 302500.00 | 5500.00 | 302500.00 | 6000.00 | 330000.00 | 302500.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
13.00 | PCC : M&L - Plain Cement concrete (1:4:8), type D2 with 40 mm graded aggregate, in foundation, filling and mass concrete . | 50.00 | CUM | 10.00 | 5000.00 | 250000.00 | 5000.00 | 250000.00 | 5100.00 | 255000.00 | 250000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
14.00 | RCC : Reinforced Cement Concrete for footings, plinth beams,bases for columns etc. of type B1, 1:2:4 mix by using 20 mm graded aggregates, complete all as directed and specified. | 140.00 | Cum | 10.00 | 6000.00 | 840000.00 | 6000.00 | 840000.00 | 5900.00 | 826000.00 | 826000.00 | MAVEE SYNDICATE
15.00 | RCC :M&L - Reinforced Cement Concrete , Type B1, 1:2:4 Mix by using 20mm graded aggregate in slabs supported on coloums, and bems cantilevers, etc complete all as specified and directed | 425.00 | Cum | 10.00 | 6500.00 | 2762500.00 | 6500.00 | 2762500.00 | 4500.00 | 1912500.00 | 1912500.00 | MAVEE SYNDICATE
16.00 | PCC : M&L - Plain Cement concrete 1:2:4 , type B2 with 40 mm graded aggregate, in foundation, filling and mass concrete, complete all as specified and directed. | 30.00 | Cum | 10.00 | 6000.00 | 180000.00 | 6000.00 | 180000.00 | 6500.00 | 195000.00 | 180000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
17.00 | REINFORCEMENT : Mild steel TMT bars 10 mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9 mm dia or securing with clips. Make: Tata/ Jindal/ Vizag steel (SAIL) | 60000.00 | KG | 10.00 | 103.00 | 6180000.00 | 103.00 | 6180000.00 | 105.00 | 6300000.00 | 6180000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
18.00 | FORMWORK : Formwork with rough finished surfaces to sides of concrete foundations, footings, bases of columns, raft and raft beams,slabs sides and soffits of foundations and plinth beams; and similar work; vertical or to batter. | 4900.00 | SQM | 10.00 | 300.00 | 1470000.00 | 300.00 | 1470000.00 | 380.00 | 1862000.00 | 1470000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
19.00 | BRICKWORK - Brickwork with sub class B bricks in 1:4 cement mortar, straight or curved in plan exc. 6 m mean radius, built in all as specified and directed. | 340.00 | Cum | 10.00 | 6000.00 | 2040000.00 | 6000.00 | 2040000.00 | 6200.00 | 2108000.00 | 2040000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
20.00 | HALF-BRICKWORK : Brickwork with sub class B bricks, built in 1:4 cement mortar, straight or curved in plan to any radius in half brick thick walls, built in all as specified and directed. | 800.00 | SQM | 10.00 | 600.00 | 480000.00 | 600.00 | 480000.00 | 600.00 | 480000.00 | 480000.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
21.00 | PLASTERING :Rendering 12 mm thick cement plaster 1:4 on fair faces of brick work or concrete surfaces on walls including provision of border and creation of raised portions etc. complete all as specified | 5600.00 | SQM | 100.00 | 225.00 | 1260000.00 | 225.00 | 1260000.00 | 340.00 | 1904000.00 | 1260000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
22.00 | PLASTERING : Setting Coat of 5mm thick, trowelled to even and smooth finish with ratio 1:2 on plastering serfaces including all as specified and direced by EIC. | 5400.00 | SQM | 100.00 | 150.00 | 810000.00 | 150.00 | 810000.00 | 160.00 | 864000.00 | 810000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
23.00 | PLASTERING :Rendering 12 mm thick cement plaster 1:4 on fair faces in ceiling concrete surfaces including provision of border and creation of raised portions etc. complete all as specified | 1200.00 | SQM | 10.00 | 200.00 | 240000.00 | 200.00 | 240000.00 | 210.00 | 252000.00 | 240000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
24.00 | SETTING COAT TO CEILING :Rendering 5mm thick cement plaster on ceiling with ratio of 1:2 trowelled to even and smooth finish etc. complete all as specified | 900.00 | SQM | 10.00 | 200.00 | 180000.00 | 200.00 | 180000.00 | 200.00 | 180000.00 | 180000.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
25.00 | PCC FLOORING : Cement concrete of 100 mm thickness in floors, sub-floors, sub-bases, pavings etc. of type D-2, 1:4:8 (40 mm graded aggregate) | 650.00 | Sqm | 10.00 | 500.00 | 325000.00 | 500.00 | 325000.00 | 500.00 | 325000.00 | 325000.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
26.00 | PCC FLOORING : Cement concrete of 100 mm thickness in floors, sub-floors, sub-bases, pavings etc. of type B-2, 1:2:4 (40 mm graded aggregate) | 650.00 | Sqm | 100.00 | 550.00 | 357500.00 | 550.00 | 357500.00 | 550.00 | 357500.00 | 357500.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
27.00 | RCC : Providing precast Cement Concrete solid building blocks of grade B1, 1:2:4 mix or slabs 10cm thick setting in CM (1:4)complete , all as directed and specified | 20.00 | SQM | 100.00 | 1100.00 | 22000.00 | 1100.00 | 22000.00 | 1000.00 | 20000.00 | 20000.00 | MAVEE SYNDICATE
28.00 | GRANITE SLAB : Supply & Fixingof Granite tiles of any type for kitchen slab, 20 mm thick machine cut, bedded and jointed with grey cement slurry and pointed with white cement with admixure of pigment to match the shade of granite stone including grinding and polishing types and provision of holes for Cooking Gas pipe line complete all as specified and directed. | 70.00 | Sqm | 10.00 | 2000.00 | 140000.00 | 2000.00 | 140000.00 | 2100.00 | 147000.00 | 140000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
29.00 | VITRIFIED TILES : Supply and fixing of Dark shade Vitrified Ceramic tiles 10 mm thick (square/rectangular) polished, area of each tile not exceeding 0.36 sqm, in floors, skirting etc. set and jointed in neat cement slurry and pointed in white or coloured cement of match, all as specified and directed. Make: Johnson/ Kajarai/ Orient Bell | 900.00 | Sqm | 10.00 | 1100.00 | 990000.00 | 1100.00 | 990000.00 | 1400.00 | 1260000.00 | 990000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
30.00 | FLOOR TILING :Supply & fixing Coloured non skid ceramic tiles in flooring, 7 to 8 mm thick area of each tile exceeding 0.06 Sqm but not exceeding 0.11 Sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match all as specified and directed. Make: Johnson/ Kajarai/ Orient Bell | 375.00 | Sqm | 10.00 | 900.00 | 337500.00 | 900.00 | 337500.00 | 900.00 | 337500.00 | 337500.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
31.00 | SCREED BED: Screed bed or bedding layer of mortor 20 mm thick for laying floor tiles in CM 1:6 including roughening of existing floorsurface complete all as specified. | 1400.00 | Sqm | 100.00 | 220.00 | 308000.00 | 220.00 | 308000.00 | 215.00 | 301000.00 | 301000.00 | MAVEE SYNDICATE
32.00 | WALL TILES : Supply & fixing of Coloured glazed ceramic tiles in vertical surface 350x250x7 mm/ 450x350x7 mm thick set and jointed in neat cement slurry and pointed in white or coloured cement to match all as specified and directed. Make: Johnson/ Kajarai/ Orient Bell. | 700.00 | Sqm | 100.00 | 900.00 | 630000.00 | 900.00 | 630000.00 | 910.00 | 637000.00 | 630000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
33.00 | FAIR CUTTING OF GROOVES: Fair cutting of grooves not exceeding 10 cm width or girth on exposed surfaces of brickwork or concrete surface for laying water supply lines or electrical lenes of concealed nature complete all as specified. | 250.00 | RM | 10.00 | 70.00 | 17500.00 | 70.00 | 17500.00 | 75.00 | 18750.00 | 17500.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
34.00 | CPVC PIPES : Supply & fixing of CPVC Pipes of size 50mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified. Make: Ashirvadh/ Prince/ Sudhaker/ Supreme. | 150.00 | Rm | 10.00 | 1000.00 | 150000.00 | 1000.00 | 150000.00 | 1000.00 | 150000.00 | 150000.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
35.00 | CPVC PIPES : Supply & fixing of CPVC Pipes of size 40mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified. Make: Ashirvadh/ Prince/ Sudhaker/ Supreme. | 75.00 | Rm | 10.00 | 600.00 | 45000.00 | 600.00 | 45000.00 | 580.00 | 43500.00 | 43500.00 | MAVEE SYNDICATE
36.00 | CPVC PIPES : Supply & fixing of CPVC Pipes of size 32mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified. Make: Ashirvadh/ Prince/ Sudhaker/ Supreme. | 350.00 | Rm | 10.00 | 450.00 | 157500.00 | 450.00 | 157500.00 | 460.00 | 161000.00 | 157500.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
37.00 | CPVC PIPES : Supply & fixing of CPVC Pipes of size 20mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified. Make: Ashirvadh/ Prince/ Sudhaker/ Supreme. | 130.00 | Rm | 10.00 | 225.00 | 29250.00 | 225.00 | 29250.00 | 220.00 | 28600.00 | 28600.00 | MAVEE SYNDICATE
38.00 | CPVC BRASS TEE : Supply & fixing of CPVC Brass Tee of size 20mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified. Make: Ashirvadh/ Prince/ Sudhaker/ Supreme. | 125.00 | Each | 10.00 | 40.00 | 5000.00 | 40.00 | 5000.00 | 41.00 | 5125.00 | 5000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
39.00 | CPVC BRASS ELBOW : Supply & fixing of CPVC Brass Elbow of size 20mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified. Make: Ashirvadh/ Prince/ Sudhaker/ Supreme. | 150.00 | Each | 10.00 | 25.00 | 3750.00 | 25.00 | 3750.00 | 27.00 | 4050.00 | 3750.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
40.00 | CPVC UNION : Supply & fixing of CPVC Union of size 32mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified. Make: Ashirvadh/ Prince/ Sudhaker/ Supreme. | 40.00 | Each | 10.00 | 250.00 | 10000.00 | 250.00 | 10000.00 | 230.00 | 9200.00 | 9200.00 | MAVEE SYNDICATE
41.00 | CPVC UNION : Supply & fixing of CPVC Union of size 40mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified. Make: Ashirvadh/ Prince/ Sudhaker/ Supreme. | 9.00 | Each | 100.00 | 400.00 | 3600.00 | 400.00 | 3600.00 | 350.00 | 3150.00 | 3150.00 | MAVEE SYNDICATE
42.00 | CPVC UNION : Supply & fixing of CPVC Union of size 50mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified. Make: Ashirvadh/ Prince/ Sudhaker/ Supreme. | 9.00 | Each | 100.00 | 700.00 | 6300.00 | 700.00 | 6300.00 | 550.00 | 4950.00 | 4950.00 | MAVEE SYNDICATE
43.00 | CPVC BALL VALVE : Supply & fixing of CPVC Ball Valve of size 32mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified. Make: Ashirvadh/ Prince/ Sudhaker/ Supreme. | 30.00 | Each | 10.00 | 600.00 | 18000.00 | 600.00 | 18000.00 | 580.00 | 17400.00 | 17400.00 | MAVEE SYNDICATE
44.00 | CPVC BALL VALVE : Supply & fixing of CPVC Ball Valve of size 40mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified. Make: Ashirvadh/ Prince/ Sudhaker/ Supreme. | 6.00 | Each | 10.00 | 950.00 | 5700.00 | 950.00 | 5700.00 | 850.00 | 5100.00 | 5100.00 | MAVEE SYNDICATE
45.00 | CPVC BALL VALVE : Supply & fixing of CPVC Ball Valve of size 50mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified. Make: Ashirvadh/ Prince/ Sudhaker/ Supreme. | 6.00 | Each | 10.00 | 1650.00 | 9900.00 | 1650.00 | 9900.00 | 1500.00 | 9000.00 | 9000.00 | MAVEE SYNDICATE
46.00 | CPVC MALE ADAPTOR (MTA/MBTA) : Supply & fixing of CPVC Male Brass threaded Adaptor (MTA /MBTA) of size 32mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified. Make: Ashirvadh/ Prince/ Sudhaker/ Supreme. | 35.00 | Each | 100.00 | 68.00 | 2380.00 | 68.00 | 2380.00 | 70.00 | 2450.00 | 2380.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
47.00 | CPVC MALE ADAPTOR (MTA/MBTA) : Supply & fixing of CPVC Male Brass threaded Adaptor (MTA /MBTA) of size 40mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified. Make: Ashirvadh/ Prince/ Sudhaker/ Supreme. | 12.00 | Each | 100.00 | 75.00 | 900.00 | 75.00 | 900.00 | 70.00 | 840.00 | 840.00 | MAVEE SYNDICATE
48.00 | CPVC MALE ADAPTOR (MTA/MBTA) : Supply & fixing of CPVC Male Brass threaded Adaptor (MTA /MBTA) of size 50mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified. Make: Ashirvadh/ Prince/ Sudhaker/ Supreme. | 10.00 | Each | 10.00 | 210.00 | 2100.00 | 210.00 | 2100.00 | 180.00 | 1800.00 | 1800.00 | MAVEE SYNDICATE
49.00 | TANK ADAPTOR : Supply & fixing of CPVC Tank Adaptor of size 40mm laying in floors complete all specified. | 10.00 | Each | 10.00 | 250.00 | 2500.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 2000.00 | MAVEE SYNDICATE
50.00 | PVC PIPE : Supply and Fixing of 75 mm dia PVC (SWR) pipes single socketed, in any length with rubber ring joints laid in floors or fixed to walls including necessary jointin with connected accessories like "T", "Y" junctions, sockets, bends etc. complete all as directed.Make: Sudhakar/ Nandi/ Supreme. | 150.00 | Rm | 10.00 | 180.00 | 27000.00 | 180.00 | 27000.00 | 145.00 | 21750.00 | 21750.00 | MAVEE SYNDICATE
51.00 | PVC PIPE : Supply and Fixing of 110 mm dia PVC (SWR) pipes single socketed, in any length with rubber ring joints laid in floors including necessary jointin with connected accessories like "T", "Y" junctions, sockets, bends etc. complete all as directed.Make: Sudhakar/ Nandi/ Supreme. | 60.00 | Rm | 100.00 | 180.00 | 10800.00 | 180.00 | 10800.00 | 175.00 | 10500.00 | 10500.00 | MAVEE SYNDICATE
52.00 | PVC PIPE : Supply and Fixing of 110 mm dia PVC (SWR) pipes single socketed, in any length with rubber ring joints fixed to walls including necessary jointin with connected accessories like "T", "Y" junctions, sockets, bends etc. complete all as directed.Make: Sudhakar/ Nandi/ Supreme. | 225.00 | Rm | 100.00 | 180.00 | 40500.00 | 180.00 | 40500.00 | 190.00 | 42750.00 | 40500.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
53.00 | CEMENT CONCRETE BEDDING (M&L): Providig Cement concrete bedding for Drain Pipes of internal dia 100 mm with PCC 1:4:8, type D2 including forming cradles etc. Thickness of PCC bed is 100 mm and width 400 mm complete all as specified. | 200.00 | RM | 10.00 | 250.00 | 50000.00 | 250.00 | 50000.00 | 260.00 | 52000.00 | 50000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
54.00 | SWG PIPE : Supply & fixing of 100 mm dia Salt Glazed Stoneware drain pipes Grade 'A', including laying in proper slopes, including jointing with cement and jute complete all as specified and directed. | 200.00 | Rm | 10.00 | 120.00 | 24000.00 | 120.00 | 24000.00 | 115.00 | 23000.00 | 23000.00 | MAVEE SYNDICATE
55.00 | EWC : Supply & Fixing of European Water Closet - Pedestal pan and trap - any clolour including seat and seat cover and connection to drain(or outgoing pipe) and to flushing pipe, antisyphonage pipe, high or low level flushing cistern 10 Ltrs (including suitable brackets), with all necessary PVC connections (450mm D/E Pipe) complete all as directed and specified. Make: Parryware/ Hindware/ Cera are only acceptable. | 15.00 | Each | 10.00 | 3500.00 | 52500.00 | 3500.00 | 52500.00 | 300.00 | 4500.00 | 4500.00 | MAVEE SYNDICATE
56.00 | IWC : Supply & fixing of Vitreous China water closet (squatt pattern) of Orissa pattern, long pan, size 630x450 mm Colour with P or S trap, front or back inlet and PVC valveless, siphonic action type flushing cistern, 10 Ltrs.low level, matching colour of PAN with inlet, ball valve, float and handle , including Flush Pipe & 450mm D/E connection pipe including provision of concrete bedding. Make: Parryware/ Hindware/ Cera. | 11.00 | Each | 100.00 | 4000.00 | 44000.00 | 4000.00 | 44000.00 | 3800.00 | 41800.00 | 41800.00 | MAVEE SYNDICATE
57.00 | PVC DE PIPE: Supply and fixing of PVC connections 15 mm size with PTMT nuts of length 450 mm. | 110.00 | Each | 100.00 | 130.00 | 14300.00 | 130.00 | 14300.00 | 120.00 | 13200.00 | 13200.00 | MAVEE SYNDICATE
58.00 | WASTE COUPLING : Supply and fixing of waste coupling (half or full threaded) for 32 mm dia discharge pipe (Min. weight 32 mm - 45 gms) | 25.00 | Each | 10.00 | 110.00 | 2750.00 | 110.00 | 2750.00 | 120.00 | 3000.00 | 2750.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
59.00 | ANGLE COCK : Supply & fixing Brass Cromium Plated Angle cocks ,15 mm dia, cast copper alloy, fancy type, chromium plated with long shank and concealed type cup, high pressure with butterfly handle, screwed both ends for iron pipes or unions and fixed. Make: Jaquar/ Parryware/ Cera. | 110.00 | Each | 10.00 | 700.00 | 77000.00 | 700.00 | 77000.00 | 720.00 | 79200.00 | 77000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
60.00 | WASH BASIN : Supply Fixing of Vitreous china wash basin, any Colour, flat back, size 630x450 mm including, chain and plug , brackets. Fixing includes cutting for and pinning in ends of brackets or erecting stand including supply and fixing of 32 mm waste pipe and coupling with necessary 450mm PVC connection pipe. Make: Parryware/ Hindware/ Cera are only acceptable. | 20.00 | Each | 10.00 | 1750.00 | 35000.00 | 1750.00 | 35000.00 | 1700.00 | 34000.00 | 34000.00 | MAVEE SYNDICATE
61.00 | PILLAR COCK : Pillar taps, fancy type, 15 mm dia, cast copper alloy, with capstan heads, chromium plated, screwed down high pressure, with or without lettered 'hot' or 'cold' with long screwed shanks and fly nuts, screwed for iron pipe and fixed.Make: Metro/Anchor/Camay etc. are only acceptable | 20.00 | Each | 10.00 | 650.00 | 13000.00 | 650.00 | 13000.00 | 600.00 | 12000.00 | 12000.00 | MAVEE SYNDICATE
62.00 | BIB TAPS : Supply & Fixing of 15mm Bib Taps, cast copper alloy with crutch or butterfly handle, screwed down, with fancy type for brass ferrule and fixed | 30.00 | Each | 10.00 | 350.00 | 10500.00 | 350.00 | 10500.00 | 300.00 | 9000.00 | 9000.00 | MAVEE SYNDICATE
63.00 | MIRROR: Supply & Fixing of Mirror of 600mm x 450mm bevelled edge mirror of selected quality glass, mounted of 6mm thick AC building board or commercial plawood and fixed to wooden plugs with chromium plated brass secrew and cup washers. | 20.00 | Each | 10.00 | 500.00 | 10000.00 | 500.00 | 10000.00 | 800.00 | 16000.00 | 10000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
64.00 | URINAL PAN (S&F): Supply and fixing of vitreous china large flat back half stall urinal fixed to wall with suitable brackets and brass screws complete with Brass CP spreader, push cock, 450mm D/E PVC connection pipe etc complete all as specified. Make: Parryware/ Hindware/ Cera are only acceptable. | 20.00 | Each | 10.00 | 2400.00 | 48000.00 | 2400.00 | 48000.00 | 2600.00 | 52000.00 | 48000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
65.00 | NAHANI TRAPS : Supply & Fixing of nahani traps 100mm with grating including jointing to went pipe with CC 1:2:4 complete all as specified and directed at site. | 35.00 | Each | 10.00 | 380.00 | 13300.00 | 380.00 | 13300.00 | 300.00 | 10500.00 | 10500.00 | MAVEE SYNDICATE
66.00 | GULLY TRAP : M&L for PVC/SWR gully traps, of size 125 mm x 110 mm all as directed and specified. | 22.00 | Each | 100.00 | 200.00 | 4400.00 | 200.00 | 4400.00 | 200.00 | 4400.00 | 4400.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
67.00 | GRATING : Supply and fixing of grating doom 100 mm dia. Of PTMT (min. weight 25 gms) | 30.00 | Each | 100.00 | 45.00 | 1350.00 | 45.00 | 1350.00 | 50.00 | 1500.00 | 1350.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
68.00 | DOOR FRAME : Wood Work in First Class Hard Wood ( Teak Wood ) for plain, solid, straight chowakates frames of different sizes wrought, frame rebeted on the solid, chamfered put together with glue pinned at joints, supplied and fixed including all as specified and directed by EIC. | 9.00 | Cum | 10.00 | 172000.00 | 1548000.00 | 159816.00 | 1438344.00 | 100000.00 | 900000.00 | 900000.00 | MAVEE SYNDICATE
69.00 | PANELLED SHUTTERS : Supply and Fixing plain, framed, panelled shutters of 1st class hardwood of thickness 40 mm, for door shutters with panels of timber flat on both sides(feather dged), or of veneered particle board, medium density, supplied and fitted to chowkats.Including designrd frames/carved frames complete all as specified. | 100.00 | Sqm | 10.00 | 5000.00 | 500000.00 | 5000.00 | 500000.00 | 5100.00 | 510000.00 | 500000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
70.00 | Glazed / Wire Mesh & Skeleton Shutters : Supply and Fixing of 1st Class Hard Wood Glazed and Skeleton Shutters of thcikness 35mm, open rebated and prepared to receive Glass, Gauge etc. edges of framing plain, chamfered, fittted with cut and mitred beads for securing glass sizes of memebers of shutters as specified in SSR Part-1, Section 8, clause 8.24 (a) all as specified and directed. | 125.00 | Sqm | 10.00 | 4000.00 | 500000.00 | 4000.00 | 500000.00 | 3900.00 | 487500.00 | 487500.00 | MAVEE SYNDICATE
71.00 | Wire Mesh Wooden Shutters : Supply & fixing of Galvanised mild steel wire cloth/mosquito net of 0.63 mm nominal dia of wire and average width of aperture 1.4 mm and fixed with tinned tacks or galvanised wire staples, complete all as specified and directed by EIC | 65.00 | Sqm | 100.00 | 475.00 | 30875.00 | 475.00 | 30875.00 | 450.00 | 29250.00 | 29250.00 | MAVEE SYNDICATE
72.00 | FIGURED GLASS : Figured glass 4mm thick, pin head type and glazing with oil putty in squares n exc. 0.5 sqm. In each plane. | 65.00 | Sqm | 100.00 | 650.00 | 42250.00 | 650.00 | 42250.00 | 600.00 | 39000.00 | 39000.00 | MAVEE SYNDICATE
73.00 | ALDROP : Supply and fixing of Mild steel sliding door bolts 200 mm long, plate type, stove enamelled black, with bright bolt not less than 12mm dia with and including a minimum of 6 bolts and nuts, four on bolt plate and two on staple plate and fixed all as directed.screwssuy | 65.00 | Each | 10.00 | 185.00 | 12025.00 | 185.00 | 12025.00 | 190.00 | 12350.00 | 12025.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
74.00 | ALDROP : Supply and fixing of heavy duty brass aldrop of size 30 x 375 mm including fixing owith suitable brass screws etc. coplete all as directed.screwssuy | 20.00 | Each | 10.00 | 1000.00 | 20000.00 | 1000.00 | 20000.00 | 900.00 | 18000.00 | 18000.00 | MAVEE SYNDICATE
75.00 | HINGES : Supply and fixing of extruded Al. alloy with GI Mild Steel Hinge Pine anodised Butt Hinges and fixed type B-21 of size 125mm including all as specified and directed . | 800.00 | Each | 10.00 | 250.00 | 200000.00 | 250.00 | 200000.00 | 300.00 | 240000.00 | 200000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
76.00 | HINGES : Supply and fixing of extruded brass Butt Hinges type B-11 of size 125mm including fixing with suitable brass screws complete all as specified and directed . | 90.00 | Each | 100.00 | 250.00 | 22500.00 | 250.00 | 22500.00 | 260.00 | 23400.00 | 22500.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
77.00 | TOWER BOLT : Supply and fixing of Aluminium anodised, barrel tower bolts of extruded section of size 125 mm and fixed all as directed. | 50.00 | Each | 100.00 | 60.00 | 3000.00 | 60.00 | 3000.00 | 60.00 | 3000.00 | 3000.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
78.00 | TOWER BOLT : Supply and fixing of Brossm barrel tower bolts of size 125mm , with cast or sheet barrel and rolled or cast bolts and fixed all as directed. | 50.00 | Each | 10.00 | 200.00 | 10000.00 | 200.00 | 10000.00 | 210.00 | 10500.00 | 10000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
79.00 | BOW HANDLE: Supply&fixing of brass, decorative heavy duty bow handles cast type polished bright of size 150mm complete all as specified and directed | 110.00 | Each | 10.00 | 240.00 | 26400.00 | 240.00 | 26400.00 | 230.00 | 25300.00 | 25300.00 | MAVEE SYNDICATE
80.00 | BOW HANDLE: Supply&fixing of brass, decorative heavy duty bow handles cast type polished bright of size 100mm complete all as specified and directed | 225.00 | Each | 10.00 | 200.00 | 45000.00 | 200.00 | 45000.00 | 205.00 | 46125.00 | 45000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
81.00 | PVC DOOR : S&F of Factory made solid panel PVC door shutter 30mm thick(style) consisting of frame made out of M.S. tubes for top and bottom rails. M.S. frame shall be covered with heat moulded plain colour PVC ‘C’ channel having a PVC sheet strip of 20mm width struck inside with solvent cement for stiles and plain colour PVC sheets for top rail, lock rail & bottom rail on either side & as gap insert for top rail & bottom rail. Paneling of plain colour PVC sheet to be fitted in the MS frame welded/sealed to the stiles & rails with suitable PVC sheet beading, and joined together with solvent cement, supplying and fixing in the frame at site including all hard ware items, ie. Tower bolts, handles, butt hinges etc. as per specification. Manufactured by Rajshri, syntex or Nandi are only acceptable. | 50.00 | Sqm | 10.00 | 2800.00 | 140000.00 | 2800.00 | 140000.00 | 2400.00 | 120000.00 | 120000.00 | MAVEE SYNDICATE
82.00 | STRUCTURAL STEEL WORK: Structural steel work for making roof trusses, stancstions, purlins, girders etc with suitable Pipes, Square Tubes etc. of Gr. Fe-410-W-(Gde-E-250) quality "A" including cutting, welding complte with suitable guset plates, bolts, nuts etc with errection complete all as specified and directed. | 4500.00 | Kg | 10.00 | 130.00 | 585000.00 | 130.00 | 585000.00 | 120.00 | 540000.00 | 540000.00 | MAVEE SYNDICATE
83.00 | BITUMEN TACK COAT : Applying evenly a tack coat of industrial bitumen 85/25 at the rate of 1.2 kg per sqm including cleaning surfaces. Complete all as specified and directed by EIC. | 1250.00 | Sqm | 10.00 | 125.00 | 156250.00 | 125.00 | 156250.00 | 160.00 | 200000.00 | 156250.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
84.00 | WATER PROOFING TREATMENT : M&L - APP based polymeric membrane of 1M width with minimum 3mm thick reinforced with polyster non wove fabric (wt. not less than 150 gms/sqm) land on primed surface by forced application complete all as specified and directed by EIC. | 650.00 | Sqm | 10.00 | 450.00 | 292500.00 | 450.00 | 292500.00 | 460.00 | 299000.00 | 292500.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
85.00 | SURFACE PAINTING : Rendering of old tarfelt sheets,wire brushing and cleaning top surface of tiles, lime terracing or cement concrete, including flashings and junction of parapets, etc., and surface painting. Bitumen primer for use in water proof and damp-proofing treaments.(Minimum 0.50 Ltr for SQM) Complete all as specified and directed by EIC. | 650.00 | Sqm | 10.00 | 65.00 | 42250.00 | 65.00 | 42250.00 | 70.00 | 45500.00 | 42250.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
86.00 | ENAMEL PAINTING: Rendering synthetic enamel painting on Steel surfaces over one coat of zinc chrome red oxide - surfaces of any description over 10 cm width or girth including preparation - TWO coats Make: Asian / Burger / Nerolac | 225.00 | SQM | 100.00 | 120.00 | 27000.00 | 120.00 | 27000.00 | 110.00 | 24750.00 | 24750.00 | MAVEE SYNDICATE
87.00 | ENAMEL PAINTING: Rendering synthetic enamel painting on Wood surfaces over one coat of pink primer - surfaces of any description over 10 cm width or girth including preparation of new surfacews - TWO coats Make: Asian/ burger / Nerolac | 550.00 | SQM | 100.00 | 130.00 | 71500.00 | 130.00 | 71500.00 | 130.00 | 71500.00 | 71500.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
88.00 | INTERIOR EMULSION: (M&L) Applying Two coats of Interior emulsion on fair faces preparations of new surfaces, incliding One Coat of Primer plastered surfaces Make: Asian/ Berger / Nerolac | 600.00 | Sqm | 10.00 | 150.00 | 90000.00 | 150.00 | 90000.00 | 200.00 | 120000.00 | 90000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
89.00 | DISTEMPERING : M & L Oil Bond Distemper in walls with White or Tinted of two coats includig one coat primer with alkali resistant priming paint, to be applied including preparation of surface, all as specified and directed, brand Nerolac/ Asian/ Indigo/ Berger | 4500.00 | Sqm | 10.00 | 80.00 | 360000.00 | 80.00 | 360000.00 | 75.00 | 337500.00 | 337500.00 | MAVEE SYNDICATE
90.00 | DISTEMPERING : M & L Oil Bond Distemper in Ceiling with White or Tinted of two coats includig one coat primer with alkali resistant priming paint, to be applied including preparation of surface, all as specified and directed, brand Nerolac/ Asian/ Indigo/ Berger | 1200.00 | Sqm | 10.00 | 75.00 | 90000.00 | 75.00 | 90000.00 | 75.00 | 90000.00 | 90000.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
91.00 | CEMENT PAINTING : Cement Painting to walls/ceilings with White or Tinted of two coats, to be applied and One coat of Primer to be applied including preparation of surface, all as specified and directed, brand Berger/ Dr. Fixit/ Asian. | 2500.00 | Sqm | 100.00 | 70.00 | 175000.00 | 70.00 | 175000.00 | 72.00 | 180000.00 | 175000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
92.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/polycab/L&T in PVC conduit ,includes all accessories like bends, tees, screws, clips, plugs, clamps, junction boxes, cutting holes in or through walls, fixing of wooden boards, earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 337.00 | Each | 100.00 | 1100.00 | 370700.00 | 1100.00 | 370700.00 | 1050.00 | 353850.00 | 353850.00 | MAVEE SYNDICATE
93.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one Bell/buzzer point controlled by one push buton on the same board with other switches or independant with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex /Havells /polycab /L&T in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 5.00 | Each | 10.00 | 1100.00 | 5500.00 | 1100.00 | 5500.00 | 1000.00 | 5000.00 | 5000.00 | MAVEE SYNDICATE
94.00 | point wiring: Supply and fixing /Drawing of cables to one 3 pin socket outlet 5 amps independent on the same board with other switches, with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/polycab/L&T as specified by EIC. | 141.00 | Each | 10.00 | 300.00 | 42300.00 | 300.00 | 42300.00 | 290.00 | 40890.00 | 40890.00 | MAVEE SYNDICATE
95.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 5 amps independent, with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/polycab/L&T in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and all connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC. | 109.00 | Each | 10.00 | 1050.00 | 114450.00 | 1050.00 | 114450.00 | 1000.00 | 109000.00 | 109000.00 | MAVEE SYNDICATE
96.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/polycab/L&T in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire. All connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC 's technical instructions amended from time to time. | 73.00 | Each | 100.00 | 2000.00 | 146000.00 | 2000.00 | 146000.00 | 2100.00 | 153300.00 | 146000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
97.00 | ceiling rose :Supply and fixing of ceiling rose,PVC /Polycorbonate, 3 terminal Make Anchor / Havells /polycab of ISI quality. | 342.00 | Each | 100.00 | 50.00 | 17100.00 | 50.00 | 17100.00 | 52.00 | 17784.00 | 17100.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
98.00 | MCB :Supply and fixing of MCB, 240 V, single pole 5 to 40 amp Make legrand /Schneider /Indoasian /Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 170.00 | Each | 10.00 | 300.00 | 51000.00 | 300.00 | 51000.00 | 290.00 | 49300.00 | 49300.00 | MAVEE SYNDICATE
99.00 | MCB :Supply and fixing of MCB, 240 V, SPN 40 amp Make legrand /Schneider /Indoasian /Havells of ISI quality. All connections to be given by copper Pin/ eye type lugs including for earth connections | 8.00 | Each | 10.00 | 350.00 | 2800.00 | 350.00 | 2800.00 | 500.00 | 4000.00 | 2800.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
100.00 | MCB :Supply and fixing of MCB, 240 V, double pole 40 amp Make legrand /Schneider /Indoasian /Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 3.00 | Each | 10.00 | 450.00 | 1350.00 | 450.00 | 1350.00 | 600.00 | 1800.00 | 1350.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
101.00 | MCB :Supply and fixing of MCB, 415 V, TPN 63A amp Make legrand /Schneider /Indoasian /Havells of ISI quality. All connections to be given by copper Pin/ eye type lugs including for earth connections | 6.00 | Each | 100.00 | 1250.00 | 7500.00 | 1250.00 | 7500.00 | 1000.00 | 6000.00 | 6000.00 | MAVEE SYNDICATE
102.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of SPN, 8 way, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand /Schneider /Indoasian /Havells complete all as specified by EIC. | 3.00 | Each | 100.00 | 1900.00 | 5700.00 | 1900.00 | 5700.00 | 1700.00 | 5100.00 | 5100.00 | MAVEE SYNDICATE
103.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of SPN, 12 way, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand /Schneider /Indoasian /Havells complete all as specified by EIC. | 8.00 | Each | 10.00 | 2300.00 | 18400.00 | 2300.00 | 18400.00 | 2000.00 | 16000.00 | 16000.00 | MAVEE SYNDICATE
104.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of TPN, 4 way, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand /Schneider /Indoasian /Havells complete all as specified by EIC. | 6.00 | Each | 10.00 | 2600.00 | 15600.00 | 2600.00 | 15600.00 | 2200.00 | 13200.00 | 13200.00 | MAVEE SYNDICATE
105.00 | MCCB: Suppply and fixing of MCCB 3 pole, 415 V,adjustable type, 250 Amps with breaking capacity 36 KA Make: legrand /Schneider /Indoasian /Havells | 1.00 | Each | 10.00 | 16000.00 | 16000.00 | 16003.00 | 16003.00 | 14000.00 | 14000.00 | 14000.00 | MAVEE SYNDICATE
106.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x4 Sq.mm + 1x4.0 sq.mm earth wire in PVC Conduit wiring .Make: Finolex /Havells /polycab /L&T complete all as specified by the EIC | 60.00 | RM | 10.00 | 250.00 | 15000.00 | 250.00 | 15000.00 | 260.00 | 15600.00 | 15000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
107.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 4x6.0 Sq.mm + 1x6.0 sq.mm earth wire in PVC Conduit wiring .Make: Finolex /Havells /polycab /L&T complete all as specified by the EIC | 300.00 | RM | 10.00 | 360.00 | 108000.00 | 360.00 | 108000.00 | 350.00 | 105000.00 | 105000.00 | MAVEE SYNDICATE
108.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x6.0 Sq.mm + 1x6.0 sq.mm earth wire in PVC Conduit wiring .Make: Finolex /Havells /polycab /L&T complete all as specified by the EIC | 60.00 | RM | 10.00 | 280.00 | 16800.00 | 280.00 | 16800.00 | 270.00 | 16200.00 | 16200.00 | MAVEE SYNDICATE
109.00 | SUB MAIN WIRING : Supply and fixing of PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 3 1/2 core, 1100 volts grade, cross-sectional area 70 sq.mm. Make: Finolex /Havells /polycab /L&T | 100.00 | RM | 10.00 | 380.00 | 38000.00 | 380.00 | 38000.00 | 370.00 | 37000.00 | 37000.00 | MAVEE SYNDICATE
110.00 | Returning, Filling: Returning, filling in, in hard/dense soil including speading, levelling, watering and well ramming in layers not exc 25 cm. complete all as specified and directed( Dimensions:(a) 100 M(L)*0.4M(W)*0.75M(D) and (b)1.50 M(L)*1M(W)*1M(D)) | 36.00 | Cum | 10.00 | 110.00 | 3960.00 | 110.00 | 3960.00 | 100.00 | 3600.00 | 3600.00 | MAVEE SYNDICATE
111.00 | Earthing:Earthing complete with Galvanised steel earth plate electrode 60x60 cm X 6.3 mm thick ,buries directly in ground (Earth pit not less than 2.25 meters deep below ground level) with top edge of the plate not lessthan 1.5 meters below ground level,connected to galvanised iron or steel strip 25x4 mm as earthing lead by means of bolts,nuts,check nuts and washerers of GI or steel all as shown in Electrical plate no 3 connected to earth test point as specified or indicated including testing on completion. | 4.00 | Each | 100.00 | 8500.00 | 34000.00 | 8500.00 | 34000.00 | 7500.00 | 30000.00 | 30000.00 | MAVEE SYNDICATE
112.00 | Earth continuity conductor or main earthing lead fixed to wall on batten or recess chase or buried in ground or drawn in conduit /pipe or fixed to pole or any other indicated situation for loop earthing etc, as required 25x4 mm GI strip | 200.00 | RM | 100.00 | 200.00 | 40000.00 | 200.00 | 40000.00 | 200.00 | 40000.00 | 40000.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
113.00 | GI PIPE :Supply and fixing of GI pipe to protect earthing strip 40 mm dia medium grade complete all as specified and directed | 4.00 | RM | 10.00 | 280.00 | 1120.00 | 280.00 | 1120.00 | 250.00 | 1000.00 | 1000.00 | MAVEE SYNDICATE
114.00 | GI PIPE :Supply and fixing of GI pipe to protect earthing strip 20 mm dia medium grade complete all as specified and directed | 4.00 | RM | 10.00 | 120.00 | 480.00 | 120.00 | 480.00 | 100.00 | 400.00 | 400.00 | MAVEE SYNDICATE
115.00 | cement concrete:providing cement concrete cast in situ for each pit chamber slightly rounded or chamfere angles including finisheing by using type B1 1:2:4 (20mm graded aggregate complete all as specified by the EIC | 2.00 | cu.m | 10.00 | 9000.00 | 18000.00 | 9000.00 | 18000.00 | 8000.00 | 16000.00 | 16000.00 | MAVEE SYNDICATE
116.00 | precast cement concreate: B1 1:2:4 (20mm graded aggregate) in covers slabs for earth pits with faces size (40x40x5 cm) complete all as specified and directed | .50 | cu.m | 100.00 | 10000.00 | 5000.00 | 10000.00 | 5000.00 | 9000.00 | 4500.00 | 4500.00 | MAVEE SYNDICATE
117.00 | mild steel bar 8 mm dia over cut to length ,bend to shape for hooking quality conforming to GD 1, IS 432 (pt .1 ) complete all as specified yb the EIC | 2.00 | kg | 100.00 | 110.00 | 220.00 | 110.00 | 220.00 | 90.00 | 180.00 | 180.00 | MAVEE SYNDICATE
118.00 | Exhaust Fan: Labour only Exhaust fan and connecting up including provision of cable from ceiling rose /connector to fan. | 29.00 | Each | 10.00 | 150.00 | 4350.00 | 150.00 | 4350.00 | 140.00 | 4060.00 | 4060.00 | MAVEE SYNDICATE
119.00 | Celing Fan: Labour only for ceiling fan and connecting up including provision of cable from ceiling rose to fan. | 44.00 | Each | 10.00 | 150.00 | 6600.00 | 150.00 | 6600.00 | 150.00 | 6600.00 | 6600.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
120.00 | LED TUBE LIGHT: Labour only for fixing of 230V, 18-22watt, retrofit LED tube light fitting. | 244.00 | Each | 10.00 | 50.00 | 12200.00 | 50.00 | 12200.00 | 52.00 | 12688.00 | 12200.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
121.00 | Modular Fan Regulator: Material and Labour for fan step regulator, 120watt, 2 module Make Havells /Schneider / Legrand | 44.00 | Each | 100.00 | 900.00 | 39600.00 | 900.00 | 39600.00 | 920.00 | 40480.00 | 39600.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
122.00 | Industrial socket plug: Supply and fixing of 240 V, 20 amps, single pole and neutral enclosure with two pin and earth plug and socket complete with one single pole MCB . Make Schneider/Indoasian/Legrand/ABB | 5.00 | Each | 100.00 | 2000.00 | 10000.00 | 2000.00 | 10000.00 | 1800.00 | 9000.00 | 9000.00 | MAVEE SYNDICATE
123.00 | Switch Modular : Supply and Fixing of switch modular type of one way 6 amps make Legrand /Schneider /Havells of ISI quality complete all as specifies by the EIC | 592.00 | Each | 10.00 | 240.00 | 142080.00 | 240.00 | 142080.00 | 250.00 | 148000.00 | 142080.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
124.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 3 pin 6 amps modular type make Legrand /Schneider /Havells of ISI quality complete all as specified by the EIC | 250.00 | Each | 10.00 | 300.00 | 75000.00 | 300.00 | 75000.00 | 300.00 | 75000.00 | 75000.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
125.00 | Switch Modular : Supply and Fixing of switch modular type of one way 16 amps make Legrand/Schneider/Havells of ISI quality complete all as specifies by the EIC | 68.00 | Each | 10.00 | 300.00 | 20400.00 | 300.00 | 20400.00 | 300.00 | 20400.00 | 20400.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
126.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 3 pin 16 amps modular type make Legrand/Schneider/Havells of ISI quality complete all as specified by the EIC | 68.00 | Each | 10.00 | 500.00 | 34000.00 | 500.00 | 34000.00 | 450.00 | 30600.00 | 30600.00 | MAVEE SYNDICATE
127.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 3 module of make Legrand/Schneider/Havells complete all as specified by the EIC | 77.00 | Each | 10.00 | 200.00 | 15400.00 | 200.00 | 15400.00 | 180.00 | 13860.00 | 13860.00 | MAVEE SYNDICATE
128.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 4 module of make Legrand/Schneider/Havells complete all as specified by the EIC | 46.00 | Each | 10.00 | 225.00 | 10350.00 | 225.00 | 10350.00 | 220.00 | 10120.00 | 10120.00 | MAVEE SYNDICATE
129.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 6 module of make Legrand/Schneider/Havells complete all as specified by the EIC | 46.00 | Each | 10.00 | 300.00 | 13800.00 | 300.00 | 13800.00 | 290.00 | 13340.00 | 13340.00 | MAVEE SYNDICATE
130.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 8 module of make Legrand /Schneider /Havells complete all as specified by the EIC | 22.00 | Each | 10.00 | 325.00 | 7150.00 | 325.00 | 7150.00 | 320.00 | 7040.00 | 7040.00 | MAVEE SYNDICATE
131.00 | METAL FLUSH BOX : Supply and Fixing of 3 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand /Schneider /Havells complete all as specified by the EIC | 77.00 | Each | 100.00 | 150.00 | 11550.00 | 150.00 | 11550.00 | 140.00 | 10780.00 | 10780.00 | MAVEE SYNDICATE
132.00 | METAL FLUSH BOX : Supply and Fixing of 4 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand /Schneider /Havells complete all as specified by the EIC | 46.00 | Each | 100.00 | 210.00 | 9660.00 | 210.00 | 9660.00 | 220.00 | 10120.00 | 9660.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
133.00 | METAL FLUSH BOX : Supply and Fixing of 6 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand /Schneider /Havells complete all as specified by the EIC | 46.00 | Each | 10.00 | 2500.00 | 115000.00 | 2500.00 | 115000.00 | 300.00 | 13800.00 | 13800.00 | MAVEE SYNDICATE
134.00 | BUZZER: Buzzer, Ding Dong AC 230 volts, Make:Anchor/Cona/Havells | 5.00 | Each | 10.00 | 400.00 | 2000.00 | 400.00 | 2000.00 | 290.00 | 1450.00 | 1450.00 | MAVEE SYNDICATE
135.00 | Modular bell push 6A, 1module, make Legrand/Schneider/Havells of ISI quality complete all as specifies by the EIC | 5.00 | Each | 10.00 | 300.00 | 1500.00 | 300.00 | 1500.00 | 250.00 | 1250.00 | 1250.00 | MAVEE SYNDICATE
136.00 | Modular switch 2 way 6A, 1 module, make Legrand /Schneider /Havells of ISI quality complete all as specifies by the EIC | 2.00 | Each | 100.00 | 300.00 | 600.00 | 300.00 | 600.00 | 270.00 | 540.00 | 540.00 | MAVEE SYNDICATE
137.00 | SQATTING PLATE URINAL: Supply and fixing of Vitrus china skirtting urinal plate incl cement bedding. | 6.00 | Each | 100.00 | 800.00 | 4800.00 | 800.00 | 4800.00 | 700.00 | 4200.00 | 4200.00 | MAVEE SYNDICATE
138.00 | TOWEL RING : Supply and Fixing of Towel Rings of C.P. of dia of Tower Ring 150 mm including fixing with nails / screws, complete all as specified and directed. | 12.00 | Each | 10.00 | 650.00 | 7800.00 | 650.00 | 7800.00 | 600.00 | 7200.00 | 7200.00 | MAVEE SYNDICATE
139.00 | SOAP DISH : Supply and Fixing of Soap Dish of brass C.P. of size 125 mm including fixing with nails / screws, make Parryware/ Jaquar only complete all as specified and directed. | 12.00 | Each | 10.00 | 500.00 | 6000.00 | 500.00 | 6000.00 | 600.00 | 7200.00 | 6000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
140.00 | CPVC BRASS TEE : Supply & fixing of CPVC Brass Tee of size 40mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified. | 10.00 | Each | 10.00 | 170.00 | 1700.00 | 170.00 | 1700.00 | 170.00 | 1700.00 | 1700.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
141.00 | CPVC BRASS TEE : Supply & fixing of CPVC Brass Tee of size 50mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified | 10.00 | Each | 100.00 | 300.00 | 3000.00 | 300.00 | 3000.00 | 300.00 | 3000.00 | 3000.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
142.00 | CPVC BRASS ELBOW : Supply & fixing of CPVC Brass Elbow of size 40mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified | 10.00 | Each | 100.00 | 140.00 | 1400.00 | 140.00 | 1400.00 | 130.00 | 1300.00 | 1300.00 | MAVEE SYNDICATE
143.00 | CPVC BRASS ELBOW : Supply & fixing of CPVC Brass Elbow of size 50mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified | 10.00 | Each | 10.00 | 250.00 | 2500.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 2000.00 | MAVEE SYNDICATE
144.00 | STAINLESS STEEL RAILING: Supply and Fixing of Stainless Steel Railing by using first quality SS Tubes - 40mm dia for vertical post and 25mm dia for horzontal railing bottom lines (4 nos) and 50 mm dia rail on top side (01 no.) including all connected Tees, Clamps, bolt and nuts etc., including drouting of the posts complete all as specified and directed. | 110.00 | RM | 10.00 | 1500.00 | 165000.00 | 1500.00 | 165000.00 | 1600.00 | 176000.00 | 165000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
145.00 | PREPARATORY WORK (M&L) : Applying Two or Three coats finishing the surface with approved quality wall care putty/luppam finish to obtain very smooth /fair /even surface to receive the emulsion including all as specified and directed by EIC. | 600.00 | SQM | 10.00 | 60.00 | 36000.00 | 60.00 | 36000.00 | 60.00 | 36000.00 | 36000.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
146.00 | GRANITE MOULDING : Rounding to edges of stone slabs one edge, such as in steps, other similar situations. | 20.00 | Rm | 100.00 | 250.00 | 5000.00 | 250.00 | 5000.00 | 240.00 | 4800.00 | 4800.00 | MAVEE SYNDICATE
147.00 | METAL FLUSH BOX : Supply and Fixing of 8 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand /Schneider /Havells complete all as specified by the EIC | 22.00 | Each | 100.00 | 160.00 | 3520.00 | 160.00 | 3520.00 | 150.00 | 3300.00 | 3300.00 | MAVEE SYNDICATE
148.00 | METAL FLUSH BOX : Supply and Fixing of 12 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand /Schneider /Havells complete all as specified by the EIC | 47.00 | Each | 10.00 | 200.00 | 9400.00 | 200.00 | 9400.00 | 190.00 | 8930.00 | 8930.00 | MAVEE SYNDICATE
149.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 12 module of make Legrand/Schneider/Havells complete all as specified by the EIC | 47.00 | Each | 10.00 | 225.00 | 10575.00 | 225.00 | 10575.00 | 200.00 | 9400.00 | 9400.00 | MAVEE SYNDICATE
150.00 | LED TUBE LIGHT: Supply of retrofit LED tube light with fixture of 230V, 18-22 watt, with better thermal management with not less than 100 lumens per watt. Make: CG/Philips/Syska/Bajaj/Surya/Havells.complete all as specified by the EIC | 244.00 | Each | 10.00 | 250.00 | 61000.00 | 250.00 | 61000.00 | 250.00 | 61000.00 | 61000.00 | VBR INFRA, MAVEE SYNDICATE, SATYANARAYANA RAJU VEGESNA
151.00 | Celing Fan: Supply for ceiling fan,240 V,50 Hz, 5 star rated, 1200 mm sweep single phase make CG/Orient/Usha/Bajaj/Surya complete all as specified by the EIC | 44.00 | Each | 10.00 | 1400.00 | 61600.00 | 1400.00 | 61600.00 | 1300.00 | 57200.00 | 57200.00 | MAVEE SYNDICATE
152.00 | EXHAUST FAN : Supply of Exhaust Fan of size 300mm ,230V, 50 HZ, single phase supply make :Almonard/GEC/BAJAJ/Usha/CG/Orient complete all as specified by the EIC | 29.00 | Each | 10.00 | 1300.00 | 37700.00 | 1300.00 | 37700.00 | 1200.00 | 34800.00 | 34800.00 | MAVEE SYNDICATE
153.00 | POWER DISTRIBUTION PANEL: Supply and fixing of PDB control Panel with power coated of 2mm thickness CRCA sheet to accumodate 250 Amps MCCB in coming, 3 Ph and neutral bus (Aluminium) bar (250 Amps) and provision to fixing of 15 nos. of TPN MCBS with indication lamps | 1.00 | Each | 10.00 | 35000.00 | 35000.00 | 35000.00 | 35000.00 | 40000.00 | 40000.00 | 35000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
154.00 | LED SECURITY LIGHT: LED street light luminaire of 170 to 270 volts, AC,35-40 watt, colour temperature 5000-6500 K, P.F >= 0.9, IP-65, with two no.s of GI clamps with nut bolts. Make:CG/Philips/Syska/Bajaj/Surya/Havells.complete all as specified by the EIC | 20.00 | Each | 10.00 | 3000.00 | 60000.00 | 3000.00 | 60000.00 | 2500.00 | 50000.00 | 50000.00 | MAVEE SYNDICATE
155.00 | STRUCTURAL DESIGNS APPROVALS : Before commencement of work Contractor should take approval of Soil Test , Plan, Structural Designs of all the drawings and Elevagtion for Quality Complex Building (G+1 ) by authorised institutions / authorised Structural Designer | 1.00 | Whole Job | 10.00 | 30000.00 | 30000.00 | 30000.00 | 30000.00 | 35000.00 | 35000.00 | 30000.00 | VBR INFRA, SATYANARAYANA RAJU VEGESNA
| Total in Figures |  |  |  |  | 30031545.00 |  | 29921892.00 |  | 30705202.00
Lowest Amount Quoted BY: SATYANARAYANA RAJU VEGESNA(29921892.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Quality Complex, Change Rooms and Toilets near Overhauling building inside Factory area at OFMK Tender ID: 2023_AVNL_161222_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SATYANARAYANA RAJU VEGESNA | 29921892.00 | L1
| 2 | VBR INFRA | 30031545.00 | L2
| 3 | MAVEE SYNDICATE | 30705202.00 | L3