## BoQ1
Government eProcurement System Created By: YOGESH BHALERAO Created Date/Time: 12-Dec-2023 09:51 AM Tender Title: REPAIRS TO EXISTING EXHIBITION ROOM AND LADIES REST ROOM FOR CONVERTING INTO MINI CONFERENCE ROOM IN FTI B. NO. 20 AT MPF AMBERNATH Tender ID: 2023_AVNL_162037_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGR MTPF (AVNL) AMBERNATH
Name of Work: REPAIRS TO EXISTING EXHIBITION ROOM AND LADIES REST ROOM FOR CONVERTING INTO MINI CONFERENCE ROOM IN FTI BLDG. NO. 20 AT MPF AMBERNATH
Contract No: 0503/02/2023-24/EO/MPF
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | J K Enterprises(GSTN-NA) |  | GOLDEN CONSTRUCTION(GSTN-NA) |  | HINDUSTAN CONSTRUCTION CO(GSTN-NA) |  | AGS ENTERRISES(GSTN-NA) |  | M/s R R ELECTRICALS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | REPAIRS TO EXISTING EXHIBITION ROOM AND LADIES REST ROOM FOR CONVERTING INTO MINI CONFERENCE ROOM IN FTI BLDG. NO. 20 AT MPF AMBERNATH
1.10 | Dismantling wrought iron or mild steel work of any description and removing material to BM store, complete cleaning of site etc all complete as directed by Engg in Charge. | 8.00 | Quintal | 574.90 | 500.00 | 4000.00 | 400.00 | 3200.00 | 540.00 | 4320.00 | 500.00 | 4000.00 | 490.00 | 3920.00 | 3200.00 | GOLDEN CONSTRUCTION
2.10 | Dismantling of wood framed work fixed with screw and removing to BM store, complete cleaning of site etc all completed as directed by Engg-in-Charge | 15.00 | Sq.m | 46.80 | 50.00 | 750.00 | 15.00 | 225.00 | 45.00 | 675.00 | 40.00 | 600.00 | 42.00 | 630.00 | 225.00 | GOLDEN CONSTRUCTION
3.10 | Dismantling of existing false ceiling boards with GI framing and removing debris outside factory premises and returning GI framing to BM Section, complete cleaning of site etc all completed as directed by Engg-in-Charge | 88.00 | Sq.m | 41.60 | 45.00 | 3960.00 | 5.00 | 440.00 | 36.00 | 3168.00 | 37.00 | 3256.00 | 38.00 | 3344.00 | 440.00 | GOLDEN CONSTRUCTION
4.10 | Demolition of brick work built in cement mortar for door opening in existing wall (dismantling in order) etc all complete as directed and removing debris outside factory premises, complete cleaning of site etc all complete as directed by Engg-in-Charge. | 3.00 | Cu.m | 770.00 | 700.00 | 2100.00 | 600.00 | 1800.00 | 630.00 | 1890.00 | 600.00 | 1800.00 | 550.00 | 1650.00 | 1650.00 | M/s R R ELECTRICALS
5.10 | M & L for Providing heavy bracket framing (beams, Tee, angle , channel or flat section) including cleats etc. all complete as directed by Engg-in-Charge. | 51.00 | Kg | 126.06 | 120.00 | 6120.00 | 120.00 | 6120.00 | 117.00 | 5967.00 | 105.00 | 5355.00 | 112.00 | 5712.00 | 5355.00 | AGS ENTERRISES
6.10 | Cutting hole into or through cement concrete not exc 250 sq.cm but not exc. 500 sq.cm and making it good, complete cleaning of site & removal of all debris outside Factory premises etc all complete as directed by Engg-in-Charge. | 810.00 | Centimeter | 28.20 | 25.00 | 20250.00 | 70.00 | 56700.00 | 27.00 | 21870.00 | 20.00 | 16200.00 | 19.00 | 15390.00 | 15390.00 | M/s R R ELECTRICALS
7.10 | Demolition of concrete in ground floor and paving n exc 15cm thick including complete cleaning of site & removal of all debris outside Factory premises etc all complete as directed by Engg-in-Charge. | 7.00 | Cu.m | 1379.50 | 700.00 | 4900.00 | 700.00 | 4900.00 | 900.00 | 6300.00 | 1100.00 | 7700.00 | 950.00 | 6650.00 | 4900.00 | J K Enterprises, GOLDEN CONSTRUCTION
8.10 | Excavation in trenches, n.exc 1.5m wide and n.exc. 1.5m in depth for foundation in hard dense soil and getting out including complete cleaning of site & removal of all debris outside Factory premises etc all completed as directed by Engg-in-Charge . | 9.00 | Cu.m | 675.00 | 650.00 | 5850.00 | 300.00 | 2700.00 | 540.00 | 4860.00 | 600.00 | 5400.00 | 460.00 | 4140.00 | 2700.00 | GOLDEN CONSTRUCTION
9.10 | M & L for Hard core with broken stone or boulders of gauges exc 63mm but n. exc.100mm, deposited spread, levelled in layers, watered, rammed etc all completed as directed by Engg-in-Charge. | 13.00 | Cu.m | 2614.90 | 2000.00 | 26000.00 | 2000.00 | 26000.00 | 1800.00 | 23400.00 | 1800.00 | 23400.00 | 1550.00 | 20150.00 | 20150.00 | M/s R R ELECTRICALS
10.10 | M&L for walling of random rubble uncoursed, well bonded ,bedded and solidly hearted , built in cement mortar 1:4 etc all complete as directed by Engg in Charge. Note: (i) Contractor shall use dust free aggregates for cement mortar preparation (ii) The cement used shall not be more than one month old. | 3.00 | Cu.m | 4828.72 | 4400.00 | 13200.00 | 3700.00 | 11100.00 | 4500.00 | 13500.00 | 4000.00 | 12000.00 | 3300.00 | 9900.00 | 9900.00 | M/s R R ELECTRICALS
11.10 | M&L for Cement concrete in foundation Type B2 1:2:4 etc all complete as directed by Engg-in-Charge. Note: (i) Contractor shall use dust free aggregates for cement mortar preparation (ii) The cement used shall not be more than one month old. | 4.00 | Cu.m | 6477.80 | 5000.00 | 20000.00 | 6000.00 | 24000.00 | 5940.00 | 23760.00 | 6100.00 | 24400.00 | 5950.00 | 23800.00 | 20000.00 | J K Enterprises
12.10 | M & L for Brick work with sub class ‘B’ Bricks Straight or curved on plan exc 6m mean radius built in cement mortar 1:4 including toothing to existing brick work for bonding etc all complete as directed by Engg-in-Charge. Note: (i) Contractor shall use dust free aggregates for cement mortar preparation (ii) The cement used shall not be more than one month old. | 21.00 | Cu.m | 5370.50 | 5300.00 | 111300.00 | 7000.00 | 147000.00 | 4950.00 | 103950.00 | 5000.00 | 105000.00 | 5150.00 | 108150.00 | 103950.00 | HINDUSTAN CONSTRUCTION CO
13.10 | M&L for Cement concrete type B0 1:2:4 in 12.5 mm graded aggregate in seismic and other similar bands, plinth courses, string corses including form work etc all complete as directed by Engg-in-Charge. Note: (i) Contractor shall use dust free aggregates for cement mortar preparation (ii) The cement used shall not be more than one month old. | 16.00 | Cu.m | 9259.40 | 8000.00 | 128000.00 | 6000.00 | 96000.00 | 7920.00 | 126720.00 | 8000.00 | 128000.00 | 7350.00 | 117600.00 | 96000.00 | GOLDEN CONSTRUCTION
14.10 | M&L for TMT bars 10mm dia and over cut to length bend to shape required and binding with annealed mild steel wire etc all complete as directed by Engg-in-Charge. Note: Sample of steel shall be got approved from EIC before use in work. | 854.00 | Kg | 82.60 | 80.00 | 68320.00 | 78.00 | 66612.00 | 81.00 | 69174.00 | 90.00 | 76860.00 | 79.00 | 67466.00 | 66612.00 | GOLDEN CONSTRUCTION
15.10 | M&L for rendering 20mm thick plaster on fair faces of brick work or concrete surface in cement mortar 1:4 etc all complete as directed by Engg-in-Charge. Note: (i) Contractor shall use dust free aggregates for cement mortar preparation (ii) The cement used shall not be more than one month old. | 189.00 | Sq.m | 321.44 | 320.00 | 60480.00 | 400.00 | 75600.00 | 306.00 | 57834.00 | 300.00 | 56700.00 | 350.00 | 66150.00 | 56700.00 | AGS ENTERRISES
16.10 | M&L for Neeru finish to plaster as specified etc all complete as directed by Engg-in-charge. | 146.00 | Sq.m | 50.00 | 45.00 | 6570.00 | 80.00 | 11680.00 | 45.00 | 6570.00 | 45.00 | 6570.00 | 35.00 | 5110.00 | 5110.00 | M/s R R ELECTRICALS
17.10 | S & F Non Asbestos fiber cement building boards 6mm thick, fixed in ceiling, laid inserted to Aluminium Framework / Grid etc all complete as directed by Engg in charge. Note: Sample, Design, pattern & make shall be got approved from EIC before fixing. | 226.00 | Sq.m | 570.50 | 580.00 | 131080.00 | 350.00 | 79100.00 | 504.00 | 113904.00 | 575.00 | 129950.00 | 455.00 | 102830.00 | 79100.00 | GOLDEN CONSTRUCTION
18.10 | S & F Anodised aluminium snap grid frame work for false ceiling all as specified including fixing to ceiling with aluminum same section / Hangers as specified and approved by the EIC etc all complete as directed by Engg in Charge. Note: Sample of all materials shall be got approved from EIC before fixing. | 226.00 | Sq.m | 600.49 | 620.00 | 140120.00 | 850.00 | 192100.00 | 540.00 | 122040.00 | 611.00 | 138086.00 | 560.00 | 126560.00 | 122040.00 | HINDUSTAN CONSTRUCTION CO
19.10 | S & F Vitrified Ceramic tiles 8 to 10 mm thick (square/ rectangular) polished (Make: HR Johnson / Somany / Kajaria), area of each tiles not exceeding 0.36 sq m, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including dismantling of existing stone slab /tile laid bedded and pointed in any mortar of any description or thickness in floor, complete cleaning of site and removing of debris outside factory premises etc all complete as directed by Engg-in-Charge. Note: Sample, Design, pattern & make shall be got approved from EIC before fixing. | 220.00 | Sq.m | 1469.80 | 1350.00 | 297000.00 | 950.00 | 209000.00 | 1260.00 | 277200.00 | 1200.00 | 264000.00 | 1350.00 | 297000.00 | 209000.00 | GOLDEN CONSTRUCTION
20.10 | M & L Screed bed or bedding layer of 1:4 cement mortar 30 mm thick for laying floor finishes etc all complete as directed by Engg-in charge. Note: (i) Contractor shall use dust free aggregates for cement mortar preparation (ii) The cement used shall not be more than one month old. | 368.00 | Sq.m | 388.34 | 350.00 | 128800.00 | 130.00 | 47840.00 | 225.00 | 82800.00 | 250.00 | 92000.00 | 235.00 | 86480.00 | 47840.00 | GOLDEN CONSTRUCTION
21.10 | M & L Cement concrete in sub base floors, in cement concrete Type B0 1:2:4 in 12.5mm graded aggregate 100mm thick etc all complete as directed by Engg-in-Charge. Note: (i) Contractor shall use dust free aggregates for cement mortar preparation (ii) The cement used shall not be more than one month old. | 205.00 | Sq.m | 704.20 | 550.00 | 112750.00 | 600.00 | 123000.00 | 603.00 | 123615.00 | 650.00 | 133250.00 | 650.00 | 133250.00 | 112750.00 | J K Enterprises
22.10 | S&F Machine cut cudappah stone slab 20-25mm thick over cement screed base, laid and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing and cutting in wall for inserting cudappah in wall etc all complete as directed by Engg-in-Charge. Note: Sample of cudappah shall be got approved from EIC before fixing. | 16.00 | Sq.m | 849.10 | 750.00 | 12000.00 | 600.00 | 9600.00 | 765.00 | 12240.00 | 800.00 | 12800.00 | 830.00 | 13280.00 | 9600.00 | GOLDEN CONSTRUCTION
23.10 | S & F Granite 20 mm thick (of any type) work (table rubbed and polished) in steps, jambs, pillars, window-cills, cooking platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite including making round edge etc all complete as directed by Engg-in-Charge. Note: Sample, colour of Granite shall be got approved from EIC before fixing. | 29.00 | Sq.m | 5183.70 | 4500.00 | 130500.00 | 4500.00 | 130500.00 | 4320.00 | 125280.00 | 4050.00 | 117450.00 | 4050.00 | 117450.00 | 117450.00 | M/s R R ELECTRICALS, AGS ENTERRISES
24.10 | S & F sinks with drainage board made of stainless steel 1 mm thick kitchen or laboratory with plugs, washers and wastes; including bedding in cement mortar to dwarf wall or including fixing cantilever brackets and connecting union to pipe overall size 915mm x 460mm, bowl size 410mm x 330mm x160mm including all fitting required for this item etc all complete as directed by Engg-in-Charge. Note: Sample of SS Sink shall be got approved from EIC before fixing. | 1.00 | Each | 4916.73 | 4500.00 | 4500.00 | 6000.00 | 6000.00 | 7200.00 | 7200.00 | 4200.00 | 4200.00 | 4550.00 | 4550.00 | 4200.00 | AGS ENTERRISES
25.10 | Supplying and laying of 20mm outer dia of pipe CPVC pipes SDR 13.5 & Plain CPVC SDR 11 fittings Make: Prince Flow Guardplus / Astral CPVC Pro / Finolex CPVC Pipes in trenches including all fitting such as bends union and other accessory complete all as directed by Engg-in-Charge. Note: Sample of CPVC pipes and fittings shall be got approved from EIC before fixing. | 25.00 | RM | 211.60 | 200.00 | 5000.00 | 200.00 | 5000.00 | 198.00 | 4950.00 | 200.00 | 5000.00 | 195.00 | 4875.00 | 4875.00 | M/s R R ELECTRICALS
26.10 | S & F Pillar taps (Make: as approved by EIC from Jaquar / Plumber) fancy type, cast copper alloy, with capstan heads, chromium plated, screwed down high pressure, with or without lettered 'Hot' or 'Cold' with long screwed shanks and fly-nuts, screwed for iron pipe and fixed etc all complete as directed by Engg-in-Charge. Note: Sample of pillar taps shall be got approved from EIC before fixing. | 1.00 | Each | 676.44 | 643.00 | 643.00 | 600.00 | 600.00 | 720.00 | 720.00 | 700.00 | 700.00 | 630.00 | 630.00 | 600.00 | GOLDEN CONSTRUCTION
27.10 | S & F PVC (SWR) pipes 75mm dia (Make: Prince / Kisan) single socketed, in any length with rubber ring joints, laid in trenches or in floors including Tee bend etc all complete as directed by Engg-in-Charge. Note: Sample of pipes and fittings shall be got approved from EIC before fixing. | 87.00 | RM | 160.00 | 150.00 | 13050.00 | 200.00 | 17400.00 | 160.00 | 13920.00 | 150.00 | 13050.00 | 152.00 | 13224.00 | 13050.00 | J K Enterprises, AGS ENTERRISES
28.10 | Design supply & installation of suspended Spider glazing system designed to withstand the wind pressure as per IS 875(Part II) .The Suspended system held with Spider fittings of SS316 grade steel of approved manufacturer with glass panel having 12mm thick clear toughened glass hold together with SS 316 grade stainless steel Spider and bolt assembly with laminated glass fin 21 mm thick. The glass fins and glass panel assembly shall be connected to slab/ beams by means of SS316 grade stainless steel brackets and anchor bolts, non staining weather sealants of approved make, Teflon/nylon bushes and separator to prevent bi-metallic contact, all complete to perform as per specification and approved drawings. The complete system to be designed to accommodate thermal expansion and seismic movement etc. The joints between glass panels (6 to 8mm) and gaps at their perimeter and in U channel of the assembly to be filled with non staining weather sealant, so as to make the entire system fully water proof and dust proof. The rate shall include all design, Engineering and shop drawing including approval from structural designer, labour, T&P, scaffolding, other incidental charges including wastage, enabling temporary services all fitting fixtures nut bolt, washer, buffer plates, fasteners, anchor, SS Channel laminated glass etc. all completed for the purpose of payment, actual elevation area of glazing including thickness of joints and portion of glass panel inside the SS channel shall be measured etc all completed as directed by Engg-in-Charge. Note: Sample of all materials and fixtures / fittings shall be got approved from EIC before use in work. | 45.00 | Sq.m | 8230.05 | 8000.00 | 360000.00 | 5000.00 | 225000.00 | 9000.00 | 405000.00 | 7850.00 | 353250.00 | 7550.00 | 339750.00 | 225000.00 | GOLDEN CONSTRUCTION
29.10 | Providing and fixing (1.9 m x 2.2m Approx, Contractor shall provide door as per actual measurement reqd. at site) 12mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top and bottom pivot and double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required fitting including Door handle, locking arrangement and heavy duty hydraulic floor machine 2 Nos. for Each door (Make: Godrej / dormakaba), stickers and film as per direction of Engg-in Charge including Door handle, lock and stopper of approved make and brand etc all complete as directed by Engg-in-Charge. Note: Sample of all materials and fixtures / fittings shall be got approved from EIC before use in work. | 3.00 | Each | 61360.00 | 58000.00 | 174000.00 | 20000.00 | 60000.00 | 63000.00 | 189000.00 | 55000.00 | 165000.00 | 53500.00 | 160500.00 | 60000.00 | GOLDEN CONSTRUCTION
30.10 | M & L for applying two coats of Plastic emulsion (Make: 1st Quality from Nerolac/ Burger / Asian as approved by the Engg in Charge) on wall including preparation of surfaces, priming paints plaster coat (alkali resistant) & 3 mm thick wall care putty etc all complete as directed by Engg-in-Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 289.00 | Sq.m | 234.34 | 180.00 | 52020.00 | 60.00 | 17340.00 | 207.00 | 59823.00 | 200.00 | 57800.00 | 165.00 | 47685.00 | 17340.00 | GOLDEN CONSTRUCTION
31.10 | M&L for applying two coat of Plastic emulsion on ceiling including preparation of new surfaces, priming coat (alkali resistant) etc all complete as directed by Engg-in-Charge. Make: 1st Quality from Nerolac/ Burger / Asian as approved by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 183.00 | Sq.m | 143.20 | 150.00 | 27450.00 | 50.00 | 9150.00 | 136.00 | 24888.00 | 140.00 | 25620.00 | 110.00 | 20130.00 | 9150.00 | GOLDEN CONSTRUCTION
32.10 | M&L for Plain solid straight door chowkhats and frame in 1st class hard wood , wrought framed rebated on the solid rounded or chamfered put together with glue pinned at joints including hold fast and two coat of synthetic enamel paint and primer etc all complete as directed by Engg-in-Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | .11 | Cu.m | 172774.30 | 150000.00 | 16500.00 | 100000.00 | 11000.00 | 151000.00 | 16610.00 | 165000.00 | 18150.00 | 162774.00 | 17905.14 | 11000.00 | GOLDEN CONSTRUCTION
33.10 | S & F flush door shutter 30mm thick , solid core with block board and plywood face panels, commercial type on both side including sunmica/ veneer on both face with three hinges and all other fitting like sliding bolt locking arrangement stopper door closer (all fittings shall be of approved sample & design by the EIC)etc all complete as directed by Engg-in-Charge.Note: Sample of all materials shall be got approved from EIC before use in work. | 3.00 | Sq.m | 3006.50 | 2800.00 | 8400.00 | 3000.00 | 9000.00 | 3006.00 | 9018.00 | 2500.00 | 7500.00 | 2850.00 | 8550.00 | 7500.00 | AGS ENTERRISES
34.10 | S & F Vitreous china wash basin size 580 mm x 450 mm (or equivalent as approved by EIC as per selected model) Make: Jaquar / Aquant / Parryware with pedestal (or to be fixed over table top as approved & directed by EIC) with brass CP bottle traps with inlet & outlet screwed for pipe or connections including necessary packing, union & cap fixed including all accessories fixed & secured in position etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 2.00 | Each | 3816.65 | 3500.00 | 7000.00 | 1500.00 | 3000.00 | 3600.00 | 7200.00 | 3700.00 | 7400.00 | 2850.00 | 5700.00 | 3000.00 | GOLDEN CONSTRUCTION
35.10 | M & L for Moorum/red bajri filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, levelled and rammed including watering, thorough cleaning of site etc all complete as directed by the Engg in Charge. | 21.00 | Cu.m | 1240.10 | 900.00 | 18900.00 | 300.00 | 6300.00 | 900.00 | 18900.00 | 800.00 | 16800.00 | 990.00 | 20790.00 | 6300.00 | GOLDEN CONSTRUCTION
36.10 | S & F Machine pressed precast concrete interlocking paver block Minimum 60mm thickness any shape and size of required colour, quality & design as approved by the Engg in Charge etc all complete as directed. Note: Sample of all materials shall be got approved from EIC before use in work. | 148.00 | Sq.m | 741.60 | 680.00 | 100640.00 | 800.00 | 118400.00 | 720.00 | 106560.00 | 625.00 | 92500.00 | 705.00 | 104340.00 | 92500.00 | AGS ENTERRISES
37.10 | Supply & Fixing Sheet Metal Enclosure Three Pole & Neutral 6 Way Make: Siemens/L&T/Standard etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 1.00 | Each | 1736.70 | 1400.00 | 1400.00 | 3000.00 | 3000.00 | 1710.00 | 1710.00 | 1650.00 | 1650.00 | 1450.00 | 1450.00 | 1400.00 | J K Enterprises
38.10 | Supply & Fixing Sheet Metal Enclosure Single Pole & Neutral 2 Way ( 4 Pole Enclosure used to Mount MCB or Main MCCB OF 125Amp for Main Circuit protection, as directed by Engg-in-Charge), Make: Siemens/L&T/Standard etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 1.00 | Each | 544.10 | 500.00 | 500.00 | 2000.00 | 2000.00 | 450.00 | 450.00 | 500.00 | 500.00 | 425.00 | 425.00 | 425.00 | M/s R R ELECTRICALS
39.10 | Supply & Fixing of 4 Pole MCCB 125 Amps in Proper Sheet Metal Casing for Mounting as directed by Engg-in-Charge, Make: Siemens/L&T/Standard/ Legrand etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 1.00 | Each | 4617.65 | 4000.00 | 4000.00 | 15000.00 | 15000.00 | 4500.00 | 4500.00 | 4500.00 | 4500.00 | 4218.00 | 4218.00 | 4000.00 | J K Enterprises
40.10 | Supply & Fixing of Isolator TPN MCB 100 Amps Make: Siemens/L&T/Standard/Legrand etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 1.00 | Each | 1700.50 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 1810.00 | 1810.00 | 1500.00 | 1500.00 | 1550.00 | 1550.00 | 1500.00 | J K Enterprises, AGS ENTERRISES
41.10 | Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles Neutral and current carrying capacity 40 AMP, in the MCB DB Complete with connection testing and commissioning. Make: Siemens/L&T/ Standard/Legrand etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 11.00 | Each | 431.52 | 400.00 | 4400.00 | 200.00 | 2200.00 | 405.00 | 4455.00 | 350.00 | 3850.00 | 405.00 | 4455.00 | 2200.00 | GOLDEN CONSTRUCTION
42.10 | Supply & Fixing of Modular switches 1 way, 10 Amp, 1 Module, Make: Anchor/ Roma/GM/Cona/ Legrand etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 55.00 | Each | 260.50 | 200.00 | 11000.00 | 200.00 | 11000.00 | 225.00 | 12375.00 | 222.00 | 12210.00 | 63.00 | 3465.00 | 3465.00 | M/s R R ELECTRICALS
43.10 | Supply & Fixing of Modular Socket 6A, 2/3 Pin, 2 Modules, all including wiring to complete circuit of socket, Make: Anchor/Roma/GM/Havells/Legrand etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 28.00 | Each | 340.54 | 250.00 | 7000.00 | 100.00 | 2800.00 | 306.00 | 8568.00 | 325.00 | 9100.00 | 115.00 | 3220.00 | 2800.00 | GOLDEN CONSTRUCTION
44.10 | Supply & Fixing of Modular switches 1 way, 16Amp, 1 Module, Make: Anchor/ Roma/GM/Havells/ Legrand etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 13.00 | Each | 343.70 | 300.00 | 3900.00 | 200.00 | 2600.00 | 306.00 | 3978.00 | 330.00 | 4290.00 | 195.00 | 2535.00 | 2535.00 | M/s R R ELECTRICALS
45.10 | Supply & Fixing of Modular Socket 6/16A, 2/3 Pin, 2 Modules, all including wiring to complete circuit of socket, Make: Anchor/Roma/GM/Havells/Legrand etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 13.00 | Each | 528.40 | 450.00 | 5850.00 | 150.00 | 1950.00 | 504.00 | 6552.00 | 450.00 | 5850.00 | 255.00 | 3315.00 | 1950.00 | GOLDEN CONSTRUCTION
46.10 | Supply and Fixing of PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 4 Core, 1100 volts grade, cross-sectional area 35 sq. mm, Make: Polycab, Finolex etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 18.00 | RM | 689.00 | 550.00 | 9900.00 | 150.00 | 2700.00 | 630.00 | 11340.00 | 600.00 | 10800.00 | 356.00 | 6408.00 | 2700.00 | GOLDEN CONSTRUCTION
47.10 | S & F Wiring for Circuit / Submain wiring along with earth wire with 2 x 4 sq.mm + 1 x 2.5 Sq.mm earth wire of FR PVC insulated copper conductor (Make: Finolex / Polycab / Havells ) in PVC Conduit Pipe (or Casing and Caping where ever required as per site requirement), Make: Precision / Pressfit etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 273.00 | RM | 215.00 | 170.00 | 46410.00 | 200.00 | 54600.00 | 215.00 | 58695.00 | 200.00 | 54600.00 | 202.00 | 55146.00 | 46410.00 | J K Enterprises
48.10 | Material and Labour for One Light Point or one Fan point controlled by one switch with cables 1.5 Sq.mm Size (separate Neutral Wire for individual circuit) in PVC Casing n Caping Make: Finolex/Polycab etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 28.00 | Each | 721.31 | 54.00 | 1512.00 | 500.00 | 14000.00 | 720.00 | 20160.00 | 650.00 | 18200.00 | 565.00 | 15820.00 | 1512.00 | J K Enterprises
49.10 | Labour for Additional Light Point or one Fan point controlled by one switch with cables 1.5 Sq.mm Size in PVC Casing and Caping, Material is included in Point Wiring, Make: Finolex/Polycab etc all complete as directed by the Engg in Charge. | 30.00 | Each | 238.68 | 200.00 | 6000.00 | 400.00 | 12000.00 | 207.00 | 6210.00 | 211.00 | 6330.00 | 305.00 | 9150.00 | 6000.00 | J K Enterprises
50.10 | Supply and Fixing of MODULAR METAL/PVC FLUSH BOX 6 Module, Make: Anchor/Roma/GM/Havells/Legrand etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 18.00 | Each | 284.10 | 200.00 | 3600.00 | 300.00 | 5400.00 | 270.00 | 4860.00 | 250.00 | 4500.00 | 145.00 | 2610.00 | 2610.00 | M/s R R ELECTRICALS
51.10 | Supply and Fixing of Modular White Cover Plate with Frame 6 Module, Make: Anchor/Roma/GM/Havells / Legrand etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 18.00 | Each | 309.60 | 250.00 | 4500.00 | 300.00 | 5400.00 | 306.00 | 5508.00 | 300.00 | 5400.00 | 145.00 | 2610.00 | 2610.00 | M/s R R ELECTRICALS
52.10 | Supply and Fixing of MODULAR METAL/PVC FLUSH BOX 2 Module (use for RJ11 & RJ45 Port), Make: Anchor/Roma/GM/Havells/Legrand etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 4.00 | Each | 179.10 | 150.00 | 600.00 | 200.00 | 800.00 | 180.00 | 720.00 | 150.00 | 600.00 | 83.00 | 332.00 | 332.00 | M/s R R ELECTRICALS
53.10 | Supply and Fixing of Modular White Cover Plate with Frame 2 Module (use for RJ11 & RJ45 Port), Make: Anchor / Roma / GM /Havells / Legrand etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 4.00 | Each | 195.80 | 160.00 | 640.00 | 500.00 | 2000.00 | 198.00 | 792.00 | 165.00 | 660.00 | 97.00 | 388.00 | 388.00 | M/s R R ELECTRICALS
54.10 | Fixing of MODULAR METAL/PVC FLUSH BOX 6 Module (or 12 Module Metal/PVC Flush Box as per site requirement), Make: Anchor/Roma/GM/Havells/Legrand etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 4.00 | Each | 107.70 | 80.00 | 320.00 | 500.00 | 2000.00 | 108.00 | 432.00 | 80.00 | 320.00 | 105.00 | 420.00 | 320.00 | J K Enterprises, AGS ENTERRISES
55.10 | Fixing of Modular White Cover Plate with Frame 8 Module or 12 Module Metal/PVC Flush Box as per site requirement), Make: Anchor/Roma/GM/Havells / Legrand etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 4.00 | Each | 43.40 | 35.00 | 140.00 | 500.00 | 2000.00 | 45.00 | 180.00 | 40.00 | 160.00 | 42.00 | 168.00 | 140.00 | J K Enterprises
56.10 | Hanging only ceiling fan (Recessed Mount Fan) (M.D. supply) and connecting up including provision of cable from ceiling rose or connector to fan etc all complete as directed by the Engg in Charge. | 6.00 | Each | 170.60 | 150.00 | 900.00 | 200.00 | 1200.00 | 171.00 | 1026.00 | 150.00 | 900.00 | 100.00 | 600.00 | 600.00 | M/s R R ELECTRICALS
57.10 | Fixing only 20 Watts LED Tube light fixtures (M.D supply) (Panel Light) Complete with all accessories prewired and including connecting up with three core flexible copper conductor cable with suitable size in flexible conduit etc all complete as directed by the Engg in Charge. | 24.00 | Each | 139.67 | 110.00 | 2640.00 | 300.00 | 7200.00 | 136.00 | 3264.00 | 150.00 | 3600.00 | 77.00 | 1848.00 | 1848.00 | M/s R R ELECTRICALS
58.10 | Supply and Fixing of Single pole enclosure with a two pin and earth plug and socket, 20 Amp complete with Single pole MCB, Make: L&T / Schneider / Siemens /Anchor / Havells etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 6.00 | Each | 1817.80 | 1450.00 | 8700.00 | 100.00 | 600.00 | 1440.00 | 8640.00 | 1700.00 | 10200.00 | 1205.00 | 7230.00 | 600.00 | GOLDEN CONSTRUCTION
59.10 | S & F of Ceiling Rose 6A, 3 Point Make: Anchor/Roma/GM/Cona/Legrand etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 58.00 | Each | 65.70 | 45.00 | 2610.00 | 30.00 | 1740.00 | 63.00 | 3654.00 | 60.00 | 3480.00 | 35.00 | 2030.00 | 1740.00 | GOLDEN CONSTRUCTION
60.10 | Supply and fixing of round shape 6 watt 220 volts AC recessed type with high efficiency PMMA diffuser soft glare free light complete with drivers, holders, LED lamp suitable for roof ceiling including connecting up with three core flexible copper conductor cable of suitable size complete, Make: Philips / Havells / Wipro / Surya etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 24.00 | Each | 720.00 | 600.00 | 14400.00 | 1200.00 | 28800.00 | 900.00 | 21600.00 | 680.00 | 16320.00 | 630.00 | 15120.00 | 14400.00 | J K Enterprises
61.10 | Fixing of round shape 6 watt 220 volts AC recessed type with high efficiency PMMA diffuser soft glare free light complete with drivers, holders, LED lamp suitable for roof ceiling including connecting up with three core flexible copper conductor cable of suitable size complete, Make: Philips / Havells / Wipro / Surya etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 16.00 | Each | 75.25 | 50.00 | 800.00 | 1300.00 | 20800.00 | 72.00 | 1152.00 | 72.00 | 1152.00 | 63.00 | 1008.00 | 800.00 | J K Enterprises
62.10 | Fixing of PVC Conduit Pipe for telephone & Computer cables 16MM Dia etc all complete as directed by the Engg in Charge. | 50.00 | RM | 103.64 | 80.00 | 4000.00 | 100.00 | 5000.00 | 90.00 | 4500.00 | 90.00 | 4500.00 | 53.00 | 2650.00 | 2650.00 | M/s R R ELECTRICALS
63.10 | Cutting chases, pinning in Stone Concrete block or slab wall making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.and cutting chases for concealed water tubing or concealed conduit wiring, etc. and making good, cutting exceeding 20cm girth including complete cleaning of site and removal of all rubbish outside Factory Premises etc all complete as directed by the Engg in Charge. | 115.00 | RM | 65.40 | 45.00 | 5175.00 | 40.00 | 4600.00 | 63.00 | 7245.00 | 55.00 | 6325.00 | 42.00 | 4830.00 | 4600.00 | GOLDEN CONSTRUCTION
64.10 | Dismantling and taking down fluorescent tube light single/double of any wattage or size of burnt/worn out accessories repair or carrying to store all including connected wire, conduit pipe and switch socket board etc all complete as directed by the Engg in Charge. | 30.00 | Each | 235.60 | 200.00 | 6000.00 | 20.00 | 600.00 | 180.00 | 5400.00 | 200.00 | 6000.00 | 75.00 | 2250.00 | 600.00 | GOLDEN CONSTRUCTION
65.10 | Supply and Fixing of MODULAR METAL/PVC FLUSH BOX 12 Module with 12 Module White Cover Plate with Frame, Make: Anchor/Roma/GM/Havells/Legrand/ Benlo etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 5.00 | Each | 287.21 | 230.00 | 1150.00 | 200.00 | 1000.00 | 270.00 | 1350.00 | 260.00 | 1300.00 | 267.00 | 1335.00 | 1000.00 | GOLDEN CONSTRUCTION
66.10 | Supply and Fixing of Recessed Mount False Ceiling Air circulator Fan, Size: 24 Inch x 24 Inch, for proper circulation of Air conditioner cooling in conference room etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 6.00 | Each | 8662.50 | 7250.00 | 43500.00 | 5000.00 | 30000.00 | 9000.00 | 54000.00 | 800.00 | 4800.00 | 12500.00 | 75000.00 | 4800.00 | AGS ENTERRISES
67.10 | Supply and Fixing of Decorative LED Lighting Aluminium Die Cast White/Black Finish 12 Watt LED Track Light with High Quality Driver with comprehensive warranty of Min. 2 Years, Make: Bajaj / Surya / Learc / Philip/ Havells / or any reputed make as suggested by Engg-in-charge etc all complete as directed. Note: Sample of all materials shall be got approved from EIC before use in work. | 16.00 | Each | 790.00 | 680.00 | 10880.00 | 2000.00 | 32000.00 | 900.00 | 14400.00 | 700.00 | 11200.00 | 740.00 | 11840.00 | 10880.00 | J K Enterprises
68.10 | Supply and Fixing of Track Light Channel 1 Mtrs for mounting of Decorative LED Lighting Aluminium Die Cast White/Black Finish 12 Watt LED Track Light with High Quality Driver, Make: Bajaj / Surya / Learc / Philip/ Havells / or any reputed make as suggested by Engg-in-charge etc all complete as directed. Note: Sample of all materials shall be got approved from EIC before use in work. | 4.00 | Each | 765.00 | 700.00 | 2800.00 | 400.00 | 1600.00 | 900.00 | 3600.00 | 711.00 | 2844.00 | 655.00 | 2620.00 | 1600.00 | GOLDEN CONSTRUCTION
69.10 | Supply and Fixing of Stainless Steel (SS202/SS304) Cable Raceway with elegant look for Floor Surface witch screwable Plate, Dimension: 44 mm x 60mm, Thickness" 2 MM, used for routing communication and power cable from Floor etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 15.00 | RM | 309.00 | 260.00 | 3900.00 | 1000.00 | 15000.00 | 306.00 | 4590.00 | 280.00 | 4200.00 | 295.00 | 4425.00 | 3900.00 | J K Enterprises
70.10 | Supply and Fixing of Stainless Steel (SS202/SS304) Cable Raceway Junction Box with elegant look for Floor Surface witch screwable Plate, Dimension: 44 mm x 60mm x 60mm, Thickness" 2 MM, used for routing communication and power cable from Floor etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 3.00 | Each | 155.00 | 140.00 | 420.00 | 2000.00 | 6000.00 | 153.00 | 459.00 | 140.00 | 420.00 | 155.00 | 465.00 | 420.00 | J K Enterprises, AGS ENTERRISES
71.10 | Supply and Fixing of HDMI Cable for Projector 15 meters etc all complete as directed by the Engg in Charge. | 3.00 | Each | 1120.00 | 1000.00 | 3000.00 | 300.00 | 900.00 | 900.00 | 2700.00 | 1000.00 | 3000.00 | 1100.00 | 3300.00 | 900.00 | GOLDEN CONSTRUCTION
72.10 | Supply and Fixing of Solid PVC Conduit Pipe with bend 16mm for Telephone/Computer Cable 32 x 12 mm, Make: Pressfit / Precision etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 50.00 | RM | 26.67 | 20.00 | 1000.00 | 100.00 | 5000.00 | 27.00 | 1350.00 | 20.00 | 1000.00 | 55.00 | 2750.00 | 1000.00 | J K Enterprises, AGS ENTERRISES
73.10 | Supply and Fixing of 4 PAIR CAT6 UTP CABLE FOR NETWORKING etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 150.00 | RM | 10.00 | 8.00 | 1200.00 | 100.00 | 15000.00 | 9.00 | 1350.00 | 12.00 | 1800.00 | 32.00 | 4800.00 | 1200.00 | J K Enterprises
74.10 | S & F RJ-11 Modular Sockets for Telephone connection, Make: Havells/ Anchor/Cona/Legrand etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 4.00 | Each | 36.00 | 30.00 | 120.00 | 350.00 | 1400.00 | 36.00 | 144.00 | 30.00 | 120.00 | 52.00 | 208.00 | 120.00 | J K Enterprises, AGS ENTERRISES
75.10 | S & F RJ-45 Modular Sockets for Computer LAN connection, Make: Havells /Anchor/Cona/Legrand etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 4.00 | Each | 144.92 | 120.00 | 480.00 | 800.00 | 3200.00 | 144.00 | 576.00 | 120.00 | 480.00 | 135.00 | 540.00 | 480.00 | J K Enterprises, AGS ENTERRISES
76.10 | Supply and installation of hi wall split AC units indoor/outdoor complete with cordless remote control unit and with inbuilt air ionizer and Plasma filter for better indoor air quality with minimum 5 star rating and EER 3.2.of capacity 1.5 TR of (Make: LG/Voltas/Bluestar) etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from EIC before use in work. | 6.00 | Each | 60815.37 | 53500.00 | 321000.00 | 57000.00 | 342000.00 | 51306.00 | 307836.00 | 50000.00 | 300000.00 | 55700.00 | 334200.00 | 300000.00 | AGS ENTERRISES
| Total in Figures |  |  |  |  | 2770000.00 |  | 2481497.00 |  | 2796957.00 |  | 2660408.00 |  | 2681975.14
Lowest Amount Quoted BY: GOLDEN CONSTRUCTION(2481497.00)

## BOQ Summary
BOQ Summary Details Tender Title: REPAIRS TO EXISTING EXHIBITION ROOM AND LADIES REST ROOM FOR CONVERTING INTO MINI CONFERENCE ROOM IN FTI B. NO. 20 AT MPF AMBERNATH Tender ID: 2023_AVNL_162037_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GOLDEN CONSTRUCTION | 2481497.00 | L1
| 2 | AGS ENTERRISES | 2660408.00 | L2
| 3 | M/s R R ELECTRICALS | 2681975.14 | L3
| 4 | J K Enterprises | 2770000.00 | L4
| 5 | HINDUSTAN CONSTRUCTION CO | 2796957.00 | L5