## BoQ1
Government eProcurement System Created By: YOGESH BHALERAO Created Date/Time: 27-Nov-2023 03:40 PM Tender Title: REPLACEMENT OF STREET LIGHT POLES IN MPF Tender ID: 2023_AVNL_162587_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGR MTPF (AVNL) AMBERNATH
Name of Work: REPLACEMENT OF STREET LIGHT POLES IN MPF.
Contract No: 0503/13/2022-23/EO/MPF
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUNBUD MULTIVENTURES PVT. LTD(GSTN-NA) |  | ADARSH ELECTRICALS(GSTN-NA) |  | Hi tech CONSTRUCTIONGROUP(GSTN-NA) |  | Ajay Enterprises(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | REPLACEMENT OF STREET LIGHT POLES IN MPF.
1.10 | Excavating in trenches, n exc 1.5 m wide and n exc 1.5 m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. n exc 10 sq m on plan and n exc1.5 m in depth and getting out in Hard Dense Soil including complete cleaning of site, removal of all rubbish outside Factory premises etc all complete as directed by the Engg in Charge. Important Note: Care shall be taken by Contractor not to damage any underground cable (HT / LT), Water Pipe Lines, Optical Fiber Cables etc. In case of any such damage Contractor shall rectify the Defects at his own risk & cost. | 540.00 | Cu.m | 675.00 | 550.00 | 297000.00 | 910.00 | 491400.00 | 500.00 | 270000.00 | 500.00 | 270000.00 | 270000.00 | Ajay Enterprises, Hi tech CONSTRUCTIONGROUP
2.10 | Excavating in trenches, n exc 1.5 m wide and n exc 1.5 m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. n exc 10 sq m on plan and n exc1.5 m in depth and getting out in soft/disintegrated rock including complete cleaning of site, removal of all rubbish outside Factory premises etc all complete as directed by the Engg in Charge. Important Note: Care shall be taken by Contractor not to damage any underground cable (HT / LT), Water Pipe Lines, Optical Fiber Cables etc. In case of any such damage Contractor shall rectify the Defects at his own risk & cost. | 450.00 | Cu.m | 1542.00 | 1000.00 | 450000.00 | 2082.00 | 936900.00 | 400.00 | 180000.00 | 675.00 | 303750.00 | 180000.00 | Hi tech CONSTRUCTIONGROUP
3.10 | Return filing in soft disintegrated rocks, including spreading, leveling, watering and well ramming in layers not exc 25 CM including complete cleaning of site, removal of all rubbish outside Factory premises etc all complete as directed by the Engg in Charge. | 450.00 | Cu.m | 185.00 | 115.00 | 51750.00 | 250.00 | 112500.00 | 180.00 | 81000.00 | 120.00 | 54000.00 | 51750.00 | SUNBUD MULTIVENTURES PVT. LTD
4.10 | Return filing in Hard Dense Soil, including spreading, leveling, watering and well ramming in layers not exc 25 CM including complete cleaning of site, removal of all rubbish outside Factory premises etc all complete as directed by the Engg in Charge | 540.00 | Cu.m | 139.10 | 110.00 | 59400.00 | 338.00 | 182520.00 | 200.00 | 108000.00 | 100.00 | 54000.00 | 54000.00 | Ajay Enterprises
5.10 | Demolition of reinforced concrete any description in any position not specifically provided including complete cleaning of site, removal of all rubbish outside Factory premises etc all complete as directed by the Engg in Charge. | 75.00 | Cu.m | 1883.70 | 1750.00 | 131250.00 | 2542.00 | 190650.00 | 200.00 | 15000.00 | 1500.00 | 112500.00 | 15000.00 | Hi tech CONSTRUCTIONGROUP
6.10 | M & L for Providing cement concrete in roof kerbs or mud stops rounded or chamfered on edges Type B1 1:2:4 (20 mm graded aggregate ) including complete cleaning of site, thorough curing of concrete work, removal of all rubbish outside Factory premises all complete as directed by the Engg in Charge. | 75.00 | Cu.m | 8369.30 | 7500.00 | 562500.00 | 7425.00 | 556875.00 | 1400.00 | 105000.00 | 6000.00 | 450000.00 | 105000.00 | Hi tech CONSTRUCTIONGROUP
7.10 | M & L for Providing cement concrete in roof kerbs or mud stops rounded or chamfered on edges Type B1 1:2:4 (20 mm graded aggregate ) including complete cleaning of site, thorough curing of concrete work, removal of all rubbish outside Factory premises all complete as directed by the Engg in Charge. | 12.38 | Cu.m | 8369.30 | 6500.00 | 80470.00 | 7425.00 | 91921.50 | 1400.00 | 17332.00 | 7000.00 | 86660.00 | 17332.00 | Hi tech CONSTRUCTIONGROUP
8.10 | Labour charges for removing excavated material soils etc up to 0.5 Km and depositing where directed cleaning of site, path of transport etc all complete as directed by the Engg in Charge. | 112.50 | Cu.m | 324.00 | 300.00 | 33750.00 | 270.00 | 30375.00 | 150.00 | 16875.00 | 300.00 | 33750.00 | 16875.00 | Hi tech CONSTRUCTIONGROUP
9.10 | Labour charges for removing excavated material rocks etc up to 0.5 Km and depositing where directed including complete cleaning of site, path of transport etc all complete as directed by the Engg in Charge. | 37.50 | Cu.m | 436.40 | 400.00 | 15000.00 | 270.00 | 10125.00 | 180.00 | 6750.00 | 350.00 | 13125.00 | 6750.00 | Hi tech CONSTRUCTIONGROUP
10.10 | Supplying and laying un-reinforced precast concrete cable cover, class HVP, type 2 flat, size 450mm x 180mm x 40mm etc all complete as directed by the Engg in Charge. Important Note: Sample of material shall be got approved from EIC before use in works. | 5750.00 | Each | 85.40 | 100.00 | 575000.00 | 473.00 | 2719750.00 | 140.00 | 805000.00 | 60.00 | 345000.00 | 345000.00 | Ajay Enterprises
11.10 | Material & Labour for 4 core XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 16 sq mm electric power cables (heavy duty) [Make: Polycab / Finolex / CCI] etc to be laid in trenches / fixed on walls all complete as directed by the Engg in Charge. Important Note: Sample of material shall be got approved from EIC before use in works. | 3500.00 | RM | 193.50 | 192.00 | 672000.00 | 239.00 | 836500.00 | 140.00 | 490000.00 | 180.00 | 630000.00 | 490000.00 | Hi tech CONSTRUCTIONGROUP
12.10 | S & F Earth continuity conductor or main earthing lead fixed to wall on batten or recess or chases or buried in ground or fixed to poles or any other indicated drawn in Conduit / pipe or situation for loop earthing etc. as required 4 mm dia galvanised iron etc all complete as directed by the Engg in Charge. Important Note: Sample of material shall be got approved from EIC before use in works. | 7000.00 | RM | 60.20 | 55.00 | 385000.00 | 70.00 | 490000.00 | 70.00 | 490000.00 | 40.00 | 280000.00 | 280000.00 | Ajay Enterprises
13.10 | Supply & Fixing of 3 Core Cable with copper conductor PVC round sheathed (flexible) industrial cable of Size 2.5 Sq mm of [make Finolex/Havells/Polycab] etc all complete as directed by the Engg in Charge. Important Note: Sample of material shall be got approved from EIC before use in works. | 1000.00 | RM | 94.05 | 80.00 | 80000.00 | 197.00 | 197000.00 | 85.00 | 85000.00 | 80.00 | 80000.00 | 80000.00 | Ajay Enterprises, SUNBUD MULTIVENTURES PVT. LTD
14.10 | S & F Tubes, 'Medium grade' 50 mm, galvanised, with all fitting; laid in trenches, across culverts, Road crossings etc all complete as directed by the Engg in Charge. Important Note: Sample of material shall be got approved from EIC before use in works. | 240.00 | RM | 421.20 | 410.00 | 98400.00 | 108.00 | 25920.00 | 1000.00 | 240000.00 | 375.00 | 90000.00 | 25920.00 | ADARSH ELECTRICALS
15.10 | Removing of Existing Cables, cement concrete Poles and shifting to store including complete cleaning of site etc all complete as directed by the Engg in Charge. | 600.00 | Quintal | 235.60 | 225.00 | 135000.00 | 319.00 | 191400.00 | 720.00 | 432000.00 | 300.00 | 180000.00 | 135000.00 | SUNBUD MULTIVENTURES PVT. LTD
16.10 | Removal of Existing Steel Poles, Cleaning/polishing all the surface making good & rust free, Painting with 1 under-coat, 2 Coats of Silver Enamel Paints, and erection at new location including complete cleaning of site etc all complete as directed by the Engg in Charge. Important Note: Sample of material shall be got approved from EIC before use in works. | 50.00 | Each | 2360.00 | 2200.00 | 110000.00 | 4725.00 | 236250.00 | 14500.00 | 725000.00 | 2000.00 | 100000.00 | 100000.00 | Ajay Enterprises
17.10 | Supply & Fixing Water Proof Junction Box IP 66 with 3 cut outs suitable connector for terminating incoming and outgoing cable with suitable glands & lugs with 2 Nos Din rail mounted MCB of Rating 6 Amps including termination of cables. [Make: Hensel / Schnieder / Siemens] etc all complete as directed by the Engg in Charge. Important Note: Sample of material shall be got approved from EIC before use in works. | 150.00 | Each | 5239.20 | 5000.00 | 750000.00 | 675.00 | 101250.00 | 2500.00 | 375000.00 | 3250.00 | 487500.00 | 101250.00 | ADARSH ELECTRICALS
18.10 | Supply of Real Time Counter based Street Light Switching Panel with a) RTC based programmable Almanac Timer b) MCB and Contactors for each Phase( 3Nos) c) Bypass Switch for Manual Over ride d) Appropriate LED indicators for Power Status e) Duly wired for Ready use f) MS Powder coated Enclosure IP 65 With Minimum 1.6 mm Sheets size 600 mm x 600 mm x 250 mm Wall/Foot mounting type with cut outs for Cable entry etc all complete as directed by the Engg in Charge. Important Note: Sample of material shall be got approved from EIC before use in works. | 3.00 | Each | 46610.00 | 45000.00 | 135000.00 | 118125.00 | 354375.00 | 70000.00 | 210000.00 | 42000.00 | 126000.00 | 126000.00 | Ajay Enterprises
19.10 | Installation of Control panel for street lights and perimeter lights etc all complete as directed by the Engg in Charge. | 3.00 | Each | 2360.00 | 2100.00 | 6300.00 | 7425.00 | 22275.00 | 20000.00 | 60000.00 | 2000.00 | 6000.00 | 6000.00 | Ajay Enterprises
20.10 | Supply & Fixing of Pyro Elelectric Infra Red (PIR) & Light Dependent Resistor (LDR) based Street light fitting, 230 Volts AC 50 Hz, 50 Watts pole mountable/wall mountable of standard make including brackets / pipe etc all complete as directed by the Engg in Charge. Important Note: Sample of material shall be got approved from EIC before use in works. | 150.00 | Each | 4071.00 | 4000.00 | 600000.00 | 12825.00 | 1923750.00 | 5200.00 | 780000.00 | 3500.00 | 525000.00 | 525000.00 | Ajay Enterprises
21.10 | S & F 9 Meter Hot Dip Galvanized Octagonal Pole with Bottom 155 mm, Top 70 mm Base Plate 260 x 260 x 20 mm with Long Double Cross arms with Foundation Bolts M20 x 750 mm including Foundation 1M x 1M x 1 M, Erection & Commissioning with Required 3 Core Cables for connecting the Light fixture from junction box etc all complete as directed by the Engg in Charge. Important Note: Sample of material shall be got approved from EIC before use in works. | 100.00 | Each | 30677.64 | 29500.00 | 2950000.00 | 29430.00 | 2943000.00 | 25000.00 | 2500000.00 | 23500.00 | 2350000.00 | 2350000.00 | Ajay Enterprises
22.10 | Testing of Existing cables and installation with new glands and lugs etc all complete as directed by the Engg in Charge. | 50.00 | Each | 1298.00 | 1200.00 | 60000.00 | 675.00 | 33750.00 | 1500.00 | 75000.00 | 1000.00 | 50000.00 | 33750.00 | ADARSH ELECTRICALS
23.10 | S & F Extra Cross arms with GI pipe of size 32 mm Diameter with suitable clamps 2 Nos, making extra holes in pole, and 3 core cables 2.5 sq mm PVC cables etc all complete as directed by the Engg in Charge. Important Note: Sample of material shall be got approved from EIC before use in works. | 100.00 | Each | 1770.00 | 1500.00 | 150000.00 | 473.00 | 47300.00 | 3200.00 | 320000.00 | 1200.00 | 120000.00 | 47300.00 | ADARSH ELECTRICALS
24.10 | S & F 45 Watts LED Fixture IP66 or Above with Optical lense for dispersion of light [Make Phillips/Crompton/Bajaj/Surya/Syska] etc all complete as directed by the Engg in Charge. | 100.00 | Each | 2360.00 | 2100.00 | 210000.00 | 3915.00 | 391500.00 | 3200.00 | 320000.00 | 1800.00 | 180000.00 | 180000.00 | Ajay Enterprises
25.10 | S & F 70 Watts LED Fixture IP66 or Above with Optical lense for dispersion of light [Make Phillips/Crompton/Bajaj/Surya/Syska] etc all complete as directed by the Engg in Charge. Important Note: Sample of material shall be got approved from EIC before use in works. | 100.00 | Each | 2950.00 | 2500.00 | 250000.00 | 6415.00 | 641500.00 | 4300.00 | 430000.00 | 2400.00 | 240000.00 | 240000.00 | Ajay Enterprises
26.10 | Credit for removed cables and concrete poles | 1000.00 | Kg | 47.20 | 30.00 | -30000.00 | 0.00 | 0.00 | 15.00 | -15000.00 | 31.00 | -31000.00 | -31000.00 | Ajay Enterprises
| Total in Figures |  |  |  |  | 8817820.00 |  | 13758786.50 |  | 9121957.00 |  | 7136285.00
Lowest Amount Quoted BY: Ajay Enterprises(7136285.00)

## BOQ Summary
BOQ Summary Details Tender Title: REPLACEMENT OF STREET LIGHT POLES IN MPF Tender ID: 2023_AVNL_162587_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ajay Enterprises | 7136285.00 | L1
| 2 | SUNBUD MULTIVENTURES PVT. LTD | 8817820.00 | L2
| 3 | Hi tech CONSTRUCTIONGROUP | 9121957.00 | L3
| 4 | ADARSH ELECTRICALS | 13758786.50 | L4