## BoQ1
Government eProcurement System Created By: SRIKANTH GADE Created Date/Time: 06-Oct-2023 09:36 AM Tender Title: Item rate contract for Internal Electrical Works at OFMK estate as per the Scope of work at Annexure-A. Tender ID: 2023_AVNL_163856_1
Tender Inviting Authority: CHIEF GENERAL MANAGER ORDNANCE FACTORY MEDAK (A UNIT OF AVNL)
Name of Work: Item rate contract for Internal Electrical Works at OFMK estate as per the Scope of work at Annexure-A.
Contract No: 76025/ OFMK/ TE-31/EOC/IRC IEW /23-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MOHD AFSAR CONSRUCTIONS(GSTN-NA) |  | SRI SAI PANASA ELECTRICALS(GSTN-NA) |  | GAYATHRI ENGINEERS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Fixing only in repairs of switch piano flush type single pole one way 5 amp. | 500.00 | Each | 10.00 | 51.00 | 25500.00 | 50.00 | 25000.00 | 48.00 | 24000.00 | 24000.00 | GAYATHRI ENGINEERS
2.00 | Fixing only in repairs of switch piano,flush type, single pole,one way, 15 amp. | 30.00 | Each | 10.00 | 87.00 | 2610.00 | 85.00 | 2550.00 | 83.00 | 2490.00 | 2490.00 | GAYATHRI ENGINEERS
3.00 | Fixing only on repairs of lamp holder PVC/polycarbonate type with back plate suitable for batten/pendant fittings. | 500.00 | Each | 10.00 | 97.00 | 48500.00 | 100.00 | 50000.00 | 91.50 | 45750.00 | 45750.00 | GAYATHRI ENGINEERS
4.00 | Fixing only in repairs of bell push,Flush type,5 Amps | 100.00 | Each | 10.00 | 87.00 | 8700.00 | 85.00 | 8500.00 | 74.50 | 7450.00 | 7450.00 | GAYATHRI ENGINEERS
5.00 | Fixing only in repairs of Bell, AC, 230 volts, single pole. | 100.00 | Each | 10.00 | 107.00 | 10700.00 | 100.00 | 10000.00 | 102.00 | 10200.00 | 10000.00 | SRI SAI PANASA ELECTRICALS
6.00 | Fixing only in repairs stepped type electronic fan regulator flush type on the existing phenolic laminated sheet etc. as reqd. | 500.00 | Each | 10.00 | 82.00 | 41000.00 | 80.00 | 40000.00 | 74.50 | 37250.00 | 37250.00 | GAYATHRI ENGINEERS
7.00 | Fixing only in repairs Switch socket combination 2 in 1, 5 A flush type. | 200.00 | Each | 10.00 | 168.00 | 33600.00 | 100.00 | 20000.00 | 140.70 | 28140.00 | 20000.00 | SRI SAI PANASA ELECTRICALS
8.00 | Fixing only in repairs of Socket outlet 3 pin, 5A, flush type | 250.00 | Each | 10.00 | 78.00 | 19500.00 | 20.00 | 5000.00 | 70.00 | 17500.00 | 5000.00 | SRI SAI PANASA ELECTRICALS
9.00 | Fixing only in repairs Switch socket combination 5A/16A, 5 in 1 | 500.00 | Each | 10.00 | 175.00 | 87500.00 | 100.00 | 50000.00 | 150.00 | 75000.00 | 50000.00 | SRI SAI PANASA ELECTRICALS
10.00 | Hanging/Fixing only ceiling fan (material will be supplied by OFMK) and connecting up including provision of cables from ceiling rose or connector to fan at site. | 500.00 | Each | 10.00 | 170.00 | 85000.00 | 150.00 | 75000.00 | 150.00 | 75000.00 | 75000.00 | GAYATHRI ENGINEERS, SRI SAI PANASA ELECTRICALS
11.00 | Fixing only exhaust fan at normal height (Material will be supplied by OFMK) and connecting up including provision of cable from ceiling rose/connector to fan. | 20.00 | Each | 10.00 | 228.00 | 4560.00 | 200.00 | 4000.00 | 200.00 | 4000.00 | 4000.00 | GAYATHRI ENGINEERS, SRI SAI PANASA ELECTRICALS
12.00 | Supply and Fixing ceiling rose 3 phase /PVC/ polycarbonate, isolated body. | 40.00 | Each | 100.00 | 65.00 | 2600.00 | 25.00 | 1000.00 | 70.00 | 2800.00 | 1000.00 | SRI SAI PANASA ELECTRICALS
13.00 | Supply and Fixing junction boxes ( 1 to 4 way) suitlable for 25 mm PVC non metalic conduits. | 20.00 | Each | 100.00 | 46.00 | 920.00 | 20.00 | 400.00 | 45.00 | 900.00 | 400.00 | SRI SAI PANASA ELECTRICALS
14.00 | Fixing only rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of poles and current carrying capacity SP 5 To 32 AMP in the MCB DB complete with connection testing and commissioning. | 200.00 | Each | 10.00 | 26.00 | 5200.00 | 20.00 | 4000.00 | 25.00 | 5000.00 | 4000.00 | SRI SAI PANASA ELECTRICALS
15.00 | Fixing only rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of poles and current carrying capacity SPN 32 AMP in the MCB DB complete with connection testing and commissioning. | 100.00 | Each | 10.00 | 33.00 | 3300.00 | 30.00 | 3000.00 | 30.00 | 3000.00 | 3000.00 | GAYATHRI ENGINEERS, SRI SAI PANASA ELECTRICALS
16.00 | Fixing only rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of poles and current carrying capacity SPN 40 to 63 AMP in the MCB DB complete with connection testing and commissioning. | 50.00 | Each | 10.00 | 33.00 | 1650.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 1500.00 | GAYATHRI ENGINEERS, SRI SAI PANASA ELECTRICALS
17.00 | Fixing only rating 415V, 10KA 'C' curve miniature circuit breaker (MCB) of poles and current carrying capacity TP 25 To 63 AMP in the MCB DB complete with connection testing and commissioning. | 100.00 | Each | 10.00 | 55.00 | 5500.00 | 50.00 | 5000.00 | 50.00 | 5000.00 | 5000.00 | GAYATHRI ENGINEERS, SRI SAI PANASA ELECTRICALS
18.00 | Fixing only rating 415V, 10KA 'C' curve miniature circuit breaker (MCB) of poles and current carrying capacity TPN 16 To 32 AMP in the MCB DB complete with connection testing and commissioning. | 50.00 | Each | 10.00 | 62.00 | 3100.00 | 60.00 | 3000.00 | 50.00 | 2500.00 | 2500.00 | GAYATHRI ENGINEERS
19.00 | Fixing only rating 415V, 10KA 'C' curve miniature circuit breaker (MCB) of poles and current carrying capacity TPN 40 To 100 AMP in the MCB DB complete with connection testing and commissioning. | 20.00 | Each | 10.00 | 62.00 | 1240.00 | 60.00 | 1200.00 | 50.00 | 1000.00 | 1000.00 | GAYATHRI ENGINEERS
20.00 | Supply and fixing Modular switch 1 way 6A, 1 module Make: Schneider (Opale) Catalogue code X1001WH | 200.00 | Each | 10.00 | 260.00 | 52000.00 | 250.00 | 50000.00 | 225.00 | 45000.00 | 45000.00 | GAYATHRI ENGINEERS
21.00 | Supply and fixing Modular switch 1 way 16A, 1 module Make: Schneider (Opale) Catalogue code X1101WH | 200.00 | Each | 10.00 | 343.00 | 68600.00 | 340.00 | 68000.00 | 298.00 | 59600.00 | 59600.00 | GAYATHRI ENGINEERS
22.00 | Supply and fixing Modular switch 2 way 6A, 1 module Make: Schneider (Opale) Catalogue code X1002WH | 50.00 | Each | 10.00 | 307.00 | 15350.00 | 100.00 | 5000.00 | 265.00 | 13250.00 | 5000.00 | SRI SAI PANASA ELECTRICALS
23.00 | Supply and fixing Modular bell push 1 way 6A, 1 module Make: Schneider (Opale) Catalogue code X1005WH | 50.00 | Each | 10.00 | 307.00 | 15350.00 | 100.00 | 5000.00 | 260.00 | 13000.00 | 5000.00 | SRI SAI PANASA ELECTRICALS
24.00 | Supply and fixing Modular Socket, 6A - 2/3 pin combined 2 module Make: Schneider (Opale) Catalogue code X2005WH | 100.00 | Each | 100.00 | 340.00 | 34000.00 | 340.00 | 34000.00 | 345.00 | 34500.00 | 34000.00 | MOHD AFSAR CONSRUCTIONS, SRI SAI PANASA ELECTRICALS
25.00 | Supply and fixing Modular Socket, 6A/16A - 2/3 pin combined 2 module Make: Schneider (Opale) Catalogue code X2106WH | 150.00 | Each | 10.00 | 400.00 | 60000.00 | 500.00 | 75000.00 | 518.00 | 77700.00 | 60000.00 | MOHD AFSAR CONSRUCTIONS
26.00 | Supply and fixing Modular Fan step regulator, 120W - 2 module Make: Schneider (Opale) Catalogue code X3004WH | 50.00 | Each | 10.00 | 1000.00 | 50000.00 | 1000.00 | 50000.00 | 850.00 | 42500.00 | 42500.00 | GAYATHRI ENGINEERS
27.00 | Supply and fixing Modular white cover plate with frame 1 module Make: Schneider (Opale) | 20.00 | Each | 10.00 | 191.00 | 3820.00 | 100.00 | 2000.00 | 175.00 | 3500.00 | 2000.00 | SRI SAI PANASA ELECTRICALS
28.00 | Supply and fixing Modular white cover plate with frame 3 module Make: Schneider (Opale) | 20.00 | Each | 10.00 | 215.00 | 4300.00 | 100.00 | 2000.00 | 200.00 | 4000.00 | 2000.00 | SRI SAI PANASA ELECTRICALS
29.00 | Supply and fixing Modular white cover plate with frame 4 module Make: Schneider (Opale) | 20.00 | Each | 10.00 | 243.00 | 4860.00 | 100.00 | 2000.00 | 235.00 | 4700.00 | 2000.00 | SRI SAI PANASA ELECTRICALS
30.00 | Supply and fixing Modular white cover plate with frame 6 module Make: Schneider (Opale) | 20.00 | Each | 10.00 | 300.00 | 6000.00 | 350.00 | 7000.00 | 360.00 | 7200.00 | 6000.00 | MOHD AFSAR CONSRUCTIONS
31.00 | Supply and fixing Modular white cover plate with frame 8 module Make: Schneider (Opale) | 20.00 | Each | 10.00 | 371.00 | 7420.00 | 400.00 | 8000.00 | 395.00 | 7900.00 | 7420.00 | MOHD AFSAR CONSRUCTIONS
32.00 | Supply and Fixing of Cable jointing kit for 11 KV (Earthed) grade cable for indoor termination heat shrink type joint complete with jointing material and accessories suitable for 3 core XLPE armoured aluminium conductor cable of size 120 sqmm to 185 sqmm | 2.00 | Each | 10.00 | 5872.00 | 11744.00 | 4000.00 | 8000.00 | 5600.00 | 11200.00 | 8000.00 | SRI SAI PANASA ELECTRICALS
33.00 | Supply and Fixing of Cable jointing kit for 11 KV (Earthed) grade cable for indoor termination heat shrink type joint complete with jointing material and accessories suitable for 3 core XLPE armoured aluminium conductor cable of size 240 sqmm to 300 sqmm | 2.00 | Each | 10.00 | 7200.00 | 14400.00 | 4000.00 | 8000.00 | 6300.00 | 12600.00 | 8000.00 | SRI SAI PANASA ELECTRICALS
34.00 | Supply and Fixing of Cable jointing kit for 11 KV (Earthed) grade cable for indoor termination heat shrink type joint complete with jointing material and accessories suitable for 3 core XLPE armoured aluminium conductor cable of size 400 sqmm | 2.00 | Each | 10.00 | 7200.00 | 14400.00 | 4000.00 | 8000.00 | 6300.00 | 12600.00 | 8000.00 | SRI SAI PANASA ELECTRICALS
35.00 | Supply and Fixing of Cable jointing kit for 11 KV (Earthed) grade cable for outdoor termination heat shrink type joint complete with jointing material and accessories suitable for 3 core XLPE armoured aluminium conductor cable of size 120 sqmm to 185 sqmm | 2.00 | Each | 10.00 | 7500.00 | 15000.00 | 4000.00 | 8000.00 | 6650.00 | 13300.00 | 8000.00 | SRI SAI PANASA ELECTRICALS
36.00 | Supply and Fixing of Cable jointing kit for 11 KV (Earthed) grade cable for outdoor termination heat shrink type joint complete with jointing material and accessories suitable for 3 core XLPE armoured aluminium conductor cable of size 240 sqmm to 300 sqmm | 2.00 | Each | 100.00 | 7500.00 | 15000.00 | 4000.00 | 8000.00 | 6650.00 | 13300.00 | 8000.00 | SRI SAI PANASA ELECTRICALS
37.00 | Supply and Fixing of Cable jointing kit for 11 KV (Earthed) grade cable for outdoor termination heat shrink type joint complete with jointing material and accessories suitable for 3 core XLPE armoured aluminium conductor cable of size 400 sqmm | 2.00 | Each | 100.00 | 8500.00 | 17000.00 | 5000.00 | 10000.00 | 6650.00 | 13300.00 | 10000.00 | SRI SAI PANASA ELECTRICALS
38.00 | Supply and Fixing of Cable jointing kit for 11 KV (Earthed) grade cable for straight through heat shrink type joint complete with jointing material and accessories suitable for 3 core XLPE armoured aluminium conductor cable of size 240 sqmm to 400 sqmm. | 2.00 | Each | 10.00 | 19000.00 | 38000.00 | 5000.00 | 10000.00 | 16500.00 | 33000.00 | 10000.00 | SRI SAI PANASA ELECTRICALS
39.00 | Supply and Fixing of Cable jointing kit for 11 KV (Earthed) grade cable for straight through heat shrink type joint complete with jointing material and accessories suitable for 3 core XLPE armoured aluminium conductor cable of size 120 sqmm to 185 sqmm. | 2.00 | Each | 10.00 | 17316.00 | 34632.00 | 5000.00 | 10000.00 | 12600.00 | 25200.00 | 10000.00 | SRI SAI PANASA ELECTRICALS
40.00 | Supply and Fixing of fan regulator knob suitable for Anchor regulator code No 50440 | 50.00 | Each | 10.00 | 122.00 | 6100.00 | 125.00 | 6250.00 | 120.00 | 6000.00 | 6000.00 | GAYATHRI ENGINEERS
41.00 | Supply and Fixing of fan regulator knob suitable for Anchor regulator code No 50790 | 50.00 | Each | 10.00 | 102.00 | 5100.00 | 100.00 | 5000.00 | 98.00 | 4900.00 | 4900.00 | GAYATHRI ENGINEERS
42.00 | Supply and Fixing of angle lamp holder fancy type, Ivory, for fixing LED bulb/CFL Anchor P.Code 50971 or equivalent | 1000.00 | Each | 10.00 | 83.00 | 83000.00 | 85.00 | 85000.00 | 70.80 | 70800.00 | 70800.00 | GAYATHRI ENGINEERS
43.00 | Dresssing with cliping of disturb wiring including 1 to 7 (max) wire running in existing casing caping/batten/conduit. | 200.00 | RM | 10.00 | 49.00 | 9800.00 | 50.00 | 10000.00 | 47.00 | 9400.00 | 9400.00 | GAYATHRI ENGINEERS
44.00 | S & F of square shape junction box for casing caping. | 10.00 | Each | 10.00 | 52.00 | 520.00 | 55.00 | 550.00 | 50.00 | 500.00 | 500.00 | GAYATHRI ENGINEERS
45.00 | Dressing of disturb wiring including 1 to 5 wire (max) by using casing caping/batten/conduit. | 50.00 | RM | 10.00 | 95.00 | 4750.00 | 100.00 | 5000.00 | 60.00 | 3000.00 | 3000.00 | GAYATHRI ENGINEERS
46.00 | Taking down exhaust fan at normal height (upto 3 mtrs.) and deposit to OFMK IMS store. | 20.00 | Each | 10.00 | 145.00 | 2900.00 | 160.00 | 3200.00 | 75.00 | 1500.00 | 1500.00 | GAYATHRI ENGINEERS
47.00 | Replacement and fixing of MCB distribution box of any size single/double door including removal of existing DB including disconnection and reconnection of I/c and O/g wires ckt, earth etc. Material will be provied by user section as directed. | 5.00 | Each | 10.00 | 520.00 | 2600.00 | 400.00 | 2000.00 | 600.00 | 3000.00 | 2000.00 | SRI SAI PANASA ELECTRICALS
48.00 | Fixing only flourescent tube light/ LED tube light fitting of any wattage including connection. | 700.00 | Each | 100.00 | 135.00 | 94500.00 | 100.00 | 70000.00 | 125.00 | 87500.00 | 70000.00 | SRI SAI PANASA ELECTRICALS
49.00 | Fixing only LED/CFL bulb of any wattage including connection | 2500.00 | Each | 10.00 | 44.00 | 110000.00 | 60.00 | 150000.00 | 35.00 | 87500.00 | 87500.00 | GAYATHRI ENGINEERS
50.00 | Fixing of Energy meter connect with electric supply of both incoming and outgoing by using required size of lug at site and removing old energy meter. Energy meters will be supplied by OFMK | 50.00 | Each | 10.00 | 380.00 | 19000.00 | 400.00 | 20000.00 | 450.00 | 22500.00 | 19000.00 | MOHD AFSAR CONSRUCTIONS
51.00 | Fixing only of electrical switch board by using of machine screw with washer of required size of brass. | 20.00 | Each | 10.00 | 80.00 | 1600.00 | 80.00 | 1600.00 | 100.00 | 2000.00 | 1600.00 | MOHD AFSAR CONSRUCTIONS, SRI SAI PANASA ELECTRICALS
52.00 | Only replacement of capacitor of ceiling fan at site. Material will be provided by OFMK. | 1000.00 | Each | 10.00 | 80.00 | 80000.00 | 90.00 | 90000.00 | 70.00 | 70000.00 | 70000.00 | GAYATHRI ENGINEERS
53.00 | Hanging of Wall mounted Geyser by using 02 Nos. of fastner of required size & connection of electric and water as directed . | 20.00 | Each | 10.00 | 300.00 | 6000.00 | 300.00 | 6000.00 | 400.00 | 8000.00 | 6000.00 | MOHD AFSAR CONSRUCTIONS, SRI SAI PANASA ELECTRICALS
54.00 | Removing of Wall mounted Geyser from wall after disconnecting all electrical and water connection and deposit IMS store. | 20.00 | Each | 10.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 200.00 | 4000.00 | 3000.00 | MOHD AFSAR CONSRUCTIONS, SRI SAI PANASA ELECTRICALS
55.00 | Fixing only of hanging board by using 2 Nos. of PVC Gutti/ Wooden gutti/ M/c Screw of as required . | 10.00 | Each | 10.00 | 104.00 | 1040.00 | 100.00 | 1000.00 | 85.00 | 850.00 | 850.00 | GAYATHRI ENGINEERS
56.00 | Supply and Fixing fixing of board cover / Hylem sheet of size 7"X4" by using of 2 to 4 M/C screw as required including necessary cutting of sheet for fixing of switches, sockets, regulators etc. | 10.00 | Each | 10.00 | 100.00 | 1000.00 | 150.00 | 1500.00 | 100.00 | 1000.00 | 1000.00 | GAYATHRI ENGINEERS, MOHD AFSAR CONSRUCTIONS
57.00 | Supply and Fixing fixing of board cover / Hylem sheet of size 10"X8" by using of 2 to 4 machine screw as required including necessary cutting of sheet for fixing of switches, sockets, regulators etc. | 10.00 | Each | 10.00 | 160.00 | 1600.00 | 150.00 | 1500.00 | 175.00 | 1750.00 | 1500.00 | SRI SAI PANASA ELECTRICALS
58.00 | Supply and Fixing fixing of board cover / Hylem sheet of size 12"X10" by using of 2 to 4 M/C screw.including necessary cutting of sheet for fixing of switches, sockets, regulators etc. | 10.00 | Each | 10.00 | 215.00 | 2150.00 | 180.00 | 1800.00 | 220.00 | 2200.00 | 1800.00 | SRI SAI PANASA ELECTRICALS
59.00 | Cutting of hylem sheet to fix Piano socket 5A/ Piano switch 5A/ Regulator including all disconnection and connection as directed. | 10.00 | Each | 10.00 | 38.00 | 380.00 | 40.00 | 400.00 | 30.00 | 300.00 | 300.00 | GAYATHRI ENGINEERS
60.00 | Cutting of hylem sheet to fix Piano socket 15A / Piano switch 15A including all disconnection and connection as directed. | 10.00 | Each | 100.00 | 48.00 | 480.00 | 40.00 | 400.00 | 40.00 | 400.00 | 400.00 | GAYATHRI ENGINEERS, SRI SAI PANASA ELECTRICALS
61.00 | Repairing of wiring by using of 1/1.5/2.5 sq.mm aluminium/copper wire, single core. material will be supplied by OFMK. | 100.00 | RM | 100.00 | 30.00 | 3000.00 | 40.00 | 4000.00 | 25.00 | 2500.00 | 2500.00 | GAYATHRI ENGINEERS
62.00 | Repairing of stair case light point by repairing of ckt with /without replacement of Al/Cu wire of required size upto one mtr to make operative of the point.(additional length of wire will be supplied by OFMK IMS) | 50.00 | Per Point | 10.00 | 140.00 | 7000.00 | 150.00 | 7500.00 | 125.00 | 6250.00 | 6250.00 | GAYATHRI ENGINEERS
63.00 | Supply and Fixing of LT/LV Heat shrink type staright through joint kit suitable for 1.1 KV 3 1/2 core 120 sq.MM power cable. | 4.00 | Each | 10.00 | 11250.00 | 45000.00 | 4000.00 | 16000.00 | 8000.00 | 32000.00 | 16000.00 | SRI SAI PANASA ELECTRICALS
64.00 | Supply and Fixing of LT/LV Heat shrink type staright through joint kit suitable for 1.1 KV 3 1/2core 240 sq.MM power cable. | 2.00 | Each | 10.00 | 13100.00 | 26200.00 | 5000.00 | 10000.00 | 9500.00 | 19000.00 | 10000.00 | SRI SAI PANASA ELECTRICALS
65.00 | Supply and Fixing of LED and FTL tube light side holder during repairing. | 100.00 | Each | 10.00 | 90.00 | 9000.00 | 105.00 | 10500.00 | 125.00 | 12500.00 | 9000.00 | MOHD AFSAR CONSRUCTIONS
66.00 | Fixing only TPN/4P MCCB of rating 40 A to 100 A | 100.00 | Each | 10.00 | 115.00 | 11500.00 | 110.00 | 11000.00 | 300.00 | 30000.00 | 11000.00 | SRI SAI PANASA ELECTRICALS
67.00 | Supply & Fixing of Digital street light timer, 240 volts, AC, 50 Hz. Model T2DDT7, Auto programmable season wise, Make L&T /GIC | 10.00 | Each | 10.00 | 2899.00 | 28990.00 | 2800.00 | 28000.00 | 2785.00 | 27850.00 | 27850.00 | GAYATHRI ENGINEERS
68.00 | Supply & Fixing of DOL starter, 3phase, 415 Volts, Overload relay range 1.8 to 2.2 amps. Make Siemens/ L&T/Schneider | 5.00 | Each | 10.00 | 1947.00 | 9735.00 | 2000.00 | 10000.00 | 1500.00 | 7500.00 | 7500.00 | GAYATHRI ENGINEERS
69.00 | Supply & Fixing of DOL starter, 3phase, 415 Volts, Overload relay range 10 to 16 amps. Make Siemens/ L&T/Schneider | 5.00 | Each | 10.00 | 1700.00 | 8500.00 | 2000.00 | 10000.00 | 1800.00 | 9000.00 | 8500.00 | MOHD AFSAR CONSRUCTIONS
70.00 | Supply & Fixing of Forward Reverse DOL starter for 3 phase, 415 Volts, Overload relay range 3 - 6 amps in S.S housing Make Siemens/ L&T/Schneider | 5.00 | Each | 10.00 | 5100.00 | 25500.00 | 3000.00 | 15000.00 | 4800.00 | 24000.00 | 15000.00 | SRI SAI PANASA ELECTRICALS
71.00 | Supply & Fixing of Plug top 6 amps, 3 pin, 250 volts Nake: Anchor catalogue code 3982 or equivalent of , Havells/Cona/Havells | 50.00 | Each | 10.00 | 58.00 | 2900.00 | 60.00 | 3000.00 | 75.00 | 3750.00 | 2900.00 | MOHD AFSAR CONSRUCTIONS
72.00 | Supply & Fixing of Plug top 16 amps, 3 pin, 250 volts Make Anchor catalogue code 3993 or equivalent of , Havells/Cona/Havells | 50.00 | Each | 100.00 | 78.00 | 3900.00 | 80.00 | 4000.00 | 100.00 | 5000.00 | 3900.00 | MOHD AFSAR CONSRUCTIONS
73.00 | Supply and Fixing of PVC readymade electrical switch board with 6A switches -1 No & 6 A sockets - 1 No | 50.00 | Each | 10.00 | 240.00 | 12000.00 | 240.00 | 12000.00 | 155.00 | 7750.00 | 7750.00 | GAYATHRI ENGINEERS
74.00 | Supply and Fixing of PVC readymade electrical switch board with 6A switches -2 No's & 6 A sockets - 02 No's | 20.00 | Each | 10.00 | 480.00 | 9600.00 | 450.00 | 9000.00 | 500.00 | 10000.00 | 9000.00 | SRI SAI PANASA ELECTRICALS
75.00 | Supply and Fixing of PVC readymade electrical switch board with 6A switches -4No's & 6 A sockets - 04 No's | 20.00 | Each | 10.00 | 980.00 | 19600.00 | 900.00 | 18000.00 | 850.00 | 17000.00 | 17000.00 | GAYATHRI ENGINEERS
76.00 | Supply and Fixing of PVC readymade electrical switch board with 16A switches -1No & 16 A sockets - 01 No | 50.00 | Each | 10.00 | 240.00 | 12000.00 | 200.00 | 10000.00 | 275.00 | 13750.00 | 10000.00 | SRI SAI PANASA ELECTRICALS
77.00 | Supply and Fixing of PVC readymade electrical switch board with 16A switches -1No & 16 A sockets - 01 No, 6A switches -1 No & 6 A sockets - 01 No | 20.00 | Each | 10.00 | 480.00 | 9600.00 | 400.00 | 8000.00 | 400.00 | 8000.00 | 8000.00 | GAYATHRI ENGINEERS, SRI SAI PANASA ELECTRICALS
78.00 | Supply and Fixing of PVC Casing and strip type capping for electrical wiring colour white, width 25mm Make: | 300.00 | Rm | 10.00 | 145.00 | 43500.00 | 150.00 | 45000.00 | 135.00 | 40500.00 | 40500.00 | GAYATHRI ENGINEERS
79.00 | Supply and Fixing of PVC Casing and strip type capping for electrical wiring colour white , width 19mm | 200.00 | Rm | 10.00 | 112.00 | 22400.00 | 150.00 | 30000.00 | 98.00 | 19600.00 | 19600.00 | GAYATHRI ENGINEERS
80.00 | Supply and Fixing of Bi-metal overload relay range 09-14 amps, with on/off push buttons, direct mounting Type M N 2, suitable for L & T cat No SS94142 or equivalent of siemens/Schneider | 10.00 | Each | 10.00 | 1250.00 | 12500.00 | 1400.00 | 14000.00 | 1500.00 | 15000.00 | 12500.00 | MOHD AFSAR CONSRUCTIONS
81.00 | Supply and Fixing of Bi-metal overload relay range 11-18 amps, with on/off push buttons, direct mounting Type M N 2, suitable for L & T cat No SS94142 or equivalent of siemens/Schneider | 10.00 | Each | 10.00 | 1550.00 | 15500.00 | 1600.00 | 16000.00 | 1500.00 | 15000.00 | 15000.00 | GAYATHRI ENGINEERS
82.00 | Supply and Fixing of Bi-metal overload relay range 13-22 amps, with on/off push buttons, direct mounting Type M N 2, suitable for L & T cat No SS94142 or equivalent of siemens/Schneider | 10.00 | Each | 10.00 | 2000.00 | 20000.00 | 2500.00 | 25000.00 | 1800.00 | 18000.00 | 18000.00 | GAYATHRI ENGINEERS
83.00 | Supply and Fixing of Single phase preventor(SPP) with auto manual switch, Undervoltage/Over voltage cut-off, suitable for borewell motors | 10.00 | Each | 100.00 | 480.00 | 4800.00 | 500.00 | 5000.00 | 600.00 | 6000.00 | 4800.00 | MOHD AFSAR CONSRUCTIONS
84.00 | Supply and Fixing of No volt coil/relay for DOL starter 415 Volts | 15.00 | Each | 100.00 | 240.00 | 3600.00 | 200.00 | 3000.00 | 180.00 | 2700.00 | 2700.00 | GAYATHRI ENGINEERS
85.00 | Supply and Fixing of M.S.Fabrication clamps along with nut & bolts, washers 04 nos for each clamp, with painting, suitable for 36-40 watts LED street light fittings | 200.00 | Each | 10.00 | 270.00 | 54000.00 | 200.00 | 40000.00 | 250.00 | 50000.00 | 40000.00 | SRI SAI PANASA ELECTRICALS
86.00 | Supply and Fixing of Actinic BL 18-20W tube light 230V ac Make: Philips/crompton/Wipro | 10.00 | Each | 10.00 | 440.00 | 4400.00 | 450.00 | 4500.00 | 500.00 | 5000.00 | 4400.00 | MOHD AFSAR CONSRUCTIONS
87.00 | Supply and Fixing of LED bulb 0.5W, LED ping pong bulb, B22D, differenct colours as required by OFMK Make: Bajaj/Havells/Philips | 20.00 | Each | 10.00 | 160.00 | 3200.00 | 150.00 | 3000.00 | 135.00 | 2700.00 | 2700.00 | GAYATHRI ENGINEERS
88.00 | Supply and Fixing of Rubber compund tape, self amalgamating, for jointing submersible pump motor connections | 20.00 | Meter | 10.00 | 950.00 | 19000.00 | 1000.00 | 20000.00 | 650.00 | 13000.00 | 13000.00 | GAYATHRI ENGINEERS
89.00 | Supply and Fixing of HT Electrical Tape, width 19mm, Thickness 0.75mm, Di electric strength 31.5MV/m, Make : 3M/steelgrip/Anchor | 200.00 | Meter | 10.00 | 95.00 | 19000.00 | 100.00 | 20000.00 | 90.00 | 18000.00 | 18000.00 | GAYATHRI ENGINEERS
90.00 | Supply and Fixing of Tungston filament lamp B.C 60W, 250 Volts confirming to IS 418 with latest amendments Make: Bajaj/CG/OSRAM/Philips | 100.00 | Each | 10.00 | 15.00 | 1500.00 | 20.00 | 2000.00 | 15.00 | 1500.00 | 1500.00 | GAYATHRI ENGINEERS, MOHD AFSAR CONSRUCTIONS
91.00 | Supply and Fixing of 1.5 V battery 'AAA' | 100.00 | Each | 10.00 | 10.00 | 1000.00 | 15.00 | 1500.00 | 10.00 | 1000.00 | 1000.00 | GAYATHRI ENGINEERS, MOHD AFSAR CONSRUCTIONS
92.00 | Supply and Fixing of 1.5 V battery 'AA' | 100.00 | Each | 10.00 | 10.00 | 1000.00 | 15.00 | 1500.00 | 10.00 | 1000.00 | 1000.00 | GAYATHRI ENGINEERS, MOHD AFSAR CONSRUCTIONS
93.00 | Supply and Fixing of Tube light side holder for LED 20 W , T8 tube light | 200.00 | Each | 10.00 | 38.00 | 7600.00 | 45.00 | 9000.00 | 40.00 | 8000.00 | 7600.00 | MOHD AFSAR CONSRUCTIONS
94.00 | Supply and Fixing of HT 11 KV, drop out fuse element, current rating 10 A. | 200.00 | Each | 10.00 | 95.00 | 19000.00 | 70.00 | 14000.00 | 120.00 | 24000.00 | 14000.00 | SRI SAI PANASA ELECTRICALS
95.00 | Supply and Fixing of HT 11 KV, drop out fuse element, current rating 15 A. | 100.00 | Each | 10.00 | 120.00 | 12000.00 | 70.00 | 7000.00 | 120.00 | 12000.00 | 7000.00 | SRI SAI PANASA ELECTRICALS
96.00 | Supply and Fixing of HT 11 KV, drop out fuse element, current rating 20 A. | 50.00 | Each | 10.00 | 135.00 | 6750.00 | 70.00 | 3500.00 | 120.00 | 6000.00 | 3500.00 | SRI SAI PANASA ELECTRICALS
97.00 | Supply and Fixing of heating elements for 2 KW, 230V vertical mounting 25 Ltr geyser. Make: Racold(Hatron)/Usha/Bajaj/V-Guard | 20.00 | Each | 10.00 | 780.00 | 15600.00 | 850.00 | 17000.00 | 1000.00 | 20000.00 | 15600.00 | MOHD AFSAR CONSRUCTIONS
98.00 | Supply and Fixing of Heat shrinkable sleeve tube 5 mm | 10.00 | Rm | 10.00 | 600.00 | 6000.00 | 200.00 | 2000.00 | 350.00 | 3500.00 | 2000.00 | SRI SAI PANASA ELECTRICALS
99.00 | Supply and Fixing of Heat shrinkable sleeve tube 8 mm | 10.00 | Rm | 10.00 | 750.00 | 7500.00 | 200.00 | 2000.00 | 400.00 | 4000.00 | 2000.00 | SRI SAI PANASA ELECTRICALS
100.00 | Supply and Fixing of Heat shrinkable sleeve tube 10 mm | 10.00 | Rm | 10.00 | 900.00 | 9000.00 | 300.00 | 3000.00 | 600.00 | 6000.00 | 3000.00 | SRI SAI PANASA ELECTRICALS
101.00 | Supply and Fixing of Heat shrinkable sleeve tube 15 mm | 10.00 | Rm | 10.00 | 1000.00 | 10000.00 | 250.00 | 2500.00 | 700.00 | 7000.00 | 2500.00 | SRI SAI PANASA ELECTRICALS
102.00 | Supply and Fixing of Rigid PVC conduit pipe , Size 20mm, Thickness 1 mm | 200.00 | Rm | 10.00 | 40.00 | 8000.00 | 44.00 | 8800.00 | 38.00 | 7600.00 | 7600.00 | GAYATHRI ENGINEERS
103.00 | Supply and Fixing of Rigid PVC conduit pipe , Size 25mm, Thickness 1 mm | 200.00 | Rm | 10.00 | 45.00 | 9000.00 | 45.00 | 9000.00 | 65.00 | 13000.00 | 9000.00 | MOHD AFSAR CONSRUCTIONS, SRI SAI PANASA ELECTRICALS
104.00 | Supply and Fixing of PVC Round junction box, 1 way, 20mm | 50.00 | Each | 10.00 | 19.00 | 950.00 | 20.00 | 1000.00 | 18.00 | 900.00 | 900.00 | GAYATHRI ENGINEERS
105.00 | Supply and Fixing of PVC Round junction box, 2 way, 20mm | 50.00 | Each | 10.00 | 19.00 | 950.00 | 20.00 | 1000.00 | 20.00 | 1000.00 | 950.00 | MOHD AFSAR CONSRUCTIONS
106.00 | Supply and Fixing of PVC Round junction box, 3 way, 20mm | 50.00 | Each | 10.00 | 23.00 | 1150.00 | 25.00 | 1250.00 | 22.00 | 1100.00 | 1100.00 | GAYATHRI ENGINEERS
107.00 | Supply and Fixing of PVC Round junction box, 4 way, 20mm | 50.00 | Each | 100.00 | 26.00 | 1300.00 | 25.00 | 1250.00 | 24.00 | 1200.00 | 1200.00 | GAYATHRI ENGINEERS
108.00 | Supply and Fixing of PVC Round junction box, 1 way, 25mm | 50.00 | Each | 100.00 | 25.00 | 1250.00 | 25.00 | 1250.00 | 24.00 | 1200.00 | 1200.00 | GAYATHRI ENGINEERS
109.00 | Supply and Fixing of PVC Round junction box, 2 way, 25mm | 50.00 | Each | 10.00 | 27.00 | 1350.00 | 24.00 | 1200.00 | 28.00 | 1400.00 | 1200.00 | SRI SAI PANASA ELECTRICALS
110.00 | Supply and Fixing of PVC Round junction box, 3 way, 25mm | 50.00 | Each | 10.00 | 29.00 | 1450.00 | 30.00 | 1500.00 | 35.00 | 1750.00 | 1450.00 | MOHD AFSAR CONSRUCTIONS
111.00 | Supply and Fixing of PVC Round junction box, 4 way, 25mm | 50.00 | Each | 10.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 28.00 | 1400.00 | 1400.00 | GAYATHRI ENGINEERS
112.00 | Supply and Fixing of PVC electrial bend, 20mm | 50.00 | Each | 10.00 | 9.00 | 450.00 | 9.00 | 450.00 | 10.00 | 500.00 | 450.00 | MOHD AFSAR CONSRUCTIONS, SRI SAI PANASA ELECTRICALS
113.00 | Supply and Fixing of PVC electrial bend 25mm | 50.00 | Each | 10.00 | 14.00 | 700.00 | 12.00 | 600.00 | 15.00 | 750.00 | 600.00 | SRI SAI PANASA ELECTRICALS
114.00 | Supply and Fixing of PVC electrial elbow, 20mm | 50.00 | Each | 10.00 | 9.00 | 450.00 | 10.00 | 500.00 | 15.00 | 750.00 | 450.00 | MOHD AFSAR CONSRUCTIONS
115.00 | Supply and Fixing of PVC electrial elbow, 25mm | 50.00 | Each | 10.00 | 14.00 | 700.00 | 10.00 | 500.00 | 15.00 | 750.00 | 500.00 | SRI SAI PANASA ELECTRICALS
| Total in Figures |  |  |  |  | 1900151.00 |  | 1657650.00 |  | 1751580.00
Lowest Amount Quoted BY: SRI SAI PANASA ELECTRICALS(1657650.00)

## BOQ Summary
BOQ Summary Details Tender Title: Item rate contract for Internal Electrical Works at OFMK estate as per the Scope of work at Annexure-A. Tender ID: 2023_AVNL_163856_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SRI SAI PANASA ELECTRICALS | 1657650.00 | L1
| 2 | GAYATHRI ENGINEERS | 1751580.00 | L2
| 3 | MOHD AFSAR CONSRUCTIONS | 1900151.00 | L3