## BoQ1
Government eProcurement System Created By: VENKATESAN KANNAIAH Created Date/Time: 31-Oct-2023 03:52 PM Tender Title: Special Repairs / Renovation of Bhishma Club building and chain link fencing around Bhishma Club at HVF Estate, Avadi Tender ID: 2023_AVNL_165417_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HEAVY VEHICLES FACTORY, AVADI
Name of Work : SPECIAL REPAIRS / RENOVATION OF BHISHMA CLUB BUILDING AND CHAIN LINK FENCING AROUND BHISHMA CLUB AT HVF ESTATE, AVADI
HVF T.E No : HVF/TE/13025/CEO/2023-24/39
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RAJ CONSTRUCTION(GSTN-NA) |  | DEEPAM ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling floor,hearth or wall tiling including cement mortar bedding (but not backing),removing serviceable tiles to store and rubbish off the premises | 80.00 | m2 | 89.50 | 115.00 | 9200.00 | 120.00 | 9600.00 | 9200.00 | RAJ CONSTRUCTION
2.00 | Roughening surfaces of old concrete floor by picking, sweeping clean and washing down with water to remove dust, etc. | 230.00 | m2 | 35.40 | 45.00 | 10350.00 | 30.00 | 6900.00 | 6900.00 | DEEPAM ENTERPRISES
3.00 | Supply and Fixing of PVC tiles/ sheets of 4mm thick ,laminated plain coloured, marbled mosaic or mottled finish, laid with approved rubber based adhesive in floors | 175.00 | m2 | 1225.80 | 1340.00 | 234500.00 | 1200.00 | 210000.00 | 210000.00 | DEEPAM ENTERPRISES
4.00 | M & L for Virified Ceramic tiles Dark Shade 10 mm thick in Floors (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including Screed bedding 1:4, 15mm thick for laying floor finishes. | 270.00 | m2 | 1705.57 | 1870.00 | 504900.00 | 1550.00 | 418500.00 | 418500.00 | DEEPAM ENTERPRISES
5.00 | M & L for Virified Ceramic tiles (Dark shade/Double charged / Ultracharged) 10 mm thick (square/ rectangular) polished, area of each tiles exceeding 0.42 sqm but not exceeding 1.00 sqm, in floors/wall etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including plastering in CM 1:4 10mm thick on existing walls for fixing tiles. | 140.00 | m2 | 2166.50 | 2156.00 | 301840.00 | 1900.00 | 266000.00 | 266000.00 | DEEPAM ENTERPRISES
6.00 | Material and Labour for glazed ceramic colour tiles in vertical surfaces 300x200x7mm thick set and jointed in neat cement slurry and pointed in white or coloured cement to match including screed bed in CM 1:4 15mm thick complete. | 25.00 | m2 | 1561.77 | 2020.00 | 50500.00 | 1200.00 | 30000.00 | 30000.00 | DEEPAM ENTERPRISES
7.00 | Supply and Fixing of Colored Non Skid ceramic tiles not less than 7mm thick in floors etc., set and jointed in neat cement slurry and pointed in white or coloured cement to match and screed bed or bedding layer in CM1:3, 20mm thick for laying floor finishes. | 10.00 | m2 | 1728.59 | 1880.00 | 18800.00 | 1200.00 | 12000.00 | 12000.00 | DEEPAM ENTERPRISES
8.00 | Supply and fixing of Gl frame (Including Gypsum board False Ceiling) work for seamless ceiling comprising of Gl perimeter channnel 0.55 mm thick with two unequal flanges of 20 and 30 mm and web of 27 mm fixed to surrounding wall using nylon sleeves and screws at 450 mm centre to centre/intermediate channel 0.9 mm thick having two equal flanges of 15 mm each and web of 45 mm suspended from soffit at approx 900 mm centre to centre with Gl cleat and steel expansion fasteners with and including ceiling section (not exc 1.2 m length) of 0.55 mm thickness having kurled web of 50 mm and flange of 26 mm each with lips of 10.5 mm fixed to the intermediate channel with connecting clips across the intermediate channel at 457 mm centre to centre. including Hangers 6 mm dia. G.I. (upto 1200mm length) adjusting level fixed to roof slabs by means of ceilling cleats made out of G.I. flat 40 x 3 mm size 60mm long and expansion hold fasteners 12.5mm dia. 40mm long including 10mm thick plaster of paris ceiling (Gypsum anhydrous) to flat surface over G.I, or metal frame work including any sunk or raised moulding and any cutting /opening for provision of any lighting fixtures etc. (working at height 4.5 -6 meter). complete all as specified. as approved and as directed | 50.00 | m2 | 1855.00 | 2360.00 | 118000.00 | 1500.00 | 75000.00 | 75000.00 | DEEPAM ENTERPRISES
9.00 | Providing and fixing Gypsum cornice Board in ceiling and wall fixed with screw as per manufacturers instructions. and as approved and as directed by EIC. | 40.00 | m | 425.00 | 330.00 | 13200.00 | 400.00 | 16000.00 | 13200.00 | RAJ CONSTRUCTION
10.00 | Supply and Fixing of granite (of any colour) work (table rubbed and polished) 20mm thickto fixing on wash basin platform including machine cutting suitably to fix the wash basin including nosing of inner and outer edges complete as directed in CM 1:4 including pointing in white cement (1:2) using marble dust with admixture with shade of granite. | 5.00 | m2 | 5183.70 | 6725.00 | 33625.00 | 4800.00 | 24000.00 | 24000.00 | DEEPAM ENTERPRISES
11.00 | Supply and fixing of Cement concrete Tiles 20cmx20cmx20mm thick with grey cement and pigment machine pressed with screed bed or bedding layer in CM 1:3 , 15mm thick and pointed in neat ceemnt slurry in floors and cut polished. | 120.00 | m2 | 1320.75 | 1440.00 | 172800.00 | 1200.00 | 144000.00 | 144000.00 | DEEPAM ENTERPRISES
12.00 | Demolition of Reinforced Cement Concrete Jolly,Roofs, Sunshade etc.,any description and in any position not otherwisespecifically provided for | 1.50 | m3 | 1883.70 | 1980.00 | 2970.00 | 1100.00 | 1650.00 | 1650.00 | DEEPAM ENTERPRISES
13.00 | Taking down window Shutters of any description not exc 1.0 sq. m each and handing over the same to CE(E)/Store. | 24.00 | Each | 123.40 | 100.00 | 2400.00 | 80.00 | 1920.00 | 1920.00 | DEEPAM ENTERPRISES
14.00 | Providing and fixing factory made UPVC white color sliding window three track made of extruded profiles with wll thickness of 2.3 mm (1.02mm) window profile with hollow section with multi chamber frames (88mmx52mm) sliding sash(42mmx57mm Sliding Interlock( one vertical length in each shutter) 45.5mmx28mm) Glazing bead (24.5mmx16mm) will be mitred cut and fusion welded at all corners including railing of holes for fixing hardware and drainage fo water etc., making arranagement for fixing hardware EPDM gasket , 1.20 to 0.20mm thick galvanized steel frame(30mmx18mm( 2 nos sliding sah (30mmx18mm) Sliding mesh sash(26mmx10mm) profile to be inserted in required profile frame will be fixed to the wall with 8mmx100mm long fastners, Hardware Touch Lock of Zinc alloyed (white powder coated) steel roller system stainless steel wire cloth 0.36mm nominal dia of wire and average width of aperture 1.40mm and required accessories ( Note the unit rate quoted by the contractor excludes cost of glass and includes all other connected accessories net opening will be measured for payment purpose (a) area n.exc 2.00 Sqm each) and as approved and as directed. | 65.00 | m2 | 11276.39 | 12375.00 | 804375.00 | 9500.00 | 617500.00 | 617500.00 | DEEPAM ENTERPRISES
15.00 | Supply and Fixing ofsheet Glass 5.50mm quality and glazing with oil putty in square exc 0.5Sqm in each pare ground or obscured or tinted on one side and as approved and as directed by EIC. | 60.00 | m2 | 1343.10 | 1045.00 | 62700.00 | 1200.00 | 72000.00 | 62700.00 | RAJ CONSTRUCTION
16.00 | Taking down door shutters with frame or cupboard shutter with frame exceeding 1.50 sqm but not exceeding 4.00sqm each without taking shutter from the frame and handing over the same to CE(E)/Store. | 16.00 | Each | 455.60 | 125.00 | 2000.00 | 150.00 | 2400.00 | 2000.00 | RAJ CONSTRUCTION
17.00 | Dismantling structural steel work including doors, gates, windows but excluding framed truss etc. | 4.00 | Quintal | 623.60 | 808.00 | 3232.00 | 600.00 | 2400.00 | 2400.00 | DEEPAM ENTERPRISES
18.00 | S & F of II class hard wood door &Window frame Plain,Solid straight chowkats wrought, framed rebated on the solid rounded or chamfered put together with glue pined at joints. | .75 | m3 | 86387.15 | 189977.00 | 142482.75 | 90000.00 | 67500.00 | 67500.00 | DEEPAM ENTERPRISES
19.00 | Supply and Fixing of 30mm thick Flush door shutter solid core constuction with block board core and plywood face panels, commercial type on both sides. | 50.00 | m2 | 1620.00 | 1750.00 | 87500.00 | 1400.00 | 70000.00 | 70000.00 | DEEPAM ENTERPRISES
20.00 | Supply and fixing of 125mm Butt hinges, extruded aluminium alloy with galvanised mild steel hinge pin, anodised and fixed, type B-21 | 54.00 | Each | 268.40 | 347.00 | 18738.00 | 200.00 | 10800.00 | 10800.00 | DEEPAM ENTERPRISES
21.00 | S&F of Aluminium tower bolts, with barrel of extruded section and rolled or cast bolts and fixed 150 mm long. | 36.00 | Each | 76.80 | 100.00 | 3600.00 | 80.00 | 2880.00 | 2880.00 | DEEPAM ENTERPRISES
22.00 | S & F of Aluminium handle 150mm length. | 36.00 | Each | 88.20 | 110.00 | 3960.00 | 100.00 | 3600.00 | 3600.00 | DEEPAM ENTERPRISES
23.00 | Material and Labour for fixing Aluminium Aldrop bolt 300 mm length | 18.00 | Each | 428.20 | 550.00 | 9900.00 | 350.00 | 6300.00 | 6300.00 | DEEPAM ENTERPRISES
24.00 | Supply and Fixing of pre-printed galvalume aluminium zinc coating GI based corrugated steel sheet 0.50mm (TCT) thick of any clour having tensile strength of 550Mpa as in roof covering /cladding to wall fixed with self tapping screws as specified. | 11.00 | m2 | 767.01 | 990.00 | 10890.00 | 750.00 | 8250.00 | 8250.00 | DEEPAM ENTERPRISES
25.00 | Supply and Fixing of pre-printed galvalume aluminium zinc coating GI based plain steel sheet 0.50mm (TCT) thick of any clour having tensile strength of 550Mpa as in roof covering /cladding to wall fixed with self tapping screws as specified. | 2.00 | m2 | 717.01 | 990.00 | 1980.00 | 700.00 | 1400.00 | 1400.00 | DEEPAM ENTERPRISES
26.00 | Material and Labour for for Providing Antitermite along he external wall below concrete or masonry apron using chemical emulsion @ 2.25 litres per linear meer inlcuidn driling and plugging holes etc n apron complete all as directed by EIC. | 100.00 | m | 89.20 | 100.00 | 10000.00 | 60.00 | 6000.00 | 6000.00 | DEEPAM ENTERPRISES
27.00 | Material and Labur for providing Antitermite treatment of soil under existing floors using emulsion @ one litre per hole, 300mm apart including drilling and plugging 12mm dia holes with cement mortar 1:2 (1 cement: 2 coarse sand) to match the existing floors | 750.00 | m2 | 211.00 | 220.00 | 165000.00 | 165.00 | 123750.00 | 123750.00 | DEEPAM ENTERPRISES
28.00 | M & L for painting to wooden surfaces of any description over 10cm width or girth with Two coats of synthetic enamel paint. including preparing new wooden surfaces. | 120.00 | m2 | 107.50 | 100.00 | 12000.00 | 90.00 | 10800.00 | 10800.00 | DEEPAM ENTERPRISES
29.00 | Material and labour for applying two coats of Plastic emulsion on internal wall surfaces including preparation of old wall surfaces complete all as directed. | 600.00 | m2 | 118.30 | 110.00 | 66000.00 | 80.00 | 48000.00 | 48000.00 | DEEPAM ENTERPRISES
30.00 | M&L for painting two coats of exterior emulsion (Make APEX ULTIMA of ASIAN PAINTS) includings one coat of priming paint applies after preparation of the old existing treatment. | 400.00 | m2 | 150.90 | 100.00 | 40000.00 | 130.00 | 52000.00 | 40000.00 | RAJ CONSTRUCTION
31.00 | Supply and fixing of EWC with "P" or "S" trap including bedding valveless syphonic action type 10 litres flushing cistern low level white with inlet ball valve float and handle including bracket Plastic water closet seat, black, closed pattern with flat bottom,and cover and mild steel chromium plated or aluminised hinging device and etc., complete and dismantling the existing IWC | 2.00 | Each | 5585.83 | 6050.00 | 12100.00 | 4500.00 | 9000.00 | 9000.00 | DEEPAM ENTERPRISES
32.00 | Supply and Fixing of Health Facet chromium plated (ESS YESS MAKE VICTORIAN | 2.00 | Each | 800.00 | 1110.00 | 2220.00 | 900.00 | 1800.00 | 1800.00 | DEEPAM ENTERPRISES
33.00 | Providing and fixing 600mm wide Wash basin of polished 19mm thick granite slab top of approved shade laid on 25mm thick one side polished cuddupah with cement mortar in between, supported on 25mm thick both sides polished cuddapah verticals as directed, Provide 200mm high front facia & band above the counter top of same shade granite. All exposed surfaces of platform to be finished in same granite slab and all cut-out, exposed edges to be bull nosed with mirror polished. Also include making necessary cut-outs thru counter top. Cost to also include making necessary cut-outs for taking drainage pipes and Nahni traps in raised platform, all completed and finished to satisfactory conditions. | 2.00 | Each | 17700.00 | 8650.00 | 17300.00 | 16000.00 | 32000.00 | 17300.00 | RAJ CONSTRUCTION
34.00 | Supply and fixing of cast copper alloy screwed down, high pressure stop cock /angle cock fancy type chromium olated concealed type of size 15mm | 8.00 | Each | 720.14 | 930.00 | 7440.00 | 650.00 | 5200.00 | 5200.00 | DEEPAM ENTERPRISES
35.00 | Supply and Fixing of chromium plated cast copper alloy bib cock of size 15mm. | 10.00 | Each | 465.70 | 880.00 | 8800.00 | 450.00 | 4500.00 | 4500.00 | DEEPAM ENTERPRISES
36.00 | Supply and Fixing of 600x450mmbevelled mirror of selected quality glass mounted on commercial ply wood and fixed to wooden plugs with chromium plated brass screws and cup washers. | 2.00 | Each | 554.60 | 770.00 | 1540.00 | 400.00 | 800.00 | 800.00 | DEEPAM ENTERPRISES
37.00 | Supply and Fixing of Swivel Shower of PTMT of any colour for fixing with 15mm pipe (minimum weight 40 gms) | 2.00 | Each | 112.98 | 145.00 | 290.00 | 100.00 | 200.00 | 200.00 | DEEPAM ENTERPRISES
38.00 | Supply and fixing of tubular towel rail 20mm D type 60cm long of aluminium anodized with and including chromium coated brass screws and wooden /plastic cleats. | 2.00 | Each | 379.80 | 1100.00 | 2200.00 | 400.00 | 800.00 | 800.00 | DEEPAM ENTERPRISES
39.00 | Supply and fixing of soap dish fixed to plugs with chromium plated brass screws. | 2.00 | Each | 257.47 | 770.00 | 1540.00 | 200.00 | 400.00 | 400.00 | DEEPAM ENTERPRISES
40.00 | M & L for Cutting chases, pinning in. making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting not exc 10 cm girth | 30.00 | m | 50.45 | 70.00 | 2100.00 | 90.00 | 2700.00 | 2100.00 | RAJ CONSTRUCTION
41.00 | Supply and Laying of CPVC 20mm over dia pipes SD 11 & Plain CPVC SDR 11 fittings in trenches complete all as specified. | 40.00 | m | 244.60 | 192.00 | 7680.00 | 140.00 | 5600.00 | 5600.00 | DEEPAM ENTERPRISES
42.00 | S & F of PVC floor trap 75mm dia outlet of with grating and connecting PVC extension pipe including jointing with solvent cement etc., complete | 2.00 | Each | 225.00 | 247.00 | 494.00 | 130.00 | 260.00 | 260.00 | DEEPAM ENTERPRISES
43.00 | Supply and Fixing of PVC(SWR) pipe of 75mm dia laid in trenches including or in floors including all fittings complete asll as directed. | 10.00 | m | 160.00 | 175.00 | 1750.00 | 140.00 | 1400.00 | 1400.00 | DEEPAM ENTERPRISES
44.00 | S & F of 20mm dia High density polyethylene pipes (HDPE) of pressure rating 6 kgf/cm2 fixed complete to walls, ceilings or in floors etc. | 50.00 | m | 149.40 | 150.00 | 7500.00 | 125.00 | 6250.00 | 6250.00 | DEEPAM ENTERPRISES
45.00 | Supply and fixing of PVC(SWR) pipe 110mm bend. | 2.00 | Each | 125.00 | 137.00 | 274.00 | 100.00 | 200.00 | 200.00 | DEEPAM ENTERPRISES
46.00 | Supply and Fixing of PVC(SWR) pipe of 110mm dia laid in trenches including or in floors including all fittings complete asll as directed. | 20.00 | m | 190.00 | 210.00 | 4200.00 | 140.00 | 2800.00 | 2800.00 | DEEPAM ENTERPRISES
47.00 | Supplying and Fixing of PVC (SWR) gully trap 125/110 mm, setting and jointing with neat cement solvent. | 2.00 | Each | 265.00 | 110.00 | 220.00 | 110.00 | 220.00 | 220.00 | DEEPAM ENTERPRISES, RAJ CONSTRUCTION
48.00 | Supply and Fixing of 75mm PVC bend | 2.00 | Each | 110.00 | 115.00 | 230.00 | 100.00 | 200.00 | 200.00 | DEEPAM ENTERPRISES
49.00 | S & F of PVC 75mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 15.00 | m | 160.00 | 165.00 | 2475.00 | 140.00 | 2100.00 | 2100.00 | DEEPAM ENTERPRISES
50.00 | Supply and Fixing of hot and cold Piller cock 15mm long body fixed on wash basin with all nessary fitting etc(make parryware/Jaguar). | 10.00 | Number | 3300.00 | 385.00 | 3850.00 | 3500.00 | 35000.00 | 3850.00 | RAJ CONSTRUCTION
51.00 | Supply and Fixing of PVC door frame of size 50mmx47mm made out of 5mm plain colour PVC sheet reinforced with M.S square tube. | 10.00 | m | 453.00 | 495.00 | 4950.00 | 300.00 | 3000.00 | 3000.00 | DEEPAM ENTERPRISES
52.00 | S & F of Factory made solid panel PVC Door shutter 30mm thick (style) consisting of frame madeout of M.S tubes for top & bottom rails. M.S.Frame shall be covered with heat moulded plain colour PVC 'C' channel having a PVC sheet strip of 20mm width stuck inside with solvent cement for stiles and plain colour PVC sheets for Top rail, lock rail & bottom rail on either side & gap insert for top rail & bottom rail. Panelling of plain colour PVC sheet to be fitted in the M.S.frame welded / sealed to stiles & rails with suitable PVC sheet beading and jointing togeter and inlciding fixing to frame with hinges, tower bolt, handle all complete and as directed | 3.00 | m2 | 2398.60 | 2640.00 | 7920.00 | 2100.00 | 6300.00 | 6300.00 | DEEPAM ENTERPRISES
53.00 | Supply and Fixing of extruded Aluminium alloy with brass/bronze hinge pin type C-22 Butt hinges heavy weight 75mm length. | 6.00 | Each | 108.50 | 120.00 | 720.00 | 85.00 | 510.00 | 510.00 | DEEPAM ENTERPRISES
54.00 | Supply a nd Fixing of Aluminium anodized skeleton tower bolts with plate of 100mm length. | 4.00 | Each | 58.70 | 63.00 | 252.00 | 60.00 | 240.00 | 240.00 | DEEPAM ENTERPRISES
55.00 | Supply and Fixing of Aluminium handle fabricated type 100mm length. | 4.00 | Each | 73.50 | 83.00 | 332.00 | 100.00 | 400.00 | 332.00 | RAJ CONSTRUCTION
56.00 | Supply and Fixing of Aluminium Coat Hooks of soild body of size 175mm to250mm | 2.00 | Each | 67.91 | 77.00 | 154.00 | 60.00 | 120.00 | 120.00 | DEEPAM ENTERPRISES
57.00 | Supply and Fixing of 1000 litres Rotational moulded polyethylene water Tanks(Cylindrical vertical with closed top) hoisted and fixed in position including nipple, ball valve set complete all as direced by EIC. | 2.00 | Each | 8196.46 | 9570.00 | 19140.00 | 8000.00 | 16000.00 | 16000.00 | DEEPAM ENTERPRISES
58.00 | Earthwork in post holes of not exceeding 0.50 Cu.m each and getting out in dense/hard soil including removal of earth from the site and filling the low lying area near by. | 85.00 | Each | 381.40 | 418.00 | 35530.00 | 400.00 | 34000.00 | 34000.00 | DEEPAM ENTERPRISES
59.00 | M & L for P.C.C 1:3:6, C-1 type using 20mm graded aggregated in foundation, grouting of steel structures. | 10.00 | m3 | 6629.13 | 9015.00 | 90150.00 | 5100.00 | 51000.00 | 51000.00 | DEEPAM ENTERPRISES
60.00 | Supply and fixing of mild steel angles, rod and flat bars and bolt nuts using posts and struts and for stiffness in fencing and gate including cutting tops to shaping drilling holes. | 1800.00 | KG | 103.18 | 115.00 | 207000.00 | 95.00 | 171000.00 | 171000.00 | DEEPAM ENTERPRISES
61.00 | M & L for painting to steel surfaces of any description over 10cm width or girth with two coats of synthetic enamel paint over a coat of primer including preparing new surfaces. | 45.00 | m2 | 141.30 | 100.00 | 4500.00 | 105.00 | 4725.00 | 4500.00 | RAJ CONSTRUCTION
62.00 | Material and labour for chain link fencing made of 8 gauge G.I. wire with 3" aperture and height as directed. | 400.00 | m2 | 350.00 | 550.00 | 220000.00 | 325.00 | 130000.00 | 130000.00 | DEEPAM ENTERPRISES
63.00 | Material and labour for providing reinforcement cement concrete in footings, piles, plinth beam with cement concrete B1 Type 1:2:4 mix using 20 mm graded aggregated. | 15.00 | m3 | 6494.11 | 7150.00 | 107250.00 | 5300.00 | 79500.00 | 79500.00 | DEEPAM ENTERPRISES
64.00 | Supply and fixing of twisted MS Bars 10mm dia and over, cut to length bent to shape required including cranking, bending, spiraling for hoping for columns, hooking ends and binding with MS Wire not less than 0.9mm dia or securing with clips. | 600.00 | KG | 81.87 | 90.00 | 54000.00 | 80.00 | 48000.00 | 48000.00 | DEEPAM ENTERPRISES
65.00 | Material and labour for Fe-410 deformed or twisted mild steel bars 6 mm to 8mm dia and over cut to length bent to shape required including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire not less than 0.9 mm dia or securing with clips | 400.00 | KG | 83.89 | 92.00 | 36800.00 | 82.00 | 32800.00 | 32800.00 | DEEPAM ENTERPRISES
66.00 | Material and labour for form work to sides of concrete foundation, bases of column, beam sides and soffits of foundation and plinth beams for Flat surfaces. | 130.00 | m2 | 316.72 | 350.00 | 45500.00 | 290.00 | 37700.00 | 37700.00 | DEEPAM ENTERPRISES
67.00 | Dismantling existing damaged steel structure by gas cutting of the damaged structure and handing over the same to CE (estate) stores. | 6.00 | Quintal | 623.60 | 682.00 | 4092.00 | 600.00 | 3600.00 | 3600.00 | DEEPAM ENTERPRISES
68.00 | Removal of bushes/shrubs around of fencing works | 210.00 | m | 5.00 | 55.00 | 11550.00 | 9.00 | 1890.00 | 1890.00 | DEEPAM ENTERPRISES
69.00 | Dismantling of wall paneling boards(fibre, pulp, insulation etc.,) or insulation boards/slabs. blankets of any thickness and removing to CE Stores as directed | 82.00 | m2 | 41.60 | 46.00 | 3772.00 | 40.00 | 3280.00 | 3280.00 | DEEPAM ENTERPRISES
70.00 | Taking down cement plastering on brick or stone walls, etc. including raking out joints, hacking for key, scrubbing down with water, etc. | 82.00 | m2 | 94.94 | 100.00 | 8200.00 | 110.00 | 9020.00 | 8200.00 | RAJ CONSTRUCTION
71.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work and concrete surfaces. | 82.00 | m2 | 263.12 | 275.00 | 22550.00 | 230.00 | 18860.00 | 18860.00 | DEEPAM ENTERPRISES
72.00 | Material and Labour for Dubbing out average 10mm thick on irregular face of walls in CM 1:4. | 82.00 | m2 | 170.14 | 174.00 | 14268.00 | 140.00 | 11480.00 | 11480.00 | DEEPAM ENTERPRISES
73.00 | Material and labour for one coat of damp block paint on wall surfaces to arrest dampness on the wall surfaces after preparing the old wall surfaces. | 290.00 | m2 | 85.00 | 240.00 | 69600.00 | 70.00 | 20300.00 | 20300.00 | DEEPAM ENTERPRISES
74.00 | Material and labour for Point wiring with 1.5sqmm FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall/ roof/L angle including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare copper earth continuity wire. one light point controlled by one switch light/fan. (Make: Finolux/Havells/Polycab/ Kundan) | 156.00 | Point | 1092.03 | 660.00 | 102960.00 | 950.00 | 148200.00 | 102960.00 | RAJ CONSTRUCTION
75.00 | Material and labour for Point wiring with 1.5sqmm FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall/ roof/L angle including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare copper earth continuity wire. One 3 pin plug socket with switches flush type 5A on same board with 2.5sqmm cable. (Make: Finolux/Havells/Polycab/ Kundan) | 130.00 | Point | 319.88 | 715.00 | 92950.00 | 275.00 | 35750.00 | 35750.00 | DEEPAM ENTERPRISES
76.00 | Material and labour for Point wiring with 1.5sqmm FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall/ roof/L angle including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare copper earth continuity wire. One 3 pin plug socket with switches flush type 5A on Independent board with 2.5sqmm cable. (Make: Finolux/Havells/Polycab/ Kundan) | 30.00 | Point | 1244.53 | 715.00 | 21450.00 | 1100.00 | 33000.00 | 21450.00 | RAJ CONSTRUCTION
77.00 | Supply fixing and connecting to the system modular type switches 6A single pole one way (Make:,LEGRAND MYRIUS equivalent of Litaski/ Crabtree) | 238.00 | Each | 286.55 | 290.00 | 69020.00 | 210.00 | 49980.00 | 49980.00 | DEEPAM ENTERPRISES
78.00 | Supply, fixing and connecting to the system of socket, 6A-2/3 pin combined modular type 2 module (Make:,LEGRAND MYRIUS equivalent of Litaski/ Crabtree) | 80.00 | Each | 374.59 | 374.00 | 29920.00 | 310.00 | 24800.00 | 24800.00 | DEEPAM ENTERPRISES
79.00 | Supply, fixing and connecting to the system modular type switch one way 16A, 1 module (Make:,LEGRAND MYRIUS equivalent of Litaski/ Crabtree) | 48.00 | Each | 378.07 | 378.00 | 18144.00 | 305.00 | 14640.00 | 14640.00 | DEEPAM ENTERPRISES
80.00 | Supply, fixing and connecting to the system of socket, 6/16A-2/3 pin combined modular type 2 module (Make:,LEGRAND MYRIUS equivalent of Litaski/ Crabtree) | 80.00 | Each | 581.24 | 580.00 | 46400.00 | 480.00 | 38400.00 | 38400.00 | DEEPAM ENTERPRISES
81.00 | Supply, fixing & connecting of Fan step regulator modular type 120W, 2 module (Make:,LEGRAND MYRIUS equivalent of Litaski/ Crabtree) | 20.00 | Each | 1119.75 | 1100.00 | 22000.00 | 1000.00 | 20000.00 | 20000.00 | DEEPAM ENTERPRISES
82.00 | Material & Labour for ceiling rose, 3 Phase/PVC/polycorbonate, isolated body (ANCHOR / LEGRAND/ HAVELLS make). | 70.00 | Each | 72.27 | 70.00 | 4900.00 | 60.00 | 4200.00 | 4200.00 | DEEPAM ENTERPRISES
83.00 | supply & fixing of lamp holders PVC/polycorbonate type with cord grid cap suitabile for pendant/straight / slanding fittings. | 6.00 | Each | 143.88 | 143.00 | 858.00 | 120.00 | 720.00 | 720.00 | DEEPAM ENTERPRISES
84.00 | Supply & fixing of modular white cover plate with frame 2 module | 65.00 | Each | 215.38 | 215.00 | 13975.00 | 195.00 | 12675.00 | 12675.00 | DEEPAM ENTERPRISES
85.00 | Supply & fixing metal flush box for 2 module plate | 65.00 | Each | 197.01 | 195.00 | 12675.00 | 110.00 | 7150.00 | 7150.00 | DEEPAM ENTERPRISES
86.00 | Supply & fixing of 4 module modular white cover plate with frame | 14.00 | Each | 271.81 | 271.00 | 3794.00 | 235.00 | 3290.00 | 3290.00 | DEEPAM ENTERPRISES
87.00 | Supply & fixing of metal flush box for 4 module plate | 14.00 | Each | 234.74 | 234.00 | 3276.00 | 165.00 | 2310.00 | 2310.00 | DEEPAM ENTERPRISES
88.00 | Supply & fixing of 6 module modular white cover plate with frame | 24.00 | Each | 340.56 | 340.00 | 8160.00 | 420.00 | 10080.00 | 8160.00 | RAJ CONSTRUCTION
89.00 | Supply & fixing of metal flush box for 6 module plate | 24.00 | Each | 312.51 | 313.00 | 7512.00 | 265.00 | 6360.00 | 6360.00 | DEEPAM ENTERPRISES
90.00 | Supply & fixing of 8 module plate with frame | 12.00 | Each | 419.54 | 420.00 | 5040.00 | 380.00 | 4560.00 | 4560.00 | DEEPAM ENTERPRISES
91.00 | Supply & fixing of MCCB 3 pole 415 Volt, fixed type 125 Amps, with breaking capacity 16KA. Make:Legrand/ ABB / Schneider | 2.00 | Each | 3945.81 | 3850.00 | 7700.00 | 5000.00 | 10000.00 | 7700.00 | RAJ CONSTRUCTION
92.00 | Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 5 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. (Make:Legrand/ ABB / Schneider) | 46.00 | Each | 312.62 | 310.00 | 14260.00 | 260.00 | 11960.00 | 11960.00 | DEEPAM ENTERPRISES
93.00 | Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 40 AMP, in the MCB DB Complete with connection testing and commissioning. (Make:Legrand/ ABB / Schneider) | 5.00 | Each | 887.04 | 880.00 | 4400.00 | 700.00 | 3500.00 | 3500.00 | DEEPAM ENTERPRISES
94.00 | Supply and fixing 415V 10KA 'B' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the DB complete with connection testing and commissioning. TP (Triple pole) 25 To 63 AMP (Make:Legrand/ ABB / Schneider) | 8.00 | Each | 1867.36 | 1760.00 | 14080.00 | 1500.00 | 12000.00 | 12000.00 | DEEPAM ENTERPRISES
95.00 | Supply and fixing 415V 10KA 'B' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the DB complete with connection testing and commissioning. TPN/FP (Four pole) 40 To 100 AMP ( (Make:Legrand/ ABB / Schneider) | 2.00 | Each | 2596.81 | 2530.00 | 5060.00 | 1970.00 | 3940.00 | 3940.00 | DEEPAM ENTERPRISES
96.00 | Material & Labour for wiring with two/four runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one/two run of copper cable as earth wire. 2x1.5 sq.mm+1x1.5 sq.mm earth wire. (Make: Finolux/Havells/ Polycab/ Kundan) | 100.00 | m | 179.65 | 176.00 | 17600.00 | 125.00 | 12500.00 | 12500.00 | DEEPAM ENTERPRISES
97.00 | Material & Labour for wiring with two/four runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one/two run of copper cable as earth wire. 2x2.5 sq.mm+1x2.5 sq.mm earth wire. (Make: Finolux/Havells/ Polycab/ Kundan) | 545.00 | m | 203.73 | 205.00 | 111725.00 | 170.00 | 92650.00 | 92650.00 | DEEPAM ENTERPRISES
98.00 | Material & Labour for wiring with two/four runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one/two run of copper cable as earth wire. 2x4.0 sq.mm+1x4.0 sq.mm earth wire. (Make: Finolux/Havells/ Polycab/ Kundan) | 685.00 | m | 236.50 | 235.00 | 160975.00 | 205.00 | 140425.00 | 140425.00 | DEEPAM ENTERPRISES
99.00 | Material & Labour for wiring with two/four runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one/two run of copper cable as earth wire. 2x6.0 sq.mm+1*6.0 sq.mm earth wire. (Make: Finolux/Havells/ Polycab/ Kundan) | 30.00 | m | 285.12 | 253.00 | 7590.00 | 245.00 | 7350.00 | 7350.00 | DEEPAM ENTERPRISES
100.00 | Material & Labour for wiring with two/four runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one/two run of copper cable as earth wire. 4x10.0 sq.mm + 1x10.0 sq.mm earth wire. (Make: Finolux/Havells/ Polycab/ Kundan) | 40.00 | m | 622.36 | 605.00 | 24200.00 | 525.00 | 21000.00 | 21000.00 | DEEPAM ENTERPRISES
101.00 | Material and labour for Brick walls cutting chases,pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exc. 10 cm but not exc. 20 cm grith. | 685.00 | m | 57.31 | 55.00 | 37675.00 | 75.00 | 51375.00 | 37675.00 | RAJ CONSTRUCTION
102.00 | Demolition of cement concrete of any description and in any position | 2.00 | m3 | 1794.43 | 1750.00 | 3500.00 | 1050.00 | 2100.00 | 2100.00 | DEEPAM ENTERPRISES
103.00 | Material and labour for cement concrete 1:2:4 Type B1 using 20mm graded aggregate in foundations, filling and mass concrete. | 4.50 | m3 | 7186.66 | 8965.00 | 40342.50 | 4750.00 | 21375.00 | 21375.00 | DEEPAM ENTERPRISES
104.00 | Excavating in trenches hard dense soil not exceeding 1.5 m wide and not exceeding 1.5 m in depth for laying cable. | 50.00 | m3 | 742.50 | 550.00 | 27500.00 | 490.00 | 24500.00 | 24500.00 | DEEPAM ENTERPRISES
105.00 | Material & labour for sand filling for cushioning on U.G cable | 12.00 | m3 | 2171.73 | 770.00 | 9240.00 | 1800.00 | 21600.00 | 9240.00 | RAJ CONSTRUCTION
106.00 | Materal &labour for Bricks; common burnt clay building bricks sub class B designation 75, Old size bricks for protection to U.G cable | 2.50 | Per 1000 Numbers | 6107.07 | 11000.00 | 27500.00 | 6000.00 | 15000.00 | 15000.00 | DEEPAM ENTERPRISES
107.00 | Returing, refilling of hard dense soil in the excavated trench after laying of power cable including spreading levelling, watering and well ramming in layers not exc 25 cm. | 50.00 | m3 | 153.01 | 153.00 | 7650.00 | 105.00 | 5250.00 | 5250.00 | DEEPAM ENTERPRISES
108.00 | Supply, laying or fixing with suitable clamps or passing through pipe, PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross sectional area 35 sqmm, 4 core.(Make: Finolux/Havells /Polycab /orbit / Gloster) | 90.00 | m | 281.61 | 275.00 | 24750.00 | 220.00 | 19800.00 | 19800.00 | DEEPAM ENTERPRISES
109.00 | Supply, laying or fixing with suitable clamps or passing through pipe, PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross sectional area 70 sqmm, 3.5 core.(Make: Finolux/Havells/ Polycab / Gloster) | 55.00 | m | 420.57 | 418.00 | 22990.00 | 315.00 | 17325.00 | 17325.00 | DEEPAM ENTERPRISES
110.00 | Supply & fixing of galvanised steel tubes, medium grade 150mm dia | 24.00 | m | 938.30 | 935.00 | 22440.00 | 750.00 | 18000.00 | 18000.00 | DEEPAM ENTERPRISES
111.00 | Supply & fixing of galvanised steel tubes, medium grade 32mm dia | 24.00 | m | 275.00 | 265.00 | 6360.00 | 210.00 | 5040.00 | 5040.00 | DEEPAM ENTERPRISES
112.00 | Taking down copper/aluminium point wiring (light,fan,socket or power) complete, including fixture and fittings such as switches, ceiling roses, pendents, regulators, sockets, light fitting, exhaust fan etc removing materilas to store for keeping in safe custody . | 130.00 | Each | 167.20 | 165.00 | 21450.00 | 45.00 | 5850.00 | 5850.00 | DEEPAM ENTERPRISES
113.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used single pole & neutral 8 way with 200 Amps rated busbar, (Make:Legrand/ ABB / Schneider) | 4.00 | Each | 2103.97 | 5500.00 | 22000.00 | 1650.00 | 6600.00 | 6600.00 | DEEPAM ENTERPRISES
114.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used Triple pole & neutral 4 way with 200 Amps rated busbar, (Make:Legrand/ ABB / Schneider) | 2.00 | Each | 2906.97 | 5500.00 | 11000.00 | 2400.00 | 4800.00 | 4800.00 | DEEPAM ENTERPRISES
115.00 | Supply and fixing LED lights fitting 1x 20W, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete. Make: PHILIPS / CG /Havells / Wipro. | 84.00 | Each | 1435.94 | 1420.00 | 119280.00 | 1200.00 | 100800.00 | 100800.00 | DEEPAM ENTERPRISES
116.00 | Supply and fixing LED light fitting mirror type with high out put diffuser 2 feet, 10 watt 220 V AC decorative type with driver holder and LED lamp including connecting up with three core flexible copper conductor cable of suitable size complete. Make: PHILIPS / CG /Havells / Wipro. | 2.00 | Each | 1490.29 | 1485.00 | 2970.00 | 1315.00 | 2630.00 | 2630.00 | DEEPAM ENTERPRISES
117.00 | Supply and fixing of exhaust fan, steel body AC single Phase. 230V of size 300mm sweep with, blades, and frame and louvers Make : Almonard / Kaithan / Usha / CG | 4.00 | Each | 3903.45 | 3850.00 | 15400.00 | 3090.00 | 12360.00 | 12360.00 | DEEPAM ENTERPRISES
118.00 | Supply & fixing of MCBDB 4 way(DPX160+12) legrand make asper legrand 2010 catlogue No.607790 or Equivalant model of ABB/Schneider | 2.00 | Each | 9900.00 | 1650.00 | 3300.00 | 10500.00 | 21000.00 | 3300.00 | RAJ CONSTRUCTION
119.00 | Supply and fxing of LED ceiling/Recessed mounting fitting complete with suitable LED lamp and accessories,Wattage 24 to 30 watts and minimum system output 1800 lumens. Make: PHILIPS / Bajaj /CG /Havells / Wipro. | 6.00 | Each | 3000.00 | 1500.00 | 9000.00 | 3150.00 | 18900.00 | 9000.00 | RAJ CONSTRUCTION
120.00 | Supply of Recessed Mounted circle type Luminarie, 15 Watts with suitable LED lamp and accessories, minimum system output: 1000 lumens. Make: PHILIPS or equivalent of Bajaj/CG/Havells/Wipro. | 22.00 | Each | 1450.00 | 880.00 | 19360.00 | 1300.00 | 28600.00 | 19360.00 | RAJ CONSTRUCTION
121.00 | Supply, fixing and connecting to the system modular type switch one way 20A, Single pole 2 module. ((Make:LEGRAND MYRIUS or equivalent of LITASKI / CRABTREE) | 32.00 | Each | 270.00 | 400.00 | 12800.00 | 225.00 | 7200.00 | 7200.00 | DEEPAM ENTERPRISES
122.00 | Supply & fixing metal flush box for 8 module plate | 12.00 | Each | 120.00 | 440.00 | 5280.00 | 200.00 | 2400.00 | 2400.00 | DEEPAM ENTERPRISES
123.00 | Supply & fixing of 12 module plate with frame and metal flush box | 18.00 | Each | 450.00 | 440.00 | 7920.00 | 365.00 | 6570.00 | 6570.00 | DEEPAM ENTERPRISES
124.00 | Supply & fixing of 16 module plate with frame and metal flush box | 10.00 | Each | 500.00 | 550.00 | 5500.00 | 425.00 | 4250.00 | 4250.00 | DEEPAM ENTERPRISES
125.00 | Supply & fixing of modular type Dummy plate | 105.00 | Number | 20.00 | 550.00 | 57750.00 | 35.00 | 3675.00 | 3675.00 | DEEPAM ENTERPRISES
126.00 | Supply, fixing & connecting of the system cable end termination of size 35 sqmm 4 core including with suitable cable gland & lugs. | 12.00 | Set | 400.00 | 715.00 | 8580.00 | 200.00 | 2400.00 | 2400.00 | DEEPAM ENTERPRISES
127.00 | Supply, fixing & connecting of the system cable end termination of size 70 sqmm 3.5 core including with suitable cable gland & lugs. | 6.00 | Set | 600.00 | 990.00 | 5940.00 | 490.00 | 2940.00 | 2940.00 | DEEPAM ENTERPRISES
128.00 | Supply and fixing of ceiling fan of 1200mm size. (Make: Orient/USHA/Crompton Greaves). | 20.00 | Each | 2400.00 | 2530.00 | 50600.00 | 2200.00 | 44000.00 | 44000.00 | DEEPAM ENTERPRISES
129.00 | Supply and fxing of LED Bollard light fitting complete with 11 watts LED lamp and accessories. Height 500MM Make:Klite circo cutoff Bollard Cat.no.6964 or equivalent model in Philips/ CG/ Havells) | 60.00 | Each | 6000.00 | 330.00 | 19800.00 | 5150.00 | 309000.00 | 19800.00 | RAJ CONSTRUCTION
130.00 | Supply and fxing of LED Gate light fitting complete with 30 watts LED lamp and accessories. (dia.425mm x 325mm) Make:Klite. (Cat.no.4975 or equivalent model of HAVELLS, PHILLIPS, CG, WIPRO) | 10.00 | Each | 8500.00 | 1760.00 | 17600.00 | 8500.00 | 85000.00 | 17600.00 | RAJ CONSTRUCTION
131.00 | Supply & fixing of LED, street light fitting with pipe and clamps complte, minimum 7000 Lumens, power consumption 72 watts(maximum). Make: PHILIPS /GE/ WIPRO /CG/OSRAM /BAJAJ/ HAVELLS/ SYSKA | 10.00 | Each | 6500.00 | 3300.00 | 33000.00 | 7000.00 | 70000.00 | 33000.00 | RAJ CONSTRUCTION
132.00 | Supply, laying or fixing with suitable clamps or passing through pipe, PVC insulated, armoured, heavy duty electric UG cable with copper conductor, 1100 volts grade, cross sectional area 2.5 sqmm, 4 core. (Make: Havells / Gloster / Polycab) | 625.00 | m | 135.00 | 240.00 | 150000.00 | 115.00 | 71875.00 | 71875.00 | DEEPAM ENTERPRISES
133.00 | Supply and fixing of LED Flood light fitting, 200W, cool day white,min 18000 lumens output, IP65 protection make: phillips model BVP184XX200WPSU or equivalent or wipro/havells/CG /KLite | 8.00 | Each | 21500.00 | 880.00 | 7040.00 | 23500.00 | 188000.00 | 7040.00 | RAJ CONSTRUCTION
134.00 | Supply & Fixing of OUT DOOR FPB consisting of 200A MCCB-1 No for incoming, outgoing feeders are 63A MCCB-4 Nos. Specifcation sheet enclosed as annexure -1(1.0.1 to 1.0.9.5). | 1.00 | Set | 210000.00 | 11000.00 | 11000.00 | 215000.00 | 215000.00 | 11000.00 | RAJ CONSTRUCTION
| Total in Figures |  |  |  |  | 5647017.25 |  | 5262960.00
Lowest Amount Quoted BY: DEEPAM ENTERPRISES(5262960.00)

## BOQ Summary
BOQ Summary Details Tender Title: Special Repairs / Renovation of Bhishma Club building and chain link fencing around Bhishma Club at HVF Estate, Avadi Tender ID: 2023_AVNL_165417_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DEEPAM ENTERPRISES | 5262960.00 | L1
| 2 | RAJ CONSTRUCTION | 5647017.25 | L2