## BoQ1
Government eProcurement System Created By: K SREEVANI Created Date/Time: 05-Jan-2024 03:34 PM Tender Title: Provision of Cabins with Aluminium Enclosures, Provision of 4 Nos. of Hand Washes, making of BMP Tesing Pit and Structural Steel Platform for over head water Tanks in OH Building inside Factory area at OFMK Tender ID: 2023_AVNL_168250_1
Tender Inviting Authority: CHIEF GENERAL MANAGER, ORDNANCE FACTORY MEDAK HYDERABAD A UNIT OF AVNL
Name of Work: Provision of Cabins with Aluminium Enclosures, Provision of 4 Nos. of Hand Washes, making of BMP Tesing Pit and Structural Steel Platform for over head water Tanks in OH Building inside Factory area at OFMK
Contract No: 76026/ TE-11/ OFMK/EOC/OH Bldg./ 23-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | P LAVAKUSHA REDDY CONTRACTORS(GSTN-NA) |  | SANTOSH ENGINEERING WORKS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | DEMOLITION OF CEMENT CONCRETE: Demolition of reinforced cement concrete in ground floors and pavings exceeding 15cm thcikness below ground lvel, complete all as specified and directed by EIC | 29.00 | Cum | 100.00 | 2200.00 | 63800.00 | 2300.00 | 66700.00 | 63800.00 | P LAVAKUSHA REDDY CONTRACTORS
2.00 | DEMOLITION OF BRICKWORK : Demolition of Brickwork or Stone/Boulder masonry, built in cement mortar including all quoins, stages and steps all as specified and directed by EIC. | 5.00 | Cum | 100.00 | 550.00 | 2750.00 | 550.00 | 2750.00 | 2750.00 | P LAVAKUSHA REDDY CONTRACTORS, SANTOSH ENGINEERING WORKS
3.00 | DEMOLITION OF CEMENT CONCRETE: Demolition of unreinforced cement concrete in ground floors and pavings exceeding 15cm thcikness below ground lvel, complete all as specified and directed by EIC | 15.00 | Cum | 10.00 | 1300.00 | 19500.00 | 1350.00 | 20250.00 | 19500.00 | P LAVAKUSHA REDDY CONTRACTORS
4.00 | EXCAVATION : Excavation in trenches in hard rock not exceeding 1.5m width and 1.5m depth and getting out including all as specified and directed. | 75.00 | Cum | 10.00 | 2300.00 | 172500.00 | 2450.00 | 183750.00 | 172500.00 | P LAVAKUSHA REDDY CONTRACTORS
5.00 | EXCAVATION : Excavation in trenches in hard/dense soil not exceeding 1.5m width and 1.5m depth and getting out including all as specified and directed. | 14.00 | Cum | 10.00 | 550.00 | 7700.00 | 650.00 | 9100.00 | 7700.00 | P LAVAKUSHA REDDY CONTRACTORS
6.00 | REMOVAL OF SPOIL / DEBRIS : Removing excavted material, debris, broken stone/concrete etc. exc. a distance 250 m but n. exc 500 m and depositing where directed including all as specified & directed. | 106.00 | Cum | 100.00 | 300.00 | 31800.00 | 320.00 | 33920.00 | 31800.00 | P LAVAKUSHA REDDY CONTRACTORS
7.00 | PCC : M&L - Plain Cement concrete (1:4:8), type D2 with 40 mm graded aggregate, in foundation, filling and mass concrete . | 12.00 | CUM | 100.00 | 5200.00 | 62400.00 | 5400.00 | 64800.00 | 62400.00 | P LAVAKUSHA REDDY CONTRACTORS
8.00 | PCC : M&L - Plain Cement concrete 1:2:4 , type B2 with 20 mm graded aggregate, in foundation, filling and mass concrete, complete all as specified and directed. | 11.00 | Cum | 10.00 | 6200.00 | 68200.00 | 6450.00 | 70950.00 | 68200.00 | P LAVAKUSHA REDDY CONTRACTORS
9.00 | STONE MASONRY : Walling of squared rubble, regular coursed, well bonded, bedded and solidly hearted, built in cement mortar 1:6. | 11.00 | Cum | 10.00 | 5650.00 | 62150.00 | 5700.00 | 62700.00 | 62150.00 | P LAVAKUSHA REDDY CONTRACTORS
10.00 | BRICKWORK - Brickwork with sub class B bricks in 1:4 cement mortar, straight or curved in plan exc. 6 m mean radius, built in all as specified and directed. | 15.00 | Cum | 10.00 | 5350.00 | 80250.00 | 5300.00 | 79500.00 | 79500.00 | SANTOSH ENGINEERING WORKS
11.00 | PLASTERING :(M&L) - One coat of Rendering 10 mm thick cement plaster 1:4 on fair faces of brick work or concrete surfaces etc., complete all as specified and directed | 190.00 | Sqm | 100.00 | 200.00 | 38000.00 | 210.00 | 39900.00 | 38000.00 | P LAVAKUSHA REDDY CONTRACTORS
12.00 | WALL TILES : Supply & fixing of Coloured glazed ceramic tiles in vertical surface 350x250x7 mm/ 450x350x7 mm thick set and jointed in neat cement slurry and pointed in white or coloured cement to match all as specified and directed. | 35.00 | Sqm | 100.00 | 1300.00 | 45500.00 | 1300.00 | 45500.00 | 45500.00 | P LAVAKUSHA REDDY CONTRACTORS, SANTOSH ENGINEERING WORKS
13.00 | FLOOR TILING :Supply & fixing Coloured non skid ceramic tiles in flooring, 7 to 8 mm thick area of each tile exceeding 0.06 sqm but not exceeding 0.11 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match all as specified and directed. | 11.00 | Sqm | 10.00 | 1100.00 | 12100.00 | 1100.00 | 12100.00 | 12100.00 | P LAVAKUSHA REDDY CONTRACTORS, SANTOSH ENGINEERING WORKS
14.00 | SCREED BED : Screed bed or bedding layer of mortor 20 mm thick for laying floor tiles in CM 1:6 including roughening of existing floorsurface complete all as specified. | 11.00 | SQM | 10.00 | 230.00 | 2530.00 | 250.00 | 2750.00 | 2530.00 | P LAVAKUSHA REDDY CONTRACTORS
15.00 | RCC : Reinforced Cement Concrete for footings, plinth beams,bases for columns etc. of type B1, 1:2:4 mix by using 20 mm graded aggregates, complete all as directed and specified. | 22.00 | Cum | 10.00 | 6200.00 | 136400.00 | 6450.00 | 141900.00 | 136400.00 | P LAVAKUSHA REDDY CONTRACTORS
16.00 | REINFORCEMENT : Mild steel TMT bars 10 mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9 mm dia or securing with clips . | 950.00 | KG | 10.00 | 82.00 | 77900.00 | 88.00 | 83600.00 | 77900.00 | P LAVAKUSHA REDDY CONTRACTORS
17.00 | FORMWORK : Formwork with Rough finished surfaces to sides of concrete foundations, footings, bases of columns, raft and raft beams,slabs sides and soffits of foundations and plinth beams; and similar work; vertical or to batter. | 95.00 | SQM | 10.00 | 300.00 | 28500.00 | 310.00 | 29450.00 | 28500.00 | P LAVAKUSHA REDDY CONTRACTORS
18.00 | STRUCTURAL STEEL WORK: Structural steel work for making roof trusses, stancstions, purlins, girders etc with suitable Pipes, Square Tubes etc. of Gr. Fe-410-W-(Gde-E-250) quality "B" including cutting, welding complte with suitable guset plates, bolts, nuts etc with errection and application of one shop coat of zinc chromate primer paint complete all as specified and directed. | 2500.00 | KG | 10.00 | 118.00 | 295000.00 | 120.00 | 300000.00 | 295000.00 | P LAVAKUSHA REDDY CONTRACTORS
19.00 | GI SHEETS: Supply and Fixing of Pre-painted galvalume aluminum zinc coating GI based corrugated steel sheet .50 mm thick of an colour having tinesile strength of 550 Mpa as in roof covering/cladding to wall, fixed with self tapping screws as specified and directed | 140.00 | Sqm | 10.00 | 750.00 | 105000.00 | 750.00 | 105000.00 | 105000.00 | P LAVAKUSHA REDDY CONTRACTORS, SANTOSH ENGINEERING WORKS
20.00 | ENAMEL PAINTING: Rendering synthetic enamel painting on Steel surfaces surfaces of any description over 10 cm width or girth including preparation - TWO coats Make: Asian | 185.00 | Sqm | 10.00 | 90.00 | 16650.00 | 110.00 | 20350.00 | 16650.00 | P LAVAKUSHA REDDY CONTRACTORS
21.00 | ALUMINIUM PARTITIONS : Supply and fixing complete of anodised aluminium powder coated frames for partition frames and windows etc. all complete as directed by E.I.C. | 550.00 | Kg | 100.00 | 550.00 | 302500.00 | 550.00 | 302500.00 | 302500.00 | P LAVAKUSHA REDDY CONTRACTORS, SANTOSH ENGINEERING WORKS
22.00 | ALUMINIUM WINDOW SHUTTERS : Supply and fixing complete of anodised aluminium window and ventilator shutters fixed type without sash bar ,alominium section weighing 0.55 kg/m including necessary jointig cleats, glazing clips, rubber neoprane packing, handles 2 nos. in each door, hinges, anodised aluminium snap beading, screws etc. complete all as directed by E.I.C. | 5.00 | Sqm | 100.00 | 1375.00 | 6875.00 | 1400.00 | 7000.00 | 6875.00 | P LAVAKUSHA REDDY CONTRACTORS
23.00 | PARTICLE BOARDS : Supply and Fixing of Pre-laminated particle board of 12mm thick, exterior grade prelaminated one side with decorative choice lamination and other side balancing white lamination, fixed with screws to timber frame work, including all as specified and directed by EIC. | 110.00 | Sqm | 10.00 | 800.00 | 88000.00 | 850.00 | 93500.00 | 88000.00 | P LAVAKUSHA REDDY CONTRACTORS
24.00 | SHEET GLASS : Supply and fixing complete of sheet glass ordinary quality grounded or obscured or frosted on one side,5.5 mm thick and glazing in squares exc. 0.5 sqm in each pane all as specified by E.I.C. | 60.00 | Sqm | 10.00 | 1280.00 | 76800.00 | 1300.00 | 78000.00 | 76800.00 | P LAVAKUSHA REDDY CONTRACTORS
25.00 | STRUCTURAL STEEL WORK : Compound gurders and stanchions, lattice girders, aerial masts, staging for water tanks and the like including caps, bases, splices etc. built up from two or more beam or chnnel sections or angles with plates including all lattice bars, stiffeners, gusset plates etc complete all as specified and directed. | 1500.00 | Kg | 10.00 | 110.00 | 165000.00 | 110.00 | 165000.00 | 165000.00 | P LAVAKUSHA REDDY CONTRACTORS, SANTOSH ENGINEERING WORKS
26.00 | STRUCTURAL STEEL( CHEQUERED PLATES ) WORK : Plates ( Plain or Chequered ) channels, square cut or notched ( ordinary and counter sunk) forming holes without any attachement etc complete all as specified and directed. | 900.00 | Kg | 100.00 | 95.00 | 85500.00 | 100.00 | 90000.00 | 85500.00 | P LAVAKUSHA REDDY CONTRACTORS
27.00 | FALSE CEILING GYPSUM BOARDS: M & L of exposed metal frame ceiling with calcium sillicate board of thickness of 8 mm of siliceous and calcareous material reiforced with cellulose fibre for fixing in 600 mm x 600 mm grid including all as specified and directed by EIC. | 120.00 | Sqm | 100.00 | 400.00 | 48000.00 | 120.00 | 14400.00 | 14400.00 | SANTOSH ENGINEERING WORKS
28.00 | FALSE CEILING (SNP GRID) : GI frame for seamless ceiling comprising of GI perimeter channel 0.55mm thick with two unequal flanges of 20 and 30 mm and web of 27 mm fixed to surrounding wall using nylon sleeves and screws at 450 mm centre to centre / intermediate channel 0.9 mm thick having two equal flanges of 15mm each and web of 45 mm seuspended from soffit at approx 900 mm centre to centre with Gi cleat and steel expansion fasteners with and including ceiling section ( not exc 1.2 m length ) of 0.55 mm thickness having kurled web of 50mm and flange of 26mm each with lips of 10.5 mm fixed to the intermediate channel of Hangers 6 mm dia G I adjusting level fixed to roof slabs by means of ceiling cleats made out of G.I. flat 40 x 3 mm with connecting clips across the intermediate channel at 457 mm cnetre to centre including all as specified and directed. | 120.00 | Sqm | 10.00 | 550.00 | 66000.00 | 575.00 | 69000.00 | 66000.00 | P LAVAKUSHA REDDY CONTRACTORS
29.00 | SCREW BOLTS AND NUTS : Supply & Fixing of M24 Mild steel bolts, purpose made with hexagonal or square head one end and screwed both ends: each screwed and to be fitted with washers and one hexagonal or square, exc 12Cm not exc 20cm long including all as specified and directed. | 50.00 | KG | 10.00 | 185.00 | 9250.00 | 190.00 | 9500.00 | 9250.00 | P LAVAKUSHA REDDY CONTRACTORS
30.00 | PVC PIPE : Supply and Fixing of 110 mm dia PVC (SWR) pipes single socketed, in any length with rubber ring joints laid in floors or fixed to walls including necessary jointin with connected accessories like "T", "Y" junctions, sockets, bends etc. complete all as directed.Make: Sudhakar or Nandi | 45.00 | Rm | 10.00 | 175.00 | 7875.00 | 180.00 | 8100.00 | 7875.00 | P LAVAKUSHA REDDY CONTRACTORS
31.00 | FLOOR TRAPS: Material and labour for PVC (SWR) floor traps, 75 mm dia, plain with grating including setting and jointing with solvent cement . | 10.00 | Each | 100.00 | 200.00 | 2000.00 | 220.00 | 2200.00 | 2000.00 | P LAVAKUSHA REDDY CONTRACTORS
32.00 | CPVC PIPES : Supply & fixing of CPVC Pipes of size 32mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified | 60.00 | Rm | 100.00 | 450.00 | 27000.00 | 475.00 | 28500.00 | 27000.00 | P LAVAKUSHA REDDY CONTRACTORS
33.00 | CPVC PIPES : Supply & fixing of CPVC Pipes of size 25mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified | 30.00 | Rm | 10.00 | 325.00 | 9750.00 | 325.00 | 9750.00 | 9750.00 | P LAVAKUSHA REDDY CONTRACTORS, SANTOSH ENGINEERING WORKS
34.00 | CPVC PIPES : Supply & fixing of CPVC Pipes of size 20mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified | 25.00 | Rm | 10.00 | 230.00 | 5750.00 | 240.00 | 6000.00 | 5750.00 | P LAVAKUSHA REDDY CONTRACTORS
35.00 | CPVC BRASS TEE : Supply & fixing of CPVC Brass Tee of size 20/25mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified | 20.00 | Each | 10.00 | 60.00 | 1200.00 | 70.00 | 1400.00 | 1200.00 | P LAVAKUSHA REDDY CONTRACTORS
36.00 | CPVC BRASS ELBOW : Supply & fixing of CPVC Brass Elbow of size 20mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified | 8.00 | Each | 100.00 | 25.00 | 200.00 | 30.00 | 240.00 | 200.00 | P LAVAKUSHA REDDY CONTRACTORS
37.00 | CPVC UNION : Supply & fixing of CPVC Union of size 32mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified | 5.00 | Each | 100.00 | 240.00 | 1200.00 | 250.00 | 1250.00 | 1200.00 | P LAVAKUSHA REDDY CONTRACTORS
38.00 | CPVC UNION : Supply & fixing of CPVC Union of size 25mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified | 5.00 | Each | 10.00 | 150.00 | 750.00 | 150.00 | 750.00 | 750.00 | P LAVAKUSHA REDDY CONTRACTORS, SANTOSH ENGINEERING WORKS
39.00 | CPVC BALL VALVE : Supply & fixing of CPVC Ball Valve of size 32mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified | 6.00 | Each | 10.00 | 650.00 | 3900.00 | 665.00 | 3990.00 | 3900.00 | P LAVAKUSHA REDDY CONTRACTORS
40.00 | CPVC MALE ADAPTOR (MTA/MBTA) : Supply & fixing of CPVC Female Brass threaded Adaptor (MTA /MBTA) of size 32mm Oter Dia SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all specified | 5.00 | Each | 10.00 | 155.00 | 775.00 | 160.00 | 800.00 | 775.00 | P LAVAKUSHA REDDY CONTRACTORS
41.00 | CEMENT PAINTING : Cement Painting to walls/ceilings with White or Tinted of two coats, to be applied including preparation of surface, all as specified and directed, brand Snocem. | 65.00 | Sqm | 100.00 | 65.00 | 4225.00 | 70.00 | 4550.00 | 4225.00 | P LAVAKUSHA REDDY CONTRACTORS
42.00 | OBD: M&L Distempering walls with Oil Bond Distemper White or Tinted of two coats to be applied , all as specified and directed, Brand: Asian Paints/ Nerolac/ Berger. | 50.00 | Sqm | 100.00 | 60.00 | 3000.00 | 60.00 | 3000.00 | 3000.00 | P LAVAKUSHA REDDY CONTRACTORS, SANTOSH ENGINEERING WORKS
43.00 | ONLY FIXING OF WATER TANKS : Only Fixing of Rotational moulded polye?thylene water storage tanks (cylindrical vertical with closed top) hoisted and fixed in position except Tanks includung all as specified and dircted by EIC (2000 ltrs) | 4.00 | Each | 10.00 | 720.00 | 2880.00 | 720.00 | 2880.00 | 2880.00 | P LAVAKUSHA REDDY CONTRACTORS, SANTOSH ENGINEERING WORKS
44.00 | PVC WATER TANKS : Only Supply of Rotational moulded polye?thylene water storage tanks (cylindrical vertical with closed top) hoisted of 5000 Lite including 50mm connecting nipple, Balvalve and other connected fittings, including all as specified and directed by EIC. make Sintex or Astral or Ashirvad | 2.00 | Each | 10.00 | 50000.00 | 100000.00 | 55000.00 | 110000.00 | 100000.00 | P LAVAKUSHA REDDY CONTRACTORS
45.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/polycab/L&T in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 40.00 | Each | 10.00 | 950.00 | 38000.00 | 975.00 | 39000.00 | 38000.00 | P LAVAKUSHA REDDY CONTRACTORS
46.00 | point wiring: Supply and fixing /Drawing of cables to one 3 pin socket outlet 5 amps independent on the same board with other switches, with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/polycab/L&T as specified by EIC. | 24.00 | Each | 10.00 | 275.00 | 6600.00 | 280.00 | 6720.00 | 6600.00 | P LAVAKUSHA REDDY CONTRACTORS
47.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 5 amps independent, with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/polycab/L&T in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and all connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC. | 8.00 | Each | 10.00 | 1000.00 | 8000.00 | 1050.00 | 8400.00 | 8000.00 | P LAVAKUSHA REDDY CONTRACTORS
48.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/polycab/L&T in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire. All connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC 's technical instructions amended from time to time. | 6.00 | Each | 10.00 | 1850.00 | 11100.00 | 1900.00 | 11400.00 | 11100.00 | P LAVAKUSHA REDDY CONTRACTORS
49.00 | ceiling rose :Supply and fixing of ceiling rose,PVC/Polycorbonate,3 terminal Make Anchor / Havells/polycab of ISI quality. | 40.00 | Each | 10.00 | 60.00 | 2400.00 | 65.00 | 2600.00 | 2400.00 | P LAVAKUSHA REDDY CONTRACTORS
50.00 | MCB : Supply and fixing of MCB, 240 V, single pole 5 to 40 amp Make legrand/Schneider/Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 14.00 | Each | 10.00 | 330.00 | 4620.00 | 350.00 | 4900.00 | 4620.00 | P LAVAKUSHA REDDY CONTRACTORS
51.00 | MCB :Supply and fixing of MCB, 240 V, DP 40 amp. Make legrand /Schneider /Indoasian /Havells of ISI quality. All connections to be given by copper Pin/ eye type lugs including for earth connections | 3.00 | Each | 100.00 | 490.00 | 1470.00 | 510.00 | 1530.00 | 1470.00 | P LAVAKUSHA REDDY CONTRACTORS
52.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of SPN, 8 way with 200 amps rated bus bar , phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand/Schneider/Indoasian/Havells complete all as specified by EIC. | 2.00 | Each | 100.00 | 1850.00 | 3700.00 | 1900.00 | 3800.00 | 3700.00 | P LAVAKUSHA REDDY CONTRACTORS
53.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of single door of SPN, 4 way with 200 amps rated bus bar , phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand/Schneider/Indoasian/Havells complete all as specified by EIC. | 1.00 | Each | 10.00 | 1300.00 | 1300.00 | 1300.00 | 1300.00 | 1300.00 | P LAVAKUSHA REDDY CONTRACTORS, SANTOSH ENGINEERING WORKS
54.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x6.0 Sq.mm + 1x6.0 sq.mm earth wire in PVC Conduit wiring .Make: Finolex/Havells /polycab/L&T complete all as specified by the EIC | 100.00 | RM | 10.00 | 250.00 | 25000.00 | 255.00 | 25500.00 | 25000.00 | P LAVAKUSHA REDDY CONTRACTORS
55.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x2.5 Sq.mm + 2x1.5 sq.mm earth wire in PVC Conduit wiring .Make: Finolex/Havells /polycab/L&T complete all as specified by the EIC | 100.00 | RM | 10.00 | 175.00 | 17500.00 | 180.00 | 18000.00 | 17500.00 | P LAVAKUSHA REDDY CONTRACTORS
56.00 | Celing Fan:Supply and fixing ceiling fan complete with blade, downrods, electronic regulator & acesspries 230v,1200 mm sweep .minimum air delievry 210 CFM with service value 6.00 BEE 5 star rated with Brushless direct current motor (BLDC) and connecting up including provision of cable from ceiling rose to fan. | 12.00 | Each | 100.00 | 2000.00 | 24000.00 | 2100.00 | 25200.00 | 24000.00 | P LAVAKUSHA REDDY CONTRACTORS
57.00 | LED Light:Supply and fixing LED luminaire 600 mm x 600 mm35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete make:havells /CG /phiplips /wipro/ | 16.00 | Each | 100.00 | 3400.00 | 54400.00 | 3400.00 | 54400.00 | 54400.00 | P LAVAKUSHA REDDY CONTRACTORS, SANTOSH ENGINEERING WORKS
58.00 | LED TubeLight-Supply and fixing LED lights fitting 1x 20W, 220V,AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete. make:havells /CG /phiplips /wipro | 8.00 | Each | 10.00 | 280.00 | 2240.00 | 210.00 | 1680.00 | 1680.00 | SANTOSH ENGINEERING WORKS
59.00 | Switch Modular : Supply and Fixing of switch modular type of one way 6 amps make Legrand/Schneider/Havells of ISI quality complete all as specifies by the EIC | 72.00 | Each | 10.00 | 250.00 | 18000.00 | 250.00 | 18000.00 | 18000.00 | P LAVAKUSHA REDDY CONTRACTORS, SANTOSH ENGINEERING WORKS
60.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 3 pin 6 amps modular type make Legrand/Schneider/Havells of ISI quality complete all as specified by the EIC | 32.00 | Each | 10.00 | 320.00 | 10240.00 | 340.00 | 10880.00 | 10240.00 | P LAVAKUSHA REDDY CONTRACTORS
61.00 | Switch Modular : Supply and Fixing of switch modular type of one way 16 amps make Legrand/Schneider/Havells of ISI quality complete all as specifies by the EIC | 6.00 | Each | 100.00 | 325.00 | 1950.00 | 330.00 | 1980.00 | 1950.00 | P LAVAKUSHA REDDY CONTRACTORS
62.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 3 pin 16 amps modular type make Legrand/Schneider/Havells of ISI quality complete all as specified by the EIC | 6.00 | Each | 100.00 | 500.00 | 3000.00 | 520.00 | 3120.00 | 3000.00 | P LAVAKUSHA REDDY CONTRACTORS
63.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 6 module of make Legrand/Schneider/Havells complete all as specified by the EIC | 6.00 | Each | 10.00 | 300.00 | 1800.00 | 300.00 | 1800.00 | 1800.00 | P LAVAKUSHA REDDY CONTRACTORS, SANTOSH ENGINEERING WORKS
64.00 | METAL FLUSH BOX : Supply and Fixing of 6 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand /Schneider /Havells complete all as specified by the EIC | 6.00 | Each | 10.00 | 275.00 | 1650.00 | 280.00 | 1680.00 | 1650.00 | P LAVAKUSHA REDDY CONTRACTORS
65.00 | SWITCH BOARD BOX WITH FRAME PLATE AND COVER PLATE 18 MODULE : Supply and Fixing of covering plates with Metal Flush box and cover plate frames of 18 module of make Legrand/ Schneider/ Havells complete all as specified by the EIC | 2.00 | Each | 10.00 | 425.00 | 850.00 | 440.00 | 880.00 | 850.00 | P LAVAKUSHA REDDY CONTRACTORS
66.00 | METAL FLUSH BOX : Supply and Fixing of 12 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand /Schneider /Havells complete all as specified by the EIC | 2.00 | Each | 10.00 | 200.00 | 400.00 | 200.00 | 400.00 | 400.00 | P LAVAKUSHA REDDY CONTRACTORS, SANTOSH ENGINEERING WORKS
67.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 12 module of make Legrand/Schneider/Havells complete all as specified by the EIC | 2.00 | Each | 10.00 | 245.00 | 490.00 | 250.00 | 500.00 | 490.00 | P LAVAKUSHA REDDY CONTRACTORS
68.00 | EXHAUST FAN: Supply and fixing of exhaust fan,steel body AC single phase 230v,of size 300mm sweep with blade,and frame and louvers Make: Almonard /GEC /BAJAJ. | 4.00 | Each | 10.00 | 3525.00 | 14100.00 | 3550.00 | 14200.00 | 14100.00 | P LAVAKUSHA REDDY CONTRACTORS
| Total in Figures |  |  |  |  | 2599870.00 |  | 2645150.00
Lowest Amount Quoted BY: P LAVAKUSHA REDDY CONTRACTORS(2599870.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Cabins with Aluminium Enclosures, Provision of 4 Nos. of Hand Washes, making of BMP Tesing Pit and Structural Steel Platform for over head water Tanks in OH Building inside Factory area at OFMK Tender ID: 2023_AVNL_168250_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | P LAVAKUSHA REDDY CONTRACTORS | 2599870.00 | L1
| 2 | SANTOSH ENGINEERING WORKS | 2645150.00 | L2