## BoQ1
Government eProcurement System Created By: VENKATESAN KANNAIAH Created Date/Time: 15-Nov-2023 04:13 PM Tender Title: Repairs to foot path and face lifting of surrounding area near AVNL Arch at HVF Estate Tender ID: 2023_AVNL_171372_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HEAVY VEHICLES FACTORY, AVADI
Name of Work : REPAIRS TO FOOT PATH AND FACE LIFTING OF SURROUNDING AREA NEAR AVNL ARCH AT HVF ESTATE
HVF T.E No : HVF/TE/13025/CEO/2023-24/54
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SRI LAKSHMI INDUSTRIES(GSTN-NA) |  | Siva Enterprises(GSTN-NA) |  | VIJAYALAKSHMI ENETERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earthwork excavation in hard/dense soil in trenches width and depth not exceeding 1.50 m and getting out | 50.00 | m3 | 742.50 | 300.00 | 15000.00 | 655.00 | 32750.00 | 599.00 | 29950.00 | 15000.00 | SRI LAKSHMI INDUSTRIES
2.00 | Material and labour for sand filling under foundation , flooring etc, including watering and consolidation. | 8.00 | m3 | 2171.73 | 2000.00 | 16000.00 | 2155.00 | 17240.00 | 2150.00 | 17200.00 | 16000.00 | SRI LAKSHMI INDUSTRIES
3.00 | M & L for P.C.C 1:4:8, B-1 type using 20mm graded aggregated in foundation, grouting of steel structures. | 8.00 | m3 | 7186.66 | 5000.00 | 40000.00 | 6755.00 | 54040.00 | 5500.00 | 44000.00 | 40000.00 | SRI LAKSHMI INDUSTRIES
4.00 | M & L for Brick work built in CM.1:6 using Good quality modular bricks / solid Concrete bricks Bricks.straight or curved on plan exc 6m mean radius. | 42.00 | m3 | 6500.00 | 8500.00 | 357000.00 | 7100.00 | 298200.00 | 7000.00 | 294000.00 | 294000.00 | VIJAYALAKSHMI ENETERPRISES
5.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work and concrete wall surfaces. | 260.00 | m2 | 289.44 | 330.00 | 85800.00 | 315.00 | 81900.00 | 300.00 | 78000.00 | 78000.00 | VIJAYALAKSHMI ENETERPRISES
6.00 | Material and labour for applying two coats of exterior emulsion on external wall surfaces (two storey building ) all complete | 260.00 | m2 | 130.13 | 100.00 | 26000.00 | 125.00 | 32500.00 | 125.00 | 32500.00 | 26000.00 | SRI LAKSHMI INDUSTRIES
7.00 | S & F of Framed work as in doors or gates of angle or other section with gusset plates, rails,braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing complete. | 4100.00 | KG | 129.47 | 110.00 | 451000.00 | 135.00 | 553500.00 | 125.00 | 512500.00 | 451000.00 | SRI LAKSHMI INDUSTRIES
8.00 | M & L for painting to steel surfaces of any description, over 10cm in width or girth,with two coats of synthetic enamel paint over a coat of primer including preparing new surfaces. | 175.00 | m2 | 155.43 | 110.00 | 19250.00 | 155.00 | 27125.00 | 90.00 | 15750.00 | 15750.00 | VIJAYALAKSHMI ENETERPRISES
9.00 | Excavation of moorum/red bajiri from borrow pits for floors or pavings, Removal of excavated soils lead exceeding exc. 1.50 km but n exc. 5 km and depositing where directed. and refilling of soil / loose including spreading, laid in layers n exc. 15 cm thick leveling, watering and well ramming in layers where directed. | 200.00 | m3 | 1372.47 | 1000.00 | 200000.00 | 1055.00 | 211000.00 | 790.00 | 158000.00 | 158000.00 | VIJAYALAKSHMI ENETERPRISES
10.00 | Providing precast slabs for drains in cement mortor 1:6 using Type B1 1:2:4: (20mm graded aggregate) | 30.00 | m3 | 12140.48 | 8500.00 | 255000.00 | 10500.00 | 315000.00 | 10500.00 | 315000.00 | 255000.00 | SRI LAKSHMI INDUSTRIES
11.00 | Supply and fixing of mild steel reinforcement deformed or twisted bars 10mm dia and over including bending, cranking, hooking and tieing with mild steel wire not less than 0.90mm dia | 1500.00 | KG | 90.06 | 95.00 | 142500.00 | 90.00 | 135000.00 | 92.00 | 138000.00 | 135000.00 | Siva Enterprises
12.00 | Supply and fixing of Cement concrete Tiles 20cmx20cmx20mm thick with grey cement and pigment machine pressed with screed bed or bedding layer in CM 1:3 , 15mm thick and pointed in neat ceemnt slurry in floors and cut polished. | 380.00 | m2 | 1452.83 | 1050.00 | 399000.00 | 1455.00 | 552900.00 | 1350.00 | 513000.00 | 399000.00 | SRI LAKSHMI INDUSTRIES
13.00 | Supply and Laying of CPVC 20mm over dia pipes SD 11 & Plain CPVC SDR 11 fittings in trenches complete all as specified. | 50.00 | m | 269.06 | 210.00 | 10500.00 | 255.00 | 12750.00 | 225.00 | 11250.00 | 10500.00 | SRI LAKSHMI INDUSTRIES
14.00 | Supply and Laying of CPVC 16mm over dia pipes SD 11 & Plain CPVC SDR 11 fittings in trenches complete all as specified. | 80.00 | m | 193.49 | 150.00 | 12000.00 | 185.00 | 14800.00 | 150.00 | 12000.00 | 12000.00 | SRI LAKSHMI INDUSTRIES, VIJAYALAKSHMI ENETERPRISES
15.00 | Supply and fixing of 25mm Gun -metal globe or gate valves with iron wheel head, screwed both ends for iron pipe or PVC with all accessories fittings requiree Make should ISI Heavy duty. | 4.00 | Each | 645.96 | 650.00 | 2600.00 | 655.00 | 2620.00 | 900.00 | 3600.00 | 2600.00 | SRI LAKSHMI INDUSTRIES
16.00 | Supply and fixing of 20mm Gun -metal globe or gate valves with iron wheel head, screwed both ends for iron pipe or PVC with all accessories fittings requiree Make should ISI Heavy duty. | 5.00 | Each | 594.12 | 600.00 | 3000.00 | 545.00 | 2725.00 | 750.00 | 3750.00 | 2725.00 | Siva Enterprises
17.00 | Material and Labour for plugging of hard/dense soil including necessary preparation of the existing ground for plantation of Buffalo grass etc all complete as directedby EIC. | 500.00 | m2 | 675.00 | 650.00 | 325000.00 | 605.00 | 302500.00 | 85.00 | 42500.00 | 42500.00 | VIJAYALAKSHMI ENETERPRISES
18.00 | Supply and laying of Buffalo Grass including watering etc complete all as directed. | 500.00 | m2 | 320.00 | 300.00 | 150000.00 | 295.00 | 147500.00 | 575.00 | 287500.00 | 147500.00 | Siva Enterprises
19.00 | supply ond filling pure Red Earth including spreading, levellingthe surfaces smooth and uniform to facilitate plantatin of grass, Hedge plants etc all complete as directed by EIC. | 50.00 | m3 | 2400.00 | 2200.00 | 110000.00 | 2455.00 | 122750.00 | 2250.00 | 112500.00 | 110000.00 | SRI LAKSHMI INDUSTRIES
20.00 | Supply and spreading of cow dung manure for the plantations in the propsed site in various stages etc complete all as directed by EIC. | 25.00 | m3 | 800.00 | 700.00 | 17500.00 | 755.00 | 18875.00 | 1500.00 | 37500.00 | 17500.00 | SRI LAKSHMI INDUSTRIES
21.00 | Supply and laying of Hedge plants including watering etc complete all as directed. | 290.00 | m | 220.00 | 200.00 | 58000.00 | 255.00 | 73950.00 | 599.00 | 173710.00 | 58000.00 | SRI LAKSHMI INDUSTRIES
22.00 | Supply and laying of Bushes and ground cover services including watering etc complete all as directed. | 200.00 | m2 | 300.00 | 250.00 | 50000.00 | 295.00 | 59000.00 | 599.00 | 119800.00 | 50000.00 | SRI LAKSHMI INDUSTRIES
23.00 | Excavating in trenches hard dense soil not exceeding 1.5 m wide and not exceeding 1.5 m in depth for laying cable. | 60.00 | m3 | 742.50 | 350.00 | 21000.00 | 655.00 | 39300.00 | 650.00 | 39000.00 | 21000.00 | SRI LAKSHMI INDUSTRIES
24.00 | Material & labour for sand filling for cushioning on U.G cable | 12.00 | m3 | 2171.73 | 2000.00 | 24000.00 | 2155.00 | 25860.00 | 2050.00 | 24600.00 | 24000.00 | SRI LAKSHMI INDUSTRIES
25.00 | Materal &labour for Bricks; common burnt clay building bricks sub class B designation 75, Old size bricks for protection to U.G cable | 2.00 | Nos in 1000 | 6107.07 | 15000.00 | 30000.00 | 6100.00 | 12200.00 | 9999.00 | 19998.00 | 12200.00 | Siva Enterprises
26.00 | Returing, refilling in the excavated trench after laying of power cable including spreading levelling, watering and well ramming in layers not exc 25 cm. | 60.00 | m3 | 153.01 | 100.00 | 6000.00 | 145.00 | 8700.00 | 150.00 | 9000.00 | 6000.00 | SRI LAKSHMI INDUSTRIES
27.00 | Supply and laying or fixing or passing through pipe, 1100 volts grade heavy duty cable with PVC insulated aluminium conductor served with an inner sheathing of PVC tape armoured with galvanised steel wire or tape and overall PVC sheathed 16 sq. mm nominal cross section in service connections 4 core. (Make:Orbit/ Finolex/ Havells / Gloster / Polycab/ Paragon) or Suitably Equivalent Make | 75.00 | m | 236.50 | 180.00 | 13500.00 | 225.00 | 16875.00 | 205.00 | 15375.00 | 13500.00 | SRI LAKSHMI INDUSTRIES
28.00 | Demolition of cement concrete of any description and in any position | 7.00 | m3 | 1794.43 | 700.00 | 4900.00 | 1455.00 | 10185.00 | 1200.00 | 8400.00 | 4900.00 | SRI LAKSHMI INDUSTRIES
29.00 | Material and labour for cement concrete 1:2:4 Type B1 using 20mm graded aggregate in foundations, filling and mass concrete. | 10.00 | m3 | 7186.66 | 7000.00 | 70000.00 | 6955.00 | 69550.00 | 6500.00 | 65000.00 | 65000.00 | VIJAYALAKSHMI ENETERPRISES
30.00 | Supply & fixing of galvanised steel tubes, medium grade 80mm dia | 10.00 | m | 606.32 | 650.00 | 6500.00 | 615.00 | 6150.00 | 899.00 | 8990.00 | 6150.00 | Siva Enterprises
31.00 | Supply & fixing of galvanised steel tubes, medium grade 50mm dia | 10.00 | m | 335.50 | 550.00 | 5500.00 | 325.00 | 3250.00 | 750.00 | 7500.00 | 3250.00 | Siva Enterprises
32.00 | Supply and fixing LED flood light fitting 100 Watt 230 V AC outdoor type with high pressure die cast aluminum housing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete. (Make: PHILIPS /GE/ WIPRO /CG/ OSRAM / BAJAJ/ HAVELLS/ SYSKA) or Suitably Equivalent Make | 28.00 | Each | 11534.94 | 10000.00 | 280000.00 | 9755.00 | 273140.00 | 9999.00 | 279972.00 | 273140.00 | Siva Enterprises
33.00 | Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 6 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: LEGRAND / HAVELLS or Suitably Equivalent Make . | 10.00 | Each | 312.62 | 250.00 | 2500.00 | 275.00 | 2750.00 | 250.00 | 2500.00 | 2500.00 | SRI LAKSHMI INDUSTRIES, VIJAYALAKSHMI ENETERPRISES
34.00 | Supply, fixing & connecting to the system of Sheet metal enclosures with double door DB's when MCB'S to be used Single pole Neutral 8 way with 200 Amps rated busbar, (Make: Legrand/ABB/ Schneider) or Suitably Equivalent Make | 1.00 | Each | 2103.97 | 2000.00 | 2000.00 | 2100.00 | 2100.00 | 2000.00 | 2000.00 | 2000.00 | SRI LAKSHMI INDUSTRIES, VIJAYALAKSHMI ENETERPRISES
35.00 | Supply and fixing of Galvanised steel tube Medium Grade 40 MM | 24.00 | m | 315.81 | 400.00 | 9600.00 | 310.00 | 7440.00 | 450.00 | 10800.00 | 7440.00 | Siva Enterprises
36.00 | Supply & fixing of outdoor terminal box size of 600mm X 600mm X 300mm of 3mm thick. The box shall be dust, vermin & water proof, front door should open by using panel key. the box should be powder coated and door should have the metal beading width of 10mm. the box shall be provided with teak wood plate fixed inside the box on welded bracket with 4 No of 6mm counter sink screws. 2 Nos of 6mm earthing bolts with proper washers and nut at both side.The box should contain power contractor of 32 Amps triple pole, coil voltage 230 Volts, progrmmable timer with LCD display Make select and Elmaxconnector suitable for 16 sqmm cable (10 Nos). | 1.00 | Each | 8300.00 | 8000.00 | 8000.00 | 8500.00 | 8500.00 | 24000.00 | 24000.00 | 8000.00 | SRI LAKSHMI INDUSTRIES
37.00 | Supply, fixing & connecting of the system cable end termination of size 16 sqmm 4 core including with suitable cable gland & lugs. | 8.00 | Each | 100.00 | 100.00 | 800.00 | 100.00 | 800.00 | 450.00 | 3600.00 | 800.00 | Siva Enterprises, SRI LAKSHMI INDUSTRIES
38.00 | Supply, laying or fixing with suitable clamps or passing through pipe, PVC insulated, armoured, heavy duty electric UG cable with copper conductor, 1100 volts grade, cross sectional area 2.5 sqmm, 4 core. (Make: Orbit/ Finolex/ Havells / Gloster / Polycab/ Paragon) or Suitably Equivalent Make | 225.00 | m | 145.00 | 140.00 | 31500.00 | 155.00 | 34875.00 | 625.00 | 140625.00 | 31500.00 | SRI LAKSHMI INDUSTRIES
39.00 | Supply and Fixing of Bollard light fittiing complete with 10 watts lamp and accessories Heigth 500 mm (Make Klite: Cat no 6955 or equivalent model of Havells, Phillips,CG) or Suitably Equivalent Make | 8.00 | Each | 6100.00 | 6000.00 | 48000.00 | 6400.00 | 51200.00 | 9000.00 | 72000.00 | 48000.00 | SRI LAKSHMI INDUSTRIES
40.00 | Supply and fxing of LED post Top light fitting complete with min 30 watts LED lamp and accessories. (Make: Philips/ CG/ Havells/ KLITE/ wipro) or Suitably Equivalent Make | 7.00 | Nos | 9255.00 | 9000.00 | 63000.00 | 8900.00 | 62300.00 | 12000.00 | 84000.00 | 62300.00 | Siva Enterprises
41.00 | Supply & fixing of outdoor street light terminal box size of 200mm X 200mm X 150mm of 3mm thick. The box shall be dust, vermin & water proof, front door should open by using panel key. the box should be powder coated and door should have the metal beading width of 10mm. the box shall be provided with teak wood plate fixed inside the box on welded bracket with 4 No of 6mm counter sink screws. 2 Nos of 6mm earthing bolts with proper washers and nut at both side. two nos of mounting brackets (flat size of 30mm x 6mm) shall be welded and two nos clamps( 30mm width x 6mm thick) for mounting the box on pole. The box shall be provided with 6Amps SP MCB and four numbers of DIN rail connector model CBT-110, (make-Elmex) or Suitably Equivalent Make , Fixed on the wooden plate along with suitable channel. | 8.00 | Each | 3300.00 | 3200.00 | 25600.00 | 3500.00 | 28000.00 | 1300.00 | 10400.00 | 10400.00 | VIJAYALAKSHMI ENETERPRISES
| Total in Figures |  |  |  |  | 3397550.00 |  | 3731800.00 |  | 3779770.00
Lowest Amount Quoted BY: SRI LAKSHMI INDUSTRIES(3397550.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repairs to foot path and face lifting of surrounding area near AVNL Arch at HVF Estate Tender ID: 2023_AVNL_171372_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SRI LAKSHMI INDUSTRIES | 3397550.00 | L1
| 2 | Siva Enterprises | 3731800.00 | L2
| 3 | VIJAYALAKSHMI ENETERPRISES | 3779770.00 | L3