## BoQ1
Government eProcurement System Created By: K SREEVANI Created Date/Time: 21-Dec-2023 05:02 PM Tender Title: Rewiring of EM Fy YMS section inside Factory area at OFMK Bld No 66 Tender ID: 2023_AVNL_172807_1
Tender Inviting Authority: CHIEF GENERAL MANAGER, ORDNANCE FACTORY MEDAK HYDERABAD A UNIT OF AVNL
Name of Work: Rewiring of EM (Fy) & YMS section inside Factory area at OFMK (Bld. No.66)
Contract No: 76026/ TE-20/ OFMK/EOC/EM& YMS Rewiring/ 23-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SRI SAI PANASA ELECTRICALS(GSTN-NA) |  | GAYATHRI ENGINEERS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking Down : Taking Down carefully copper/Aluminium point wiring (light ,Fan ,Socket, power point ) complete (fittings such as switches, ceiling roses, pendents, regulators, sockets, etc to be measured seperately) removing mateiral to store for keeping in safe custody for reuse at site and making good ,disturbed surfaces of walls ,floors etc as per the instructions of EIC. | 100.00 | Per point | 100.00 | 230.00 | 23000.00 | 190.00 | 19000.00 | 19000.00 | GAYATHRI ENGINEERS
2.00 | Taking Down : Taking Down carefully by unscrewing from board /outlets boxes fittings and fixtures such as switches ,sockets, ceiling roses, lamp holders, brackets, ceiling fittings, bulk head fittings, tubelight fittings and regulatorsetc for reuse at site or carrying to the store ( to be measured only when found serviciable in all respect complete for reuse as per instructions of EIC. | 200.00 | Per point | 100.00 | 30.00 | 6000.00 | 40.00 | 8000.00 | 6000.00 | SRI SAI PANASA ELECTRICALS
3.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cableMake Finolex/Havells/polycab/L&T in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 260.00 | Per point | 10.00 | 750.00 | 195000.00 | 944.00 | 245440.00 | 195000.00 | SRI SAI PANASA ELECTRICALS
4.00 | point wiring: Supply and fixing /Drawing of cables to one 3 pin socket outlet 5 amps independent on the same board with other switches, with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable concealed conduit wiring Make Finolex/Havells/ polycab /L&T as specified by EIC. | 174.00 | Per point | 10.00 | 500.00 | 87000.00 | 275.00 | 47850.00 | 47850.00 | GAYATHRI ENGINEERS
5.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 5 amps independent, with cables 1.5 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make Finolex/Havells/polycab/L&T in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and all connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC. | 158.00 | Per point | 10.00 | 1300.00 | 205400.00 | 1250.00 | 197500.00 | 197500.00 | GAYATHRI ENGINEERS
6.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FRLS single core sheathed PVC cable Make Finolex/Havells/ polycab/ L&T in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire. All connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC 's technical instructions amended from time to time. | 64.00 | Per point | 100.00 | 2000.00 | 128000.00 | 2000.00 | 128000.00 | 128000.00 | SRI SAI PANASA ELECTRICALS, GAYATHRI ENGINEERS
7.00 | ceiling rose :Supply and fixing of ceiling rose, PVC/Polycorbonate,3 phase terminal Make Anchor / Havells/Maru/Cona of ISI quality. | 260.00 | Each | 100.00 | 50.00 | 13000.00 | 80.00 | 20800.00 | 13000.00 | SRI SAI PANASA ELECTRICALS
8.00 | BUZZER:Ding dong buzzer of AC 230Volt. Make:Legrand/Schneider/ Havells/Anchor/GM | 2.00 | Each | 10.00 | 150.00 | 300.00 | 400.00 | 800.00 | 300.00 | SRI SAI PANASA ELECTRICALS
9.00 | MCB :Supply and fixing of MCB, 240 V, single pole 5 to 40 Amp Make legrand/Schneider/Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 100.00 | Each | 10.00 | 200.00 | 20000.00 | 280.00 | 28000.00 | 20000.00 | SRI SAI PANASA ELECTRICALS
10.00 | MCB :Supply and fixing of MCB, 240 V, DP 40 Amp. Make legrand/Schneider/Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 8.00 | Each | 10.00 | 600.00 | 4800.00 | 850.00 | 6800.00 | 4800.00 | SRI SAI PANASA ELECTRICALS
11.00 | MCB :Supply and fixing of MCB, 415 V, TPN 63A amp Make legrand/Schneider/Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 24.00 | Each | 100.00 | 1800.00 | 43200.00 | 1500.00 | 36000.00 | 36000.00 | GAYATHRI ENGINEERS
12.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of SPN, 8 way,240 V, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand/Schneider/Indoasian/ Havells complete all as specified by EIC. | 10.00 | Each | 100.00 | 3000.00 | 30000.00 | 1900.00 | 19000.00 | 19000.00 | GAYATHRI ENGINEERS
13.00 | MCCB: Suppply and fixing of MCCB 3 pole, 415 V,adjustable type, 250 Amps with breaking capacity 36 KA Make: legrand/Schneider/ Indoasian/ Havells/ L&T | 2.00 | Each | 10.00 | 13800.00 | 27600.00 | 16900.00 | 33800.00 | 27600.00 | SRI SAI PANASA ELECTRICALS
14.00 | Industrial socket plug: Supply and fixing of Single pole and neutral, 240 V, 20 amps, enclosure with a two pin and earth plug and socket complete with one single pole MCB Make Schneider/Indoasian/Legrand/ABB | 10.00 | Each | 10.00 | 1000.00 | 10000.00 | 1900.00 | 19000.00 | 10000.00 | SRI SAI PANASA ELECTRICALS
15.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 4x6.0 Sq.mm + 1x6 sq.mm earth wire in PVC concelead Conduit wiring .Make: Finolex/Havells /polycab/L&T complete all as specified by the EIC | 200.00 | RM | 10.00 | 550.00 | 110000.00 | 556.00 | 111200.00 | 110000.00 | SRI SAI PANASA ELECTRICALS
16.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x4.0 Sq.mm + 1x4.0 sq.mm earth wire in PVC Conduit wiring .Make: Finolex/Havells /polycab/L&T complete all as specified by the EIC | 200.00 | RM | 10.00 | 200.00 | 40000.00 | 240.00 | 48000.00 | 40000.00 | SRI SAI PANASA ELECTRICALS
17.00 | MODULAR BELL PUSH: Supply and Fixing of modular bell push 6 amps Modular type Make:Legrand/ Schneider/Havells | 2.00 | Each | 10.00 | 120.00 | 240.00 | 450.00 | 900.00 | 240.00 | SRI SAI PANASA ELECTRICALS
18.00 | Modular Fan Regulator: Material and Labour for fan step regulator, 120watt , 2 module Make Havells/ Schneider/ Legrand | 60.00 | Each | 10.00 | 1000.00 | 60000.00 | 800.00 | 48000.00 | 48000.00 | GAYATHRI ENGINEERS
19.00 | Switch Modular : Supply and Fixing of switch modular type of one way 6 amps make Legrand/Schneider/Havells of ISI quality complete all as specifies by the EIC | 592.00 | Each | 10.00 | 150.00 | 88800.00 | 185.00 | 109520.00 | 88800.00 | SRI SAI PANASA ELECTRICALS
20.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 2/3 pin 6 amps combined 2 modular type make Legrand/Schneider/Havells of ISI quality complete all as specified by the EIC | 332.00 | Each | 10.00 | 350.00 | 116200.00 | 295.00 | 97940.00 | 97940.00 | GAYATHRI ENGINEERS
21.00 | SWITCH MODULAR : Supply and Fixing of switch modular type of one way 16 amps make Legrand/ Schneider/Havells of ISI quality complete all as specifies by the EIC | 64.00 | Each | 100.00 | 220.00 | 14080.00 | 240.00 | 15360.00 | 14080.00 | SRI SAI PANASA ELECTRICALS
22.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 3 pin 6/16 amps 2/3 pin combined 2 modular type make Legrand/ Schneider/Havells of ISI quality complete all as specified by the EIC | 64.00 | Each | 100.00 | 500.00 | 32000.00 | 500.00 | 32000.00 | 32000.00 | SRI SAI PANASA ELECTRICALS, GAYATHRI ENGINEERS
23.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 4 module of make Legrand/ Schneider /Havells complete all as specified by the EIC | 187.00 | Each | 10.00 | 230.00 | 43010.00 | 250.00 | 46750.00 | 43010.00 | SRI SAI PANASA ELECTRICALS
24.00 | METAL FLUSH BOX : Supply and Fixing of 4 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand/ Schneider/ Havells complete all as specified by the EIC | 187.00 | Each | 10.00 | 200.00 | 37400.00 | 185.00 | 34595.00 | 34595.00 | GAYATHRI ENGINEERS
25.00 | LED SECURITY LIGHT : Fixing only of security/ street light fitting(Street Light OFMK supply). | 14.00 | Each | 10.00 | 300.00 | 4200.00 | 250.00 | 3500.00 | 3500.00 | GAYATHRI ENGINEERS
26.00 | Cutting Chases: Cutting chases , pinning in, making good to facings where required and pointing in cement mortor 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels etc; and cutting chases for concealed water tubing or concealed conduit wiring etc, and making good , cutting not exceding 10 cm girth.complete all as specified by the EIC | 600.00 | RM | 100.00 | 160.00 | 96000.00 | 50.00 | 30000.00 | 30000.00 | GAYATHRI ENGINEERS
27.00 | Painting: Distempering walls with distemper oil emulsion, white or tinted single coat | 200.00 | Sq.M | 100.00 | 100.00 | 20000.00 | 50.00 | 10000.00 | 10000.00 | GAYATHRI ENGINEERS
28.00 | Celing Fan(BLDC): Supply and fixing of ceiling fan complete with blades, down rods, electronic regulator and accessories,230 V, 1200 mm sweep, minimum air delivery 210 CFM with service value 6.00 BEE 5 star rated with brush less DC motor(BLDC) Make Usha/ Orient/CG/ Havells | 61.00 | Each | 10.00 | 1400.00 | 85400.00 | 2400.00 | 146400.00 | 85400.00 | SRI SAI PANASA ELECTRICALS
29.00 | MCB D.B : Fixing of Sheet Metal enclousers for MCB D.B of double door of TPN,8 way, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs complete all as specified by EIC. | 8.00 | Each | 10.00 | 10000.00 | 80000.00 | 350.00 | 2800.00 | 2800.00 | GAYATHRI ENGINEERS
30.00 | Fan Hook: Supply and Fixing of Fan hook with double anchor bolt complete fixing as per instructions of EIC. | 6.00 | Each | 10.00 | 80.00 | 480.00 | 150.00 | 900.00 | 480.00 | SRI SAI PANASA ELECTRICALS
31.00 | MCCB Enclosure: Suppply and fixing of MCCB Enclosure suitable for 3 pole, 415 V,adjustable type, 250 Amps with breaking capacity 36 KA Make: legrand/Schneider/ Indoasian/ Havells/ L&T | 2.00 | Each | 100.00 | 2500.00 | 5000.00 | 3000.00 | 6000.00 | 5000.00 | SRI SAI PANASA ELECTRICALS
32.00 | SWITCH BOARD BOX WITH FRAME PLATE AND COVER PLATE 16 MODULE : Supply and Fixing of covering plates with Metal Flush box and cover plate frames of 16 module of make Legrand/ Schneider/ Havells complete all as specified by the EIC | 78.00 | Each | 100.00 | 630.00 | 49140.00 | 550.00 | 42900.00 | 42900.00 | GAYATHRI ENGINEERS
33.00 | Street light fitting angular bracket pipe: : Street light fitting fixing pipe complete with 3.0 m long G.I. pipe 40 mm dia for security lightcomplete all as specified by the EIC. | 14.00 | Each | 10.00 | 1000.00 | 14000.00 | 500.00 | 7000.00 | 7000.00 | GAYATHRI ENGINEERS
| Total in Figures |  |  |  |  | 1689250.00 |  | 1603755.00
Lowest Amount Quoted BY: GAYATHRI ENGINEERS(1603755.00)

## BOQ Summary
BOQ Summary Details Tender Title: Rewiring of EM Fy YMS section inside Factory area at OFMK Bld No 66 Tender ID: 2023_AVNL_172807_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GAYATHRI ENGINEERS | 1603755.00 | L1
| 2 | SRI SAI PANASA ELECTRICALS | 1689250.00 | L2