## BoQ1
Government eProcurement System Created By: VENKATESAN KANNAIAH Created Date/Time: 09-Jan-2024 04:45 PM Tender Title: Special repairs to Walls, Floors, Roof, Toilet and construction of rest room at OHA shop in Old Facility at HVF Avadi Tender ID: 2023_AVNL_174660_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HEAVY VEHICLES FACTORY, AVADI
Name of Work : SPECIAL REPAIRS TO WALLS, FLOOR, ROOF, TOILET AND CONSTRUCTION OF REST ROOM AT OHA SHOP IN OLD FACILTIY AT HVF AVADI
HVF T.E No : HVF/TE/13025/CEO/2023-24/56
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Siva Enterprises(GSTN-NA) |  | P S G CONSTRUCTIONS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Grubbing up tree trunk including cutting of trunk portion protruding over ground , digging out roots, filling holes and leveling off ground, stacking of serviceable material and removing of unserviceable material to a distance not exceeding 50 m and clearing site, girth of tree exceeding 100 cm and not exceeding 150 cm. | 2.00 | Each | 3250.94 | 3455.00 | 6910.00 | 2500.00 | 5000.00 | 5000.00 | P S G CONSTRUCTIONS
2.00 | Taking down door and window frame with shutter exceeding 1.50 SQM but not exceeding 4.0 SQM and removing to CE Stores. | 39.00 | Each | 501.16 | 525.00 | 20475.00 | 200.00 | 7800.00 | 7800.00 | P S G CONSTRUCTIONS
3.00 | Demolition of brick work built in cement mortar and removal of demolished debris to a lead exceeding 1.5Km but not exceeding 5Km and depositing where directed | 38.50 | m3 | 1125.96 | 1225.00 | 47162.50 | 900.00 | 34650.00 | 34650.00 | P S G CONSTRUCTIONS
4.00 | Material and Labour for forming jambs using CM 1:4 to opening including cutting, toothing and also facing, jointing and pointing to match existing work complete. | 25.00 | m2 | 781.66 | 855.00 | 21375.00 | 900.00 | 22500.00 | 21375.00 | Siva Enterprises
5.00 | Earth work excavation in trenches not exceeding 1.5m in width and depth and getting out in hard/dense soil. | 208.00 | m3 | 742.50 | 795.00 | 165360.00 | 450.00 | 93600.00 | 93600.00 | P S G CONSTRUCTIONS
6.00 | Earth work excavation in trenches for each additional 1.5 m or part thereof in depth beyond the first 1.5 m and getting out in hard/dense soil. | 58.00 | m3 | 917.07 | 975.00 | 56550.00 | 600.00 | 34800.00 | 34800.00 | P S G CONSTRUCTIONS
7.00 | Material and Labour for Anti-Termite treatment treating the bottom and sides of excavation at the rate of 5 litres of emulsion per square metre of surface area. | 265.00 | m2 | 73.48 | 79.55 | 21080.75 | 275.00 | 72875.00 | 21080.75 | Siva Enterprises
8.00 | Material and Labour for Anti –Termite treatment treating the top surface of filled earth at the rate of 5 litres of emulsion per square metre surface. | 210.00 | m2 | 73.48 | 79.55 | 16705.50 | 275.00 | 57750.00 | 16705.50 | Siva Enterprises
9.00 | Supply and laying of sand filling under floors or in foundation including watering and consolidation | 96.00 | m3 | 2171.73 | 2455.00 | 235680.00 | 2750.00 | 264000.00 | 235680.00 | Siva Enterprises
10.00 | Material and labour for hard core of Broken stone or boulders of gauge not exceeding 63 mm deposited, spread and levelled in layers not exceeding, 15 cm thick watered and rammed to a true surface | 34.00 | m3 | 2277.88 | 2655.00 | 90270.00 | 2750.00 | 93500.00 | 90270.00 | Siva Enterprises
11.00 | Material & Labour for PCC 1:4:8 type D2 using 40mm graded aggregate for foundation | 154.00 | m3 | 6031.41 | 6575.00 | 1012550.00 | 5900.00 | 908600.00 | 908600.00 | P S G CONSTRUCTIONS
12.00 | Supply and fixing of Steel reinforcement TMT Bars 10mm dia and over cut to length, bent to shape required including tieing the rods with 0.9mm dia annealed wire. | 9420.00 | KG | 90.86 | 98.00 | 923160.00 | 104.00 | 979680.00 | 923160.00 | Siva Enterprises
13.00 | Supply and fixing of Steel reinforcement TMT Bars 5mm dia and over upto 10mm cut to length, bent to shape required including tieing the rods with 0.9mm dia annealed wire in stirups,spacersand binder. | 2530.00 | KG | 93.70 | 102.00 | 258060.00 | 105.00 | 265650.00 | 258060.00 | Siva Enterprises
14.00 | Material and Labour for R.C.C Design Mix M 20 grade concrete using 20mm graded aggregate for foundation inculding rafts,footings,foundation beams,plinth beams,bases for column etc . | 94.30 | m3 | 8128.91 | 9455.00 | 891606.50 | 8900.00 | 839270.00 | 839270.00 | P S G CONSTRUCTIONS
15.00 | Material and Labour for R.C.C Design Mix M 20 grade concrete using 20mm graded aggregate for beams,cantilevers,lintels over 1.50m span. | 25.00 | m3 | 8682.85 | 9655.00 | 241375.00 | 9100.00 | 227500.00 | 227500.00 | P S G CONSTRUCTIONS
16.00 | Material and Labour for R.C.C Design Mix M 20 grade concrete using 20mm graded aggregate for Columns. | 12.00 | m3 | 9131.21 | 9955.00 | 119460.00 | 9200.00 | 110400.00 | 110400.00 | P S G CONSTRUCTIONS
17.00 | Material and Labour for R.C.C Design Mix M 20 grade concrete using 20mm graded aggregate for Slabs. | 31.00 | m3 | 7851.47 | 8395.00 | 260245.00 | 9300.00 | 288300.00 | 260245.00 | Siva Enterprises
18.00 | Material and Labour for formwork to the sides of the foundation and the finishing shall be of a fair finished surface. | 450.00 | m2 | 436.82 | 475.00 | 213750.00 | 540.00 | 243000.00 | 213750.00 | Siva Enterprises
19.00 | Material and Labour for formwork to the sides of the beams and the finishing shall be of a fair finished surface. | 220.00 | m2 | 597.51 | 625.00 | 137500.00 | 590.00 | 129800.00 | 129800.00 | P S G CONSTRUCTIONS
20.00 | Material and Labour for formwork to the sides of the Columns and the finishing shall be of a fair finished surface. | 176.00 | m2 | 746.32 | 815.00 | 143440.00 | 590.00 | 103840.00 | 103840.00 | P S G CONSTRUCTIONS
21.00 | Material and Labour for formwork to the sides and siffits of the slab and the finishing shall be of a fair finished surface. | 280.00 | m2 | 631.33 | 675.00 | 189000.00 | 590.00 | 165200.00 | 165200.00 | P S G CONSTRUCTIONS
22.00 | Returning refilling in layers not exceeding 15 cm thick including watering and consolidation in hard / dense soil. | 154.00 | m3 | 153.01 | 165.00 | 25410.00 | 120.00 | 18480.00 | 18480.00 | P S G CONSTRUCTIONS
23.00 | Supply and filling of moorum / red bajiri filling in floors in layers not exceeding 15 cm thick spread levelled and rammed including watering complete | 106.00 | m3 | 1364.11 | 1755.00 | 186030.00 | 1400.00 | 148400.00 | 148400.00 | P S G CONSTRUCTIONS
24.00 | Material and labour for Brick work with sub class B bricks in CM 1:6, | 100.00 | m3 | 5940.00 | 7455.00 | 745500.00 | 7800.00 | 780000.00 | 745500.00 | Siva Enterprises
25.00 | Material and Labour for Brick work with sub class B bricks straight or curved on plan to any radius in half brick thick walls built in CM 1:6 | 70.00 | m2 | 649.48 | 895.00 | 62650.00 | 820.00 | 57400.00 | 57400.00 | P S G CONSTRUCTIONS
26.00 | Material and Labour for plastering with CM1:4,15mm thick. | 1065.00 | m2 | 289.43 | 315.00 | 335475.00 | 330.00 | 351450.00 | 335475.00 | Siva Enterprises
27.00 | Material and labour for plastering in C.M. 1:3 for 12mm thick on ceiling surfaces. | 396.00 | m2 | 284.63 | 305.00 | 120780.00 | 280.00 | 110880.00 | 110880.00 | P S G CONSTRUCTIONS
28.00 | Material and labour for plastering in C.M 1:3 20mm thick on the top of roof incorporating a water proof compound. | 305.00 | m2 | 366.44 | 375.00 | 114375.00 | 340.00 | 103700.00 | 103700.00 | P S G CONSTRUCTIONS
29.00 | Supply only integral water proofing compound. | 50.00 | KG | 50.71 | 45.00 | 2250.00 | 75.00 | 3750.00 | 2250.00 | Siva Enterprises
30.00 | Material and labour for P.C.C.1:2:4 Type B-I, M - 15 grade using 20mm graded aggregate. | 5.50 | m3 | 7186.66 | 7655.00 | 42102.50 | 8900.00 | 48950.00 | 42102.50 | Siva Enterprises
31.00 | S & F of Brass Butt hinges type B-11 125mm length. | 66.00 | Each | 282.59 | 295.00 | 19470.00 | 150.00 | 9900.00 | 9900.00 | P S G CONSTRUCTIONS
32.00 | Material and Labour for fixing Aluminium Aldrop bolt 300 mm length | 25.00 | Each | 471.02 | 495.00 | 12375.00 | 360.00 | 9000.00 | 9000.00 | P S G CONSTRUCTIONS
33.00 | S & F of Aluminium handle 150mm length. | 48.00 | Each | 97.02 | 105.00 | 5040.00 | 90.00 | 4320.00 | 4320.00 | P S G CONSTRUCTIONS
34.00 | S&F of Aluminium tower bolts, with barrel of extruded section and rolled or cast bolts and fixed 150 mm long. | 50.00 | Each | 84.48 | 85.00 | 4250.00 | 90.00 | 4500.00 | 4250.00 | Siva Enterprises
35.00 | Material and labour for painting two coats of synthetic enamel paint over a coat of pink primer paint including preparation of new wooden surfaces. | 180.00 | m2 | 154.22 | 125.00 | 22500.00 | 140.00 | 25200.00 | 22500.00 | Siva Enterprises
36.00 | Supply and Fixing of anodised aluminium windows and ventilator shutters, fixed type without sash bar, aluminium section weighing 0.55 kg / m including necessary joining cleat, glazing clips, rubber packing, anodised aluminium snap beading,screws etc., complete all as specified | 30.00 | m2 | 1419.64 | 1455.00 | 43650.00 | 2800.00 | 84000.00 | 43650.00 | Siva Enterprises
37.00 | Supply and fixing of framed work as in window grill of angle or other section with hold fast etc., complete grouting for brickwork | 350.00 | KG | 129.47 | 145.00 | 50750.00 | 900.00 | 315000.00 | 50750.00 | Siva Enterprises
38.00 | S & F of Anodised aluminium Louver type ventilator shutters, fixed type without sash bar, aluminium section weighing 0.55 kg/m including necessary joining cleats, glazing clips, rubber packing, anodised aluminium snap beading, screws etc. complete all as specified | 5.00 | m2 | 1419.64 | 1755.00 | 8775.00 | 600.00 | 3000.00 | 3000.00 | P S G CONSTRUCTIONS
39.00 | Supply and Fixing of 4.80 mm thick plain glass to the Aluminium works including rubber beading for holding it tight position. | 68.00 | m2 | 1331.44 | 1455.00 | 98940.00 | 820.00 | 55760.00 | 55760.00 | P S G CONSTRUCTIONS
40.00 | Supply and Fixing of solar control film 50 micron thick reflective type sticke to glass panes. | 12.00 | m2 | 826.54 | 855.00 | 10260.00 | 1200.00 | 14400.00 | 10260.00 | Siva Enterprises
41.00 | Material and labour for white washing two coats on ceiling including preparation of new ceiling surfaces. | 325.00 | m2 | 23.65 | 20.50 | 6662.50 | 25.00 | 8125.00 | 6662.50 | Siva Enterprises
42.00 | Material and Labour for white washing two coats on walls including preparation of old plastered surfaces. | 50.31 | m2 | 21.12 | 15.50 | 779.81 | 25.00 | 1257.75 | 779.81 | Siva Enterprises
43.00 | EXTERIOR EMULSION: M&L for painting two coats of exterior emulsion (Make APEX ULTIMA of ASIAN PAINTS / WEATHER COAT ANTI-DUST of BERGER /EXCEL MICA MARBLE STRETCH & SHEEN of NEROLAC) includings one coat of priming paint applies after preparation of the old existing treatment. | 400.00 | m2 | 165.99 | 155.00 | 62000.00 | 150.00 | 60000.00 | 60000.00 | P S G CONSTRUCTIONS
44.00 | PLASTIC EMULSION: M&L for rendering plastic emulsion/interior emulsion over fair finished plaster/concrete surface over 10 cm width or girth two coat on decorated wall and including preparation of old surfaces. Make : Asian / Berger / Nerolac. | 500.00 | m2 | 130.13 | 135.00 | 67500.00 | 140.00 | 70000.00 | 67500.00 | Siva Enterprises
45.00 | Supply and Fixing of Rain water pipe PVC (SWR) pipes of 110mm dia single socketed in any length with rubber ring joints fixed to walls | 190.00 | m | 214.50 | 295.00 | 56050.00 | 390.00 | 74100.00 | 56050.00 | Siva Enterprises
46.00 | Supply and Fixing of Rain water pipe PVC (SWR) bends of 110mm dia | 10.00 | Each | 137.50 | 125.00 | 1250.00 | 190.00 | 1900.00 | 1250.00 | Siva Enterprises
47.00 | Removal of earth to a lead exceeding 250m but not exceeding 500m and depositing where directed including, spreading & leveling. | 215.00 | m3 | 480.04 | 475.00 | 102125.00 | 450.00 | 96750.00 | 96750.00 | P S G CONSTRUCTIONS
48.00 | Material and labour for flooring in P.C.C 1:2:4 B.O. Type using 12.5 mm graded aggreegate for 40 mm thick | 225.00 | m2 | 375.98 | 425.00 | 95625.00 | 450.00 | 101250.00 | 95625.00 | Siva Enterprises
49.00 | Providing precast slabs for drains in cement mortor 1:6 using Type B1 1:2:4: (20mm graded aggregate) | 18.00 | m3 | 12140.48 | 13255.00 | 238590.00 | 1400.00 | 25200.00 | 25200.00 | P S G CONSTRUCTIONS
50.00 | Supply and Fixing on Glazed ceramic tiles, in floors etc, set and jointed in neat cement slurry and pointed in white or coloured cement to match and screed bed or bedding layer of mortar 1:4 15 mm thick for laying floor finishes | 150.00 | m2 | 1523.69 | 1645.00 | 246750.00 | 1400.00 | 210000.00 | 210000.00 | P S G CONSTRUCTIONS
51.00 | Supply and Fixing of Non Skid coloured ceramic tiles in floors not less than 7mm thick in floors etc., set and jointed in neat cement slurry and pointed in white or coloured cement to match and screed bed or bedding layer of mortar 1:4, 15mm thick for laying floor finishes. | 250.00 | m2 | 1877.77 | 1995.00 | 498750.00 | 1400.00 | 350000.00 | 350000.00 | P S G CONSTRUCTIONS
52.00 | Supply and Fixingof glazed ceramic tiles in walls set and jointed in neat cemtn slurry and pointed in white or coloured ceemnt to match and screed bed or bedding layer of mortar 1:4 15mm thick for laying floor finishes add to above work on vertical surfaces such as skirting , dados and risers to step etc., | 630.00 | m2 | 1674.50 | 1795.00 | 1130850.00 | 1400.00 | 882000.00 | 882000.00 | P S G CONSTRUCTIONS
53.00 | Material & Labour for painting of steel surfaces of any description, over 10 cm in width or girth two coats of synthetic enamel paint over one coat of primer | 1000.00 | m2 | 155.43 | 125.00 | 125000.00 | 140.00 | 140000.00 | 125000.00 | Siva Enterprises
54.00 | Supply and Fixing of vitreous china squatt pan orissa pattern IWC size 580x440mm with "P" or "S" trap including provision of lime concrete bedding high level flushing cistern 10 litres flush out pipes etc., complete. | 3.00 | Each | 5884.66 | 6155.00 | 18465.00 | 4500.00 | 13500.00 | 13500.00 | P S G CONSTRUCTIONS
55.00 | Supply and Fixing of EWC with "P"or "S" trap including bedding valveless syphonic action type 10lit flushing cistern low level white with inlet ball valve float and handle including bracket etc., complete. | 6.00 | Each | 7602.03 | 8500.00 | 51000.00 | 5900.00 | 35400.00 | 35400.00 | P S G CONSTRUCTIONS
56.00 | M & L for Cutting chases, pinning in. making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting not exc 10 cm girth | 180.00 | m | 55.50 | 55.00 | 9900.00 | 90.00 | 16200.00 | 9900.00 | Siva Enterprises
57.00 | Supply and Fixingof 15mm Bore of Tubes low density polythelene pipes (LPDE) of pressure rating 6Kgf/cm2 with all fittings and fixed for water connections complete to walls and ceiling or laid in floors. | 90.00 | m | 99.63 | 125.00 | 11250.00 | 140.00 | 12600.00 | 11250.00 | Siva Enterprises
58.00 | Supply and Fixingof 20mm Bore of Tubes low density polythelene pipes (LPDE) of pressure rating 6Kgf/cm2 with all fittings and fixed for water connections complete to walls and ceiling or laid in floors. | 90.00 | m | 123.77 | 175.00 | 15750.00 | 160.00 | 14400.00 | 14400.00 | P S G CONSTRUCTIONS
59.00 | Supply and Fixing of 15mm Bore dia of pipe Gunmetal globe or gate valve with iron whel head screwed both ends for iron pipe and fixed | 25.00 | Each | 556.00 | 595.00 | 14875.00 | 750.00 | 18750.00 | 14875.00 | Siva Enterprises
60.00 | Supply and fixing of 15mm Bore dia of bib Taps cast copper alloy with crutch or butterfly handle screwed down screwed for iron pipes or for brass ferrule and fixed | 35.00 | Each | 375.00 | 425.00 | 14875.00 | 600.00 | 21000.00 | 14875.00 | Siva Enterprises
61.00 | Supply and Fixing of 32mm Bore of Tubes light grade galvanized with all fitting and fixed complete OH tank to main water line laid in walls ceiling ro in floors | 120.00 | m | 375.65 | 425.00 | 51000.00 | 480.00 | 57600.00 | 51000.00 | Siva Enterprises
62.00 | Supply and Fixing of 32mm dia of pipe Gun-metal globe or gate valves with iron wheel head screwed both ends for iron pipe and fixed. | 6.00 | Each | 737.29 | 755.00 | 4530.00 | 2400.00 | 14400.00 | 4530.00 | Siva Enterprises
63.00 | Supply and Fixing of 160mm Bore PVC(SWR) pipe single socketed in any lenth with rubber ring joints laid in trenches or in floors. | 60.00 | m | 1150.00 | 1255.00 | 75300.00 | 1400.00 | 84000.00 | 75300.00 | Siva Enterprises
64.00 | Material and Labor for PVC SWR 75mm diameter of floor trap plain with grating including jointing with solvent cement. | 15.00 | Each | 247.50 | 265.00 | 3975.00 | 190.00 | 2850.00 | 2850.00 | P S G CONSTRUCTIONS
65.00 | S & F of Factory made solid panel PVC Door shutter 30mm thick (style) consisting of frame madeout of M.S tubes for top & bottom rails. M.S.Frame shall be covered with heat moulded plain colour PVC 'C' channel having a PVC sheet strip of 20mm width stuck inside with solvent cement for stiles and plain colour PVC sheets for Top rail, lock rail & bottom rail on either side & gap insert for top rail & bottom rail. Panelling of plain colour PVC sheet to be fitted in the M.S.frame welded / sealed to stiles & rails with suitable PVC sheet beading and jointing togeter and inlciding fixing to frame with hinges, tower bolt, handle all complete and as directed | 4.00 | m2 | 2638.46 | 2755.00 | 11020.00 | 3200.00 | 12800.00 | 11020.00 | Siva Enterprises
66.00 | Supply and Fixing of PVC door frame of size 50mmx95mm made out of 5mm plain color pvc sheet reinforced with M.S square tube. | 21.10 | m | 1087.35 | 1125.00 | 23737.50 | 540.00 | 11394.00 | 11394.00 | P S G CONSTRUCTIONS
67.00 | Supply and Fixing of extruded Aluminium alloy with brass/bronze hinge pin type C-22 Butt hinges heavy weight 75mm length. | 80.00 | Each | 119.35 | 125.00 | 10000.00 | 90.00 | 7200.00 | 7200.00 | P S G CONSTRUCTIONS
68.00 | S & F of 75mm Alumium anodized barrel tower bolt. | 40.00 | Each | 56.54 | 50.00 | 2000.00 | 45.00 | 1800.00 | 1800.00 | P S G CONSTRUCTIONS
69.00 | S & F of 75mm Aluminium anodized bow handle. | 40.00 | Each | 59.62 | 50.00 | 2000.00 | 55.00 | 2200.00 | 2000.00 | Siva Enterprises
70.00 | Supply and Fixing of Aluminium Coat Hooks of soild body of size 175mm to250mm | 40.00 | Each | 74.70 | 65.00 | 2600.00 | 125.00 | 5000.00 | 2600.00 | Siva Enterprises
71.00 | Supply and Fixing of Rotational moulded polythelene water storage tanks (PVC) 1000 litres capacity (cylindrical vertical with closed top) hoisted and fixed in position all as specified in SSR partI | 8.00 | Each | 9016.11 | 12500.00 | 100000.00 | 14500.00 | 116000.00 | 100000.00 | Siva Enterprises
72.00 | Supply and Fixing of 25mm bras ball valves high pressure with polythene float and fly nut complete scrued for iron pipe or brass ferrule. | 8.00 | Each | 537.10 | 875.00 | 7000.00 | 900.00 | 7200.00 | 7000.00 | Siva Enterprises
73.00 | Supply and Fixing of vitreous china wash basin 580x450 including pillar cock 32mm dia waste chain and plug and porcelian stopper and removal of old one from the site. | 12.00 | Each | 2826.07 | 2955.00 | 35460.00 | 2700.00 | 32400.00 | 32400.00 | P S G CONSTRUCTIONS
74.00 | Supply and fixing of vitreous china urinals bowl type including providing and fixing plugs, bedding urinals against wall in CM 1:2 securing urinal to plugs with and includin 60mm long brass screws pointing around urinal urinal back in cement and waste pipe etc complete. | 15.00 | Each | 1996.21 | 2755.00 | 41325.00 | 3600.00 | 54000.00 | 41325.00 | Siva Enterprises
75.00 | M & L for fixing Looking Mirror 600 x 450mm beveled edge mirror of selected quality glass, mounted on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass screws and cup washers, glass self assembly. | 10.00 | Each | 776.27 | 825.00 | 8250.00 | 900.00 | 9000.00 | 8250.00 | Siva Enterprises
76.00 | S & F of 20mm Angle/Stop Taps, cast copper alloy with crutch or butterfly handle, screwed for iron pipe or for brass ferrule fancy type and chroumium plated | 35.00 | Each | 441.61 | 575.00 | 20125.00 | 650.00 | 22750.00 | 20125.00 | Siva Enterprises
77.00 | S & F of 15mm Bib Taps, cast copper alloy with crutch or butterfly handle, screwed for iron pipe or for brass ferrule fancy type and chroumium plated. | 35.00 | Each | 668.33 | 725.00 | 25375.00 | 700.00 | 24500.00 | 24500.00 | P S G CONSTRUCTIONS
78.00 | S & F of Pillar cock chromium plated to wash basin 15mm dia ditto, but fancy type, with capstan heads, screwed down high pressure with long screwed shanks for iron pipe. | 25.00 | Each | 744.08 | 950.00 | 23750.00 | 900.00 | 22500.00 | 22500.00 | P S G CONSTRUCTIONS
79.00 | Dismantling of Plain or corrugated/semicorrugated steel sheeting, any gauge, thickness, including Nainital or similar pattern sheets in roof coverings, claddings, ridges, hips, valleys and flashings etc., including loosening rusted bolts, cutting, removal of MS Stiffnerstc., wherever required and staking at Ground without damaging sheets and handing over to CE Stores | 340.00 | m2 | 31.02 | 35.00 | 11900.00 | 45.00 | 15300.00 | 11900.00 | Siva Enterprises
80.00 | Demolition of cement concrete of any description and in any position not otherwise specifically provided for | 240.00 | m3 | 1794.43 | 1855.00 | 445200.00 | 1200.00 | 288000.00 | 288000.00 | P S G CONSTRUCTIONS
81.00 | Supply and fixing of urinal partition glazed ceramic white of size 310 X 700 mm. The make and Shade will be as approved by E-I-C. | 10.00 | Each | 2138.62 | 2355.00 | 23550.00 | 4500.00 | 45000.00 | 23550.00 | Siva Enterprises
82.00 | Demolition of tiles/daddo with cement mortor of any description or any thickness in floors & walls | 70.00 | 10Sqm | 677.93 | 725.00 | 50750.00 | 90.00 | 6300.00 | 6300.00 | P S G CONSTRUCTIONS
83.00 | Taking down cement plastering on brick or stone walls, etc. including raking out joints, hacking for key, scrubbing down with water, etc. | 720.00 | m2 | 104.43 | 110.00 | 79200.00 | 90.00 | 64800.00 | 64800.00 | P S G CONSTRUCTIONS
84.00 | M & L for Dubbing in CM 1:6, 10mm thick in brick work, concrete surfaces | 680.00 | m2 | 174.69 | 175.00 | 119000.00 | 172.00 | 116960.00 | 116960.00 | P S G CONSTRUCTIONS
85.00 | Dismantling structural steel work in cluding doors, gates, purlins, rafters, trusses etc., including cutting, loosening bolt, welding etc., and handing over to CE Stores | 100.00 | Quintal | 685.96 | 745.00 | 74500.00 | 700.00 | 70000.00 | 70000.00 | P S G CONSTRUCTIONS
86.00 | S&F MS MS Angles, Channels, Bands, straps, supports or stays for extra purlin, cleat, rainwater, ventilating pipes, including Nuts, bolts, if required: clamps; hooks ; plain angle cleats for securing purlins to trusses or rafters; plate washers and similar small articles conforming to Fe-290 Gde-E-165including cutting and welding as directed and as approved by considering the dimensions & height including all necessary scaffolding and safety aspects complete as required at site. | 29470.00 | KG | 199.19 | 215.00 | 6336050.00 | 175.00 | 5157250.00 | 5157250.00 | P S G CONSTRUCTIONS
87.00 | S&F of Pre-painted galvalume aluminium zinc coating GI based corugatted steel sheet 0.50mm (TCT) thick of an colour having tensile strength of 550Mpa as in roof covering/cladding to wall fixed with self drilling / self tapping anti corrisive screws with EPDM seal complete all as per manfacturers specifications and instructions and as approved and as directed, by considering the dimensions & height including all necessary scaffolding and safety aspects complete as required at site. | 970.00 | m2 | 843.71 | 915.00 | 887550.00 | 870.00 | 843900.00 | 843900.00 | P S G CONSTRUCTIONS
88.00 | M & L for 300mm dia MS ERW PIPE including welding , joining wtc., | 15.00 | m | 4643.10 | 5500.00 | 82500.00 | 6000.00 | 90000.00 | 82500.00 | Siva Enterprises
89.00 | M & L for providing cement concrete 1:1.5:3 using 20mm jelly in foundation, floor etc., | 155.00 | m3 | 6628.05 | 7155.00 | 1109025.00 | 8900.00 | 1379500.00 | 1109025.00 | Siva Enterprises
90.00 | M & L for Stone sett flooring with stone setts of size 300 to 250mm long, 200 to 250mm wide and 150mm deep and sides dressed; bedded in cement mortar 1:3, joints 20mm thick; grouted in cement mortar 1:2 with an admixture of metallic floor hardner 5% by weight of cement and struck flush | 760.00 | m2 | 2374.00 | 2755.00 | 2093800.00 | 2700.00 | 2052000.00 | 2052000.00 | P S G CONSTRUCTIONS
91.00 | Taking down steel door production shop Shutter of any desciption and in any position and handing over to CE stores | 10.00 | Each | 5000.00 | 6500.00 | 65000.00 | 2500.00 | 25000.00 | 25000.00 | P S G CONSTRUCTIONS
92.00 | Dismantling of Stone slabs/RCC slabs and tiles of any description or any thickness and size in floors, aprons etc. laid bedded and pointed in any mortor and handing over/staking the same in CE(Stores) | 9.00 | 10Sqm | 765.16 | 725.00 | 6525.00 | 1200.00 | 10800.00 | 6525.00 | Siva Enterprises
93.00 | Taking up or down steel tubing 15mm and connections, including cleaning and removing to stores (Walls, ceiling, floors, etc.) | 100.00 | m | 33.28 | 35.00 | 3500.00 | 45.00 | 4500.00 | 3500.00 | Siva Enterprises
94.00 | Taking up or down steel tubing 20mm and connections, including cleaning and removing to stores (Walls, ceiling, floors, etc.) | 75.00 | m | 40.28 | 35.00 | 2625.00 | 50.00 | 3750.00 | 2625.00 | Siva Enterprises
95.00 | Taking up or down steel tubing 25 or 32mm and connections, including cleaning and removing to stores (Walls, ceiling, floors, etc.) | 80.00 | m | 44.22 | 45.00 | 3600.00 | 55.00 | 4400.00 | 3600.00 | Siva Enterprises
96.00 | Demolition and breaking up drain pipes 150mm (Salt glazed ware, AC or Reinforced concrete) set in cement mortar | 60.00 | m | 59.84 | 55.00 | 3300.00 | 120.00 | 7200.00 | 3300.00 | Siva Enterprises
97.00 | Supply and Fixing of Rain water pipe PVC (SWR) pipes of 75mm dia single socketed in any length with rubber ring joints fixed to walls | 121.00 | m | 176.00 | 185.00 | 22385.00 | 190.00 | 22990.00 | 22385.00 | Siva Enterprises
98.00 | Supply and Fixing of Rain water pipe PVC (SWR) bends of 75mm dia | 15.00 | Each | 121.00 | 125.00 | 1875.00 | 190.00 | 2850.00 | 1875.00 | Siva Enterprises
99.00 | WALL PUTTY: Material and labour for applying one coat of primer and two coat of white cement based wall care putty in walls / ceiling inculding removal of loose/peeloff existing treatment if any and as specified in SSR 2020 part-I specification clause 15.19.1 to 15.19.6.4(Make shall be of JK white putty or Birla white wall care putty) | 940.00 | m2 | 225.70 | 235.00 | 220900.00 | 270.00 | 253800.00 | 220900.00 | Siva Enterprises
100.00 | M & L for IInd class hard-wood in scantlings/planks Clean sawn | 1.30 | m3 | 101717.20 | 125000.00 | 162500.00 | 99000.00 | 128700.00 | 128700.00 | P S G CONSTRUCTIONS
101.00 | S & F Factory made single extruded WPC 35mm (Wood Polymer Composite) solid plain flush door shutter of 30mm size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2 , modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws in WPC Door Farme of Size 60mm x 100mm, all as per direction of Engineer-In-Charge. (The rate includes WPC Door Frame of Size 60mm x 100mm and WPC 35mm Door Shutter) | 60.00 | m2 | 7500.00 | 8225.00 | 493500.00 | 3900.00 | 234000.00 | 234000.00 | P S G CONSTRUCTIONS
102.00 | S & F of Aluminium Door closer hydraulically regulated, designation No. 3, universal type, suitable for door shutters of 851 to 1000 mm in width and of weight between 61 to 80 kg and fixed | 8.00 | Each | 1432.20 | 1455.00 | 11640.00 | 2700.00 | 21600.00 | 11640.00 | Siva Enterprises
103.00 | Supplying and laying of 20mm CPVC pipes SDR 11 & Plain CPVC SDR 11 fittings in trenches complete all as specified | 120.00 | m | 242.77 | 265.00 | 31800.00 | 190.00 | 22800.00 | 22800.00 | P S G CONSTRUCTIONS
104.00 | Supplying and laying of 25mm CPVC pipes SDR 11 & Plain CPVC SDR 11 fittings in trenches complete all as specified | 150.00 | m | 361.35 | 375.00 | 56250.00 | 210.00 | 31500.00 | 31500.00 | P S G CONSTRUCTIONS
105.00 | Supplying and laying of 32mm CPVC pipes SDR 11 & Plain CPVC SDR 11 fittings in trenches complete all as specified | 60.00 | m | 511.06 | 525.00 | 31500.00 | 270.00 | 16200.00 | 16200.00 | P S G CONSTRUCTIONS
106.00 | M & L for Virified Ceramic tiles Dark Shade 10 mm thick in Floors (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including Screed bedding 1:4, 15mm thick for laying floor finishes. | 40.00 | m2 | 1876.13 | 1955.00 | 78200.00 | 1600.00 | 64000.00 | 64000.00 | P S G CONSTRUCTIONS
107.00 | M & L for Virified Ceramic tiles (Dark shade/Double charged / Ultracharged) 10 mm thick (square/ rectangular) polished, area of each tiles exceeding 0.42 sqm but not exceeding 1.00 sqm, in floors/wall etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including plastering in CM 1:4 10mm thick on existing walls for fixing tiles. | 130.00 | m2 | 2383.15 | 2555.00 | 332150.00 | 1600.00 | 208000.00 | 208000.00 | P S G CONSTRUCTIONS
108.00 | Providing, mixing and applying two coats of ready-to-use two-component acrylic polymer, modified cement base, flexible water-proofing slurry or approved equivalent to a thickness of 2 mm over the bottom and sides of the slab / sunken slab. Waterproofing to extend upto 600 on the preiphery walls. Cost to include checking of waterproofing for 48 hours with 300mm high water logged floor.Method Statement of water proofing to be submitted before execution. | 40.00 | m2 | 1200.00 | 1295.00 | 51800.00 | 400.00 | 16000.00 | 16000.00 | P S G CONSTRUCTIONS
109.00 | Removal of existing brick bat coba and refilling with light weight aerocon filling with 50 mm thk top grano floor . | 40.00 | m2 | 1000.00 | 1075.00 | 43000.00 | 90.00 | 3600.00 | 3600.00 | P S G CONSTRUCTIONS
110.00 | Supply and fixing of Gl frame (Including 10mm thick Gypsum board False Ceiling to for any sunk or raised moulding or Flat with or with out cornice) work for seamless ceiling comprising of Gl perimeter channnel 0.55 mm thick with two unequal flanges of 20 and 30 mm and web of 27 mm fixed to surrounding wall using nylon sleeves and screws at 450 mm centre to centre/intermediate channel 0.9 mm thick having two equal flanges of 15 mm each and web of 45 mm suspended from soffit at approx 900 mm centre to centre with Gl cleat and steel expansion fasteners with and including ceiling section (not exc 1.2 m length) of 0.55 mm thickness having kurled web of 50 mm and flange of 26 mm each with lips of 10.5 mm fixed to the intermediate channel with connecting clips across the intermediate channel at 457 mm centre to centre. including Hangers 6 mm dia. G.I. (upto 1200mm length) adjusting level fixed to roof slabs by means of ceilling cleats made out of G.I. flat 40 x 3 mm size 60mm long and expansion hold fasteners 12.5mm dia. 40mm long including 10mm thick plaster of paris ceiling (Gypsum anhydrous) to flat surface over G.I, or metal frame work including any sunk or raised moulding and any cutting /opening for provision of any lighting fixtures etc. (working at height 4.5 -6 meter). complete all as specified. as approved and as directed. The cost includes applying 2coats putty and 2 coats of plastic emulison all complete and as directed by EIC measurement will be taken Flat room diemension (L X B) | 100.00 | m2 | 1950.00 | 2125.00 | 212500.00 | 1400.00 | 140000.00 | 140000.00 | P S G CONSTRUCTIONS
111.00 | Providing and fixing in position Toilet Wall mounted Coupled Closet, Including soft seat cover, concealed flush tank etc. Make : JAGUAR/KOHLER/DURAVIT | 4.00 | Each | 14100.00 | 15500.00 | 62000.00 | 12000.00 | 48000.00 | 48000.00 | P S G CONSTRUCTIONS
112.00 | Providing and fixing Counter sunk wash basins, waste coupling. Cost incl. of providing and fixing of bottle traps, angle valve, Teflon tape etc. complete as directed by the architects. Make : JAGUAR/KOHLER/DURAVIT | 4.00 | Each | 5400.00 | 5755.00 | 23020.00 | 7500.00 | 30000.00 | 23020.00 | Siva Enterprises
113.00 | Providing and fixing in position Piller cock for wash basin. Make : JAGUAR/KOHLER/DURAVIT | 4.00 | Each | 2700.00 | 2955.00 | 11820.00 | 900.00 | 3600.00 | 3600.00 | P S G CONSTRUCTIONS
114.00 | Providing and fixing in position Toilet Health Facet with chromed flexible hose & Wall Bracket Make : JAGUAR/KOHLER/DURAVIT | 4.00 | Each | 1600.00 | 1755.00 | 7020.00 | 1800.00 | 7200.00 | 7020.00 | Siva Enterprises
115.00 | Providing and fixing in position Toilet Bottle Trap of 32mm Size with 330mm & 110mm long conection pipes Make : JAGUAR/KOHLER/DURAVIT | 4.00 | Each | 1200.00 | 1295.00 | 5180.00 | 1200.00 | 4800.00 | 4800.00 | P S G CONSTRUCTIONS
116.00 | S & F of 15mm Angle cock Make : JAGUAR/KOHLER/DURAVIT | 8.00 | Each | 950.00 | 1045.00 | 8360.00 | 750.00 | 6000.00 | 6000.00 | P S G CONSTRUCTIONS
117.00 | Providing and fixing in position Toilet Nahni Trap | 4.00 | Each | 900.00 | 980.00 | 3920.00 | 450.00 | 1800.00 | 1800.00 | P S G CONSTRUCTIONS
118.00 | Providing and fixing in position of Cockroach trap | 4.00 | Each | 750.00 | 725.00 | 2900.00 | 450.00 | 1800.00 | 1800.00 | P S G CONSTRUCTIONS
119.00 | Providing and fixing in position Toilet Paper Holder. Make : JAGUAR/KOHLER/DURAVIT | 4.00 | Each | 1500.00 | 1455.00 | 5820.00 | 600.00 | 2400.00 | 2400.00 | P S G CONSTRUCTIONS
120.00 | Providing and fixing robe hook Make : JAGUAR/KOHLER/DURAVIT | 4.00 | Each | 750.00 | 700.00 | 2800.00 | 150.00 | 600.00 | 600.00 | P S G CONSTRUCTIONS
121.00 | Providing and fixing in position liquid soap dispenser of approved shade. Make - Kimberly/JAGUAR/KOHLER/DURAVIT - Skincare Dispenser 800 ml. - Cost to be inclusive of Liquid soap pouch. | 4.00 | Each | 2150.00 | 2450.00 | 9800.00 | 1200.00 | 4800.00 | 4800.00 | P S G CONSTRUCTIONS
122.00 | S & F of Vitreous China bowl urinal flat back white (Sensor type), with grating and union for discharge pipe (excluding flushing cistern, but including flush pipe and waste pipe) including providing and fixing plugs, bedding urinal against wall in CM 1:2, fixed in repairs. MAKE : JAGUAR/KOHLER/DURAVIT | 4.00 | Each | 3800.00 | 8500.00 | 34000.00 | 3700.00 | 14800.00 | 14800.00 | P S G CONSTRUCTIONS
123.00 | S & F of Polythene film, black, 50micron laid in floors | 265.00 | m2 | 35.20 | 35.00 | 9275.00 | 200.00 | 53000.00 | 9275.00 | Siva Enterprises
124.00 | S & F of water stopper with sides on both sides 225mm to 250mm width and thickness 8 to 11mm fixed to the steel reinforcement centrally wherever the joints for each lift is to be prepared | 70.00 | m | 590.00 | 625.00 | 43750.00 | 900.00 | 63000.00 | 43750.00 | Siva Enterprises
125.00 | One light point or one fan point wiring controlled by one switch with PVC single core cables 1.5 sq. mm size in PVC conduit. | 113.00 | Point | 1191.30 | 1255.00 | 141815.00 | 820.00 | 92660.00 | 92660.00 | P S G CONSTRUCTIONS
126.00 | Wiring for circuit / sub main wiring alongwith earth wire 2 X 2.5 Sq.mm PVC insulated copper conductor single core cable surface / recessed as required in PVC conduit along with earth wire size 1 X 2.5 Sq.mm.including PVC conduit & accessories. | 100.00 | m | 222.25 | 235.00 | 23500.00 | 210.00 | 21000.00 | 21000.00 | P S G CONSTRUCTIONS
127.00 | Wiring for circuit / sub main wiring alongwith earth wire 2x4.0 Sq.mm PVC insulated copper conductor single core cable surface / recessed as required in PVC conduit along with earth wire size 1 X 4.0 Sq.mm.including PVC conduit & accessories. | 150.00 | m | 258.00 | 265.00 | 39750.00 | 450.00 | 67500.00 | 39750.00 | Siva Enterprises
128.00 | PVC rectangular block for mounting, switches, sockets, fan regulator etc. with 3 mm thick plastic laminated sheet cover of size Ditto, but 350 x 300 x 50 mm deep | 46.00 | Each | 207.84 | 225.00 | 10350.00 | 450.00 | 20700.00 | 10350.00 | Siva Enterprises
129.00 | Supply and fixing of switch socket outlet 2 in 1, 6 amp, flush type.240 volts, AC. | 24.00 | Each | 446.64 | 455.00 | 10920.00 | 210.00 | 5040.00 | 5040.00 | P S G CONSTRUCTIONS
130.00 | Supply and fixing of stepped type electronic fan regulator flush type on the existing phenolic laminated sheet etc. as reqd. | 16.00 | Each | 439.08 | 475.00 | 7600.00 | 360.00 | 5760.00 | 5760.00 | P S G CONSTRUCTIONS
131.00 | Supply and fixing of Switch socket combination 6A/16A, 5 in 1, flush type | 96.00 | Each | 354.36 | 355.00 | 34080.00 | 270.00 | 25920.00 | 25920.00 | P S G CONSTRUCTIONS
132.00 | Supply and fixing of switch flush type, 6 amps, single pole, one way. | 40.00 | Each | 144.96 | 155.00 | 6200.00 | 45.00 | 1800.00 | 1800.00 | P S G CONSTRUCTIONS
133.00 | Supply and fixing LED lights fitting 1x22 Watt, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete.® Make: Philips/Havells /Osram | 90.00 | Each | 1614.74 | 1755.00 | 157950.00 | 2400.00 | 216000.00 | 157950.00 | Siva Enterprises
134.00 | Hanging only ceiling fan (M.D.supply) and connecting up including provision of cable from ceiling rose or connector to fan | 16.00 | Each | 204.72 | 215.00 | 3440.00 | 200.00 | 3200.00 | 3200.00 | P S G CONSTRUCTIONS
135.00 | Supply and fixing of PVC/Polycorbonate, isolated ceiling rose. Make: ANCHOR/ HAVELS/ ZEN/ KUNDAN | 46.00 | Each | 78.84 | 75.00 | 3450.00 | 47.00 | 2162.00 | 2162.00 | P S G CONSTRUCTIONS
136.00 | Cutting chases, pinning in. making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting exc 20 cm girth | 250.00 | m | 66.72 | 55.00 | 13750.00 | 90.00 | 22500.00 | 13750.00 | Siva Enterprises
137.00 | Supplied & fixed Single pole and neutral enclosure with a two pin and earth plug and socket complete with one single pole MCB 240 V 20amp | 8.00 | Each | 2181.36 | 2455.00 | 19640.00 | 1900.00 | 15200.00 | 15200.00 | P S G CONSTRUCTIONS
138.00 | Supply & fixingof Four pole Isolater, 415V, 100A | 4.00 | Each | 2640.96 | 2755.00 | 11020.00 | 6000.00 | 24000.00 | 11020.00 | Siva Enterprises
139.00 | Supplied & fixed 240V Isolator SP 40A | 69.00 | Each | 432.17 | 445.00 | 30705.00 | 990.00 | 68310.00 | 30705.00 | Siva Enterprises
140.00 | SHEET METAL ENCLOSURES FOR DB'S WHEN MCBs Double Door Supplied & fixed Triple pole & neutral 12 way | 4.00 | Each | 5499.96 | 5455.00 | 21820.00 | 9000.00 | 36000.00 | 21820.00 | Siva Enterprises
141.00 | SHEET METAL ENCLOSURES FOR DB'S WHEN MCBs Double Door Supplied & fixed 240 V Single pole & neutral 8 way with 200 amps rated bus | 4.00 | Each | 2295.24 | 2555.00 | 10220.00 | 7500.00 | 30000.00 | 10220.00 | Siva Enterprises
142.00 | Supply and fix ceiling fans, complete with three blade, down rod, accessories 230V, 1200mm sweep, with Squirrel cage induction motor. | 16.00 | Each | 3887.41 | 4255.00 | 68080.00 | 4700.00 | 75200.00 | 68080.00 | Siva Enterprises
143.00 | S & F stepped type electronic fan regulator flush type on the existing phenolic laminated sheet etc. as reqd | 16.00 | Each | 439.08 | 445.00 | 7120.00 | 360.00 | 5760.00 | 5760.00 | P S G CONSTRUCTIONS
144.00 | Taking down carefully copper / aluminum point wiring (light, fan, socket or power) complete, (fittings such us switches, ceiling roses, pendants, regulators, sockets etc. to be measured separately), removing materials to store for keeping inside safe custody for re – use at site and making good disturbed surfaces of walls, floors, etc | 12.00 | Point | 282.72 | 285.00 | 3420.00 | 45.00 | 540.00 | 540.00 | P S G CONSTRUCTIONS
145.00 | Taking down carefully unscrewing from boards/out-let boxes, fittings and fixtures such as switches sockets, ceiling roses, lamp holders, brackets, ceiling fittings, bulk head fittings, tube light fittings and regulators, etc. for re-use at site or carrying to the store (To be measured only when found service cable in all respects complete for re-use). | 12.00 | Point | 41.93 | 43.55 | 522.60 | 150.00 | 1800.00 | 522.60 | Siva Enterprises
146.00 | Supply and fixing of switch flush type, 6 amps, single pole, one way. Make: ANCHOR/ HAVELS/ZEN/ KUNDAN CAB | 69.00 | Each | 144.96 | 115.00 | 7935.00 | 45.00 | 3105.00 | 3105.00 | P S G CONSTRUCTIONS
147.00 | Supply and fixing of single door sheet metal enclouser for DB's when MCB 's to be used single pole and neutral 2 way without busbar, 240 volt, AC. Make: STANDARD/ HAVELS/ SIEMENS/ LEGREND | 15.00 | Each | 652.92 | 645.00 | 9675.00 | 1900.00 | 28500.00 | 9675.00 | Siva Enterprises
148.00 | Supply & fixing of isolator single pole with neutral upto 40A 240V A.C. Make: STANDARD/HAWELS/SIEMENS/LEGREND | 17.00 | Each | 517.82 | 525.00 | 8925.00 | 990.00 | 16830.00 | 8925.00 | Siva Enterprises
149.00 | Supply and fix exhaust fan, steel body AC single Phase. 230V of size 300m sweep with, blades, and frame and louvers. Make : USHA/ HAVELLS/BAJAJ/CROMPTON | 23.00 | Each | 4258.31 | 4545.00 | 104535.00 | 4500.00 | 103500.00 | 103500.00 | P S G CONSTRUCTIONS
150.00 | Supply & Erection of Electrical Power Panel -1 including indicators, multi function meters, incomers, out goings, alongwith panel boards, cabling, spare MCCBs, wiring and labour charges. MCCB make: C&S/ ABB/SCHNEIDER | 1.00 | Each | 340194.00 | 445000.00 | 445000.00 | 90000.00 | 90000.00 | 90000.00 | P S G CONSTRUCTIONS
151.00 | Supply & Erection of Electrical power Panel-2 including indicators, multi function meters, incomers, out goings, alongwith panel boards, cabling, spare MCCBs, wiring and laabour charges. MCCB make: C&S/ ABB/ SCHNEIDER | 1.00 | Each | 439550.00 | 550000.00 | 550000.00 | 90000.00 | 90000.00 | 90000.00 | P S G CONSTRUCTIONS
| Total in Figures |  |  |  |  | 25326455.16 |  | 22401318.75
Lowest Amount Quoted BY: P S G CONSTRUCTIONS(22401318.75)

## BOQ Summary
BOQ Summary Details Tender Title: Special repairs to Walls, Floors, Roof, Toilet and construction of rest room at OHA shop in Old Facility at HVF Avadi Tender ID: 2023_AVNL_174660_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | P S G CONSTRUCTIONS | 22401318.75 | L1
| 2 | Siva Enterprises | 25326455.16 | L2