## BoQ1
Government eProcurement System Created By: SRIKANTH GADE Created Date/Time: 16-Jan-2024 09:41 AM Tender Title: Repairs to Compound Wall for Camp Office cum Residence of HOD/OFMK at Estate area. Tender ID: 2023_AVNL_176875_1
Tender Inviting Authority: CHIEF GENERAL MANAGER ORDNANCE FACTORY MEDAK (A UNIT OF AVNL)
Name of Work: Repairs to Compound Wall for Camp Office cum Residence of HOD/OFMK at Estate area.
Contract No: 776025/ TE-50/ OFMK/EOC/CAMP OFFICE HOD /23-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SANTOSH ENGINEERING WORKS(GSTN-NA) |  | Samrat Engineering Works(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | DEMOLITION : Demolition of concrete or brick/stone masonry built in cement mortar including all quioins pillers etc., at any height for the portions as and when ordered. All debris to be dumped at ear marked places. Complete all as specified and directed at site. | 55.00 | Cum | 100.00 | 550.00 | 30250.00 | 500.00 | 27500.00 | 27500.00 | Samrat Engineering Works
2.00 | DISMANTLING : Dismantling of precast concrete block walling built in cement mortar including all quioins pillers etc., at any height for the portions as and when ordered. All debris to be dumped at ear marked places. Complete all as specified and directed at site. | 70.00 | Cum | 10.00 | 800.00 | 56000.00 | 400.00 | 28000.00 | 28000.00 | Samrat Engineering Works
3.00 | SURFACE EXCAVATION : Surface excavation in loose / soft soils not exceeding 30 cm deep and averaging 15 cm deep and getting out. Complete all as specified and directed | 450.00 | Sqm | 10.00 | 40.00 | 18000.00 | 10.00 | 4500.00 | 4500.00 | Samrat Engineering Works
4.00 | EXCAVATION : Excavation in trenches in soft/loose soil not exceeding 1.5 m width and not exceeding 1.5 m depth as specified by EIC/SIC. | 700.00 | Cum | 10.00 | 350.00 | 245000.00 | 150.00 | 105000.00 | 105000.00 | Samrat Engineering Works
5.00 | RETURNING/FILLING: Returning, filling in, in soft/loose soil including speading, levelling, watering and well ramming in layers not exc 25 cm. all as specified and directed | 450.00 | Cu.M | 10.00 | 130.00 | 58500.00 | 50.00 | 22500.00 | 22500.00 | Samrat Engineering Works
6.00 | MOORUM: Moorum filling in floors or pavings laid in layers not exe. 15cm thick , spread leveled and rammed including watering all as specified and directed. | 84.00 | Cum | 10.00 | 1175.00 | 98700.00 | 600.00 | 50400.00 | 50400.00 | Samrat Engineering Works
7.00 | REMOVAL OF SPOIL : Removal of excavated material and other debris exceeding 250m but not exc. 1000m and where directed. | 185.00 | Cum | 10.00 | 325.00 | 60125.00 | 50.00 | 9250.00 | 9250.00 | Samrat Engineering Works
8.00 | PCC : Plain Cement concrete 1:4:8 type D2 with 40 mm graded aggregate, in foundation, floor, filling and mass concrete, complete all as specified and directed. | 20.00 | Cum | 10.00 | 5000.00 | 100000.00 | 5000.00 | 100000.00 | 100000.00 | SANTOSH ENGINEERING WORKS, Samrat Engineering Works
9.00 | BRICKWORK: Brick work with sub class ‘B’ bricks straight or curved in plan with 1:4 cement mortar. Complete all as specified and directed. | 195.00 | Cum | 10.00 | 5400.00 | 1053000.00 | 6500.00 | 1267500.00 | 1053000.00 | SANTOSH ENGINEERING WORKS
10.00 | PRECAST KERBS : Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5 mm), including making drainage opening wherever required complete | 14.00 | Cum | 10.00 | 8000.00 | 112000.00 | 8500.00 | 119000.00 | 112000.00 | SANTOSH ENGINEERING WORKS
11.00 | STONE MASONRY : Walling of squared rubble, regular coursed, well bonded ,bedded and solidly hearted, built in CM 1:6 complete all as specified and directed. | 40.00 | Cum | 10.00 | 5700.00 | 228000.00 | 7000.00 | 280000.00 | 228000.00 | SANTOSH ENGINEERING WORKS
12.00 | FORMWORK : Formwork with fair finished surfaces to sides of concrete foundations, footings, bases of columns, raft and raft beams,slabs sides and soffits of foundations and plinth beams; and similar work; vertical or to batter. | 450.00 | Sqm | 100.00 | 385.00 | 173250.00 | 370.00 | 166500.00 | 166500.00 | Samrat Engineering Works
13.00 | REINFORCEMENT : Mild steel(TMT) bars 8 mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9 mm dia or securing with clips . | 4000.00 | Kg | 10.00 | 79.00 | 316000.00 | 80.00 | 320000.00 | 316000.00 | SANTOSH ENGINEERING WORKS
14.00 | RCC : Reinforced Cement Concrete , Type B1, 1:2:4 Mix by using 20mm graded aggregate in coloums, beams, lintels, chajjas, cantilevers, etc. over 1.5 m span.complete all as specified and directed | 75.00 | Cum | 10.00 | 6300.00 | 472500.00 | 7000.00 | 525000.00 | 472500.00 | SANTOSH ENGINEERING WORKS
15.00 | PLASTERING : Rendering of 12 mm thick plastering with 1:4 cement mortar on fair faces of brick work or concrete surfaces. Complete in all respects as specified and directed. | 1700.00 | Sqm | 10.00 | 220.00 | 374000.00 | 250.00 | 425000.00 | 374000.00 | SANTOSH ENGINEERING WORKS
16.00 | GRANITE : Granite (of any type) work 20 mm thk (table rubbed and polished) in steps, jambs, pillars, window- cills, cooking platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite | 12.00 | Sqm | 10.00 | 5000.00 | 60000.00 | 3000.00 | 36000.00 | 36000.00 | Samrat Engineering Works
17.00 | CONCERTINA COIL : Supply & fixing of single line concertina coil 600mm dia of thickness 2.5mm, galvanised, openable, 5 Mtr per coil, complete all as specified and directed. Material should conform to IS:4454, Pt-I. Note: Material is to be supplied in coil & 5 Mtr per Coil and to be fixed. | 450.00 | Rm | 10.00 | 200.00 | 90000.00 | 300.00 | 135000.00 | 90000.00 | SANTOSH ENGINEERING WORKS
18.00 | RAZOR WIRE : Supply & fixing of 5 lines straight razor wire, complete all as specified and directed. | 2250.00 | Rm | 10.00 | 25.00 | 56250.00 | 50.00 | 112500.00 | 56250.00 | SANTOSH ENGINEERING WORKS
19.00 | STRUCTURAL STEEL : Joist, channel, angle, or tee sections,Fe 410-W(Gde-E- 250)quality-A fixed independently, without connecting plates, etc. (cut to ordinary lengths i.e. within 20mm of the length indicated) | 1000.00 | kg | 10.00 | 80.00 | 80000.00 | 100.00 | 100000.00 | 80000.00 | SANTOSH ENGINEERING WORKS
20.00 | ENAMEL PAINT : Rendering synthetic enamel painting on Steel surfaces over 10 cm width or girth one coats Make: Asian Paints Apcolite /Berger Bison | 55.00 | Sqm | 10.00 | 50.00 | 2750.00 | 100.00 | 5500.00 | 2750.00 | SANTOSH ENGINEERING WORKS
21.00 | ACRYLIC WEATHERPROOF EMULSION: Material & Labour for applying Two or more coats of 100% Premium acrylic emulsion paint having VOC less than 50 gm/litre and UV resistance as per IS 15489:2004, Alkali & fungal resistance, dirt resistance exterior paint of required shade (Company Depot Tinted) with silicon additives @ 1.43 litre/ 10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/ 10 sqm over new surfaces. Brand: Asian Paints Apex Ultima/ Nerolac Excel Total / Berger Weathercoat All Guard | 1700.00 | m2 | 10.00 | 120.00 | 204000.00 | 110.00 | 187000.00 | 187000.00 | Samrat Engineering Works
22.00 | Supply and laying or fixing or passing through pipe, 1100 volts grade, heavy duty cable with PVC insulated aluminium conductor served with an inner sheathing of PVC tape armoured with galvanised steel wire and overall PVC sheathed, 4 core 10 sq. mm nominal cross section, stranded conductor in service connections. | 500.00 | RM | 10.00 | 190.00 | 95000.00 | 150.00 | 75000.00 | 75000.00 | Samrat Engineering Works
23.00 | Supply and Fixing of Wiring for circuit along with earth wire with the sizes of 2x1.5 sq. mm + 1x1.5 sq. mm FR PVC insulated copper conductor in PVC conduit, single core cable in surface/ recessed as required. | 125.00 | RM | 10.00 | 150.00 | 18750.00 | 100.00 | 12500.00 | 12500.00 | Samrat Engineering Works
24.00 | Supply and fixing of Rigid non-metallic PVC conduit,20 mm dia, exclusive of boxes (junction/ terminal) but inclusive of all tees, bends, elbows, reducers, bell mouth tube ends and fixing accessories such as couplers, lock nuts,saddles, pipe hooks etc. | 90.00 | RM | 10.00 | 70.00 | 6300.00 | 50.00 | 4500.00 | 4500.00 | Samrat Engineering Works
25.00 | Supply and fixing of FRP junction box, enclosure with cover , weather proof, shock proof, rust proof, wall/ pole mounting type, bottom cable entry, with 6 way terminal block suitable for 4 core 10 Sq.mm PVC Al Cable , provision to mount 2 Amps MCB. | 45.00 | Each | 10.00 | 800.00 | 36000.00 | 400.00 | 18000.00 | 18000.00 | Samrat Engineering Works
26.00 | Supply and fixing of LED post top Luminarie suitable to fit Pipe of Outer dia 60.3 mm, with single piece construction, die cast housing and spun aluminium reflector ,Wattage 40W, operating voltage 120V to 270V AC, surge protection 5 KV, pf>0.9, system efficacy > 85% , Make: Crompton, Wipro, Bajaj, Philips. | 45.00 | Each | 10.00 | 5700.00 | 256500.00 | 1500.00 | 67500.00 | 67500.00 | Samrat Engineering Works
27.00 | Supply and fixing of MCB single pole 2 amp, 240 V, make : Schneider/ Legrand/Indoasian/ Havells/ L&T/ Hager of ISI quality. | 45.00 | Each | 10.00 | 180.00 | 8100.00 | 200.00 | 9000.00 | 8100.00 | SANTOSH ENGINEERING WORKS
| Total in Figures |  |  |  |  | 4308975.00 |  | 4212650.00
Lowest Amount Quoted BY: Samrat Engineering Works(4212650.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repairs to Compound Wall for Camp Office cum Residence of HOD/OFMK at Estate area. Tender ID: 2023_AVNL_176875_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Samrat Engineering Works | 4212650.00 | L1
| 2 | SANTOSH ENGINEERING WORKS | 4308975.00 | L2