## BoQ1
Government eProcurement System Created By: K SREEVANI Created Date/Time: 30-Jan-2024 03:59 PM Tender Title: Electrical rewiring of Factory sub stations in side factory area Tender ID: 2023_AVNL_177270_1
Tender Inviting Authority: CHIEF GENERAL MANAGER, ORDNANCE FACTORY MEDAK HYDERABAD A UNIT OF AVNL
Name of Work: Electrical rewiring of Factory sub-stations in side factory area
Contract No: 76026/ TE-49/ OFMK/EOC/Rewiring substations Fy/ 23-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SRS ELECTRICALS(GSTN-29AWZPK1221C1ZI) |  | GAYATHRI ENGINEERS(GSTN-NA) |  | SRI SAI PANASA ELECTRICALS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking Down carefully copper/Aluminium point wiring (light ,Fan ,Socket, power point ) complete (fittings such as switches, ceiling roses, pendents, regulators, sockets, etc to be measured seperately) removing mateiral to store for keeping in safe custody for reuse at site and making good ,disturbed surfaces of walls ,floors etc as per the instructions of EIC. | 700.00 | per point | 100.00 | 900.00 | 630000.00 | 228.50 | 159950.00 | 230.00 | 161000.00 | 159950.00 | GAYATHRI ENGINEERS
2.00 | Taking Down carefully by unscrewing from board /outlets boxes fittings and fixtures such as switches ,sockets, ceiling roses, lamp holders, brackets, ceiling fittings, bulk head fittings, tubelight fittings and regulatorsetc for reuse at site or carrying to the store ( to be measured only when found serviciable in all respect complete for reuse as per instructions of EIC. | 300.00 | per point | 100.00 | 900.00 | 270000.00 | 34.94 | 10482.00 | 30.00 | 9000.00 | 9000.00 | SRI SAI PANASA ELECTRICALS
3.00 | Point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/polycab in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 796.00 | per point | 10.00 | 900.00 | 716400.00 | 992.75 | 790229.00 | 992.00 | 789632.00 | 716400.00 | SRS ELECTRICALS
4.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 5 amps independent, with cables 1.5 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/polycab in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and all connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC. | 95.00 | per point | 10.00 | 1000.00 | 95000.00 | 1270.40 | 120688.00 | 1800.00 | 171000.00 | 95000.00 | SRS ELECTRICALS
5.00 | point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FR PVC Make Finolex/Havells/ polycabin PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs,clamps,junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire. All connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC 's technical instructions amended from time to time. | 72.00 | per point | 10.00 | 750.00 | 54000.00 | 3000.00 | 216000.00 | 1800.00 | 129600.00 | 54000.00 | SRS ELECTRICALS
6.00 | LED TUBE LIGHT:Supply and fixing LED lights fitting 1x 20W, 220V,AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper onductor cable of suitable size from ceiling rose complete. Make: syska/Orient/ CG /wipro/ osram/surya/ halonex/ philips /havells | 570.00 | Each | 100.00 | 300.00 | 171000.00 | 1350.00 | 769500.00 | 1300.00 | 741000.00 | 171000.00 | SRS ELECTRICALS
7.00 | ceiling rose :Supply and fixing of ceiling rose,PVC/Polycorbonate,3 terminal Make Anchor / Havells/Maru/Cona of ISI quality. | 796.00 | Each | 100.00 | 85.00 | 67660.00 | 65.70 | 52297.20 | 50.00 | 39800.00 | 39800.00 | SRI SAI PANASA ELECTRICALS
8.00 | Ceiling Fan (BLDC):Supply and fixing ceiling fans completewith blades, down rods, electronicregulator and accessories, 230 V, 1200mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five starrated with brushless direct current motor (BLDC) | 76.00 | Each | 10.00 | 4500.00 | 342000.00 | 2964.00 | 225264.00 | 2600.00 | 197600.00 | 197600.00 | SRI SAI PANASA ELECTRICALS
9.00 | MCB :Supply and fixing of MCB, 240 V, single pole 5 to 40 amp Make legrand/Schneider/ Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 364.00 | Each | 10.00 | 385.00 | 140140.00 | 434.00 | 157976.00 | 200.00 | 72800.00 | 72800.00 | SRI SAI PANASA ELECTRICALS
10.00 | MCB :Supply and fixing of MCB, 240 V, DP 40 amp. Make legrand/Schneider/ Indoasian /Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 72.00 | Each | 10.00 | 685.00 | 49320.00 | 942.00 | 67824.00 | 500.00 | 36000.00 | 36000.00 | SRI SAI PANASA ELECTRICALS
11.00 | MCB :Supply and fixing of MCB, 415 V, TPN 63A amp Make legrand/Schneider/Indoasian /Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 19.00 | Each | 100.00 | 3850.00 | 73150.00 | 1859.00 | 35321.00 | 1200.00 | 22800.00 | 22800.00 | SRI SAI PANASA ELECTRICALS
12.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of SPN, 8 way, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand/Schneider/Indoasian/ Havells complete all as specified by EIC. | 40.00 | Each | 100.00 | 2500.00 | 100000.00 | 2170.00 | 86800.00 | 1900.00 | 76000.00 | 76000.00 | SRI SAI PANASA ELECTRICALS
13.00 | MCB D.B : Supply andFixing of Sheet Metal enclousers for MCB D.B of double door of TPN,4 way, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand/Schneider/Indoasian/ Havells complete all as specified by EIC | 19.00 | Each | 10.00 | 8500.00 | 161500.00 | 4080.00 | 77520.00 | 2600.00 | 49400.00 | 49400.00 | SRI SAI PANASA ELECTRICALS
14.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 4x6.0 Sq.mm + 1x6 sq.mm earth wire in PVC concelead Conduit wiring .Make: Finolex/Havells /polycab/L&T complete all as specified by the EIC | 600.00 | RM | 10.00 | 485.00 | 291000.00 | 422.70 | 253620.00 | 330.00 | 198000.00 | 198000.00 | SRI SAI PANASA ELECTRICALS
15.00 | SUB MAIN WIRING : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x4.0 Sq.mm + 1x4.0 sq.mm earth wire in PVC Conduit wiring .Make: Finolex/Havells /polycab/L&T complete all as specified by the EIC | 1000.00 | RM | 10.00 | 265.00 | 265000.00 | 165.00 | 165000.00 | 200.00 | 200000.00 | 165000.00 | GAYATHRI ENGINEERS
16.00 | Switch Modular : Supply and Fixing of switch modular type of one way 6 amps make Legrand/Schneider/Havells of ISI quality complete all as specifies by the EIC | 796.00 | Each | 10.00 | 125.00 | 99500.00 | 125.00 | 99500.00 | 160.00 | 127360.00 | 99500.00 | SRS ELECTRICALS, GAYATHRI ENGINEERS
17.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 3 pin 6 amps modular type make Legrand/Schneider/Havells of ISI quality complete all as specified by the EIC | 95.00 | Each | 10.00 | 195.00 | 18525.00 | 280.00 | 26600.00 | 300.00 | 28500.00 | 18525.00 | SRS ELECTRICALS
18.00 | SWITCH MODULAR : Supply and Fixing of switch modular type of one way 16 amps make Legrand/ Schneider/Havells of ISI quality complete all as specifies by the EIC | 72.00 | Each | 10.00 | 185.00 | 13320.00 | 222.00 | 15984.00 | 300.00 | 21600.00 | 13320.00 | SRS ELECTRICALS
19.00 | SOCKET MODULAR : Supply and Fixing of socket 2 in 1 , 3 pin 6/16 amps modular type make Legrand/ Schneider/Havells of ISI quality complete all as specified by the EIC | 72.00 | Each | 10.00 | 285.00 | 20520.00 | 314.00 | 22608.00 | 300.00 | 21600.00 | 20520.00 | SRS ELECTRICALS
20.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 4 module of make Legrand/ Schneider /Havells complete all as specified by the EIC | 203.00 | Each | 10.00 | 200.00 | 40600.00 | 252.00 | 51156.00 | 450.00 | 91350.00 | 40600.00 | SRS ELECTRICALS
21.00 | METAL FLUSH BOX : Supply and Fixing of 4 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand/ Schneider/ Havells complete all as specified by the EIC | 203.00 | Each | 100.00 | 185.00 | 37555.00 | 212.00 | 43036.00 | 200.00 | 40600.00 | 37555.00 | SRS ELECTRICALS
22.00 | LED street light fitting :Supply and fixing LED street light fitting 35 Watt230 V AC outdoor type with high pressure die cast aluminum hosing and heat resistant complete with driver, lamp bracket with impactand corrosion resistant including thermalmanagement in multiple optics complete withIP 65/66 protection complete.Make: Philips/CG/Wipro/ Osram/ Havells/ Orient/Halonix | 100.00 | Each | 100.00 | 2300.00 | 230000.00 | 2750.00 | 275000.00 | 2000.00 | 200000.00 | 200000.00 | SRI SAI PANASA ELECTRICALS
23.00 | Cutting Chases: Cutting chases , pinning in, making good to facings where required and pointing in cement mortor 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels etc; and cutting chases for concealed water tubing or concealed conduit wiring etc, and making good , cutting not exceding 10 cm girth.complete all as specified by the EIC | 500.00 | RM | 10.00 | 15.00 | 7500.00 | 50.00 | 25000.00 | 48.00 | 24000.00 | 7500.00 | SRS ELECTRICALS
24.00 | Painting: Distempering walls with distemper oil emulsion, white or tinted double coat. | 200.00 | Sq.M | 10.00 | 185.00 | 37000.00 | 64.00 | 12800.00 | 60.00 | 12000.00 | 12000.00 | SRI SAI PANASA ELECTRICALS
25.00 | SWITCH BOARD BOX WITH FRAME PLATE AND COVER PLATE 18 MODULE : Supply and Fixing of covering plates with Metal Flush box and cover plate frames of 18 module of make Legrand/ Schneider/ Havells complete all as specified by the EIC | 60.00 | Each | 10.00 | 600.00 | 36000.00 | 1404.00 | 84240.00 | 500.00 | 30000.00 | 30000.00 | SRI SAI PANASA ELECTRICALS
| Total in Figures |  |  |  |  | 3966690.00 |  | 3844395.20 |  | 3490642.00
Lowest Amount Quoted BY: SRI SAI PANASA ELECTRICALS(3490642.00)

## BOQ Summary
BOQ Summary Details Tender Title: Electrical rewiring of Factory sub stations in side factory area Tender ID: 2023_AVNL_177270_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SRI SAI PANASA ELECTRICALS | 3490642.00 | L1
| 2 | GAYATHRI ENGINEERS | 3844395.20 | L2
| 3 | SRS ELECTRICALS | 3966690.00 | L3