## BoQ1
Government eProcurement System Created By: JEEVITESH AMLE Created Date/Time: 19-Jun-2023 11:44 AM Tender Title: PROCUREMENT AND INSTALLATION OF TELECOMMUNICATION SYSTEM FOR NAGPUR- JABALPUR SECTION OF MNJPL PROJECT (PART-C) OF M/S GAIL (INDIA) LIMITED Tender ID: 2023_GAIL_146381_1
Tender Inviting Authority: GAIL India Ltd
Name of Work: PROCUREMENT AND INSTALLATION OF TELECOMMUNICATION SYSTEM FOR NAGPUR-JABALPUR SECTION OF MNJPL PROJECT (PART-C)
Contract No: 2023_GAIL_146381
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | COMMTEL NETWORKS PRIVATE LIMITED(GSTN-27AAACC8966G1ZD) |  | Eratronics Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PART 1 - PS-Supply
2.00 | Project Management, System Design, Detail Engineering, Supply of Materials, Inspection & Factory Acceptance Testing (Equipment & Integrated with subsystem), Packaging, forwarding, Insurance, Transit Insurance, Shipping, Port Handling, Custom Clearance, Inland Transportation to store, Supply of all related erection goods, including Mandatory spares, Commissioning spares, Power supply, Surge protection device, Loading, Unloading & Handling, Storage & Safe custody, Transportation from store to site, Supply of all type of Erection Items, Erection, erection of foundation support channel on trench for panel erection, Pre‐commissioning activity, Site Acceptance Testing, Trial Run, Commissioning, Training, Warranty, Extended warranty, Post Warranty Maintenance contract – comprehensive for 3 years for all supplied equipment, Including minor civil works, Documentation of MPLS-TP based Digital Fiber Optic Communication System covering IP EPABX system, CCTV system, Leased Lines, Complete in all respect and shall be executed as Turnkey individual work contract basis as per Specification for Telecom System “00033-NCJ-GEN-TE-SPC-0001” for Nagpur-Jabalpur Pipeline Project. Interfacing with GAIL's existing IP EPABX and SDH networks as per requirements at interfacing location (at Mumbai) is also in bidder's scope. Location details will be provided after order placement or during detailed engineering.
3.00 | Supply: Supply with all works define above
4.00 | OFC based MPLS-TP (10 G) equipments, fully wired with rack as per specification
5.00 | For Maharashtra State Location: SV2 | 1.00 | Set |  | 2345000.00 | 2768280.00 | 5417322.61 | 6437424.26 | 2768280.00 | COMMTEL NETWORKS PRIVATE LIMITED
6.00 | For Madhya Pradesh State Location: SV4, SV6, SV8, SV10, Chhindwara, Jabalpur (Spare 1 no.) | 7.00 | Sets |  | 2345000.00 | 19377960.00 | 5417322.61 | 45061969.82 | 19377960.00 | COMMTEL NETWORKS PRIVATE LIMITED
7.00 | Supply of NMS Software with License,& installation and configuration of MPLS-TP NMS on Existing Virtual Machine Server (Provided by Others) as per specification. For Maharashtra State Location: Nagpur & Belapur | 2.00 | Sets |  | 2745000.00 | 6480560.00 | 2707119.18 | 6433759.24 | 6433759.24 | Eratronics Pvt Ltd
8.00 | Supply of NMS Software with License& installation and configuration of MPLS-TP NMS on Existing Virtual Machine Server (Provided by Others) as per specification. For Uttar Pradesh Location: GAIL Noida | 1.00 | Set |  | 2745000.00 | 3240280.00 | 2707119.18 | 3216879.62 | 3216879.62 | Eratronics Pvt Ltd
9.00 | MPLS-TP (10G) equipment Network Management System (NMS) client workstation including all hardware & software, accessories for Telecommunication System complete as per specification. For Maharashtra State Location: Nagpur & either at Belapur or Mhaskal
10.00 | All hardware and accessories, as required, as per above. | 2.00 | Sets |  | 325000.00 | 769360.00 | 344122.84 | 819192.72 | 769360.00 | COMMTEL NETWORKS PRIVATE LIMITED
11.00 | All software (including MPLS- TP) as per above. | 2.00 | Sets |  | 245000.00 | 580560.00 | 81161.05 | 191540.08 | 191540.08 | Eratronics Pvt Ltd
12.00 | MPLS-TP (10G) equipment Network Management System (NMS) client workstation including all hardware & software, accessories for Telecommunication System complete as per specification. For Madhya Pradesh State Location: Jabalpur
13.00 | All hardware and accessories, as required, as per above. | 1.00 | Set |  | 325000.00 | 384680.00 | 344122.84 | 409596.36 | 384680.00 | COMMTEL NETWORKS PRIVATE LIMITED
14.00 | All software (including MPLS- TP) as per above. | 1.00 | Set |  | 245000.00 | 290280.00 | 81161.05 | 95770.04 | 95770.04 | Eratronics Pvt Ltd
15.00 | MPLS-TP (10G) equipment Network Management System (NMS) client workstation including all hardware & software, accessories for Telecommunication System complete as per specification. For Uttar Pradesh State Location: GAIL Noida
16.00 | All hardware and accessories, as required, as per above. | 1.00 | Set |  | 325000.00 | 384680.00 | 344122.84 | 409596.36 | 384680.00 | COMMTEL NETWORKS PRIVATE LIMITED
17.00 | All software (including MPLS- TP) as per above. | 1.00 | Set |  | 245000.00 | 290280.00 | 81161.05 | 95770.04 | 95770.04 | Eratronics Pvt Ltd
18.00 | Slave IP EPABX system fully wired configured and equipped with all interfaces, cables, connectors, MDF, etc. Number of IP extensions 100 IP Lines expandable to 200 IP Lines, with 100 IP licenses, CO Lines 4 nos, PRI interface 4 nos. and 10 number of SIP trunks, and as per specification. For Madhya Pradesh State Location: Jabalpur | 1.00 | Set |  | 2345000.00 | 2768280.00 | 2091115.47 | 2484880.15 | 2484880.15 | Eratronics Pvt Ltd
19.00 | Local Craft Terminal with required software for Telecom system MPLS-TP, CCTV and IP EPABX, as per specifications. For Madhya Pradesh State Location: Jabalpur | 1.00 | Set |  | 350000.00 | 414180.00 | 500763.67 | 595059.30 | 414180.00 | COMMTEL NETWORKS PRIVATE LIMITED
20.00 | IP telephones with required necessary licenses, hardware, cabling / accessories, CAT-6A data outlets (equipped with label holders, CAT-6A Keystones, Back box, Faceplate etc.) for IP telephone as per specification.
21.00 | For Maharashtra State Location: SV2 | 2.00 | Sets |  | 23500.00 | 57820.00 | 14397.97 | 34218.32 | 34218.32 | Eratronics Pvt Ltd
22.00 | For Madhya Pradesh State Location: SV4, SV6, SV8, SV10, Chhindwara, Jabalpur (Spare 2 no.) | 25.00 | Sets |  | 23500.00 | 722750.00 | 14397.97 | 427729.00 | 427729.00 | Eratronics Pvt Ltd
23.00 | Explosion Proof IP Telephones with acoustic booth (including explosion proof howler & explosion proof flashing beacon) with explosion proof junction box and with required hardware, cabling / accessories as per specification. For Madhya Pradesh State Location: Chhindwara, Jabalpur | 2.00 | Sets |  | 390000.00 | 922760.00 | 790792.67 | 1879403.66 | 922760.00 | COMMTEL NETWORKS PRIVATE LIMITED
24.00 | CCTV System consisting of Network Video Recorder (NVR) server, server rack including necessary hardware, software, Licenses, storage with additional workstation, necessary ethernet switches, converter, KVM switch, gateways, furniture and accessories, cabling / accessories as per specification and necessary accessories as define in specifications. Note-1: Bidder to Supply CCTV server at Jabalpur for one end & at other end integration of CCTV cameras in Master server already provided for Part A at Nagpur. License of 26 Nos of CCTV cameras already provisioned at Nagpur (Provided by Others). Necessary configuration as per CCTV monitoring philosophy to be done. Note-2: The servers of Jabalpur and Nagpur shall in turn work as failover server cum storage, i.e., in case of failure of one redundant server of one location, all the cameras & storage shall be available at other redundant server location and Vice versa. All the cameras with storage shall be available for viewing at workstations. The recording only at server locations. All the cameras shall be recorded and stored at both the server locations. The Redundant server of Nagpur shall work as the master server. It shall in turn synchronize with the slave servers at Jabalpur as failover server cum storage, i.e., in case of failure of server of either Jabalpur station, all the cameras & storage shall be available at Nagpur server location. All the cameras with storage shall be available for viewing at workstations. Note-3: Switches shall be provided with multicasting including IGMP Snooping and IGMP Querier. For Madhya Pradesh State Location: Jabalpur | 1.00 | Set |  | 2345000.00 | 2768280.00 | 3918455.40 | 4656314.88 | 2768280.00 | COMMTEL NETWORKS PRIVATE LIMITED
25.00 | CCTV system client workstations including 32" FHD display monitor, wireless keyboard and mouse, other necessary hardware and software, accessories as required for Telecommunication System complete as per specification. For Madhya Pradesh State Location: Jabalpur | 1.00 | Set |  | 250000.00 | 296180.00 | 409051.68 | 486077.61 | 296180.00 | COMMTEL NETWORKS PRIVATE LIMITED
26.00 | 65” LED display monitor for CCTV system including necessary hardware, software, erection accessories etc. as per specification. For Madhya Pradesh State Location: Jabalpur | 1.00 | Set |  | 80000.00 | 95580.00 | 105509.36 | 125377.15 | 95580.00 | COMMTEL NETWORKS PRIVATE LIMITED
27.00 | PTZ camera with IR illuminator with housing accessories, mounting arrangements (POLE), ethernet switches, converter, gateways, Cabling and necessary accessories as per specification.
28.00 | For Maharashtra State Location: SV2 | 1.00 | Set |  | 365000.00 | 431880.00 | 148849.36 | 176878.23 | 176878.23 | Eratronics Pvt Ltd
29.00 | For Madhya Pradesh State Location: SV4, SV6, SV8, SV10, Chhindwara, Jabalpur (Spare 1 no.) | 9.00 | Sets |  | 365000.00 | 3886920.00 | 148849.36 | 1591904.07 | 1591904.07 | Eratronics Pvt Ltd
30.00 | Fixed camera with IR illuminator with housing accessories, mounting arrangements, ethernet switches, converter, gateways, Cabling and necessary accessories as per specification.
31.00 | For Maharashtra State Location: SV2 | 1.00 | Set |  | 315000.00 | 372880.00 | 78726.22 | 93550.66 | 93550.66 | Eratronics Pvt Ltd
32.00 | For Madhya Pradesh State Location: SV4, SV6, SV8, SV10, Chhindwara, Jabalpur (Spare 1 no.) | 9.00 | Sets |  | 315000.00 | 3355920.00 | 78726.22 | 841955.94 | 841955.94 | Eratronics Pvt Ltd
33.00 | Test Instruments as per the specifications: a) OTDR Meter: 01 No. b) Laser Source: 01 No. c) Power Meter: 01 No. d) Ethernet Tester: 01 No. e) 24 Port Switch (Managed): 01 No. f) 16 Port L3 Switch (Managed): 01 No. g) Digital Multimeter: 01 No. h) Industrial Standard Tool Kit for Telecom: 01 Set of equipment with Leather bag: 01 Set. For Madhya Pradesh State Location: Jabalpur | 1.00 | Lot |  | 2365000.00 | 2791880.00 | 2076099.61 | 2467036.76 | 2467036.76 | Eratronics Pvt Ltd
34.00 | Mandatory spare for all supplied equipments such as MPLS-TP (10G), CCTV Cameras (Fixed & PTZ), IP EPABX System & Phones, Gateways, Power Supply, Converters etc. (Bill of Material has to be provided along with offer, any fraction quantity should be round off to nearest number in higher side). Unit rate for Mandatory spares with cards details, part no., make etc. shall be given separately. (10% Spare or Minimum One shall be calculated based on the total quantities; region / state wise as per the above respective Line items of MPLS-TP, CCTV, EPABX Systems)
35.00 | For all the Telecom equipment supplied For Maharashtra State | 1.00 | Lot |  | 3245000.00 | 3830280.00 | 2576335.46 | 3061468.84 | 3061468.84 | Eratronics Pvt Ltd
36.00 | For all the Telecom equipment supplied For Madhya Pradesh State | 1.00 | Lot |  | 3245000.00 | 3830280.00 | 4888536.33 | 5809065.59 | 3830280.00 | COMMTEL NETWORKS PRIVATE LIMITED
37.00 | Extended Warranty per month (The Extended Warranty is applicable only if completion of trial run/acceptance of system by owner / handing over of system is delayed beyond 12 months from supply (date of receipt of last material at site) and the delay is not attributed to contractor). All materials shall be considered to be in the custody of contractor fully insured with applicable conditions of warranty. This extended warranty (after 12 months) is used to extend warranty for the delayed period till the start of main warranty (i.e., 24 months), which is supposed to start on successful completion of trial run/ acceptance of system by owner / handing over of system (refer warranty clause). (as per MR Note 6) (Decision of start date & no of month extension of extended warranty will be as per instruction of client/ EIC)
38.00 | For all the Telecom equipment supplied For Maharashtra State | 24.00 | Month |  | 15000.00 | 453120.00 | 5485.93 | 155361.60 | 155361.60 | Eratronics Pvt Ltd
39.00 | For all the Telecom equipment supplied For Madhya Pradesh State | 24.00 | Month |  | 15000.00 | 453120.00 | 23278.42 | 659244.96 | 453120.00 | COMMTEL NETWORKS PRIVATE LIMITED
40.00 | Total price including all costs, freight, insurance till commissioning, GTS etc.
41.00 | PART 2 - Site work
42.00 | Site Work:- Installation, Integration, Site Testing, Trial Run & Commissioning (including all supply and erection of all installation materials, accessories, connectors, Distribution boxes, MDF, cables {co-axial cable, multi-pair armoured & unarmored telephone cables, Ethernet Cables, optical fiber cable, armoured power cable}, pole {maximum 3-5 mtr} with shades & mounting arrangement for CCTV cameras, telecom earth pits, civil foundation, OFC connectors etc.), Power testing of already laid 24 Core OFC fiber, all work for MPLS-TP equipment system & NMS, Clock, CCTV system, IP EPABX system, telecom earth pits, Routers, Leased lines, warranty, etc. as per specification.
43.00 | All Site work as define above for respective stations (all Dispatch, SV and Receiving stations) complete in all respect for MPLS-TP, IP EPABX system with Telephones, CCTV System with Cameras as per specification. All the work for Redundancy of MPLS-TP network in case of OFC cut through backup leased line link and for exchange as required for Maharashtra State.
44.00 | For Maharashtra State Location: SV2, Nagpur, Mhaskal/Belapur | 3.00 | Lot |  | 10000.00 | 35400.00 | 155807.64 | 551559.06 | 35400.00 | COMMTEL NETWORKS PRIVATE LIMITED
45.00 | For Madhya Pradesh State Location: SV4, SV6, SV8, SV10, Chhindwara, Jabalpur, | 6.00 | Lot |  | 10000.00 | 70800.00 | 269962.89 | 1911337.26 | 70800.00 | COMMTEL NETWORKS PRIVATE LIMITED
46.00 | For Uttar Pradesh State Location: GAIL Noida | 1.00 | Lot |  | 10000.00 | 11800.00 | 44383.56 | 52372.60 | 11800.00 | COMMTEL NETWORKS PRIVATE LIMITED
47.00 | All Site work as define above for NMS, Client workstation system of MPLS-TP system, IP EPABX system with Telephones, CCTV System with Cameras etc. at dedicated Server locations. This includes all work related to installation of new MPLS-TP NMS at dedicated locations as proposed as per specification.
48.00 | For Maharashtra State Location: Nagpur, Mhaskal/Belapur | 2.00 | Lot |  | 10000.00 | 23600.00 | 54794.52 | 129315.06 | 23600.00 | COMMTEL NETWORKS PRIVATE LIMITED
49.00 | For Madhya Pradesh State Location: Jabalpur | 1.00 | Lot |  | 10000.00 | 11800.00 | 82191.78 | 96986.30 | 11800.00 | COMMTEL NETWORKS PRIVATE LIMITED
50.00 | For Uttar Pradesh State Location: GAIL Noida (only for MPLS-TP system) | 1.00 | Lot |  | 10000.00 | 11800.00 | 82191.78 | 96986.30 | 11800.00 | COMMTEL NETWORKS PRIVATE LIMITED
51.00 | Integration and synchronization of Master Redundant CCTV Servers at Nagpur (supplied by other contractor) with Slave CCTV Servers at Jabalpur (supplied by bidder) all work complete as per the tender.
52.00 | For Maharashtra State Location: Nagpur | 1.00 | Lot |  | 10000.00 | 11800.00 | 28366.68 | 33472.68 | 11800.00 | COMMTEL NETWORKS PRIVATE LIMITED
53.00 | For Madhya Pradesh State Location: Jabalpur | 1.00 | Lot |  | 10000.00 | 11800.00 | 53825.10 | 63513.62 | 11800.00 | COMMTEL NETWORKS PRIVATE LIMITED
54.00 | Leased lines (2 Mbps) with end-to-end solution (Hardware & software as required) complete in all respect for 02 year from the date of acceptance as per specification. Leased lines are required for MPLS-TP NMS & Exchange are as: • Jabalpur to Nagpur for Telecom MPLS-TP NMS monitoring • Jabalpur to Nagpur/Mumbai/Noida for Exchange (Quantity may vary and will be finalized during detailed engineering; for same location if two leased line required shall be provided from different service provider.) | 2.00 | Lot |  | 10000.00 | 23600.00 | 342465.75 | 808219.18 | 23600.00 | COMMTEL NETWORKS PRIVATE LIMITED
55.00 | Leased lines (2 mbps) required for SCADA server FEP/ Centralized server telecom connectivity to meet SCADA requirement, Leased lines (2 mbps) with end to end solution (Hardware & software as required) complete in all respect for 02 year from the date of acceptance as per Job specification. Leased lines are required between • Jabalpur to Noida • Jabalpur to Jaipur • Nagpur to Jabalpur • Nagpur to Chhindwara • Jabalpur to Chhindwara (Protection path for RTU polling; vendor to ensure that only active link is to be extended to RTU. Necessary provision of hardware and configuration to be done by vendor) (Quantity may vary and will be finalized during detailed engineering). | 5.00 | Lot |  | 10000.00 | 59000.00 | 317808.22 | 1875068.50 | 59000.00 | COMMTEL NETWORKS PRIVATE LIMITED
56.00 | Rectification and Restoration of damaged Optic Fiber Cable (All works including Identification of the fault, Test of the fiber for the smooth operation on wavelength, Power Testing of laid OFC, providing jointing pit, joint enclosure, jointing marker, electronic marker & ready for Telecom equipments including all supply as required) as defined in the scope of work.
57.00 | For Maharashtra State | 2.00 | Lot |  | 10000.00 | 23600.00 | 17867.78 | 42167.96 | 23600.00 | COMMTEL NETWORKS PRIVATE LIMITED
58.00 | For Madhya Pradesh State | 8.00 | Lot |  | 10000.00 | 94400.00 | 17867.78 | 168671.84 | 94400.00 | COMMTEL NETWORKS PRIVATE LIMITED
59.00 | Training for MPLS-TP System, CCTV system, IP EPABX & Gateways, equipment with respective NMS, Test instruments at site with OEM and at OEM works / integration center as defined in specification. Location: Madhya Pradesh State Note: Training at site include State of Maharashtra & Madhya Pradesh | 1.00 | Lot |  | 10000.00 | 11800.00 | 136986.30 | 161643.83 | 11800.00 | COMMTEL NETWORKS PRIVATE LIMITED
60.00 | All inclusive per month rates for maintaining the store at site (for the supplied material) during the extended period as required (payable if site is not ready even after 6 months of actual date of completion as per terms & condition of contracts and as define in the tender scope of work and MR).
61.00 | For Maharashtra State | 12.00 | Per Month |  | 25000.00 | 354000.00 | 5479.45 | 77589.00 | 77589.00 | Eratronics Pvt Ltd
62.00 | For Madhya Pradesh State | 12.00 | Per Month |  | 25000.00 | 354000.00 | 19178.08 | 271561.56 | 271561.56 | Eratronics Pvt Ltd
63.00 | All inclusive Man‐day rates for services such as (all or less) installation/supervision / configuration / integration /Testing & Commissioning of Telecommunication equipments valid for the next 7 years from FOA within Nagpur-Chhindwara-Jabalpur regions applicable as & when required. The rates shall be valid for the next 7 year with the escalation from 3rd Year (from FOA) of 6 % of unit rate per year (date of FOA) as per SOR and MR.
64.00 | For Maharashtra State | 3.00 | Man-days |  | 10000.00 | 35400.00 | 8219.18 | 29095.89 | 29095.89 | Eratronics Pvt Ltd
65.00 | For Madhya Pradesh State | 12.00 | Man-days |  | 10000.00 | 141600.00 | 9863.01 | 139660.20 | 139660.20 | Eratronics Pvt Ltd
66.00 | Total price including all costs including GST for SiteWorks
67.00 | PART 3 - Post Warranty Period
68.00 | Post warranty maintenance contract (PWMC) as define in the specification / bid document for complete telecommunication system including respective NMS (all supplied including Mandatory spares, Test equipments) for 3 years after completion of main warranty complete in all respect as define in the specification and MR. Payment will be made on quarterly basis.
69.00 | For all the Telecom equipment supplied For Maharashtra State | 1.00 | Lot |  | 200000.00 | 236000.00 | 514474.38 | 607079.77 | 236000.00 | COMMTEL NETWORKS PRIVATE LIMITED
70.00 | For all the Telecom equipment supplied for Madhya Pradesh State | 1.00 | Lot |  | 200000.00 | 236000.00 | 976203.12 | 1151919.68 | 236000.00 | COMMTEL NETWORKS PRIVATE LIMITED
71.00 | NOTE: 1. The offer shall be evaluated on package wise basis ( Supply + Site Works +Post warranty maintenance contract ). 2.The above shall be read in conjunction with notes of MR .
| Total in Figures |  |  |  |  | 63777230.00 |  | 96985245.55
Lowest Amount Quoted BY: COMMTEL NETWORKS PRIVATE LIMITED(63777230.00)

## BOQ Summary
BOQ Summary Details Tender Title: PROCUREMENT AND INSTALLATION OF TELECOMMUNICATION SYSTEM FOR NAGPUR- JABALPUR SECTION OF MNJPL PROJECT (PART-C) OF M/S GAIL (INDIA) LIMITED Tender ID: 2023_GAIL_146381_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | COMMTEL NETWORKS PRIVATE LIMITED | 63777230.00 | L1
| 2 | Eratronics Pvt Ltd | 96985245.55 | L2