## BoQ1
Government eProcurement System Created By: MRUNALINI CHAWARE Created Date/Time: 28-Aug-2023 05:01 PM Tender Title: Construction Power Works Tender ID: 2023_GAIL_161143_1
Tender Inviting Authority: GAIL INDIA LTD.
Name of Work: Construction Power Works at GAIL Usar
Contract No: GAIL/Usar/C&P/2023-24/C08 (2023_GAIL_161143)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PRIME ENGINEERS(GSTN-24ANMPS9053Q1Z0) |  | Konstelec Engineers Pvt. Ltd.(GSTN-27AAACK2747D1ZS) |  | DQBYDT PVT LTD(GSTN-09AAFCD6296H1Z8)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUPPLY OF MV & HV CABLES
1.10 | Supply of 3.5 C x 50 sq. mm 1100 V grade, Aluminium Conductor, XLPE insulated and armoured, cables as per specification No. 6-51-0051, data sheets, specifications of this tender and directions of Engineer-in- Charge. | 3500.00 | M |  | 385.00 | 1347500.00 | 309.00 | 1081500.00 | 397.00 | 1389500.00 | 1081500.00 | Konstelec Engineers Pvt. Ltd.
1.20 | Supply of 3 C x 300 sq. mm Al 6.6 kV (UE) grade, Al Conductor, XLPE insulated and armoured cable as per Specification No. 6-51-0051, data sheets, specifications of this tender and directions of Engineer-in- Charge. | 3500.00 | M |  | 3250.00 | 11375000.00 | 1859.00 | 6506500.00 | 2617.00 | 9159500.00 | 6506500.00 | Konstelec Engineers Pvt. Ltd.
2.00 | LAYING OF MV & HV CABLES (Laying of cables of different voltage grade and types of the following overall diameters in ready trays/trenches/supported on structure/pull through pipes including supply and fixing of stainless steel strip number tags, supply and applying of fireproofing paint to meet OISD requirement (for 1m length near terminations), supply and fixing of GI saddles and saddle bars etc., including transportation from store/yard to site at the place of installation, unpacking, including all labour and materials as per specifications of this tender and directions of Engineer-in-Charge)
2.10 | Cables with OD above 20 mm but upto 30 mm. | 3500.00 | M |  | 45.00 | 157500.00 | 63.00 | 220500.00 | 97.00 | 339500.00 | 157500.00 | PRIME ENGINEERS
2.20 | Cables with OD above 60 mm but upto 80 mm. | 3000.00 | M |  | 90.00 | 270000.00 | 158.00 | 474000.00 | 145.00 | 435000.00 | 270000.00 | PRIME ENGINEERS
3.00 | SUPPLY AND LAYING OF GI PIPES Supply and laying of following sizes of G.I. Pipes (medium) in required length fixed on steel, concrete or similar structure, laid in trenches, ready to be buried in concrete including cutting, threading, bending and similar works, supply of clamps, small iron structures, spacers and installation of seats, plugs, bushings etc., small civil works, including all labour and materials, as per specifications of this tender and directions of Engineer-in-Charge
3.10 | 50MM DIA | 50.00 | M |  | 425.00 | 21250.00 | 1243.00 | 62150.00 | 544.00 | 27200.00 | 21250.00 | PRIME ENGINEERS
3.20 | 100MM DIA | 50.00 | M |  | 1750.00 | 87500.00 | 1998.00 | 99900.00 | 1148.00 | 57400.00 | 57400.00 | DQBYDT PVT LTD
4.00 | END TERMINATIONS
4.10 | Supply of Unearthed grade 3C x 300sqmm 6.6 kV H.V. termination kits of (indoor/outdoor type) as per specification No. 6-51-0051, excluding cable glands and lugs, and as per specifications of this tender and directions of Engineer-in-Charge. | 12.00 | EA |  | 14500.00 | 174000.00 | 15384.00 | 184608.00 | 13283.00 | 159396.00 | 159396.00 | DQBYDT PVT LTD
4.20 | Termination of Unearthed grade 3C x 300sqmm 6.6 kV H.V. termination kits of (indoor/outdoor type) as per specification No. 6-51-0051, excluding cable glands and lugs, and as per specifications of this tender and directions of Engineer-in-Charge. | 12.00 | EA |  | 4500.00 | 54000.00 | 3938.00 | 47256.00 | 4830.00 | 57960.00 | 47256.00 | Konstelec Engineers Pvt. Ltd.
5.00 | STRAIGHT THROUGH JOINTS
5.10 | Supply of heat shrinkable type Straight through jointing kits for Unearthed grade 3C x 300sqmm 6.6 kV H.V. cables as per standard specification No. 6-51-0051, and specifications of this tender and directions of Engineer-in-Charge. | 10.00 | EA |  | 17500.00 | 175000.00 | 36272.00 | 362720.00 | 26565.00 | 265650.00 | 175000.00 | PRIME ENGINEERS
5.20 | Making of heat shrinkable type Straight through joint for Unearthed grade 3C x 300sqmm 6.6 kV H.V. cables as per standard specification No. 6-51-0051, and specifications of this tender and directions of Engineer-in-Charge. | 10.00 | EA |  | 4500.00 | 45000.00 | 5513.00 | 55130.00 | 4830.00 | 48300.00 | 45000.00 | PRIME ENGINEERS
5.30 | Supply and making of heat shrinkable type straight through jointing kit for 3.5C x 50sqmm 1100V grade cables as per specification No. 6-51-0051and specifications of this tender and directions of Engineer-in-Charge. | 6.00 | EA |  | 3500.00 | 21000.00 | 5022.00 | 30132.00 | 9660.00 | 57960.00 | 21000.00 | PRIME ENGINEERS
6.00 | CABLE LUGS
6.10 | Supply of crimping type long barrel shaped aluminium lugs for the conductor size 300 sq.mm. (Al conductor) as per approved drawings, specifications of this tender and directions of Engineer-in- Charge. | 50.00 | EA |  | 275.00 | 13750.00 | 656.00 | 32800.00 | 845.00 | 42250.00 | 13750.00 | PRIME ENGINEERS
6.20 | Supply of crimping type long barrel shaped aluminium lugs for the conductor size 50 sq.mm. (Al conductor) as per approved drawings, specifications of this tender and directions of Engineer-in-Charge. | 50.00 | EA |  | 75.00 | 3750.00 | 85.00 | 4250.00 | 483.00 | 24150.00 | 3750.00 | PRIME ENGINEERS
7.00 | TESTING, CALIBRATION AND COMMISSIONING OF CSS
7.10 | Testing and commisioning of construction sub station (6.6kV, 500kVA) including calibration of all relays and meters consisitng of 3-way Ring Mains Unit (RMU) with load break switch/isolator. SF6 breaker and protection relay for oil filled transformer, MV switchboards and power factor improvement capacitors. Testing of CSS includes but not limited to the following activities: 1. Complete testing of 500kVA 6.6kV/415V oil filled transformer which includes IR Test, Turns Ratio Test, Magnetic Balance Test, Vector Group Test 2. Testing of Protection Relay-CDG14, Auxiliary Relay-VAA33, Tripping Relay VAJH13 3. Calibration and testing of 05No. of Digital Energy Meters Approval from CEA/any other statutory approval for charging of construction substation | 2.00 | EA |  | 175000.00 | 350000.00 | 78750.00 | 157500.00 | 422625.00 | 845250.00 | 157500.00 | Konstelec Engineers Pvt. Ltd.
7.20 | Testing and Calibration of digital energy meters | 100.00 | EA |  | 5500.00 | 550000.00 | 3150.00 | 315000.00 | 4830.00 | 483000.00 | 315000.00 | Konstelec Engineers Pvt. Ltd.
8.00 | EARTH PITS
8.10 | Supply, installation, testing and commissioning of GI earth electrodes, complete with earth pit as per std. 7-51- 0102 and all necessary materials including excavation of earth pit, back filling, providing necessary brickwork, connections, including all labour and materials, as per specifications of this tender and directions of Engineer-in-Charge. Chamber shall be provided for earth pits with MS hinged cover. | 8.00 | EA |  | 19500.00 | 156000.00 | 19031.00 | 152248.00 | 14490.00 | 115920.00 | 115920.00 | DQBYDT PVT LTD
9.00 | EARTH STRIPS
9.10 | Supply, installation and connection of 50 x 6mm GI earthing strip including welding at joints, providing anti-corrosive paintor bitumen and jute covering for welded portion, clamping and necessary hardware for connecting, excavation and refilling etc., including all labour and materials, as per approved drawings, specifications of this tender and directions of Engineer-in-Charge. | 200.00 | M |  | 325.00 | 65000.00 | 459.00 | 91800.00 | 242.00 | 48400.00 | 48400.00 | DQBYDT PVT LTD
10.00 | CIVIL WORKS EXCAVATION AND BACKFILLING
10.10 | Excavation and backfilling of trenches in all type of soil except rock for cables andearth strip etc. , for a maximum depth of 1.5 m, shoring, shuttering and dewatering (if necessary) including consolidation and disposal of surplus earth up to a distance of 30 m, including all labour and materials, as per approved drawings, specifications of this tender and directions of Engineer-in-Charge. (Excavated trench dimensions shall be measured). | 2000.00 | CUM |  | 295.00 | 590000.00 | 551.00 | 1102000.00 | 393.00 | 786000.00 | 590000.00 | PRIME ENGINEERS
10.20 | Supply and spreading of approved stone dust (Grading Zone-II as per IS383) in cable trenches, including all labour and materials, specifications of this tender and directions of Engineer-in-Charge. | 1000.00 | CUM |  | 2750.00 | 2750000.00 | 2373.00 | 2373000.00 | 1570.00 | 1570000.00 | 1570000.00 | DQBYDT PVT LTD
10.30 | Supply and spreading of approved second class bricks of 75 mm thickness in cable trenches for cable protection, including all labour and materials, as per approved drawings, specifications of this tender and directions of Engineer-in-Charge. (Actual area of laid brick surfaces shall be measured). | 1000.00 | SQM |  | 750.00 | 750000.00 | 630.00 | 630000.00 | 725.00 | 725000.00 | 630000.00 | Konstelec Engineers Pvt. Ltd.
11.00 | CHAIN LINK FENCING
11.10 | Supplying, fabricating and fixing G.I. chain link fencing with 3.15mm dia. wire, 50x50mm diamond mesh chain link fence fabric conforming to IS:2721 fixed to CS pipe posts/struts above ground level, including supply of chain link fencing fabric in 1.9 metre wide rolls, stretcher bars, staples, etc. required for fixing the fencing, fixing of chain link fencing between straining posts, fixing of bottom of fencing to a concrete sill beams by means of hairpin staples, including supply and fixing line wires, complete as per drawings, specifications and directions of Engineer -in-Charge (All materials shall be supplied by Contractor). (The measurement of chain link fencing shall be on linear basis for 1.9 m wide fencing fabric) | 60.00 | M |  | 3500.00 | 210000.00 | 3150.00 | 189000.00 | 604.00 | 36240.00 | 36240.00 | DQBYDT PVT LTD
11.20 | Providing and fixing in position wicket gate in fencing manufactured out of carbon steel pipes of dia 32 mm (medium as per IS;1239) and 50mmX25mmX10 gauge welded wire mesh, hinged to ISMB100 with squre ring steel for smooth operation including providing and fixing all clamps, bolts and locking arrangements etc. complete as per drawing, including painting with two coats of anticorrosive paint and two coats of approved aluminium/synthetic enamel paint etc. complete as per drawing, specification and direction of engineer-in-charge. (Including supply and erection of steel posts made of ISMB 100) | 2.00 | EA |  | 6500.00 | 13000.00 | 157500.00 | 315000.00 | 30188.00 | 60376.00 | 13000.00 | PRIME ENGINEERS
11.30 | Providing Carbon Steel (CS) pipe posts and struts of 2.5 inch dia (medium duty) as per IS1239 part-1 including all leads and levels with holes, cap, fittings & fixtures for fixing of chain link fencing, cleats, transportation to site, aligning and fixing in position, etc. complete as per drawings, specifications and instructions of Engineer-in- Charge. (All materials including CS pipe posts and struts shall be supplied by the contractor) | 20.00 | EA |  | 1750.00 | 35000.00 | 4725.00 | 94500.00 | 8453.00 | 169060.00 | 35000.00 | PRIME ENGINEERS
11.40 | Supplying & Laying interlocking Paver Blocks for roads, footpaths and any other place etc. including providing 50 mm thick sand filling below Paver Blocks including compaction of sand layer, filling the joints by dry sand, providing precast kerb stone of PCC M-20 at edges, including preparation of compacted sub-grade etc. all complete as per drawing, standard and directions of Engineer-in-Charge. (All material including cement supplied by contractor, paver blocks shall confirm to IS: 15658. Colour and shape of paver block shall be as per Owner requirement.). For 60MM thickness of paver blocks | 140.00 | SQM |  | 2750.00 | 385000.00 | 866.00 | 121240.00 | 1056.00 | 147840.00 | 121240.00 | Konstelec Engineers Pvt. Ltd.
11.50 | Providing and laying plain cement concrete in sill beam of size 230 mm width and 300 mm depth of M-20 grade at ground level below chain link fencing including tamping, curing, shuttering, embedding of any fixture etc. complete as per drawings, specifications and directions of Engineer-in-Charge..ALL MATERIALS INCLUDING CEMENT SUPPLIED BY THE CONTRACTOR. | 6.00 | CUM |  | 8500.00 | 51000.00 | 15750.00 | 94500.00 | 7849.00 | 47094.00 | 47094.00 | DQBYDT PVT LTD
11.60 | Providing and laying PLAIN CEMENT CONCRETE for all depths below and upto plinth level in foundations,drains, fillings, non-suspended floors, pavements & ramps or any other works etc. including shuttering, tamping, ramming, vibrating, curing, etc. all as specified in any shape, position, thickness and finishing the top surface rough or smooth as specified and directed. All complete for concrete grade M20 with 20mm and down size graded crushed stone aggaregates/Gravels.ALL MATERIALS INCLUDING CEMENT SUPPLIED BY THE CONTRACTOR. | 10.00 | CUM |  | 8500.00 | 85000.00 | 15750.00 | 157500.00 | 6641.00 | 66410.00 | 66410.00 | DQBYDT PVT LTD
12.00 | MARKERS
12.10 | Supply and installation of cable markers as per std. 7-51- 0301, for underground cable runs with 14 SWG enamelled steel plate with white lettering on jade green background inclusive of providing and fixing supports, including all labour and materials, as per specifications of this tender and directions of Engineer-in-Charge. | 50.00 | EA |  | 2350.00 | 117500.00 | 1522.00 | 76100.00 | 2174.00 | 108700.00 | 76100.00 | Konstelec Engineers Pvt. Ltd.
| Total in Figures |  |  |  |  | 19852750.00 |  | 15030834.00 |  | 17273056.00
Lowest Amount Quoted BY: Konstelec Engineers Pvt. Ltd.(15030834.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction Power Works Tender ID: 2023_GAIL_161143_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Konstelec Engineers Pvt. Ltd. | 15030834.00 | L1
| 2 | DQBYDT PVT LTD | 17273056.00 | L2
| 3 | PRIME ENGINEERS | 19852750.00 | L3

## Preferential Bidder BOQ Summary
Preferential Bidder Non-Itemwise BOQ Summary Details Tender Title: Construction Power Works Tender ID: 2023_GAIL_161143_1
Sheet Name | Sl.No | Bidder Name | Amount | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
BoQ1 | 1 | Konstelec Engineers Pvt. Ltd. | 15030834.00 |  |  | 20.00% | Make in India
| 2 | DQBYDT PVT LTD | 17273056.00
| 3 | PRIME ENGINEERS | 19852750.00