## BoQ1
Government eProcurement System Created By: BISHAR BIN ALI Created Date/Time: 18-Sep-2023 03:32 PM Tender Title: SERVICE CONTRACT FOR DESIGN, SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF AND MODIFICATION OF EXISTING OFFGRID PHOTOVOLTAIC SOLAR POWER PLANT TO ONGRID POWER PLANT WITH NET METERING Tender ID: 2023_GAIL_161634_1
Tender Inviting Authority: GAIL INDIA LTD
Name of Work: SERVICE CONTRACT FOR DESIGN, SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF AND MODIFICATION OF EXISTING OFFGRID PHOTOVOLTAIC SOLAR POWER PLANT TO ONGRID POWER PLANT WITH NET METERING
Contract No: 2023_GAIL_161634
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Naturetech Infrastruture Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply and Installation of Inverter Supply and Installation of suitable Inverter units for existing solar power system to match with combiner current of 24/30A (3 strings each from existing AJB each string with 8.3A. All works and materials are in the scope of contractor. | 1.00 | SET |  | 200000.00 | 200000.00 | 200000.00 | Naturetech Infrastruture Pvt. Ltd.
2.00 | Supply and installation DCDB with MCCB Supply and installation of DCDB with MCCB to switch the strings from one inverter to another as per existing scheme SLD - Redundancy system. All works and materials are in the scope of contractor. | 1.00 | SET |  | 35000.00 | 35000.00 | 35000.00 | Naturetech Infrastruture Pvt. Ltd.
3.00 | Supply and laying copper cable Supply and laying copper cable (Red & Black) 50 sq.mm for DC power (to be laid from AJB from roof top to control room, 2pairs and associated conduit pipes etc. (same cross section of existing cable). All works and materials are in the scope of contractor | 100.00 | Mtr |  | 3000.00 | 300000.00 | 300000.00 | Naturetech Infrastruture Pvt. Ltd.
4.00 | Supply & instalaltion Mounting arrangmt Supply and installation of mounting arrangements, supports 1. For DCDB, ACDB mounted on stand one above the other due to space constraints. 2. Inverter mounted on stand on above the other due to space constraints. All works and materials are in the scope of contractor | 1.00 | SET |  | 20000.00 | 20000.00 | 20000.00 | Naturetech Infrastruture Pvt. Ltd.
5.00 | Supply and laying of power cable Supply and laying of power cable for AC power 4core x 10 sq.mm copper armoured cable from ACDB to LT panel. All works and materials are in the scope of contractor. | 25.00 | Mtr |  | 800.00 | 20000.00 | 20000.00 | Naturetech Infrastruture Pvt. Ltd.
6.00 | Supply and installation of Metering Supply and installation of metering cubicle with TWO energy meters (one main meter & other check meter). All works and materials are in the scope of contractor | 1.00 | SET |  | 80000.00 | 80000.00 | 80000.00 | Naturetech Infrastruture Pvt. Ltd.
7.00 | Supply & installation solar energy meter Supply and installation of solar power generation energy meter. All works and materials are in the scope of contractor | 1.00 | Nos |  | 20000.00 | 20000.00 | 20000.00 | Naturetech Infrastruture Pvt. Ltd.
8.00 | Liasoning charges for statutory apprl Liasoning charges for obtaining statutory approvals and statutory payments etc., for solar power Net metering work from BESCOM & Electrical Inspector. | 1.00 | LS |  | 70000.00 | 70000.00 | 70000.00 | Naturetech Infrastruture Pvt. Ltd.
| Total in Figures |  |  |  |  | 745000.00
Lowest Amount Quoted BY: Naturetech Infrastruture Pvt. Ltd.(745000.00)

## BOQ Summary
BOQ Summary Details Tender Title: SERVICE CONTRACT FOR DESIGN, SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF AND MODIFICATION OF EXISTING OFFGRID PHOTOVOLTAIC SOLAR POWER PLANT TO ONGRID POWER PLANT WITH NET METERING Tender ID: 2023_GAIL_161634_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Naturetech Infrastruture Pvt. Ltd. | 745000.00 | L1