## BoQ1
Government eProcurement System Created By: ANKIT SHARMA Created Date/Time: 03-Nov-2023 04:04 PM Tender Title: SUPPLY AND INSTALLATION OF TELECOM AND SCADA EQUIPMENTS FOR EXTENDING DATA CONNECTIVITY TO UPCOMING CGD HOOKUPS AND LAST MILE CONNECTIVITIES IN SOUTHERN REGION ON ARC BASIS Tender ID: 2023_GAIL_164593_1
Tender Inviting Authority:
Name of Work: SUPPLY & INSTALLATION OF TELECOM & SCADA EQUIPMENTS FOR EXTENDING DATA CONNECTIVITY TO UPCOMING CGD HOOKUPS & LAST MILE CONNECTIVITIES IN SOUTHERN REGION ON ARC BASIS
Contract No: GAIL/NOIDA/PROJ/C&P/TELECOM/ ARC/SOUTHERN/23-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SITRA INFOTECH PVT. LTD.(GSTN-NA) |  | Eratronics Pvt Ltd(GSTN-NA) |  | ADITEL COMMUNICATIONS(GSTN-NA) |  | Aver Solutions and Global Services Private Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PART 1 - Supply
2.00 | Supply of SDH- STM1 equipment | 4.00 | nos |  | 1260000.00 | 5947200.00 | 523292.39 | 2482351.84 | 701935.00 | 3313133.20 | 640599.00 | 3084099.92 | 2482351.84 | Eratronics Pvt Ltd
3.00 | Supply of IP/MPLS type transport device | 1.00 | nos |  | 252000.00 | 297360.00 | 235068.75 | 278775.01 | 473510.00 | 558741.80 | 1639718.00 | 1973565.34 | 278775.01 | Eratronics Pvt Ltd
4.00 | Industrial grade MPLS-TP Switch | 2.00 | nos |  | 10800.00 | 25488.00 | 945250.00 | 2242000.00 | 1869660.00 | 4412397.60 | 91775.00 | 220921.96 | 25488.00 | SITRA INFOTECH PVT. LTD.
5.00 | AC-DC (230 V AC to 48 V DC) SMPS-TYPE AC-DC 240VAC/48 V DC,18 | 4.00 | nos |  | 14400.00 | 67968.00 | 54725.00 | 259600.00 | 65321.00 | 308315.12 | 29656.00 | 142780.00 | 67968.00 | SITRA INFOTECH PVT. LTD.
6.00 | POWER SUPPLY MODULE,24 VDC | 4.00 | nos |  | 30600.00 | 144432.00 | 50993.75 | 241900.04 | 60275.00 | 284498.00 | 11621.00 | 55950.88 | 55950.88 | Aver Solutions and Global Services Private Limited
7.00 | CONVERTERS,DC-DC,48-24VDC,8A | 18.00 | nos |  | 18000.00 | 382320.00 | 69973.38 | 1493703.18 | 84111.00 | 1786517.64 | 12380.00 | 268218.72 | 268218.72 | Aver Solutions and Global Services Private Limited
8.00 | CONVERTER,24VTO48VDC,500W | 2.00 | nos |  | 16200.00 | 38232.00 | 47486.38 | 112631.02 | 53878.00 | 127152.08 | 17242.00 | 41505.32 | 38232.00 | SITRA INFOTECH PVT. LTD.
9.00 | Supply of battery charger with battery backup | 2.00 | nos |  | 522000.00 | 1231920.00 | 208950.00 | 495600.00 | 239276.00 | 564691.36 | 13000.00 | 31293.60 | 31293.60 | Aver Solutions and Global Services Private Limited
10.00 | Supply of porta cabin | 4.00 | nos |  | 396000.00 | 1869120.00 | 245765.00 | 1165840.00 | 338895.00 | 1599584.40 | 284483.00 | 1369616.56 | 1165840.00 | Eratronics Pvt Ltd
11.00 | Supply of LCT | 1.00 | nos |  | 180000.00 | 212400.00 | 89550.00 | 106200.00 | 80613.00 | 95123.34 | 110000.00 | 132396.00 | 95123.34 | ADITEL COMMUNICATIONS
12.00 | Supply of equipment racks | 2.00 | nos |  | 90000.00 | 212400.00 | 58207.50 | 138060.00 | 68753.00 | 162257.08 | 350000.00 | 842520.00 | 138060.00 | Eratronics Pvt Ltd
13.00 | Supply of solar panel with battery back up 300 W | 2.00 | nos |  | 18900.00 | 44604.00 | 859680.00 | 2039040.00 | 979688.00 | 2312063.68 | 14794.00 | 35612.40 | 35612.40 | Aver Solutions and Global Services Private Limited
14.00 | Supply of solar panel with battery back up 200 W | 10.00 | nos |  | 18000.00 | 212400.00 | 722270.50 | 8565620.00 | 852860.00 | 10063748.00 | 10690.00 | 128667.20 | 128667.20 | Aver Solutions and Global Services Private Limited
15.00 | Supply of solar panel with battery back up 50 W | 1.00 | nos |  | 9000.00 | 10620.00 | 201487.50 | 238950.00 | 239850.00 | 283023.00 | 5173.00 | 6226.86 | 6226.86 | Aver Solutions and Global Services Private Limited
16.00 | Supply of explosion proof telephone | 2.00 | nos |  | 5400.00 | 12744.00 | 87311.25 | 207090.02 | 102235.00 | 241274.60 | 5776.00 | 13905.12 | 12744.00 | SITRA INFOTECH PVT. LTD.
17.00 | Supply of weatherproof telephone | 2.00 | nos |  | 5400.00 | 12744.00 | 63381.50 | 150332.00 | 72762.00 | 171718.32 | 1638.00 | 3943.56 | 3943.56 | Aver Solutions and Global Services Private Limited
18.00 | Supply of acoustic half hood booth | 2.00 | nos |  | 18900.00 | 44604.00 | 40297.50 | 95580.00 | 46782.00 | 110405.52 | 1897.00 | 4566.60 | 4566.60 | Aver Solutions and Global Services Private Limited
19.00 | Supply of multi-paired armoured cable | 3500.00 | mtrs |  | 270.00 | 1115100.00 | 139.30 | 578200.00 | 163.00 | 673190.00 | 709.00 | 2990120.00 | 578200.00 | Eratronics Pvt Ltd
20.00 | Supply of 6 Twisted Pair, 1.5 Sq. mm ( 12 Core ), Overall Aluminium Mylar Tape Shielded with drain wire | 1000.00 | mtrs |  | 252.00 | 297360.00 | 470.14 | 557550.00 | 550.00 | 649000.00 | 579.00 | 697380.00 | 297360.00 | SITRA INFOTECH PVT. LTD.
21.00 | Supply of 6 Twisted Pair, 0.50 Sq. mm ( 12 Core ) Individual Pair and Overall Aluminium Mylar Tape Shielded with drain wire | 500.00 | mtrs |  | 180.00 | 106200.00 | 346.26 | 205320.00 | 407.00 | 240130.00 | 366.00 | 220660.00 | 106200.00 | SITRA INFOTECH PVT. LTD.
22.00 | Supply of Telemetry Interface Cabinet (TIC) | 1.00 | Nos |  | 270000.00 | 318600.00 | 415371.11 | 492600.91 | 733929.00 | 866036.22 | 350000.00 | 421260.00 | 318600.00 | SITRA INFOTECH PVT. LTD.
23.00 | Supply of analog phones | 15.00 | nos |  | 2700.00 | 47790.00 | 1776.08 | 31594.65 | 1872.00 | 33134.40 | 2500.00 | 45135.00 | 31594.65 | Eratronics Pvt Ltd
24.00 | Supply of FXO Gateway | 20.00 | nos |  | 22500.00 | 531000.00 | 33183.25 | 787060.20 | 39429.00 | 930524.40 | 95000.00 | 2286840.00 | 531000.00 | SITRA INFOTECH PVT. LTD.
25.00 | Supply of FXS Gateway | 20.00 | nos |  | 22500.00 | 531000.00 | 23631.25 | 560500.20 | 27834.00 | 656882.40 | 95000.00 | 2286840.00 | 531000.00 | SITRA INFOTECH PVT. LTD.
26.00 | Supply of Ethernet Industrial switch 8 port | 46.00 | nos |  | 54000.00 | 2931120.00 | 139300.00 | 7599200.00 | 162362.00 | 8813009.36 | 85000.00 | 4706076.00 | 2931120.00 | SITRA INFOTECH PVT. LTD.
27.00 | Supply of RTU | 1.00 | nos |  | 540000.00 | 637200.00 | 731325.00 | 867300.00 | 859950.00 | 1014741.00 | 1268432.00 | 1526685.18 | 637200.00 | SITRA INFOTECH PVT. LTD.
28.00 | Supply of mini RTU | 5.00 | nos |  | 405000.00 | 2389500.00 | 241237.75 | 1430455.05 | 357939.00 | 2111840.10 | 225000.00 | 1354050.00 | 1354050.00 | Aver Solutions and Global Services Private Limited
29.00 | Supply of mini RTU with outdoor enclosure, Power supply convertor and switch for connectivity to small consumers. | 5.00 | nos |  | 540000.00 | 3186000.00 | 400234.77 | 2373251.40 | 564154.00 | 3328508.60 | 385000.00 | 2316930.00 | 2316930.00 | Aver Solutions and Global Services Private Limited
30.00 | Supply of FTC | 20.00 | nos |  | 12600.00 | 297360.00 | 15783.19 | 374355.00 | 18691.00 | 441107.60 | 10000.00 | 240720.00 | 240720.00 | Aver Solutions and Global Services Private Limited
31.00 | Supply of joint closures | 5.00 | nos |  | 2700.00 | 15930.00 | 4139.20 | 24544.00 | 4887.00 | 28833.30 | 8000.00 | 48144.00 | 15930.00 | SITRA INFOTECH PVT. LTD.
32.00 | Supply of IP camera CCTV CAMERA FIXED TYPE,WITH HOUSING | 24.00 | nos |  | 55800.00 | 1580256.00 | 83057.63 | 2364012.24 | 100228.00 | 2838456.96 | 45000.00 | 1299888.00 | 1299888.00 | Aver Solutions and Global Services Private Limited
33.00 | Supply of spares for telecom SPARE,F\SDH(STM-1,STM-4,STM16) | 1.00 | SET |  | 180000.00 | 212400.00 | 248750.00 | 295000.00 | 355234.00 | 419176.12 | 2254137.00 | 2713079.60 | 212400.00 | SITRA INFOTECH PVT. LTD.
34.00 | Supply of spares for RTU AI, DI, AO,DO,CPU CARD | 1.00 | SET |  | 360000.00 | 424800.00 | 138792.55 | 164598.20 | 295000.00 | 348100.00 | 366000.00 | 440517.60 | 164598.20 | Eratronics Pvt Ltd
35.00 | Supply of ethernet to serial converter | 40.00 | nos |  | 12600.00 | 594720.00 | 36068.75 | 1711000.40 | 52068.00 | 2457609.60 | 25900.00 | 1246929.60 | 594720.00 | SITRA INFOTECH PVT. LTD.
36.00 | Supply of optical to serial convereter | 8.00 | nos |  | 12600.00 | 118944.00 | 58456.25 | 554600.08 | 75809.00 | 715636.96 | 212800.00 | 2049008.64 | 118944.00 | SITRA INFOTECH PVT. LTD.
37.00 | Supply of RS 232 to RS 422/RS485 converter | 6.00 | nos |  | 9000.00 | 63720.00 | 10746.00 | 76464.00 | 11000.00 | 77880.00 | 17270.00 | 124721.28 | 63720.00 | SITRA INFOTECH PVT. LTD.
38.00 | Optical to Ethernet converter | 6.00 | nos. |  | 13500.00 | 95580.00 | 44775.00 | 318600.00 | 53457.00 | 378475.56 | 18660.00 | 134760.72 | 95580.00 | SITRA INFOTECH PVT. LTD.
39.00 | Supply of Out door equipment panel-type-2 | 12.00 | nos |  | 234000.00 | 3313440.00 | 276858.75 | 3940020.12 | 320404.00 | 4536920.64 | 590000.00 | 8521488.00 | 3313440.00 | SITRA INFOTECH PVT. LTD.
40.00 | Supply of Field Mounted enclosure conforming IP-66 | 2.00 | nos |  | 144000.00 | 339840.00 | 44775.00 | 106200.00 | 50877.00 | 120069.72 | 390000.00 | 938808.00 | 106200.00 | Eratronics Pvt Ltd
41.00 | GPRS MODEMS | 10.00 | nos |  | 16200.00 | 191160.00 | 36218.00 | 429520.00 | 37490.00 | 442382.00 | 85000.00 | 1023060.00 | 191160.00 | SITRA INFOTECH PVT. LTD.
42.00 | POE/POE+ MANAGED INDUSTRIAL SWITCH (ATEX) | 4.00 | nos |  | 72000.00 | 339840.00 | 191040.00 | 906240.00 | 181629.00 | 857288.88 | 230000.00 | 1107312.00 | 339840.00 | SITRA INFOTECH PVT. LTD.
43.00 | CABLE,OFC | 8000.00 | MTR |  | 90.00 | 849600.00 | 103.48 | 981760.00 | 94.00 | 887360.00 | 65.00 | 632480.00 | 632480.00 | Aver Solutions and Global Services Private Limited
44.00 | Total price including all costs, freight, insurance till commissioning, GST etc.
45.00 | PART 2 - Site work
46.00 | Installation & commissioning of telecom system for each site | 4.00 | lot |  | 180000.00 | 849600.00 | 20000.00 | 94400.00 | 128000.00 | 604160.00 | 45000.00 | 212400.00 | 94400.00 | Eratronics Pvt Ltd
47.00 | Integration of SDH equipment with existing NMS | 4.00 | nos |  | 144000.00 | 679680.00 | 5000.00 | 23600.00 | 18000.00 | 84960.00 | 45000.00 | 212400.00 | 23600.00 | Eratronics Pvt Ltd
48.00 | Installation of IP/MPLS equipment | 1.00 | nos |  | 90000.00 | 106200.00 | 20000.00 | 23600.00 | 71300.00 | 84134.00 | 45000.00 | 53100.00 | 23600.00 | Eratronics Pvt Ltd
49.00 | Integration of IP/MPLS equipment with existing NMS | 1.00 | nos |  | 90000.00 | 106200.00 | 5000.00 | 5900.00 | 16500.00 | 19470.00 | 45000.00 | 53100.00 | 5900.00 | Eratronics Pvt Ltd
50.00 | Installation of MPLS/TP equipment | 2.00 | nos |  | 45000.00 | 106200.00 | 20000.00 | 47200.00 | 81500.00 | 192340.00 | 45000.00 | 106200.00 | 47200.00 | Eratronics Pvt Ltd
51.00 | Integration of MPLS/TP equipment | 2.00 | nos |  | 45000.00 | 106200.00 | 5000.00 | 11800.00 | 17000.00 | 40120.00 | 45000.00 | 106200.00 | 11800.00 | Eratronics Pvt Ltd
52.00 | Installation and commissioning of solar system | 13.00 | Lot |  | 27000.00 | 414180.00 | 49800.00 | 763932.00 | 78340.00 | 1201735.60 | 65000.00 | 997100.00 | 414180.00 | SITRA INFOTECH PVT. LTD.
53.00 | Installation of porta cabin | 4.00 | nos |  | 45000.00 | 212400.00 | 33200.00 | 156704.00 | 67463.00 | 318425.36 | 100000.00 | 472000.00 | 156704.00 | Eratronics Pvt Ltd
54.00 | Laying and termination of armoured telephone cable | 3500.00 | mtrs |  | 45.00 | 185850.00 | 37.35 | 154245.00 | 62.00 | 256060.00 | 100.00 | 413000.00 | 154245.00 | Eratronics Pvt Ltd
55.00 | Installation and configuration of converter/switch and interfacing of same with flow computer and integration with SCADA system | 60.00 | nos |  | 1800.00 | 127440.00 | 33200.00 | 2350560.00 | 51635.00 | 3655758.00 | 15000.00 | 1062000.00 | 127440.00 | SITRA INFOTECH PVT. LTD.
56.00 | Installation of TIC Panel | 1.00 | nos |  | 45000.00 | 53100.00 | 33200.00 | 39176.00 | 65000.00 | 76700.00 | 45000.00 | 53100.00 | 39176.00 | Eratronics Pvt Ltd
57.00 | Design, engineering and submission of documents | 12.00 | nos |  | 27000.00 | 382320.00 | 4150.00 | 58764.00 | 2000.00 | 28320.00 | 30000.00 | 424800.00 | 28320.00 | ADITEL COMMUNICATIONS
58.00 | Testing of OFC and submission of reports | 12.00 | lots |  | 22500.00 | 318600.00 | 16600.00 | 235056.00 | 10500.00 | 148680.00 | 15000.00 | 212400.00 | 148680.00 | ADITEL COMMUNICATIONS
59.00 | Earthing works | 12.00 | lots |  | 10800.00 | 152928.00 | 41500.00 | 587640.00 | 80305.00 | 1137118.80 | 25000.00 | 354000.00 | 152928.00 | SITRA INFOTECH PVT. LTD.
60.00 | Installation, Commissioning and testing of Instrumentation cable | 1500.00 | lots |  | 1800.00 | 3186000.00 | 207.50 | 367275.00 | 290.00 | 513300.00 | 100.00 | 177000.00 | 177000.00 | Aver Solutions and Global Services Private Limited
61.00 | Installation, Commissioning and inetgration of RTUs in existing SCADA server | 1.00 | lots |  | 1800000.00 | 2124000.00 | 53950.00 | 63661.00 | 72105.00 | 85083.90 | 65000.00 | 76700.00 | 63661.00 | Eratronics Pvt Ltd
62.00 | Installation, Commissioning and inetgration of mini RTUs in existing SCADA server | 5.00 | lots |  | 108000.00 | 637200.00 | 53950.00 | 318305.00 | 72105.00 | 425419.50 | 65000.00 | 383500.00 | 318305.00 | Eratronics Pvt Ltd
63.00 | Installation, Commissioning and inetgration of mini RTUs in existing SCADA server with outdoor enclosure, Power supply convertor and switch for connectivity to small consumers. | 5.00 | lots |  | 108000.00 | 637200.00 | 53950.00 | 318305.00 | 82700.00 | 487930.00 | 65000.00 | 383500.00 | 318305.00 | Eratronics Pvt Ltd
64.00 | Installation and integration of IP cameras | 24.00 | nos |  | 4500.00 | 127440.00 | 20750.00 | 587640.00 | 22293.00 | 631337.76 | 30000.00 | 849600.00 | 127440.00 | SITRA INFOTECH PVT. LTD.
65.00 | Installation of GPRS Modems | 10.00 | nos |  | 3600.00 | 42480.00 | 16600.00 | 195880.00 | 6500.00 | 76700.00 | 30000.00 | 354000.00 | 42480.00 | SITRA INFOTECH PVT. LTD.
66.00 | Extending of leased lines for 1000 km distance including modems (one ethernet interface & one E1 interface for LAN) at both ends | 2.00 | lots |  | 27000.00 | 63720.00 | 124500.00 | 293820.00 | 205000.00 | 483800.00 | 250000.00 | 590000.00 | 63720.00 | SITRA INFOTECH PVT. LTD.
67.00 | Rectification of OFC including supply of joint pit with identification of fault and testing of OF cable | 10.00 | lots |  | 18000.00 | 212400.00 | 20750.00 | 244850.00 | 10500.00 | 123900.00 | 20000.00 | 236000.00 | 123900.00 | ADITEL COMMUNICATIONS
68.00 | Installation of outdoor panel | 12.00 | nos |  | 45000.00 | 637200.00 | 20750.00 | 293820.00 | 29500.00 | 417720.00 | 45000.00 | 637200.00 | 293820.00 | Eratronics Pvt Ltd
69.00 | Transportation charges for Free Issue Material | 2000.00 | Kms |  | 45.00 | 106200.00 | 31.54 | 74440.00 | 45.00 | 106200.00 | 100.00 | 236000.00 | 74440.00 | Eratronics Pvt Ltd
70.00 | Laying of HDPE duct through HDD method | 1000.00 | m |  | 360.00 | 424800.00 | 498.00 | 587640.00 | 595.00 | 702100.00 | 100.00 | 118000.00 | 118000.00 | Aver Solutions and Global Services Private Limited
71.00 | Laying of HDPE through direct trench method | 2000.00 | m |  | 90.00 | 212400.00 | 332.00 | 783520.00 | 391.00 | 922760.00 | 95.00 | 224200.00 | 212400.00 | SITRA INFOTECH PVT. LTD.
72.00 | Point to Point Radio communication | 6.00 | MON |  | 9000.00 | 63720.00 | 215800.00 | 1527864.00 | 260392.00 | 1843575.36 | 65000.00 | 460200.00 | 63720.00 | SITRA INFOTECH PVT. LTD.
73.00 | Laying of OFC Cable ( if OFC supplied as) | 1000.00 | m |  | 90.00 | 106200.00 | 332.00 | 391760.00 | 349.00 | 411820.00 | 70.00 | 82600.00 | 82600.00 | Aver Solutions and Global Services Private Limited
74.00 | Blowing of OFC in duct | 3000.00 | m |  | 90.00 | 318600.00 | 99.60 | 352590.00 | 114.00 | 403560.00 | 90.00 | 318600.00 | 318600.00 | Aver Solutions and Global Services Private Limited, SITRA INFOTECH PVT. LTD.
75.00 | Manday Charges | 10.00 | Manday |  | 9000.00 | 106200.00 | 14940.00 | 176292.00 | 8000.00 | 94400.00 | 20000.00 | 236000.00 | 94400.00 | ADITEL COMMUNICATIONS
76.00 | Total price including all costs including GST for SiteWorks
77.00 | NOTE: 1. The offer shall be evaluated on package wise basis ( Supply + Site Works).
| Total in Figures |  |  |  |  | 44101674.00 |  | 59173458.56 |  | 75838526.84 |  | 57823583.66
Lowest Amount Quoted BY: SITRA INFOTECH PVT. LTD.(44101674.00)

## BOQ Summary
BOQ Summary Details Tender Title: SUPPLY AND INSTALLATION OF TELECOM AND SCADA EQUIPMENTS FOR EXTENDING DATA CONNECTIVITY TO UPCOMING CGD HOOKUPS AND LAST MILE CONNECTIVITIES IN SOUTHERN REGION ON ARC BASIS Tender ID: 2023_GAIL_164593_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SITRA INFOTECH PVT. LTD. | 44101674.00 | L1
| 2 | Aver Solutions and Global Services Private Limited | 57823583.66 | L2
| 3 | Eratronics Pvt Ltd | 59173458.56 | L3
| 4 | ADITEL COMMUNICATIONS | 75838526.84 | L4