## BoQ1
Government eProcurement System Created By: Twinkle Gour Created Date/Time: 17-Jan-2024 04:55 PM Tender Title: RENOVATION OF AIR CONDITIONING SYSTEM OF DHANWANTRI HOSPITAL AT GAIL GAON ON BUYBACK BASIS Tender ID: 2023_GAIL_168771_1
Tender Inviting Authority: GAIL INDIA LTD PATA TWINKLE GOUR
Name of Work:RENOVATION OF AIR CONDITIONING SYSTEM OF DHANWANTRI HOSPITAL AT GAIL GAON ON BUY BACK BASIS
REF. NIC TENDER No: GAIL/PA23/20113927/2023-216/TG NIC TENDER ID-2023_GAIL_168771_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Cat (A) -Items to be supply and installation
2.00 | Detailed design as per Scope of Work Clause Nos- 2&3 & Engineering including calculations of tonnage of capacity, Details Heat Load calculation, Preparation of SLD, preparation of shop drawing , Recommendation with drawings, layout drawings, Project Bar Chart of DX type Central Air- Conditioning Plant (DX Chiller + Dx Chiller -with Reversible Heat pump) for Dhanwantri Hospital at GAIL Gaon. | 1.00 | LS | 0.00 | 3800000.00 | 4484000.00 | 4484000.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED
3.00 | According to design and Scope of Work Clause Nos- 2&3, Supply, installation, testing & commissioning of DX type Central Air- Conditioning Plant (DX Chiller + Dx Chiller -with Reversible Heat pump) and Smart Air Handling units with all accessories items for Dhanwantri Hospital at GAIL Gaon. | 1.00 | LS |  | 22300000.00 | 26314000.00 | 26314000.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED
4.00 | According to design and Scope of Work Clause No-3, Supply, installation, testing & commissioning of low side accessories items like - Chilled water piping, insulation, cladding , ducting , insulation, VAV , Grilles , Diffuser ,electrical control system and Electrical air curtains, all accessories items to complete the project for Dhanwantri Hospital at GAIL Gaon. | 1.00 | LS |  | 5310000.00 | 6265800.00 | 6265800.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED
5.00 | According to design and Scope of Work, Supply, installation & commissioning of Metal False Ceiling - GI Bio guard Clip-in plain tile of nominal size (600x600mm & 120 GSM thickness) including designing of lighting system to maintain Hospital LUX level around 300 at floor level including supply and installation of recessed mounted 2x2 LED light fixtures of approved makes (Philips/ Bajaj/ Wipro/ Surya/ Syska / Orient). | 14000.00 | SQFT |  | 221.00 | 3650920.00 | 3650920.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED
6.00 | Dismantling of existing air conditioning system of AHU, ducts, grills, damper, False ceiling, Plenum etc. and shifting at designated place for installation of new AC system. | 1.00 | LS |  | 150000.00 | 177000.00 | 177000.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED
7.00 | Allied civil work of foundation of chiller/ AHU/ pumps etc. including breaking/ restoration of RCC, bricks, cutting/ pitching and final painting of all required systems with required materials. | 1.00 | LS |  | 200000.00 | 236000.00 | 236000.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED
8.00 | Supply of recommended O&M Critical spare for 2 years as per Scope of Work Clause No-6-5.2 | 1.00 | LS | 0.00 | 250000.00 | 295000.00 | 295000.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED
9.00 | Cat (B) - Buy Back Items
10.00 | Buy back price of old existing Package Air conditioners 10Ton (5x5Ton) | 6.00 | Nos | 0.00 | 100000.00 | -768000.00 | -768000.00 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 40654720.00
Lowest Amount Quoted BY: COOL EARTH HVAC ENGINEERS PRIVATE LIMITED(40654720.00)

## BOQ Summary
BOQ Summary Details Tender Title: RENOVATION OF AIR CONDITIONING SYSTEM OF DHANWANTRI HOSPITAL AT GAIL GAON ON BUYBACK BASIS Tender ID: 2023_GAIL_168771_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED | 40654720.00 | L1

## Preferential Bidder BOQ Summary
Preferential Bidder Non-Itemwise BOQ Summary Details Tender Title: RENOVATION OF AIR CONDITIONING SYSTEM OF DHANWANTRI HOSPITAL AT GAIL GAON ON BUYBACK BASIS Tender ID: 2023_GAIL_168771_1
Sheet Name | Sl.No | Bidder Name | Amount | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
BoQ1 | 1 | COOL EARTH HVAC ENGINEERS PRIVATE LIMITED | 40654720.00