## BoQ1
Government eProcurement System Created By: RAKESH SHARMA Created Date/Time: 29-Jan-2024 04:07 PM Tender Title: PROCUREMENT OF CENTRALISED SCADA SYSTEM (2 YEARS) OF GAIL (India) Limited Tender ID: 2023_GAIL_169552_1
Tender Inviting Authority: Owner -GAIL (India) Ltd.; EPMC- MECON Ltd.
Name of Work: PROCUREMENT OF CENTRALISED SCADA SYSTEM (2 YEARS)
Tender No: 05/51/Q7NT/GAIL/094 (Tender ID: 2023_GAIL_169552)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | TAS INDIA PVT.LTD(GSTN-27AAECT1391E2ZE)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PART 1- PS - SUPPLY
2.00 | The Scope of work for IP based SCADA system shall be (but not limited to) Project Management, Design, Engineering, Procurement of Materials, fabrications/ manufacturing, Inspection & Factory Acceptance Testing at works, Supply, Packaging, Shipping, Insurance, Port Handling, Custom Clearance, Transportation to store, Transportation to site, Loading, Unloading, Storage & Safety, Installation along with necessary software, installation material, cables, connectors, erection of foundation support channel on trench for panel erection, cable trays, test instruments / equipment, Site Acceptance testing & Integration, Test Run, Pre-commissioning activity, Commissioning, Integration with Telecom System, local IEDs, Training, technical support, Warranty, Post Warranty, Mandatory spares & commissioning spares, Documentation for IP based Supervisory Control & Data Acquisition (SCADA) System and shall be executed on turnkey indivisible works contract basis as per details scope of work, Technical Specification, Job specification PJS No. MEC/05/E5/T/Q7NT/PJS-094 and other documents provided in the tender. Locations suggested are tentative and will be finalized during detailed engineering. Location details will be provided after order placement or during detailed engineering. All proposed locations are tentative and may change; follow instruction of client / EIC during installation.
3.00 | Supply: Supply with all work define above
4.00 | SCADA System at CLOUD and at GAIL, Noida Location
5.00 | Design, Engineering, Supply, Integration, training, testing and commissioning of all software consisting of Operating System Software, SCADA server software, DBMS software, HMI software/ Engineering Work Station Software, SCADA EWS software, History Software, Web Server Software, OPC server software, GPRS Server software, GPS Server software, etc for complete SCADA System with redundant firewall, redundant routers, redundant switches etc. for complete SCADA system which shall be hosted on CLOUD in the form of IaaS (infrastructure as a service) along with 20 nos. web client license consisting all software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender. The cloud service shall be taken from MEITY Compliant Cloud Service provider. | 1.00 | LOT |  | 2772000.00 | 2772000.00 | 2772000.00 | TAS INDIA PVT.LTD
6.00 | Design, Engineering, Supply, Integration, training, testing and commissioning of Cloud Services in the form of IaaS (infrastructure as a service) for complete SCADA system consisting all hardware, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender. The cloud service shall be taken from MEITY Compliant Cloud Service provider. | 3.00 | Per Year |  | 1209600.00 | 3628800.00 | 3628800.00 | TAS INDIA PVT.LTD
7.00 | System Design, Engineering & Supply of Cloud Interface workstation cum web client workstation at GAIL, Noida, consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender. | 1.00 | Sets |  | 532770.84 | 532770.84 | 532770.84 | TAS INDIA PVT.LTD
8.00 | System Design, Engineering & Supply of MPLS Router with firewall (minimum 6 Nos. of 10/100/1000 MBPS ports and 2 Nos. of WAN ports) with cables & connectors etc. complete in all respects as per tender specifications and as defined in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender. | 1.00 | Sets |  | 97165.98 | 97165.98 | 97165.98 | TAS INDIA PVT.LTD
9.00 | System Design, Engineering & Supply of fully wired CRCA Consoles, consisting all Hardware, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | Sets |  | 137516.40 | 137516.40 | 137516.40 | TAS INDIA PVT.LTD
10.00 | Extended Warranty per month (The Extended Warranty is applicable only if the trail run of supplied material is completed before the completion of ARC period. All materials shall be considered to be in the custody of contractor fully insured with applicable conditions of warranty. This Extended warranty is used to extend warranty till the start of Main warranty (i.e. 24 months), which is supposed to start on completion of ARC period. (Refer Note 6 to MR) (Decision of start date & no of month extension of extended warranty will be as per instruction of client/ EIC) | 6.00 | Per Month |  | 50400.00 | 302400.00 | 302400.00 | TAS INDIA PVT.LTD
11.00 | SCADA System at Varanasi GA locations
12.00 | System Design, Engineering & Supply of Cloud Interface workstation cum web client workstation at control room, consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | Sets |  | 350070.84 | 700141.68 | 700141.68 | TAS INDIA PVT.LTD
13.00 | System Design, Engineering & Supply of dual port GPRS MODEM with dual SIM cards, accessories, all required licensed software, complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 43.00 | Sets |  | 41076.00 | 1766268.00 | 1766268.00 | TAS INDIA PVT.LTD
14.00 | System Design, Engineering & Supply of 65” large display consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender. | 1.00 | Sets |  | 81900.00 | 81900.00 | 81900.00 | TAS INDIA PVT.LTD
15.00 | System Design, Engineering & Supply of Managed MPLS Router with firewall (having minimum 6 Nos. of 10/100/1000 MBPS ports and 2 Nos WAN Ports) consisting all Hardware, software, necessary accessories, Licenses etc complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender. | 2.00 | Sets |  | 97615.98 | 195231.96 | 195231.96 | TAS INDIA PVT.LTD
16.00 | System Design, Engineering & Supply of wall mounted panel, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 29.00 | Sets |  | 25417.98 | 737121.42 | 737121.42 | TAS INDIA PVT.LTD
17.00 | System Design, Engineering & Supply of explosion proof junction box, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 14.00 | Sets |  | 26879.58 | 376314.12 | 376314.12 | TAS INDIA PVT.LTD
18.00 | System Design, Engineering & Supply of fully wired CRCA Consoles, consisting all Hardware, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | Sets |  | 59081.40 | 118162.80 | 118162.80 | TAS INDIA PVT.LTD
19.00 | Extended Warranty per month (The Extended Warranty is applicable only if the trail run of supplied material is completed before the completion of ARC period. All materials shall be considered to be in the custody of contractor fully insured with applicable conditions of warranty. This Extended warranty is used to extend warranty till the start of Main warranty (i.e. 24 months), which is supposed to start on completion of ARC period. (Refer Note 6 to MR) (Decision of start date & no of month extension of extended warranty will be as per instruction of client/ EIC) | 6.00 | Per Month |  | 55839.00 | 335034.00 | 335034.00 | TAS INDIA PVT.LTD
20.00 | SCADA System at Patna GA locations
21.00 | System Design, Engineering & Supply of Cloud Interface workstation cum web client workstation at control room, consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | Sets |  | 350070.84 | 700141.68 | 700141.68 | TAS INDIA PVT.LTD
22.00 | System Design, Engineering & Supply of dual port GPRS MODEM with dual SIM cards, accessories, all required licensed software, complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 47.00 | Sets |  | 41076.00 | 1930572.00 | 1930572.00 | TAS INDIA PVT.LTD
23.00 | System Design, Engineering & Supply of 65” large display consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender. | 1.00 | Sets |  | 81900.00 | 81900.00 | 81900.00 | TAS INDIA PVT.LTD
24.00 | System Design, Engineering & Supply of Managed MPLS Router with firewall (having minimum 6 Nos. of 10/100/1000 MBPS ports and 2 Nos WAN Ports) consisting all Hardware, software, necessary accessories, Licenses etc complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender. | 2.00 | Sets |  | 97615.98 | 195231.96 | 195231.96 | TAS INDIA PVT.LTD
25.00 | System Design, Engineering & Supply of wall mounted panel, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 37.00 | Sets |  | 25417.98 | 940465.26 | 940465.26 | TAS INDIA PVT.LTD
26.00 | System Design, Engineering & Supply of explosion proof junction box, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 10.00 | Sets |  | 26879.58 | 268795.80 | 268795.80 | TAS INDIA PVT.LTD
27.00 | System Design, Engineering & Supply of fully wired CRCA Consoles, consisting all Hardware, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | Sets |  | 59081.40 | 118162.80 | 118162.80 | TAS INDIA PVT.LTD
28.00 | Extended Warranty per month (The Extended Warranty is applicable only if the trail run of supplied material is completed before the completion of ARC period. All materials shall be considered to be in the custody of contractor fully insured with applicable conditions of warranty. This Extended warranty is used to extend warranty till the start of Main warranty (i.e. 24 months), which is supposed to start on completion of ARC period. (Refer Note 6 to MR) (Decision of start date & no of month extension of extended warranty will be as per instruction of client/ EIC) | 6.00 | Per Month |  | 55839.00 | 335034.00 | 335034.00 | TAS INDIA PVT.LTD
29.00 | SCADA System at Ranchi GA locations
30.00 | System Design, Engineering & Supply of Cloud Interface workstation cum web client workstation at control room, consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | Sets |  | 350070.84 | 700141.68 | 700141.68 | TAS INDIA PVT.LTD
31.00 | System Design, Engineering & Supply of dual port GPRS MODEM with dual SIM cards, accessories, all required licensed software, complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 43.00 | Sets |  | 41076.00 | 1766268.00 | 1766268.00 | TAS INDIA PVT.LTD
32.00 | System Design, Engineering & Supply of 65” large display consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender. | 1.00 | Sets |  | 81900.00 | 81900.00 | 81900.00 | TAS INDIA PVT.LTD
33.00 | System Design, Engineering & Supply of Managed MPLS Router with firewall (having minimum 6 Nos. of 10/100/1000 MBPS ports and 2 Nos WAN Ports) consisting all Hardware, software, necessary accessories, Licenses etc complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender. | 2.00 | Sets |  | 97615.98 | 195231.96 | 195231.96 | TAS INDIA PVT.LTD
34.00 | System Design, Engineering & Supply of wall mounted panel, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 33.00 | Sets |  | 25417.98 | 838793.34 | 838793.34 | TAS INDIA PVT.LTD
35.00 | System Design, Engineering & Supply of explosion proof junction box, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 10.00 | Sets |  | 26879.58 | 268795.80 | 268795.80 | TAS INDIA PVT.LTD
36.00 | System Design, Engineering & Supply of fully wired CRCA Consoles, consisting all Hardware, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | Sets |  | 59081.40 | 118162.80 | 118162.80 | TAS INDIA PVT.LTD
37.00 | Extended Warranty per month (The Extended Warranty is applicable only if the trail run of supplied material is completed before the completion of ARC period. All materials shall be considered to be in the custody of contractor fully insured with applicable conditions of warranty. This Extended warranty is used to extend warranty till the start of Main warranty (i.e. 24 months), which is supposed to start on completion of ARC period. (Refer Note 6 to MR) (Decision of start date & no of month extension of extended warranty will be as per instruction of client/ EIC) | 6.00 | Per Month |  | 55839.00 | 335034.00 | 335034.00 | TAS INDIA PVT.LTD
38.00 | SCADA System at Jamshedpur GA locations
39.00 | System Design, Engineering & Supply of Cloud Interface workstation cum web client workstation at control room, consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | Sets |  | 350070.84 | 700141.68 | 700141.68 | TAS INDIA PVT.LTD
40.00 | System Design, Engineering & Supply of dual port GPRS MODEM with dual SIM cards, accessories, all required licensed software, complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 23.00 | Sets |  | 41076.00 | 944748.00 | 944748.00 | TAS INDIA PVT.LTD
41.00 | System Design, Engineering & Supply of 65” large display consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender. | 1.00 | Sets |  | 81900.00 | 81900.00 | 81900.00 | TAS INDIA PVT.LTD
42.00 | System Design, Engineering & Supply of Managed MPLS Router with firewall (having minimum 6 Nos. of 10/100/1000 MBPS ports and 2 Nos WAN Ports) consisting all Hardware, software, necessary accessories, Licenses etc complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender. | 2.00 | Sets |  | 97615.98 | 195231.96 | 195231.96 | TAS INDIA PVT.LTD
43.00 | System Design, Engineering & Supply of wall mounted panel, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 15.00 | Sets |  | 25417.98 | 381269.70 | 381269.70 | TAS INDIA PVT.LTD
44.00 | System Design, Engineering & Supply of explosion proof junction box, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 8.00 | Sets |  | 26879.58 | 215036.64 | 215036.64 | TAS INDIA PVT.LTD
45.00 | System Design, Engineering & Supply of fully wired CRCA Consoles, consisting all Hardware, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | Sets |  | 59081.40 | 118162.80 | 118162.80 | TAS INDIA PVT.LTD
46.00 | Extended Warranty per month (The Extended Warranty is applicable only if the trail run of supplied material is completed before the completion of ARC period. All materials shall be considered to be in the custody of contractor fully insured with applicable conditions of warranty. This Extended warranty is used to extend warranty till the start of Main warranty (i.e. 24 months), which is supposed to start on completion of ARC period. (Refer Note 6 to MR) (Decision of start date & no of month extension of extended warranty will be as per instruction of client/ EIC) | 6.00 | Per Month |  | 55839.00 | 335034.00 | 335034.00 | TAS INDIA PVT.LTD
47.00 | SCADA System at Bhubaneshwar GA locations
48.00 | System Design, Engineering & Supply of Cloud Interface workstation cum web client workstation at control room, consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | Sets |  | 350070.84 | 700141.68 | 700141.68 | TAS INDIA PVT.LTD
49.00 | System Design, Engineering & Supply of dual port GPRS MODEM with dual SIM cards, accessories, all required licensed software, complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 49.00 | Sets |  | 41076.00 | 2012724.00 | 2012724.00 | TAS INDIA PVT.LTD
50.00 | System Design, Engineering & Supply of 65” large display consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender. | 1.00 | Sets |  | 81900.00 | 81900.00 | 81900.00 | TAS INDIA PVT.LTD
51.00 | System Design, Engineering & Supply of Managed MPLS Router with firewall (having minimum 6 Nos. of 10/100/1000 MBPS ports and 2 Nos WAN Ports) consisting all Hardware, software, necessary accessories, Licenses etc complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender. | 2.00 | Sets |  | 97615.98 | 195231.96 | 195231.96 | TAS INDIA PVT.LTD
52.00 | System Design, Engineering & Supply of wall mounted panel, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 27.00 | Sets |  | 25417.98 | 686285.46 | 686285.46 | TAS INDIA PVT.LTD
53.00 | System Design, Engineering & Supply of explosion proof junction box, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 22.00 | Sets |  | 26879.58 | 591350.76 | 591350.76 | TAS INDIA PVT.LTD
54.00 | System Design, Engineering & Supply of fully wired CRCA Consoles, consisting all Hardware, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | Sets |  | 59081.40 | 118162.80 | 118162.80 | TAS INDIA PVT.LTD
55.00 | Extended Warranty per month (The Extended Warranty is applicable only if the trail run of supplied material is completed before the completion of ARC period. All materials shall be considered to be in the custody of contractor fully insured with applicable conditions of warranty. This Extended warranty is used to extend warranty till the start of Main warranty (i.e. 24 months), which is supposed to start on completion of ARC period. (Refer Note 6 to MR) (Decision of start date & no of month extension of extended warranty will be as per instruction of client/ EIC) | 6.00 | Per Month |  | 55839.00 | 335034.00 | 335034.00 | TAS INDIA PVT.LTD
56.00 | SCADA System at Cuttack GA locations
57.00 | System Design, Engineering & Supply of Cloud Interface workstation cum web client workstation at control room, consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | Sets |  | 350070.84 | 700141.68 | 700141.68 | TAS INDIA PVT.LTD
58.00 | System Design, Engineering & Supply of dual port GPRS MODEM with dual SIM cards, accessories, all required licensed software, complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 48.00 | Sets |  | 41076.00 | 1971648.00 | 1971648.00 | TAS INDIA PVT.LTD
59.00 | System Design, Engineering & Supply of 65” large display consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender. | 1.00 | Sets |  | 81900.00 | 81900.00 | 81900.00 | TAS INDIA PVT.LTD
60.00 | System Design, Engineering & Supply of Managed MPLS Router with firewall (having minimum 6 Nos. of 10/100/1000 MBPS ports and 2 Nos WAN Ports) consisting all Hardware, software, necessary accessories, Licenses etc complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender. | 2.00 | Sets |  | 97615.98 | 195231.96 | 195231.96 | TAS INDIA PVT.LTD
61.00 | System Design, Engineering & Supply of wall mounted panel, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 21.00 | Sets |  | 25417.98 | 533777.58 | 533777.58 | TAS INDIA PVT.LTD
62.00 | System Design, Engineering & Supply of explosion proof junction box, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 27.00 | Sets |  | 26879.58 | 725748.66 | 725748.66 | TAS INDIA PVT.LTD
63.00 | System Design, Engineering & Supply of fully wired CRCA Consoles, consisting all Hardware, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | Sets |  | 59081.40 | 118162.80 | 118162.80 | TAS INDIA PVT.LTD
64.00 | Extended Warranty per month (The Extended Warranty is applicable only if the trail run of supplied material is completed before the completion of ARC period. All materials shall be considered to be in the custody of contractor fully insured with applicable conditions of warranty. This Extended warranty is used to extend warranty till the start of Main warranty (i.e. 24 months), which is supposed to start on completion of ARC period. (Refer Note 6 to MR) (Decision of start date & no of month extension of extended warranty will be as per instruction of client/ EIC) | 6.00 | Per Month |  | 55839.00 | 335034.00 | 335034.00 | TAS INDIA PVT.LTD
65.00 | Total price including all costs, freight, insurance till commissioning, GST etc.
66.00 | PART 2 - Site work
67.00 | SERVICE AND SITE WORK Installation, Testing & commissioning, Training, Interfacing and integration with other devices and system, any other work as defined for SCADA system, work for the hook-up of MODEM to SCADA system (including all supply and erection of all installation materials, accessories, connectors, all types of cables (Signal cable, power cable, Control Cable, Earthing cable (all cable FRLS Armoured), FRPVC Armoured Ethernet Cable, Armoured OFC cable (if required), Perforated GI cable tray for laying of supplied cable), panel base frames, civil foundation etc complete in all respect as required and per PJS No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender
68.00 | SCADA System at CLOUD and at GAIL, Noida Location
69.00 | All Site work as defined above for all software consisting of Operating System Software, SCADA server software, DBMS software, HMI software/ Engineering Work Station Software, SCADA EWS software, History Software, Web Server Software, OPC server software, GPRS Server software, GPS Server software, etc for complete SCADA System with redundant firewall, redundant routers, redundant switches etc. for complete SCADA system which shall be hosted on CLOUD in the form of IaaS (infrastructure as a service) along with 20 nos. web client license, all works required for development of mobile APP, consisting all software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | LOT |  | 1587600.00 | 1587600.00 | 1587600.00 | TAS INDIA PVT.LTD
70.00 | All Site work as defined above for Cloud Interface workstation at GAIL, Noida , consisting all Hardware, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | SETS |  | 62218.80 | 62218.80 | 62218.80 | TAS INDIA PVT.LTD
71.00 | All Site work as defined above for MPLS Router with firewall (having 2 Nos. of WAN ports & 6 Nos. of 10/100/1000 MBPS ports) with cables & connectors etc. complete in all respects as per tender specifications and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | SETS |  | 3780.00 | 3780.00 | 3780.00 | TAS INDIA PVT.LTD
72.00 | All Site work as defined above for Fully wired CRCA Consoles, consisting all Hardware, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | SETS |  | 6300.00 | 6300.00 | 6300.00 | TAS INDIA PVT.LTD
73.00 | All Site work as defined above for integration with existing systems of GAIL (CCTV system, GIS System etc.) including all works for development of APIs etc as required for integration, complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | LOT |  | 1260000.00 | 1260000.00 | 1260000.00 | TAS INDIA PVT.LTD
74.00 | Training for the complete SCADA system (as defined in PJS No. MEC/05/E5/T/Q7NT/ PJS-094, Technical Specifications and other documents provided in the tender at OEM works / OEM testing facilities and at site location) for SCADA system before the final acceptance of the SCADA system by the Client as per the Job Specifications PJS No. MEC/05/E5/T/Q7NT/ PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | LUMPSUM |  | 69300.00 | 69300.00 | 69300.00 | TAS INDIA PVT.LTD
75.00 | SCADA System at Varanasi GA locations
76.00 | All Site work as define above for Cloud Interface workstation cum web client workstation at control room, consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 22050.00 | 44100.00 | 44100.00 | TAS INDIA PVT.LTD
77.00 | All Site work as define above for dual port GPRS MODEM with dual SIM cards, accessories, all required licensed software, complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 43.00 | SETS |  | 6300.00 | 270900.00 | 270900.00 | TAS INDIA PVT.LTD
78.00 | All Site work as define above for 65” large display consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | SETS |  | 1890.00 | 1890.00 | 1890.00 | TAS INDIA PVT.LTD
79.00 | All Site work as define above for Managed MPLS Router with firewall (having minimum 6 Nos. of 10/100/1000 MBPS ports and 2 Nos. WAN ports) consisting all Hardware, software, necessary accessories, Licenses etc complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 1890.00 | 3780.00 | 3780.00 | TAS INDIA PVT.LTD
80.00 | All Site work as define above for wall mounted panel, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 29.00 | SETS |  | 45637.20 | 1323478.80 | 1323478.80 | TAS INDIA PVT.LTD
81.00 | All Site work as define above for explosion proof junction box, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 14.00 | SETS |  | 16071.30 | 224998.20 | 224998.20 | TAS INDIA PVT.LTD
82.00 | All Site work as define above for fully wired CRCA Consoles, consisting all Hardware, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 19139.40 | 38278.80 | 38278.80 | TAS INDIA PVT.LTD
83.00 | Training for the complete SCADA system (as defined in PJS No. MEC/05/E5/T/Q7NT/ PJS-094, Technical Specifications and other documents provided in the tender at OEM works / OEM testing facilities and at site location) for SCADA system before the final acceptance of the SCADA system by the Client as per the Job Specifications PJS No. MEC/05/E5/T/Q7NT/ PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | Lumpsum |  | 31500.00 | 31500.00 | 31500.00 | TAS INDIA PVT.LTD
84.00 | SCADA System at Patna GA locations
85.00 | All Site work as define above for Cloud Interface workstation cum web client workstation at control room, consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 22050.00 | 44100.00 | 44100.00 | TAS INDIA PVT.LTD
86.00 | All Site work as define above for dual port GPRS MODEM with dual SIM cards, accessories, all required licensed software, complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 47.00 | SETS |  | 6300.00 | 296100.00 | 296100.00 | TAS INDIA PVT.LTD
87.00 | All Site work as define above for 65” large display consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | SETS |  | 1890.00 | 1890.00 | 1890.00 | TAS INDIA PVT.LTD
88.00 | All Site work as define above for Managed MPLS Router with firewall (having minimum 6 Nos. of 10/100/1000 MBPS ports and 2 Nos. WAN ports) consisting all Hardware, software, necessary accessories, Licenses etc complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 1890.00 | 3780.00 | 3780.00 | TAS INDIA PVT.LTD
89.00 | All Site work as define above for wall mounted panel, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 37.00 | SETS |  | 45637.20 | 1688576.40 | 1688576.40 | TAS INDIA PVT.LTD
90.00 | All Site work as define above for explosion proof junction box, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 10.00 | SETS |  | 16071.30 | 160713.00 | 160713.00 | TAS INDIA PVT.LTD
91.00 | All Site work as define above for fully wired CRCA Consoles, consisting all Hardware, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 19139.40 | 38278.80 | 38278.80 | TAS INDIA PVT.LTD
92.00 | Training for the complete SCADA system (as defined in PJS No. MEC/05/E5/T/Q7NT/ PJS-094, Technical Specifications and other documents provided in the tender at OEM works / OEM testing facilities and at site location) for SCADA system before the final acceptance of the SCADA system by the Client as per the Job Specifications PJS No. MEC/05/E5/T/Q7NT/ PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | Lumpsum |  | 31500.00 | 31500.00 | 31500.00 | TAS INDIA PVT.LTD
93.00 | SCADA System at Ranchi GA locations
94.00 | All Site work as define above for Cloud Interface workstation cum web client workstation at control room, consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 22050.00 | 44100.00 | 44100.00 | TAS INDIA PVT.LTD
95.00 | All Site work as define above for dual port GPRS MODEM with dual SIM cards, accessories, all required licensed software, complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 43.00 | SETS |  | 6300.00 | 270900.00 | 270900.00 | TAS INDIA PVT.LTD
96.00 | All Site work as define above for 65” large display consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | SETS |  | 1890.00 | 1890.00 | 1890.00 | TAS INDIA PVT.LTD
97.00 | All Site work as define above for Managed MPLS Router with firewall (having minimum 6 Nos. of 10/100/1000 MBPS ports and 2 Nos. WAN ports) consisting all Hardware, software, necessary accessories, Licenses etc complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 1890.00 | 3780.00 | 3780.00 | TAS INDIA PVT.LTD
98.00 | All Site work as define above for wall mounted panel, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 33.00 | SETS |  | 45637.20 | 1506027.60 | 1506027.60 | TAS INDIA PVT.LTD
99.00 | All Site work as define above for explosion proof junction box, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 10.00 | SETS |  | 16071.30 | 160713.00 | 160713.00 | TAS INDIA PVT.LTD
100.00 | All Site work as define above for fully wired CRCA Consoles, consisting all Hardware, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 19139.40 | 38278.80 | 38278.80 | TAS INDIA PVT.LTD
101.00 | Training for the complete SCADA system (as defined in PJS No. MEC/05/E5/T/Q7NT/ PJS-094, Technical Specifications and other documents provided in the tender at OEM works / OEM testing facilities and at site location) for SCADA system before the final acceptance of the SCADA system by the Client as per the Job Specifications PJS No. MEC/05/E5/T/Q7NT/ PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | Lumpsum |  | 31500.00 | 31500.00 | 31500.00 | TAS INDIA PVT.LTD
102.00 | SCADA System at Jamshedpur GA locations
103.00 | All Site work as define above for Cloud Interface workstation cum web client workstation at control room, consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 22050.00 | 44100.00 | 44100.00 | TAS INDIA PVT.LTD
104.00 | All Site work as define above for dual port GPRS MODEM with dual SIM cards, accessories, all required licensed software, complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 24.00 | SETS |  | 6300.00 | 151200.00 | 151200.00 | TAS INDIA PVT.LTD
105.00 | All Site work as define above for 65” large display consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | SETS |  | 1890.00 | 1890.00 | 1890.00 | TAS INDIA PVT.LTD
106.00 | All Site work as define above for Managed MPLS Router with firewall (having minimum 6 Nos. of 10/100/1000 MBPS ports and 2 Nos. WAN ports) consisting all Hardware, software, necessary accessories, Licenses etc complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 1890.00 | 3780.00 | 3780.00 | TAS INDIA PVT.LTD
107.00 | All Site work as define above for wall mounted panel, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 14.00 | SETS |  | 45637.20 | 638920.80 | 638920.80 | TAS INDIA PVT.LTD
108.00 | All Site work as define above for explosion proof junction box, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 10.00 | SETS |  | 16071.30 | 160713.00 | 160713.00 | TAS INDIA PVT.LTD
109.00 | All Site work as define above for fully wired CRCA Consoles, consisting all Hardware, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 19139.40 | 38278.80 | 38278.80 | TAS INDIA PVT.LTD
110.00 | Training for the complete SCADA system (as defined in PJS No. MEC/05/E5/T/Q7NT/ PJS-094, Technical Specifications and other documents provided in the tender at OEM works / OEM testing facilities and at site location) for SCADA system before the final acceptance of the SCADA system by the Client as per the Job Specifications PJS No. MEC/05/E5/T/Q7NT/ PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | Lumpsum |  | 31500.00 | 31500.00 | 31500.00 | TAS INDIA PVT.LTD
111.00 | SCADA System at Bhubaneshwar GA locations
112.00 | All Site work as define above for Cloud Interface workstation cum web client workstation at control room, consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 22050.00 | 44100.00 | 44100.00 | TAS INDIA PVT.LTD
113.00 | All Site work as define above for dual port GPRS MODEM with dual SIM cards, accessories, all required licensed software, complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 49.00 | SETS |  | 6300.00 | 308700.00 | 308700.00 | TAS INDIA PVT.LTD
114.00 | All Site work as define above for 65” large display consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | SETS |  | 1890.00 | 1890.00 | 1890.00 | TAS INDIA PVT.LTD
115.00 | All Site work as define above for Managed MPLS Router with firewall (having minimum 6 Nos. of 10/100/1000 MBPS ports and 2 Nos. WAN ports) consisting all Hardware, software, necessary accessories, Licenses etc complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 1890.00 | 3780.00 | 3780.00 | TAS INDIA PVT.LTD
116.00 | All Site work as define above for wall mounted panel, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 27.00 | SETS |  | 45637.20 | 1232204.40 | 1232204.40 | TAS INDIA PVT.LTD
117.00 | All Site work as define above for explosion proof junction box, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 22.00 | SETS |  | 16071.30 | 353568.60 | 353568.60 | TAS INDIA PVT.LTD
118.00 | All Site work as define above for fully wired CRCA Consoles, consisting all Hardware, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 19139.40 | 38278.80 | 38278.80 | TAS INDIA PVT.LTD
119.00 | Training for the complete SCADA system (as defined in PJS No. MEC/05/E5/T/Q7NT/ PJS-094, Technical Specifications and other documents provided in the tender at OEM works / OEM testing facilities and at site location) for SCADA system before the final acceptance of the SCADA system by the Client as per the Job Specifications PJS No. MEC/05/E5/T/Q7NT/ PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | Lumpsum |  | 31500.00 | 31500.00 | 31500.00 | TAS INDIA PVT.LTD
120.00 | SCADA System at Cuttack GA locations
121.00 | All Site work as define above for Cloud Interface workstation cum web client workstation at control room, consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 22050.00 | 44100.00 | 44100.00 | TAS INDIA PVT.LTD
122.00 | All Site work as define above for dual port GPRS MODEM with dual SIM cards, accessories, all required licensed software, complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 48.00 | SETS |  | 6300.00 | 302400.00 | 302400.00 | TAS INDIA PVT.LTD
123.00 | All Site work as define above for 65” large display consisting all Hardware, software, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No. MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | SETS |  | 1890.00 | 1890.00 | 1890.00 | TAS INDIA PVT.LTD
124.00 | All Site work as define above for Managed MPLS Router with firewall (having minimum 6 Nos. of 10/100/1000 MBPS ports and 2 Nos. WAN ports) consisting all Hardware, software, necessary accessories, Licenses etc complete in all respect, as required and as defined in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 1890.00 | 3780.00 | 3780.00 | TAS INDIA PVT.LTD
125.00 | All Site work as define above for wall mounted panel, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 21.00 | SETS |  | 45637.20 | 958381.20 | 958381.20 | TAS INDIA PVT.LTD
126.00 | All Site work as define above for explosion proof junction box, including all accessories, hardware etc. complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 27.00 | SETS |  | 16071.30 | 433925.10 | 433925.10 | TAS INDIA PVT.LTD
127.00 | All Site work as define above for fully wired CRCA Consoles, consisting all Hardware, necessary accessories, etc complete in all respect, as required and as defined in Scope of work in the Job specification No MEC/05/E5/T/Q7NT/PJS-094, Technical Specifications and other documents provided in the tender | 2.00 | SETS |  | 19139.40 | 38278.80 | 38278.80 | TAS INDIA PVT.LTD
128.00 | Training for the complete SCADA system (as defined in PJS No. MEC/05/E5/T/Q7NT/ PJS-094, Technical Specifications and other documents provided in the tender at OEM works / OEM testing facilities and at site location) for SCADA system before the final acceptance of the SCADA system by the Client as per the Job Specifications PJS No. MEC/05/E5/T/Q7NT/ PJS-094, Technical Specifications and other documents provided in the tender | 1.00 | Lumpsum |  | 31500.00 | 31500.00 | 31500.00 | TAS INDIA PVT.LTD
129.00 | Total price including all costs including GST for SiteWorks
130.00 | PART 3 - Post Warranty Period
131.00 | Post warranty maintenance contract (AMC) as define in the Particular Job specification / bid document for complete CLOUD system (including all sub-systems and all charges for CLOUD services) at CLOUD for 3 years after completion of main warranty complete in all respect as define in the particular Job specification. Payment will be made on quarterly basis. (Note ‐ 9) PWMC start for all equipment at same time )
132.00 | Post warranty maintenance contract (AMC) for 1st Year | 1.00 | Lumpsum |  | 907200.00 | 907200.00 | 907200.00 | TAS INDIA PVT.LTD
133.00 | Post warranty maintenance contract (AMC) for 2nd year | 1.00 | Lumpsum |  | 907200.00 | 907200.00 | 907200.00 | TAS INDIA PVT.LTD
134.00 | Post warranty maintenance contract (AMC) for 3rd Year | 1.00 | Lumpsum |  | 907200.00 | 907200.00 | 907200.00 | TAS INDIA PVT.LTD
135.00 | Post warranty maintenance contract (AMC) as define in the Particular Job specification / bid document for complete SCADA system (including all sub-systems) at GAIL, Noida for 3 years after completion of main warranty complete in all respect as define in the particular Job specification. Payment will be made on quarterly basis. (Note ‐ 9) PWMC start for all equipment at same time )
136.00 | Post warranty maintenance contract (AMC) for 1st Year | 1.00 | Lumpsum |  | 529200.00 | 529200.00 | 529200.00 | TAS INDIA PVT.LTD
137.00 | Post warranty maintenance contract (AMC) for 2nd year | 1.00 | Lumpsum |  | 582120.00 | 582120.00 | 582120.00 | TAS INDIA PVT.LTD
138.00 | Post warranty maintenance contract (AMC) for 3rd Year | 1.00 | Lumpsum |  | 640332.00 | 640332.00 | 640332.00 | TAS INDIA PVT.LTD
139.00 | Post warranty maintenance contract (AMC) as define in the Particular Job specification / bid document for complete SCADA system (including all sub-systems ) at Varanasi GA location for 3 years after completion of main warranty complete in all respect as define in the particular Job specification. Payment will be made on quarterly basis. (Note ‐ 9) PWMC start for all equipment at same time )
140.00 | Post warranty maintenance contract (AMC) for 1st Year | 1.00 | Lumpsum |  | 215783.40 | 215783.40 | 215783.40 | TAS INDIA PVT.LTD
141.00 | Post warranty maintenance contract (AMC) for 2nd year | 1.00 | Lumpsum |  | 237361.74 | 237361.74 | 237361.74 | TAS INDIA PVT.LTD
142.00 | Post warranty maintenance contract (AMC) for 3rd Year | 1.00 | Lumpsum |  | 261097.91 | 261097.91 | 261097.91 | TAS INDIA PVT.LTD
143.00 | Post warranty maintenance contract (AMC) as define in the Particular Job specification / bid document for complete SCADA system (including all sub-systems ) at Patna GA locations for 3 years after completion of main warranty complete in all respect as define in the particular Job specification. Payment will be made on quarterly basis. (Note ‐ 9) PWMC start for all equipments at same time )
144.00 | Post warranty maintenance contract (AMC) for 1st Year | 1.00 | Lumpsum |  | 215783.40 | 215783.40 | 215783.40 | TAS INDIA PVT.LTD
145.00 | Post warranty maintenance contract (AMC) for 2nd year | 1.00 | Lumpsum |  | 237361.74 | 237361.74 | 237361.74 | TAS INDIA PVT.LTD
146.00 | Post warranty maintenance contract (AMC) for 3rd Year | 1.00 | Lumpsum |  | 261097.91 | 261097.91 | 261097.91 | TAS INDIA PVT.LTD
147.00 | Post warranty maintenance contract (AMC) as define in the Particular Job specification / bid document for complete SCADA system (including all sub-systems) at Ranchi GA locations for 3 years after completion of main warranty complete in all respect as define in the particular Job specification. Payment will be made on quarterly basis. (Note ‐ 9) PWMC start for all equipments at same time )
148.00 | Post warranty maintenance contract (AMC) for 1st Year | 1.00 | Lumpsum |  | 215783.40 | 215783.40 | 215783.40 | TAS INDIA PVT.LTD
149.00 | Post warranty maintenance contract (AMC) for 2nd year | 1.00 | Lumpsum |  | 237361.74 | 237361.74 | 237361.74 | TAS INDIA PVT.LTD
150.00 | Post warranty maintenance contract (AMC) for 3rd Year | 1.00 | Lumpsum |  | 261097.91 | 261097.91 | 261097.91 | TAS INDIA PVT.LTD
151.00 | Post warranty maintenance contract (AMC) as define in the Particular Job specification / bid document for complete SCADA system (including all sub-systems ) at Jamshedpur GA locations for 3 years after completion of main warranty complete in all respect as define in the particular Job specification. Payment will be made on quarterly basis. (Note ‐ 9) PWMC start for all equipment at same time )
152.00 | Post warranty maintenance contract (AMC) for 1st Year | 1.00 | Lumpsum |  | 215783.40 | 215783.40 | 215783.40 | TAS INDIA PVT.LTD
153.00 | Post warranty maintenance contract (AMC) for 2nd year | 1.00 | Lumpsum |  | 237361.74 | 237361.74 | 237361.74 | TAS INDIA PVT.LTD
154.00 | Post warranty maintenance contract (AMC) for 3rd Year | 1.00 | Lumpsum |  | 261097.91 | 261097.91 | 261097.91 | TAS INDIA PVT.LTD
155.00 | Post warranty maintenance contract (AMC) as define in the Particular Job specification / bid document for complete SCADA system (including all sub-systems ) at Bhubaneshwar GA locations of 3 years after completion of main warranty complete in all respect as define in the particular Job specification. Payment will be made on quarterly basis. (Note ‐ 9) PWMC start for all equipment at same time )
156.00 | Post warranty maintenance contract (AMC) for 1st Year | 1.00 | Lumpsum |  | 215783.40 | 215783.40 | 215783.40 | TAS INDIA PVT.LTD
157.00 | Post warranty maintenance contract (AMC) for 2nd year | 1.00 | Lumpsum |  | 237361.74 | 237361.74 | 237361.74 | TAS INDIA PVT.LTD
158.00 | Post warranty maintenance contract (AMC) for 3rd Year | 1.00 | Lumpsum |  | 261097.91 | 261097.91 | 261097.91 | TAS INDIA PVT.LTD
159.00 | Post warranty maintenance contract (AMC) as define in the Particular Job specification / bid document for complete SCADA system(including all sub-systems) at Cuttack GA locations for 3 years after completion of main warranty complete in all respect as define in the particular Job specification. Payment will be made on quarterly basis. (Note ‐ 9) PWMC start for all equipments at same time )
160.00 | Post warranty maintenance contract (AMC) for 1st Year | 1.00 | Lumpsum |  | 215783.40 | 215783.40 | 215783.40 | TAS INDIA PVT.LTD
161.00 | Post warranty maintenance contract (AMC) for 2nd year | 1.00 | Lumpsum |  | 237361.74 | 237361.74 | 237361.74 | TAS INDIA PVT.LTD
162.00 | Post warranty maintenance contract (AMC) for 3rd Year | 1.00 | Lumpsum |  | 261097.91 | 261097.91 | 261097.91 | TAS INDIA PVT.LTD
163.00 | Net Total Amount of quoted price (inclusive of all applicable taxes & duties except GST (CGST&SGST/UTGST or IGST)
164.00 | GST (CGST & SGST / UTGST or IGST) @ 18% of Net Total Amount mentioned at Sl. No. 163 above. (Enter rate of applicable GST) | 1.00 | percentage |  | 18.00 | 10065074.47 | 10065074.47 | TAS INDIA PVT.LTD
165.00 | NOTE: 1. The offer shall be evaluated on package wise basis ( Supply + Site Works +Post warranty maintenance contract ). 2.The above shall be read in conjunction with notes of MR .
| Total in Figures |  |  |  |  | 65982154.87
Lowest Amount Quoted BY: TAS INDIA PVT.LTD(65982154.87)

## BOQ Summary
BOQ Summary Details Tender Title: PROCUREMENT OF CENTRALISED SCADA SYSTEM (2 YEARS) OF GAIL (India) Limited Tender ID: 2023_GAIL_169552_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | TAS INDIA PVT.LTD | 65982154.87 | L1