## BoQ1
Government eProcurement System Created By: Hari Shankar Created Date/Time: 19-Jan-2024 10:18 AM Tender Title: Construction Power Works for A3 Plot at GAIL USAR Tender ID: 2023_GAIL_170871_1
Tender Inviting Authority: GAIL (India) Limited, Usar
Name of Work: Construction Power works for A-3 Plot at GAIL USAR
Contract No: 2023_GAIL_170871_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Offshore Infrastructures Limited(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUPPLY OF MV & HV CABLES
1.11 | Supply of 3.5 C x 50 sq. mm 1100 V grade, Aluminium Conductor, XLPE insulated and armoured, cables of following sizes as per specification No. 6-51-0051, data sheets, specifications of this tender and directions of Engineer-in-Charge. | 3500.00 | M |  | 311.00 | 1088500.00 | 1088500.00 | Offshore Infrastructures Limited
1.12 | Supply of 3 C x 300 sq. mm Al 6.6 kV (UE) grade, Al/Cu Conductor, XLPE insulated and armoured cables of following sizes as per EIL standard specification No. 6-51-0051, data sheets, specifications of this tender and directions of Engineer-in-Charge. | 3500.00 | M |  | 2161.00 | 7563500.00 | 7563500.00 | Offshore Infrastructures Limited
1.20 | LAYING OF MV & HV CABLES (Laying of cables of different voltage grade in ready trays/trenches/supported on structure/pull through pipes including supply and fixing of stainless steel strip number tags, supply and applying of fireproofing paint to meet OISD requirement (for 1m length near terminations), supply and fixing of GI saddles and saddle bars etc., including transportation from store/yard to site at the place of installation, unpacking, including all labour and materials as per specifications of this tender and directions of Engineer-in-Charge)
1.21 | Laying of 3.5C x 50sqmm 1.1kV grade cable | 3000.00 | M |  | 77.00 | 231000.00 | 231000.00 | Offshore Infrastructures Limited
1.22 | Laying of 3C x 300sqmm 6.6kV grade UE cable | 3000.00 | M |  | 153.00 | 459000.00 | 459000.00 | Offshore Infrastructures Limited
1.30 | SUPPLY AND LAYING OF GI PIPES Supply and laying of following sizes of G.I. Pipes (medium) in required length fixed on steel, concrete or similar structure, laid in trenches, ready to be buried in concrete including cutting, threading, bending and similar works, supply of clamps, small iron structures, spacers and installation of seats, plugs, bushings etc., small civil works, including all labour and materials, as per specifications of this tender and directions of Engineer-in-Charge
1.31 | 50MM DIA | 50.00 | M |  | 1112.00 | 55600.00 | 55600.00 | Offshore Infrastructures Limited
1.32 | 100MM DIA | 50.00 | M |  | 2744.00 | 137200.00 | 137200.00 | Offshore Infrastructures Limited
1.40 | END TERMINATIONS
1.41 | Supply and making of Unearthed grade 3C x 300sqmm 6.6 kV H.V. indoor type termination kits as per specification No. 6-51-0051, complete with all aceessories including cable lugs, and as per specifications of this tender and directions of Engineer-in-Charge. | 12.00 | EA |  | 22209.00 | 266508.00 | 266508.00 | Offshore Infrastructures Limited
1.50 | STRAIGHT THROUGH JOINTS
1.51 | Supply and making of heat shrinkable type Straight through jointing kits for Unearthed grade 3C x 300sqmm 6.6 kV H.V. cables as per standard specification No. 6-51-0051, complkete with alla accessories and ferrules and specifications of this tender and directions of Engineer-in-Charge. | 10.00 | EA |  | 52408.00 | 524080.00 | 524080.00 | Offshore Infrastructures Limited
1.52 | Supply and making of heat shrinkable type straight through jointing kit for 3.5C x 50sqmm 1100V grade cables as per specification No. 6-51-0051and specifications of this tender and directions of Engineer-in-Charge. | 6.00 | EA |  | 10624.00 | 63744.00 | 63744.00 | Offshore Infrastructures Limited
1.60 | CABLE LUGS
1.61 | Supply of crimping type long barrel shaped aluminium lugs for the conductor size 300 sq.mm. (Al conductor) as per approved drawings, specifications of this tender and directions of Engineer-in- Charge. | 50.00 | EA |  | 182.00 | 9100.00 | 9100.00 | Offshore Infrastructures Limited
1.62 | Supply of crimping type long barrel shaped aluminium lugs for the conductor size 50 sq.mm. (Al conductor) as per approved drawings, specifications of this tender and directions of Engineer-in-Charge. | 50.00 | EA |  | 134.00 | 6700.00 | 6700.00 | Offshore Infrastructures Limited
1.70 | TESTING, CALIBRATION AND COMMISSIONING OF CSS
1.71 | Testing and commisioning of construction sub station (6.6kV, 500kVA) including calibration of all relays and meters consisitng of 3-way Ring Mains Unit (RMU) with load break switch/isolator. SF6 breaker and protection relay for oil filled transformer, MV switchboards and power factor improvement capacitors. Testing of CSS includes but not limited to the following activities: 1. Complete testing of 500kVA 6.6kV/415V oil filled transformer which includes IR Test, Turns Ratio Test, Magnetic Balance Test, Vector Group Test 2. Testing of Protection Relay-CDG14, Auxiliary Relay-VAA33, Tripping Relay VAJH13 3. Calibration and testing of 05No. of Digital Energy Meters Approval from CEA/any other statutory approval for charging of construction substation | 2.00 | EA |  | 647706.00 | 1295412.00 | 1295412.00 | Offshore Infrastructures Limited
1.80 | EARTH PITS
1.81 | Supply, installation, testing and commissioning of Maintenance free earth pit as per sketch and specifications and all necessary materials including excavation of earth pit, filling with earth enhancing compound, back filling, providing necessary brickwork, connections, including all labour and materials, as per approved drawings, specifications of this tender and dierection of Engineer-in-charge. | 8.00 | EA |  | 34265.00 | 274120.00 | 274120.00 | Offshore Infrastructures Limited
1.90 | EARTH STRIPS
1.91 | Supply, installation and connection of 50 x 6mm GI earthing strip including welding at joints, providing anti-corrosive paintor bitumen and jute covering for welded portion, clamping and necessary hardware for connecting, excavation and refilling etc., including all labour and materials, as per approved drawings, specifications of this tender and directions of Engineer-in-Charge. | 200.00 | M |  | 529.00 | 105800.00 | 105800.00 | Offshore Infrastructures Limited
2.00 | CIVIL WORKS
2.10 | EXCAVATION AND BACKFILLING
2.11 | Excavation for cable trenchesd in soft soil/soft rock, depth upto 1.2m including dressing of sides, including getting out the excavated soil and as per direction of engineer-in-charge. | 2000.00 | CUM |  | 324.00 | 648000.00 | 648000.00 | Offshore Infrastructures Limited
2.12 | Excavation of the cable trenches in hard rock not exceeding 1.5metres in width including getting out the excavated soil and as per direction of engineer-in-charge | 50.00 | CUM |  | 707.00 | 35350.00 | 35350.00 | Offshore Infrastructures Limited
2.13 | Supply and spreading of approved stone dust (Grading Zone-II as per IS383) in cable trenches, including all labour and materials, specifications of this tender and directions of Engineer-in-Charge. | 1000.00 | CUM |  | 2882.00 | 2882000.00 | 2882000.00 | Offshore Infrastructures Limited
2.14 | Supply and spreading of approved FLY ASH BRICKS - TYPE-5 of 75 mm thickness in cable trenches for cable protection, including all labour and materials, as per approved drawings, specifications of this tender and directions of Engineer-in-Charge. (Actual area of laid brick surfaces shall be measured). | 1000.00 | SQM |  | 970.00 | 970000.00 | 970000.00 | Offshore Infrastructures Limited
2.20 | CHAIN LINK FENCING
2.21 | Supplying, fabricating and fixing G.I. chain link fencing with 3.15mm dia. wire, 50x50mm diamond mesh chain link fence fabric conforming to IS:2721 fixed to CS pipe posts/struts above ground level, including supply of chain link fencing fabric in 1.9 metre wide rolls, stretcher bars, staples, etc. required for fixing the fencing, fixing of chain link fencing between straining posts, fixing of bottom of fencing to a concrete sill beams by means of hairpin staples, including supply and fixing line wires, complete as per drawings, specifications and directions of Engineer -in-Charge (All materials shall be supplied by Contractor). (The measurement of chain link fencing shall be on linear basis for 1.9 m wide fencing fabric) | 60.00 | M |  | 472.00 | 28320.00 | 28320.00 | Offshore Infrastructures Limited
2.22 | Providing and fixing in position wicket gate in fencing manufactured out of carbon steel pipes of dia 32 mm (medium as per IS;1239) and 50mmX25mmX10 gauge welded wire mesh, hinged to ISMB100 with squre ring steel for smooth operation including providing and fixing all clamps, bolts and locking arrangements etc. complete as per drawing, including painting with two coats of anticorrosive paint and two coats of approved aluminium/synthetic enamel paint etc. complete as per drawing, specification and direction of engineer-in-charge. (Including supply and erection of steel posts made of ismb 100) | 2.00 | EA |  | 15898.00 | 31796.00 | 31796.00 | Offshore Infrastructures Limited
2.23 | Providing Carbon Steel (CS) pipe posts and struts of 2.5 inch dia (medium duty) as per IS1239 part-1 including all leads and levels with holes, cap, fittings & fixtures for fixing of chain link fencing, cleats, transportation to site, aligning and fixing in position, etc. complete as per drawings, specifications and instructions of Engineer-in-Charge. (All materials including CS pipe posts and struts shall be supplied by the contractor) | 20.00 | EA |  | 2543.00 | 50860.00 | 50860.00 | Offshore Infrastructures Limited
2.24 | Supplying & Laying interlocking Paver Blocks for roads, footpaths and any other place etc. including providing 50mm thick sand filling below Paver Blocks including compaction of sand layer, filling the joints by dry sand, providing precast kerb stone of PCC M-20 at edges, including preparation of compacted sub-grade etc. all complete as per drawing, standard and directions of Engineer-in-Charge. (All material including cement supplied by contractor, paver blocks shall confirm to IS:15658. Colour and shape of paver block shall be as per Owner requirement.). For 60MM thickness of paver blocks | 140.00 | SQM |  | 7823.00 | 1095220.00 | 1095220.00 | Offshore Infrastructures Limited
2.25 | Providing and laying plain cement concrete in sill beam of size 230 mm width and 300 mm depth of M-20 grade at ground level below chain link fencing including tamping, curing, shuttering, embedding of any fixture etc. complete as per drawings, specifications and directions of Engineer-in-Charge..ALL MATERIALS INCLUDING CEMENT SUPPLIED BY THE CONTRACTOR. | 6.00 | CUM |  | 8832.00 | 52992.00 | 52992.00 | Offshore Infrastructures Limited
2.26 | Providing and laying PLAIN CEMENT CONCRETE for all depths below and upto plinth level in foundations,drains, fillings, non-suspended floors, pavements & ramps or any other works etc. including shuttering, tamping, ramming, vibrating, curing, etc. all as specified in any shape, position, thickness and finishing the top surface rough or smooth as specified and directed all complete for concrete grade M20 with 20mm and down size graded crushed stone aggaregates/Gravels.ALL MATERIALS INCLUDING CEMENT SUPPLIED BY THE CONTRACTOR. | 10.00 | CUM |  | 8832.00 | 88320.00 | 88320.00 | Offshore Infrastructures Limited
2.30 | MARKERS
2.31 | Supply and installation of cable markers as per std. 7-51-0301, for underground cable runs with 14 SWG enamelled steel plate with white lettering on jade green background inclusive of providing and fixing supports, including all labour and materials, as per specifications of this tender and directions of Engineer-in-Charge. | 50.00 | EA |  | 2781.00 | 139050.00 | 139050.00 | Offshore Infrastructures Limited
| Total in Figures |  |  |  |  | 18102172.00
Lowest Amount Quoted BY: Offshore Infrastructures Limited(18102172.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction Power Works for A3 Plot at GAIL USAR Tender ID: 2023_GAIL_170871_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Offshore Infrastructures Limited | 18102172.00 | L1

## Preferential Bidder BOQ Summary
Preferential Bidder Non-Itemwise BOQ Summary Details Tender Title: Construction Power Works for A3 Plot at GAIL USAR Tender ID: 2023_GAIL_170871_1
Sheet Name | Sl.No | Bidder Name | Amount | Difference Amount from L1 | Difference Percentage from L1 | Tolerance Percentage | Preference Category
BoQ1 | 1 | Offshore Infrastructures Limited | 18102172.00 |  |  | 20.00% | Make in India